## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2022-08-14
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 19234 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 08/08/2022 | 09/08/2022 | 10/08/2022 | 11/08/2022 | 12/08/2022 | 13/08/2022 | 14/08/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-08-12
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 218.2287 | -476.6999 | 694.9286
|  | 2 | 87.7183 | -548.8183 | 636.5366
|  | 3 | 32.7766 | -573.6462 | 606.4228
|  | 4 | 28.7687 | -559.9217 | 588.6904
|  | 5 | 30.276 | -554.9735 | 585.2494
|  | 6 | 42.2789 | -568.4844 | 610.7633
|  | 7 | 243.9019 | -439.6271 | 683.529
|  | 8 | 541.6338 | -289.9629 | 831.5967
|  | 9 | 685.379 | -251.047 | 936.426
|  | 10 | 685.6238 | -297.1057 | 982.7296
|  | 11 | 654.8017 | -353.7717 | 1008.5734
|  | 12 | 684.7185 | -361.7541 | 1046.4726
|  | 13 | 678.6362 | -371.6153 | 1050.2516
|  | 14 | 662.2634 | -366.9846 | 1029.248
|  | 15 | 597.3666 | -366.8697 | 964.2363
|  | 16 | 570.6493 | -352.7916 | 923.4409
|  | 17 | 590.2524 | -308.131 | 898.3834
|  | 18 | 704.695 | -214.8867 | 919.5816
|  | 19 | 735.5463 | -206.5487 | 942.0949
|  | 20 | 847.2754 | -128.7394 | 976.0148
|  | 21 | 851.5664 | -153.7074 | 1005.2738
|  | 22 | 816.8482 | -120.4827 | 937.3309
|  | 23 | 627.072 | -203.139 | 830.2109
|  | 24 | 418.192 | -310.0463 | 728.2382
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Remont
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Remont
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Remont
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Remont
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Remont
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -19.2984 | -43.5253 | 6.8256 | -206.5481 | 156.9765 | -343.3471
2 | -16.0652 | -63.9017 | -4.6577 | -232.6335 | 153.595 | -354.4367
3 | -16.3877 | -72.4627 | 6.8235 | -243.3231 | 183.6657 | -379.4351
4 | -12.2116 | -79.2503 | -2.6707 | -250.2937 | 166.6909 | -349.428
5 | -13.1213 | -78.8309 | -1.9171 | -247.6487 | 168.1532 | -353.5554
6 | -19.0321 | -80.1835 | 4.1123 | -250.4614 | 186.0338 | -395.4482
7 | -29.305 | -76.6729 | 22.4375 | -243.3296 | 224.8512 | -486.3702
8 | -30.3576 | -41.4432 | 35.9361 | -210.4833 | 225.3996 | -478.4881
9 | -36.9155 | -12.3746 | 27.9293 | -201.9677 | 204.8632 | -480.6931
10 | -38.4909 | 5.1782 | 14.4761 | -188.6524 | 177.4752 | -461.1834
11 | -36.8998 | 5.6146 | 3.7799 | -188.975 | 162.1939 | -477.9436
12 | -40.0479 | -6.9267 | -1.5857 | -197.3712 | 165.1749 | -489.4874
13 | -39.7513 | -9.8469 | 0.35907 | -196.4907 | 170.0698 | -492.8433
14 | -34.2198 | -11.5017 | -21.741 | -198.2841 | 118.6241 | -419.4338
15 | -36.8352 | -19.2147 | -15.1812 | -191.9651 | 139.1685 | -452.9633
16 | -36.7617 | -13.1942 | -19.351 | -187.0364 | 128.3708 | -438.9138
17 | -32.7848 | 6.7685 | -8.7991 | -162.4412 | 127.2634 | -389.3144
18 | -25.7725 | -1.4973 | -8.1338 | -178.0951 | 121.3363 | -366.4191
19 | -27.4095 | 1.1453 | 18.2624 | -168.3344 | 156.1137 | -353.0458
20 | -32.8196 | 17.9594 | 19.7799 | -137.8654 | 144.6171 | -308.1532
21 | -28.9852 | 11.8658 | 17.3501 | -151.0903 | 129.7068 | -287.0474
22 | -29.9451 | -0.24624 | 17.1518 | -163.1799 | 143.3376 | -308.4319
23 | -19.8188 | -6.3576 | 6.7731 | -169.7246 | 132.0722 | -299.9847
24 | -18.8906 | -33.4166 | -2.7928 | -197.7744 | 130.9405 | -342.6684
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2022-08-14
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 157.3529
|  |  | 01:00 - 02:00 | 34.8097
|  |  | 02:00 - 03:00 | 34.0709
|  |  | 03:00 - 04:00 | 32.8264
|  |  | 04:00 - 05:00 | 33.8482
|  |  | 05:00 - 06:00 | 35.885
|  |  | 06:00 - 07:00 | 40.2543
|  |  | 07:00 - 08:00 | 140.3184
|  |  | 08:00 - 09:00 | 266.4346
|  |  | 09:00 - 10:00 | 309.091
|  |  | 10:00 - 11:00 | 220.8215
|  |  | 11:00 - 12:00 | 222.9722
|  |  | 12:00 - 13:00 | 223.5884
|  |  | 13:00 - 14:00 | 220.1241
|  |  | 14:00 - 15:00 | 177.037
|  |  | 15:00 - 16:00 | 170.8384
|  |  | 16:00 - 17:00 | 331.2764
|  |  | 17:00 - 18:00 | 356.4633
|  |  | 18:00 - 19:00 | 409.3402
|  |  | 19:00 - 20:00 | 531.7273
|  |  | 20:00 - 21:00 | 580.3999
|  |  | 21:00 - 22:00 | 511.1643
|  |  | 22:00 - 23:00 | 414.0741
|  |  | 23:00 - 00:00 | 257.1211
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0.57338 | 0.39881 | 102.6838 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27782 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 2.7967 | 0 | 0 | 0 | 0 | 1.1514 | 0 | 0
8 | 79.5204 | 0.28787 | 0 | 0 | 0 | 101.6211 | 0 | 0
9 | 79.4492 | 79.0667 | 0 | 0 | 0 | 108.9161 | 1.3213 | 0
10 | 79.4601 | 79.8428 | 0 | 0 | 0 | 99.5468 | 99.902 | 0
11 | 79.4932 | 79.8362 | 0 | 0 | 0 | 89.299 | 89.398 | 0
12 | 84.5789 | 84.8311 | 0 | 0 | 0 | 89.4402 | 89.5623 | 0
13 | 79.6522 | 84.8895 | 0 | 0 | 0 | 89.6091 | 89.6851 | 0
14 | 79.4861 | 79.861 | 0 | 0 | 0 | 92.1251 | 92.2075 | 0
15 | 15.0913 | 74.8882 | 0 | 0 | 0 | 104.4046 | 104.5164 | 0
16 | 0 | 76.8546 | 0 | 0 | 0 | 107.2041 | 107.2722 | 0
17 | 0 | 79.8686 | 0 | 0 | 0 | 133.9473 | 134.0956 | 0
18 | 0 | 79.8187 | 0 | 0 | 0 | 133.9455 | 134.0896 | 0
19 | 0 | 79.8698 | 0 | 0 | 0 | 127.8246 | 127.9534 | 0
20 | 0 | 79.867 | 0 | 0 | 0 | 127.9105 | 128.0304 | 0
21 | 0 | 79.8308 | 0 | 0 | 0 | 119.7469 | 119.8263 | 0
22 | 0 | 79.8736 | 0 | 0 | 0 | 102.8853 | 102.5032 | 0
23 | 0 | 79.8996 | 0 | 0 | 0 | 103.7549 | 0.041159 | 0
24 | 0 | 0.18214 | 0 | 0 | 0 | 105.9679 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 579.5281 | 1199.5682 | 0 | 0 | 0.57338 | 1839.6994 | 1523.366 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 697.319 | 12.8249
|  | 2 | 637.0363 | 12.7438
|  | 3 | 593.0462 | 11.7206
|  | 4 | 573.7157 | 11.8401
|  | 5 | 573.12 | 11.4746
|  | 6 | 602.8764 | 12.0573
|  | 7 | 683.8594 | 13.7345
|  | 8 | 801.5877 | 16.213
|  | 9 | 921.9672 | 19.2633
|  | 10 | 970.1455 | 19.877
|  | 11 | 998.2406 | 18.572
|  | 12 | 1052.468 | 18.3781
|  | 13 | 1077.1823 | 17.3702
|  | 14 | 1077.1551 | 17.1763
|  | 15 | 1058.5722 | 17.2977
|  | 16 | 1027.1253 | 17.9875
|  | 17 | 1024.8673 | 17.5939
|  | 18 | 1043.563 | 18.7185
|  | 19 | 1062.4588 | 18.3678
|  | 20 | 1063.5754 | 17.1915
|  | 21 | 1095.4867 | 18.7517
|  | 22 | 1035.6733 | 18.3305
|  | 23 | 925.778 | 15.2154
|  | 24 | 805.227 | 12.6307
|  | 25 | 712.1514 | 12.052
|  | 26 | 638.1928 | 11.4231
|  | 27 | 618.9174 | 11.5977
|  | 28 | 592.6773 | 11.3287
|  | 29 | 603.7139 | 11.7247
|  | 30 | 648.7988 | 11.6287
|  | 31 | 741.2786 | 14.2483
|  | 32 | 866.9784 | 17.0451
|  | 33 | 953.6993 | 20.62
|  | 34 | 1001.7722 | 22.2589
|  | 35 | 1027.0623 | 19.4191
|  | 36 | 1057.6752 | 18.7639
|  | 37 | 1056.3776 | 18.2465
|  | 38 | 1071.7207 | 18.5288
|  | 39 | 1059.3295 | 17.7292
|  | 40 | 1037.2405 | 18.7145
|  | 41 | 1019.0754 | 17.388
|  | 42 | 1023.6811 | 17.8201
|  | 43 | 1040.5651 | 16.8314
|  | 44 | 1041.6872 | 17.0437
|  | 45 | 1074.2931 | 17.8475
|  | 46 | 1028.1614 | 17.8024
|  | 47 | 926.2666 | 14.8466
|  | 48 | 807.1256 | 12.4176
|  | 49 | 688.4742 | 12.3936
|  | 50 | 628.4642 | 12.0069
|  | 51 | 590.0185 | 12.008
|  | 52 | 571.4707 | 12.9864
|  | 53 | 571.4368 | 13.6729
|  | 54 | 600.4656 | 13.8021
|  | 55 | 682.3245 | 17.9647
|  | 56 | 807.9907 | 21.5579
|  | 57 | 912.0887 | 23.8173
|  | 58 | 968.3155 | 24.4366
|  | 59 | 999.4952 | 21.3656
|  | 60 | 1030.9451 | 21.209
|  | 61 | 1048.931 | 22.1293
|  | 62 | 1059.8955 | 21.9776
|  | 63 | 1041.8105 | 22.1338
|  | 64 | 1013.8174 | 20.9424
|  | 65 | 1010.4128 | 19.7787
|  | 66 | 1016.7656 | 19.1081
|  | 67 | 1043.2122 | 18.5131
|  | 68 | 1052.7372 | 17.5111
|  | 69 | 1093.5457 | 19.96
|  | 70 | 1033.0423 | 20.2906
|  | 71 | 918.4096 | 17.4099
|  | 72 | 802.8426 | 14.5921
|  | 73 | 722.8907 | 13.4299
|  | 74 | 657.7872 | 12.7374
|  | 75 | 607.1808 | 12.8038
|  | 76 | 592.689 | 12.2961
|  | 77 | 605.1639 | 13.0501
|  | 78 | 604.8734 | 13.1457
|  | 79 | 698.8828 | 15.6132
|  | 80 | 853.6327 | 18.6202
|  | 81 | 959.2291 | 22.1398
|  | 82 | 1009.2784 | 23.5469
|  | 83 | 1046.7696 | 22.256
|  | 84 | 1068.8378 | 21.7537
|  | 85 | 1074.9163 | 18.9563
|  | 86 | 1088.3713 | 18.6139
|  | 87 | 1074.1722 | 17.4701
|  | 88 | 1046.8315 | 16.8871
|  | 89 | 1039.358 | 16.4571
|  | 90 | 1051.5142 | 16.7584
|  | 91 | 1067.1432 | 17.3876
|  | 92 | 1069.3651 | 17.3425
|  | 93 | 1099.6611 | 17.6345
|  | 94 | 1052.4094 | 16.7543
|  | 95 | 930.2842 | 15.1088
|  | 96 | 811.8988 | 12.3533
|  | 97 | 705.6142 | 12.103
|  | 98 | 654.3163 | 11.8102
|  | 99 | 618.082 | 11.2098
|  | 100 | 597.61 | 11.4461
|  | 101 | 594.3537 | 11.8707
|  | 102 | 614.2388 | 12.0574
|  | 103 | 681.191 | 12.4504
|  | 104 | 770.299 | 14.046
|  | 105 | 847.108 | 15.8683
|  | 106 | 903.4302 | 16.0882
|  | 107 | 939.2955 | 16.4032
|  | 108 | 972.3791 | 16.9878
|  | 109 | 1002.8013 | 16.658
|  | 110 | 1004.1884 | 16.2276
|  | 111 | 977.6681 | 15.1383
|  | 112 | 961.311 | 15.6264
|  | 113 | 968.4892 | 16.7539
|  | 114 | 992.1279 | 17.0787
|  | 115 | 1022.7689 | 18.9088
|  | 116 | 1038.3373 | 18.7826
|  | 117 | 1090.9412 | 20.1057
|  | 118 | 1034.1417 | 20.0437
|  | 119 | 942.6105 | 17.3133
|  | 120 | 829.6908 | 14.1404
|  | 121 | 695.5241 | 13.0335
|  | 122 | 631.6383 | 13.6683
|  | 123 | 596.0355 | 12.2916
|  | 124 | 574.4898 | 11.8252
|  | 125 | 568.5804 | 12.8072
|  | 126 | 595.211 | 12.6661
|  | 127 | 673.776 | 13.487
|  | 128 | 807.5485 | 16.0774
|  | 129 | 920.212 | 19.4849
|  | 130 | 973.8289 | 21.1505
|  | 131 | 1001.7799 | 23.5845
|  | 132 | 1023.7589 | 24.2756
|  | 133 | 1058.4114 | 23.4062
|  | 134 | 1069.1258 | 23.4354
|  | 135 | 1010.4202 | 22.6201
|  | 136 | 953.3235 | 20.0572
|  | 137 | 946.6224 | 20.1861
|  | 138 | 970.0105 | 21.0314
|  | 139 | 996.3017 | 21.3782
|  | 140 | 1009.4739 | 20.3466
|  | 141 | 1043.4272 | 21.1936
|  | 142 | 983.6486 | 20.5562
|  | 143 | 883.611 | 18.4124
|  | 144 | 760.9489 | 15.0178
|  | 145 | 698.3643 | 12.8656
|  | 146 | 631.2363 | 11.8912
|  | 147 | 597.0161 | 12.2864
|  | 148 | 576.3876 | 12.0581
|  | 149 | 573.3495 | 11.6453
|  | 150 | 593.9982 | 12.0361
|  | 151 | 685.8646 | 13.6671
|  | 152 | 827.406 | 17.5333
|  | 153 | 950.9604 | 20.3411
|  | 154 | 1014.5261 | 22.8751
|  | 155 | 1042.0079 | 22.9944
|  | 156 | 1069.7594 | 24.0908
|  | 157 | 1090.7216 | 23.2833
|  | 158 | 1096.9511 | 23.3561
|  | 159 | 1079.4337 | 21.2121
|  | 160 | 1056.7737 | 19.3087
|  | 161 | 1048.1041 | 18.6479
|  | 162 | 1039.6835 | 19.1194
|  | 163 | 1051.614 | 18.9722
|  | 164 | 1060.7896 | 18.5471
|  | 165 | 1100.5107 | 18.9505
|  | 166 | 1042.6734 | 19.2737
|  | 167 | 938.6699 | 16.9831
|  | 168 | 814.3722 | 13.6761
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 08/08/2022 | 09/08/2022 | 10/08/2022 | 11/08/2022 | 12/08/2022 | 13/08/2022 | 14/08/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2022-08-14
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 19234 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 08/08/2022 | 09/08/2022 | 10/08/2022 | 11/08/2022 | 12/08/2022 | 13/08/2022 | 14/08/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2022
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-08-12
|  | Hour | Production | Exchange | Consumption
|  | 1 | 218.2287 | -476.6999 | 694.9286
|  | 2 | 87.7183 | -548.8183 | 636.5366
|  | 3 | 32.7766 | -573.6462 | 606.4228
|  | 4 | 28.7687 | -559.9217 | 588.6904
|  | 5 | 30.276 | -554.9735 | 585.2494
|  | 6 | 42.2789 | -568.4844 | 610.7633
|  | 7 | 243.9019 | -439.6271 | 683.529
|  | 8 | 541.6338 | -289.9629 | 831.5967
|  | 9 | 685.379 | -251.047 | 936.426
|  | 10 | 685.6238 | -297.1057 | 982.7296
|  | 11 | 654.8017 | -353.7717 | 1008.5734
|  | 12 | 684.7185 | -361.7541 | 1046.4726
|  | 13 | 678.6362 | -371.6153 | 1050.2516
|  | 14 | 662.2634 | -366.9846 | 1029.248
|  | 15 | 597.3666 | -366.8697 | 964.2363
|  | 16 | 570.6493 | -352.7916 | 923.4409
|  | 17 | 590.2524 | -308.131 | 898.3834
|  | 18 | 704.695 | -214.8867 | 919.5816
|  | 19 | 735.5463 | -206.5487 | 942.0949
|  | 20 | 847.2754 | -128.7394 | 976.0148
|  | 21 | 851.5664 | -153.7074 | 1005.2738
|  | 22 | 816.8482 | -120.4827 | 937.3309
|  | 23 | 627.072 | -203.139 | 830.2109
|  | 24 | 418.192 | -310.0463 | 728.2382
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Maintenace
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Maintenace
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Maintenace
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -19.2984 | -43.5253 | 6.8256 | -206.5481 | 156.9765 | -343.3471
2 | -16.0652 | -63.9017 | -4.6577 | -232.6335 | 153.595 | -354.4367
3 | -16.3877 | -72.4627 | 6.8235 | -243.3231 | 183.6657 | -379.4351
4 | -12.2116 | -79.2503 | -2.6707 | -250.2937 | 166.6909 | -349.428
5 | -13.1213 | -78.8309 | -1.9171 | -247.6487 | 168.1532 | -353.5554
6 | -19.0321 | -80.1835 | 4.1123 | -250.4614 | 186.0338 | -395.4482
7 | -29.305 | -76.6729 | 22.4375 | -243.3296 | 224.8512 | -486.3702
8 | -30.3576 | -41.4432 | 35.9361 | -210.4833 | 225.3996 | -478.4881
9 | -36.9155 | -12.3746 | 27.9293 | -201.9677 | 204.8632 | -480.6931
10 | -38.4909 | 5.1782 | 14.4761 | -188.6524 | 177.4752 | -461.1834
11 | -36.8998 | 5.6146 | 3.7799 | -188.975 | 162.1939 | -477.9436
12 | -40.0479 | -6.9267 | -1.5857 | -197.3712 | 165.1749 | -489.4874
13 | -39.7513 | -9.8469 | 0.35907 | -196.4907 | 170.0698 | -492.8433
14 | -34.2198 | -11.5017 | -21.741 | -198.2841 | 118.6241 | -419.4338
15 | -36.8352 | -19.2147 | -15.1812 | -191.9651 | 139.1685 | -452.9633
16 | -36.7617 | -13.1942 | -19.351 | -187.0364 | 128.3708 | -438.9138
17 | -32.7848 | 6.7685 | -8.7991 | -162.4412 | 127.2634 | -389.3144
18 | -25.7725 | -1.4973 | -8.1338 | -178.0951 | 121.3363 | -366.4191
19 | -27.4095 | 1.1453 | 18.2624 | -168.3344 | 156.1137 | -353.0458
20 | -32.8196 | 17.9594 | 19.7799 | -137.8654 | 144.6171 | -308.1532
21 | -28.9852 | 11.8658 | 17.3501 | -151.0903 | 129.7068 | -287.0474
22 | -29.9451 | -0.24624 | 17.1518 | -163.1799 | 143.3376 | -308.4319
23 | -19.8188 | -6.3576 | 6.7731 | -169.7246 | 132.0722 | -299.9847
24 | -18.8906 | -33.4166 | -2.7928 | -197.7744 | 130.9405 | -342.6684
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2022-08-14
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 157.3529
|  |  | 01:00 - 02:00 | 34.8097
|  |  | 02:00 - 03:00 | 34.0709
|  |  | 03:00 - 04:00 | 32.8264
|  |  | 04:00 - 05:00 | 33.8482
|  |  | 05:00 - 06:00 | 35.885
|  |  | 06:00 - 07:00 | 40.2543
|  |  | 07:00 - 08:00 | 140.3184
|  |  | 08:00 - 09:00 | 266.4346
|  |  | 09:00 - 10:00 | 309.091
|  |  | 10:00 - 11:00 | 220.8215
|  |  | 11:00 - 12:00 | 222.9722
|  |  | 12:00 - 13:00 | 223.5884
|  |  | 13:00 - 14:00 | 220.1241
|  |  | 14:00 - 15:00 | 177.037
|  |  | 15:00 - 16:00 | 170.8384
|  |  | 16:00 - 17:00 | 331.2764
|  |  | 17:00 - 18:00 | 356.4633
|  |  | 18:00 - 19:00 | 409.3402
|  |  | 19:00 - 20:00 | 531.7273
|  |  | 20:00 - 21:00 | 580.3999
|  |  | 21:00 - 22:00 | 511.1643
|  |  | 22:00 - 23:00 | 414.0741
|  |  | 23:00 - 00:00 | 257.1211
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0.57338 | 0.39881 | 102.6838 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27782 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 2.7967 | 0 | 0 | 0 | 0 | 1.1514 | 0 | 0
8 | 79.5204 | 0.28787 | 0 | 0 | 0 | 101.6211 | 0 | 0
9 | 79.4492 | 79.0667 | 0 | 0 | 0 | 108.9161 | 1.3213 | 0
10 | 79.4601 | 79.8428 | 0 | 0 | 0 | 99.5468 | 99.902 | 0
11 | 79.4932 | 79.8362 | 0 | 0 | 0 | 89.299 | 89.398 | 0
12 | 84.5789 | 84.8311 | 0 | 0 | 0 | 89.4402 | 89.5623 | 0
13 | 79.6522 | 84.8895 | 0 | 0 | 0 | 89.6091 | 89.6851 | 0
14 | 79.4861 | 79.861 | 0 | 0 | 0 | 92.1251 | 92.2075 | 0
15 | 15.0913 | 74.8882 | 0 | 0 | 0 | 104.4046 | 104.5164 | 0
16 | 0 | 76.8546 | 0 | 0 | 0 | 107.2041 | 107.2722 | 0
17 | 0 | 79.8686 | 0 | 0 | 0 | 133.9473 | 134.0956 | 0
18 | 0 | 79.8187 | 0 | 0 | 0 | 133.9455 | 134.0896 | 0
19 | 0 | 79.8698 | 0 | 0 | 0 | 127.8246 | 127.9534 | 0
20 | 0 | 79.867 | 0 | 0 | 0 | 127.9105 | 128.0304 | 0
21 | 0 | 79.8308 | 0 | 0 | 0 | 119.7469 | 119.8263 | 0
22 | 0 | 79.8736 | 0 | 0 | 0 | 102.8853 | 102.5032 | 0
23 | 0 | 79.8996 | 0 | 0 | 0 | 103.7549 | 0.041159 | 0
24 | 0 | 0.18214 | 0 | 0 | 0 | 105.9679 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 579.5281 | 1199.5682 | 0 | 0 | 0 | 1839.3006 | 1420.6822 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Average | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 697.319 | 12.8249
|  | 2 | 637.0363 | 12.7438
|  | 3 | 593.0462 | 11.7206
|  | 4 | 573.7157 | 11.8401
|  | 5 | 573.12 | 11.4746
|  | 6 | 602.8764 | 12.0573
|  | 7 | 683.8594 | 13.7345
|  | 8 | 801.5877 | 16.213
|  | 9 | 921.9672 | 19.2633
|  | 10 | 970.1455 | 19.877
|  | 11 | 998.2406 | 18.572
|  | 12 | 1052.468 | 18.3781
|  | 13 | 1077.1823 | 17.3702
|  | 14 | 1077.1551 | 17.1763
|  | 15 | 1058.5722 | 17.2977
|  | 16 | 1027.1253 | 17.9875
|  | 17 | 1024.8673 | 17.5939
|  | 18 | 1043.563 | 18.7185
|  | 19 | 1062.4588 | 18.3678
|  | 20 | 1063.5754 | 17.1915
|  | 21 | 1095.4867 | 18.7517
|  | 22 | 1035.6733 | 18.3305
|  | 23 | 925.778 | 15.2154
|  | 24 | 805.227 | 12.6307
|  | 25 | 712.1514 | 12.052
|  | 26 | 638.1928 | 11.4231
|  | 27 | 618.9174 | 11.5977
|  | 28 | 592.6773 | 11.3287
|  | 29 | 603.7139 | 11.7247
|  | 30 | 648.7988 | 11.6287
|  | 31 | 741.2786 | 14.2483
|  | 32 | 866.9784 | 17.0451
|  | 33 | 953.6993 | 20.62
|  | 34 | 1001.7722 | 22.2589
|  | 35 | 1027.0623 | 19.4191
|  | 36 | 1057.6752 | 18.7639
|  | 37 | 1056.3776 | 18.2465
|  | 38 | 1071.7207 | 18.5288
|  | 39 | 1059.3295 | 17.7292
|  | 40 | 1037.2405 | 18.7145
|  | 41 | 1019.0754 | 17.388
|  | 42 | 1023.6811 | 17.8201
|  | 43 | 1040.5651 | 16.8314
|  | 44 | 1041.6872 | 17.0437
|  | 45 | 1074.2931 | 17.8475
|  | 46 | 1028.1614 | 17.8024
|  | 47 | 926.2666 | 14.8466
|  | 48 | 807.1256 | 12.4176
|  | 49 | 688.4742 | 12.3936
|  | 50 | 628.4642 | 12.0069
|  | 51 | 590.0185 | 12.008
|  | 52 | 571.4707 | 12.9864
|  | 53 | 571.4368 | 13.6729
|  | 54 | 600.4656 | 13.8021
|  | 55 | 682.3245 | 17.9647
|  | 56 | 807.9907 | 21.5579
|  | 57 | 912.0887 | 23.8173
|  | 58 | 968.3155 | 24.4366
|  | 59 | 999.4952 | 21.3656
|  | 60 | 1030.9451 | 21.209
|  | 61 | 1048.931 | 22.1293
|  | 62 | 1059.8955 | 21.9776
|  | 63 | 1041.8105 | 22.1338
|  | 64 | 1013.8174 | 20.9424
|  | 65 | 1010.4128 | 19.7787
|  | 66 | 1016.7656 | 19.1081
|  | 67 | 1043.2122 | 18.5131
|  | 68 | 1052.7372 | 17.5111
|  | 69 | 1093.5457 | 19.96
|  | 70 | 1033.0423 | 20.2906
|  | 71 | 918.4096 | 17.4099
|  | 72 | 802.8426 | 14.5921
|  | 73 | 722.8907 | 13.4299
|  | 74 | 657.7872 | 12.7374
|  | 75 | 607.1808 | 12.8038
|  | 76 | 592.689 | 12.2961
|  | 77 | 605.1639 | 13.0501
|  | 78 | 604.8734 | 13.1457
|  | 79 | 698.8828 | 15.6132
|  | 80 | 853.6327 | 18.6202
|  | 81 | 959.2291 | 22.1398
|  | 82 | 1009.2784 | 23.5469
|  | 83 | 1046.7696 | 22.256
|  | 84 | 1068.8378 | 21.7537
|  | 85 | 1074.9163 | 18.9563
|  | 86 | 1088.3713 | 18.6139
|  | 87 | 1074.1722 | 17.4701
|  | 88 | 1046.8315 | 16.8871
|  | 89 | 1039.358 | 16.4571
|  | 90 | 1051.5142 | 16.7584
|  | 91 | 1067.1432 | 17.3876
|  | 92 | 1069.3651 | 17.3425
|  | 93 | 1099.6611 | 17.6345
|  | 94 | 1052.4094 | 16.7543
|  | 95 | 930.2842 | 15.1088
|  | 96 | 811.8988 | 12.3533
|  | 97 | 705.6142 | 12.103
|  | 98 | 654.3163 | 11.8102
|  | 99 | 618.082 | 11.2098
|  | 100 | 597.61 | 11.4461
|  | 101 | 594.3537 | 11.8707
|  | 102 | 614.2388 | 12.0574
|  | 103 | 681.191 | 12.4504
|  | 104 | 770.299 | 14.046
|  | 105 | 847.108 | 15.8683
|  | 106 | 903.4302 | 16.0882
|  | 107 | 939.2955 | 16.4032
|  | 108 | 972.3791 | 16.9878
|  | 109 | 1002.8013 | 16.658
|  | 110 | 1004.1884 | 16.2276
|  | 111 | 977.6681 | 15.1383
|  | 112 | 961.311 | 15.6264
|  | 113 | 968.4892 | 16.7539
|  | 114 | 992.1279 | 17.0787
|  | 115 | 1022.7689 | 18.9088
|  | 116 | 1038.3373 | 18.7826
|  | 117 | 1090.9412 | 20.1057
|  | 118 | 1034.1417 | 20.0437
|  | 119 | 942.6105 | 17.3133
|  | 120 | 829.6908 | 14.1404
|  | 121 | 695.5241 | 13.0335
|  | 122 | 631.6383 | 13.6683
|  | 123 | 596.0355 | 12.2916
|  | 124 | 574.4898 | 11.8252
|  | 125 | 568.5804 | 12.8072
|  | 126 | 595.211 | 12.6661
|  | 127 | 673.776 | 13.487
|  | 128 | 807.5485 | 16.0774
|  | 129 | 920.212 | 19.4849
|  | 130 | 973.8289 | 21.1505
|  | 131 | 1001.7799 | 23.5845
|  | 132 | 1023.7589 | 24.2756
|  | 133 | 1058.4114 | 23.4062
|  | 134 | 1069.1258 | 23.4354
|  | 135 | 1010.4202 | 22.6201
|  | 136 | 953.3235 | 20.0572
|  | 137 | 946.6224 | 20.1861
|  | 138 | 970.0105 | 21.0314
|  | 139 | 996.3017 | 21.3782
|  | 140 | 1009.4739 | 20.3466
|  | 141 | 1043.4272 | 21.1936
|  | 142 | 983.6486 | 20.5562
|  | 143 | 883.611 | 18.4124
|  | 144 | 760.9489 | 15.0178
|  | 145 | 698.3643 | 12.8656
|  | 146 | 631.2363 | 11.8912
|  | 147 | 597.0161 | 12.2864
|  | 148 | 576.3876 | 12.0581
|  | 149 | 573.3495 | 11.6453
|  | 150 | 593.9982 | 12.0361
|  | 151 | 685.8646 | 13.6671
|  | 152 | 827.406 | 17.5333
|  | 153 | 950.9604 | 20.3411
|  | 154 | 1014.5261 | 22.8751
|  | 155 | 1042.0079 | 22.9944
|  | 156 | 1069.7594 | 24.0908
|  | 157 | 1090.7216 | 23.2833
|  | 158 | 1096.9511 | 23.3561
|  | 159 | 1079.4337 | 21.2121
|  | 160 | 1056.7737 | 19.3087
|  | 161 | 1048.1041 | 18.6479
|  | 162 | 1039.6835 | 19.1194
|  | 163 | 1051.614 | 18.9722
|  | 164 | 1060.7896 | 18.5471
|  | 165 | 1100.5107 | 18.9505
|  | 166 | 1042.6734 | 19.2737
|  | 167 | 938.6699 | 16.9831
|  | 168 | 814.3722 | 13.6761
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 08/08/2022 | 09/08/2022 | 10/08/2022 | 11/08/2022 | 12/08/2022 | 13/08/2022 | 14/08/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible