## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2022-08-22
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 20293 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 22/08/2022 | 23/08/2022 | 24/08/2022 | 25/08/2022 | 26/08/2022 | 27/08/2022 | 28/08/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-08-20
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 364.6738 | -316.7507 | 681.4245
|  | 2 | 189.3451 | -437.5474 | 626.8925
|  | 3 | 113.4052 | -489.6906 | 603.0958
|  | 4 | 73.9171 | -512.525 | 586.4421
|  | 5 | 71.3094 | -512.1371 | 583.4465
|  | 6 | 99.1028 | -512.7123 | 611.815
|  | 7 | 209.2272 | -467.0713 | 676.2985
|  | 8 | 408.2194 | -392.8661 | 801.0855
|  | 9 | 625.0796 | -288.6936 | 913.7732
|  | 10 | 711.4851 | -266.6251 | 978.1103
|  | 11 | 670.2884 | -323.3042 | 993.5926
|  | 12 | 681.2237 | -318.1581 | 999.3818
|  | 13 | 629.6241 | -317.2254 | 946.8495
|  | 14 | 631.3713 | -314.9682 | 946.3395
|  | 15 | 602.3856 | -310.2373 | 912.6229
|  | 16 | 578.6061 | -317.3906 | 895.9968
|  | 17 | 585.4073 | -323.8671 | 909.2744
|  | 18 | 594.6084 | -330.2472 | 924.8556
|  | 19 | 696.8149 | -250.9182 | 947.7331
|  | 20 | 838.099 | -142.2003 | 980.2993
|  | 21 | 857.9673 | -137.3857 | 995.353
|  | 22 | 780.4865 | -154.4487 | 934.9352
|  | 23 | 676.1952 | -152.5777 | 828.7729
|  | 24 | 429.9881 | -300.8631 | 730.8512
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Remont
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Remont
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Remont
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Remont
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Remont
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Remont
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -32.9703 | -19.6362 | 73.641 | -187.2364 | 283.7157 | -500.626
2 | -23.2792 | -52.3261 | 24.4937 | -213.1283 | 204.0783 | -405.3715
3 | -23.9191 | -66.5975 | 29.6718 | -223.8212 | 224.4265 | -431.7917
4 | -17.9551 | -74.2417 | 18.7009 | -234.1721 | 206.5647 | -397.7913
5 | -18.7157 | -74.9833 | 22.9704 | -235.5301 | 213.1692 | -399.8273
6 | -22.1035 | -76.4103 | 27.269 | -238.8879 | 226.5446 | -425.3728
7 | -32.4908 | -74.8648 | 44.5844 | -233.9625 | 264.4992 | -504.6
8 | -35.4074 | -52.0983 | 59.1038 | -212.0897 | 272.5981 | -513.1349
9 | -40.7347 | -7.9216 | 79.7332 | -176.0436 | 293.5457 | -521.5589
10 | -47.695 | 0.23418 | 105.5439 | -172.918 | 325.3018 | -576.0238
11 | -44.3001 | 8.1757 | 99.5876 | -163.6799 | 293.3253 | -533.2988
12 | -40.9512 | 5.5699 | 86.0684 | -170.0343 | 264.3594 | -496.3876
13 | -44.6468 | 3.9931 | 90.2634 | -165.9636 | 272.6331 | -511.6769
14 | -42.3321 | 2.7314 | 76.52 | -167.3022 | 246.4627 | -464.6709
15 | -36.5846 | 6.6954 | 48.9589 | -167.857 | 204.038 | -409.8847
16 | -32.1911 | 5.7778 | 42.6535 | -167.7022 | 195.2348 | -384.8683
17 | -33.1203 | -3.6851 | 30.5262 | -177.8789 | 175.9565 | -365.1044
18 | -43.9082 | 0.23276 | 75.4672 | -161.2155 | 265.5153 | -508.1662
19 | -39.903 | 16.9943 | 62.6971 | -140.5007 | 243.5328 | -481.1421
20 | -48.2246 | 32.0633 | 84.635 | -114.8604 | 282.1567 | -478.5371
21 | -42.957 | 35.9365 | 96.4202 | -107.735 | 275.899 | -450.8795
22 | -35.9653 | 23.2979 | 86.0386 | -116.6796 | 273.461 | -447.3817
23 | -35.3131 | 28.8891 | 111.0273 | -112.1767 | 319.614 | -476.4018
24 | -35.6474 | 21.5771 | 117.1815 | -128.9047 | 339.9057 | -495.0083
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2022-08-22
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 599.701
|  |  | 01:00 - 02:00 | 470.3
|  |  | 02:00 - 03:00 | 363.3
|  |  | 03:00 - 04:00 | 320.4902
|  |  | 04:00 - 05:00 | 312.4322
|  |  | 05:00 - 06:00 | 369.3
|  |  | 06:00 - 07:00 | 632.6114
|  |  | 07:00 - 08:00 | 918.6798
|  |  | 08:00 - 09:00 | 1115.1696
|  |  | 09:00 - 10:00 | 1111.1595
|  |  | 10:00 - 11:00 | 1107.2061
|  |  | 11:00 - 12:00 | 1085.3024
|  |  | 12:00 - 13:00 | 1092.196
|  |  | 13:00 - 14:00 | 1086.228
|  |  | 14:00 - 15:00 | 1078.2523
|  |  | 15:00 - 16:00 | 1059.0962
|  |  | 16:00 - 17:00 | 1137.0882
|  |  | 17:00 - 18:00 | 1150.1598
|  |  | 18:00 - 19:00 | 1204.4422
|  |  | 19:00 - 20:00 | 1246.5963
|  |  | 20:00 - 21:00 | 1272.8509
|  |  | 21:00 - 22:00 | 1179.2269
|  |  | 22:00 - 23:00 | 1093.7646
|  |  | 23:00 - 00:00 | 962.3
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 38.9775 | 76.3131 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 32.2544 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6896
8 | 39.649 | 3.1378 | 0 | 0 | 0 | 1.0506 | 0 | 107.5486
9 | 76.8877 | 76.9083 | 0 | 0 | 0 | 96.5167 | 0 | 96.2325
10 | 76.8822 | 76.9135 | 0 | 0 | 0 | 92.4789 | 0 | 92.3579
11 | 76.9068 | 76.9035 | 0 | 0 | 0 | 90.0048 | 0 | 90.0598
12 | 76.8948 | 76.9116 | 0 | 0 | 0 | 93.0076 | 0 | 92.8624
13 | 76.8683 | 76.9411 | 0 | 0 | 0 | 95.7521 | 0 | 95.6758
14 | 76.9194 | 76.9367 | 0 | 0 | 0 | 90.7513 | 0 | 90.322
15 | 76.9272 | 76.9286 | 0 | 0 | 0 | 98.0154 | 0 | 97.7568
16 | 74.6287 | 74.993 | 0 | 0 | 0 | 112.5377 | 0 | 112.4341
17 | 74.4915 | 74.895 | 0 | 0 | 0 | 101.6204 | 0 | 101.5263
18 | 74.5036 | 74.8465 | 0 | 0.14264 | 0 | 109.8209 | 0 | 109.6619
19 | 74.487 | 74.8816 | 0 | 73.1647 | 0 | 94.1174 | 0 | 94.0223
20 | 74.5026 | 74.8309 | 0 | 74.3193 | 0 | 114.1869 | 0 | 113.9726
21 | 74.4882 | 74.8626 | 0 | 74.3117 | 0 | 109.2205 | 0 | 92.1507
22 | 74.4816 | 74.8662 | 0 | 12.693 | 0 | 117.6825 | 0 | 110.8931
23 | 74.526 | 74.8577 | 0 | 0 | 0 | 102.2402 | 0 | 97.2714
24 | 74.491 | 74.879 | 0.87427 | 0.31744 | 0 | 1.0733 | 0 | 95.3756
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1248.5356 | 1215.4935 | 39.8518 | 343.5163 | 0 | 1520.0772 | 0 | 1691.8135
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 627.9321 | 15.6771
|  | 2 | 572.5008 | 13.8113
|  | 3 | 544.0278 | 14.7758
|  | 4 | 530.3055 | 13.8314
|  | 5 | 527.5369 | 13.5941
|  | 6 | 554.2558 | 14.2076
|  | 7 | 637.6984 | 14.5529
|  | 8 | 770.1985 | 16.0464
|  | 9 | 873.6193 | 18.3023
|  | 10 | 917.8266 | 20.3935
|  | 11 | 915.3165 | 21.5913
|  | 12 | 942.2976 | 21.675
|  | 13 | 938.6091 | 21.9428
|  | 14 | 937.4712 | 22.639
|  | 15 | 938.3715 | 22.4408
|  | 16 | 911.7936 | 21.5381
|  | 17 | 876.9828 | 20.8324
|  | 18 | 876.9549 | 22.0239
|  | 19 | 915.3289 | 21.4641
|  | 20 | 941.9109 | 20.9284
|  | 21 | 998.5646 | 21.5889
|  | 22 | 923.3929 | 22.102
|  | 23 | 830.2916 | 17.8884
|  | 24 | 719.5645 | 13.9542
|  | 25 | 659.6111 | 12.7364
|  | 26 | 603.3002 | 11.528
|  | 27 | 577.8689 | 11.4718
|  | 28 | 561.4511 | 11.3975
|  | 29 | 557.1421 | 10.9789
|  | 30 | 579.7446 | 11.6483
|  | 31 | 641.3765 | 14.8887
|  | 32 | 752.8359 | 16.4532
|  | 33 | 855.8807 | 21.5397
|  | 34 | 914.0378 | 20.8436
|  | 35 | 931.7461 | 21.596
|  | 36 | 944.816 | 22.7676
|  | 37 | 925.8443 | 22.6755
|  | 38 | 908.514 | 23.4955
|  | 39 | 878.7546 | 23.8602
|  | 40 | 863.1189 | 22.7853
|  | 41 | 869.2116 | 20.8907
|  | 42 | 896.6599 | 21.184
|  | 43 | 925.0545 | 21.4539
|  | 44 | 967.6016 | 20.2131
|  | 45 | 988.3294 | 20.4544
|  | 46 | 927.8957 | 20.4806
|  | 47 | 827.9612 | 17.8348
|  | 48 | 727.4328 | 15.3686
|  | 49 | 643.7716 | 13.1393
|  | 50 | 587.9005 | 12.0961
|  | 51 | 560.9483 | 12.9148
|  | 52 | 545.8783 | 12.3969
|  | 53 | 542.3395 | 12.3244
|  | 54 | 567.0002 | 12.2163
|  | 55 | 639.5375 | 13.5978
|  | 56 | 761.5172 | 17.6528
|  | 57 | 864.75 | 20.1884
|  | 58 | 915.9322 | 21.76
|  | 59 | 923.5313 | 22.7839
|  | 60 | 943.5568 | 23.6169
|  | 61 | 932.2267 | 23.328
|  | 62 | 922.9926 | 23.5255
|  | 63 | 908.563 | 23.1587
|  | 64 | 887.4563 | 22.4121
|  | 65 | 873.0972 | 21.3151
|  | 66 | 886.8074 | 21.8767
|  | 67 | 920.1917 | 21.594
|  | 68 | 954.7563 | 21.4336
|  | 69 | 993.447 | 21.9408
|  | 70 | 925.6443 | 21.5248
|  | 71 | 829.1264 | 17.4357
|  | 72 | 723.4986 | 15.5033
|  | 73 | 671.8219 | 13.0503
|  | 74 | 615.7788 | 12.4025
|  | 75 | 584.8985 | 12.4331
|  | 76 | 565.6144 | 11.9672
|  | 77 | 560.9966 | 12.4605
|  | 78 | 577.2806 | 11.7748
|  | 79 | 634.6487 | 13.2863
|  | 80 | 746.7497 | 15.7437
|  | 81 | 851.6501 | 19.6497
|  | 82 | 911.8315 | 22.4725
|  | 83 | 937.7345 | 23.5137
|  | 84 | 947.5439 | 24.444
|  | 85 | 925.1346 | 23.3615
|  | 86 | 915.2065 | 23.0395
|  | 87 | 873.0846 | 21.9321
|  | 88 | 853.0854 | 20.7873
|  | 89 | 860.1647 | 19.4251
|  | 90 | 884.0132 | 19.789
|  | 91 | 922.9211 | 20.7818
|  | 92 | 955.0137 | 20.1653
|  | 93 | 990.8278 | 21.061
|  | 94 | 926.5893 | 21.2396
|  | 95 | 823.2839 | 19.0826
|  | 96 | 727.4146 | 16.926
|  | 97 | 628.2881 | 15.1846
|  | 98 | 577.6866 | 13.8884
|  | 99 | 547.4009 | 12.9965
|  | 100 | 533.4155 | 12.8635
|  | 101 | 533.6247 | 12.5279
|  | 102 | 563.7211 | 12.6359
|  | 103 | 642.8908 | 13.7909
|  | 104 | 769.4349 | 15.1815
|  | 105 | 874.2129 | 16.7895
|  | 106 | 916.8036 | 17.8524
|  | 107 | 931.534 | 17.6948
|  | 108 | 948.0123 | 18.236
|  | 109 | 956.9336 | 18.6852
|  | 110 | 955.851 | 17.2107
|  | 111 | 932.0424 | 16.8887
|  | 112 | 912.7368 | 15.6672
|  | 113 | 909.1881 | 17.519
|  | 114 | 925.4215 | 20.0888
|  | 115 | 954.0989 | 19.1796
|  | 116 | 983.4519 | 18.7794
|  | 117 | 1012.8521 | 17.9232
|  | 118 | 934.3713 | 18.2874
|  | 119 | 830.5196 | 16.271
|  | 120 | 726.4425 | 14.7342
|  | 121 | 650.055 | 12.0345
|  | 122 | 596.7327 | 11.1877
|  | 123 | 566.1497 | 11.3238
|  | 124 | 549.5149 | 11.2216
|  | 125 | 547.3107 | 11.6059
|  | 126 | 570.5009 | 11.5215
|  | 127 | 638.7698 | 13.5504
|  | 128 | 758.0923 | 17.934
|  | 129 | 862.9315 | 20.3987
|  | 130 | 914.3175 | 22.268
|  | 131 | 934.6343 | 23.1338
|  | 132 | 947.7781 | 23.8218
|  | 133 | 941.0341 | 23.898
|  | 134 | 935.5287 | 24.9167
|  | 135 | 902.5635 | 25.1573
|  | 136 | 882.9111 | 25.7733
|  | 137 | 884.6764 | 26.3552
|  | 138 | 904.7173 | 24.7906
|  | 139 | 938.51 | 24.309
|  | 140 | 969.2328 | 24.3183
|  | 141 | 1001.8399 | 24.1761
|  | 142 | 930.4803 | 24.1694
|  | 143 | 826.9018 | 18.6415
|  | 144 | 726.9285 | 14.1401
|  | 145 | 638.3477 | 13.7075
|  | 146 | 583.6984 | 12.5375
|  | 147 | 560.8878 | 13.0504
|  | 148 | 546.3055 | 13.4087
|  | 149 | 545.7384 | 12.8177
|  | 150 | 574.2567 | 11.9208
|  | 151 | 655.3135 | 13.0828
|  | 152 | 785.7765 | 17.7637
|  | 153 | 889.6142 | 21.7584
|  | 154 | 933.3905 | 28.3404
|  | 155 | 956.4291 | 25.8238
|  | 156 | 982.7748 | 30.0658
|  | 157 | 995.7584 | 27.9668
|  | 158 | 997.9599 | 27.7551
|  | 159 | 976.0906 | 27.9719
|  | 160 | 959.3771 | 26.7564
|  | 161 | 953.7383 | 25.7596
|  | 162 | 968.1568 | 25.8827
|  | 163 | 989.1238 | 24.7472
|  | 164 | 1013.9501 | 24.6559
|  | 165 | 1051.1103 | 25.7157
|  | 166 | 973.2383 | 25.6504
|  | 167 | 866.9654 | 20.8682
|  | 168 | 762.8411 | 15.0638
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 22/08/2022 | 23/08/2022 | 24/08/2022 | 25/08/2022 | 26/08/2022 | 27/08/2022 | 28/08/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2022-08-22
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 20293 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 22/08/2022 | 23/08/2022 | 24/08/2022 | 25/08/2022 | 26/08/2022 | 27/08/2022 | 28/08/2022
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2022
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-08-20
|  | Hour | Production | Exchange | Consumption
|  | 1 | 364.6738 | -316.7507 | 681.4245
|  | 2 | 189.3451 | -437.5474 | 626.8925
|  | 3 | 113.4052 | -489.6906 | 603.0958
|  | 4 | 73.9171 | -512.525 | 586.4421
|  | 5 | 71.3094 | -512.1371 | 583.4465
|  | 6 | 99.1028 | -512.7123 | 611.815
|  | 7 | 209.2272 | -467.0713 | 676.2985
|  | 8 | 408.2194 | -392.8661 | 801.0855
|  | 9 | 625.0796 | -288.6936 | 913.7732
|  | 10 | 711.4851 | -266.6251 | 978.1103
|  | 11 | 670.2884 | -323.3042 | 993.5926
|  | 12 | 681.2237 | -318.1581 | 999.3818
|  | 13 | 629.6241 | -317.2254 | 946.8495
|  | 14 | 631.3713 | -314.9682 | 946.3395
|  | 15 | 602.3856 | -310.2373 | 912.6229
|  | 16 | 578.6061 | -317.3906 | 895.9968
|  | 17 | 585.4073 | -323.8671 | 909.2744
|  | 18 | 594.6084 | -330.2472 | 924.8556
|  | 19 | 696.8149 | -250.9182 | 947.7331
|  | 20 | 838.099 | -142.2003 | 980.2993
|  | 21 | 857.9673 | -137.3857 | 995.353
|  | 22 | 780.4865 | -154.4487 | 934.9352
|  | 23 | 676.1952 | -152.5777 | 828.7729
|  | 24 | 429.9881 | -300.8631 | 730.8512
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-14 | 2022-03-16 |  |  | Maintenace
| Zemblak-Kardia | 2022-05-03 | 2022-05-06 |  |  | Maintenace
| Prizren_Fierza | 2022-05-23 | 2022-05-24 |  |  | Maintenace
| Prizren_Fierza | 2022-09-06 | 2022-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-04-04 | 2022-04-05 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2022-08-24 | 2022-08-25 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-03-07 | 2022-03-09 |  |  | Maintenace
| Vau Dejes-Podgorica | 2022-10-03 | 2022-10-30 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -32.9703 | -19.6362 | 73.641 | -187.2364 | 283.7157 | -500.626
2 | -23.2792 | -52.3261 | 24.4937 | -213.1283 | 204.0783 | -405.3715
3 | -23.9191 | -66.5975 | 29.6718 | -223.8212 | 224.4265 | -431.7917
4 | -17.9551 | -74.2417 | 18.7009 | -234.1721 | 206.5647 | -397.7913
5 | -18.7157 | -74.9833 | 22.9704 | -235.5301 | 213.1692 | -399.8273
6 | -22.1035 | -76.4103 | 27.269 | -238.8879 | 226.5446 | -425.3728
7 | -32.4908 | -74.8648 | 44.5844 | -233.9625 | 264.4992 | -504.6
8 | -35.4074 | -52.0983 | 59.1038 | -212.0897 | 272.5981 | -513.1349
9 | -40.7347 | -7.9216 | 79.7332 | -176.0436 | 293.5457 | -521.5589
10 | -47.695 | 0.23418 | 105.5439 | -172.918 | 325.3018 | -576.0238
11 | -44.3001 | 8.1757 | 99.5876 | -163.6799 | 293.3253 | -533.2988
12 | -40.9512 | 5.5699 | 86.0684 | -170.0343 | 264.3594 | -496.3876
13 | -44.6468 | 3.9931 | 90.2634 | -165.9636 | 272.6331 | -511.6769
14 | -42.3321 | 2.7314 | 76.52 | -167.3022 | 246.4627 | -464.6709
15 | -36.5846 | 6.6954 | 48.9589 | -167.857 | 204.038 | -409.8847
16 | -32.1911 | 5.7778 | 42.6535 | -167.7022 | 195.2348 | -384.8683
17 | -33.1203 | -3.6851 | 30.5262 | -177.8789 | 175.9565 | -365.1044
18 | -43.9082 | 0.23276 | 75.4672 | -161.2155 | 265.5153 | -508.1662
19 | -39.903 | 16.9943 | 62.6971 | -140.5007 | 243.5328 | -481.1421
20 | -48.2246 | 32.0633 | 84.635 | -114.8604 | 282.1567 | -478.5371
21 | -42.957 | 35.9365 | 96.4202 | -107.735 | 275.899 | -450.8795
22 | -35.9653 | 23.2979 | 86.0386 | -116.6796 | 273.461 | -447.3817
23 | -35.3131 | 28.8891 | 111.0273 | -112.1767 | 319.614 | -476.4018
24 | -35.6474 | 21.5771 | 117.1815 | -128.9047 | 339.9057 | -495.0083
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2022-08-22
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 599.701
|  |  | 01:00 - 02:00 | 470.3
|  |  | 02:00 - 03:00 | 363.3
|  |  | 03:00 - 04:00 | 320.4902
|  |  | 04:00 - 05:00 | 312.4322
|  |  | 05:00 - 06:00 | 369.3
|  |  | 06:00 - 07:00 | 632.6114
|  |  | 07:00 - 08:00 | 918.6798
|  |  | 08:00 - 09:00 | 1115.1696
|  |  | 09:00 - 10:00 | 1111.1595
|  |  | 10:00 - 11:00 | 1107.2061
|  |  | 11:00 - 12:00 | 1085.3024
|  |  | 12:00 - 13:00 | 1092.196
|  |  | 13:00 - 14:00 | 1086.228
|  |  | 14:00 - 15:00 | 1078.2523
|  |  | 15:00 - 16:00 | 1059.0962
|  |  | 16:00 - 17:00 | 1137.0882
|  |  | 17:00 - 18:00 | 1150.1598
|  |  | 18:00 - 19:00 | 1204.4422
|  |  | 19:00 - 20:00 | 1246.5963
|  |  | 20:00 - 21:00 | 1272.8509
|  |  | 21:00 - 22:00 | 1179.2269
|  |  | 22:00 - 23:00 | 1093.7646
|  |  | 23:00 - 00:00 | 962.3
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 38.9775 | 76.3131 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 32.2544 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6896
8 | 39.649 | 3.1378 | 0 | 0 | 0 | 1.0506 | 0 | 107.5486
9 | 76.8877 | 76.9083 | 0 | 0 | 0 | 96.5167 | 0 | 96.2325
10 | 76.8822 | 76.9135 | 0 | 0 | 0 | 92.4789 | 0 | 92.3579
11 | 76.9068 | 76.9035 | 0 | 0 | 0 | 90.0048 | 0 | 90.0598
12 | 76.8948 | 76.9116 | 0 | 0 | 0 | 93.0076 | 0 | 92.8624
13 | 76.8683 | 76.9411 | 0 | 0 | 0 | 95.7521 | 0 | 95.6758
14 | 76.9194 | 76.9367 | 0 | 0 | 0 | 90.7513 | 0 | 90.322
15 | 76.9272 | 76.9286 | 0 | 0 | 0 | 98.0154 | 0 | 97.7568
16 | 74.6287 | 74.993 | 0 | 0 | 0 | 112.5377 | 0 | 112.4341
17 | 74.4915 | 74.895 | 0 | 0 | 0 | 101.6204 | 0 | 101.5263
18 | 74.5036 | 74.8465 | 0 | 0.14264 | 0 | 109.8209 | 0 | 109.6619
19 | 74.487 | 74.8816 | 0 | 73.1647 | 0 | 94.1174 | 0 | 94.0223
20 | 74.5026 | 74.8309 | 0 | 74.3193 | 0 | 114.1869 | 0 | 113.9726
21 | 74.4882 | 74.8626 | 0 | 74.3117 | 0 | 109.2205 | 0 | 92.1507
22 | 74.4816 | 74.8662 | 0 | 12.693 | 0 | 117.6825 | 0 | 110.8931
23 | 74.526 | 74.8577 | 0 | 0 | 0 | 102.2402 | 0 | 97.2714
24 | 74.491 | 74.879 | 0.87427 | 0.31744 | 0 | 1.0733 | 0 | 95.3756
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1248.5356 | 1215.4935 | 0.87427 | 267.2032 | 0 | 1520.0772 | 0 | 1691.8135
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 60 | 55 | 0 | 0 | 0 | 0 | 115
Average | 66.6667 | 48.3333 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 627.9321 | 15.6771
|  | 2 | 572.5008 | 13.8113
|  | 3 | 544.0278 | 14.7758
|  | 4 | 530.3055 | 13.8314
|  | 5 | 527.5369 | 13.5941
|  | 6 | 554.2558 | 14.2076
|  | 7 | 637.6984 | 14.5529
|  | 8 | 770.1985 | 16.0464
|  | 9 | 873.6193 | 18.3023
|  | 10 | 917.8266 | 20.3935
|  | 11 | 915.3165 | 21.5913
|  | 12 | 942.2976 | 21.675
|  | 13 | 938.6091 | 21.9428
|  | 14 | 937.4712 | 22.639
|  | 15 | 938.3715 | 22.4408
|  | 16 | 911.7936 | 21.5381
|  | 17 | 876.9828 | 20.8324
|  | 18 | 876.9549 | 22.0239
|  | 19 | 915.3289 | 21.4641
|  | 20 | 941.9109 | 20.9284
|  | 21 | 998.5646 | 21.5889
|  | 22 | 923.3929 | 22.102
|  | 23 | 830.2916 | 17.8884
|  | 24 | 719.5645 | 13.9542
|  | 25 | 659.6111 | 12.7364
|  | 26 | 603.3002 | 11.528
|  | 27 | 577.8689 | 11.4718
|  | 28 | 561.4511 | 11.3975
|  | 29 | 557.1421 | 10.9789
|  | 30 | 579.7446 | 11.6483
|  | 31 | 641.3765 | 14.8887
|  | 32 | 752.8359 | 16.4532
|  | 33 | 855.8807 | 21.5397
|  | 34 | 914.0378 | 20.8436
|  | 35 | 931.7461 | 21.596
|  | 36 | 944.816 | 22.7676
|  | 37 | 925.8443 | 22.6755
|  | 38 | 908.514 | 23.4955
|  | 39 | 878.7546 | 23.8602
|  | 40 | 863.1189 | 22.7853
|  | 41 | 869.2116 | 20.8907
|  | 42 | 896.6599 | 21.184
|  | 43 | 925.0545 | 21.4539
|  | 44 | 967.6016 | 20.2131
|  | 45 | 988.3294 | 20.4544
|  | 46 | 927.8957 | 20.4806
|  | 47 | 827.9612 | 17.8348
|  | 48 | 727.4328 | 15.3686
|  | 49 | 643.7716 | 13.1393
|  | 50 | 587.9005 | 12.0961
|  | 51 | 560.9483 | 12.9148
|  | 52 | 545.8783 | 12.3969
|  | 53 | 542.3395 | 12.3244
|  | 54 | 567.0002 | 12.2163
|  | 55 | 639.5375 | 13.5978
|  | 56 | 761.5172 | 17.6528
|  | 57 | 864.75 | 20.1884
|  | 58 | 915.9322 | 21.76
|  | 59 | 923.5313 | 22.7839
|  | 60 | 943.5568 | 23.6169
|  | 61 | 932.2267 | 23.328
|  | 62 | 922.9926 | 23.5255
|  | 63 | 908.563 | 23.1587
|  | 64 | 887.4563 | 22.4121
|  | 65 | 873.0972 | 21.3151
|  | 66 | 886.8074 | 21.8767
|  | 67 | 920.1917 | 21.594
|  | 68 | 954.7563 | 21.4336
|  | 69 | 993.447 | 21.9408
|  | 70 | 925.6443 | 21.5248
|  | 71 | 829.1264 | 17.4357
|  | 72 | 723.4986 | 15.5033
|  | 73 | 671.8219 | 13.0503
|  | 74 | 615.7788 | 12.4025
|  | 75 | 584.8985 | 12.4331
|  | 76 | 565.6144 | 11.9672
|  | 77 | 560.9966 | 12.4605
|  | 78 | 577.2806 | 11.7748
|  | 79 | 634.6487 | 13.2863
|  | 80 | 746.7497 | 15.7437
|  | 81 | 851.6501 | 19.6497
|  | 82 | 911.8315 | 22.4725
|  | 83 | 937.7345 | 23.5137
|  | 84 | 947.5439 | 24.444
|  | 85 | 925.1346 | 23.3615
|  | 86 | 915.2065 | 23.0395
|  | 87 | 873.0846 | 21.9321
|  | 88 | 853.0854 | 20.7873
|  | 89 | 860.1647 | 19.4251
|  | 90 | 884.0132 | 19.789
|  | 91 | 922.9211 | 20.7818
|  | 92 | 955.0137 | 20.1653
|  | 93 | 990.8278 | 21.061
|  | 94 | 926.5893 | 21.2396
|  | 95 | 823.2839 | 19.0826
|  | 96 | 727.4146 | 16.926
|  | 97 | 628.2881 | 15.1846
|  | 98 | 577.6866 | 13.8884
|  | 99 | 547.4009 | 12.9965
|  | 100 | 533.4155 | 12.8635
|  | 101 | 533.6247 | 12.5279
|  | 102 | 563.7211 | 12.6359
|  | 103 | 642.8908 | 13.7909
|  | 104 | 769.4349 | 15.1815
|  | 105 | 874.2129 | 16.7895
|  | 106 | 916.8036 | 17.8524
|  | 107 | 931.534 | 17.6948
|  | 108 | 948.0123 | 18.236
|  | 109 | 956.9336 | 18.6852
|  | 110 | 955.851 | 17.2107
|  | 111 | 932.0424 | 16.8887
|  | 112 | 912.7368 | 15.6672
|  | 113 | 909.1881 | 17.519
|  | 114 | 925.4215 | 20.0888
|  | 115 | 954.0989 | 19.1796
|  | 116 | 983.4519 | 18.7794
|  | 117 | 1012.8521 | 17.9232
|  | 118 | 934.3713 | 18.2874
|  | 119 | 830.5196 | 16.271
|  | 120 | 726.4425 | 14.7342
|  | 121 | 650.055 | 12.0345
|  | 122 | 596.7327 | 11.1877
|  | 123 | 566.1497 | 11.3238
|  | 124 | 549.5149 | 11.2216
|  | 125 | 547.3107 | 11.6059
|  | 126 | 570.5009 | 11.5215
|  | 127 | 638.7698 | 13.5504
|  | 128 | 758.0923 | 17.934
|  | 129 | 862.9315 | 20.3987
|  | 130 | 914.3175 | 22.268
|  | 131 | 934.6343 | 23.1338
|  | 132 | 947.7781 | 23.8218
|  | 133 | 941.0341 | 23.898
|  | 134 | 935.5287 | 24.9167
|  | 135 | 902.5635 | 25.1573
|  | 136 | 882.9111 | 25.7733
|  | 137 | 884.6764 | 26.3552
|  | 138 | 904.7173 | 24.7906
|  | 139 | 938.51 | 24.309
|  | 140 | 969.2328 | 24.3183
|  | 141 | 1001.8399 | 24.1761
|  | 142 | 930.4803 | 24.1694
|  | 143 | 826.9018 | 18.6415
|  | 144 | 726.9285 | 14.1401
|  | 145 | 638.3477 | 13.7075
|  | 146 | 583.6984 | 12.5375
|  | 147 | 560.8878 | 13.0504
|  | 148 | 546.3055 | 13.4087
|  | 149 | 545.7384 | 12.8177
|  | 150 | 574.2567 | 11.9208
|  | 151 | 655.3135 | 13.0828
|  | 152 | 785.7765 | 17.7637
|  | 153 | 889.6142 | 21.7584
|  | 154 | 933.3905 | 28.3404
|  | 155 | 956.4291 | 25.8238
|  | 156 | 982.7748 | 30.0658
|  | 157 | 995.7584 | 27.9668
|  | 158 | 997.9599 | 27.7551
|  | 159 | 976.0906 | 27.9719
|  | 160 | 959.3771 | 26.7564
|  | 161 | 953.7383 | 25.7596
|  | 162 | 968.1568 | 25.8827
|  | 163 | 989.1238 | 24.7472
|  | 164 | 1013.9501 | 24.6559
|  | 165 | 1051.1103 | 25.7157
|  | 166 | 973.2383 | 25.6504
|  | 167 | 866.9654 | 20.8682
|  | 168 | 762.8411 | 15.0638
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 22/08/2022 | 23/08/2022 | 24/08/2022 | 25/08/2022 | 26/08/2022 | 27/08/2022 | 28/08/2022
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible