## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-01-01
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 19589 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 26/12/2022 | 27/12/2022 | 28/12/2022 | 29/12/2022 | 30/12/2022 | 31/12/2022 | 01/01/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2022-12-30
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 774.2957 | 83.311 | 690.9847
|  | 2 | 703.4385 | 97.706 | 605.7325
|  | 3 | 655.2554 | 98.876 | 556.3794
|  | 4 | 632.0042 | 81.232 | 550.7722
|  | 5 | 610.9279 | 57.96 | 552.9679
|  | 6 | 668.3826 | 59.823 | 608.5596
|  | 7 | 804.7548 | 57.512 | 747.2428
|  | 8 | 1053.4079 | 96.605 | 956.8029
|  | 9 | 1217.1234 | 115.285 | 1101.8384
|  | 10 | 1238.612 | 124.712 | 1113.9
|  | 11 | 1186.0296 | 115.945 | 1070.0846
|  | 12 | 1159.0956 | 122.812 | 1036.2836
|  | 13 | 1147.7491 | 113.649 | 1034.1001
|  | 14 | 1163.9404 | 105.021 | 1058.9194
|  | 15 | 1137.2936 | 77.071 | 1060.2226
|  | 16 | 1145.3601 | 71.704 | 1073.6561
|  | 17 | 1266.0588 | 111.203 | 1154.8558
|  | 18 | 1354.2677 | 111.172 | 1243.0957
|  | 19 | 1352.2246 | 109.077 | 1243.1476
|  | 20 | 1327.9347 | 95.243 | 1232.6917
|  | 21 | 1290.3501 | 83.873 | 1206.4771
|  | 22 | 1231.6308 | 85.515 | 1146.1158
|  | 23 | 1107.6605 | 91.056 | 1016.6045
|  | 24 | 965.4208 | 106.062 | 859.3588
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 39.1589 | 108.9867 | -66.6721 | -85.7494 | -77.0542 | 170.2562
2 | 41.7017 | 74.5788 | -54.8868 | -97.8776 | -56.026 | 176.5513
3 | 43.8211 | 58.1174 | -50.6248 | -108.0382 | -49.435 | 187.7789
4 | 43.9482 | 40.5356 | -58.661 | -127.2402 | -60.2838 | 194.8662
5 | 46.1627 | 40.4583 | -62.6094 | -124.6952 | -68.9123 | 213.7928
6 | 46.5452 | 43.5026 | -63.8598 | -116.5893 | -76.8123 | 216.5603
7 | 41.3802 | 59.5346 | -64.5953 | -93.665 | -95.2762 | 241.9006
8 | 35.0939 | 96.5504 | -68.9691 | -88.9782 | -109.665 | 228.1364
9 | 28.8161 | 122.1639 | -47.6791 | -95.8745 | -90.0614 | 179.0466
10 | 26.5447 | 134.3206 | -45.7777 | -88.9008 | -102.9316 | 166.4939
11 | 26.304 | 135.6242 | -29.5441 | -103.8675 | -66.5603 | 117.1138
12 | 33.098 | 132.6444 | -37.7822 | -104.8385 | -74.6484 | 125.6345
13 | 34.7104 | 126.9368 | -41.2729 | -113.7701 | -72.533 | 134.9939
14 | 28.7357 | 131.5388 | -38.0384 | -100.342 | -72.619 | 143.4863
15 | 26.5106 | 139.1808 | -33.7526 | -82.398 | -82.535 | 169.5362
16 | 15.5192 | 150.7947 | -47.1593 | -59.9639 | -106.4905 | 179.124
17 | 2.7722 | 206.334 | -2.4344 | -11.367 | -32.5248 | 134.6236
18 | 8.5528 | 227.5201 | -20.0028 | 4.3707 | -75.1834 | 161.7703
19 | 15.4831 | 223.3191 | -30.3918 | -1.0419 | -88.5992 | 183.4308
20 | 12.7644 | 206.735 | -24.7289 | -21.9405 | -51.1043 | 149.9814
21 | 16.9891 | 176.6409 | -13.5086 | -56.2867 | -7.935 | 101.3484
22 | 19.298 | 160.3683 | -17.4431 | -68.8246 | -7.6608 | 117.4583
23 | 22.8447 | 133.4215 | -18.9529 | -68.1311 | -10.8326 | 124.0243
24 | 21.7181 | 139.7138 | -24.2549 | -68.644 | -8.814 | 106.1726
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-01-01
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 907.2777
|  |  | 01:00 - 02:00 | 812.6551
|  |  | 02:00 - 03:00 | 716.1439
|  |  | 03:00 - 04:00 | 642.818
|  |  | 04:00 - 05:00 | 619.8707
|  |  | 05:00 - 06:00 | 606.8905
|  |  | 06:00 - 07:00 | 663.9786
|  |  | 07:00 - 08:00 | 740.101
|  |  | 08:00 - 09:00 | 912.3793
|  |  | 09:00 - 10:00 | 1010.0195
|  |  | 10:00 - 11:00 | 1064.9184
|  |  | 11:00 - 12:00 | 1062.744
|  |  | 12:00 - 13:00 | 996.893
|  |  | 13:00 - 14:00 | 972.9996
|  |  | 14:00 - 15:00 | 957.2421
|  |  | 15:00 - 16:00 | 961.832
|  |  | 16:00 - 17:00 | 1055.8806
|  |  | 17:00 - 18:00 | 1171.2389
|  |  | 18:00 - 19:00 | 1142.0158
|  |  | 19:00 - 20:00 | 1149.0203
|  |  | 20:00 - 21:00 | 1105.7852
|  |  | 21:00 - 22:00 | 1043.8744
|  |  | 22:00 - 23:00 | 953.0247
|  |  | 23:00 - 00:00 | 835.6325
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 119.3918 | 99.2257 | 1.0176 | 0 | 109.5093
2 | 0 | 0 | 0 | 0.94334 | 89.2841 | 0 | 0 | 115.8581
3 | 0 | 0 | 0 | 0 | 33.5585 | 0 | 0 | 123.5182
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106.2954
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.4453
6 | 0 | 0 | 0 | 0 | 0 | 0.51803 | 66.8516 | 97.9367
7 | 0 | 3.4181 | 1.3608 | 0 | 0 | 99.582 | 104.2765 | 106.8575
8 | 0 | 99.8866 | 98.8025 | 1.661 | 0 | 113.3087 | 103.3455 | 111.3281
9 | 0 | 103.4906 | 103.2176 | 102.4791 | 0 | 111.9955 | 129.8151 | 108.8835
10 | 0 | 110.6915 | 110.3222 | 109.9781 | 0 | 111.695 | 141.6383 | 107.2992
11 | 0 | 120.0742 | 119.5647 | 119.2253 | 0 | 99.7523 | 102.4322 | 96.081
12 | 0 | 120.1043 | 119.6421 | 119.3294 | 0 | 98.9582 | 117.0375 | 95.0467
13 | 0 | 120.1277 | 119.6293 | 119.335 | 0 | 96.0735 | 106.3884 | 92.9008
14 | 0 | 120.1007 | 119.6475 | 119.3272 | 0 | 109.2887 | 122.9168 | 105.4307
15 | 0 | 120.1589 | 119.6858 | 119.3275 | 0 | 120.657 | 103.4459 | 115.6526
16 | 0 | 120.123 | 119.7353 | 119.3407 | 1.5303 | 111.513 | 143.5401 | 107.3152
17 | 88.8386 | 120.126 | 119.7414 | 119.3436 | 121.8318 | 121.8027 | 121.555 | 120.5466
18 | 115.6071 | 120.1003 | 119.6456 | 119.3365 | 143.7466 | 143.8566 | 141.925 | 138.7082
19 | 121.8164 | 120.1516 | 119.6582 | 119.3346 | 143.6952 | 143.8261 | 142.8943 | 103.3891
20 | 100.1577 | 120.1296 | 119.648 | 119.2828 | 140.5089 | 140.6569 | 141.6649 | 118.0892
21 | 99.7565 | 110.5505 | 110.2969 | 114.6295 | 115.6494 | 116.0475 | 118.0892 | 109.6605
22 | 108.7883 | 108.7861 | 108.4701 | 111.5953 | 0.22247 | 104.5341 | 120.1868 | 103.4502
23 | 91.1274 | 91.4545 | 99.5448 | 0.68834 | 0 | 138.5894 | 129.8219 | 120.2411
24 | 114.8076 | 114.832 | 113.6923 | 0 | 0 | 99.7505 | 103.5985 | 122.26
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 840.8996 | 1944.3062 | 1942.3053 | 1754.549 | 889.253 | 2083.4232 | 2261.4234 | 2644.7031
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 711.6474 | 26.6967
|  | 2 | 613.7806 | 25.7949
|  | 3 | 565.8127 | 23.8706
|  | 4 | 544.8571 | 23.8443
|  | 5 | 553.1834 | 24.2807
|  | 6 | 610.0389 | 24.0224
|  | 7 | 721.5935 | 21.4267
|  | 8 | 914.6106 | 24.65
|  | 9 | 1063.5622 | 27.06
|  | 10 | 1097.4328 | 26.9137
|  | 11 | 1072.9485 | 25.819
|  | 12 | 1039.9966 | 24.9046
|  | 13 | 1034.1286 | 23.4873
|  | 14 | 1038.0829 | 25.028
|  | 15 | 1034.867 | 24.0771
|  | 16 | 1055.4901 | 24.0935
|  | 17 | 1142.9662 | 26.6318
|  | 18 | 1227.3312 | 29.7927
|  | 19 | 1224.4667 | 29.5963
|  | 20 | 1205.7208 | 29.0357
|  | 21 | 1165.8696 | 26.7496
|  | 22 | 1079.9361 | 22.758
|  | 23 | 956.0592 | 20.3256
|  | 24 | 812.9707 | 18.1349
|  | 25 | 688.6827 | 18.6319
|  | 26 | 595.8458 | 19.6314
|  | 27 | 548.3599 | 19.0879
|  | 28 | 532.9521 | 17.9635
|  | 29 | 542.1492 | 17.6843
|  | 30 | 593.2561 | 14.3832
|  | 31 | 711.1776 | 14.9921
|  | 32 | 895.2475 | 21.0992
|  | 33 | 1051.5515 | 23.1457
|  | 34 | 1082.6055 | 21.8661
|  | 35 | 1047.3282 | 19.9528
|  | 36 | 1018.9692 | 20.1687
|  | 37 | 999.7698 | 18.9993
|  | 38 | 1002.4353 | 20.0178
|  | 39 | 1000.4341 | 20.2647
|  | 40 | 1027.4365 | 20.1208
|  | 41 | 1112.1256 | 24.1354
|  | 42 | 1214.1412 | 26.9896
|  | 43 | 1215.8346 | 26.5941
|  | 44 | 1204.7184 | 27.7442
|  | 45 | 1175.8737 | 23.0846
|  | 46 | 1093.3887 | 23.2106
|  | 47 | 956.7921 | 18.0393
|  | 48 | 802.3909 | 15.1391
|  | 49 | 662.2086 | 14.323
|  | 50 | 578.3692 | 13.9648
|  | 51 | 541.7189 | 13.799
|  | 52 | 528.5275 | 13.9947
|  | 53 | 539.3913 | 13.6523
|  | 54 | 597.2051 | 14.2859
|  | 55 | 736.4543 | 13.846
|  | 56 | 945.0283 | 17.9955
|  | 57 | 1098.1462 | 21.5079
|  | 58 | 1129.2577 | 23.2699
|  | 59 | 1098.0464 | 23.7387
|  | 60 | 1075.029 | 23.5023
|  | 61 | 1056.3736 | 22.6355
|  | 62 | 1061.212 | 23.8054
|  | 63 | 1059.6376 | 23.2305
|  | 64 | 1072.5255 | 23.0966
|  | 65 | 1143.6607 | 24.3442
|  | 66 | 1244.4589 | 25.9609
|  | 67 | 1246.051 | 25.356
|  | 68 | 1232.5283 | 25.3027
|  | 69 | 1202.9971 | 23.9533
|  | 70 | 1115.6033 | 20.58
|  | 71 | 970.5926 | 18.1238
|  | 72 | 820.2522 | 15.0387
|  | 73 | 677.5147 | 13.0876
|  | 74 | 587.5844 | 12.4801
|  | 75 | 564.5806 | 12.9024
|  | 76 | 577.6252 | 12.8121
|  | 77 | 600.6358 | 13.5467
|  | 78 | 602.1179 | 13.8568
|  | 79 | 748.1104 | 16.4381
|  | 80 | 979.1569 | 21.3753
|  | 81 | 1093.7037 | 26.9862
|  | 82 | 1136.701 | 31.35
|  | 83 | 1112.116 | 32.8381
|  | 84 | 1097.7883 | 37.9636
|  | 85 | 1087.7248 | 35.48
|  | 86 | 1090.6271 | 30.3246
|  | 87 | 1105.3405 | 24.9977
|  | 88 | 1107.0341 | 22.6591
|  | 89 | 1151.097 | 25.3898
|  | 90 | 1253.8778 | 28.5333
|  | 91 | 1261.0141 | 29.4112
|  | 92 | 1240.8987 | 28.6727
|  | 93 | 1221.7297 | 27.5956
|  | 94 | 1130.6607 | 23.784
|  | 95 | 987.0962 | 21.1434
|  | 96 | 830.4714 | 16.2788
|  | 97 | 680.3808 | 17.2094
|  | 98 | 596.7655 | 15.7886
|  | 99 | 554.7121 | 15.6194
|  | 100 | 542.5477 | 16.8817
|  | 101 | 552.8473 | 15.5079
|  | 102 | 610.5612 | 14.7655
|  | 103 | 747.3474 | 16.6042
|  | 104 | 963.6562 | 22.0084
|  | 105 | 1097.0935 | 24.2081
|  | 106 | 1122.1865 | 22.6773
|  | 107 | 1088.9947 | 20.0972
|  | 108 | 1066.4629 | 19.0462
|  | 109 | 1047.1831 | 18.0567
|  | 110 | 1049.7919 | 18.4234
|  | 111 | 1066.9779 | 19.1245
|  | 112 | 1080.4065 | 19.2687
|  | 113 | 1151.7516 | 22.3071
|  | 114 | 1242.8217 | 27.1842
|  | 115 | 1246.4958 | 25.3846
|  | 116 | 1236.8784 | 24.7129
|  | 117 | 1205.5267 | 24.1545
|  | 118 | 1124.1263 | 20.5517
|  | 119 | 977.2012 | 16.9566
|  | 120 | 814.8236 | 14.1416
|  | 121 | 718.1073 | 15.0524
|  | 122 | 624.3955 | 14.1518
|  | 123 | 576.0821 | 15.6463
|  | 124 | 558.8064 | 15.5162
|  | 125 | 569.6613 | 12.7465
|  | 126 | 623.5845 | 12.8865
|  | 127 | 755.4577 | 15.1792
|  | 128 | 976.6624 | 18.493
|  | 129 | 1145.4435 | 19.8446
|  | 130 | 1174.9881 | 20.4414
|  | 131 | 1140.9561 | 19.2813
|  | 132 | 1113.5097 | 18.0662
|  | 133 | 1117.699 | 17.6287
|  | 134 | 1121.9252 | 19.3468
|  | 135 | 1143.4953 | 21.4418
|  | 136 | 1173.4034 | 21.2589
|  | 137 | 1256.8843 | 24.3712
|  | 138 | 1368.392 | 33.6176
|  | 139 | 1355.7147 | 35.3258
|  | 140 | 1307.7615 | 32.0505
|  | 141 | 1227.1207 | 28.7008
|  | 142 | 1119.2772 | 25.7199
|  | 143 | 1011.5676 | 21.8579
|  | 144 | 902.565 | 18.9708
|  | 145 | 566.4031 | 18.6447
|  | 146 | 507.0953 | 19.0746
|  | 147 | 480.385 | 18.6753
|  | 148 | 472.8527 | 17.8172
|  | 149 | 476.3182 | 16.7591
|  | 150 | 517.8024 | 15.567
|  | 151 | 601.5208 | 17.1383
|  | 152 | 729.0459 | 20.0387
|  | 153 | 864.7308 | 22.166
|  | 154 | 935.5314 | 23.3897
|  | 155 | 946.555 | 22.2847
|  | 156 | 935.1878 | 20.4826
|  | 157 | 934.3994 | 19.4999
|  | 158 | 946.8882 | 19.5648
|  | 159 | 935.7031 | 20.5417
|  | 160 | 945.9536 | 21.8336
|  | 161 | 1024.2451 | 26.827
|  | 162 | 1084.8735 | 30.6124
|  | 163 | 1072.4411 | 29.3464
|  | 164 | 1070.8164 | 29.6726
|  | 165 | 1056.2646 | 27.3884
|  | 166 | 971.0253 | 23.1087
|  | 167 | 830.0022 | 19.5472
|  | 168 | 683.0184 | 17.9317
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 26/12/2022 | 27/12/2022 | 28/12/2022 | 29/12/2022 | 30/12/2022 | 31/12/2022 | 01/01/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-01-01
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 19589 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 26/12/2022 | 27/12/2022 | 28/12/2022 | 29/12/2022 | 30/12/2022 | 31/12/2022 | 01/01/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2022-12-30
|  | Hour | Production | Exchange | Consumption
|  | 1 | 774.2957 | 83.311 | 690.9847
|  | 2 | 703.4385 | 97.706 | 605.7325
|  | 3 | 655.2554 | 98.876 | 556.3794
|  | 4 | 632.0042 | 81.232 | 550.7722
|  | 5 | 610.9279 | 57.96 | 552.9679
|  | 6 | 668.3826 | 59.823 | 608.5596
|  | 7 | 804.7548 | 57.512 | 747.2428
|  | 8 | 1053.4079 | 96.605 | 956.8029
|  | 9 | 1217.1234 | 115.285 | 1101.8384
|  | 10 | 1238.612 | 124.712 | 1113.9
|  | 11 | 1186.0296 | 115.945 | 1070.0846
|  | 12 | 1159.0956 | 122.812 | 1036.2836
|  | 13 | 1147.7491 | 113.649 | 1034.1001
|  | 14 | 1163.9404 | 105.021 | 1058.9194
|  | 15 | 1137.2936 | 77.071 | 1060.2226
|  | 16 | 1145.3601 | 71.704 | 1073.6561
|  | 17 | 1266.0588 | 111.203 | 1154.8558
|  | 18 | 1354.2677 | 111.172 | 1243.0957
|  | 19 | 1352.2246 | 109.077 | 1243.1476
|  | 20 | 1327.9347 | 95.243 | 1232.6917
|  | 21 | 1290.3501 | 83.873 | 1206.4771
|  | 22 | 1231.6308 | 85.515 | 1146.1158
|  | 23 | 1107.6605 | 91.056 | 1016.6045
|  | 24 | 965.4208 | 106.062 | 859.3588
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 39.1589 | 108.9867 | -66.6721 | -85.7494 | -77.0542 | 170.2562
2 | 41.7017 | 74.5788 | -54.8868 | -97.8776 | -56.026 | 176.5513
3 | 43.8211 | 58.1174 | -50.6248 | -108.0382 | -49.435 | 187.7789
4 | 43.9482 | 40.5356 | -58.661 | -127.2402 | -60.2838 | 194.8662
5 | 46.1627 | 40.4583 | -62.6094 | -124.6952 | -68.9123 | 213.7928
6 | 46.5452 | 43.5026 | -63.8598 | -116.5893 | -76.8123 | 216.5603
7 | 41.3802 | 59.5346 | -64.5953 | -93.665 | -95.2762 | 241.9006
8 | 35.0939 | 96.5504 | -68.9691 | -88.9782 | -109.665 | 228.1364
9 | 28.8161 | 122.1639 | -47.6791 | -95.8745 | -90.0614 | 179.0466
10 | 26.5447 | 134.3206 | -45.7777 | -88.9008 | -102.9316 | 166.4939
11 | 26.304 | 135.6242 | -29.5441 | -103.8675 | -66.5603 | 117.1138
12 | 33.098 | 132.6444 | -37.7822 | -104.8385 | -74.6484 | 125.6345
13 | 34.7104 | 126.9368 | -41.2729 | -113.7701 | -72.533 | 134.9939
14 | 28.7357 | 131.5388 | -38.0384 | -100.342 | -72.619 | 143.4863
15 | 26.5106 | 139.1808 | -33.7526 | -82.398 | -82.535 | 169.5362
16 | 15.5192 | 150.7947 | -47.1593 | -59.9639 | -106.4905 | 179.124
17 | 2.7722 | 206.334 | -2.4344 | -11.367 | -32.5248 | 134.6236
18 | 8.5528 | 227.5201 | -20.0028 | 4.3707 | -75.1834 | 161.7703
19 | 15.4831 | 223.3191 | -30.3918 | -1.0419 | -88.5992 | 183.4308
20 | 12.7644 | 206.735 | -24.7289 | -21.9405 | -51.1043 | 149.9814
21 | 16.9891 | 176.6409 | -13.5086 | -56.2867 | -7.935 | 101.3484
22 | 19.298 | 160.3683 | -17.4431 | -68.8246 | -7.6608 | 117.4583
23 | 22.8447 | 133.4215 | -18.9529 | -68.1311 | -10.8326 | 124.0243
24 | 21.7181 | 139.7138 | -24.2549 | -68.644 | -8.814 | 106.1726
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-01-01
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 907.2777
|  |  | 01:00 - 02:00 | 812.6551
|  |  | 02:00 - 03:00 | 716.1439
|  |  | 03:00 - 04:00 | 642.818
|  |  | 04:00 - 05:00 | 619.8707
|  |  | 05:00 - 06:00 | 606.8905
|  |  | 06:00 - 07:00 | 663.9786
|  |  | 07:00 - 08:00 | 740.101
|  |  | 08:00 - 09:00 | 912.3793
|  |  | 09:00 - 10:00 | 1010.0195
|  |  | 10:00 - 11:00 | 1064.9184
|  |  | 11:00 - 12:00 | 1062.744
|  |  | 12:00 - 13:00 | 996.893
|  |  | 13:00 - 14:00 | 972.9996
|  |  | 14:00 - 15:00 | 957.2421
|  |  | 15:00 - 16:00 | 961.832
|  |  | 16:00 - 17:00 | 1055.8806
|  |  | 17:00 - 18:00 | 1171.2389
|  |  | 18:00 - 19:00 | 1142.0158
|  |  | 19:00 - 20:00 | 1149.0203
|  |  | 20:00 - 21:00 | 1105.7852
|  |  | 21:00 - 22:00 | 1043.8744
|  |  | 22:00 - 23:00 | 953.0247
|  |  | 23:00 - 00:00 | 835.6325
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 119.3918 | 99.2257 | 1.0176 | 0 | 109.5093
2 | 0 | 0 | 0 | 0.94334 | 89.2841 | 0 | 0 | 115.8581
3 | 0 | 0 | 0 | 0 | 33.5585 | 0 | 0 | 123.5182
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106.2954
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.4453
6 | 0 | 0 | 0 | 0 | 0 | 0.51803 | 66.8516 | 97.9367
7 | 0 | 3.4181 | 1.3608 | 0 | 0 | 99.582 | 104.2765 | 106.8575
8 | 0 | 99.8866 | 98.8025 | 1.661 | 0 | 113.3087 | 103.3455 | 111.3281
9 | 0 | 103.4906 | 103.2176 | 102.4791 | 0 | 111.9955 | 129.8151 | 108.8835
10 | 0 | 110.6915 | 110.3222 | 109.9781 | 0 | 111.695 | 141.6383 | 107.2992
11 | 0 | 120.0742 | 119.5647 | 119.2253 | 0 | 99.7523 | 102.4322 | 96.081
12 | 0 | 120.1043 | 119.6421 | 119.3294 | 0 | 98.9582 | 117.0375 | 95.0467
13 | 0 | 120.1277 | 119.6293 | 119.335 | 0 | 96.0735 | 106.3884 | 92.9008
14 | 0 | 120.1007 | 119.6475 | 119.3272 | 0 | 109.2887 | 122.9168 | 105.4307
15 | 0 | 120.1589 | 119.6858 | 119.3275 | 0 | 120.657 | 103.4459 | 115.6526
16 | 0 | 120.123 | 119.7353 | 119.3407 | 1.5303 | 111.513 | 143.5401 | 107.3152
17 | 88.8386 | 120.126 | 119.7414 | 119.3436 | 121.8318 | 121.8027 | 121.555 | 120.5466
18 | 115.6071 | 120.1003 | 119.6456 | 119.3365 | 143.7466 | 143.8566 | 141.925 | 138.7082
19 | 121.8164 | 120.1516 | 119.6582 | 119.3346 | 143.6952 | 143.8261 | 142.8943 | 103.3891
20 | 100.1577 | 120.1296 | 119.648 | 119.2828 | 140.5089 | 140.6569 | 141.6649 | 118.0892
21 | 99.7565 | 110.5505 | 110.2969 | 114.6295 | 115.6494 | 116.0475 | 118.0892 | 109.6605
22 | 108.7883 | 108.7861 | 108.4701 | 111.5953 | 0.22247 | 104.5341 | 120.1868 | 103.4502
23 | 91.1274 | 91.4545 | 99.5448 | 0.68834 | 0 | 138.5894 | 129.8219 | 120.2411
24 | 114.8076 | 114.832 | 113.6923 | 0 | 0 | 99.7505 | 103.5985 | 122.26
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 840.8996 | 1944.3062 | 1942.3053 | 1635.1571 | 790.0273 | 2082.4056 | 2261.4234 | 2535.1937
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Average | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 711.6474 | 26.6967
|  | 2 | 613.7806 | 25.7949
|  | 3 | 565.8127 | 23.8706
|  | 4 | 544.8571 | 23.8443
|  | 5 | 553.1834 | 24.2807
|  | 6 | 610.0389 | 24.0224
|  | 7 | 721.5935 | 21.4267
|  | 8 | 914.6106 | 24.65
|  | 9 | 1063.5622 | 27.06
|  | 10 | 1097.4328 | 26.9137
|  | 11 | 1072.9485 | 25.819
|  | 12 | 1039.9966 | 24.9046
|  | 13 | 1034.1286 | 23.4873
|  | 14 | 1038.0829 | 25.028
|  | 15 | 1034.867 | 24.0771
|  | 16 | 1055.4901 | 24.0935
|  | 17 | 1142.9662 | 26.6318
|  | 18 | 1227.3312 | 29.7927
|  | 19 | 1224.4667 | 29.5963
|  | 20 | 1205.7208 | 29.0357
|  | 21 | 1165.8696 | 26.7496
|  | 22 | 1079.9361 | 22.758
|  | 23 | 956.0592 | 20.3256
|  | 24 | 812.9707 | 18.1349
|  | 25 | 688.6827 | 18.6319
|  | 26 | 595.8458 | 19.6314
|  | 27 | 548.3599 | 19.0879
|  | 28 | 532.9521 | 17.9635
|  | 29 | 542.1492 | 17.6843
|  | 30 | 593.2561 | 14.3832
|  | 31 | 711.1776 | 14.9921
|  | 32 | 895.2475 | 21.0992
|  | 33 | 1051.5515 | 23.1457
|  | 34 | 1082.6055 | 21.8661
|  | 35 | 1047.3282 | 19.9528
|  | 36 | 1018.9692 | 20.1687
|  | 37 | 999.7698 | 18.9993
|  | 38 | 1002.4353 | 20.0178
|  | 39 | 1000.4341 | 20.2647
|  | 40 | 1027.4365 | 20.1208
|  | 41 | 1112.1256 | 24.1354
|  | 42 | 1214.1412 | 26.9896
|  | 43 | 1215.8346 | 26.5941
|  | 44 | 1204.7184 | 27.7442
|  | 45 | 1175.8737 | 23.0846
|  | 46 | 1093.3887 | 23.2106
|  | 47 | 956.7921 | 18.0393
|  | 48 | 802.3909 | 15.1391
|  | 49 | 662.2086 | 14.323
|  | 50 | 578.3692 | 13.9648
|  | 51 | 541.7189 | 13.799
|  | 52 | 528.5275 | 13.9947
|  | 53 | 539.3913 | 13.6523
|  | 54 | 597.2051 | 14.2859
|  | 55 | 736.4543 | 13.846
|  | 56 | 945.0283 | 17.9955
|  | 57 | 1098.1462 | 21.5079
|  | 58 | 1129.2577 | 23.2699
|  | 59 | 1098.0464 | 23.7387
|  | 60 | 1075.029 | 23.5023
|  | 61 | 1056.3736 | 22.6355
|  | 62 | 1061.212 | 23.8054
|  | 63 | 1059.6376 | 23.2305
|  | 64 | 1072.5255 | 23.0966
|  | 65 | 1143.6607 | 24.3442
|  | 66 | 1244.4589 | 25.9609
|  | 67 | 1246.051 | 25.356
|  | 68 | 1232.5283 | 25.3027
|  | 69 | 1202.9971 | 23.9533
|  | 70 | 1115.6033 | 20.58
|  | 71 | 970.5926 | 18.1238
|  | 72 | 820.2522 | 15.0387
|  | 73 | 677.5147 | 13.0876
|  | 74 | 587.5844 | 12.4801
|  | 75 | 564.5806 | 12.9024
|  | 76 | 577.6252 | 12.8121
|  | 77 | 600.6358 | 13.5467
|  | 78 | 602.1179 | 13.8568
|  | 79 | 748.1104 | 16.4381
|  | 80 | 979.1569 | 21.3753
|  | 81 | 1093.7037 | 26.9862
|  | 82 | 1136.701 | 31.35
|  | 83 | 1112.116 | 32.8381
|  | 84 | 1097.7883 | 37.9636
|  | 85 | 1087.7248 | 35.48
|  | 86 | 1090.6271 | 30.3246
|  | 87 | 1105.3405 | 24.9977
|  | 88 | 1107.0341 | 22.6591
|  | 89 | 1151.097 | 25.3898
|  | 90 | 1253.8778 | 28.5333
|  | 91 | 1261.0141 | 29.4112
|  | 92 | 1240.8987 | 28.6727
|  | 93 | 1221.7297 | 27.5956
|  | 94 | 1130.6607 | 23.784
|  | 95 | 987.0962 | 21.1434
|  | 96 | 830.4714 | 16.2788
|  | 97 | 680.3808 | 17.2094
|  | 98 | 596.7655 | 15.7886
|  | 99 | 554.7121 | 15.6194
|  | 100 | 542.5477 | 16.8817
|  | 101 | 552.8473 | 15.5079
|  | 102 | 610.5612 | 14.7655
|  | 103 | 747.3474 | 16.6042
|  | 104 | 963.6562 | 22.0084
|  | 105 | 1097.0935 | 24.2081
|  | 106 | 1122.1865 | 22.6773
|  | 107 | 1088.9947 | 20.0972
|  | 108 | 1066.4629 | 19.0462
|  | 109 | 1047.1831 | 18.0567
|  | 110 | 1049.7919 | 18.4234
|  | 111 | 1066.9779 | 19.1245
|  | 112 | 1080.4065 | 19.2687
|  | 113 | 1151.7516 | 22.3071
|  | 114 | 1242.8217 | 27.1842
|  | 115 | 1246.4958 | 25.3846
|  | 116 | 1236.8784 | 24.7129
|  | 117 | 1205.5267 | 24.1545
|  | 118 | 1124.1263 | 20.5517
|  | 119 | 977.2012 | 16.9566
|  | 120 | 814.8236 | 14.1416
|  | 121 | 718.1073 | 15.0524
|  | 122 | 624.3955 | 14.1518
|  | 123 | 576.0821 | 15.6463
|  | 124 | 558.8064 | 15.5162
|  | 125 | 569.6613 | 12.7465
|  | 126 | 623.5845 | 12.8865
|  | 127 | 755.4577 | 15.1792
|  | 128 | 976.6624 | 18.493
|  | 129 | 1145.4435 | 19.8446
|  | 130 | 1174.9881 | 20.4414
|  | 131 | 1140.9561 | 19.2813
|  | 132 | 1113.5097 | 18.0662
|  | 133 | 1117.699 | 17.6287
|  | 134 | 1121.9252 | 19.3468
|  | 135 | 1143.4953 | 21.4418
|  | 136 | 1173.4034 | 21.2589
|  | 137 | 1256.8843 | 24.3712
|  | 138 | 1368.392 | 33.6176
|  | 139 | 1355.7147 | 35.3258
|  | 140 | 1307.7615 | 32.0505
|  | 141 | 1227.1207 | 28.7008
|  | 142 | 1119.2772 | 25.7199
|  | 143 | 1011.5676 | 21.8579
|  | 144 | 902.565 | 18.9708
|  | 145 | 566.4031 | 18.6447
|  | 146 | 507.0953 | 19.0746
|  | 147 | 480.385 | 18.6753
|  | 148 | 472.8527 | 17.8172
|  | 149 | 476.3182 | 16.7591
|  | 150 | 517.8024 | 15.567
|  | 151 | 601.5208 | 17.1383
|  | 152 | 729.0459 | 20.0387
|  | 153 | 864.7308 | 22.166
|  | 154 | 935.5314 | 23.3897
|  | 155 | 946.555 | 22.2847
|  | 156 | 935.1878 | 20.4826
|  | 157 | 934.3994 | 19.4999
|  | 158 | 946.8882 | 19.5648
|  | 159 | 935.7031 | 20.5417
|  | 160 | 945.9536 | 21.8336
|  | 161 | 1024.2451 | 26.827
|  | 162 | 1084.8735 | 30.6124
|  | 163 | 1072.4411 | 29.3464
|  | 164 | 1070.8164 | 29.6726
|  | 165 | 1056.2646 | 27.3884
|  | 166 | 971.0253 | 23.1087
|  | 167 | 830.0022 | 19.5472
|  | 168 | 683.0184 | 17.9317
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 26/12/2022 | 27/12/2022 | 28/12/2022 | 29/12/2022 | 30/12/2022 | 31/12/2022 | 01/01/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible