## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-01-10
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 22400 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 09/01/2023 | 10/01/2023 | 11/01/20232 | 12/01/2023 | 13/01/2023 | 14/01/2023 | 15/01/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-01-08
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 847.3162 | 136.785 | 710.5312
|  | 2 | 715.127 | 115.455 | 599.672
|  | 3 | 675.9647 | 111.123 | 564.8417
|  | 4 | 570.4522 | 26.053 | 544.3992
|  | 5 | 577.2578 | 26.204 | 551.0538
|  | 6 | 620.5762 | 25.023 | 595.5532
|  | 7 | 745.9303 | 61.05 | 684.8803
|  | 8 | 981.955 | 136.148 | 845.807
|  | 9 | 1210.2801 | 206.121 | 1004.1591
|  | 10 | 1194.3224 | 140.884 | 1053.4384
|  | 11 | 1258.8206 | 217.925 | 1040.8956
|  | 12 | 1222.5293 | 212.88 | 1009.6493
|  | 13 | 1214.4829 | 217.597 | 996.8859
|  | 14 | 1225.61 | 227.273 | 998.337
|  | 15 | 1199.0939 | 191.623 | 1007.4709
|  | 16 | 1208.0949 | 170.186 | 1037.9089
|  | 17 | 1336.0092 | 191.06 | 1144.9492
|  | 18 | 1499.4551 | 207.667 | 1291.7881
|  | 19 | 1510.6995 | 204.322 | 1306.3775
|  | 20 | 1510.9372 | 199.935 | 1311.0022
|  | 21 | 1479.929 | 210.612 | 1269.317
|  | 22 | 1352.302 | 200.699 | 1151.603
|  | 23 | 1173.0362 | 195.645 | 977.3912
|  | 24 | 989.8995 | 207.125 | 782.7745
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 21.9629 | 61.8714 | 7.0647 | -118.9214 | 18.7219 | 22.636
2 | 32.0926 | 43.9525 | -13.9996 | -108.3802 | -83.07 | 111.4483
3 | 27.4831 | 30.2594 | -10.0658 | -110.0575 | -70.017 | 110.7736
4 | 30.9929 | 24.5738 | -15.4764 | -110.1381 | -80.5836 | 132.109
5 | 34.2094 | 22.65 | -21.279 | -104.8159 | -98.4991 | 157.9834
6 | 31.728 | 30.0366 | -36.2161 | -86.7525 | -135.5532 | 211.869
7 | 26.4784 | 37.2188 | -44.077 | -95.0262 | -103.2541 | 183.4463
8 | 20.3068 | 67.4406 | -27.0146 | -110.4091 | -78.5595 | 117.9602
9 | 20.6053 | 101.1566 | 8.4091 | -88.0718 | -32.4737 | 104.5094
10 | 12.5109 | 127.088 | 33.0547 | -73.2308 | 9.9375 | 65.9209
11 | 10.8245 | 159.5813 | 49.6522 | -77.2338 | 47.4298 | 32.8585
12 | 7.5636 | 159.8673 | 59.553 | -73.7759 | 71.2212 | -19.1549
13 | 7.0111 | 163.3566 | 55.5042 | -65.5313 | 63.3454 | -15.3577
14 | -6.1636 | 168.3283 | 59.8493 | -57.4189 | 83.0834 | -50.9542
15 | 5.4674 | 156.9443 | 29.4593 | -70.1762 | 6.4404 | 62.6773
16 | 0.80027 | 168.3637 | 9.1791 | -45.7648 | -29.8153 | 97.266
17 | -0.79447 | 183.9849 | 25.1281 | -26.5822 | -10.1687 | 96.5164
18 | 1.9136 | 171.7728 | 16.8903 | -62.2734 | -23.442 | 83.2837
19 | -5.1471 | 166.7117 | 43.1243 | -72.0986 | 31.1593 | 25.3055
20 | -1.0509 | 160.2683 | 37.2578 | -70.8858 | 19.7272 | 43.8024
21 | 5.5225 | 143.1768 | 45.0659 | -94.7649 | 39.0351 | 14.7965
22 | 12.4088 | 136.5162 | 43.2826 | -105.8674 | 38.9007 | 31.6922
23 | 4.9669 | 139.6002 | 42.8696 | -89.0104 | 61.4531 | -1.4993
24 | -9.8024 | 122.9423 | 80.3843 | -47.126 | 105.668 | -98.9408
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-01-10
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 671.0087
|  |  | 01:00 - 02:00 | 597.5368
|  |  | 02:00 - 03:00 | 563.3669
|  |  | 03:00 - 04:00 | 549.2186
|  |  | 04:00 - 05:00 | 566.2746
|  |  | 05:00 - 06:00 | 643.7666
|  |  | 06:00 - 07:00 | 829.8727
|  |  | 07:00 - 08:00 | 1081.83
|  |  | 08:00 - 09:00 | 1209.1382
|  |  | 09:00 - 10:00 | 1310.7823
|  |  | 10:00 - 11:00 | 1275.48
|  |  | 11:00 - 12:00 | 1230.2118
|  |  | 12:00 - 13:00 | 1228.2421
|  |  | 13:00 - 14:00 | 1263.3535
|  |  | 14:00 - 15:00 | 1260.3856
|  |  | 15:00 - 16:00 | 1276.4737
|  |  | 16:00 - 17:00 | 1388.7119
|  |  | 17:00 - 18:00 | 1473.35
|  |  | 18:00 - 19:00 | 1472.2263
|  |  | 19:00 - 20:00 | 1456.1543
|  |  | 20:00 - 21:00 | 1409.3825
|  |  | 21:00 - 22:00 | 1303.7424
|  |  | 22:00 - 23:00 | 1125.6282
|  |  | 23:00 - 00:00 | 940.5505
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0.7146 | 0 | 0 | 0 | 91.9417 | 1.1198 | 0 | 109.0822
2 | 0 | 0 | 0 | 0 | 0.051094 | 0 | 0 | 101.0612
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.2277
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.2462
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.9508
6 | 0 | 0 | 0 | 0 | 0 | 2.2683 | 2.0966 | 112.1321
7 | 0.17008 | 1.1073 | 0 | 0 | 0 | 89.5023 | 94.4254 | 109.0399
8 | 98.1542 | 99.1943 | 0 | 0 | 20.5087 | 97.4286 | 94.6142 | 127.2647
9 | 111.7188 | 112.0015 | 0 | 0 | 138.8235 | 107.2527 | 119.0663 | 124.6618
10 | 123.8391 | 122.0456 | 33.5606 | 4.1899 | 138.3076 | 131.6456 | 125.5155 | 131.1535
11 | 120.1722 | 120.2114 | 119.6355 | 119.3109 | 1.0325 | 117.1013 | 118.1417 | 129.4149
12 | 114.8719 | 115.1513 | 119.6844 | 119.2884 | 0 | 122.2018 | 116.2271 | 132.6675
13 | 117.9555 | 118.0158 | 117.6641 | 115.2606 | 0 | 127.5042 | 124.3953 | 132.3041
14 | 124.8591 | 123.1122 | 124.7181 | 124.2831 | 0 | 138.7029 | 131.6836 | 131.5693
15 | 118.4272 | 118.5921 | 118.0499 | 119.3199 | 0 | 131.3128 | 131.6545 | 131.636
16 | 119.8722 | 120.1204 | 124.7044 | 124.3093 | 1.1553 | 138.7153 | 131.4356 | 115.4397
17 | 119.889 | 120.1022 | 119.7107 | 119.3722 | 128.2536 | 129.1378 | 124.3662 | 125.4959
18 | 119.9061 | 120.1225 | 119.7303 | 119.3395 | 133.8181 | 136.7496 | 104.7818 | 104.7474
19 | 119.8758 | 120.0861 | 119.6816 | 119.3388 | 137.8141 | 136.8078 | 99.5997 | 99.3943
20 | 102.7228 | 102.8768 | 102.8044 | 119.3291 | 133.8586 | 130.9942 | 105.9651 | 105.765
21 | 105.1928 | 105.2235 | 104.8238 | 104.6991 | 128.9352 | 127.8941 | 99.0859 | 98.9742
22 | 107.8638 | 103.1867 | 102.9719 | 102.6197 | 137.8247 | 0.64967 | 100.5733 | 100.5229
23 | 73.749 | 96.5691 | 96.4085 | 96.0745 | 132.3865 | 0 | 0.25511 | 91.2764
24 | 0 | 2.3881 | 58.3358 | 117.5406 | 104.0902 | 0 | 0 | 97.3033
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1799.9541 | 1820.1067 | 1582.4838 | 1624.2757 | 1428.8015 | 1866.989 | 1823.8827 | 2679.331
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 672.0324 | 26.6967
|  | 2 | 565.8438 | 25.7949
|  | 3 | 520.7686 | 23.8706
|  | 4 | 504.1886 | 23.8443
|  | 5 | 509.8735 | 24.2807
|  | 6 | 557.3156 | 24.0224
|  | 7 | 710.1836 | 21.4267
|  | 8 | 895.0348 | 24.65
|  | 9 | 1065.2209 | 27.06
|  | 10 | 1107.1494 | 26.9137
|  | 11 | 1074.0916 | 25.819
|  | 12 | 1031.4235 | 24.9046
|  | 13 | 1028.7107 | 23.4873
|  | 14 | 1033.0622 | 25.028
|  | 15 | 1036.6366 | 24.0771
|  | 16 | 1049.9474 | 24.0935
|  | 17 | 1116.8267 | 26.6318
|  | 18 | 1246.5419 | 29.7927
|  | 19 | 1265.0868 | 29.5963
|  | 20 | 1235.5723 | 29.0357
|  | 21 | 1206.4669 | 26.7496
|  | 22 | 1103.7515 | 22.758
|  | 23 | 974.9272 | 20.3256
|  | 24 | 786.5277 | 18.1349
|  | 25 | 655.0488 | 18.6319
|  | 26 | 565.5638 | 19.6314
|  | 27 | 520.4867 | 19.0879
|  | 28 | 511.8508 | 17.9635
|  | 29 | 520.3618 | 17.6843
|  | 30 | 572.6469 | 14.3832
|  | 31 | 725.4416 | 14.9921
|  | 32 | 946.0743 | 21.0992
|  | 33 | 1090.2017 | 23.1457
|  | 34 | 1113.9616 | 21.8661
|  | 35 | 1077.3629 | 19.9528
|  | 36 | 1036.5142 | 20.1687
|  | 37 | 1023.8554 | 18.9993
|  | 38 | 1037.0305 | 20.0178
|  | 39 | 1040.7483 | 20.2647
|  | 40 | 1056.2954 | 20.1208
|  | 41 | 1130.0885 | 24.1354
|  | 42 | 1246.0665 | 26.9896
|  | 43 | 1262.4764 | 26.5941
|  | 44 | 1247.367 | 27.7442
|  | 45 | 1201.8955 | 23.0846
|  | 46 | 1100.429 | 23.2106
|  | 47 | 949.4081 | 18.0393
|  | 48 | 768.6396 | 15.1391
|  | 49 | 642.3519 | 14.323
|  | 50 | 574.675 | 13.9648
|  | 51 | 542.2106 | 13.799
|  | 52 | 533.7412 | 13.9947
|  | 53 | 540.203 | 13.6523
|  | 54 | 599.4313 | 14.2859
|  | 55 | 740.6839 | 13.846
|  | 56 | 958.778 | 17.9955
|  | 57 | 1100.0529 | 21.5079
|  | 58 | 1110.8341 | 23.2699
|  | 59 | 1055.2027 | 23.7387
|  | 60 | 1024.8974 | 23.5023
|  | 61 | 1007.9641 | 22.6355
|  | 62 | 1010.3876 | 23.8054
|  | 63 | 1025.3313 | 23.2305
|  | 64 | 1043.0443 | 23.0966
|  | 65 | 1127.3344 | 24.3442
|  | 66 | 1254.7422 | 25.9609
|  | 67 | 1263.6508 | 25.356
|  | 68 | 1251.9852 | 25.3027
|  | 69 | 1214.2588 | 23.9533
|  | 70 | 1102.5949 | 20.58
|  | 71 | 964.0412 | 18.1238
|  | 72 | 811.3921 | 15.0387
|  | 73 | 670.7115 | 13.0876
|  | 74 | 581.8733 | 12.4801
|  | 75 | 549.2689 | 12.9024
|  | 76 | 533.997 | 12.8121
|  | 77 | 542.3625 | 13.5467
|  | 78 | 593.7283 | 13.8568
|  | 79 | 716.6296 | 16.4381
|  | 80 | 920.2201 | 21.3753
|  | 81 | 1054.8758 | 26.9862
|  | 82 | 1074.7913 | 31.35
|  | 83 | 1030.64 | 32.8381
|  | 84 | 1004.0798 | 37.9636
|  | 85 | 989.0447 | 35.48
|  | 86 | 991.13 | 30.3246
|  | 87 | 1007.3201 | 24.9977
|  | 88 | 1031.5636 | 22.6591
|  | 89 | 1125.5812 | 25.3898
|  | 90 | 1266.1834 | 28.5333
|  | 91 | 1279.321 | 29.4112
|  | 92 | 1273.3883 | 28.6727
|  | 93 | 1235.8087 | 27.5956
|  | 94 | 1116.8744 | 23.784
|  | 95 | 963.3479 | 21.1434
|  | 96 | 785.6008 | 16.2788
|  | 97 | 627.652 | 17.2094
|  | 98 | 560.1197 | 15.7886
|  | 99 | 527.8293 | 15.6194
|  | 100 | 514.8405 | 16.8817
|  | 101 | 514.8325 | 15.5079
|  | 102 | 573.9745 | 14.7655
|  | 103 | 749.959 | 16.6042
|  | 104 | 986.6715 | 22.0084
|  | 105 | 1098.5963 | 24.2081
|  | 106 | 1112.6186 | 22.6773
|  | 107 | 1104.0922 | 20.0972
|  | 108 | 1096.179 | 19.0462
|  | 109 | 1092.5115 | 18.0567
|  | 110 | 1126.6499 | 18.4234
|  | 111 | 1166.0649 | 19.1245
|  | 112 | 1169.9729 | 19.2687
|  | 113 | 1221.1722 | 22.3071
|  | 114 | 1286.5579 | 27.1842
|  | 115 | 1264.1893 | 25.3846
|  | 116 | 1246.9717 | 24.7129
|  | 117 | 1226.8314 | 24.1545
|  | 118 | 1111.4393 | 20.5517
|  | 119 | 951.1593 | 16.9566
|  | 120 | 789.3643 | 14.1416
|  | 121 | 669.0916 | 15.0524
|  | 122 | 579.8959 | 14.1518
|  | 123 | 546.3355 | 15.6463
|  | 124 | 529.6198 | 15.5162
|  | 125 | 532.9431 | 12.7465
|  | 126 | 584.7638 | 12.8865
|  | 127 | 717.4196 | 15.1792
|  | 128 | 916.2393 | 18.493
|  | 129 | 1051.3777 | 19.8446
|  | 130 | 1083.0285 | 20.4414
|  | 131 | 1072.4939 | 19.2813
|  | 132 | 1052.9142 | 18.0662
|  | 133 | 1044.6987 | 17.6287
|  | 134 | 1062.4935 | 19.3468
|  | 135 | 1086.7679 | 21.4418
|  | 136 | 1103.9409 | 21.2589
|  | 137 | 1183.0607 | 24.3712
|  | 138 | 1289.173 | 33.6176
|  | 139 | 1285.2834 | 35.3258
|  | 140 | 1278.987 | 32.0505
|  | 141 | 1248.0742 | 28.7008
|  | 142 | 1131.5211 | 25.7199
|  | 143 | 964.2752 | 21.8579
|  | 144 | 786.0694 | 18.9708
|  | 145 | 661.4518 | 18.6447
|  | 146 | 582.5857 | 19.0746
|  | 147 | 548.5303 | 18.6753
|  | 148 | 536.7537 | 17.8172
|  | 149 | 539.839 | 16.7591
|  | 150 | 595.8615 | 15.567
|  | 151 | 725.2042 | 17.1383
|  | 152 | 919.581 | 20.0387
|  | 153 | 1072.9455 | 22.166
|  | 154 | 1104.2762 | 23.3897
|  | 155 | 1081.2574 | 22.2847
|  | 156 | 1052.0993 | 20.4826
|  | 157 | 1039.7117 | 19.4999
|  | 158 | 1049.6728 | 19.5648
|  | 159 | 1065.1306 | 20.5417
|  | 160 | 1082.4056 | 21.8336
|  | 161 | 1165.7581 | 26.827
|  | 162 | 1279.0394 | 30.6124
|  | 163 | 1280.1602 | 29.3464
|  | 164 | 1273.5915 | 29.6726
|  | 165 | 1237.1456 | 27.3884
|  | 166 | 1127.2825 | 23.1087
|  | 167 | 971.5265 | 19.5472
|  | 168 | 810.2133 | 17.9317
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 09/01/2023 | 10/01/2023 | 11/01/20232 | 12/01/2023 | 13/01/2023 | 14/01/2023 | 15/01/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-01-10
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 22400 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 09/01/2023 | 10/01/2023 | 11/01/20232 | 12/01/2023 | 13/01/2023 | 14/01/2023 | 15/01/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-01-08
|  | Hour | Production | Exchange | Consumption
|  | 1 | 847.3162 | 136.785 | 710.5312
|  | 2 | 715.127 | 115.455 | 599.672
|  | 3 | 675.9647 | 111.123 | 564.8417
|  | 4 | 570.4522 | 26.053 | 544.3992
|  | 5 | 577.2578 | 26.204 | 551.0538
|  | 6 | 620.5762 | 25.023 | 595.5532
|  | 7 | 745.9303 | 61.05 | 684.8803
|  | 8 | 981.955 | 136.148 | 845.807
|  | 9 | 1210.2801 | 206.121 | 1004.1591
|  | 10 | 1194.3224 | 140.884 | 1053.4384
|  | 11 | 1258.8206 | 217.925 | 1040.8956
|  | 12 | 1222.5293 | 212.88 | 1009.6493
|  | 13 | 1214.4829 | 217.597 | 996.8859
|  | 14 | 1225.61 | 227.273 | 998.337
|  | 15 | 1199.0939 | 191.623 | 1007.4709
|  | 16 | 1208.0949 | 170.186 | 1037.9089
|  | 17 | 1336.0092 | 191.06 | 1144.9492
|  | 18 | 1499.4551 | 207.667 | 1291.7881
|  | 19 | 1510.6995 | 204.322 | 1306.3775
|  | 20 | 1510.9372 | 199.935 | 1311.0022
|  | 21 | 1479.929 | 210.612 | 1269.317
|  | 22 | 1352.302 | 200.699 | 1151.603
|  | 23 | 1173.0362 | 195.645 | 977.3912
|  | 24 | 989.8995 | 207.125 | 782.7745
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 21.9629 | 61.8714 | 7.0647 | -118.9214 | 18.7219 | 22.636
2 | 32.0926 | 43.9525 | -13.9996 | -108.3802 | -83.07 | 111.4483
3 | 27.4831 | 30.2594 | -10.0658 | -110.0575 | -70.017 | 110.7736
4 | 30.9929 | 24.5738 | -15.4764 | -110.1381 | -80.5836 | 132.109
5 | 34.2094 | 22.65 | -21.279 | -104.8159 | -98.4991 | 157.9834
6 | 31.728 | 30.0366 | -36.2161 | -86.7525 | -135.5532 | 211.869
7 | 26.4784 | 37.2188 | -44.077 | -95.0262 | -103.2541 | 183.4463
8 | 20.3068 | 67.4406 | -27.0146 | -110.4091 | -78.5595 | 117.9602
9 | 20.6053 | 101.1566 | 8.4091 | -88.0718 | -32.4737 | 104.5094
10 | 12.5109 | 127.088 | 33.0547 | -73.2308 | 9.9375 | 65.9209
11 | 10.8245 | 159.5813 | 49.6522 | -77.2338 | 47.4298 | 32.8585
12 | 7.5636 | 159.8673 | 59.553 | -73.7759 | 71.2212 | -19.1549
13 | 7.0111 | 163.3566 | 55.5042 | -65.5313 | 63.3454 | -15.3577
14 | -6.1636 | 168.3283 | 59.8493 | -57.4189 | 83.0834 | -50.9542
15 | 5.4674 | 156.9443 | 29.4593 | -70.1762 | 6.4404 | 62.6773
16 | 0.80027 | 168.3637 | 9.1791 | -45.7648 | -29.8153 | 97.266
17 | -0.79447 | 183.9849 | 25.1281 | -26.5822 | -10.1687 | 96.5164
18 | 1.9136 | 171.7728 | 16.8903 | -62.2734 | -23.442 | 83.2837
19 | -5.1471 | 166.7117 | 43.1243 | -72.0986 | 31.1593 | 25.3055
20 | -1.0509 | 160.2683 | 37.2578 | -70.8858 | 19.7272 | 43.8024
21 | 5.5225 | 143.1768 | 45.0659 | -94.7649 | 39.0351 | 14.7965
22 | 12.4088 | 136.5162 | 43.2826 | -105.8674 | 38.9007 | 31.6922
23 | 4.9669 | 139.6002 | 42.8696 | -89.0104 | 61.4531 | -1.4993
24 | -9.8024 | 122.9423 | 80.3843 | -47.126 | 105.668 | -98.9408
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-01-10
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 671.0087
|  |  | 01:00 - 02:00 | 597.5368
|  |  | 02:00 - 03:00 | 563.3669
|  |  | 03:00 - 04:00 | 549.2186
|  |  | 04:00 - 05:00 | 566.2746
|  |  | 05:00 - 06:00 | 643.7666
|  |  | 06:00 - 07:00 | 829.8727
|  |  | 07:00 - 08:00 | 1081.83
|  |  | 08:00 - 09:00 | 1209.1382
|  |  | 09:00 - 10:00 | 1310.7823
|  |  | 10:00 - 11:00 | 1275.48
|  |  | 11:00 - 12:00 | 1230.2118
|  |  | 12:00 - 13:00 | 1228.2421
|  |  | 13:00 - 14:00 | 1263.3535
|  |  | 14:00 - 15:00 | 1260.3856
|  |  | 15:00 - 16:00 | 1276.4737
|  |  | 16:00 - 17:00 | 1388.7119
|  |  | 17:00 - 18:00 | 1473.35
|  |  | 18:00 - 19:00 | 1472.2263
|  |  | 19:00 - 20:00 | 1456.1543
|  |  | 20:00 - 21:00 | 1409.3825
|  |  | 21:00 - 22:00 | 1303.7424
|  |  | 22:00 - 23:00 | 1125.6282
|  |  | 23:00 - 00:00 | 940.5505
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0.7146 | 0 | 0 | 0 | 91.9417 | 1.1198 | 0 | 109.0822
2 | 0 | 0 | 0 | 0 | 0.051094 | 0 | 0 | 101.0612
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.2277
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.2462
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.9508
6 | 0 | 0 | 0 | 0 | 0 | 2.2683 | 2.0966 | 112.1321
7 | 0.17008 | 1.1073 | 0 | 0 | 0 | 89.5023 | 94.4254 | 109.0399
8 | 98.1542 | 99.1943 | 0 | 0 | 20.5087 | 97.4286 | 94.6142 | 127.2647
9 | 111.7188 | 112.0015 | 0 | 0 | 138.8235 | 107.2527 | 119.0663 | 124.6618
10 | 123.8391 | 122.0456 | 33.5606 | 4.1899 | 138.3076 | 131.6456 | 125.5155 | 131.1535
11 | 120.1722 | 120.2114 | 119.6355 | 119.3109 | 1.0325 | 117.1013 | 118.1417 | 129.4149
12 | 114.8719 | 115.1513 | 119.6844 | 119.2884 | 0 | 122.2018 | 116.2271 | 132.6675
13 | 117.9555 | 118.0158 | 117.6641 | 115.2606 | 0 | 127.5042 | 124.3953 | 132.3041
14 | 124.8591 | 123.1122 | 124.7181 | 124.2831 | 0 | 138.7029 | 131.6836 | 131.5693
15 | 118.4272 | 118.5921 | 118.0499 | 119.3199 | 0 | 131.3128 | 131.6545 | 131.636
16 | 119.8722 | 120.1204 | 124.7044 | 124.3093 | 1.1553 | 138.7153 | 131.4356 | 115.4397
17 | 119.889 | 120.1022 | 119.7107 | 119.3722 | 128.2536 | 129.1378 | 124.3662 | 125.4959
18 | 119.9061 | 120.1225 | 119.7303 | 119.3395 | 133.8181 | 136.7496 | 104.7818 | 104.7474
19 | 119.8758 | 120.0861 | 119.6816 | 119.3388 | 137.8141 | 136.8078 | 99.5997 | 99.3943
20 | 102.7228 | 102.8768 | 102.8044 | 119.3291 | 133.8586 | 130.9942 | 105.9651 | 105.765
21 | 105.1928 | 105.2235 | 104.8238 | 104.6991 | 128.9352 | 127.8941 | 99.0859 | 98.9742
22 | 107.8638 | 103.1867 | 102.9719 | 102.6197 | 137.8247 | 0.64967 | 100.5733 | 100.5229
23 | 73.749 | 96.5691 | 96.4085 | 96.0745 | 132.3865 | 0 | 0.25511 | 91.2764
24 | 0 | 2.3881 | 58.3358 | 117.5406 | 104.0902 | 0 | 0 | 97.3033
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1799.2395 | 1820.1067 | 1582.4838 | 1624.2757 | 1336.8598 | 1865.8692 | 1823.8827 | 2570.2489
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Average | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 672.0324 | 26.6967
|  | 2 | 565.8438 | 25.7949
|  | 3 | 520.7686 | 23.8706
|  | 4 | 504.1886 | 23.8443
|  | 5 | 509.8735 | 24.2807
|  | 6 | 557.3156 | 24.0224
|  | 7 | 710.1836 | 21.4267
|  | 8 | 895.0348 | 24.65
|  | 9 | 1065.2209 | 27.06
|  | 10 | 1107.1494 | 26.9137
|  | 11 | 1074.0916 | 25.819
|  | 12 | 1031.4235 | 24.9046
|  | 13 | 1028.7107 | 23.4873
|  | 14 | 1033.0622 | 25.028
|  | 15 | 1036.6366 | 24.0771
|  | 16 | 1049.9474 | 24.0935
|  | 17 | 1116.8267 | 26.6318
|  | 18 | 1246.5419 | 29.7927
|  | 19 | 1265.0868 | 29.5963
|  | 20 | 1235.5723 | 29.0357
|  | 21 | 1206.4669 | 26.7496
|  | 22 | 1103.7515 | 22.758
|  | 23 | 974.9272 | 20.3256
|  | 24 | 786.5277 | 18.1349
|  | 25 | 655.0488 | 18.6319
|  | 26 | 565.5638 | 19.6314
|  | 27 | 520.4867 | 19.0879
|  | 28 | 511.8508 | 17.9635
|  | 29 | 520.3618 | 17.6843
|  | 30 | 572.6469 | 14.3832
|  | 31 | 725.4416 | 14.9921
|  | 32 | 946.0743 | 21.0992
|  | 33 | 1090.2017 | 23.1457
|  | 34 | 1113.9616 | 21.8661
|  | 35 | 1077.3629 | 19.9528
|  | 36 | 1036.5142 | 20.1687
|  | 37 | 1023.8554 | 18.9993
|  | 38 | 1037.0305 | 20.0178
|  | 39 | 1040.7483 | 20.2647
|  | 40 | 1056.2954 | 20.1208
|  | 41 | 1130.0885 | 24.1354
|  | 42 | 1246.0665 | 26.9896
|  | 43 | 1262.4764 | 26.5941
|  | 44 | 1247.367 | 27.7442
|  | 45 | 1201.8955 | 23.0846
|  | 46 | 1100.429 | 23.2106
|  | 47 | 949.4081 | 18.0393
|  | 48 | 768.6396 | 15.1391
|  | 49 | 642.3519 | 14.323
|  | 50 | 574.675 | 13.9648
|  | 51 | 542.2106 | 13.799
|  | 52 | 533.7412 | 13.9947
|  | 53 | 540.203 | 13.6523
|  | 54 | 599.4313 | 14.2859
|  | 55 | 740.6839 | 13.846
|  | 56 | 958.778 | 17.9955
|  | 57 | 1100.0529 | 21.5079
|  | 58 | 1110.8341 | 23.2699
|  | 59 | 1055.2027 | 23.7387
|  | 60 | 1024.8974 | 23.5023
|  | 61 | 1007.9641 | 22.6355
|  | 62 | 1010.3876 | 23.8054
|  | 63 | 1025.3313 | 23.2305
|  | 64 | 1043.0443 | 23.0966
|  | 65 | 1127.3344 | 24.3442
|  | 66 | 1254.7422 | 25.9609
|  | 67 | 1263.6508 | 25.356
|  | 68 | 1251.9852 | 25.3027
|  | 69 | 1214.2588 | 23.9533
|  | 70 | 1102.5949 | 20.58
|  | 71 | 964.0412 | 18.1238
|  | 72 | 811.3921 | 15.0387
|  | 73 | 670.7115 | 13.0876
|  | 74 | 581.8733 | 12.4801
|  | 75 | 549.2689 | 12.9024
|  | 76 | 533.997 | 12.8121
|  | 77 | 542.3625 | 13.5467
|  | 78 | 593.7283 | 13.8568
|  | 79 | 716.6296 | 16.4381
|  | 80 | 920.2201 | 21.3753
|  | 81 | 1054.8758 | 26.9862
|  | 82 | 1074.7913 | 31.35
|  | 83 | 1030.64 | 32.8381
|  | 84 | 1004.0798 | 37.9636
|  | 85 | 989.0447 | 35.48
|  | 86 | 991.13 | 30.3246
|  | 87 | 1007.3201 | 24.9977
|  | 88 | 1031.5636 | 22.6591
|  | 89 | 1125.5812 | 25.3898
|  | 90 | 1266.1834 | 28.5333
|  | 91 | 1279.321 | 29.4112
|  | 92 | 1273.3883 | 28.6727
|  | 93 | 1235.8087 | 27.5956
|  | 94 | 1116.8744 | 23.784
|  | 95 | 963.3479 | 21.1434
|  | 96 | 785.6008 | 16.2788
|  | 97 | 627.652 | 17.2094
|  | 98 | 560.1197 | 15.7886
|  | 99 | 527.8293 | 15.6194
|  | 100 | 514.8405 | 16.8817
|  | 101 | 514.8325 | 15.5079
|  | 102 | 573.9745 | 14.7655
|  | 103 | 749.959 | 16.6042
|  | 104 | 986.6715 | 22.0084
|  | 105 | 1098.5963 | 24.2081
|  | 106 | 1112.6186 | 22.6773
|  | 107 | 1104.0922 | 20.0972
|  | 108 | 1096.179 | 19.0462
|  | 109 | 1092.5115 | 18.0567
|  | 110 | 1126.6499 | 18.4234
|  | 111 | 1166.0649 | 19.1245
|  | 112 | 1169.9729 | 19.2687
|  | 113 | 1221.1722 | 22.3071
|  | 114 | 1286.5579 | 27.1842
|  | 115 | 1264.1893 | 25.3846
|  | 116 | 1246.9717 | 24.7129
|  | 117 | 1226.8314 | 24.1545
|  | 118 | 1111.4393 | 20.5517
|  | 119 | 951.1593 | 16.9566
|  | 120 | 789.3643 | 14.1416
|  | 121 | 669.0916 | 15.0524
|  | 122 | 579.8959 | 14.1518
|  | 123 | 546.3355 | 15.6463
|  | 124 | 529.6198 | 15.5162
|  | 125 | 532.9431 | 12.7465
|  | 126 | 584.7638 | 12.8865
|  | 127 | 717.4196 | 15.1792
|  | 128 | 916.2393 | 18.493
|  | 129 | 1051.3777 | 19.8446
|  | 130 | 1083.0285 | 20.4414
|  | 131 | 1072.4939 | 19.2813
|  | 132 | 1052.9142 | 18.0662
|  | 133 | 1044.6987 | 17.6287
|  | 134 | 1062.4935 | 19.3468
|  | 135 | 1086.7679 | 21.4418
|  | 136 | 1103.9409 | 21.2589
|  | 137 | 1183.0607 | 24.3712
|  | 138 | 1289.173 | 33.6176
|  | 139 | 1285.2834 | 35.3258
|  | 140 | 1278.987 | 32.0505
|  | 141 | 1248.0742 | 28.7008
|  | 142 | 1131.5211 | 25.7199
|  | 143 | 964.2752 | 21.8579
|  | 144 | 786.0694 | 18.9708
|  | 145 | 661.4518 | 18.6447
|  | 146 | 582.5857 | 19.0746
|  | 147 | 548.5303 | 18.6753
|  | 148 | 536.7537 | 17.8172
|  | 149 | 539.839 | 16.7591
|  | 150 | 595.8615 | 15.567
|  | 151 | 725.2042 | 17.1383
|  | 152 | 919.581 | 20.0387
|  | 153 | 1072.9455 | 22.166
|  | 154 | 1104.2762 | 23.3897
|  | 155 | 1081.2574 | 22.2847
|  | 156 | 1052.0993 | 20.4826
|  | 157 | 1039.7117 | 19.4999
|  | 158 | 1049.6728 | 19.5648
|  | 159 | 1065.1306 | 20.5417
|  | 160 | 1082.4056 | 21.8336
|  | 161 | 1165.7581 | 26.827
|  | 162 | 1279.0394 | 30.6124
|  | 163 | 1280.1602 | 29.3464
|  | 164 | 1273.5915 | 29.6726
|  | 165 | 1237.1456 | 27.3884
|  | 166 | 1127.2825 | 23.1087
|  | 167 | 971.5265 | 19.5472
|  | 168 | 810.2133 | 17.9317
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 09/01/2023 | 10/01/2023 | 11/01/20232 | 12/01/2023 | 13/01/2023 | 14/01/2023 | 15/01/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible