## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-02-09
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 26464 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 06/02/2023 | 07/02/2023 | 08/02/2023 | 09/02/2023 | 10/02/2023 | 11/02/2023 | 12/02/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-02-07
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 837 | 115.93 | 721.07
|  | 2 | 700.33 | 68.295 | 632.035
|  | 3 | 653.93 | 59.849 | 594.081
|  | 4 | 644.27 | 61.462 | 582.808
|  | 5 | 663.48 | 71.632 | 591.848
|  | 6 | 792.83 | 130.21 | 662.62
|  | 7 | 1013.87 | 161.411 | 852.459
|  | 8 | 1527.37 | 374.483 | 1152.887
|  | 9 | 1809.48 | 535.572 | 1273.908
|  | 10 | 1766.87 | 479.833 | 1287.037
|  | 11 | 1687.32 | 429.246 | 1258.074
|  | 12 | 1565.47 | 335.73 | 1229.74
|  | 13 | 1481.53 | 256.009 | 1225.521
|  | 14 | 1523.65 | 268.514 | 1255.136
|  | 15 | 1527.46 | 264.413 | 1263.047
|  | 16 | 1547.41 | 274.666 | 1272.744
|  | 17 | 1719.04 | 392.181 | 1326.859
|  | 18 | 1838.8 | 380.689 | 1458.111
|  | 19 | 1861.81 | 349.233 | 1512.577
|  | 20 | 1855.3 | 344.269 | 1511.031
|  | 21 | 1839.11 | 361.393 | 1477.717
|  | 22 | 1717.56 | 375.089 | 1342.471
|  | 23 | 1420.06 | 255.956 | 1164.104
|  | 24 | 1258.61 | 254.597 | 1004.013
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 8.0501 | 216.1 | 8.985 | -56.6383 | 118.2209 | -112.0973
2 | 16.571 | 190.9428 | -5.9315 | -88.0524 | 90.2845 | -54.7359
3 | 15.1173 | 183.7209 | 8.5326 | -99.4291 | 122.7018 | -80.5665
4 | 15.6271 | 183.6066 | 11.4772 | -98.1324 | 121.3524 | -65.9067
5 | 20.1292 | 183.5697 | -7.7151 | -95.3165 | 81.7905 | -19.031
6 | 23.0163 | 178.5697 | -8.9343 | -95.8165 | 56.4749 | 12.5682
7 | 19.5239 | 185.429 | -3.7692 | -45.8132 | 65.1168 | 14.3888
8 | 7.5085 | 228.3553 | 19.1608 | 24.4888 | 88.868 | -24.2746
9 | -3.2497 | 248.5593 | 37.4952 | 90.7974 | 34.2639 | -13.2392
10 | -7.0181 | 248.6494 | 44.3123 | 93.8521 | 47.1878 | -27.3376
11 | -3.9839 | 248.5422 | 3.1128 | 46.5777 | 17.6467 | -42.1715
12 | -7.568 | 248.5614 | 20.9153 | 4.3481 | 112.8449 | -107.2422
13 | -11.0057 | 248.5749 | 39.9189 | -9.6349 | 148.3373 | -159.8904
14 | -12.8893 | 248.5678 | 48.4292 | -6.977 | 137.9428 | -151.8806
15 | -4.6807 | 248.55 | 23.3497 | -6.6222 | 93.0236 | -88.0215
16 | 6.5292 | 248.5841 | -6.3913 | -7.2189 | 28.0116 | -21.4657
17 | 1.6901 | 248.5699 | 15.0407 | 45.5519 | 50.2683 | 27.2499
18 | 0.19837 | 248.6125 | -3.7774 | 43.8359 | 19.7676 | 58.8698
19 | 3.5074 | 248.6316 | -4.1272 | 23.0792 | 28.2697 | 23.3701
20 | 2.6691 | 248.6089 | -0.15399 | 16.0538 | 32.5436 | 30.5761
21 | 2.9647 | 248.638 | 9.4477 | 13.4249 | 50.0049 | 18.7872
22 | 3.6433 | 248.6373 | 5.7196 | -21.2212 | 50.7844 | -35.7332
23 | 7.5948 | 238.8898 | 26.431 | -45.7003 | 38.8093 | -15.0623
24 | 6.3323 | 216.1206 | 14.2029 | -60.5929 | 58.5823 | -46.5661
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-02-09
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 916.7119
|  |  | 01:00 - 02:00 | 729.5607
|  |  | 02:00 - 03:00 | 635.2483
|  |  | 03:00 - 04:00 | 647.9014
|  |  | 04:00 - 05:00 | 656.4
|  |  | 05:00 - 06:00 | 773.4297
|  |  | 06:00 - 07:00 | 1121.6905
|  |  | 07:00 - 08:00 | 1519.2563
|  |  | 08:00 - 09:00 | 1671.1925
|  |  | 09:00 - 10:00 | 1684.0656
|  |  | 10:00 - 11:00 | 1522.2408
|  |  | 11:00 - 12:00 | 1466.1629
|  |  | 12:00 - 13:00 | 1458.1508
|  |  | 13:00 - 14:00 | 1485.1494
|  |  | 14:00 - 15:00 | 1522.8376
|  |  | 15:00 - 16:00 | 1720.5338
|  |  | 16:00 - 17:00 | 1741.0058
|  |  | 17:00 - 18:00 | 1803.1024
|  |  | 18:00 - 19:00 | 1844.6754
|  |  | 19:00 - 20:00 | 1842.5135
|  |  | 20:00 - 21:00 | 1819.228
|  |  | 21:00 - 22:00 | 1757.0196
|  |  | 22:00 - 23:00 | 1364.4201
|  |  | 23:00 - 00:00 | 1201.5074
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 90.0734 | 97.5903 | 102.2244 | 114.2595 | 0 | 0 | 128.8096 | 1.2259
2 | 0.46031 | 45.9499 | 89.5847 | 101.6602 | 0 | 0 | 95.4327 | 0
3 | 0 | 0 | 89.5868 | 94.4196 | 0 | 0 | 89.8344 | 0
4 | 0 | 0 | 89.6104 | 94.2841 | 0 | 0 | 89.1152 | 0
5 | 0 | 0 | 89.5771 | 94.2801 | 0 | 0 | 89.1156 | 0
6 | 0 | 0 | 89.5783 | 89.2663 | 0 | 0.03761 | 89.1135 | 0
7 | 1.779 | 1.7783 | 93.0685 | 92.6581 | 0.29627 | 97.1447 | 129.1062 | 0
8 | 107.4414 | 107.3695 | 109.5953 | 119.1222 | 97.1838 | 125.2664 | 125.2593 | 2.1282
9 | 119.8994 | 125.1585 | 124.5856 | 124.3599 | 133.8937 | 118.4784 | 118.2591 | 109.856
10 | 119.9094 | 125.1573 | 124.6178 | 124.4203 | 133.8955 | 123.9326 | 123.7481 | 117.8876
11 | 119.9238 | 125.1685 | 124.6104 | 124.3306 | 133.848 | 114.2522 | 114.1287 | 105.0443
12 | 119.9475 | 125.1531 | 124.61 | 124.3585 | 99.428 | 111.9466 | 111.7383 | 107.8818
13 | 119.88 | 125.1708 | 124.6315 | 124.3488 | 99.2097 | 114.7585 | 114.6308 | 91.2455
14 | 119.9139 | 125.1703 | 124.6353 | 124.3462 | 99.2481 | 120.5225 | 120.4065 | 116.8161
15 | 119.9176 | 125.186 | 124.6133 | 124.3585 | 133.5545 | 121.7927 | 121.7235 | 99.5099
16 | 119.8604 | 125.1964 | 124.6424 | 124.3576 | 133.871 | 117.5899 | 117.6722 | 121.7704
17 | 119.8694 | 125.2375 | 124.613 | 124.3628 | 138.8399 | 138.897 | 119.149 | 143.2243
18 | 124.7914 | 125.2195 | 124.6301 | 124.3701 | 143.6966 | 143.7555 | 136.4229 | 140.5465
19 | 124.8735 | 125.2103 | 124.6308 | 124.3862 | 143.7207 | 143.7803 | 142.3618 | 142.4576
20 | 124.8635 | 125.2151 | 124.6126 | 124.3834 | 143.7214 | 143.7697 | 142.2759 | 142.3696
21 | 124.8536 | 125.2049 | 124.6372 | 124.39 | 143.7264 | 143.7033 | 141.9253 | 142.2684
22 | 124.8645 | 125.2049 | 124.6277 | 124.3961 | 138.7696 | 138.8729 | 133.3313 | 142.2571
23 | 120.1405 | 120.2327 | 119.7204 | 119.5437 | 1.0627 | 135.9815 | 108.403 | 138.6699
24 | 1.8297 | 108.5974 | 108.2835 | 108.169 | 0 | 101.2304 | 94.9828 | 117.2475
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 2025.0922 | 2234.1711 | 2725.5269 | 2768.8317 | 1917.9657 | 2255.7126 | 2796.9458 | 1982.4067
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 745.0785 | 26.6967
|  | 2 | 636.2345 | 25.7949
|  | 3 | 587.3842 | 23.8706
|  | 4 | 573.6994 | 23.8443
|  | 5 | 583.8343 | 24.2807
|  | 6 | 651.0783 | 24.0224
|  | 7 | 839.0735 | 21.4267
|  | 8 | 1114.3745 | 24.65
|  | 9 | 1220.2975 | 27.06
|  | 10 | 1221.7736 | 26.9137
|  | 11 | 1179.2069 | 25.819
|  | 12 | 1165.1531 | 24.9046
|  | 13 | 1162.4037 | 23.4873
|  | 14 | 1187.1745 | 25.028
|  | 15 | 1216.0461 | 24.0771
|  | 16 | 1228.9772 | 24.0935
|  | 17 | 1269.4753 | 26.6318
|  | 18 | 1393.8543 | 29.7927
|  | 19 | 1434.4356 | 29.5963
|  | 20 | 1425.2206 | 29.0357
|  | 21 | 1380.7569 | 26.7496
|  | 22 | 1246.1858 | 22.758
|  | 23 | 1065.4722 | 20.3256
|  | 24 | 867.0199 | 18.1349
|  | 25 | 756.0085 | 18.6319
|  | 26 | 662.271 | 19.6314
|  | 27 | 603.995 | 19.0879
|  | 28 | 583.3301 | 17.9635
|  | 29 | 589.6013 | 17.6843
|  | 30 | 653.8607 | 14.3832
|  | 31 | 843.6108 | 14.9921
|  | 32 | 1123.2331 | 21.0992
|  | 33 | 1248.4046 | 23.1457
|  | 34 | 1260.3506 | 21.8661
|  | 35 | 1234.9941 | 19.9528
|  | 36 | 1211.6251 | 20.1687
|  | 37 | 1216.0918 | 18.9993
|  | 38 | 1231.1969 | 20.0178
|  | 39 | 1234.2985 | 20.2647
|  | 40 | 1229.1519 | 20.1208
|  | 41 | 1252.7876 | 24.1354
|  | 42 | 1373.3251 | 26.9896
|  | 43 | 1413.0126 | 26.5941
|  | 44 | 1402.9338 | 27.7442
|  | 45 | 1368.0739 | 23.0846
|  | 46 | 1249.8848 | 23.2106
|  | 47 | 1064.5177 | 18.0393
|  | 48 | 865.7663 | 15.1391
|  | 49 | 712.8952 | 14.323
|  | 50 | 643.2736 | 13.9648
|  | 51 | 607.1943 | 13.799
|  | 52 | 591.8732 | 13.9947
|  | 53 | 606.3312 | 13.6523
|  | 54 | 670.7475 | 14.2859
|  | 55 | 848.9542 | 13.846
|  | 56 | 1116.6931 | 17.9955
|  | 57 | 1223.2308 | 21.5079
|  | 58 | 1240.6205 | 23.2699
|  | 59 | 1202.3412 | 23.7387
|  | 60 | 1189.7306 | 23.5023
|  | 61 | 1206.1781 | 22.6355
|  | 62 | 1236.9046 | 23.8054
|  | 63 | 1246.8521 | 23.2305
|  | 64 | 1246.4889 | 23.0966
|  | 65 | 1278.7155 | 24.3442
|  | 66 | 1390.8322 | 25.9609
|  | 67 | 1435.3536 | 25.356
|  | 68 | 1423.3482 | 25.3027
|  | 69 | 1381.3374 | 23.9533
|  | 70 | 1261.1522 | 20.58
|  | 71 | 1084.9297 | 18.1238
|  | 72 | 894.0335 | 15.0387
|  | 73 | 782.5094 | 13.0876
|  | 74 | 691.1146 | 12.4801
|  | 75 | 632.1478 | 12.9024
|  | 76 | 609.1998 | 12.8121
|  | 77 | 614.194 | 13.5467
|  | 78 | 677.1646 | 13.8568
|  | 79 | 834.5012 | 16.4381
|  | 80 | 1081.6119 | 21.3753
|  | 81 | 1236.221 | 26.9862
|  | 82 | 1286.7352 | 31.35
|  | 83 | 1284.1454 | 32.8381
|  | 84 | 1271.3765 | 37.9636
|  | 85 | 1298.1377 | 35.48
|  | 86 | 1322.2031 | 30.3246
|  | 87 | 1281.6721 | 24.9977
|  | 88 | 1263.9672 | 22.6591
|  | 89 | 1298.4819 | 25.3898
|  | 90 | 1413.4814 | 28.5333
|  | 91 | 1441.1906 | 29.4112
|  | 92 | 1432.3355 | 28.6727
|  | 93 | 1398.3928 | 27.5956
|  | 94 | 1278.1661 | 23.784
|  | 95 | 1103.2147 | 21.1434
|  | 96 | 932.2672 | 16.2788
|  | 97 | 800.5011 | 17.2094
|  | 98 | 695.0881 | 15.7886
|  | 99 | 634.4068 | 15.6194
|  | 100 | 611.1084 | 16.8817
|  | 101 | 611.604 | 15.5079
|  | 102 | 660.9239 | 14.7655
|  | 103 | 798.5027 | 16.6042
|  | 104 | 1033.7034 | 22.0084
|  | 105 | 1176.2489 | 24.2081
|  | 106 | 1229.1871 | 22.6773
|  | 107 | 1215.9233 | 20.0972
|  | 108 | 1203.3468 | 19.0462
|  | 109 | 1202.75 | 18.0567
|  | 110 | 1216.2696 | 18.4234
|  | 111 | 1225.6434 | 19.1245
|  | 112 | 1243.4049 | 19.2687
|  | 113 | 1306.3617 | 22.3071
|  | 114 | 1447.8627 | 27.1842
|  | 115 | 1499.8684 | 25.3846
|  | 116 | 1500.1988 | 24.7129
|  | 117 | 1472.8024 | 24.1545
|  | 118 | 1354.1948 | 20.5517
|  | 119 | 1168.7403 | 16.9566
|  | 120 | 966.0997 | 14.1416
|  | 121 | 804.3708 | 15.0524
|  | 122 | 698.307 | 14.1518
|  | 123 | 637.2511 | 15.6463
|  | 124 | 613.8089 | 15.5162
|  | 125 | 614.3075 | 12.7465
|  | 126 | 663.9319 | 12.8865
|  | 127 | 802.3601 | 15.1792
|  | 128 | 1039.0129 | 18.493
|  | 129 | 1182.4384 | 19.8446
|  | 130 | 1235.7035 | 20.4414
|  | 131 | 1222.3577 | 19.2813
|  | 132 | 1209.7036 | 18.0662
|  | 133 | 1209.1031 | 17.6287
|  | 134 | 1222.7062 | 19.3468
|  | 135 | 1232.1378 | 21.4418
|  | 136 | 1250.009 | 21.2589
|  | 137 | 1313.3545 | 24.3712
|  | 138 | 1455.729 | 33.6176
|  | 139 | 1508.0558 | 35.3258
|  | 140 | 1508.3883 | 32.0505
|  | 141 | 1480.8227 | 28.7008
|  | 142 | 1361.4829 | 25.7199
|  | 143 | 1174.8834 | 21.8579
|  | 144 | 970.9918 | 18.9708
|  | 145 | 823.2006 | 18.6447
|  | 146 | 718.818 | 19.0746
|  | 147 | 652.7465 | 18.6753
|  | 148 | 627.2291 | 17.8172
|  | 149 | 628.8651 | 16.7591
|  | 150 | 681.8865 | 15.567
|  | 151 | 831.7446 | 17.1383
|  | 152 | 1077.939 | 20.0387
|  | 153 | 1217.8869 | 22.166
|  | 154 | 1264.1851 | 23.3897
|  | 155 | 1250.6104 | 22.2847
|  | 156 | 1241.183 | 20.4826
|  | 157 | 1247.0633 | 19.4999
|  | 158 | 1262.715 | 19.5648
|  | 159 | 1269.4032 | 20.5417
|  | 160 | 1279.6331 | 21.8336
|  | 161 | 1332.0489 | 26.827
|  | 162 | 1464.9593 | 30.6124
|  | 163 | 1509.8723 | 29.3464
|  | 164 | 1507.4312 | 29.6726
|  | 165 | 1477.1704 | 27.3884
|  | 166 | 1357.8118 | 23.1087
|  | 167 | 1169.4402 | 19.5472
|  | 168 | 967.3348 | 17.9317
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 06/02/2023 | 07/02/2023 | 08/02/2023 | 09/02/2023 | 10/02/2023 | 11/02/2023 | 12/02/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-02-09
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 26464 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 06/02/2023 | 07/02/2023 | 08/02/2023 | 09/02/2023 | 10/02/2023 | 11/02/2023 | 12/02/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-02-07
|  | Hour | Production | Exchange | Consumption
|  | 1 | 837 | 115.93 | 721.07
|  | 2 | 700.33 | 68.295 | 632.035
|  | 3 | 653.93 | 59.849 | 594.081
|  | 4 | 644.27 | 61.462 | 582.808
|  | 5 | 663.48 | 71.632 | 591.848
|  | 6 | 792.83 | 130.21 | 662.62
|  | 7 | 1013.87 | 161.411 | 852.459
|  | 8 | 1527.37 | 374.483 | 1152.887
|  | 9 | 1809.48 | 535.572 | 1273.908
|  | 10 | 1766.87 | 479.833 | 1287.037
|  | 11 | 1687.32 | 429.246 | 1258.074
|  | 12 | 1565.47 | 335.73 | 1229.74
|  | 13 | 1481.53 | 256.009 | 1225.521
|  | 14 | 1523.65 | 268.514 | 1255.136
|  | 15 | 1527.46 | 264.413 | 1263.047
|  | 16 | 1547.41 | 274.666 | 1272.744
|  | 17 | 1719.04 | 392.181 | 1326.859
|  | 18 | 1838.8 | 380.689 | 1458.111
|  | 19 | 1861.81 | 349.233 | 1512.577
|  | 20 | 1855.3 | 344.269 | 1511.031
|  | 21 | 1839.11 | 361.393 | 1477.717
|  | 22 | 1717.56 | 375.089 | 1342.471
|  | 23 | 1420.06 | 255.956 | 1164.104
|  | 24 | 1258.61 | 254.597 | 1004.013
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 8.0501 | 216.1 | 8.985 | -56.6383 | 118.2209 | -112.0973
2 | 16.571 | 190.9428 | -5.9315 | -88.0524 | 90.2845 | -54.7359
3 | 15.1173 | 183.7209 | 8.5326 | -99.4291 | 122.7018 | -80.5665
4 | 15.6271 | 183.6066 | 11.4772 | -98.1324 | 121.3524 | -65.9067
5 | 20.1292 | 183.5697 | -7.7151 | -95.3165 | 81.7905 | -19.031
6 | 23.0163 | 178.5697 | -8.9343 | -95.8165 | 56.4749 | 12.5682
7 | 19.5239 | 185.429 | -3.7692 | -45.8132 | 65.1168 | 14.3888
8 | 7.5085 | 228.3553 | 19.1608 | 24.4888 | 88.868 | -24.2746
9 | -3.2497 | 248.5593 | 37.4952 | 90.7974 | 34.2639 | -13.2392
10 | -7.0181 | 248.6494 | 44.3123 | 93.8521 | 47.1878 | -27.3376
11 | -3.9839 | 248.5422 | 3.1128 | 46.5777 | 17.6467 | -42.1715
12 | -7.568 | 248.5614 | 20.9153 | 4.3481 | 112.8449 | -107.2422
13 | -11.0057 | 248.5749 | 39.9189 | -9.6349 | 148.3373 | -159.8904
14 | -12.8893 | 248.5678 | 48.4292 | -6.977 | 137.9428 | -151.8806
15 | -4.6807 | 248.55 | 23.3497 | -6.6222 | 93.0236 | -88.0215
16 | 6.5292 | 248.5841 | -6.3913 | -7.2189 | 28.0116 | -21.4657
17 | 1.6901 | 248.5699 | 15.0407 | 45.5519 | 50.2683 | 27.2499
18 | 0.19837 | 248.6125 | -3.7774 | 43.8359 | 19.7676 | 58.8698
19 | 3.5074 | 248.6316 | -4.1272 | 23.0792 | 28.2697 | 23.3701
20 | 2.6691 | 248.6089 | -0.15399 | 16.0538 | 32.5436 | 30.5761
21 | 2.9647 | 248.638 | 9.4477 | 13.4249 | 50.0049 | 18.7872
22 | 3.6433 | 248.6373 | 5.7196 | -21.2212 | 50.7844 | -35.7332
23 | 7.5948 | 238.8898 | 26.431 | -45.7003 | 38.8093 | -15.0623
24 | 6.3323 | 216.1206 | 14.2029 | -60.5929 | 58.5823 | -46.5661
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-02-09
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 916.7119
|  |  | 01:00 - 02:00 | 729.5607
|  |  | 02:00 - 03:00 | 635.2483
|  |  | 03:00 - 04:00 | 647.9014
|  |  | 04:00 - 05:00 | 656.4
|  |  | 05:00 - 06:00 | 773.4297
|  |  | 06:00 - 07:00 | 1121.6905
|  |  | 07:00 - 08:00 | 1519.2563
|  |  | 08:00 - 09:00 | 1671.1925
|  |  | 09:00 - 10:00 | 1684.0656
|  |  | 10:00 - 11:00 | 1522.2408
|  |  | 11:00 - 12:00 | 1466.1629
|  |  | 12:00 - 13:00 | 1458.1508
|  |  | 13:00 - 14:00 | 1485.1494
|  |  | 14:00 - 15:00 | 1522.8376
|  |  | 15:00 - 16:00 | 1720.5338
|  |  | 16:00 - 17:00 | 1741.0058
|  |  | 17:00 - 18:00 | 1803.1024
|  |  | 18:00 - 19:00 | 1844.6754
|  |  | 19:00 - 20:00 | 1842.5135
|  |  | 20:00 - 21:00 | 1819.228
|  |  | 21:00 - 22:00 | 1757.0196
|  |  | 22:00 - 23:00 | 1364.4201
|  |  | 23:00 - 00:00 | 1201.5074
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 90.0734 | 97.5903 | 102.2244 | 114.2595 | 0 | 0 | 128.8096 | 1.2259
2 | 0.46031 | 45.9499 | 89.5847 | 101.6602 | 0 | 0 | 95.4327 | 0
3 | 0 | 0 | 89.5868 | 94.4196 | 0 | 0 | 89.8344 | 0
4 | 0 | 0 | 89.6104 | 94.2841 | 0 | 0 | 89.1152 | 0
5 | 0 | 0 | 89.5771 | 94.2801 | 0 | 0 | 89.1156 | 0
6 | 0 | 0 | 89.5783 | 89.2663 | 0 | 0.03761 | 89.1135 | 0
7 | 1.779 | 1.7783 | 93.0685 | 92.6581 | 0.29627 | 97.1447 | 129.1062 | 0
8 | 107.4414 | 107.3695 | 109.5953 | 119.1222 | 97.1838 | 125.2664 | 125.2593 | 2.1282
9 | 119.8994 | 125.1585 | 124.5856 | 124.3599 | 133.8937 | 118.4784 | 118.2591 | 109.856
10 | 119.9094 | 125.1573 | 124.6178 | 124.4203 | 133.8955 | 123.9326 | 123.7481 | 117.8876
11 | 119.9238 | 125.1685 | 124.6104 | 124.3306 | 133.848 | 114.2522 | 114.1287 | 105.0443
12 | 119.9475 | 125.1531 | 124.61 | 124.3585 | 99.428 | 111.9466 | 111.7383 | 107.8818
13 | 119.88 | 125.1708 | 124.6315 | 124.3488 | 99.2097 | 114.7585 | 114.6308 | 91.2455
14 | 119.9139 | 125.1703 | 124.6353 | 124.3462 | 99.2481 | 120.5225 | 120.4065 | 116.8161
15 | 119.9176 | 125.186 | 124.6133 | 124.3585 | 133.5545 | 121.7927 | 121.7235 | 99.5099
16 | 119.8604 | 125.1964 | 124.6424 | 124.3576 | 133.871 | 117.5899 | 117.6722 | 121.7704
17 | 119.8694 | 125.2375 | 124.613 | 124.3628 | 138.8399 | 138.897 | 119.149 | 143.2243
18 | 124.7914 | 125.2195 | 124.6301 | 124.3701 | 143.6966 | 143.7555 | 136.4229 | 140.5465
19 | 124.8735 | 125.2103 | 124.6308 | 124.3862 | 143.7207 | 143.7803 | 142.3618 | 142.4576
20 | 124.8635 | 125.2151 | 124.6126 | 124.3834 | 143.7214 | 143.7697 | 142.2759 | 142.3696
21 | 124.8536 | 125.2049 | 124.6372 | 124.39 | 143.7264 | 143.7033 | 141.9253 | 142.2684
22 | 124.8645 | 125.2049 | 124.6277 | 124.3961 | 138.7696 | 138.8729 | 133.3313 | 142.2571
23 | 120.1405 | 120.2327 | 119.7204 | 119.5437 | 1.0627 | 135.9815 | 108.403 | 138.6699
24 | 1.8297 | 108.5974 | 108.2835 | 108.169 | 0 | 101.2304 | 94.9828 | 117.2475
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1935.0188 | 2136.5808 | 2623.3025 | 2654.5722 | 1917.9657 | 2255.7126 | 2668.1362 | 1981.1808
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Average | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 745.0785 | 26.6967
|  | 2 | 636.2345 | 25.7949
|  | 3 | 587.3842 | 23.8706
|  | 4 | 573.6994 | 23.8443
|  | 5 | 583.8343 | 24.2807
|  | 6 | 651.0783 | 24.0224
|  | 7 | 839.0735 | 21.4267
|  | 8 | 1114.3745 | 24.65
|  | 9 | 1220.2975 | 27.06
|  | 10 | 1221.7736 | 26.9137
|  | 11 | 1179.2069 | 25.819
|  | 12 | 1165.1531 | 24.9046
|  | 13 | 1162.4037 | 23.4873
|  | 14 | 1187.1745 | 25.028
|  | 15 | 1216.0461 | 24.0771
|  | 16 | 1228.9772 | 24.0935
|  | 17 | 1269.4753 | 26.6318
|  | 18 | 1393.8543 | 29.7927
|  | 19 | 1434.4356 | 29.5963
|  | 20 | 1425.2206 | 29.0357
|  | 21 | 1380.7569 | 26.7496
|  | 22 | 1246.1858 | 22.758
|  | 23 | 1065.4722 | 20.3256
|  | 24 | 867.0199 | 18.1349
|  | 25 | 756.0085 | 18.6319
|  | 26 | 662.271 | 19.6314
|  | 27 | 603.995 | 19.0879
|  | 28 | 583.3301 | 17.9635
|  | 29 | 589.6013 | 17.6843
|  | 30 | 653.8607 | 14.3832
|  | 31 | 843.6108 | 14.9921
|  | 32 | 1123.2331 | 21.0992
|  | 33 | 1248.4046 | 23.1457
|  | 34 | 1260.3506 | 21.8661
|  | 35 | 1234.9941 | 19.9528
|  | 36 | 1211.6251 | 20.1687
|  | 37 | 1216.0918 | 18.9993
|  | 38 | 1231.1969 | 20.0178
|  | 39 | 1234.2985 | 20.2647
|  | 40 | 1229.1519 | 20.1208
|  | 41 | 1252.7876 | 24.1354
|  | 42 | 1373.3251 | 26.9896
|  | 43 | 1413.0126 | 26.5941
|  | 44 | 1402.9338 | 27.7442
|  | 45 | 1368.0739 | 23.0846
|  | 46 | 1249.8848 | 23.2106
|  | 47 | 1064.5177 | 18.0393
|  | 48 | 865.7663 | 15.1391
|  | 49 | 712.8952 | 14.323
|  | 50 | 643.2736 | 13.9648
|  | 51 | 607.1943 | 13.799
|  | 52 | 591.8732 | 13.9947
|  | 53 | 606.3312 | 13.6523
|  | 54 | 670.7475 | 14.2859
|  | 55 | 848.9542 | 13.846
|  | 56 | 1116.6931 | 17.9955
|  | 57 | 1223.2308 | 21.5079
|  | 58 | 1240.6205 | 23.2699
|  | 59 | 1202.3412 | 23.7387
|  | 60 | 1189.7306 | 23.5023
|  | 61 | 1206.1781 | 22.6355
|  | 62 | 1236.9046 | 23.8054
|  | 63 | 1246.8521 | 23.2305
|  | 64 | 1246.4889 | 23.0966
|  | 65 | 1278.7155 | 24.3442
|  | 66 | 1390.8322 | 25.9609
|  | 67 | 1435.3536 | 25.356
|  | 68 | 1423.3482 | 25.3027
|  | 69 | 1381.3374 | 23.9533
|  | 70 | 1261.1522 | 20.58
|  | 71 | 1084.9297 | 18.1238
|  | 72 | 894.0335 | 15.0387
|  | 73 | 782.5094 | 13.0876
|  | 74 | 691.1146 | 12.4801
|  | 75 | 632.1478 | 12.9024
|  | 76 | 609.1998 | 12.8121
|  | 77 | 614.194 | 13.5467
|  | 78 | 677.1646 | 13.8568
|  | 79 | 834.5012 | 16.4381
|  | 80 | 1081.6119 | 21.3753
|  | 81 | 1236.221 | 26.9862
|  | 82 | 1286.7352 | 31.35
|  | 83 | 1284.1454 | 32.8381
|  | 84 | 1271.3765 | 37.9636
|  | 85 | 1298.1377 | 35.48
|  | 86 | 1322.2031 | 30.3246
|  | 87 | 1281.6721 | 24.9977
|  | 88 | 1263.9672 | 22.6591
|  | 89 | 1298.4819 | 25.3898
|  | 90 | 1413.4814 | 28.5333
|  | 91 | 1441.1906 | 29.4112
|  | 92 | 1432.3355 | 28.6727
|  | 93 | 1398.3928 | 27.5956
|  | 94 | 1278.1661 | 23.784
|  | 95 | 1103.2147 | 21.1434
|  | 96 | 932.2672 | 16.2788
|  | 97 | 800.5011 | 17.2094
|  | 98 | 695.0881 | 15.7886
|  | 99 | 634.4068 | 15.6194
|  | 100 | 611.1084 | 16.8817
|  | 101 | 611.604 | 15.5079
|  | 102 | 660.9239 | 14.7655
|  | 103 | 798.5027 | 16.6042
|  | 104 | 1033.7034 | 22.0084
|  | 105 | 1176.2489 | 24.2081
|  | 106 | 1229.1871 | 22.6773
|  | 107 | 1215.9233 | 20.0972
|  | 108 | 1203.3468 | 19.0462
|  | 109 | 1202.75 | 18.0567
|  | 110 | 1216.2696 | 18.4234
|  | 111 | 1225.6434 | 19.1245
|  | 112 | 1243.4049 | 19.2687
|  | 113 | 1306.3617 | 22.3071
|  | 114 | 1447.8627 | 27.1842
|  | 115 | 1499.8684 | 25.3846
|  | 116 | 1500.1988 | 24.7129
|  | 117 | 1472.8024 | 24.1545
|  | 118 | 1354.1948 | 20.5517
|  | 119 | 1168.7403 | 16.9566
|  | 120 | 966.0997 | 14.1416
|  | 121 | 804.3708 | 15.0524
|  | 122 | 698.307 | 14.1518
|  | 123 | 637.2511 | 15.6463
|  | 124 | 613.8089 | 15.5162
|  | 125 | 614.3075 | 12.7465
|  | 126 | 663.9319 | 12.8865
|  | 127 | 802.3601 | 15.1792
|  | 128 | 1039.0129 | 18.493
|  | 129 | 1182.4384 | 19.8446
|  | 130 | 1235.7035 | 20.4414
|  | 131 | 1222.3577 | 19.2813
|  | 132 | 1209.7036 | 18.0662
|  | 133 | 1209.1031 | 17.6287
|  | 134 | 1222.7062 | 19.3468
|  | 135 | 1232.1378 | 21.4418
|  | 136 | 1250.009 | 21.2589
|  | 137 | 1313.3545 | 24.3712
|  | 138 | 1455.729 | 33.6176
|  | 139 | 1508.0558 | 35.3258
|  | 140 | 1508.3883 | 32.0505
|  | 141 | 1480.8227 | 28.7008
|  | 142 | 1361.4829 | 25.7199
|  | 143 | 1174.8834 | 21.8579
|  | 144 | 970.9918 | 18.9708
|  | 145 | 823.2006 | 18.6447
|  | 146 | 718.818 | 19.0746
|  | 147 | 652.7465 | 18.6753
|  | 148 | 627.2291 | 17.8172
|  | 149 | 628.8651 | 16.7591
|  | 150 | 681.8865 | 15.567
|  | 151 | 831.7446 | 17.1383
|  | 152 | 1077.939 | 20.0387
|  | 153 | 1217.8869 | 22.166
|  | 154 | 1264.1851 | 23.3897
|  | 155 | 1250.6104 | 22.2847
|  | 156 | 1241.183 | 20.4826
|  | 157 | 1247.0633 | 19.4999
|  | 158 | 1262.715 | 19.5648
|  | 159 | 1269.4032 | 20.5417
|  | 160 | 1279.6331 | 21.8336
|  | 161 | 1332.0489 | 26.827
|  | 162 | 1464.9593 | 30.6124
|  | 163 | 1509.8723 | 29.3464
|  | 164 | 1507.4312 | 29.6726
|  | 165 | 1477.1704 | 27.3884
|  | 166 | 1357.8118 | 23.1087
|  | 167 | 1169.4402 | 19.5472
|  | 168 | 967.3348 | 17.9317
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 06/02/2023 | 07/02/2023 | 08/02/2023 | 09/02/2023 | 10/02/2023 | 11/02/2023 | 12/02/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible