## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-02-17
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 25464 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 13/02/2023 | 14/02/2023 | 15/02/2023 | 16/02/2023 | 17/02/2023 | 18/02/2023 | 19/02/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2022
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-02-15
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 898.6089 | 137.206 | 761.4029
|  | 2 | 695.8693 | 80.572 | 615.2973
|  | 3 | 600.7583 | 49.028 | 551.7303
|  | 4 | 584.8111 | 54.596 | 530.2151
|  | 5 | 582.3483 | 48.395 | 533.9533
|  | 6 | 672.7649 | 67.234 | 605.5309
|  | 7 | 1034.8208 | 221.97 | 812.8508
|  | 8 | 1488.2259 | 391.785 | 1096.4409
|  | 9 | 1668.3357 | 481.727 | 1186.6087
|  | 10 | 1633.6079 | 475.843 | 1157.7649
|  | 11 | 1501.2975 | 402.097 | 1099.2005
|  | 12 | 1320.4589 | 274.523 | 1045.9359
|  | 13 | 1195.0555 | 176.758 | 1018.2975
|  | 14 | 1221.9668 | 182.735 | 1039.2318
|  | 15 | 1277.0324 | 218.478 | 1058.5544
|  | 16 | 1259.196 | 194.015 | 1065.181
|  | 17 | 1340.365 | 232.848 | 1107.517
|  | 18 | 1619.7191 | 358.032 | 1261.6871
|  | 19 | 1741.6671 | 374.127 | 1367.5401
|  | 20 | 1731.1063 | 359.521 | 1371.5853
|  | 21 | 1700.848 | 349.203 | 1351.645
|  | 22 | 1368.1556 | 141.073 | 1227.0826
|  | 23 | 1244.7069 | 217.139 | 1027.5679
|  | 24 | 1048.3981 | 252.544 | 795.8541
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 13.2679 | 127.9133 | 35.7736 | -29.6175 | 108.9204 | -44.2694
2 | 10.0702 | 70.6155 | 21.5994 | -53.3482 | 124.363 | -77.5925
3 | 12.0987 | 52.8172 | 15.6353 | -67.7408 | 123.2152 | -63.2747
4 | 19.0454 | 49.1669 | 0.065641 | -71.0116 | 87.1315 | -11.2444
5 | 27.0537 | 53.9704 | -30.1984 | -44.5036 | -4.4594 | 73.9011
6 | 30.0479 | 78.0815 | -45.652 | -4.7836 | -85.2123 | 127.9866
7 | 35.3963 | 135.5546 | -34.1798 | 37.5911 | -85.2419 | 222.4619
8 | 6.0681 | 191.397 | 16.8814 | 77.9369 | 73.0141 | 37.0596
9 | 18.3833 | 197.9142 | 20.624 | 75.7113 | 80.1615 | 57.3615
10 | -0.27216 | 203.6069 | 60.6331 | 70.1665 | 165.398 | -43.6837
11 | -21.9726 | 238.6216 | 53.4984 | 21.9244 | 165.0029 | -143.5289
12 | -22.951 | 238.6251 | 56.095 | 13.8862 | 172.9271 | -191.331
13 | -28.5229 | 218.9144 | 63.9609 | 14.6055 | 179.5261 | -223.9999
14 | -21.1927 | 218.6511 | 51.9986 | 12.096 | 148.7459 | -174.3863
15 | -6.5292 | 218.6454 | 21.79 | 22.1405 | 58.3296 | -27.0796
16 | 10.1461 | 218.6923 | -22.6124 | 22.0954 | -62.7406 | 113.3269
17 | 12.141 | 203.6147 | -61.7568 | 33.4333 | -110.9257 | 112.1231
18 | 14.3301 | 214.7226 | -11.6273 | 89.6007 | -48.72 | 143.2837
19 | 4.4204 | 238.5818 | -1.1262 | 33.1495 | 35.694 | 31.5489
20 | 4.6579 | 238.557 | 5.2367 | 11.4218 | 61.4826 | 21.8218
21 | 5.4057 | 248.2094 | 27.1441 | 3.1385 | 98.6173 | -9.6316
22 | 11.6064 | 238.7656 | 11.0735 | -60.8058 | 67.4043 | -19.022
23 | 21.1433 | 226.6487 | 20.2671 | -78.4208 | 73.584 | -19.7949
24 | 48.3997 | 201.5724 | -29.7616 | -104.1191 | -1.8816 | 78.2814
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-02-17
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 851.5917
|  |  | 01:00 - 02:00 | 644.212
|  |  | 02:00 - 03:00 | 594.5507
|  |  | 03:00 - 04:00 | 577.061
|  |  | 04:00 - 05:00 | 543.3092
|  |  | 05:00 - 06:00 | 654.5644
|  |  | 06:00 - 07:00 | 854.6739
|  |  | 07:00 - 08:00 | 1455.3929
|  |  | 08:00 - 09:00 | 1623.8149
|  |  | 09:00 - 10:00 | 1611.2634
|  |  | 10:00 - 11:00 | 1542.903
|  |  | 11:00 - 12:00 | 1251.3663
|  |  | 12:00 - 13:00 | 1215.9651
|  |  | 13:00 - 14:00 | 1256.0342
|  |  | 14:00 - 15:00 | 1188.988
|  |  | 15:00 - 16:00 | 1292.9763
|  |  | 16:00 - 17:00 | 1421.4614
|  |  | 17:00 - 18:00 | 1580.6909
|  |  | 18:00 - 19:00 | 1595.5392
|  |  | 19:00 - 20:00 | 1566.2266
|  |  | 20:00 - 21:00 | 1470.0897
|  |  | 21:00 - 22:00 | 1412.0955
|  |  | 22:00 - 23:00 | 1340.0466
|  |  | 23:00 - 00:00 | 975.9712
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 120.1459 | 0.60106 | 115.4924 | 0 | 0 | 103.8348 | 121.3499
2 | 0 | 120.1492 | 0 | 0 | 0 | 0 | 107.7505 | 52.22
3 | 0 | 120.1743 | 0 | 0 | 0 | 0 | 100.8277 | 0
4 | 0 | 120.1712 | 0 | 0 | 0 | 0 | 90.7211 | 0
5 | 0 | 120.1878 | 0 | 0 | 0 | 0 | 108.3963 | 0.51803
6 | 0 | 120.1778 | 0 | 1.9245 | 0 | 0.75221 | 110.737 | 89.0287
7 | 0.41348 | 120.1774 | 1.8063 | 98.7836 | 0.44494 | 109.0584 | 109.0456 | 93.1208
8 | 117.5759 | 120.1234 | 118.4506 | 119.3296 | 88.4677 | 122.5382 | 122.4193 | 94.1341
9 | 119.9148 | 120.1532 | 119.5957 | 119.3845 | 143.3875 | 102.0848 | 101.9841 | 141.0479
10 | 119.8365 | 120.1145 | 119.6461 | 119.3741 | 143.742 | 97.5464 | 97.4417 | 139.6499
11 | 119.9091 | 120.1443 | 119.6288 | 119.4029 | 143.7356 | 100.3267 | 100.1142 | 121.9137
12 | 119.9231 | 120.162 | 119.6447 | 119.3821 | 119.0908 | 96.7615 | 96.6923 | 116.9598
13 | 110.1098 | 110.1358 | 109.8056 | 109.4787 | 99.2818 | 90.8052 | 90.7438 | 110.0519
14 | 110.0623 | 110.0162 | 109.7053 | 109.3288 | 119.0493 | 90.0743 | 90.0193 | 110.9847
15 | 110.0992 | 110.0644 | 109.7034 | 109.3306 | 128.9547 | 91.2775 | 91.2651 | 117.8965
16 | 110.0987 | 110.0027 | 109.7574 | 109.3124 | 128.9515 | 89.9615 | 89.9278 | 128.8067
17 | 102.2029 | 102.3507 | 102.1778 | 101.7672 | 109.1467 | 103.9526 | 103.8472 | 96.3294
18 | 114.0774 | 108.3854 | 107.7855 | 107.2772 | 119.0574 | 126.5214 | 126.5157 | 104.9918
19 | 119.8966 | 120.0804 | 119.6248 | 119.3225 | 119.0486 | 125.1188 | 124.9683 | 111.954
20 | 119.9035 | 120.0783 | 119.6234 | 119.3154 | 128.9203 | 112.8123 | 112.7226 | 131.6307
21 | 119.8628 | 120.0865 | 124.3301 | 124.2764 | 143.7044 | 94.7348 | 94.7561 | 141.5734
22 | 119.8763 | 120.0906 | 119.8117 | 119.3443 | 60.5259 | 100.6755 | 100.613 | 89.5861
23 | 107.7098 | 107.9152 | 107.7056 | 119.3161 | 0 | 101.5707 | 101.7204 | 141.2955
24 | 96.8863 | 101.5112 | 100.992 | 100.9329 | 0 | 0.17918 | 100.105 | 109.0069
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1938.3583 | 2782.5984 | 1940.3959 | 2162.0762 | 1795.5092 | 1756.7519 | 2477.1689 | 2364.0504
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 730.9292 | 26.6967
|  | 2 | 624.1523 | 25.7949
|  | 3 | 576.2296 | 23.8706
|  | 4 | 562.8047 | 23.8443
|  | 5 | 572.7472 | 24.2807
|  | 6 | 638.7141 | 24.0224
|  | 7 | 823.1392 | 21.4267
|  | 8 | 1093.2123 | 24.65
|  | 9 | 1197.1238 | 27.06
|  | 10 | 1198.5718 | 26.9137
|  | 11 | 1156.8135 | 25.819
|  | 12 | 1143.0266 | 24.9046
|  | 13 | 1140.3294 | 23.4873
|  | 14 | 1164.6298 | 25.028
|  | 15 | 1192.953 | 24.0771
|  | 16 | 1205.6386 | 24.0935
|  | 17 | 1245.3677 | 26.6318
|  | 18 | 1367.3847 | 29.7927
|  | 19 | 1407.1953 | 29.5963
|  | 20 | 1398.1553 | 29.0357
|  | 21 | 1354.5359 | 26.7496
|  | 22 | 1222.5204 | 22.758
|  | 23 | 1045.2386 | 20.3256
|  | 24 | 850.5549 | 18.1349
|  | 25 | 739.3642 | 18.6319
|  | 26 | 647.6905 | 19.6314
|  | 27 | 590.6975 | 19.0879
|  | 28 | 570.4876 | 17.9635
|  | 29 | 576.6206 | 17.6843
|  | 30 | 639.4654 | 14.3832
|  | 31 | 825.0379 | 14.9921
|  | 32 | 1098.504 | 21.0992
|  | 33 | 1220.9198 | 23.1457
|  | 34 | 1232.6028 | 21.8661
|  | 35 | 1207.8046 | 19.9528
|  | 36 | 1184.9501 | 20.1687
|  | 37 | 1189.3184 | 18.9993
|  | 38 | 1204.091 | 20.0178
|  | 39 | 1207.1242 | 20.2647
|  | 40 | 1202.0909 | 20.1208
|  | 41 | 1225.2063 | 24.1354
|  | 42 | 1343.0901 | 26.9896
|  | 43 | 1381.9038 | 26.5941
|  | 44 | 1372.0469 | 27.7442
|  | 45 | 1337.9544 | 23.0846
|  | 46 | 1222.3674 | 23.2106
|  | 47 | 1041.0814 | 18.0393
|  | 48 | 846.7057 | 15.1391
|  | 49 | 695.0701 | 14.323
|  | 50 | 627.1893 | 13.9648
|  | 51 | 592.0122 | 13.799
|  | 52 | 577.0741 | 13.9947
|  | 53 | 591.1706 | 13.6523
|  | 54 | 653.9762 | 14.2859
|  | 55 | 827.7271 | 13.846
|  | 56 | 1088.7716 | 17.9955
|  | 57 | 1192.6454 | 21.5079
|  | 58 | 1209.6002 | 23.2699
|  | 59 | 1172.2781 | 23.7387
|  | 60 | 1159.9828 | 23.5023
|  | 61 | 1176.019 | 22.6355
|  | 62 | 1205.9773 | 23.8054
|  | 63 | 1215.676 | 23.2305
|  | 64 | 1215.322 | 23.0966
|  | 65 | 1246.7427 | 24.3442
|  | 66 | 1356.0561 | 25.9609
|  | 67 | 1399.4643 | 25.356
|  | 68 | 1387.7591 | 25.3027
|  | 69 | 1346.7987 | 23.9533
|  | 70 | 1229.6186 | 20.58
|  | 71 | 1057.8024 | 18.1238
|  | 72 | 871.6792 | 15.0387
|  | 73 | 760.6347 | 13.0876
|  | 74 | 671.7948 | 12.4801
|  | 75 | 614.4764 | 12.9024
|  | 76 | 592.1699 | 12.8121
|  | 77 | 597.0245 | 13.5467
|  | 78 | 658.2348 | 13.8568
|  | 79 | 811.1731 | 16.4381
|  | 80 | 1051.376 | 21.3753
|  | 81 | 1201.663 | 26.9862
|  | 82 | 1250.7651 | 31.35
|  | 83 | 1248.2477 | 32.8381
|  | 84 | 1235.8357 | 37.9636
|  | 85 | 1261.8488 | 35.48
|  | 86 | 1285.2416 | 30.3246
|  | 87 | 1245.8435 | 24.9977
|  | 88 | 1228.6336 | 22.6591
|  | 89 | 1262.1835 | 25.3898
|  | 90 | 1373.9682 | 28.5333
|  | 91 | 1400.9028 | 29.4112
|  | 92 | 1392.2953 | 28.6727
|  | 93 | 1359.3014 | 27.5956
|  | 94 | 1242.4355 | 23.784
|  | 95 | 1072.3749 | 21.1434
|  | 96 | 906.2061 | 16.2788
|  | 97 | 775.7905 | 17.2094
|  | 98 | 673.6316 | 15.7886
|  | 99 | 614.8234 | 15.6194
|  | 100 | 592.2442 | 16.8817
|  | 101 | 592.7245 | 15.5079
|  | 102 | 640.5219 | 14.7655
|  | 103 | 773.8538 | 16.6042
|  | 104 | 1001.7942 | 22.0084
|  | 105 | 1139.9394 | 24.2081
|  | 106 | 1191.2436 | 22.6773
|  | 107 | 1178.3891 | 20.0972
|  | 108 | 1166.2009 | 19.0462
|  | 109 | 1165.6225 | 18.0567
|  | 110 | 1178.7248 | 18.4234
|  | 111 | 1187.8092 | 19.1245
|  | 112 | 1205.0225 | 19.2687
|  | 113 | 1266.0359 | 22.3071
|  | 114 | 1403.1688 | 27.1842
|  | 115 | 1453.5692 | 25.3846
|  | 116 | 1453.8894 | 24.7129
|  | 117 | 1427.3387 | 24.1545
|  | 118 | 1312.3924 | 20.5517
|  | 119 | 1132.6626 | 16.9566
|  | 120 | 936.2774 | 14.1416
|  | 121 | 777.2254 | 15.0524
|  | 122 | 674.741 | 14.1518
|  | 123 | 615.7455 | 15.6463
|  | 124 | 593.0944 | 15.5162
|  | 125 | 593.5763 | 12.7465
|  | 126 | 641.526 | 12.8865
|  | 127 | 775.2825 | 15.1792
|  | 128 | 1003.9489 | 18.493
|  | 129 | 1142.5342 | 19.8446
|  | 130 | 1194.0017 | 20.4414
|  | 131 | 1181.1064 | 19.2813
|  | 132 | 1168.8793 | 18.0662
|  | 133 | 1168.299 | 17.6287
|  | 134 | 1181.4431 | 19.3468
|  | 135 | 1190.5564 | 21.4418
|  | 136 | 1207.8245 | 21.2589
|  | 137 | 1269.0323 | 24.3712
|  | 138 | 1406.602 | 33.6176
|  | 139 | 1457.1629 | 35.3258
|  | 140 | 1457.4841 | 32.0505
|  | 141 | 1430.8489 | 28.7008
|  | 142 | 1315.5365 | 25.7199
|  | 143 | 1135.2342 | 21.8579
|  | 144 | 938.2234 | 18.9708
|  | 145 | 793.0791 | 18.6447
|  | 146 | 692.5159 | 19.0746
|  | 147 | 628.862 | 18.6753
|  | 148 | 604.2783 | 17.8172
|  | 149 | 605.8544 | 16.7591
|  | 150 | 656.9358 | 15.567
|  | 151 | 801.3104 | 17.1383
|  | 152 | 1038.4964 | 20.0387
|  | 153 | 1173.3234 | 22.166
|  | 154 | 1217.9275 | 23.3897
|  | 155 | 1204.8496 | 22.2847
|  | 156 | 1195.7671 | 20.4826
|  | 157 | 1201.4323 | 19.4999
|  | 158 | 1216.5112 | 19.5648
|  | 159 | 1222.9547 | 20.5417
|  | 160 | 1232.8103 | 21.8336
|  | 161 | 1283.3082 | 26.827
|  | 162 | 1411.3553 | 30.6124
|  | 163 | 1454.6249 | 29.3464
|  | 164 | 1452.2731 | 29.6726
|  | 165 | 1423.1196 | 27.3884
|  | 166 | 1308.1284 | 23.1087
|  | 167 | 1126.6495 | 19.5472
|  | 168 | 931.9393 | 17.9317
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 13/02/2023 | 14/02/2023 | 15/02/2023 | 16/02/2023 | 17/02/2023 | 18/02/2023 | 19/02/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-02-17
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 25464 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 13/02/2023 | 14/02/2023 | 15/02/2023 | 16/02/2023 | 17/02/2023 | 18/02/2023 | 19/02/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1200 | 1200 | 1150 | 1150
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-02-15
|  | Hour | Production | Exchange | Consumption
|  | 1 | 898.6089 | 137.206 | 761.4029
|  | 2 | 695.8693 | 80.572 | 615.2973
|  | 3 | 600.7583 | 49.028 | 551.7303
|  | 4 | 584.8111 | 54.596 | 530.2151
|  | 5 | 582.3483 | 48.395 | 533.9533
|  | 6 | 672.7649 | 67.234 | 605.5309
|  | 7 | 1034.8208 | 221.97 | 812.8508
|  | 8 | 1488.2259 | 391.785 | 1096.4409
|  | 9 | 1668.3357 | 481.727 | 1186.6087
|  | 10 | 1633.6079 | 475.843 | 1157.7649
|  | 11 | 1501.2975 | 402.097 | 1099.2005
|  | 12 | 1320.4589 | 274.523 | 1045.9359
|  | 13 | 1195.0555 | 176.758 | 1018.2975
|  | 14 | 1221.9668 | 182.735 | 1039.2318
|  | 15 | 1277.0324 | 218.478 | 1058.5544
|  | 16 | 1259.196 | 194.015 | 1065.181
|  | 17 | 1340.365 | 232.848 | 1107.517
|  | 18 | 1619.7191 | 358.032 | 1261.6871
|  | 19 | 1741.6671 | 374.127 | 1367.5401
|  | 20 | 1731.1063 | 359.521 | 1371.5853
|  | 21 | 1700.848 | 349.203 | 1351.645
|  | 22 | 1368.1556 | 141.073 | 1227.0826
|  | 23 | 1244.7069 | 217.139 | 1027.5679
|  | 24 | 1048.3981 | 252.544 | 795.8541
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 13.2679 | 127.9133 | 35.7736 | -29.6175 | 108.9204 | -44.2694
2 | 10.0702 | 70.6155 | 21.5994 | -53.3482 | 124.363 | -77.5925
3 | 12.0987 | 52.8172 | 15.6353 | -67.7408 | 123.2152 | -63.2747
4 | 19.0454 | 49.1669 | 0.065641 | -71.0116 | 87.1315 | -11.2444
5 | 27.0537 | 53.9704 | -30.1984 | -44.5036 | -4.4594 | 73.9011
6 | 30.0479 | 78.0815 | -45.652 | -4.7836 | -85.2123 | 127.9866
7 | 35.3963 | 135.5546 | -34.1798 | 37.5911 | -85.2419 | 222.4619
8 | 6.0681 | 191.397 | 16.8814 | 77.9369 | 73.0141 | 37.0596
9 | 18.3833 | 197.9142 | 20.624 | 75.7113 | 80.1615 | 57.3615
10 | -0.27216 | 203.6069 | 60.6331 | 70.1665 | 165.398 | -43.6837
11 | -21.9726 | 238.6216 | 53.4984 | 21.9244 | 165.0029 | -143.5289
12 | -22.951 | 238.6251 | 56.095 | 13.8862 | 172.9271 | -191.331
13 | -28.5229 | 218.9144 | 63.9609 | 14.6055 | 179.5261 | -223.9999
14 | -21.1927 | 218.6511 | 51.9986 | 12.096 | 148.7459 | -174.3863
15 | -6.5292 | 218.6454 | 21.79 | 22.1405 | 58.3296 | -27.0796
16 | 10.1461 | 218.6923 | -22.6124 | 22.0954 | -62.7406 | 113.3269
17 | 12.141 | 203.6147 | -61.7568 | 33.4333 | -110.9257 | 112.1231
18 | 14.3301 | 214.7226 | -11.6273 | 89.6007 | -48.72 | 143.2837
19 | 4.4204 | 238.5818 | -1.1262 | 33.1495 | 35.694 | 31.5489
20 | 4.6579 | 238.557 | 5.2367 | 11.4218 | 61.4826 | 21.8218
21 | 5.4057 | 248.2094 | 27.1441 | 3.1385 | 98.6173 | -9.6316
22 | 11.6064 | 238.7656 | 11.0735 | -60.8058 | 67.4043 | -19.022
23 | 21.1433 | 226.6487 | 20.2671 | -78.4208 | 73.584 | -19.7949
24 | 48.3997 | 201.5724 | -29.7616 | -104.1191 | -1.8816 | 78.2814
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-02-17
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 851.5917
|  |  | 01:00 - 02:00 | 644.212
|  |  | 02:00 - 03:00 | 594.5507
|  |  | 03:00 - 04:00 | 577.061
|  |  | 04:00 - 05:00 | 543.3092
|  |  | 05:00 - 06:00 | 654.5644
|  |  | 06:00 - 07:00 | 854.6739
|  |  | 07:00 - 08:00 | 1455.3929
|  |  | 08:00 - 09:00 | 1623.8149
|  |  | 09:00 - 10:00 | 1611.2634
|  |  | 10:00 - 11:00 | 1542.903
|  |  | 11:00 - 12:00 | 1251.3663
|  |  | 12:00 - 13:00 | 1215.9651
|  |  | 13:00 - 14:00 | 1256.0342
|  |  | 14:00 - 15:00 | 1188.988
|  |  | 15:00 - 16:00 | 1292.9763
|  |  | 16:00 - 17:00 | 1421.4614
|  |  | 17:00 - 18:00 | 1580.6909
|  |  | 18:00 - 19:00 | 1595.5392
|  |  | 19:00 - 20:00 | 1566.2266
|  |  | 20:00 - 21:00 | 1470.0897
|  |  | 21:00 - 22:00 | 1412.0955
|  |  | 22:00 - 23:00 | 1340.0466
|  |  | 23:00 - 00:00 | 975.9712
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 120.1459 | 0.60106 | 115.4924 | 0 | 0 | 103.8348 | 121.3499
2 | 0 | 120.1492 | 0 | 0 | 0 | 0 | 107.7505 | 52.22
3 | 0 | 120.1743 | 0 | 0 | 0 | 0 | 100.8277 | 0
4 | 0 | 120.1712 | 0 | 0 | 0 | 0 | 90.7211 | 0
5 | 0 | 120.1878 | 0 | 0 | 0 | 0 | 108.3963 | 0.51803
6 | 0 | 120.1778 | 0 | 1.9245 | 0 | 0.75221 | 110.737 | 89.0287
7 | 0.41348 | 120.1774 | 1.8063 | 98.7836 | 0.44494 | 109.0584 | 109.0456 | 93.1208
8 | 117.5759 | 120.1234 | 118.4506 | 119.3296 | 88.4677 | 122.5382 | 122.4193 | 94.1341
9 | 119.9148 | 120.1532 | 119.5957 | 119.3845 | 143.3875 | 102.0848 | 101.9841 | 141.0479
10 | 119.8365 | 120.1145 | 119.6461 | 119.3741 | 143.742 | 97.5464 | 97.4417 | 139.6499
11 | 119.9091 | 120.1443 | 119.6288 | 119.4029 | 143.7356 | 100.3267 | 100.1142 | 121.9137
12 | 119.9231 | 120.162 | 119.6447 | 119.3821 | 119.0908 | 96.7615 | 96.6923 | 116.9598
13 | 110.1098 | 110.1358 | 109.8056 | 109.4787 | 99.2818 | 90.8052 | 90.7438 | 110.0519
14 | 110.0623 | 110.0162 | 109.7053 | 109.3288 | 119.0493 | 90.0743 | 90.0193 | 110.9847
15 | 110.0992 | 110.0644 | 109.7034 | 109.3306 | 128.9547 | 91.2775 | 91.2651 | 117.8965
16 | 110.0987 | 110.0027 | 109.7574 | 109.3124 | 128.9515 | 89.9615 | 89.9278 | 128.8067
17 | 102.2029 | 102.3507 | 102.1778 | 101.7672 | 109.1467 | 103.9526 | 103.8472 | 96.3294
18 | 114.0774 | 108.3854 | 107.7855 | 107.2772 | 119.0574 | 126.5214 | 126.5157 | 104.9918
19 | 119.8966 | 120.0804 | 119.6248 | 119.3225 | 119.0486 | 125.1188 | 124.9683 | 111.954
20 | 119.9035 | 120.0783 | 119.6234 | 119.3154 | 128.9203 | 112.8123 | 112.7226 | 131.6307
21 | 119.8628 | 120.0865 | 124.3301 | 124.2764 | 143.7044 | 94.7348 | 94.7561 | 141.5734
22 | 119.8763 | 120.0906 | 119.8117 | 119.3443 | 60.5259 | 100.6755 | 100.613 | 89.5861
23 | 107.7098 | 107.9152 | 107.7056 | 119.3161 | 0 | 101.5707 | 101.7204 | 141.2955
24 | 96.8863 | 101.5112 | 100.992 | 100.9329 | 0 | 0.17918 | 100.105 | 109.0069
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1938.3583 | 2662.4525 | 1939.7949 | 2046.5838 | 1795.5092 | 1756.7519 | 2373.3341 | 2242.7005
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Average | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 730.9292 | 26.6967
|  | 2 | 624.1523 | 25.7949
|  | 3 | 576.2296 | 23.8706
|  | 4 | 562.8047 | 23.8443
|  | 5 | 572.7472 | 24.2807
|  | 6 | 638.7141 | 24.0224
|  | 7 | 823.1392 | 21.4267
|  | 8 | 1093.2123 | 24.65
|  | 9 | 1197.1238 | 27.06
|  | 10 | 1198.5718 | 26.9137
|  | 11 | 1156.8135 | 25.819
|  | 12 | 1143.0266 | 24.9046
|  | 13 | 1140.3294 | 23.4873
|  | 14 | 1164.6298 | 25.028
|  | 15 | 1192.953 | 24.0771
|  | 16 | 1205.6386 | 24.0935
|  | 17 | 1245.3677 | 26.6318
|  | 18 | 1367.3847 | 29.7927
|  | 19 | 1407.1953 | 29.5963
|  | 20 | 1398.1553 | 29.0357
|  | 21 | 1354.5359 | 26.7496
|  | 22 | 1222.5204 | 22.758
|  | 23 | 1045.2386 | 20.3256
|  | 24 | 850.5549 | 18.1349
|  | 25 | 739.3642 | 18.6319
|  | 26 | 647.6905 | 19.6314
|  | 27 | 590.6975 | 19.0879
|  | 28 | 570.4876 | 17.9635
|  | 29 | 576.6206 | 17.6843
|  | 30 | 639.4654 | 14.3832
|  | 31 | 825.0379 | 14.9921
|  | 32 | 1098.504 | 21.0992
|  | 33 | 1220.9198 | 23.1457
|  | 34 | 1232.6028 | 21.8661
|  | 35 | 1207.8046 | 19.9528
|  | 36 | 1184.9501 | 20.1687
|  | 37 | 1189.3184 | 18.9993
|  | 38 | 1204.091 | 20.0178
|  | 39 | 1207.1242 | 20.2647
|  | 40 | 1202.0909 | 20.1208
|  | 41 | 1225.2063 | 24.1354
|  | 42 | 1343.0901 | 26.9896
|  | 43 | 1381.9038 | 26.5941
|  | 44 | 1372.0469 | 27.7442
|  | 45 | 1337.9544 | 23.0846
|  | 46 | 1222.3674 | 23.2106
|  | 47 | 1041.0814 | 18.0393
|  | 48 | 846.7057 | 15.1391
|  | 49 | 695.0701 | 14.323
|  | 50 | 627.1893 | 13.9648
|  | 51 | 592.0122 | 13.799
|  | 52 | 577.0741 | 13.9947
|  | 53 | 591.1706 | 13.6523
|  | 54 | 653.9762 | 14.2859
|  | 55 | 827.7271 | 13.846
|  | 56 | 1088.7716 | 17.9955
|  | 57 | 1192.6454 | 21.5079
|  | 58 | 1209.6002 | 23.2699
|  | 59 | 1172.2781 | 23.7387
|  | 60 | 1159.9828 | 23.5023
|  | 61 | 1176.019 | 22.6355
|  | 62 | 1205.9773 | 23.8054
|  | 63 | 1215.676 | 23.2305
|  | 64 | 1215.322 | 23.0966
|  | 65 | 1246.7427 | 24.3442
|  | 66 | 1356.0561 | 25.9609
|  | 67 | 1399.4643 | 25.356
|  | 68 | 1387.7591 | 25.3027
|  | 69 | 1346.7987 | 23.9533
|  | 70 | 1229.6186 | 20.58
|  | 71 | 1057.8024 | 18.1238
|  | 72 | 871.6792 | 15.0387
|  | 73 | 760.6347 | 13.0876
|  | 74 | 671.7948 | 12.4801
|  | 75 | 614.4764 | 12.9024
|  | 76 | 592.1699 | 12.8121
|  | 77 | 597.0245 | 13.5467
|  | 78 | 658.2348 | 13.8568
|  | 79 | 811.1731 | 16.4381
|  | 80 | 1051.376 | 21.3753
|  | 81 | 1201.663 | 26.9862
|  | 82 | 1250.7651 | 31.35
|  | 83 | 1248.2477 | 32.8381
|  | 84 | 1235.8357 | 37.9636
|  | 85 | 1261.8488 | 35.48
|  | 86 | 1285.2416 | 30.3246
|  | 87 | 1245.8435 | 24.9977
|  | 88 | 1228.6336 | 22.6591
|  | 89 | 1262.1835 | 25.3898
|  | 90 | 1373.9682 | 28.5333
|  | 91 | 1400.9028 | 29.4112
|  | 92 | 1392.2953 | 28.6727
|  | 93 | 1359.3014 | 27.5956
|  | 94 | 1242.4355 | 23.784
|  | 95 | 1072.3749 | 21.1434
|  | 96 | 906.2061 | 16.2788
|  | 97 | 775.7905 | 17.2094
|  | 98 | 673.6316 | 15.7886
|  | 99 | 614.8234 | 15.6194
|  | 100 | 592.2442 | 16.8817
|  | 101 | 592.7245 | 15.5079
|  | 102 | 640.5219 | 14.7655
|  | 103 | 773.8538 | 16.6042
|  | 104 | 1001.7942 | 22.0084
|  | 105 | 1139.9394 | 24.2081
|  | 106 | 1191.2436 | 22.6773
|  | 107 | 1178.3891 | 20.0972
|  | 108 | 1166.2009 | 19.0462
|  | 109 | 1165.6225 | 18.0567
|  | 110 | 1178.7248 | 18.4234
|  | 111 | 1187.8092 | 19.1245
|  | 112 | 1205.0225 | 19.2687
|  | 113 | 1266.0359 | 22.3071
|  | 114 | 1403.1688 | 27.1842
|  | 115 | 1453.5692 | 25.3846
|  | 116 | 1453.8894 | 24.7129
|  | 117 | 1427.3387 | 24.1545
|  | 118 | 1312.3924 | 20.5517
|  | 119 | 1132.6626 | 16.9566
|  | 120 | 936.2774 | 14.1416
|  | 121 | 777.2254 | 15.0524
|  | 122 | 674.741 | 14.1518
|  | 123 | 615.7455 | 15.6463
|  | 124 | 593.0944 | 15.5162
|  | 125 | 593.5763 | 12.7465
|  | 126 | 641.526 | 12.8865
|  | 127 | 775.2825 | 15.1792
|  | 128 | 1003.9489 | 18.493
|  | 129 | 1142.5342 | 19.8446
|  | 130 | 1194.0017 | 20.4414
|  | 131 | 1181.1064 | 19.2813
|  | 132 | 1168.8793 | 18.0662
|  | 133 | 1168.299 | 17.6287
|  | 134 | 1181.4431 | 19.3468
|  | 135 | 1190.5564 | 21.4418
|  | 136 | 1207.8245 | 21.2589
|  | 137 | 1269.0323 | 24.3712
|  | 138 | 1406.602 | 33.6176
|  | 139 | 1457.1629 | 35.3258
|  | 140 | 1457.4841 | 32.0505
|  | 141 | 1430.8489 | 28.7008
|  | 142 | 1315.5365 | 25.7199
|  | 143 | 1135.2342 | 21.8579
|  | 144 | 938.2234 | 18.9708
|  | 145 | 793.0791 | 18.6447
|  | 146 | 692.5159 | 19.0746
|  | 147 | 628.862 | 18.6753
|  | 148 | 604.2783 | 17.8172
|  | 149 | 605.8544 | 16.7591
|  | 150 | 656.9358 | 15.567
|  | 151 | 801.3104 | 17.1383
|  | 152 | 1038.4964 | 20.0387
|  | 153 | 1173.3234 | 22.166
|  | 154 | 1217.9275 | 23.3897
|  | 155 | 1204.8496 | 22.2847
|  | 156 | 1195.7671 | 20.4826
|  | 157 | 1201.4323 | 19.4999
|  | 158 | 1216.5112 | 19.5648
|  | 159 | 1222.9547 | 20.5417
|  | 160 | 1232.8103 | 21.8336
|  | 161 | 1283.3082 | 26.827
|  | 162 | 1411.3553 | 30.6124
|  | 163 | 1454.6249 | 29.3464
|  | 164 | 1452.2731 | 29.6726
|  | 165 | 1423.1196 | 27.3884
|  | 166 | 1308.1284 | 23.1087
|  | 167 | 1126.6495 | 19.5472
|  | 168 | 931.9393 | 17.9317
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 13/02/2023 | 14/02/2023 | 15/02/2023 | 16/02/2023 | 17/02/2023 | 18/02/2023 | 19/02/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible