## Publikime EN
Albania Transmission System Operator
2023-08-08
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 19497 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 07/08/2023 | 08/08/2023 | 09/08/2023 | 10/08/2023 | 11/08/2023 | 12/08/2023 | 13/08/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-08-06
|  | Hour | Production | Exchange | Consumption
|  | 1 | 317.829 | -290.021 | 607.85
|  | 2 | 253.5557 | -300.998 | 554.5537
|  | 3 | 219.7299 | -308.182 | 527.9119
|  | 4 | 205.2229 | -297.248 | 502.4709
|  | 5 | 205.3703 | -294.749 | 500.1193
|  | 6 | 218.953 | -299.472 | 518.425
|  | 7 | 282.5149 | -289.521 | 572.0359
|  | 8 | 366.4967 | -289.632 | 656.1287
|  | 9 | 424.2085 | -302.971 | 727.1795
|  | 10 | 444.4953 | -314.945 | 759.4403
|  | 11 | 457.8381 | -347.589 | 805.4271
|  | 12 | 369.2406 | -470.787 | 840.0276
|  | 13 | 368.2417 | -485.46 | 853.7017
|  | 14 | 303.8031 | -492.937 | 796.7401
|  | 15 | 270.3344 | -485.299 | 755.6334
|  | 16 | 268.8643 | -468.293 | 737.1573
|  | 17 | 415.6133 | -336.705 | 752.3183
|  | 18 | 457.8714 | -343.124 | 800.9954
|  | 19 | 518.7596 | -325.647 | 844.4066
|  | 20 | 561.9704 | -322.349 | 884.3194
|  | 21 | 591.2867 | -355.764 | 947.0507
|  | 22 | 580.9185 | -318.656 | 899.5745
|  | 23 | 499.4815 | -301.786 | 801.2675
|  | 24 | 378.1618 | -318.659 | 696.8208
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 30.2806 | 13.2822 | -52.2928 | -156.648 | -97.0314 | 123.3082
2 | 31.631 | -2.1324 | -37.5626 | -172.9631 | -54.1766 | 118.7847
3 | 33.3883 | -27.8864 | -27.7232 | -194.0715 | -43.3359 | 108.6111
4 | 24.6301 | -29.8287 | -30.3279 | -191.12 | -44.6477 | 121.3238
5 | 33.0102 | -29.7861 | -21.1864 | -193.0522 | -27.2536 | 100.831
6 | 34.1985 | -19.8136 | -32.0892 | -175.0791 | -57.5286 | 126.988
7 | 35.1977 | 0.57551 | -29.6903 | -174.5372 | -57.4237 | 108.5866
8 | 32.3159 | 18.349 | -13.2719 | -163.567 | -53.682 | 74.381
9 | 25.1057 | 44.8495 | -3.6408 | -172.9696 | -24.2404 | 14.5771
10 | 17.6831 | 64.8958 | 0.68763 | -172.1503 | 15.6684 | -35.3448
11 | 2.0038 | 69.3424 | 8.2484 | -169.6569 | 32.3151 | -49.5491
12 | 4.6986 | 79.3539 | 34.0854 | -142.6231 | 26.2241 | -11.1722
13 | 2.029 | 71.8048 | 32.5107 | -131.8948 | -11.4778 | 17.3215
14 | 1.1762 | 71.6984 | 18.4866 | -125.9178 | -42.6747 | 49.4304
15 | 0.47489 | 77.7544 | 8.0756 | -111.5832 | -56.7786 | 67.0886
16 | 12.5796 | 82.4358 | -23.7116 | -90.8039 | -120.2934 | 129.5736
17 | 18.0978 | 93.7701 | -45.2997 | -63.6379 | -176.2979 | 170.6755
18 | 5.0554 | 105.9069 | -46.9422 | -26.7822 | -164.9357 | 130.113
19 | -3.6107 | 121.169 | -54.0658 | -15.6474 | -159.014 | 109.2795
20 | -5.0566 | 138.5379 | -36.2753 | 10.2897 | -144.5526 | 101.8993
21 | -13.4527 | 143.7934 | -24.1165 | 25.3693 | -143.7274 | 60.7561
22 | 10.5656 | 111.4207 | -70.8199 | -32.0173 | -206.9088 | 179.2376
23 | 25.2233 | 93.9134 | -99.6341 | -63.2121 | -241.9146 | 237.6803
24 | 35.0172 | 87.3912 | -115.4376 | -76.937 | -249.0701 | 286.85
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-08-08
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 542.91
|  |  | 01:00 - 02:00 | 477.43
|  |  | 02:00 - 03:00 | 440.8
|  |  | 03:00 - 04:00 | 420.78
|  |  | 04:00 - 05:00 | 417.22
|  |  | 05:00 - 06:00 | 443.03
|  |  | 06:00 - 07:00 | 533.84
|  |  | 07:00 - 08:00 | 654.39
|  |  | 08:00 - 09:00 | 727.97
|  |  | 09:00 - 10:00 | 767.37
|  |  | 10:00 - 11:00 | 782.18
|  |  | 11:00 - 12:00 | 794.72
|  |  | 12:00 - 13:00 | 761.69
|  |  | 13:00 - 14:00 | 767.7
|  |  | 14:00 - 15:00 | 756.1
|  |  | 15:00 - 16:00 | 743.78
|  |  | 16:00 - 17:00 | 743.12
|  |  | 17:00 - 18:00 | 782.9
|  |  | 18:00 - 19:00 | 803.87
|  |  | 19:00 - 20:00 | 874.59
|  |  | 20:00 - 21:00 | 918.71
|  |  | 21:00 - 22:00 | 826.71
|  |  | 22:00 - 23:00 | 707.93
|  |  | 23:00 - 00:00 | 590.34
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 92.8904 | 93.2991 | 0 | 0 | 96.4351 | 0 | 0 | 0
2 | 109.6159 | 59.7423 | 0 | 0 | 89.9618 | 0 | 0 | 0
3 | 93.187 | 0 | 0 | 0 | 89.4097 | 0 | 0 | 0
4 | 89.6339 | 0 | 0 | 0 | 92.7674 | 0 | 0 | 0
5 | 89.6138 | 0 | 0 | 0 | 112.0541 | 0 | 0 | 0
6 | 109.6512 | 0 | 1.7152 | 0 | 105.6298 | 0 | 0 | 0
7 | 109.8385 | 0 | 109.3273 | 0 | 108.6191 | 0 | 0.52122 | 0
8 | 109.8659 | 0 | 109.7219 | 4.6883 | 117.1631 | 0 | 103.3047 | 0
9 | 109.8451 | 0 | 109.7018 | 109.3933 | 111.1305 | 0 | 103.5719 | 0
10 | 109.8267 | 0 | 109.7351 | 109.3597 | 103.2614 | 0 | 114.1649 | 0
11 | 109.8134 | 0 | 109.7432 | 109.5161 | 106.9437 | 0 | 114.1386 | 0.88846
12 | 109.8539 | 0 | 109.7297 | 117.1598 | 91.0749 | 0 | 122.2668 | 101.9553
13 | 100.1542 | 0 | 100.2504 | 99.9259 | 95.2358 | 0 | 107.2765 | 89.1844
14 | 99.6643 | 0 | 99.7196 | 99.313 | 92.3167 | 0 | 95.3625 | 89.1798
15 | 99.6588 | 0 | 99.7395 | 99.3199 | 95.3281 | 0 | 95.3692 | 89.1777
16 | 97.8379 | 0 | 98.0215 | 99.3227 | 91.6078 | 0 | 95.3753 | 89.1968
17 | 105.2207 | 0 | 105.1774 | 108.938 | 89.9001 | 0 | 95.3816 | 89.194
18 | 101.7901 | 4.2133 | 101.8078 | 116.9154 | 96.8903 | 0 | 95.3823 | 89.199
19 | 104.7625 | 110.0247 | 104.9957 | 109.5968 | 91.8445 | 0 | 96.346 | 89.2086
20 | 109.0839 | 110.0105 | 108.977 | 109.4151 | 107.0906 | 0 | 96.3499 | 89.1876
21 | 109.813 | 110.0105 | 119.7464 | 114.5211 | 117.8553 | 0 | 96.3492 | 89.2015
22 | 102.3971 | 102.6949 | 109.9599 | 109.6344 | 98.4625 | 0 | 96.3368 | 89.1855
23 | 99.4786 | 99.5564 | 99.8994 | 99.6099 | 1.1443 | 0 | 95.3799 | 89.1986
24 | 96.971 | 97.3003 | 97.1018 | 96.637 | 0 | 0 | 95.3682 | 89.1649
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 2377.5773 | 693.5527 | 1905.0707 | 1713.2663 | 2105.6914 | 0 | 1718.2455 | 1173.1221
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Average | 62.9167 | 52.0833 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 671.39 | 16.219
|  | 2 | 608.49 | 14.6381
|  | 3 | 573.67 | 13.5247
|  | 4 | 557.28 | 13.2726
|  | 5 | 556.95 | 13.4213
|  | 6 | 583.78 | 14.5648
|  | 7 | 667.1 | 17.1535
|  | 8 | 776.41 | 19.8872
|  | 9 | 872.21 | 22.6542
|  | 10 | 915.11 | 23.4252
|  | 11 | 928.2 | 22.0121
|  | 12 | 945.16 | 24.5078
|  | 13 | 960.39 | 20.3371
|  | 14 | 945.76 | 20.0105
|  | 15 | 937.73 | 19.1876
|  | 16 | 928.94 | 20.927
|  | 17 | 932.01 | 23.0569
|  | 18 | 960.71 | 21.5224
|  | 19 | 983.86 | 23.4925
|  | 20 | 985.66 | 24.6192
|  | 21 | 1016.14 | 25.1656
|  | 22 | 981.63 | 27.8788
|  | 23 | 882.52 | 27.8056
|  | 24 | 758.6 | 27.5683
|  | 25 | 691.91 | 21.3782
|  | 26 | 626.43 | 17.3683
|  | 27 | 589.8 | 16.0564
|  | 28 | 569.78 | 15.6235
|  | 29 | 566.22 | 15.5707
|  | 30 | 592.03 | 16.8583
|  | 31 | 668.84 | 19.8583
|  | 32 | 779.39 | 23.3903
|  | 33 | 865.97 | 25.9362
|  | 34 | 900.37 | 25.778
|  | 35 | 914.18 | 23.037
|  | 36 | 920.72 | 23.7483
|  | 37 | 888.69 | 21.8179
|  | 38 | 899.7 | 20.7261
|  | 39 | 888.1 | 18.3844
|  | 40 | 875.78 | 20.1794
|  | 41 | 880.12 | 23.4022
|  | 42 | 908.9 | 22.6051
|  | 43 | 940.87 | 24.9974
|  | 44 | 966.59 | 25.5353
|  | 45 | 1010.71 | 21.9252
|  | 46 | 957.71 | 21.7915
|  | 47 | 855.93 | 20.0894
|  | 48 | 738.34 | 20.5656
|  | 49 | 621.61 | 17.055
|  | 50 | 567.01 | 15.5332
|  | 51 | 537.53 | 15.1816
|  | 52 | 522.67 | 14.3946
|  | 53 | 523.23 | 13.8181
|  | 54 | 552.95 | 15.3381
|  | 55 | 639.96 | 14.371
|  | 56 | 756.11 | 14.7564
|  | 57 | 841.18 | 15.9644
|  | 58 | 874.41 | 16.989
|  | 59 | 887.14 | 16.8549
|  | 60 | 889.35 | 17.5174
|  | 61 | 890.71 | 17.5464
|  | 62 | 869.8 | 18.9468
|  | 63 | 857.07 | 19.7004
|  | 64 | 841.71 | 17.5163
|  | 65 | 844.89 | 16.2233
|  | 66 | 876.53 | 18.2219
|  | 67 | 910.9 | 24.8429
|  | 68 | 952.13 | 29.7041
|  | 69 | 985.33 | 29.501
|  | 70 | 944.18 | 27.6504
|  | 71 | 841.3 | 27.2131
|  | 72 | 727.41 | 25.5303
|  | 73 | 603.7 | 17.5906
|  | 74 | 551 | 17.0951
|  | 75 | 523.91 | 17.1955
|  | 76 | 509.89 | 18.755
|  | 77 | 510.28 | 18.3714
|  | 78 | 537.27 | 19.8958
|  | 79 | 627.46 | 16.3567
|  | 80 | 742.7 | 16.8636
|  | 81 | 822.71 | 21.0879
|  | 82 | 855.1 | 22.915
|  | 83 | 864.92 | 24.5082
|  | 84 | 878.1 | 23.8896
|  | 85 | 881.01 | 22.3589
|  | 86 | 887.61 | 24.3997
|  | 87 | 873.2 | 25.29
|  | 88 | 863.48 | 22.4029
|  | 89 | 860.09 | 21.7996
|  | 90 | 884.88 | 25.236
|  | 91 | 911.38 | 27.5393
|  | 92 | 931.9 | 24.0511
|  | 93 | 973.57 | 23.8439
|  | 94 | 925.56 | 21.3039
|  | 95 | 830.77 | 18.6414
|  | 96 | 722.18 | 14.2247
|  | 97 | 619.61 | 10.94
|  | 98 | 563.16 | 11.2742
|  | 99 | 532.72 | 11.2163
|  | 100 | 518.99 | 10.8192
|  | 101 | 518.98 | 10.3184
|  | 102 | 546.16 | 10.6614
|  | 103 | 629.89 | 11.6197
|  | 104 | 749.87 | 14.4479
|  | 105 | 833.3 | 17.2276
|  | 106 | 863.21 | 18.0407
|  | 107 | 873.71 | 19.2279
|  | 108 | 890.98 | 18.9671
|  | 109 | 871.15 | 19.2923
|  | 110 | 875.68 | 19.173
|  | 111 | 858.95 | 17.5439
|  | 112 | 839.69 | 18.1567
|  | 113 | 838.91 | 20.3866
|  | 114 | 868.3 | 18.0851
|  | 115 | 917.19 | 19.6781
|  | 116 | 939.32 | 20.2384
|  | 117 | 981.17 | 22.1395
|  | 118 | 923.46 | 19.7982
|  | 119 | 822.74 | 16.7871
|  | 120 | 715.67 | 13.8299
|  | 121 | 664.77 | 11.7121
|  | 122 | 604.83 | 10.987
|  | 123 | 571.22 | 10.3325
|  | 124 | 554.54 | 10.1337
|  | 125 | 552.61 | 10.0458
|  | 126 | 579.03 | 10.4913
|  | 127 | 643.7 | 13.3882
|  | 128 | 743.18 | 14.3443
|  | 129 | 830.99 | 17.6029
|  | 130 | 872.82 | 19.1397
|  | 131 | 888.49 | 18.4347
|  | 132 | 894.41 | 17.3658
|  | 133 | 883.2 | 17.8857
|  | 134 | 874.62 | 17.8107
|  | 135 | 852.08 | 17.2771
|  | 136 | 826.1 | 18.2878
|  | 137 | 822.66 | 18.9735
|  | 138 | 827 | 21.4497
|  | 139 | 853.83 | 20.6442
|  | 140 | 877.62 | 21.7039
|  | 141 | 917.08 | 23.565
|  | 142 | 877.42 | 21.1083
|  | 143 | 781.85 | 17.6359
|  | 144 | 678.64 | 15.7171
|  | 145 | 644.97 | 12.838
|  | 146 | 579.33 | 14.0613
|  | 147 | 548.32 | 12.9393
|  | 148 | 532.74 | 12.2643
|  | 149 | 533.11 | 11.5689
|  | 150 | 553.33 | 11.1794
|  | 151 | 607.4 | 11.989
|  | 152 | 683.68 | 15.0483
|  | 153 | 752.69 | 18.2232
|  | 154 | 786.92 | 19.3199
|  | 155 | 819.59 | 19.6126
|  | 156 | 853.11 | 18.3438
|  | 157 | 866.4 | 17.2931
|  | 158 | 850.02 | 17.0374
|  | 159 | 818.78 | 15.5045
|  | 160 | 806.6 | 15.0789
|  | 161 | 823.56 | 17.5558
|  | 162 | 863 | 20.1869
|  | 163 | 907.13 | 21.062
|  | 164 | 940.52 | 22.3694
|  | 165 | 985.88 | 23.2643
|  | 166 | 959.67 | 20.6226
|  | 167 | 854.2 | 16.9832
|  | 168 | 740.59 | 15.1171
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 07/08/2023 | 08/08/2023 | 09/08/2023 | 10/08/2023 | 11/08/2023 | 12/08/2023 | 13/08/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible

## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-08-08
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 19497 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 07/08/2023 | 08/08/2023 | 09/08/2023 | 10/08/2023 | 11/08/2023 | 12/08/2023 | 13/08/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-08-06
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 317.829 | -290.021 | 607.85
|  | 2 | 253.5557 | -300.998 | 554.5537
|  | 3 | 219.7299 | -308.182 | 527.9119
|  | 4 | 205.2229 | -297.248 | 502.4709
|  | 5 | 205.3703 | -294.749 | 500.1193
|  | 6 | 218.953 | -299.472 | 518.425
|  | 7 | 282.5149 | -289.521 | 572.0359
|  | 8 | 366.4967 | -289.632 | 656.1287
|  | 9 | 424.2085 | -302.971 | 727.1795
|  | 10 | 444.4953 | -314.945 | 759.4403
|  | 11 | 457.8381 | -347.589 | 805.4271
|  | 12 | 369.2406 | -470.787 | 840.0276
|  | 13 | 368.2417 | -485.46 | 853.7017
|  | 14 | 303.8031 | -492.937 | 796.7401
|  | 15 | 270.3344 | -485.299 | 755.6334
|  | 16 | 268.8643 | -468.293 | 737.1573
|  | 17 | 415.6133 | -336.705 | 752.3183
|  | 18 | 457.8714 | -343.124 | 800.9954
|  | 19 | 518.7596 | -325.647 | 844.4066
|  | 20 | 561.9704 | -322.349 | 884.3194
|  | 21 | 591.2867 | -355.764 | 947.0507
|  | 22 | 580.9185 | -318.656 | 899.5745
|  | 23 | 499.4815 | -301.786 | 801.2675
|  | 24 | 378.1618 | -318.659 | 696.8208
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 30.2806 | 13.2822 | -52.2928 | -156.648 | -97.0314 | 123.3082
2 | 31.631 | -2.1324 | -37.5626 | -172.9631 | -54.1766 | 118.7847
3 | 33.3883 | -27.8864 | -27.7232 | -194.0715 | -43.3359 | 108.6111
4 | 24.6301 | -29.8287 | -30.3279 | -191.12 | -44.6477 | 121.3238
5 | 33.0102 | -29.7861 | -21.1864 | -193.0522 | -27.2536 | 100.831
6 | 34.1985 | -19.8136 | -32.0892 | -175.0791 | -57.5286 | 126.988
7 | 35.1977 | 0.57551 | -29.6903 | -174.5372 | -57.4237 | 108.5866
8 | 32.3159 | 18.349 | -13.2719 | -163.567 | -53.682 | 74.381
9 | 25.1057 | 44.8495 | -3.6408 | -172.9696 | -24.2404 | 14.5771
10 | 17.6831 | 64.8958 | 0.68763 | -172.1503 | 15.6684 | -35.3448
11 | 2.0038 | 69.3424 | 8.2484 | -169.6569 | 32.3151 | -49.5491
12 | 4.6986 | 79.3539 | 34.0854 | -142.6231 | 26.2241 | -11.1722
13 | 2.029 | 71.8048 | 32.5107 | -131.8948 | -11.4778 | 17.3215
14 | 1.1762 | 71.6984 | 18.4866 | -125.9178 | -42.6747 | 49.4304
15 | 0.47489 | 77.7544 | 8.0756 | -111.5832 | -56.7786 | 67.0886
16 | 12.5796 | 82.4358 | -23.7116 | -90.8039 | -120.2934 | 129.5736
17 | 18.0978 | 93.7701 | -45.2997 | -63.6379 | -176.2979 | 170.6755
18 | 5.0554 | 105.9069 | -46.9422 | -26.7822 | -164.9357 | 130.113
19 | -3.6107 | 121.169 | -54.0658 | -15.6474 | -159.014 | 109.2795
20 | -5.0566 | 138.5379 | -36.2753 | 10.2897 | -144.5526 | 101.8993
21 | -13.4527 | 143.7934 | -24.1165 | 25.3693 | -143.7274 | 60.7561
22 | 10.5656 | 111.4207 | -70.8199 | -32.0173 | -206.9088 | 179.2376
23 | 25.2233 | 93.9134 | -99.6341 | -63.2121 | -241.9146 | 237.6803
24 | 35.0172 | 87.3912 | -115.4376 | -76.937 | -249.0701 | 286.85
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-08-08
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 542.91
|  |  | 01:00 - 02:00 | 477.43
|  |  | 02:00 - 03:00 | 440.8
|  |  | 03:00 - 04:00 | 420.78
|  |  | 04:00 - 05:00 | 417.22
|  |  | 05:00 - 06:00 | 443.03
|  |  | 06:00 - 07:00 | 533.84
|  |  | 07:00 - 08:00 | 654.39
|  |  | 08:00 - 09:00 | 727.97
|  |  | 09:00 - 10:00 | 767.37
|  |  | 10:00 - 11:00 | 782.18
|  |  | 11:00 - 12:00 | 794.72
|  |  | 12:00 - 13:00 | 761.69
|  |  | 13:00 - 14:00 | 767.7
|  |  | 14:00 - 15:00 | 756.1
|  |  | 15:00 - 16:00 | 743.78
|  |  | 16:00 - 17:00 | 743.12
|  |  | 17:00 - 18:00 | 782.9
|  |  | 18:00 - 19:00 | 803.87
|  |  | 19:00 - 20:00 | 874.59
|  |  | 20:00 - 21:00 | 918.71
|  |  | 21:00 - 22:00 | 826.71
|  |  | 22:00 - 23:00 | 707.93
|  |  | 23:00 - 00:00 | 590.34
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 92.8904 | 93.2991 | 0 | 0 | 96.4351 | 0 | 0 | 0
2 | 109.6159 | 59.7423 | 0 | 0 | 89.9618 | 0 | 0 | 0
3 | 93.187 | 0 | 0 | 0 | 89.4097 | 0 | 0 | 0
4 | 89.6339 | 0 | 0 | 0 | 92.7674 | 0 | 0 | 0
5 | 89.6138 | 0 | 0 | 0 | 112.0541 | 0 | 0 | 0
6 | 109.6512 | 0 | 1.7152 | 0 | 105.6298 | 0 | 0 | 0
7 | 109.8385 | 0 | 109.3273 | 0 | 108.6191 | 0 | 0.52122 | 0
8 | 109.8659 | 0 | 109.7219 | 4.6883 | 117.1631 | 0 | 103.3047 | 0
9 | 109.8451 | 0 | 109.7018 | 109.3933 | 111.1305 | 0 | 103.5719 | 0
10 | 109.8267 | 0 | 109.7351 | 109.3597 | 103.2614 | 0 | 114.1649 | 0
11 | 109.8134 | 0 | 109.7432 | 109.5161 | 106.9437 | 0 | 114.1386 | 0.88846
12 | 109.8539 | 0 | 109.7297 | 117.1598 | 91.0749 | 0 | 122.2668 | 101.9553
13 | 100.1542 | 0 | 100.2504 | 99.9259 | 95.2358 | 0 | 107.2765 | 89.1844
14 | 99.6643 | 0 | 99.7196 | 99.313 | 92.3167 | 0 | 95.3625 | 89.1798
15 | 99.6588 | 0 | 99.7395 | 99.3199 | 95.3281 | 0 | 95.3692 | 89.1777
16 | 97.8379 | 0 | 98.0215 | 99.3227 | 91.6078 | 0 | 95.3753 | 89.1968
17 | 105.2207 | 0 | 105.1774 | 108.938 | 89.9001 | 0 | 95.3816 | 89.194
18 | 101.7901 | 4.2133 | 101.8078 | 116.9154 | 96.8903 | 0 | 95.3823 | 89.199
19 | 104.7625 | 110.0247 | 104.9957 | 109.5968 | 91.8445 | 0 | 96.346 | 89.2086
20 | 109.0839 | 110.0105 | 108.977 | 109.4151 | 107.0906 | 0 | 96.3499 | 89.1876
21 | 109.813 | 110.0105 | 119.7464 | 114.5211 | 117.8553 | 0 | 96.3492 | 89.2015
22 | 102.3971 | 102.6949 | 109.9599 | 109.6344 | 98.4625 | 0 | 96.3368 | 89.1855
23 | 99.4786 | 99.5564 | 99.8994 | 99.6099 | 1.1443 | 0 | 95.3799 | 89.1986
24 | 96.971 | 97.3003 | 97.1018 | 96.637 | 0 | 0 | 95.3682 | 89.1649
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 2470.4677 | 786.8519 | 1905.0707 | 1713.2663 | 2202.1265 | 0 | 1718.2455 | 1173.1221
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Mesatare | 62.9167 | 52.0833 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 671.39 | 16.219
|  | 2 | 608.49 | 14.6381
|  | 3 | 573.67 | 13.5247
|  | 4 | 557.28 | 13.2726
|  | 5 | 556.95 | 13.4213
|  | 6 | 583.78 | 14.5648
|  | 7 | 667.1 | 17.1535
|  | 8 | 776.41 | 19.8872
|  | 9 | 872.21 | 22.6542
|  | 10 | 915.11 | 23.4252
|  | 11 | 928.2 | 22.0121
|  | 12 | 945.16 | 24.5078
|  | 13 | 960.39 | 20.3371
|  | 14 | 945.76 | 20.0105
|  | 15 | 937.73 | 19.1876
|  | 16 | 928.94 | 20.927
|  | 17 | 932.01 | 23.0569
|  | 18 | 960.71 | 21.5224
|  | 19 | 983.86 | 23.4925
|  | 20 | 985.66 | 24.6192
|  | 21 | 1016.14 | 25.1656
|  | 22 | 981.63 | 27.8788
|  | 23 | 882.52 | 27.8056
|  | 24 | 758.6 | 27.5683
|  | 25 | 691.91 | 21.3782
|  | 26 | 626.43 | 17.3683
|  | 27 | 589.8 | 16.0564
|  | 28 | 569.78 | 15.6235
|  | 29 | 566.22 | 15.5707
|  | 30 | 592.03 | 16.8583
|  | 31 | 668.84 | 19.8583
|  | 32 | 779.39 | 23.3903
|  | 33 | 865.97 | 25.9362
|  | 34 | 900.37 | 25.778
|  | 35 | 914.18 | 23.037
|  | 36 | 920.72 | 23.7483
|  | 37 | 888.69 | 21.8179
|  | 38 | 899.7 | 20.7261
|  | 39 | 888.1 | 18.3844
|  | 40 | 875.78 | 20.1794
|  | 41 | 880.12 | 23.4022
|  | 42 | 908.9 | 22.6051
|  | 43 | 940.87 | 24.9974
|  | 44 | 966.59 | 25.5353
|  | 45 | 1010.71 | 21.9252
|  | 46 | 957.71 | 21.7915
|  | 47 | 855.93 | 20.0894
|  | 48 | 738.34 | 20.5656
|  | 49 | 621.61 | 17.055
|  | 50 | 567.01 | 15.5332
|  | 51 | 537.53 | 15.1816
|  | 52 | 522.67 | 14.3946
|  | 53 | 523.23 | 13.8181
|  | 54 | 552.95 | 15.3381
|  | 55 | 639.96 | 14.371
|  | 56 | 756.11 | 14.7564
|  | 57 | 841.18 | 15.9644
|  | 58 | 874.41 | 16.989
|  | 59 | 887.14 | 16.8549
|  | 60 | 889.35 | 17.5174
|  | 61 | 890.71 | 17.5464
|  | 62 | 869.8 | 18.9468
|  | 63 | 857.07 | 19.7004
|  | 64 | 841.71 | 17.5163
|  | 65 | 844.89 | 16.2233
|  | 66 | 876.53 | 18.2219
|  | 67 | 910.9 | 24.8429
|  | 68 | 952.13 | 29.7041
|  | 69 | 985.33 | 29.501
|  | 70 | 944.18 | 27.6504
|  | 71 | 841.3 | 27.2131
|  | 72 | 727.41 | 25.5303
|  | 73 | 603.7 | 17.5906
|  | 74 | 551 | 17.0951
|  | 75 | 523.91 | 17.1955
|  | 76 | 509.89 | 18.755
|  | 77 | 510.28 | 18.3714
|  | 78 | 537.27 | 19.8958
|  | 79 | 627.46 | 16.3567
|  | 80 | 742.7 | 16.8636
|  | 81 | 822.71 | 21.0879
|  | 82 | 855.1 | 22.915
|  | 83 | 864.92 | 24.5082
|  | 84 | 878.1 | 23.8896
|  | 85 | 881.01 | 22.3589
|  | 86 | 887.61 | 24.3997
|  | 87 | 873.2 | 25.29
|  | 88 | 863.48 | 22.4029
|  | 89 | 860.09 | 21.7996
|  | 90 | 884.88 | 25.236
|  | 91 | 911.38 | 27.5393
|  | 92 | 931.9 | 24.0511
|  | 93 | 973.57 | 23.8439
|  | 94 | 925.56 | 21.3039
|  | 95 | 830.77 | 18.6414
|  | 96 | 722.18 | 14.2247
|  | 97 | 619.61 | 10.94
|  | 98 | 563.16 | 11.2742
|  | 99 | 532.72 | 11.2163
|  | 100 | 518.99 | 10.8192
|  | 101 | 518.98 | 10.3184
|  | 102 | 546.16 | 10.6614
|  | 103 | 629.89 | 11.6197
|  | 104 | 749.87 | 14.4479
|  | 105 | 833.3 | 17.2276
|  | 106 | 863.21 | 18.0407
|  | 107 | 873.71 | 19.2279
|  | 108 | 890.98 | 18.9671
|  | 109 | 871.15 | 19.2923
|  | 110 | 875.68 | 19.173
|  | 111 | 858.95 | 17.5439
|  | 112 | 839.69 | 18.1567
|  | 113 | 838.91 | 20.3866
|  | 114 | 868.3 | 18.0851
|  | 115 | 917.19 | 19.6781
|  | 116 | 939.32 | 20.2384
|  | 117 | 981.17 | 22.1395
|  | 118 | 923.46 | 19.7982
|  | 119 | 822.74 | 16.7871
|  | 120 | 715.67 | 13.8299
|  | 121 | 664.77 | 11.7121
|  | 122 | 604.83 | 10.987
|  | 123 | 571.22 | 10.3325
|  | 124 | 554.54 | 10.1337
|  | 125 | 552.61 | 10.0458
|  | 126 | 579.03 | 10.4913
|  | 127 | 643.7 | 13.3882
|  | 128 | 743.18 | 14.3443
|  | 129 | 830.99 | 17.6029
|  | 130 | 872.82 | 19.1397
|  | 131 | 888.49 | 18.4347
|  | 132 | 894.41 | 17.3658
|  | 133 | 883.2 | 17.8857
|  | 134 | 874.62 | 17.8107
|  | 135 | 852.08 | 17.2771
|  | 136 | 826.1 | 18.2878
|  | 137 | 822.66 | 18.9735
|  | 138 | 827 | 21.4497
|  | 139 | 853.83 | 20.6442
|  | 140 | 877.62 | 21.7039
|  | 141 | 917.08 | 23.565
|  | 142 | 877.42 | 21.1083
|  | 143 | 781.85 | 17.6359
|  | 144 | 678.64 | 15.7171
|  | 145 | 644.97 | 12.838
|  | 146 | 579.33 | 14.0613
|  | 147 | 548.32 | 12.9393
|  | 148 | 532.74 | 12.2643
|  | 149 | 533.11 | 11.5689
|  | 150 | 553.33 | 11.1794
|  | 151 | 607.4 | 11.989
|  | 152 | 683.68 | 15.0483
|  | 153 | 752.69 | 18.2232
|  | 154 | 786.92 | 19.3199
|  | 155 | 819.59 | 19.6126
|  | 156 | 853.11 | 18.3438
|  | 157 | 866.4 | 17.2931
|  | 158 | 850.02 | 17.0374
|  | 159 | 818.78 | 15.5045
|  | 160 | 806.6 | 15.0789
|  | 161 | 823.56 | 17.5558
|  | 162 | 863 | 20.1869
|  | 163 | 907.13 | 21.062
|  | 164 | 940.52 | 22.3694
|  | 165 | 985.88 | 23.2643
|  | 166 | 959.67 | 20.6226
|  | 167 | 854.2 | 16.9832
|  | 168 | 740.59 | 15.1171
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 07/08/2023 | 08/08/2023 | 09/08/2023 | 10/08/2023 | 11/08/2023 | 12/08/2023 | 13/08/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti