## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-07-12
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 20000 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 10/07/2023 | 11/07/2023 | 12/07/2023 | 13/07/2023 | 14/07/2023 | 15/07/2023 | 16/07/2023
Min (MW) | 450 | 450 | 450 | 450 | 450 | 450 | 450
Max (MW) | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 450 | 450 | 500 | 500
|  | Max (MW) | 1350 | 1350 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-07-10
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 600.4793 | -18.802 | 619.2813
|  | 2 | 577.4879 | 15.092 | 562.3959
|  | 3 | 501.5521 | -29.255 | 530.8071
|  | 4 | 496.843 | -19.223 | 516.066
|  | 5 | 501.8195 | -17.585 | 519.4045
|  | 6 | 519.3 | -31.602 | 550.902
|  | 7 | 695.7843 | 55.201 | 640.5833
|  | 8 | 788.0647 | 32.936 | 755.1287
|  | 9 | 854.6134 | 14.907 | 839.7064
|  | 10 | 895.566 | 18.277 | 877.289
|  | 11 | 871.7423 | -11.04 | 882.7823
|  | 12 | 657.9325 | -239.116 | 897.0485
|  | 13 | 721.7033 | -181.531 | 903.2343
|  | 14 | 794.6837 | -122.557 | 917.2407
|  | 15 | 855.3803 | -60.652 | 916.0323
|  | 16 | 883.2569 | -20.642 | 903.8989
|  | 17 | 908.389 | 15.109 | 893.28
|  | 18 | 994.0146 | 79.99 | 914.0246
|  | 19 | 1162.3517 | 222.488 | 939.8637
|  | 20 | 1175.1534 | 218.538 | 956.6154
|  | 21 | 1202.5595 | 221.789 | 980.7705
|  | 22 | 1201.2692 | 229.605 | 971.6642
|  | 23 | 1093.5033 | 214.58 | 878.9233
|  | 24 | 759.6663 | 11.164 | 748.5023
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2023-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 35.4481 | 26.668 | -49.79 | -152.27 | -34.6489 | 142.2541
2 | 17.0626 | -0.78045 | -12.875 | -158.5 | 51.4505 | 39.5994
3 | 27.8387 | -16.49 | -40.3886 | -176.1 | 7.0317 | 98.773
4 | 35.6155 | -19.8 | -56.66 | -177.32 | -21.2025 | 129.6382
5 | 39.3352 | -16.25 | -60.4 | -169.44 | -27.7187 | 133.9772
6 | 36.8139 | -13.082 | -52.12 | -159.73 | -18.2904 | 119.5549
7 | 11.0485 | 26.2564 | -18.3713 | -98.16 | 19.5325 | -3.8416
8 | 12.3575 | 51.4625 | -10.8423 | -69.8 | 23.6166 | -4.2759
9 | 14.9465 | 61.6819 | 18.369 | -131.16 | 129.0804 | -78.6029
10 | 3.7307 | 64.5971 | 39.8164 | -150.49 | 177.8058 | -132.46
11 | -7.14 | 57.576 | 85.3531 | -181.78 | 277.4473 | -231.27
12 | -12.61 | 55.4521 | 110.9549 | -193.6 | 334.4329 | -295.55
13 | -11.66 | 51.6832 | 108.3672 | -193.32 | 330.7181 | -290.27
14 | -17.19 | 49.8637 | 126.0143 | -199.25 | 352.0662 | -319.06
15 | -12.15 | 59.0754 | 102.7036 | -178.25 | 292.4678 | -261.85
16 | -3.2021 | 70.7723 | 75.1021 | -157 | 237.4929 | -206.08
17 | 7.4426 | 84.2447 | 46.7523 | -122.41 | 167.1022 | -141.2
18 | 20.3491 | 100.3994 | -2.4462 | -70.44 | 60.6931 | -11.2722
19 | 18.0472 | 134.0367 | 6.7177 | 10.6806 | 85.6323 | 60.6045
20 | 24.0923 | 150.8962 | -44.9632 | 73.4082 | -62.7254 | 172.7257
21 | 17.2796 | 143.8062 | -23.6346 | 54.0772 | -8.5163 | 124.6282
22 | 11.1087 | 134.0722 | 15.869 | 23.4498 | 57.6872 | 66.8977
23 | 12.7371 | 109.3507 | 22.2143 | -12.07 | 63.4959 | 27.0817
24 | 24.9785 | 57.6086 | -31.5463 | -85.14 | -68.9812 | 91.7522
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-07-12
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 648.8
|  |  | 01:00 - 02:00 | 531.24
|  |  | 02:00 - 03:00 | 474.34
|  |  | 03:00 - 04:00 | 447.54
|  |  | 04:00 - 05:00 | 448.62
|  |  | 05:00 - 06:00 | 478.97
|  |  | 06:00 - 07:00 | 615.94
|  |  | 07:00 - 08:00 | 809.71
|  |  | 08:00 - 09:00 | 911.78
|  |  | 09:00 - 10:00 | 950.39
|  |  | 10:00 - 11:00 | 957.89
|  |  | 11:00 - 12:00 | 976.14
|  |  | 12:00 - 13:00 | 981.7
|  |  | 13:00 - 14:00 | 1010.34
|  |  | 14:00 - 15:00 | 985.37
|  |  | 15:00 - 16:00 | 968.91
|  |  | 16:00 - 17:00 | 971.19
|  |  | 17:00 - 18:00 | 1099.34
|  |  | 18:00 - 19:00 | 1288.03
|  |  | 19:00 - 20:00 | 1293.33
|  |  | 20:00 - 21:00 | 1334.46
|  |  | 21:00 - 22:00 | 1316.56
|  |  | 22:00 - 23:00 | 1103.96
|  |  | 23:00 - 00:00 | 776.04
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 119.7793 | 99.7227 | 0 | 1.9235 | 109.2053 | 0
2 | 0 | 0 | 119.7502 | 0.65192 | 0 | 0 | 141.7749 | 0
3 | 0 | 0 | 110.2851 | 0 | 0 | 0 | 133.9707 | 0
4 | 0 | 0 | 109.6989 | 0 | 0 | 0 | 107.247 | 0
5 | 0 | 0 | 109.7446 | 0 | 0 | 0 | 110.1427 | 0
6 | 4.7079 | 0 | 109.7448 | 0 | 0 | 0 | 125.4693 | 0
7 | 109.747 | 0 | 109.7671 | 0 | 0.65996 | 0.34453 | 121.0547 | 0
8 | 109.7827 | 0 | 109.7344 | 1.617 | 115.3365 | 89.1312 | 115.8921 | 0
9 | 109.803 | 0 | 109.7408 | 98.7796 | 111.255 | 99.2722 | 111.2558 | 0
10 | 109.8302 | 0 | 109.7675 | 109.3846 | 102.9286 | 104.2176 | 102.9924 | 0
11 | 109.8316 | 0 | 109.8004 | 109.4191 | 100.9154 | 110.1729 | 100.9842 | 0
12 | 109.847 | 0 | 119.7705 | 119.4081 | 93.2056 | 129.9563 | 93.3077 | 0
13 | 119.9763 | 0 | 119.7838 | 119.3951 | 90.4135 | 131.9525 | 90.4692 | 0
14 | 119.9881 | 0 | 119.7972 | 119.4391 | 94.5091 | 141.7926 | 94.5922 | 0
15 | 119.9938 | 0 | 119.7849 | 119.4524 | 98.008 | 130.9761 | 98.0708 | 0
16 | 120.0172 | 0 | 119.8053 | 119.4448 | 123.4054 | 96.3279 | 123.4188 | 0
17 | 119.9723 | 0 | 119.8079 | 119.4174 | 133.6273 | 94.2693 | 133.7078 | 0
18 | 119.9865 | 0 | 119.8022 | 119.4067 | 140.2013 | 120.0502 | 140.3358 | 0
19 | 120.0146 | 0 | 119.8209 | 119.4398 | 141.4793 | 95.3146 | 141.54 | 0
20 | 119.9867 | 0 | 119.7724 | 119.4486 | 127.5028 | 122.1472 | 127.5411 | 0
21 | 119.977 | 0 | 119.8036 | 119.4571 | 134.3639 | 127.055 | 134.3724 | 0
22 | 119.9716 | 0 | 119.7745 | 119.423 | 126.5756 | 123.036 | 126.6047 | 0
23 | 119.9747 | 0 | 119.7629 | 119.4214 | 0.42223 | 141.1036 | 119.0145 | 0
24 | 119.9995 | 0 | 119.7551 | 0.98592 | 0 | 101.4103 | 118.9145 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 2103.4079 | 0 | 2785.0546 | 1853.7144 | 1734.8094 | 1960.4535 | 2821.8787 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 606.4 | 14
|  | 2 | 545.1 | 15
|  | 3 | 518.49 | 14
|  | 4 | 509.3 | 15
|  | 5 | 514.29 | 15
|  | 6 | 546.92 | 13
|  | 7 | 649.8 | 14
|  | 8 | 776.8 | 17
|  | 9 | 862.2 | 19
|  | 10 | 878.22 | 24
|  | 11 | 885.01 | 25
|  | 12 | 894.5 | 21
|  | 13 | 891.79 | 22
|  | 14 | 946.36 | 24
|  | 15 | 935.61 | 24
|  | 16 | 917.22 | 25
|  | 17 | 915.2 | 22
|  | 18 | 936.4 | 23
|  | 19 | 960.52 | 27
|  | 20 | 970.14 | 23
|  | 21 | 999.6 | 22
|  | 22 | 1003.03 | 22
|  | 23 | 895.85 | 21
|  | 24 | 759.49 | 22
|  | 25 | 638.37 | 20
|  | 26 | 577.58 | 15
|  | 27 | 550.17 | 15
|  | 28 | 535.85 | 16
|  | 29 | 537.01 | 17
|  | 30 | 572.67 | 16
|  | 31 | 659.12 | 14
|  | 32 | 786.88 | 18
|  | 33 | 866.47 | 21
|  | 34 | 890.49 | 22
|  | 35 | 905.33 | 23
|  | 36 | 950.39 | 26
|  | 37 | 965.88 | 26
|  | 38 | 982.97 | 28
|  | 39 | 971.58 | 25
|  | 40 | 925.27 | 23
|  | 41 | 914.78 | 22
|  | 42 | 934.82 | 24
|  | 43 | 955.29 | 24
|  | 44 | 965.32 | 28
|  | 45 | 1001.45 | 26
|  | 46 | 997.58 | 24
|  | 47 | 905.67 | 21
|  | 48 | 770.55 | 19
|  | 49 | 670.8 | 18
|  | 50 | 606.24 | 16
|  | 51 | 576.34 | 15
|  | 52 | 560.54 | 16
|  | 53 | 561.62 | 16
|  | 54 | 594.97 | 19
|  | 55 | 686.94 | 24
|  | 56 | 811.71 | 17
|  | 57 | 897.78 | 21
|  | 58 | 929.39 | 22
|  | 59 | 935.89 | 24
|  | 60 | 955.14 | 25
|  | 61 | 965.7 | 26
|  | 62 | 984.34 | 25
|  | 63 | 969.37 | 25
|  | 64 | 952.91 | 28
|  | 65 | 956.19 | 24
|  | 66 | 978.34 | 31
|  | 67 | 999.03 | 35
|  | 68 | 1010.33 | 30
|  | 69 | 1039.46 | 30
|  | 70 | 1021.56 | 29
|  | 71 | 924.96 | 26
|  | 72 | 784.04 | 25
|  | 73 | 670.53 | 15
|  | 74 | 608.08 | 14
|  | 75 | 578.55 | 12
|  | 76 | 563.73 | 12
|  | 77 | 564.7 | 12
|  | 78 | 597.17 | 12
|  | 79 | 689.26 | 12
|  | 80 | 814.37 | 15
|  | 81 | 899.06 | 19
|  | 82 | 931.66 | 20
|  | 83 | 939.86 | 23
|  | 84 | 962.97 | 21
|  | 85 | 971.35 | 23
|  | 86 | 993.83 | 24
|  | 87 | 980.32 | 22
|  | 88 | 966.31 | 22
|  | 89 | 961.04 | 20
|  | 90 | 986.64 | 28
|  | 91 | 1013.02 | 31
|  | 92 | 1024.63 | 28
|  | 93 | 1059.11 | 33
|  | 94 | 1050.53 | 28
|  | 95 | 948.9 | 22
|  | 96 | 806.01 | 21
|  | 97 | 686.33 | 17
|  | 98 | 617.35 | 13
|  | 99 | 588.05 | 13
|  | 100 | 572.86 | 11
|  | 101 | 573.56 | 11
|  | 102 | 605.38 | 14
|  | 103 | 697.42 | 14
|  | 104 | 820.51 | 18
|  | 105 | 913.34 | 22
|  | 106 | 948.18 | 26
|  | 107 | 966.06 | 28
|  | 108 | 986.88 | 28
|  | 109 | 996.57 | 26
|  | 110 | 992.86 | 26
|  | 111 | 980.82 | 27
|  | 112 | 1004.23 | 27
|  | 113 | 996.98 | 28
|  | 114 | 1016.9 | 29
|  | 115 | 1039.27 | 29
|  | 116 | 1043.09 | 30
|  | 117 | 1072.95 | 32
|  | 118 | 1048.13 | 31
|  | 119 | 947.74 | 27
|  | 120 | 809.7 | 21
|  | 121 | 683.51 | 19
|  | 122 | 615.29 | 16
|  | 123 | 581.75 | 15
|  | 124 | 576.58 | 15
|  | 125 | 564.66 | 15
|  | 126 | 591.12 | 15
|  | 127 | 676.5 | 18
|  | 128 | 796.41 | 19
|  | 129 | 891.92 | 20
|  | 130 | 943.29 | 21
|  | 131 | 966.06 | 22
|  | 132 | 979.33 | 23
|  | 133 | 985.02 | 23
|  | 134 | 1011.76 | 24
|  | 135 | 991.02 | 24
|  | 136 | 962.55 | 23
|  | 137 | 961.62 | 25
|  | 138 | 985.65 | 28
|  | 139 | 1013.32 | 29
|  | 140 | 1022.7 | 29
|  | 141 | 1049.63 | 31
|  | 142 | 1027.28 | 29
|  | 143 | 926.27 | 26
|  | 144 | 809.75 | 20
|  | 145 | 709.71 | 18
|  | 146 | 641.49 | 18
|  | 147 | 606.05 | 17
|  | 148 | 589.48 | 16
|  | 149 | 592.76 | 17
|  | 150 | 618.32 | 17
|  | 151 | 682.5 | 18
|  | 152 | 768.21 | 19
|  | 153 | 836.22 | 18
|  | 154 | 871.19 | 18
|  | 155 | 887.66 | 18
|  | 156 | 900.93 | 19
|  | 157 | 913.72 | 19
|  | 158 | 909.96 | 19
|  | 159 | 880.02 | 19
|  | 160 | 871.25 | 20
|  | 161 | 897.52 | 21
|  | 162 | 950.15 | 22
|  | 163 | 1007.72 | 23
|  | 164 | 1044.3 | 25
|  | 165 | 1106.73 | 25
|  | 166 | 1107.28 | 25
|  | 167 | 984.37 | 22
|  | 168 | 848.95 | 20
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 10/07/2023 | 11/07/2023 | 12/07/2023 | 13/07/2023 | 14/07/2023 | 15/07/2023 | 16/07/2023
Min (MW) | 10 | 10 | 10 | 10 | 10 | 10 | 10
Max (MW) | 35 | 35 | 35 | 35 | 35 | 35 | 35
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-07-12
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 20000 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 10/07/2023 | 11/07/2023 | 12/07/2023 | 13/07/2023 | 14/07/2023 | 15/07/2023 | 16/07/2023
Min (MW) | 450 | 450 | 450 | 450 | 450 | 450 | 450
Max (MW) | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 450 | 450 | 500 | 500
|  | Max (MW) | 1350 | 1350 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-07-10
|  | Hour | Production | Exchange | Consumption
|  | 1 | 600.4793 | -18.802 | 619.2813
|  | 2 | 577.4879 | 15.092 | 562.3959
|  | 3 | 501.5521 | -29.255 | 530.8071
|  | 4 | 496.843 | -19.223 | 516.066
|  | 5 | 501.8195 | -17.585 | 519.4045
|  | 6 | 519.3 | -31.602 | 550.902
|  | 7 | 695.7843 | 55.201 | 640.5833
|  | 8 | 788.0647 | 32.936 | 755.1287
|  | 9 | 854.6134 | 14.907 | 839.7064
|  | 10 | 895.566 | 18.277 | 877.289
|  | 11 | 871.7423 | -11.04 | 882.7823
|  | 12 | 657.9325 | -239.116 | 897.0485
|  | 13 | 721.7033 | -181.531 | 903.2343
|  | 14 | 794.6837 | -122.557 | 917.2407
|  | 15 | 855.3803 | -60.652 | 916.0323
|  | 16 | 883.2569 | -20.642 | 903.8989
|  | 17 | 908.389 | 15.109 | 893.28
|  | 18 | 994.0146 | 79.99 | 914.0246
|  | 19 | 1162.3517 | 222.488 | 939.8637
|  | 20 | 1175.1534 | 218.538 | 956.6154
|  | 21 | 1202.5595 | 221.789 | 980.7705
|  | 22 | 1201.2692 | 229.605 | 971.6642
|  | 23 | 1093.5033 | 214.58 | 878.9233
|  | 24 | 759.6663 | 11.164 | 748.5023
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 35.4481 | 26.668 | -49.79 | -152.27 | -34.6489 | 142.2541
2 | 17.0626 | -0.78045 | -12.875 | -158.5 | 51.4505 | 39.5994
3 | 27.8387 | -16.49 | -40.3886 | -176.1 | 7.0317 | 98.773
4 | 35.6155 | -19.8 | -56.66 | -177.32 | -21.2025 | 129.6382
5 | 39.3352 | -16.25 | -60.4 | -169.44 | -27.7187 | 133.9772
6 | 36.8139 | -13.082 | -52.12 | -159.73 | -18.2904 | 119.5549
7 | 11.0485 | 26.2564 | -18.3713 | -98.16 | 19.5325 | -3.8416
8 | 12.3575 | 51.4625 | -10.8423 | -69.8 | 23.6166 | -4.2759
9 | 14.9465 | 61.6819 | 18.369 | -131.16 | 129.0804 | -78.6029
10 | 3.7307 | 64.5971 | 39.8164 | -150.49 | 177.8058 | -132.46
11 | -7.14 | 57.576 | 85.3531 | -181.78 | 277.4473 | -231.27
12 | -12.61 | 55.4521 | 110.9549 | -193.6 | 334.4329 | -295.55
13 | -11.66 | 51.6832 | 108.3672 | -193.32 | 330.7181 | -290.27
14 | -17.19 | 49.8637 | 126.0143 | -199.25 | 352.0662 | -319.06
15 | -12.15 | 59.0754 | 102.7036 | -178.25 | 292.4678 | -261.85
16 | -3.2021 | 70.7723 | 75.1021 | -157 | 237.4929 | -206.08
17 | 7.4426 | 84.2447 | 46.7523 | -122.41 | 167.1022 | -141.2
18 | 20.3491 | 100.3994 | -2.4462 | -70.44 | 60.6931 | -11.2722
19 | 18.0472 | 134.0367 | 6.7177 | 10.6806 | 85.6323 | 60.6045
20 | 24.0923 | 150.8962 | -44.9632 | 73.4082 | -62.7254 | 172.7257
21 | 17.2796 | 143.8062 | -23.6346 | 54.0772 | -8.5163 | 124.6282
22 | 11.1087 | 134.0722 | 15.869 | 23.4498 | 57.6872 | 66.8977
23 | 12.7371 | 109.3507 | 22.2143 | -12.07 | 63.4959 | 27.0817
24 | 24.9785 | 57.6086 | -31.5463 | -85.14 | -68.9812 | 91.7522
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-07-12
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 648.8
|  |  | 01:00 - 02:00 | 531.24
|  |  | 02:00 - 03:00 | 474.34
|  |  | 03:00 - 04:00 | 447.54
|  |  | 04:00 - 05:00 | 448.62
|  |  | 05:00 - 06:00 | 478.97
|  |  | 06:00 - 07:00 | 615.94
|  |  | 07:00 - 08:00 | 809.71
|  |  | 08:00 - 09:00 | 911.78
|  |  | 09:00 - 10:00 | 950.39
|  |  | 10:00 - 11:00 | 957.89
|  |  | 11:00 - 12:00 | 976.14
|  |  | 12:00 - 13:00 | 981.7
|  |  | 13:00 - 14:00 | 1010.34
|  |  | 14:00 - 15:00 | 985.37
|  |  | 15:00 - 16:00 | 968.91
|  |  | 16:00 - 17:00 | 971.19
|  |  | 17:00 - 18:00 | 1099.34
|  |  | 18:00 - 19:00 | 1288.03
|  |  | 19:00 - 20:00 | 1293.33
|  |  | 20:00 - 21:00 | 1334.46
|  |  | 21:00 - 22:00 | 1316.56
|  |  | 22:00 - 23:00 | 1103.96
|  |  | 23:00 - 00:00 | 776.04
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 119.7793 | 99.7227 | 0 | 1.9235 | 109.2053 | 0
2 | 0 | 0 | 119.7502 | 0.65192 | 0 | 0 | 141.7749 | 0
3 | 0 | 0 | 110.2851 | 0 | 0 | 0 | 133.9707 | 0
4 | 0 | 0 | 109.6989 | 0 | 0 | 0 | 107.247 | 0
5 | 0 | 0 | 109.7446 | 0 | 0 | 0 | 110.1427 | 0
6 | 4.7079 | 0 | 109.7448 | 0 | 0 | 0 | 125.4693 | 0
7 | 109.747 | 0 | 109.7671 | 0 | 0.65996 | 0.34453 | 121.0547 | 0
8 | 109.7827 | 0 | 109.7344 | 1.617 | 115.3365 | 89.1312 | 115.8921 | 0
9 | 109.803 | 0 | 109.7408 | 98.7796 | 111.255 | 99.2722 | 111.2558 | 0
10 | 109.8302 | 0 | 109.7675 | 109.3846 | 102.9286 | 104.2176 | 102.9924 | 0
11 | 109.8316 | 0 | 109.8004 | 109.4191 | 100.9154 | 110.1729 | 100.9842 | 0
12 | 109.847 | 0 | 119.7705 | 119.4081 | 93.2056 | 129.9563 | 93.3077 | 0
13 | 119.9763 | 0 | 119.7838 | 119.3951 | 90.4135 | 131.9525 | 90.4692 | 0
14 | 119.9881 | 0 | 119.7972 | 119.4391 | 94.5091 | 141.7926 | 94.5922 | 0
15 | 119.9938 | 0 | 119.7849 | 119.4524 | 98.008 | 130.9761 | 98.0708 | 0
16 | 120.0172 | 0 | 119.8053 | 119.4448 | 123.4054 | 96.3279 | 123.4188 | 0
17 | 119.9723 | 0 | 119.8079 | 119.4174 | 133.6273 | 94.2693 | 133.7078 | 0
18 | 119.9865 | 0 | 119.8022 | 119.4067 | 140.2013 | 120.0502 | 140.3358 | 0
19 | 120.0146 | 0 | 119.8209 | 119.4398 | 141.4793 | 95.3146 | 141.54 | 0
20 | 119.9867 | 0 | 119.7724 | 119.4486 | 127.5028 | 122.1472 | 127.5411 | 0
21 | 119.977 | 0 | 119.8036 | 119.4571 | 134.3639 | 127.055 | 134.3724 | 0
22 | 119.9716 | 0 | 119.7745 | 119.423 | 126.5756 | 123.036 | 126.6047 | 0
23 | 119.9747 | 0 | 119.7629 | 119.4214 | 0.42223 | 141.1036 | 119.0145 | 0
24 | 119.9995 | 0 | 119.7551 | 0.98592 | 0 | 101.4103 | 118.9145 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 2103.4079 | 0 | 2665.2754 | 1753.9917 | 1734.8094 | 1958.5301 | 2712.6734 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Average | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 606.4 | 14
|  | 2 | 545.1 | 15
|  | 3 | 518.49 | 14
|  | 4 | 509.3 | 15
|  | 5 | 514.29 | 15
|  | 6 | 546.92 | 13
|  | 7 | 649.8 | 14
|  | 8 | 776.8 | 17
|  | 9 | 862.2 | 19
|  | 10 | 878.22 | 24
|  | 11 | 885.01 | 25
|  | 12 | 894.5 | 21
|  | 13 | 891.79 | 22
|  | 14 | 946.36 | 24
|  | 15 | 935.61 | 24
|  | 16 | 917.22 | 25
|  | 17 | 915.2 | 22
|  | 18 | 936.4 | 23
|  | 19 | 960.52 | 27
|  | 20 | 970.14 | 23
|  | 21 | 999.6 | 22
|  | 22 | 1003.03 | 22
|  | 23 | 895.85 | 21
|  | 24 | 759.49 | 22
|  | 25 | 638.37 | 20
|  | 26 | 577.58 | 15
|  | 27 | 550.17 | 15
|  | 28 | 535.85 | 16
|  | 29 | 537.01 | 17
|  | 30 | 572.67 | 16
|  | 31 | 659.12 | 14
|  | 32 | 786.88 | 18
|  | 33 | 866.47 | 21
|  | 34 | 890.49 | 22
|  | 35 | 905.33 | 23
|  | 36 | 950.39 | 26
|  | 37 | 965.88 | 26
|  | 38 | 982.97 | 28
|  | 39 | 971.58 | 25
|  | 40 | 925.27 | 23
|  | 41 | 914.78 | 22
|  | 42 | 934.82 | 24
|  | 43 | 955.29 | 24
|  | 44 | 965.32 | 28
|  | 45 | 1001.45 | 26
|  | 46 | 997.58 | 24
|  | 47 | 905.67 | 21
|  | 48 | 770.55 | 19
|  | 49 | 670.8 | 18
|  | 50 | 606.24 | 16
|  | 51 | 576.34 | 15
|  | 52 | 560.54 | 16
|  | 53 | 561.62 | 16
|  | 54 | 594.97 | 19
|  | 55 | 686.94 | 24
|  | 56 | 811.71 | 17
|  | 57 | 897.78 | 21
|  | 58 | 929.39 | 22
|  | 59 | 935.89 | 24
|  | 60 | 955.14 | 25
|  | 61 | 965.7 | 26
|  | 62 | 984.34 | 25
|  | 63 | 969.37 | 25
|  | 64 | 952.91 | 28
|  | 65 | 956.19 | 24
|  | 66 | 978.34 | 31
|  | 67 | 999.03 | 35
|  | 68 | 1010.33 | 30
|  | 69 | 1039.46 | 30
|  | 70 | 1021.56 | 29
|  | 71 | 924.96 | 26
|  | 72 | 784.04 | 25
|  | 73 | 670.53 | 15
|  | 74 | 608.08 | 14
|  | 75 | 578.55 | 12
|  | 76 | 563.73 | 12
|  | 77 | 564.7 | 12
|  | 78 | 597.17 | 12
|  | 79 | 689.26 | 12
|  | 80 | 814.37 | 15
|  | 81 | 899.06 | 19
|  | 82 | 931.66 | 20
|  | 83 | 939.86 | 23
|  | 84 | 962.97 | 21
|  | 85 | 971.35 | 23
|  | 86 | 993.83 | 24
|  | 87 | 980.32 | 22
|  | 88 | 966.31 | 22
|  | 89 | 961.04 | 20
|  | 90 | 986.64 | 28
|  | 91 | 1013.02 | 31
|  | 92 | 1024.63 | 28
|  | 93 | 1059.11 | 33
|  | 94 | 1050.53 | 28
|  | 95 | 948.9 | 22
|  | 96 | 806.01 | 21
|  | 97 | 686.33 | 17
|  | 98 | 617.35 | 13
|  | 99 | 588.05 | 13
|  | 100 | 572.86 | 11
|  | 101 | 573.56 | 11
|  | 102 | 605.38 | 14
|  | 103 | 697.42 | 14
|  | 104 | 820.51 | 18
|  | 105 | 913.34 | 22
|  | 106 | 948.18 | 26
|  | 107 | 966.06 | 28
|  | 108 | 986.88 | 28
|  | 109 | 996.57 | 26
|  | 110 | 992.86 | 26
|  | 111 | 980.82 | 27
|  | 112 | 1004.23 | 27
|  | 113 | 996.98 | 28
|  | 114 | 1016.9 | 29
|  | 115 | 1039.27 | 29
|  | 116 | 1043.09 | 30
|  | 117 | 1072.95 | 32
|  | 118 | 1048.13 | 31
|  | 119 | 947.74 | 27
|  | 120 | 809.7 | 21
|  | 121 | 683.51 | 19
|  | 122 | 615.29 | 16
|  | 123 | 581.75 | 15
|  | 124 | 576.58 | 15
|  | 125 | 564.66 | 15
|  | 126 | 591.12 | 15
|  | 127 | 676.5 | 18
|  | 128 | 796.41 | 19
|  | 129 | 891.92 | 20
|  | 130 | 943.29 | 21
|  | 131 | 966.06 | 22
|  | 132 | 979.33 | 23
|  | 133 | 985.02 | 23
|  | 134 | 1011.76 | 24
|  | 135 | 991.02 | 24
|  | 136 | 962.55 | 23
|  | 137 | 961.62 | 25
|  | 138 | 985.65 | 28
|  | 139 | 1013.32 | 29
|  | 140 | 1022.7 | 29
|  | 141 | 1049.63 | 31
|  | 142 | 1027.28 | 29
|  | 143 | 926.27 | 26
|  | 144 | 809.75 | 20
|  | 145 | 709.71 | 18
|  | 146 | 641.49 | 18
|  | 147 | 606.05 | 17
|  | 148 | 589.48 | 16
|  | 149 | 592.76 | 17
|  | 150 | 618.32 | 17
|  | 151 | 682.5 | 18
|  | 152 | 768.21 | 19
|  | 153 | 836.22 | 18
|  | 154 | 871.19 | 18
|  | 155 | 887.66 | 18
|  | 156 | 900.93 | 19
|  | 157 | 913.72 | 19
|  | 158 | 909.96 | 19
|  | 159 | 880.02 | 19
|  | 160 | 871.25 | 20
|  | 161 | 897.52 | 21
|  | 162 | 950.15 | 22
|  | 163 | 1007.72 | 23
|  | 164 | 1044.3 | 25
|  | 165 | 1106.73 | 25
|  | 166 | 1107.28 | 25
|  | 167 | 984.37 | 22
|  | 168 | 848.95 | 20
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 10/07/2023 | 11/07/2023 | 12/07/2023 | 13/07/2023 | 14/07/2023 | 15/07/2023 | 16/07/2023
Min (MW) | 10 | 10 | 10 | 10 | 10 | 10 | 10
Max (MW) | 35 | 35 | 35 | 35 | 35 | 35 | 35
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible