## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-07-14
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21000 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 10/07/2023 | 11/07/2023 | 12/07/2023 | 13/07/2023 | 14/07/2023 | 15/07/2023 | 16/07/2023
Min (MW) | 450 | 450 | 450 | 450 | 450 | 450 | 450
Max (MW) | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 450 | 450 | 500 | 500
|  | Max (MW) | 1350 | 1350 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-07-12
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 649.8217 | -12.342 | 662.1637
|  | 2 | 532.5405 | -64.923 | 597.4635
|  | 3 | 475.0586 | -93.653 | 568.7116
|  | 4 | 441.4898 | -112.847 | 554.3368
|  | 5 | 443.0003 | -113.57 | 556.5703
|  | 6 | 472.3981 | -114.566 | 586.9641
|  | 7 | 588.1028 | -89.664 | 677.7668
|  | 8 | 782.7792 | -5.626 | 788.4052
|  | 9 | 873.1607 | 2.163 | 870.9977
|  | 10 | 908.443 | 0.982 | 907.461
|  | 11 | 935.9491 | 6.364 | 929.5851
|  | 12 | 971.0538 | 18.698 | 952.3558
|  | 13 | 1003.8004 | 37.547 | 966.2534
|  | 14 | 995.3421 | 55.424 | 939.9181
|  | 15 | 976.1151 | 43.873 | 932.2421
|  | 16 | 989.654 | 17.21 | 972.444
|  | 17 | 982.0493 | 14.647 | 967.4023
|  | 18 | 1131.5331 | 133.294 | 998.2391
|  | 19 | 1327.1709 | 296.918 | 1030.2529
|  | 20 | 1311.3026 | 278.427 | 1032.8756
|  | 21 | 1326.1715 | 270.361 | 1055.8105
|  | 22 | 1316.5213 | 271.364 | 1045.1573
|  | 23 | 1110.7765 | 167.629 | 943.1475
|  | 24 | 781.6852 | -15.96 | 797.6452
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2023-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 17.2208 | 29.7833 | 9.8994 | -131.21 | 68.2624 | -51.8637
2 | 19.647 | -12.6 | -19.2115 | -166.82 | 24.6147 | 4.6219
3 | 10.8397 | -21.53 | -16.1492 | -167.5 | 40.4509 | -47.1585
4 | 12.0471 | -24.55 | -28.07 | -166.38 | 25.5768 | -26.3421
5 | 6.1917 | -17.22 | -2.7101 | -157.77 | 70.6729 | -88.69
6 | 7.4758 | -9.6132 | -6.3814 | -139.88 | 20.3067 | -54.8648
7 | 3.7236 | 13.8016 | -21.1216 | -89.86 | -17.6244 | -53.8542
8 | 2.5027 | 65.8269 | -1.5502 | -40.19 | 0.31488 | -57.4019
9 | 3.0666 | 73.7946 | 20.4777 | -60.61 | 56.7725 | -101.2313
10 | -1.9685 | 75.7454 | 25.4855 | -110.32 | 83.0638 | -88.496
11 | 5.2716 | 66.8729 | -20.1103 | -138 | -19.1981 | 70.1622
12 | 1.1737 | 38.9893 | -40.1 | -169.56 | -36.3711 | -9.5212
13 | 8.0927 | 38.4762 | -63.51 | -176.96 | -69.73 | 48.8694
14 | 6.5098 | 41.1814 | -58.44 | -169.82 | -64.54 | 31.2605
15 | 9.2566 | 45.5868 | -68.45 | -151.76 | -87.09 | 59.3594
16 | 2.595 | 45.1908 | -58.57 | -145.18 | -80.11 | 22.6761
17 | 0.3204 | 57.1942 | -29.6107 | -109.34 | -56.8797 | -57.9581
18 | 27.0433 | 60.67 | -96.95 | -103.08 | -176.17 | 158.377
19 | 29.7724 | 85.1395 | -95.52 | -51.56 | -154.42 | 227.2448
20 | 24.5087 | 91.28 | -72.74 | -33.88 | -108.61 | 195.0636
21 | 30.1193 | 94.4641 | -87.94 | -23.31 | -177.41 | 261.7239
22 | 24.6744 | 81.3402 | -73.52 | -40.25 | -154.3 | 192.7567
23 | 23.0881 | 66.7416 | -65.83 | -54.11 | -198.83 | 154.5088
24 | 29.2815 | 49.0398 | -99.37 | -81.89 | -288.36 | 203.8553
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-07-14
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 578.33
|  |  | 01:00 - 02:00 | 512.35
|  |  | 02:00 - 03:00 | 498.05
|  |  | 03:00 - 04:00 | 434.86
|  |  | 04:00 - 05:00 | 445.56
|  |  | 05:00 - 06:00 | 497.38
|  |  | 06:00 - 07:00 | 622.42
|  |  | 07:00 - 08:00 | 766.51
|  |  | 08:00 - 09:00 | 873.34
|  |  | 09:00 - 10:00 | 907.18
|  |  | 10:00 - 11:00 | 946.06
|  |  | 11:00 - 12:00 | 960.88
|  |  | 12:00 - 13:00 | 961.57
|  |  | 13:00 - 14:00 | 954.86
|  |  | 14:00 - 15:00 | 948.82
|  |  | 15:00 - 16:00 | 978.23
|  |  | 16:00 - 17:00 | 967.98
|  |  | 17:00 - 18:00 | 1080.9
|  |  | 18:00 - 19:00 | 1179.27
|  |  | 19:00 - 20:00 | 1158.09
|  |  | 20:00 - 21:00 | 1192.95
|  |  | 21:00 - 22:00 | 1163.13
|  |  | 22:00 - 23:00 | 1027.74
|  |  | 23:00 - 00:00 | 772.7
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 109.5535 | 109.4579 | 0 | 118.8502 | 1.7638 | 0
2 | 0 | 0 | 0.047782 | 109.4149 | 0 | 92.4917 | 0 | 0
3 | 0 | 0 | 0 | 109.3723 | 0 | 1.2497 | 0 | 0
4 | 0 | 0 | 0 | 99.3364 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 119.1546 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 119.3712 | 0 | 0 | 1.8142 | 0
7 | 0 | 0 | 0.54169 | 103.6981 | 0 | 1.2976 | 97.1188 | 0
8 | 0 | 0 | 116.7101 | 119.2544 | 1.7212 | 98.1705 | 130.5308 | 0
9 | 2.2888 | 0 | 119.7577 | 119.4058 | 94.8349 | 94.5485 | 141.6188 | 0
10 | 104.3987 | 0 | 104.692 | 104.4429 | 98.0076 | 98.0573 | 99.4918 | 0
11 | 99.7083 | 0 | 99.6901 | 99.3932 | 105.1547 | 105.2448 | 104.2151 | 0
12 | 119.7123 | 0 | 119.3324 | 0.35553 | 108.0993 | 108.1032 | 0.55919 | 0
13 | 120.0189 | 0 | 119.8817 | 0 | 118.0001 | 118.2112 | 0 | 0
14 | 119.9893 | 0 | 119.9165 | 0 | 117.4317 | 117.0644 | 0 | 0
15 | 120.0362 | 0 | 110.6092 | 0 | 104.1931 | 104.2194 | 0 | 0
16 | 109.9558 | 0 | 109.8659 | 0 | 122.8089 | 122.8458 | 0 | 0
17 | 109.8799 | 0 | 109.8236 | 0 | 130.1454 | 130.1845 | 0 | 0
18 | 114.8667 | 0 | 114.7804 | 0 | 127.9293 | 128.0091 | 0 | 0
19 | 109.9002 | 0 | 109.8522 | 0 | 123.6342 | 123.7059 | 62.4128 | 0
20 | 109.8965 | 0 | 109.8406 | 0 | 124.7012 | 124.7675 | 107.4032 | 0
21 | 109.8754 | 0 | 109.8253 | 0 | 124.5848 | 124.6298 | 135.8704 | 0
22 | 109.8645 | 0 | 109.8492 | 0 | 117.855 | 118.1569 | 128.9018 | 0
23 | 109.847 | 0 | 109.8371 | 0 | 0.28456 | 109.0296 | 128.7904 | 0
24 | 109.8536 | 0 | 109.8286 | 0 | 0 | 0.468 | 114.0364 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1680.0922 | 0 | 2014.2355 | 1212.6571 | 1619.3859 | 2039.3057 | 1254.5276 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Mesatare | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 606.4 | 14
|  | 2 | 545.1 | 15
|  | 3 | 518.49 | 14
|  | 4 | 509.3 | 15
|  | 5 | 514.29 | 15
|  | 6 | 546.92 | 13
|  | 7 | 649.8 | 14
|  | 8 | 776.8 | 17
|  | 9 | 862.2 | 19
|  | 10 | 878.22 | 24
|  | 11 | 885.01 | 25
|  | 12 | 894.5 | 21
|  | 13 | 891.79 | 22
|  | 14 | 946.36 | 24
|  | 15 | 935.61 | 24
|  | 16 | 917.22 | 25
|  | 17 | 915.2 | 22
|  | 18 | 936.4 | 23
|  | 19 | 960.52 | 27
|  | 20 | 970.14 | 23
|  | 21 | 999.6 | 22
|  | 22 | 1003.03 | 22
|  | 23 | 895.85 | 21
|  | 24 | 759.49 | 22
|  | 25 | 638.37 | 20
|  | 26 | 577.58 | 15
|  | 27 | 550.17 | 15
|  | 28 | 535.85 | 16
|  | 29 | 537.01 | 17
|  | 30 | 572.67 | 16
|  | 31 | 659.12 | 14
|  | 32 | 786.88 | 18
|  | 33 | 866.47 | 21
|  | 34 | 890.49 | 22
|  | 35 | 905.33 | 23
|  | 36 | 950.39 | 26
|  | 37 | 965.88 | 26
|  | 38 | 982.97 | 28
|  | 39 | 971.58 | 25
|  | 40 | 925.27 | 23
|  | 41 | 914.78 | 22
|  | 42 | 934.82 | 24
|  | 43 | 955.29 | 24
|  | 44 | 965.32 | 28
|  | 45 | 1001.45 | 26
|  | 46 | 997.58 | 24
|  | 47 | 905.67 | 21
|  | 48 | 770.55 | 19
|  | 49 | 670.8 | 18
|  | 50 | 606.24 | 16
|  | 51 | 576.34 | 15
|  | 52 | 560.54 | 16
|  | 53 | 561.62 | 16
|  | 54 | 594.97 | 19
|  | 55 | 686.94 | 24
|  | 56 | 811.71 | 17
|  | 57 | 897.78 | 21
|  | 58 | 929.39 | 22
|  | 59 | 935.89 | 24
|  | 60 | 955.14 | 25
|  | 61 | 965.7 | 26
|  | 62 | 984.34 | 25
|  | 63 | 969.37 | 25
|  | 64 | 952.91 | 28
|  | 65 | 956.19 | 24
|  | 66 | 978.34 | 31
|  | 67 | 999.03 | 35
|  | 68 | 1010.33 | 30
|  | 69 | 1039.46 | 30
|  | 70 | 1021.56 | 29
|  | 71 | 924.96 | 26
|  | 72 | 784.04 | 25
|  | 73 | 670.53 | 15
|  | 74 | 608.08 | 14
|  | 75 | 578.55 | 12
|  | 76 | 563.73 | 12
|  | 77 | 564.7 | 12
|  | 78 | 597.17 | 12
|  | 79 | 689.26 | 12
|  | 80 | 814.37 | 15
|  | 81 | 899.06 | 19
|  | 82 | 931.66 | 20
|  | 83 | 939.86 | 23
|  | 84 | 962.97 | 21
|  | 85 | 971.35 | 23
|  | 86 | 993.83 | 24
|  | 87 | 980.32 | 22
|  | 88 | 966.31 | 22
|  | 89 | 961.04 | 20
|  | 90 | 986.64 | 28
|  | 91 | 1013.02 | 31
|  | 92 | 1024.63 | 28
|  | 93 | 1059.11 | 33
|  | 94 | 1050.53 | 28
|  | 95 | 948.9 | 22
|  | 96 | 806.01 | 21
|  | 97 | 686.33 | 17
|  | 98 | 617.35 | 13
|  | 99 | 588.05 | 13
|  | 100 | 572.86 | 11
|  | 101 | 573.56 | 11
|  | 102 | 605.38 | 14
|  | 103 | 697.42 | 14
|  | 104 | 820.51 | 18
|  | 105 | 913.34 | 22
|  | 106 | 948.18 | 26
|  | 107 | 966.06 | 28
|  | 108 | 986.88 | 28
|  | 109 | 996.57 | 26
|  | 110 | 992.86 | 26
|  | 111 | 980.82 | 27
|  | 112 | 1004.23 | 27
|  | 113 | 996.98 | 28
|  | 114 | 1016.9 | 29
|  | 115 | 1039.27 | 29
|  | 116 | 1043.09 | 30
|  | 117 | 1072.95 | 32
|  | 118 | 1048.13 | 31
|  | 119 | 947.74 | 27
|  | 120 | 809.7 | 21
|  | 121 | 683.51 | 19
|  | 122 | 615.29 | 16
|  | 123 | 581.75 | 15
|  | 124 | 576.58 | 15
|  | 125 | 564.66 | 15
|  | 126 | 591.12 | 15
|  | 127 | 676.5 | 18
|  | 128 | 796.41 | 19
|  | 129 | 891.92 | 20
|  | 130 | 943.29 | 21
|  | 131 | 966.06 | 22
|  | 132 | 979.33 | 23
|  | 133 | 985.02 | 23
|  | 134 | 1011.76 | 24
|  | 135 | 991.02 | 24
|  | 136 | 962.55 | 23
|  | 137 | 961.62 | 25
|  | 138 | 985.65 | 28
|  | 139 | 1013.32 | 29
|  | 140 | 1022.7 | 29
|  | 141 | 1049.63 | 31
|  | 142 | 1027.28 | 29
|  | 143 | 926.27 | 26
|  | 144 | 809.75 | 20
|  | 145 | 709.71 | 18
|  | 146 | 641.49 | 18
|  | 147 | 606.05 | 17
|  | 148 | 589.48 | 16
|  | 149 | 592.76 | 17
|  | 150 | 618.32 | 17
|  | 151 | 682.5 | 18
|  | 152 | 768.21 | 19
|  | 153 | 836.22 | 18
|  | 154 | 871.19 | 18
|  | 155 | 887.66 | 18
|  | 156 | 900.93 | 19
|  | 157 | 913.72 | 19
|  | 158 | 909.96 | 19
|  | 159 | 880.02 | 19
|  | 160 | 871.25 | 20
|  | 161 | 897.52 | 21
|  | 162 | 950.15 | 22
|  | 163 | 1007.72 | 23
|  | 164 | 1044.3 | 25
|  | 165 | 1106.73 | 25
|  | 166 | 1107.28 | 25
|  | 167 | 984.37 | 22
|  | 168 | 848.95 | 20
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 10/07/2023 | 11/07/2023 | 12/07/2023 | 13/07/2023 | 14/07/2023 | 15/07/2023 | 16/07/2023
Min (MW) | 10 | 10 | 10 | 10 | 10 | 10 | 10
Max (MW) | 35 | 35 | 35 | 35 | 35 | 35 | 35
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-07-14
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21000 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 10/07/2023 | 11/07/2023 | 12/07/2023 | 13/07/2023 | 14/07/2023 | 15/07/2023 | 16/07/2023
Min (MW) | 450 | 450 | 450 | 450 | 450 | 450 | 450
Max (MW) | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 450 | 450 | 500 | 500
|  | Max (MW) | 1350 | 1350 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-07-12
|  | Hour | Production | Exchange | Consumption
|  | 1 | 649.8217 | -12.342 | 662.1637
|  | 2 | 532.5405 | -64.923 | 597.4635
|  | 3 | 475.0586 | -93.653 | 568.7116
|  | 4 | 441.4898 | -112.847 | 554.3368
|  | 5 | 443.0003 | -113.57 | 556.5703
|  | 6 | 472.3981 | -114.566 | 586.9641
|  | 7 | 588.1028 | -89.664 | 677.7668
|  | 8 | 782.7792 | -5.626 | 788.4052
|  | 9 | 873.1607 | 2.163 | 870.9977
|  | 10 | 908.443 | 0.982 | 907.461
|  | 11 | 935.9491 | 6.364 | 929.5851
|  | 12 | 971.0538 | 18.698 | 952.3558
|  | 13 | 1003.8004 | 37.547 | 966.2534
|  | 14 | 995.3421 | 55.424 | 939.9181
|  | 15 | 976.1151 | 43.873 | 932.2421
|  | 16 | 989.654 | 17.21 | 972.444
|  | 17 | 982.0493 | 14.647 | 967.4023
|  | 18 | 1131.5331 | 133.294 | 998.2391
|  | 19 | 1327.1709 | 296.918 | 1030.2529
|  | 20 | 1311.3026 | 278.427 | 1032.8756
|  | 21 | 1326.1715 | 270.361 | 1055.8105
|  | 22 | 1316.5213 | 271.364 | 1045.1573
|  | 23 | 1110.7765 | 167.629 | 943.1475
|  | 24 | 781.6852 | -15.96 | 797.6452
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 17.2208 | 29.7833 | 9.8994 | -131.21 | 68.2624 | -51.8637
2 | 19.647 | -12.6 | -19.2115 | -166.82 | 24.6147 | 4.6219
3 | 10.8397 | -21.53 | -16.1492 | -167.5 | 40.4509 | -47.1585
4 | 12.0471 | -24.55 | -28.07 | -166.38 | 25.5768 | -26.3421
5 | 6.1917 | -17.22 | -2.7101 | -157.77 | 70.6729 | -88.69
6 | 7.4758 | -9.6132 | -6.3814 | -139.88 | 20.3067 | -54.8648
7 | 3.7236 | 13.8016 | -21.1216 | -89.86 | -17.6244 | -53.8542
8 | 2.5027 | 65.8269 | -1.5502 | -40.19 | 0.31488 | -57.4019
9 | 3.0666 | 73.7946 | 20.4777 | -60.61 | 56.7725 | -101.2313
10 | -1.9685 | 75.7454 | 25.4855 | -110.32 | 83.0638 | -88.496
11 | 5.2716 | 66.8729 | -20.1103 | -138 | -19.1981 | 70.1622
12 | 1.1737 | 38.9893 | -40.1 | -169.56 | -36.3711 | -9.5212
13 | 8.0927 | 38.4762 | -63.51 | -176.96 | -69.73 | 48.8694
14 | 6.5098 | 41.1814 | -58.44 | -169.82 | -64.54 | 31.2605
15 | 9.2566 | 45.5868 | -68.45 | -151.76 | -87.09 | 59.3594
16 | 2.595 | 45.1908 | -58.57 | -145.18 | -80.11 | 22.6761
17 | 0.3204 | 57.1942 | -29.6107 | -109.34 | -56.8797 | -57.9581
18 | 27.0433 | 60.67 | -96.95 | -103.08 | -176.17 | 158.377
19 | 29.7724 | 85.1395 | -95.52 | -51.56 | -154.42 | 227.2448
20 | 24.5087 | 91.28 | -72.74 | -33.88 | -108.61 | 195.0636
21 | 30.1193 | 94.4641 | -87.94 | -23.31 | -177.41 | 261.7239
22 | 24.6744 | 81.3402 | -73.52 | -40.25 | -154.3 | 192.7567
23 | 23.0881 | 66.7416 | -65.83 | -54.11 | -198.83 | 154.5088
24 | 29.2815 | 49.0398 | -99.37 | -81.89 | -288.36 | 203.8553
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-07-14
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 578.33
|  |  | 01:00 - 02:00 | 512.35
|  |  | 02:00 - 03:00 | 498.05
|  |  | 03:00 - 04:00 | 434.86
|  |  | 04:00 - 05:00 | 445.56
|  |  | 05:00 - 06:00 | 497.38
|  |  | 06:00 - 07:00 | 622.42
|  |  | 07:00 - 08:00 | 766.51
|  |  | 08:00 - 09:00 | 873.34
|  |  | 09:00 - 10:00 | 907.18
|  |  | 10:00 - 11:00 | 946.06
|  |  | 11:00 - 12:00 | 960.88
|  |  | 12:00 - 13:00 | 961.57
|  |  | 13:00 - 14:00 | 954.86
|  |  | 14:00 - 15:00 | 948.82
|  |  | 15:00 - 16:00 | 978.23
|  |  | 16:00 - 17:00 | 967.98
|  |  | 17:00 - 18:00 | 1080.9
|  |  | 18:00 - 19:00 | 1179.27
|  |  | 19:00 - 20:00 | 1158.09
|  |  | 20:00 - 21:00 | 1192.95
|  |  | 21:00 - 22:00 | 1163.13
|  |  | 22:00 - 23:00 | 1027.74
|  |  | 23:00 - 00:00 | 772.7
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 109.5535 | 109.4579 | 0 | 118.8502 | 1.7638 | 0
2 | 0 | 0 | 0.047782 | 109.4149 | 0 | 92.4917 | 0 | 0
3 | 0 | 0 | 0 | 109.3723 | 0 | 1.2497 | 0 | 0
4 | 0 | 0 | 0 | 99.3364 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 119.1546 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 119.3712 | 0 | 0 | 1.8142 | 0
7 | 0 | 0 | 0.54169 | 103.6981 | 0 | 1.2976 | 97.1188 | 0
8 | 0 | 0 | 116.7101 | 119.2544 | 1.7212 | 98.1705 | 130.5308 | 0
9 | 2.2888 | 0 | 119.7577 | 119.4058 | 94.8349 | 94.5485 | 141.6188 | 0
10 | 104.3987 | 0 | 104.692 | 104.4429 | 98.0076 | 98.0573 | 99.4918 | 0
11 | 99.7083 | 0 | 99.6901 | 99.3932 | 105.1547 | 105.2448 | 104.2151 | 0
12 | 119.7123 | 0 | 119.3324 | 0.35553 | 108.0993 | 108.1032 | 0.55919 | 0
13 | 120.0189 | 0 | 119.8817 | 0 | 118.0001 | 118.2112 | 0 | 0
14 | 119.9893 | 0 | 119.9165 | 0 | 117.4317 | 117.0644 | 0 | 0
15 | 120.0362 | 0 | 110.6092 | 0 | 104.1931 | 104.2194 | 0 | 0
16 | 109.9558 | 0 | 109.8659 | 0 | 122.8089 | 122.8458 | 0 | 0
17 | 109.8799 | 0 | 109.8236 | 0 | 130.1454 | 130.1845 | 0 | 0
18 | 114.8667 | 0 | 114.7804 | 0 | 127.9293 | 128.0091 | 0 | 0
19 | 109.9002 | 0 | 109.8522 | 0 | 123.6342 | 123.7059 | 62.4128 | 0
20 | 109.8965 | 0 | 109.8406 | 0 | 124.7012 | 124.7675 | 107.4032 | 0
21 | 109.8754 | 0 | 109.8253 | 0 | 124.5848 | 124.6298 | 135.8704 | 0
22 | 109.8645 | 0 | 109.8492 | 0 | 117.855 | 118.1569 | 128.9018 | 0
23 | 109.847 | 0 | 109.8371 | 0 | 0.28456 | 109.0296 | 128.7904 | 0
24 | 109.8536 | 0 | 109.8286 | 0 | 0 | 0.468 | 114.0364 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1680.0922 | 0 | 1904.682 | 1103.1992 | 1619.3859 | 1920.4555 | 1252.7638 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 70 | 45 | 0 | 0 | 0 | 0 | 115
8 | 70 | 45 | 0 | 0 | 0 | 0 | 115
9 | 70 | 45 | 0 | 0 | 0 | 0 | 115
10 | 70 | 45 | 0 | 0 | 0 | 0 | 115
11 | 70 | 45 | 0 | 0 | 0 | 0 | 115
12 | 70 | 45 | 0 | 0 | 0 | 0 | 115
13 | 70 | 45 | 0 | 0 | 0 | 0 | 115
14 | 70 | 45 | 0 | 0 | 0 | 0 | 115
15 | 70 | 45 | 0 | 0 | 0 | 0 | 115
16 | 70 | 45 | 0 | 0 | 0 | 0 | 115
17 | 70 | 45 | 0 | 0 | 0 | 0 | 115
18 | 70 | 45 | 0 | 0 | 0 | 0 | 115
19 | 70 | 45 | 0 | 0 | 0 | 0 | 115
20 | 70 | 45 | 0 | 0 | 0 | 0 | 115
21 | 70 | 45 | 0 | 0 | 0 | 0 | 115
22 | 70 | 45 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Average | 66.25 | 48.75 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 606.4 | 14
|  | 2 | 545.1 | 15
|  | 3 | 518.49 | 14
|  | 4 | 509.3 | 15
|  | 5 | 514.29 | 15
|  | 6 | 546.92 | 13
|  | 7 | 649.8 | 14
|  | 8 | 776.8 | 17
|  | 9 | 862.2 | 19
|  | 10 | 878.22 | 24
|  | 11 | 885.01 | 25
|  | 12 | 894.5 | 21
|  | 13 | 891.79 | 22
|  | 14 | 946.36 | 24
|  | 15 | 935.61 | 24
|  | 16 | 917.22 | 25
|  | 17 | 915.2 | 22
|  | 18 | 936.4 | 23
|  | 19 | 960.52 | 27
|  | 20 | 970.14 | 23
|  | 21 | 999.6 | 22
|  | 22 | 1003.03 | 22
|  | 23 | 895.85 | 21
|  | 24 | 759.49 | 22
|  | 25 | 638.37 | 20
|  | 26 | 577.58 | 15
|  | 27 | 550.17 | 15
|  | 28 | 535.85 | 16
|  | 29 | 537.01 | 17
|  | 30 | 572.67 | 16
|  | 31 | 659.12 | 14
|  | 32 | 786.88 | 18
|  | 33 | 866.47 | 21
|  | 34 | 890.49 | 22
|  | 35 | 905.33 | 23
|  | 36 | 950.39 | 26
|  | 37 | 965.88 | 26
|  | 38 | 982.97 | 28
|  | 39 | 971.58 | 25
|  | 40 | 925.27 | 23
|  | 41 | 914.78 | 22
|  | 42 | 934.82 | 24
|  | 43 | 955.29 | 24
|  | 44 | 965.32 | 28
|  | 45 | 1001.45 | 26
|  | 46 | 997.58 | 24
|  | 47 | 905.67 | 21
|  | 48 | 770.55 | 19
|  | 49 | 670.8 | 18
|  | 50 | 606.24 | 16
|  | 51 | 576.34 | 15
|  | 52 | 560.54 | 16
|  | 53 | 561.62 | 16
|  | 54 | 594.97 | 19
|  | 55 | 686.94 | 24
|  | 56 | 811.71 | 17
|  | 57 | 897.78 | 21
|  | 58 | 929.39 | 22
|  | 59 | 935.89 | 24
|  | 60 | 955.14 | 25
|  | 61 | 965.7 | 26
|  | 62 | 984.34 | 25
|  | 63 | 969.37 | 25
|  | 64 | 952.91 | 28
|  | 65 | 956.19 | 24
|  | 66 | 978.34 | 31
|  | 67 | 999.03 | 35
|  | 68 | 1010.33 | 30
|  | 69 | 1039.46 | 30
|  | 70 | 1021.56 | 29
|  | 71 | 924.96 | 26
|  | 72 | 784.04 | 25
|  | 73 | 670.53 | 15
|  | 74 | 608.08 | 14
|  | 75 | 578.55 | 12
|  | 76 | 563.73 | 12
|  | 77 | 564.7 | 12
|  | 78 | 597.17 | 12
|  | 79 | 689.26 | 12
|  | 80 | 814.37 | 15
|  | 81 | 899.06 | 19
|  | 82 | 931.66 | 20
|  | 83 | 939.86 | 23
|  | 84 | 962.97 | 21
|  | 85 | 971.35 | 23
|  | 86 | 993.83 | 24
|  | 87 | 980.32 | 22
|  | 88 | 966.31 | 22
|  | 89 | 961.04 | 20
|  | 90 | 986.64 | 28
|  | 91 | 1013.02 | 31
|  | 92 | 1024.63 | 28
|  | 93 | 1059.11 | 33
|  | 94 | 1050.53 | 28
|  | 95 | 948.9 | 22
|  | 96 | 806.01 | 21
|  | 97 | 686.33 | 17
|  | 98 | 617.35 | 13
|  | 99 | 588.05 | 13
|  | 100 | 572.86 | 11
|  | 101 | 573.56 | 11
|  | 102 | 605.38 | 14
|  | 103 | 697.42 | 14
|  | 104 | 820.51 | 18
|  | 105 | 913.34 | 22
|  | 106 | 948.18 | 26
|  | 107 | 966.06 | 28
|  | 108 | 986.88 | 28
|  | 109 | 996.57 | 26
|  | 110 | 992.86 | 26
|  | 111 | 980.82 | 27
|  | 112 | 1004.23 | 27
|  | 113 | 996.98 | 28
|  | 114 | 1016.9 | 29
|  | 115 | 1039.27 | 29
|  | 116 | 1043.09 | 30
|  | 117 | 1072.95 | 32
|  | 118 | 1048.13 | 31
|  | 119 | 947.74 | 27
|  | 120 | 809.7 | 21
|  | 121 | 683.51 | 19
|  | 122 | 615.29 | 16
|  | 123 | 581.75 | 15
|  | 124 | 576.58 | 15
|  | 125 | 564.66 | 15
|  | 126 | 591.12 | 15
|  | 127 | 676.5 | 18
|  | 128 | 796.41 | 19
|  | 129 | 891.92 | 20
|  | 130 | 943.29 | 21
|  | 131 | 966.06 | 22
|  | 132 | 979.33 | 23
|  | 133 | 985.02 | 23
|  | 134 | 1011.76 | 24
|  | 135 | 991.02 | 24
|  | 136 | 962.55 | 23
|  | 137 | 961.62 | 25
|  | 138 | 985.65 | 28
|  | 139 | 1013.32 | 29
|  | 140 | 1022.7 | 29
|  | 141 | 1049.63 | 31
|  | 142 | 1027.28 | 29
|  | 143 | 926.27 | 26
|  | 144 | 809.75 | 20
|  | 145 | 709.71 | 18
|  | 146 | 641.49 | 18
|  | 147 | 606.05 | 17
|  | 148 | 589.48 | 16
|  | 149 | 592.76 | 17
|  | 150 | 618.32 | 17
|  | 151 | 682.5 | 18
|  | 152 | 768.21 | 19
|  | 153 | 836.22 | 18
|  | 154 | 871.19 | 18
|  | 155 | 887.66 | 18
|  | 156 | 900.93 | 19
|  | 157 | 913.72 | 19
|  | 158 | 909.96 | 19
|  | 159 | 880.02 | 19
|  | 160 | 871.25 | 20
|  | 161 | 897.52 | 21
|  | 162 | 950.15 | 22
|  | 163 | 1007.72 | 23
|  | 164 | 1044.3 | 25
|  | 165 | 1106.73 | 25
|  | 166 | 1107.28 | 25
|  | 167 | 984.37 | 22
|  | 168 | 848.95 | 20
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 10/07/2023 | 11/07/2023 | 12/07/2023 | 13/07/2023 | 14/07/2023 | 15/07/2023 | 16/07/2023
Min (MW) | 10 | 10 | 10 | 10 | 10 | 10 | 10
Max (MW) | 35 | 35 | 35 | 35 | 35 | 35 | 35
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible