## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-07-27
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 22463 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 24/07/2023 | 25/07/2023 | 26/07/2023 | 27/07/2023 | 28/07/2023 | 29/07/2023 | 30/07/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 450 | 450 | 500 | 500
|  | Max (MW) | 1350 | 1350 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-07-25
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 566.4262 | -269.937 | 836.3632
|  | 2 | 491.3073 | -275.715 | 767.0223
|  | 3 | 449.2102 | -273.574 | 722.7842
|  | 4 | 424.0658 | -274.805 | 698.8708
|  | 5 | 414.8006 | -277.954 | 692.7546
|  | 6 | 440.2237 | -272.302 | 712.5257
|  | 7 | 525.9787 | -265.749 | 791.7277
|  | 8 | 664.7414 | -247.372 | 912.1134
|  | 9 | 756.0753 | -262.162 | 1018.2373
|  | 10 | 681.4506 | -416.377 | 1097.8276
|  | 11 | 736.0174 | -412.843 | 1148.8604
|  | 12 | 796.5349 | -388.902 | 1185.4369
|  | 13 | 829.5095 | -390.109 | 1219.6185
|  | 14 | 830.0591 | -383.821 | 1213.8801
|  | 15 | 813.2614 | -389.744 | 1203.0054
|  | 16 | 814.9884 | -390.722 | 1205.7104
|  | 17 | 979.7986 | -224.867 | 1204.6656
|  | 18 | 1034.8219 | -191.07 | 1225.8919
|  | 19 | 1036.6758 | -202.183 | 1238.8588
|  | 20 | 1116.2217 | -125.336 | 1241.5577
|  | 21 | 1135.1697 | -124.475 | 1259.6447
|  | 22 | 1034.3779 | -203.532 | 1237.9099
|  | 23 | 929.3812 | -217.124 | 1146.5052
|  | 24 | 773.1781 | -240.581 | 1013.7591
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 14.0285 | 38.2846 | -67.8806 | -151.7032 | -124.6506 | 33.105
2 | 20.8085 | 8.6043 | -67.013 | -182.0303 | -103.6735 | 58.6788
3 | 24.5735 | -8.368 | -58.385 | -190.4749 | -85.1639 | 59.1227
4 | 25.4974 | -12.1056 | -54.9585 | -194.1456 | -62.6358 | 39.0891
5 | 19.9637 | -10.5984 | -44.3836 | -187.6751 | -36.0004 | -0.13935
6 | 23.4614 | -7.0516 | -65.1197 | -178.1273 | -88.454 | 57.5305
7 | 8.0424 | 25.7313 | -59.3735 | -132.4335 | -74.4952 | -30.8522
8 | 2.4148 | 36.4538 | -44.0763 | -126.9661 | -70.2482 | -84.7972
9 | 2.5864 | 63.8364 | -50.0837 | -116.8151 | -98.3916 | -84.8242
10 | -11.0253 | 59.9469 | -58.5713 | -128.3789 | -80.8255 | -202.2619
11 | -7.3246 | 58.1267 | -48.4256 | -134.5753 | -91.1716 | -165.2965
12 | -8.1779 | 49.8197 | -45.144 | -147.6293 | -74.7936 | -176.6816
13 | -2.4332 | 41.1665 | -62.6648 | -156.0094 | -110.3021 | -121.9883
14 | -19.1327 | 49.9808 | -28.684 | -136.8719 | -45.0321 | -211.5258
15 | -21.1044 | 53.2515 | -31.1897 | -123.6792 | -47.0212 | -219.4672
16 | -8.008 | 45.5726 | -80.9165 | -134.5011 | -137.502 | -97.248
17 | 8.7626 | 66.8253 | -81.7425 | -96.3261 | -182.6845 | 43.2863
18 | 22.5334 | 78.4903 | -119.7823 | -73.0082 | -293.5565 | 188.9995
19 | 14.6945 | 83.9878 | -123.3468 | -46.2035 | -336.336 | 182.3806
20 | 19.6357 | 90.2467 | -143.8123 | -16.6602 | -383.1287 | 236.572
21 | 12.7211 | 101.9805 | -136.5783 | 5.2481 | -358.6491 | 199.7795
22 | 15.8315 | 87.1975 | -125.5375 | -14.57 | -328.9117 | 188.0989
23 | 23.323 | 73.8535 | -122.3413 | -48.2034 | -316.1814 | 187.8331
24 | 28.9994 | 59.597 | -133.4857 | -81.3077 | -306.4535 | 196.6661
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-07-27
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 508.54
|  |  | 01:00 - 02:00 | 430.41
|  |  | 02:00 - 03:00 | 390.6
|  |  | 03:00 - 04:00 | 373.79
|  |  | 04:00 - 05:00 | 373.88
|  |  | 05:00 - 06:00 | 412.27
|  |  | 06:00 - 07:00 | 529.24
|  |  | 07:00 - 08:00 | 686.36
|  |  | 08:00 - 09:00 | 772.36
|  |  | 09:00 - 10:00 | 647.06
|  |  | 10:00 - 11:00 | 645.16
|  |  | 11:00 - 12:00 | 652.76
|  |  | 12:00 - 13:00 | 668.16
|  |  | 13:00 - 14:00 | 622.96
|  |  | 14:00 - 15:00 | 613.46
|  |  | 15:00 - 16:00 | 611.96
|  |  | 16:00 - 17:00 | 780.66
|  |  | 17:00 - 18:00 | 804.86
|  |  | 18:00 - 19:00 | 835.26
|  |  | 19:00 - 20:00 | 946.16
|  |  | 20:00 - 21:00 | 975.77
|  |  | 21:00 - 22:00 | 956.37
|  |  | 22:00 - 23:00 | 782.77
|  |  | 23:00 - 00:00 | 604.07
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 114.6638 | 0 | 114.5997 | 114.3695 | 1.8557 | 0 | 0 | 140.9191
2 | 109.9388 | 0 | 109.892 | 50.641 | 0 | 0 | 0 | 135.5504
3 | 109.8492 | 0 | 109.7952 | 0 | 0 | 0 | 0 | 142.8106
4 | 109.8397 | 0 | 119.7 | 0 | 0 | 0 | 0 | 143.4436
5 | 109.8674 | 0 | 119.7883 | 0 | 0 | 0 | 0 | 143.5064
6 | 119.8188 | 0 | 119.7902 | 2.2992 | 0 | 0 | 0 | 143.0856
7 | 110.0237 | 0 | 109.9804 | 108.9536 | 0.93707 | 0 | 0 | 139.4384
8 | 100.0721 | 0 | 100.1255 | 99.8244 | 91.0085 | 0 | 0 | 137.4394
9 | 116.3745 | 0 | 116.132 | 115.6622 | 141.5311 | 0 | 0 | 143.5178
10 | 107.6375 | 0 | 106.819 | 107.0182 | 108.0887 | 0 | 0 | 142.3302
11 | 99.7766 | 0 | 99.8159 | 99.4526 | 104.0491 | 0 | 0 | 114.4466
12 | 99.7509 | 0 | 99.787 | 99.4578 | 89.2426 | 0 | 0 | 91.7536
13 | 99.7525 | 0 | 99.8194 | 99.4769 | 89.249 | 0 | 0 | 89.1365
14 | 99.7565 | 0 | 99.8086 | 99.4798 | 89.2533 | 0 | 0 | 89.1362
15 | 99.7783 | 0 | 99.8124 | 99.4769 | 89.2472 | 0 | 0 | 89.1347
16 | 99.774 | 0 | 94.7595 | 99.4627 | 89.26 | 0 | 1.2791 | 89.7269
17 | 99.8109 | 0 | 99.7423 | 99.4746 | 89.2873 | 0 | 93.2971 | 96.2591
18 | 99.7979 | 0 | 99.7771 | 99.4559 | 101.444 | 0 | 96.3446 | 111.5183
19 | 109.817 | 0 | 99.7092 | 109.3756 | 91.3197 | 0 | 95.4083 | 102.8541
20 | 109.8267 | 0 | 99.7267 | 109.4324 | 92.4392 | 0 | 99.2672 | 107.5749
21 | 109.8217 | 0 | 109.715 | 109.4338 | 103.2 | 0 | 100.277 | 105.6646
22 | 100.1182 | 0 | 100.1913 | 99.8963 | 94.2796 | 0 | 116.1263 | 107.1498
23 | 107.2221 | 0 | 107.2266 | 106.8313 | 0.16038 | 0 | 101.0516 | 101.7992
24 | 106.3542 | 0 | 106.3431 | 105.9263 | 0 | 0 | 0.19834 | 105.7298
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 2549.4428 | 0 | 2542.8565 | 2035.401 | 1465.8524 | 0 | 703.2496 | 2813.9258
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Mesatare | 62.9167 | 52.0833 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 781.16 | 22.3302
|  | 2 | 707.83 | 21.7765
|  | 3 | 665.1 | 18.634
|  | 4 | 643.31 | 19.0967
|  | 5 | 637.09 | 19.5373
|  | 6 | 661.57 | 20.3228
|  | 7 | 759.79 | 14.7584
|  | 8 | 888.22 | 17.1186
|  | 9 | 997.92 | 20.2257
|  | 10 | 1054.92 | 23.4496
|  | 11 | 1088.86 | 26.6083
|  | 12 | 1124.65 | 28.8541
|  | 13 | 1154.94 | 30.8465
|  | 14 | 1176.52 | 31.3096
|  | 15 | 1167.04 | 33.458
|  | 16 | 1156.89 | 32.3106
|  | 17 | 1151.3 | 33.511
|  | 18 | 1175.84 | 35.8961
|  | 19 | 1202.64 | 41.7764
|  | 20 | 1202.32 | 39.377
|  | 21 | 1214.05 | 40.6076
|  | 22 | 1206.35 | 36.7047
|  | 23 | 1105.35 | 32.8842
|  | 24 | 942.45 | 26.4446
|  | 25 | 798.15 | 21.3795
|  | 26 | 722.04 | 19.0783
|  | 27 | 678.94 | 18.1144
|  | 28 | 654.9 | 18.6644
|  | 29 | 647 | 18.6369
|  | 30 | 672.96 | 21.1168
|  | 31 | 757.83 | 18.5781
|  | 32 | 883.1 | 19.2844
|  | 33 | 992.93 | 25.1493
|  | 34 | 1045.5 | 31.5424
|  | 35 | 1084.29 | 33.7962
|  | 36 | 1135.14 | 33.2251
|  | 37 | 1194.84 | 31.7959
|  | 38 | 1219.45 | 30.6694
|  | 39 | 1209.87 | 29.1802
|  | 40 | 1208.13 | 33.261
|  | 41 | 1197.58 | 42.1115
|  | 42 | 1221.84 | 44.4251
|  | 43 | 1254.6 | 43.6322
|  | 44 | 1262.69 | 45.1653
|  | 45 | 1275.92 | 44.8295
|  | 46 | 1249.14 | 41.3001
|  | 47 | 1151.25 | 36.1569
|  | 48 | 1003.23 | 33.2715
|  | 49 | 839.7 | 23.0641
|  | 50 | 765.2 | 20.8917
|  | 51 | 723.4 | 19.9583
|  | 52 | 698.07 | 19.2947
|  | 53 | 690.57 | 17.4682
|  | 54 | 707.24 | 19.769
|  | 55 | 769.14 | 19.6188
|  | 56 | 896.92 | 22.3321
|  | 57 | 1009.86 | 27.0119
|  | 58 | 1066.06 | 25.7464
|  | 59 | 1187.47 | 25.8817
|  | 60 | 1199.67 | 24.9171
|  | 61 | 1210.97 | 26.3095
|  | 62 | 1239.9 | 24.838
|  | 63 | 1227.92 | 23.8157
|  | 64 | 1161.97 | 23.7317
|  | 65 | 1158.24 | 28.4403
|  | 66 | 1141.96 | 36.5129
|  | 67 | 1175.22 | 35.8826
|  | 68 | 1169.8 | 39.296
|  | 69 | 1179.08 | 37.7448
|  | 70 | 1166.26 | 35.73
|  | 71 | 1084.03 | 33.9036
|  | 72 | 928.64 | 30.3108
|  | 73 | 767.54 | 23.9793
|  | 74 | 689.41 | 20.9941
|  | 75 | 649.6 | 19.355
|  | 76 | 632.79 | 18.279
|  | 77 | 632.88 | 21.3184
|  | 78 | 671.27 | 23.7354
|  | 79 | 776.24 | 26.5202
|  | 80 | 926.36 | 28.2867
|  | 81 | 1012.36 | 27.3142
|  | 82 | 1050.06 | 22.9148
|  | 83 | 1054.16 | 23.4689
|  | 84 | 1061.76 | 21.2797
|  | 85 | 1083.16 | 21.8317
|  | 86 | 1037.96 | 19.3308
|  | 87 | 1028.46 | 18.9365
|  | 88 | 1026.96 | 18.6218
|  | 89 | 1027.66 | 23.0087
|  | 90 | 1051.86 | 27.0787
|  | 91 | 1087.26 | 29.7441
|  | 92 | 1088.16 | 30.6854
|  | 93 | 1117.77 | 29.4723
|  | 94 | 1111.37 | 27.1872
|  | 95 | 1013.77 | 23.6475
|  | 96 | 864.07 | 19.0838
|  | 97 | 759.33 | 16.9818
|  | 98 | 685.03 | 14.7223
|  | 99 | 652.85 | 14.182
|  | 100 | 637.41 | 14.3941
|  | 101 | 639.34 | 16.167
|  | 102 | 672.4 | 15.9769
|  | 103 | 752.21 | 17.839
|  | 104 | 880.62 | 16.1527
|  | 105 | 983.16 | 17.8116
|  | 106 | 1019.05 | 17.1963
|  | 107 | 955.53 | 17.679
|  | 108 | 976.38 | 18.3647
|  | 109 | 989.09 | 19.0514
|  | 110 | 1006.3 | 19.5021
|  | 111 | 960.99 | 18.5122
|  | 112 | 944.37 | 19.4224
|  | 113 | 935.08 | 22.44
|  | 114 | 959.75 | 23.9292
|  | 115 | 985.95 | 23.7339
|  | 116 | 994.7 | 22.8513
|  | 117 | 1026.23 | 20.6717
|  | 118 | 1028.76 | 20.9911
|  | 119 | 922.85 | 18.7103
|  | 120 | 786.4 | 23.3135
|  | 121 | 706.3 | 14.8566
|  | 122 | 633.42 | 14.72
|  | 123 | 599.86 | 14.2097
|  | 124 | 581.68 | 14.0636
|  | 125 | 582.18 | 14.8178
|  | 126 | 606.86 | 15.0407
|  | 127 | 688.22 | 14.8889
|  | 128 | 797.61 | 16.442
|  | 129 | 891.22 | 17.5598
|  | 130 | 939.72 | 17.3724
|  | 131 | 958 | 17.3562
|  | 132 | 976.02 | 18.0634
|  | 133 | 981.49 | 17.8399
|  | 134 | 997.18 | 17.162
|  | 135 | 979.75 | 17.1313
|  | 136 | 960.96 | 18.6243
|  | 137 | 969.59 | 22.8493
|  | 138 | 994.12 | 26.103
|  | 139 | 1031.19 | 24.3423
|  | 140 | 1039.59 | 28.2301
|  | 141 | 1062.46 | 28.5925
|  | 142 | 1052.06 | 28.3737
|  | 143 | 954.03 | 25.7957
|  | 144 | 828.91 | 20.1285
|  | 145 | 708.6 | 16.2652
|  | 146 | 639.42 | 14.1576
|  | 147 | 603.46 | 14.9315
|  | 148 | 585.88 | 14.4362
|  | 149 | 583.58 | 14.644
|  | 150 | 602.26 | 14.7148
|  | 151 | 670.82 | 15.1093
|  | 152 | 744.81 | 15.8494
|  | 153 | 811.82 | 18.3454
|  | 154 | 841.92 | 16.9377
|  | 155 | 866.1 | 18.1353
|  | 156 | 884.12 | 17.0345
|  | 157 | 904.29 | 17.6393
|  | 158 | 910.18 | 17.0515
|  | 159 | 883.75 | 16.1341
|  | 160 | 879.96 | 16.1522
|  | 161 | 914.69 | 19.3072
|  | 162 | 958.32 | 22.76
|  | 163 | 1009.49 | 25.5028
|  | 164 | 1028.09 | 25.2707
|  | 165 | 1056.66 | 27.8986
|  | 166 | 1061.56 | 27.8088
|  | 167 | 962.93 | 24.5363
|  | 168 | 828.11 | 20.9443
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 24/07/2023 | 25/07/2023 | 26/07/2023 | 27/07/2023 | 28/07/2023 | 29/07/2023 | 30/07/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-07-27
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 22463 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 24/07/2023 | 25/07/2023 | 26/07/2023 | 27/07/2023 | 28/07/2023 | 29/07/2023 | 30/07/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 450 | 450 | 500 | 500
|  | Max (MW) | 1350 | 1350 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-07-25
|  | Hour | Production | Exchange | Consumption
|  | 1 | 566.4262 | -269.937 | 836.3632
|  | 2 | 491.3073 | -275.715 | 767.0223
|  | 3 | 449.2102 | -273.574 | 722.7842
|  | 4 | 424.0658 | -274.805 | 698.8708
|  | 5 | 414.8006 | -277.954 | 692.7546
|  | 6 | 440.2237 | -272.302 | 712.5257
|  | 7 | 525.9787 | -265.749 | 791.7277
|  | 8 | 664.7414 | -247.372 | 912.1134
|  | 9 | 756.0753 | -262.162 | 1018.2373
|  | 10 | 681.4506 | -416.377 | 1097.8276
|  | 11 | 736.0174 | -412.843 | 1148.8604
|  | 12 | 796.5349 | -388.902 | 1185.4369
|  | 13 | 829.5095 | -390.109 | 1219.6185
|  | 14 | 830.0591 | -383.821 | 1213.8801
|  | 15 | 813.2614 | -389.744 | 1203.0054
|  | 16 | 814.9884 | -390.722 | 1205.7104
|  | 17 | 979.7986 | -224.867 | 1204.6656
|  | 18 | 1034.8219 | -191.07 | 1225.8919
|  | 19 | 1036.6758 | -202.183 | 1238.8588
|  | 20 | 1116.2217 | -125.336 | 1241.5577
|  | 21 | 1135.1697 | -124.475 | 1259.6447
|  | 22 | 1034.3779 | -203.532 | 1237.9099
|  | 23 | 929.3812 | -217.124 | 1146.5052
|  | 24 | 773.1781 | -240.581 | 1013.7591
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 14.0285 | 38.2846 | -67.8806 | -151.7032 | -124.6506 | 33.105
2 | 20.8085 | 8.6043 | -67.013 | -182.0303 | -103.6735 | 58.6788
3 | 24.5735 | -8.368 | -58.385 | -190.4749 | -85.1639 | 59.1227
4 | 25.4974 | -12.1056 | -54.9585 | -194.1456 | -62.6358 | 39.0891
5 | 19.9637 | -10.5984 | -44.3836 | -187.6751 | -36.0004 | -0.13935
6 | 23.4614 | -7.0516 | -65.1197 | -178.1273 | -88.454 | 57.5305
7 | 8.0424 | 25.7313 | -59.3735 | -132.4335 | -74.4952 | -30.8522
8 | 2.4148 | 36.4538 | -44.0763 | -126.9661 | -70.2482 | -84.7972
9 | 2.5864 | 63.8364 | -50.0837 | -116.8151 | -98.3916 | -84.8242
10 | -11.0253 | 59.9469 | -58.5713 | -128.3789 | -80.8255 | -202.2619
11 | -7.3246 | 58.1267 | -48.4256 | -134.5753 | -91.1716 | -165.2965
12 | -8.1779 | 49.8197 | -45.144 | -147.6293 | -74.7936 | -176.6816
13 | -2.4332 | 41.1665 | -62.6648 | -156.0094 | -110.3021 | -121.9883
14 | -19.1327 | 49.9808 | -28.684 | -136.8719 | -45.0321 | -211.5258
15 | -21.1044 | 53.2515 | -31.1897 | -123.6792 | -47.0212 | -219.4672
16 | -8.008 | 45.5726 | -80.9165 | -134.5011 | -137.502 | -97.248
17 | 8.7626 | 66.8253 | -81.7425 | -96.3261 | -182.6845 | 43.2863
18 | 22.5334 | 78.4903 | -119.7823 | -73.0082 | -293.5565 | 188.9995
19 | 14.6945 | 83.9878 | -123.3468 | -46.2035 | -336.336 | 182.3806
20 | 19.6357 | 90.2467 | -143.8123 | -16.6602 | -383.1287 | 236.572
21 | 12.7211 | 101.9805 | -136.5783 | 5.2481 | -358.6491 | 199.7795
22 | 15.8315 | 87.1975 | -125.5375 | -14.57 | -328.9117 | 188.0989
23 | 23.323 | 73.8535 | -122.3413 | -48.2034 | -316.1814 | 187.8331
24 | 28.9994 | 59.597 | -133.4857 | -81.3077 | -306.4535 | 196.6661
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-07-27
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 508.54
|  |  | 01:00 - 02:00 | 430.41
|  |  | 02:00 - 03:00 | 390.6
|  |  | 03:00 - 04:00 | 373.79
|  |  | 04:00 - 05:00 | 373.88
|  |  | 05:00 - 06:00 | 412.27
|  |  | 06:00 - 07:00 | 529.24
|  |  | 07:00 - 08:00 | 686.36
|  |  | 08:00 - 09:00 | 772.36
|  |  | 09:00 - 10:00 | 647.06
|  |  | 10:00 - 11:00 | 645.16
|  |  | 11:00 - 12:00 | 652.76
|  |  | 12:00 - 13:00 | 668.16
|  |  | 13:00 - 14:00 | 622.96
|  |  | 14:00 - 15:00 | 613.46
|  |  | 15:00 - 16:00 | 611.96
|  |  | 16:00 - 17:00 | 780.66
|  |  | 17:00 - 18:00 | 804.86
|  |  | 18:00 - 19:00 | 835.26
|  |  | 19:00 - 20:00 | 946.16
|  |  | 20:00 - 21:00 | 975.77
|  |  | 21:00 - 22:00 | 956.37
|  |  | 22:00 - 23:00 | 782.77
|  |  | 23:00 - 00:00 | 604.07
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 114.6638 | 0 | 114.5997 | 114.3695 | 1.8557 | 0 | 0 | 140.9191
2 | 109.9388 | 0 | 109.892 | 50.641 | 0 | 0 | 0 | 135.5504
3 | 109.8492 | 0 | 109.7952 | 0 | 0 | 0 | 0 | 142.8106
4 | 109.8397 | 0 | 119.7 | 0 | 0 | 0 | 0 | 143.4436
5 | 109.8674 | 0 | 119.7883 | 0 | 0 | 0 | 0 | 143.5064
6 | 119.8188 | 0 | 119.7902 | 2.2992 | 0 | 0 | 0 | 143.0856
7 | 110.0237 | 0 | 109.9804 | 108.9536 | 0.93707 | 0 | 0 | 139.4384
8 | 100.0721 | 0 | 100.1255 | 99.8244 | 91.0085 | 0 | 0 | 137.4394
9 | 116.3745 | 0 | 116.132 | 115.6622 | 141.5311 | 0 | 0 | 143.5178
10 | 107.6375 | 0 | 106.819 | 107.0182 | 108.0887 | 0 | 0 | 142.3302
11 | 99.7766 | 0 | 99.8159 | 99.4526 | 104.0491 | 0 | 0 | 114.4466
12 | 99.7509 | 0 | 99.787 | 99.4578 | 89.2426 | 0 | 0 | 91.7536
13 | 99.7525 | 0 | 99.8194 | 99.4769 | 89.249 | 0 | 0 | 89.1365
14 | 99.7565 | 0 | 99.8086 | 99.4798 | 89.2533 | 0 | 0 | 89.1362
15 | 99.7783 | 0 | 99.8124 | 99.4769 | 89.2472 | 0 | 0 | 89.1347
16 | 99.774 | 0 | 94.7595 | 99.4627 | 89.26 | 0 | 1.2791 | 89.7269
17 | 99.8109 | 0 | 99.7423 | 99.4746 | 89.2873 | 0 | 93.2971 | 96.2591
18 | 99.7979 | 0 | 99.7771 | 99.4559 | 101.444 | 0 | 96.3446 | 111.5183
19 | 109.817 | 0 | 99.7092 | 109.3756 | 91.3197 | 0 | 95.4083 | 102.8541
20 | 109.8267 | 0 | 99.7267 | 109.4324 | 92.4392 | 0 | 99.2672 | 107.5749
21 | 109.8217 | 0 | 109.715 | 109.4338 | 103.2 | 0 | 100.277 | 105.6646
22 | 100.1182 | 0 | 100.1913 | 99.8963 | 94.2796 | 0 | 116.1263 | 107.1498
23 | 107.2221 | 0 | 107.2266 | 106.8313 | 0.16038 | 0 | 101.0516 | 101.7992
24 | 106.3542 | 0 | 106.3431 | 105.9263 | 0 | 0 | 0.19834 | 105.7298
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 2434.7791 | 0 | 2428.2568 | 1921.0315 | 1463.9968 | 0 | 703.2496 | 2673.0068
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 60 | 55 | 0 | 0 | 0 | 0 | 115
24 | 50 | 65 | 0 | 0 | 0 | 0 | 115
Average | 62.9167 | 52.0833 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 781.16 | 22.3302
|  | 2 | 707.83 | 21.7765
|  | 3 | 665.1 | 18.634
|  | 4 | 643.31 | 19.0967
|  | 5 | 637.09 | 19.5373
|  | 6 | 661.57 | 20.3228
|  | 7 | 759.79 | 14.7584
|  | 8 | 888.22 | 17.1186
|  | 9 | 997.92 | 20.2257
|  | 10 | 1054.92 | 23.4496
|  | 11 | 1088.86 | 26.6083
|  | 12 | 1124.65 | 28.8541
|  | 13 | 1154.94 | 30.8465
|  | 14 | 1176.52 | 31.3096
|  | 15 | 1167.04 | 33.458
|  | 16 | 1156.89 | 32.3106
|  | 17 | 1151.3 | 33.511
|  | 18 | 1175.84 | 35.8961
|  | 19 | 1202.64 | 41.7764
|  | 20 | 1202.32 | 39.377
|  | 21 | 1214.05 | 40.6076
|  | 22 | 1206.35 | 36.7047
|  | 23 | 1105.35 | 32.8842
|  | 24 | 942.45 | 26.4446
|  | 25 | 798.15 | 21.3795
|  | 26 | 722.04 | 19.0783
|  | 27 | 678.94 | 18.1144
|  | 28 | 654.9 | 18.6644
|  | 29 | 647 | 18.6369
|  | 30 | 672.96 | 21.1168
|  | 31 | 757.83 | 18.5781
|  | 32 | 883.1 | 19.2844
|  | 33 | 992.93 | 25.1493
|  | 34 | 1045.5 | 31.5424
|  | 35 | 1084.29 | 33.7962
|  | 36 | 1135.14 | 33.2251
|  | 37 | 1194.84 | 31.7959
|  | 38 | 1219.45 | 30.6694
|  | 39 | 1209.87 | 29.1802
|  | 40 | 1208.13 | 33.261
|  | 41 | 1197.58 | 42.1115
|  | 42 | 1221.84 | 44.4251
|  | 43 | 1254.6 | 43.6322
|  | 44 | 1262.69 | 45.1653
|  | 45 | 1275.92 | 44.8295
|  | 46 | 1249.14 | 41.3001
|  | 47 | 1151.25 | 36.1569
|  | 48 | 1003.23 | 33.2715
|  | 49 | 839.7 | 23.0641
|  | 50 | 765.2 | 20.8917
|  | 51 | 723.4 | 19.9583
|  | 52 | 698.07 | 19.2947
|  | 53 | 690.57 | 17.4682
|  | 54 | 707.24 | 19.769
|  | 55 | 769.14 | 19.6188
|  | 56 | 896.92 | 22.3321
|  | 57 | 1009.86 | 27.0119
|  | 58 | 1066.06 | 25.7464
|  | 59 | 1187.47 | 25.8817
|  | 60 | 1199.67 | 24.9171
|  | 61 | 1210.97 | 26.3095
|  | 62 | 1239.9 | 24.838
|  | 63 | 1227.92 | 23.8157
|  | 64 | 1161.97 | 23.7317
|  | 65 | 1158.24 | 28.4403
|  | 66 | 1141.96 | 36.5129
|  | 67 | 1175.22 | 35.8826
|  | 68 | 1169.8 | 39.296
|  | 69 | 1179.08 | 37.7448
|  | 70 | 1166.26 | 35.73
|  | 71 | 1084.03 | 33.9036
|  | 72 | 928.64 | 30.3108
|  | 73 | 767.54 | 23.9793
|  | 74 | 689.41 | 20.9941
|  | 75 | 649.6 | 19.355
|  | 76 | 632.79 | 18.279
|  | 77 | 632.88 | 21.3184
|  | 78 | 671.27 | 23.7354
|  | 79 | 776.24 | 26.5202
|  | 80 | 926.36 | 28.2867
|  | 81 | 1012.36 | 27.3142
|  | 82 | 1050.06 | 22.9148
|  | 83 | 1054.16 | 23.4689
|  | 84 | 1061.76 | 21.2797
|  | 85 | 1083.16 | 21.8317
|  | 86 | 1037.96 | 19.3308
|  | 87 | 1028.46 | 18.9365
|  | 88 | 1026.96 | 18.6218
|  | 89 | 1027.66 | 23.0087
|  | 90 | 1051.86 | 27.0787
|  | 91 | 1087.26 | 29.7441
|  | 92 | 1088.16 | 30.6854
|  | 93 | 1117.77 | 29.4723
|  | 94 | 1111.37 | 27.1872
|  | 95 | 1013.77 | 23.6475
|  | 96 | 864.07 | 19.0838
|  | 97 | 759.33 | 16.9818
|  | 98 | 685.03 | 14.7223
|  | 99 | 652.85 | 14.182
|  | 100 | 637.41 | 14.3941
|  | 101 | 639.34 | 16.167
|  | 102 | 672.4 | 15.9769
|  | 103 | 752.21 | 17.839
|  | 104 | 880.62 | 16.1527
|  | 105 | 983.16 | 17.8116
|  | 106 | 1019.05 | 17.1963
|  | 107 | 955.53 | 17.679
|  | 108 | 976.38 | 18.3647
|  | 109 | 989.09 | 19.0514
|  | 110 | 1006.3 | 19.5021
|  | 111 | 960.99 | 18.5122
|  | 112 | 944.37 | 19.4224
|  | 113 | 935.08 | 22.44
|  | 114 | 959.75 | 23.9292
|  | 115 | 985.95 | 23.7339
|  | 116 | 994.7 | 22.8513
|  | 117 | 1026.23 | 20.6717
|  | 118 | 1028.76 | 20.9911
|  | 119 | 922.85 | 18.7103
|  | 120 | 786.4 | 23.3135
|  | 121 | 706.3 | 14.8566
|  | 122 | 633.42 | 14.72
|  | 123 | 599.86 | 14.2097
|  | 124 | 581.68 | 14.0636
|  | 125 | 582.18 | 14.8178
|  | 126 | 606.86 | 15.0407
|  | 127 | 688.22 | 14.8889
|  | 128 | 797.61 | 16.442
|  | 129 | 891.22 | 17.5598
|  | 130 | 939.72 | 17.3724
|  | 131 | 958 | 17.3562
|  | 132 | 976.02 | 18.0634
|  | 133 | 981.49 | 17.8399
|  | 134 | 997.18 | 17.162
|  | 135 | 979.75 | 17.1313
|  | 136 | 960.96 | 18.6243
|  | 137 | 969.59 | 22.8493
|  | 138 | 994.12 | 26.103
|  | 139 | 1031.19 | 24.3423
|  | 140 | 1039.59 | 28.2301
|  | 141 | 1062.46 | 28.5925
|  | 142 | 1052.06 | 28.3737
|  | 143 | 954.03 | 25.7957
|  | 144 | 828.91 | 20.1285
|  | 145 | 708.6 | 16.2652
|  | 146 | 639.42 | 14.1576
|  | 147 | 603.46 | 14.9315
|  | 148 | 585.88 | 14.4362
|  | 149 | 583.58 | 14.644
|  | 150 | 602.26 | 14.7148
|  | 151 | 670.82 | 15.1093
|  | 152 | 744.81 | 15.8494
|  | 153 | 811.82 | 18.3454
|  | 154 | 841.92 | 16.9377
|  | 155 | 866.1 | 18.1353
|  | 156 | 884.12 | 17.0345
|  | 157 | 904.29 | 17.6393
|  | 158 | 910.18 | 17.0515
|  | 159 | 883.75 | 16.1341
|  | 160 | 879.96 | 16.1522
|  | 161 | 914.69 | 19.3072
|  | 162 | 958.32 | 22.76
|  | 163 | 1009.49 | 25.5028
|  | 164 | 1028.09 | 25.2707
|  | 165 | 1056.66 | 27.8986
|  | 166 | 1061.56 | 27.8088
|  | 167 | 962.93 | 24.5363
|  | 168 | 828.11 | 20.9443
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 24/07/2023 | 25/07/2023 | 26/07/2023 | 27/07/2023 | 28/07/2023 | 29/07/2023 | 30/07/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible