## Publikime AL
Albania Transmission System Operator
2023-10-06
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 17315 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 02/10/2023 | 03/10/2023 | 04/10/2023 | 05/10/2023 | 06/10/2023 | 07/10/2023 | 08/10/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-10-04
|  | Hour | Production | Exchange | Consumption
|  | 1 | 82.4515 | -444.195 | 526.6465
|  | 2 | 82.7854 | -412.675 | 495.4604
|  | 3 | 77.9183 | -402.916 | 480.8343
|  | 4 | 79.3332 | -397.91 | 477.2432
|  | 5 | 83.6081 | -399.591 | 483.1991
|  | 6 | 91.7384 | -434.412 | 526.1504
|  | 7 | 297.3972 | -347.459 | 644.8562
|  | 8 | 624.4478 | -165.219 | 789.6668
|  | 9 | 646.3033 | -169.254 | 815.5573
|  | 10 | 607.8325 | -184.089 | 791.9215
|  | 11 | 314.4841 | -460.415 | 774.8991
|  | 12 | 314.894 | -451.985 | 766.879
|  | 13 | 289.5032 | -461.902 | 751.4052
|  | 14 | 303.4715 | -459.113 | 762.5845
|  | 15 | 304.4822 | -463.853 | 768.3352
|  | 16 | 308.8142 | -461.619 | 770.4332
|  | 17 | 646.9543 | -135.02 | 781.9743
|  | 18 | 733.6949 | -98.422 | 832.1169
|  | 19 | 798.1324 | -104.412 | 902.5444
|  | 20 | 856.6171 | -86.489 | 943.1061
|  | 21 | 782.7271 | -107.675 | 890.4021
|  | 22 | 659.4454 | -144.184 | 803.6294
|  | 23 | 473.1575 | -231.004 | 704.1615
|  | 24 | 370.4366 | -238.349 | 608.7856
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -3.1909 | -51.7059 | -64.8015 | -224.7792 | -11.2896 | -91.7967
2 | 0.77535 | -63.8811 | -58.0678 | -239.1815 | -11.7546 | -43.3546
3 | 5.1899 | -64.1621 | -59.9139 | -230.8594 | -30.498 | -6.0228
4 | 5.7282 | -10.3372 | -72.9339 | -264.2218 | -41.5726 | -2.4747
5 | 6.1155 | -61.5584 | -65.0271 | -238.417 | -32.6269 | 0.55996
6 | 8.2664 | -64.4601 | -93.6097 | -219.2086 | -81.1265 | 24.0191
7 | 9.5585 | -19.1083 | -75.5716 | -156.4868 | -59.8134 | 24.0165
8 | -5.2956 | 29.6811 | -14.9204 | -116.4248 | 40.9866 | -73.4301
9 | -35.6455 | 57.0438 | 65.5005 | -77.7757 | 223.5153 | -329.9428
10 | -32.456 | 61.9942 | 65.0513 | -86.859 | 228.3268 | -345.2992
11 | -31.6226 | 9.0875 | -13.5235 | -178.8273 | 128.2176 | -359.6376
12 | -33.1578 | 1.3887 | -3.871 | -193.1038 | 148.1545 | -376.6701
13 | -30.5073 | -11.193 | -12.1603 | -204.145 | 126.6612 | -327.8732
14 | -34.2372 | -15.4941 | -7.7832 | -203.7063 | 132.7818 | -351.3698
15 | -26.893 | -16.2229 | -32.0718 | -200.1743 | 74.8366 | -266.0062
16 | -25.9157 | -2.7562 | -53.2671 | -162.0864 | 23.9232 | -241.0581
17 | -20.5359 | 61.8444 | -5.5699 | -76.0242 | 87.7498 | -215.5617
18 | -0.67592 | 64.1309 | -56.8657 | -72.2276 | -35.8337 | -66.0332
19 | 16.8778 | 69.5354 | -76.3823 | -71.9244 | -127.6746 | 79.9394
20 | 4.32 | 77.853 | -41.9843 | -60.5929 | -47.3249 | -17.0789
21 | 18.1341 | 70.0747 | -67.9835 | -72.3018 | -99.4399 | 70.3336
22 | 14.9301 | 38.3868 | -92.2057 | -126.8241 | -115.5222 | 48.8511
23 | 13.2033 | 26.2252 | -79.8524 | -123.9082 | -86.1047 | 24.1456
24 | 12.3529 | 14.6071 | -64.8199 | -137.9105 | -37.804 | -30.4587
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-10-06
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 114.92
|  |  | 01:00 - 02:00 | 96.92
|  |  | 02:00 - 03:00 | 109.09
|  |  | 03:00 - 04:00 | 106.51
|  |  | 04:00 - 05:00 | 85.12
|  |  | 05:00 - 06:00 | 152.99
|  |  | 06:00 - 07:00 | 372.07
|  |  | 07:00 - 08:00 | 621.36
|  |  | 08:00 - 09:00 | 674.56
|  |  | 09:00 - 10:00 | 602.43
|  |  | 10:00 - 11:00 | 314.3
|  |  | 11:00 - 12:00 | 293.05
|  |  | 12:00 - 13:00 | 279.37
|  |  | 13:00 - 14:00 | 291.15
|  |  | 14:00 - 15:00 | 297.54
|  |  | 15:00 - 16:00 | 297.43
|  |  | 16:00 - 17:00 | 612.6
|  |  | 17:00 - 18:00 | 735.05
|  |  | 18:00 - 19:00 | 807.4
|  |  | 19:00 - 20:00 | 865.67
|  |  | 20:00 - 21:00 | 804.03
|  |  | 21:00 - 22:00 | 680.51
|  |  | 22:00 - 23:00 | 490.82
|  |  | 23:00 - 00:00 | 380.86
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0.014666 | 0 | 0 | 1.0169 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 2.7096 | 0 | 0 | 0 | 1.1358
7 | 0 | 2.241 | 0 | 84.2832 | 0 | 0.47545 | 0 | 96.1133
8 | 0 | 84.9333 | 0 | 84.3261 | 0 | 126.5827 | 0 | 97.1068
9 | 0 | 84.8774 | 0 | 84.3329 | 0 | 143.4855 | 0 | 139.3373
10 | 0 | 84.9042 | 0 | 84.3495 | 0 | 126.6175 | 0 | 143.5273
11 | 0 | 0.87285 | 0 | 84.3232 | 0 | 139.4487 | 0 | 1.3983
12 | 0 | 0 | 0 | 84.3533 | 0 | 139.8678 | 0 | 0
13 | 0 | 0 | 0 | 84.3637 | 0 | 136.4619 | 0 | 0
14 | 0 | 0 | 0 | 84.3414 | 0 | 115.07 | 0 | 0
15 | 0 | 0 | 0 | 84.3632 | 0 | 132.2034 | 0 | 0
16 | 0.14264 | 0.034535 | 0 | 84.3535 | 0 | 139.6236 | 0 | 0.95871
17 | 77.6288 | 81.3127 | 0 | 84.3128 | 0 | 141.1 | 0 | 102.2136
18 | 79.4897 | 84.924 | 0 | 84.3081 | 0 | 136.6368 | 0 | 121.0203
19 | 80.974 | 84.8824 | 0 | 87.544 | 0 | 126.8194 | 0 | 134.5693
20 | 81.5746 | 89.2225 | 0 | 88.88 | 0 | 141.1877 | 0 | 143.5997
21 | 79.4918 | 89.9494 | 0 | 89.3294 | 0 | 116.8182 | 0 | 143.5837
22 | 79.527 | 85.3401 | 0 | 84.7674 | 0 | 122.5414 | 0 | 127.4357
23 | 0.65239 | 84.8838 | 0 | 84.3216 | 0 | 126.3479 | 0 | 115.1633
24 | 0 | 84.9113 | 0 | 84.3078 | 0 | 129.0363 | 0 | 0.46516
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 479.4809 | 943.2895 | 0 | 1533.8707 | 0 | 2240.3243 | 0 | 1367.6284
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 530.9 | 9.7311
|  | 2 | 489.41 | 9.9924
|  | 3 | 481.9 | 9.3887
|  | 4 | 481.9 | 9.0782
|  | 5 | 484.9 | 8.3417
|  | 6 | 517.4 | 7.9218
|  | 7 | 624.85 | 9.3238
|  | 8 | 762.09 | 12.6784
|  | 9 | 809.67 | 14.747
|  | 10 | 851.18 | 17.5013
|  | 11 | 777.94 | 18.3018
|  | 12 | 772.9 | 20.0171
|  | 13 | 771.1 | 25.3223
|  | 14 | 788.91 | 25.4146
|  | 15 | 788.9 | 32.8699
|  | 16 | 779.47 | 26.9119
|  | 17 | 788.31 | 16.0535
|  | 18 | 823.49 | 12.6965
|  | 19 | 885.52 | 15.4461
|  | 20 | 947.72 | 16.7899
|  | 21 | 894.43 | 15.1816
|  | 22 | 805.31 | 14.3463
|  | 23 | 705.47 | 13.5308
|  | 24 | 609.53 | 12.3734
|  | 25 | 522.51 | 9.9816
|  | 26 | 492.92 | 8.8381
|  | 27 | 482.91 | 9.0463
|  | 28 | 476.74 | 7.4414
|  | 29 | 481.97 | 7.4989
|  | 30 | 510.85 | 7.1874
|  | 31 | 627.84 | 9.3716
|  | 32 | 772.84 | 12.6594
|  | 33 | 800.99 | 14.6828
|  | 34 | 788.18 | 16.1655
|  | 35 | 774.98 | 19.768
|  | 36 | 767.65 | 17.9418
|  | 37 | 765.82 | 16.3379
|  | 38 | 786.38 | 18.5539
|  | 39 | 781.32 | 17.888
|  | 40 | 771.06 | 13.615
|  | 41 | 780.53 | 13.4063
|  | 42 | 813.01 | 14.3578
|  | 43 | 873.11 | 15.4361
|  | 44 | 931.67 | 17.7151
|  | 45 | 876.13 | 17.1877
|  | 46 | 789.81 | 15.6741
|  | 47 | 692.6 | 13.6718
|  | 48 | 593.58 | 13.7337
|  | 49 | 534.32 | 9.1219
|  | 50 | 495.71 | 9.1607
|  | 51 | 493.72 | 9.6077
|  | 52 | 493.27 | 9.7284
|  | 53 | 494.74 | 9.1795
|  | 54 | 524.97 | 10.1545
|  | 55 | 639.9 | 11.4203
|  | 56 | 781.7 | 7.7053
|  | 57 | 815.6 | 14.6362
|  | 58 | 809.03 | 17.5731
|  | 59 | 784.11 | 16.8447
|  | 60 | 777.92 | 16.0776
|  | 61 | 772.57 | 14.3819
|  | 62 | 790.85 | 15.7193
|  | 63 | 785.88 | 15.24
|  | 64 | 781.11 | 11.4819
|  | 65 | 792.17 | 16.5281
|  | 66 | 833.86 | 18.1745
|  | 67 | 896.99 | 20.7377
|  | 68 | 951.32 | 19.675
|  | 69 | 895.66 | 23.9294
|  | 70 | 808.4 | 16.7985
|  | 71 | 706.12 | 14.2363
|  | 72 | 606.31 | 12.5063
|  | 73 | 543.92 | 12.6209
|  | 74 | 504.92 | 9.3037
|  | 75 | 488.09 | 10.4687
|  | 76 | 485.51 | 11.0423
|  | 77 | 490.12 | 16.0108
|  | 78 | 533.99 | 8.8953
|  | 79 | 650.07 | 5.7864
|  | 80 | 790.36 | 12.9207
|  | 81 | 823.56 | 14.612
|  | 82 | 808.43 | 14.2399
|  | 83 | 781.3 | 15.5513
|  | 84 | 775.05 | 16.6088
|  | 85 | 761.37 | 13.6314
|  | 86 | 773.15 | 18.3863
|  | 87 | 779.54 | 17.4577
|  | 88 | 779.43 | 14.0448
|  | 89 | 790.6 | 14.4397
|  | 90 | 836.05 | 12.9374
|  | 91 | 909.4 | 17.4026
|  | 92 | 960.67 | 19.0326
|  | 93 | 901.03 | 19.457
|  | 94 | 813.51 | 17.8594
|  | 95 | 716.82 | 15.7951
|  | 96 | 617.86 | 13.3031
|  | 97 | 527.91 | 11.7849
|  | 98 | 491.82 | 11.1183
|  | 99 | 477.01 | 11.3268
|  | 100 | 472.29 | 12.9133
|  | 101 | 477.51 | 13.4827
|  | 102 | 519.8 | 14.8643
|  | 103 | 636.89 | 16.2696
|  | 104 | 784.18 | 14.8489
|  | 105 | 812.45 | 12.8011
|  | 106 | 797.66 | 15.1462
|  | 107 | 776.2 | 18.2462
|  | 108 | 772.06 | 14.5472
|  | 109 | 802.42 | 12.4626
|  | 110 | 809.07 | 15.1436
|  | 111 | 815 | 11.1432
|  | 112 | 815.35 | 12.763
|  | 113 | 812.28 | 14.4406
|  | 114 | 846.96 | 15.6089
|  | 115 | 917.77 | 15.5916
|  | 116 | 943.93 | 16.0972
|  | 117 | 884.9 | 14.7415
|  | 118 | 797.56 | 12.9697
|  | 119 | 704.03 | 11.1957
|  | 120 | 602.48 | 9.7862
|  | 121 | 534.27 | 9.6133
|  | 122 | 498.61 | 8.8699
|  | 123 | 484.26 | 8.3574
|  | 124 | 478.49 | 8.2626
|  | 125 | 481.72 | 8.2099
|  | 126 | 526.57 | 7.6855
|  | 127 | 614.69 | 8.8933
|  | 128 | 744.11 | 12.9277
|  | 129 | 825.2 | 21.0734
|  | 130 | 829.69 | 23.9046
|  | 131 | 823.05 | 26.1528
|  | 132 | 822.53 | 28.3574
|  | 133 | 814.53 | 27.6882
|  | 134 | 815.69 | 24.67
|  | 135 | 795.43 | 22.4717
|  | 136 | 777.96 | 17.1455
|  | 137 | 792.32 | 14.6373
|  | 138 | 834.14 | 16.1066
|  | 139 | 887.69 | 16.6473
|  | 140 | 928.76 | 18.2172
|  | 141 | 867.01 | 19.161
|  | 142 | 783.03 | 17.4961
|  | 143 | 692.5 | 12.734
|  | 144 | 607.82 | 12.5883
|  | 145 | 557.07 | 9.8447
|  | 146 | 520.11 | 10.7768
|  | 147 | 505.06 | 10.3133
|  | 148 | 502.19 | 10.0844
|  | 149 | 502.52 | 10.5526
|  | 150 | 528.07 | 12.6326
|  | 151 | 593.99 | 11.2732
|  | 152 | 702.21 | 14.3882
|  | 153 | 784.7 | 20.0401
|  | 154 | 799.89 | 16.5663
|  | 155 | 795.55 | 15.4308
|  | 156 | 793.83 | 19.5622
|  | 157 | 797.63 | 20.112
|  | 158 | 785.39 | 15.7056
|  | 159 | 750.23 | 14.0921
|  | 160 | 743.46 | 13.9912
|  | 161 | 777.12 | 11.9435
|  | 162 | 839.84 | 14.6039
|  | 163 | 916.99 | 16.9181
|  | 164 | 979.56 | 16.7153
|  | 165 | 925.31 | 16.8467
|  | 166 | 837.03 | 12.708
|  | 167 | 726.5 | 10.8174
|  | 168 | 627.82 | 8.6706
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 02/10/2023 | 03/10/2023 | 04/10/2023 | 05/10/2023 | 06/10/2023 | 07/10/2023 | 08/10/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible

## Publikime EN
Albania Transmission System Operator
2023-10-06
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 17298 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 02/10/2023 | 03/10/2023 | 04/10/2023 | 05/10/2023 | 06/10/2023 | 07/10/2023 | 08/10/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-10-04
|  | Hour | Production | Exchange | Consumption
|  | 1 | 84.2643 | -447.723 | 531.9873
|  | 2 | 80.5668 | -415.809 | 496.3758
|  | 3 | 90.7971 | -387.023 | 477.8201
|  | 4 | 84.6093 | -386.903 | 471.5123
|  | 5 | 85.2337 | -392.059 | 477.2927
|  | 6 | 95.4528 | -427.687 | 523.1398
|  | 7 | 373.0768 | -277.847 | 650.9238
|  | 8 | 655.6892 | -133.421 | 789.1102
|  | 9 | 724.1759 | -97.221 | 821.3969
|  | 10 | 689.8707 | -112.526 | 802.3967
|  | 11 | 329.9017 | -449.522 | 779.4237
|  | 12 | 321.6949 | -459.095 | 780.7899
|  | 13 | 311.5366 | -460.254 | 771.7906
|  | 14 | 300.2921 | -482.156 | 782.4481
|  | 15 | 313.3203 | -469.765 | 783.0853
|  | 16 | 314.0822 | -461.069 | 775.1512
|  | 17 | 624.7145 | -171.563 | 796.2775
|  | 18 | 673.9769 | -171.32 | 845.2969
|  | 19 | 811.7285 | -110.912 | 922.6405
|  | 20 | 879.8864 | -84.978 | 964.8644
|  | 21 | 823.3951 | -85.292 | 908.6871
|  | 22 | 585.6263 | -231.31 | 816.9363
|  | 23 | 492.8362 | -225.654 | 718.4902
|  | 24 | 373.7792 | -244.503 | 618.2822
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 26.9644 | -44.2136 | -107.0618 | -193.5779 | -129.3869 | 18.1717
2 | 29.4835 | -58.6702 | -91.423 | -211.0736 | -100.1468 | 27.704
3 | 27.5549 | -62.1262 | -71.3145 | -214.6347 | -65.0496 | 18.5717
4 | 30.719 | -64.2111 | -73.5867 | -215.1895 | -72.0357 | 31.5993
5 | 29.2426 | -69.8888 | -93.3301 | -216.3862 | -105.4825 | 53.5075
6 | 26.506 | -47.0358 | -111.4729 | -186.5461 | -149.0684 | 98.075
7 | -3.8105 | -8.0238 | -34.7585 | -125.2307 | 18.1064 | -108.1389
8 | 4.7997 | 27.692 | -11.8558 | -110.98 | 37.0057 | -95.8326
9 | -7.5235 | 47.0259 | 28.5144 | -95.9648 | 130.239 | -228.6318
10 | -14.5839 | 44.8282 | 31.2657 | -113.4379 | 153.3128 | -285.1895
11 | -27.2204 | 2.2751 | 13.5057 | -167.0345 | 160.0166 | -421.5446
12 | -27.5711 | -7.586 | 7.5115 | -185.7559 | 149.8614 | -390.9956
13 | -25.3745 | -9.7347 | -3.8288 | -182.2109 | 126.6021 | -359.7396
14 | -36.7805 | -3.2409 | 20.942 | -159.0414 | 188.1923 | -465.1793
15 | -30.6977 | -2.7988 | 0.50561 | -154.1321 | 139.8862 | -410.3299
16 | -30.5787 | -1.0098 | -17.2976 | -149.8678 | 114.9228 | -368.2964
17 | -14.3928 | 62.3554 | -13.8925 | -78.495 | 68.3666 | -187.7467
18 | -18.3027 | 79.8904 | -23.9089 | -24.2533 | 23.5173 | -121.8567
19 | -11.1373 | 102.8122 | -52.274 | 45.0487 | -115.5195 | -29.0239
20 | -12.1495 | 109.2691 | -21.7016 | 43.2553 | -47.2712 | -64.5533
21 | 13.2732 | 68.3503 | -49.9066 | -61.4896 | -58.9774 | 1.6373
22 | 13.5589 | 56.0737 | -69.9757 | -85.1558 | -66.9715 | 33.9733
23 | 17.2503 | 26.6538 | -73.6814 | -129.5788 | -73.2211 | 33.1269
24 | 19.05 | 10.9227 | -56.8089 | -156.4964 | -39.0244 | -5.8164
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-10-06
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 112.91
|  |  | 01:00 - 02:00 | 103.82
|  |  | 02:00 - 03:00 | 87.01
|  |  | 03:00 - 04:00 | 78.29
|  |  | 04:00 - 05:00 | 83.51
|  |  | 05:00 - 06:00 | 126.8
|  |  | 06:00 - 07:00 | 335.89
|  |  | 07:00 - 08:00 | 597.18
|  |  | 08:00 - 09:00 | 638.45
|  |  | 09:00 - 10:00 | 600.66
|  |  | 10:00 - 11:00 | 313.2
|  |  | 11:00 - 12:00 | 309.06
|  |  | 12:00 - 13:00 | 338.42
|  |  | 13:00 - 14:00 | 346.07
|  |  | 14:00 - 15:00 | 352
|  |  | 15:00 - 16:00 | 342.35
|  |  | 16:00 - 17:00 | 637.28
|  |  | 17:00 - 18:00 | 662.96
|  |  | 18:00 - 19:00 | 817.77
|  |  | 19:00 - 20:00 | 856.93
|  |  | 20:00 - 21:00 | 795.9
|  |  | 21:00 - 22:00 | 697.56
|  |  | 22:00 - 23:00 | 510.03
|  |  | 23:00 - 00:00 | 357.48
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0.5819 | 0 | 10.4612 | 0 | 0.37717 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 51.6903 | 0 | 0 | 0 | 0 | 0.8803 | 0
7 | 0 | 79.9762 | 0 | 1.0126 | 0 | 0 | 92.0794 | 0.92784
8 | 0 | 84.9001 | 0 | 83.7834 | 0 | 0 | 116.5045 | 123.9826
9 | 0 | 88.5888 | 0 | 87.9705 | 0 | 0 | 143.9176 | 130.7078
10 | 0 | 84.9948 | 0 | 84.445 | 0 | 0 | 138.853 | 122.5048
11 | 0 | 84.8812 | 0 | 0.7541 | 0 | 0 | 1.3408 | 131.8908
12 | 0 | 84.8985 | 0 | 0 | 0 | 0 | 0 | 137.3766
13 | 0 | 84.871 | 0 | 0 | 0 | 0 | 0 | 133.7245
14 | 0 | 81.9793 | 0 | 0 | 0 | 0 | 0 | 143.3389
15 | 0 | 84.2733 | 0 | 0 | 0 | 0 | 0 | 142.9738
16 | 0.9554 | 83.9395 | 0 | 0.4421 | 0 | 0 | 1.7737 | 139.3405
17 | 79.313 | 80.0276 | 0 | 83.4307 | 0 | 0 | 105.1866 | 135.6135
18 | 79.5107 | 79.9542 | 0 | 84.3275 | 0 | 0 | 100.238 | 132.423
19 | 79.497 | 79.9251 | 0 | 84.3258 | 26.8035 | 0 | 134.8869 | 126.2677
20 | 79.4618 | 79.9036 | 0 | 89.1475 | 74.9265 | 0 | 143.9095 | 135.0164
21 | 79.4774 | 79.9185 | 0 | 89.2994 | 0 | 0 | 104.4727 | 116.8856
22 | 79.4892 | 79.8984 | 0 | 89.2932 | 0 | 0 | 116.1224 | 119.4343
23 | 0.73092 | 79.8729 | 0 | 89.3096 | 0 | 0 | 94.4417 | 140.1239
24 | 0 | 79.8854 | 0 | 84.3374 | 0 | 0 | 0.86469 | 120.7968
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 478.4354 | 1534.379 | 0 | 951.8789 | 101.73 | 0 | 1295.4719 | 2233.3294
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 530.9 | 11.4683
|  | 2 | 489.41 | 11.5248
|  | 3 | 481.9 | 10.84
|  | 4 | 481.9 | 10.2065
|  | 5 | 484.9 | 9.4602
|  | 6 | 517.4 | 9.4574
|  | 7 | 624.85 | 10.0687
|  | 8 | 762.09 | 13.0735
|  | 9 | 809.67 | 20.0163
|  | 10 | 851.18 | 24.9641
|  | 11 | 777.94 | 21.1473
|  | 12 | 772.9 | 19.009
|  | 13 | 771.1 | 17.1536
|  | 14 | 788.91 | 13.8266
|  | 15 | 788.9 | 11.5013
|  | 16 | 779.47 | 12.4198
|  | 17 | 788.31 | 14.1277
|  | 18 | 823.49 | 14.4879
|  | 19 | 885.52 | 18.5159
|  | 20 | 947.72 | 20.6713
|  | 21 | 894.43 | 18.4134
|  | 22 | 805.31 | 15.691
|  | 23 | 705.47 | 14.0488
|  | 24 | 609.53 | 11.2044
|  | 25 | 522.51 | 9.7311
|  | 26 | 492.92 | 9.9924
|  | 27 | 482.91 | 9.3887
|  | 28 | 476.74 | 9.0782
|  | 29 | 481.97 | 8.3417
|  | 30 | 510.85 | 7.9218
|  | 31 | 627.84 | 9.3238
|  | 32 | 772.84 | 12.6784
|  | 33 | 800.99 | 14.747
|  | 34 | 788.18 | 17.5013
|  | 35 | 774.98 | 18.3018
|  | 36 | 767.65 | 20.0171
|  | 37 | 765.82 | 25.3223
|  | 38 | 786.38 | 25.4146
|  | 39 | 781.32 | 32.8699
|  | 40 | 771.06 | 26.9119
|  | 41 | 780.53 | 16.0535
|  | 42 | 813.01 | 12.6965
|  | 43 | 873.11 | 15.4461
|  | 44 | 931.67 | 16.7899
|  | 45 | 876.13 | 15.1816
|  | 46 | 789.81 | 14.3463
|  | 47 | 692.6 | 13.5308
|  | 48 | 593.58 | 12.3734
|  | 49 | 534.32 | 9.9816
|  | 50 | 495.71 | 8.8381
|  | 51 | 493.72 | 9.0463
|  | 52 | 493.27 | 7.4414
|  | 53 | 494.74 | 7.4989
|  | 54 | 524.97 | 7.1874
|  | 55 | 639.9 | 9.3716
|  | 56 | 781.7 | 12.6594
|  | 57 | 815.6 | 14.6828
|  | 58 | 809.03 | 16.1655
|  | 59 | 784.11 | 19.768
|  | 60 | 777.92 | 17.9418
|  | 61 | 772.57 | 16.3379
|  | 62 | 790.85 | 18.5539
|  | 63 | 785.88 | 17.888
|  | 64 | 781.11 | 13.615
|  | 65 | 792.17 | 13.4063
|  | 66 | 833.86 | 14.3578
|  | 67 | 896.99 | 15.4361
|  | 68 | 951.32 | 17.7151
|  | 69 | 895.66 | 17.1877
|  | 70 | 808.4 | 15.6741
|  | 71 | 706.12 | 13.6718
|  | 72 | 606.31 | 13.7337
|  | 73 | 543.92 | 9.1219
|  | 74 | 504.92 | 9.1607
|  | 75 | 488.09 | 9.6077
|  | 76 | 485.51 | 9.7284
|  | 77 | 490.12 | 9.1795
|  | 78 | 533.99 | 10.1545
|  | 79 | 650.07 | 11.4203
|  | 80 | 790.36 | 7.7053
|  | 81 | 823.56 | 14.6362
|  | 82 | 808.43 | 17.5731
|  | 83 | 781.3 | 16.8447
|  | 84 | 775.05 | 16.0776
|  | 85 | 761.37 | 14.3819
|  | 86 | 773.15 | 15.7193
|  | 87 | 779.54 | 15.24
|  | 88 | 779.43 | 11.4819
|  | 89 | 790.6 | 16.5281
|  | 90 | 836.05 | 18.1745
|  | 91 | 909.4 | 20.7377
|  | 92 | 960.67 | 19.675
|  | 93 | 901.03 | 23.9294
|  | 94 | 813.51 | 16.7985
|  | 95 | 716.82 | 14.2363
|  | 96 | 617.86 | 12.5063
|  | 97 | 527.91 | 12.6209
|  | 98 | 491.82 | 9.3037
|  | 99 | 477.01 | 10.4687
|  | 100 | 472.29 | 11.0423
|  | 101 | 477.51 | 16.0108
|  | 102 | 519.8 | 8.8953
|  | 103 | 636.89 | 5.7864
|  | 104 | 784.18 | 12.9207
|  | 105 | 812.45 | 14.612
|  | 106 | 797.66 | 14.2399
|  | 107 | 776.2 | 15.5513
|  | 108 | 772.06 | 16.6088
|  | 109 | 802.42 | 13.6314
|  | 110 | 809.07 | 18.3863
|  | 111 | 815 | 17.4577
|  | 112 | 815.35 | 14.0448
|  | 113 | 812.28 | 14.4397
|  | 114 | 846.96 | 12.9374
|  | 115 | 917.77 | 17.4026
|  | 116 | 943.93 | 19.0326
|  | 117 | 884.9 | 19.457
|  | 118 | 797.56 | 17.8594
|  | 119 | 704.03 | 15.7951
|  | 120 | 602.48 | 13.3031
|  | 121 | 534.27 | 11.7849
|  | 122 | 498.61 | 11.1183
|  | 123 | 484.26 | 11.3268
|  | 124 | 478.49 | 12.9133
|  | 125 | 481.72 | 13.4827
|  | 126 | 526.57 | 14.8643
|  | 127 | 614.69 | 16.2696
|  | 128 | 744.11 | 14.8489
|  | 129 | 825.2 | 12.8011
|  | 130 | 829.69 | 15.1462
|  | 131 | 823.05 | 18.2462
|  | 132 | 822.53 | 14.5472
|  | 133 | 814.53 | 12.4626
|  | 134 | 815.69 | 15.1436
|  | 135 | 795.43 | 11.1432
|  | 136 | 777.96 | 12.763
|  | 137 | 792.32 | 14.4406
|  | 138 | 834.14 | 15.6089
|  | 139 | 887.69 | 15.5916
|  | 140 | 928.76 | 16.0972
|  | 141 | 867.01 | 14.7415
|  | 142 | 783.03 | 12.9697
|  | 143 | 692.5 | 11.1957
|  | 144 | 607.82 | 9.7862
|  | 145 | 557.07 | 0
|  | 146 | 520.11 | 0
|  | 147 | 505.06 | 0
|  | 148 | 502.19 | 0
|  | 149 | 502.52 | 0
|  | 150 | 528.07 | 0
|  | 151 | 593.99 | 0
|  | 152 | 702.21 | 0
|  | 153 | 784.7 | 0
|  | 154 | 799.89 | 0
|  | 155 | 795.55 | 0
|  | 156 | 793.83 | 0
|  | 157 | 797.63 | 0
|  | 158 | 785.39 | 0
|  | 159 | 750.23 | 0
|  | 160 | 743.46 | 0
|  | 161 | 777.12 | 0
|  | 162 | 839.84 | 0
|  | 163 | 916.99 | 0
|  | 164 | 979.56 | 0
|  | 165 | 925.31 | 0
|  | 166 | 837.03 | 0
|  | 167 | 726.5 | 0
|  | 168 | 627.82 | 0
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 02/10/2023 | 03/10/2023 | 04/10/2023 | 05/10/2023 | 06/10/2023 | 07/10/2023 | 08/10/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible