## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-10-11
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 16733 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 09/10/2023 | 10/10/2023 | 11/10/2023 | 12/10/2023 | 13/10/2023 | 14/10/2023 | 15/10/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-10-09
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 88.2358 | -423.992 | 512.2278
|  | 2 | 86.4508 | -387.288 | 473.7388
|  | 3 | 88.1669 | -368.478 | 456.6449
|  | 4 | 86.8588 | -364.982 | 451.8408
|  | 5 | 87.3441 | -372.391 | 459.7351
|  | 6 | 102.9302 | -401.147 | 504.0772
|  | 7 | 342.2278 | -282.05 | 624.2778
|  | 8 | 616.5797 | -156.123 | 772.7027
|  | 9 | 694.7384 | -109.647 | 804.3854
|  | 10 | 673.1028 | -113.811 | 786.9138
|  | 11 | 392.764 | -374.678 | 767.442
|  | 12 | 331.7086 | -432.785 | 764.4936
|  | 13 | 331.9407 | -435.27 | 767.2107
|  | 14 | 374.6421 | -403.774 | 778.4161
|  | 15 | 396.7476 | -378.422 | 775.1696
|  | 16 | 388.4529 | -378.904 | 767.3569
|  | 17 | 655.2848 | -112.652 | 767.9368
|  | 18 | 790.4341 | -22.767 | 813.2011
|  | 19 | 966.0093 | 74.355 | 891.6543
|  | 20 | 1018.4491 | 95.859 | 922.5901
|  | 21 | 955.9861 | 89.567 | 866.4191
|  | 22 | 754.1644 | -31.4 | 785.5644
|  | 23 | 556.3989 | -127.945 | 684.3439
|  | 24 | 448.8835 | -132.657 | 581.5405
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 6.6322 | -30.0004 | -76.6683 | -155.3707 | -42.293 | -71.7361
2 | 25.3111 | -51.1496 | -90.807 | -187.4719 | -79.4895 | 4.7455
3 | 21.0705 | -58.6837 | -74.2083 | -192.8522 | -38.9652 | -46.7854
4 | 22.9103 | -57.615 | -90.5689 | -181.7368 | -77.7719 | -0.89414
5 | 23.7186 | -57.1963 | -97.727 | -179.4272 | -91.1501 | 13.7888
6 | 24.3374 | -38.291 | -112.7854 | -145.4036 | -147.0309 | 83.0476
7 | -3.2016 | 24.2808 | -43.5228 | -37.2976 | -0.32256 | -80.369
8 | -16.1484 | 69.7277 | -6.7461 | 19.0246 | 32.8581 | -137.2338
9 | -18.2688 | 93.6587 | 15.1347 | 13.4282 | 66.8291 | -169.2743
10 | -6.2684 | 86.6546 | 21.9447 | -54.132 | 128.5133 | -179.3756
11 | -21.7931 | 16.6565 | -10.3557 | -219.9698 | 167.8199 | -299.0312
12 | -32.3505 | 8.9243 | 33.1505 | -253.229 | 272.2299 | -399.3241
13 | -37.5537 | 6.8444 | 36.4939 | -250.1711 | 279.7133 | -407.0733
14 | -38.5144 | 8.1132 | 50.3147 | -249.684 | 308.1389 | -448.5919
15 | -36.3884 | 13.2197 | 18.294 | -218.3634 | 224.8082 | -371.3207
16 | -19.8645 | 22.7913 | -52.0047 | -159.7382 | 50.3866 | -213.3089
17 | -10.9488 | 83.2313 | -58.0192 | -29.0239 | -36.1455 | -70.6123
18 | -2.8189 | 109.9362 | -47.528 | 45.4423 | -52.631 | 16.3577
19 | -6.3835 | 125.9739 | -55.902 | 59.3059 | -48.6286 | 6.3402
20 | -0.49763 | 122.8338 | -56.4193 | 40.2136 | -40.699 | 32.7902
21 | 8.0678 | 109.6523 | -48.8709 | 15.7409 | -26.9714 | 36.5512
22 | -2.8844 | 79.6356 | -42.4303 | -16.8989 | 4.7954 | -35.6932
23 | -7.8602 | 62.735 | -50.1862 | -47.9131 | -0.88166 | -86.6099
24 | 9.8234 | 52.8491 | -75.4917 | -63.6798 | -67.3747 | 21.3109
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-10-11
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 122.87
|  |  | 01:00 - 02:00 | 87.86
|  |  | 02:00 - 03:00 | 79.88
|  |  | 03:00 - 04:00 | 74.07
|  |  | 04:00 - 05:00 | 75.76
|  |  | 05:00 - 06:00 | 146.26
|  |  | 06:00 - 07:00 | 624.24
|  |  | 07:00 - 08:00 | 767.83
|  |  | 08:00 - 09:00 | 807.48
|  |  | 09:00 - 10:00 | 723.59
|  |  | 10:00 - 11:00 | 363.21
|  |  | 11:00 - 12:00 | 335.93
|  |  | 12:00 - 13:00 | 325.08
|  |  | 13:00 - 14:00 | 341.9
|  |  | 14:00 - 15:00 | 363.51
|  |  | 15:00 - 16:00 | 352.51
|  |  | 16:00 - 17:00 | 651.18
|  |  | 17:00 - 18:00 | 677.64
|  |  | 18:00 - 19:00 | 941.33
|  |  | 19:00 - 20:00 | 1006.5
|  |  | 20:00 - 21:00 | 953.24
|  |  | 21:00 - 22:00 | 621.63
|  |  | 22:00 - 23:00 | 523.37
|  |  | 23:00 - 00:00 | 397.23
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 2.2886 | 0 | 0.48219 | 0.65641 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 2.1861 | 0 | 1.0669 | 0 | 0
7 | 0 | 4.1398 | 0 | 84.2636 | 0 | 105.6702 | 0 | 1.0059
8 | 1.5042 | 84.8557 | 0 | 84.3166 | 0 | 139.7563 | 0 | 129.0001
9 | 79.4362 | 84.8722 | 0 | 89.1539 | 0 | 136.9079 | 0 | 130.1384
10 | 79.471 | 84.8843 | 0 | 89.315 | 0 | 113.148 | 0 | 128.9533
11 | 79.4741 | 81.9994 | 0 | 2.2708 | 0 | 0.9211 | 0 | 126.1598
12 | 79.4783 | 79.9471 | 0 | 0 | 0 | 0 | 0 | 117.8532
13 | 77.128 | 79.5119 | 0 | 0 | 0 | 0 | 0 | 108.4453
14 | 76.9549 | 77.941 | 0 | 0 | 0 | 0 | 0 | 130.9704
15 | 79.6068 | 81.9519 | 0 | 0 | 0 | 0 | 0 | 135.644
16 | 79.5147 | 84.9257 | 0 | 1.8275 | 0.27143 | 1.1084 | 0 | 129.8659
17 | 79.5791 | 84.9505 | 0 | 84.3376 | 89.1745 | 101.2588 | 0 | 126.5331
18 | 75.7326 | 80.0157 | 0 | 84.3753 | 128.8358 | 116.0749 | 0.78698 | 117.4068
19 | 74.535 | 79.9377 | 0 | 84.3883 | 109.2315 | 101.2702 | 108.8884 | 129.1477
20 | 75.0601 | 79.9408 | 0 | 83.8012 | 135.4737 | 132.8009 | 109.156 | 101.6864
21 | 77.4703 | 79.889 | 0 | 81.3773 | 99.4794 | 110.1949 | 99.2637 | 114.1315
22 | 77.4772 | 0.14358 | 0 | 81.396 | 99.2307 | 97.2806 | 99.2364 | 123.515
23 | 77.4824 | 0 | 0 | 81.3865 | 0.49603 | 97.2448 | 99.2293 | 121.2655
24 | 77.4497 | 0 | 0 | 81.18 | 0 | 99.2289 | 0.69721 | 120.2049
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1247.3546 | 1149.9062 | 0 | 1017.8643 | 662.1931 | 1354.415 | 517.9143 | 2091.9271
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 81.97 | 7.602
|  | 2 | 86.01 | 8.1785
|  | 3 | 77.76 | 8.4025
|  | 4 | 72.49 | 8.8038
|  | 5 | 77.22 | 8.073
|  | 6 | 98.57 | 9.4151
|  | 7 | 330.19 | 10.6878
|  | 8 | 601.31 | 13.3539
|  | 9 | 672.8 | 16.8366
|  | 10 | 659.29 | 19.9392
|  | 11 | 370.95 | 23.7166
|  | 12 | 314.43 | 30.3263
|  | 13 | 305.53 | 29.8437
|  | 14 | 342.49 | 27.2626
|  | 15 | 368.93 | 26.553
|  | 16 | 369.36 | 18.3541
|  | 17 | 643.92 | 12.8413
|  | 18 | 789.14 | 12.9096
|  | 19 | 947.29 | 14.728
|  | 20 | 1003.06 | 19.0835
|  | 21 | 944.71 | 19.431
|  | 22 | 756.33 | 16.0574
|  | 23 | 546.3 | 15.1504
|  | 24 | 444.92 | 11.3347
|  | 25 | 148.66 | 8.5477
|  | 26 | 115.11 | 10.053
|  | 27 | 85.3 | 9.1704
|  | 28 | 79.55 | 9.635
|  | 29 | 86.91 | 9.9613
|  | 30 | 161.77 | 11.2859
|  | 31 | 483.39 | 10.0983
|  | 32 | 728.33 | 12.429
|  | 33 | 796.51 | 13.582
|  | 34 | 778.7 | 13.9795
|  | 35 | 384.19 | 14.0667
|  | 36 | 377.07 | 16.7816
|  | 37 | 371.84 | 17.0393
|  | 38 | 375.25 | 20.2353
|  | 39 | 377.18 | 16.1049
|  | 40 | 375.96 | 12.0465
|  | 41 | 650.98 | 13.7749
|  | 42 | 889.29 | 16.132
|  | 43 | 965.08 | 18.8995
|  | 44 | 1020.72 | 20.0448
|  | 45 | 964.9 | 18.0589
|  | 46 | 769.67 | 13.9843
|  | 47 | 557.23 | 11.5598
|  | 48 | 458.35 | 10.7765
|  | 49 | 122.87 | 9.8134
|  | 50 | 87.86 | 8.7379
|  | 51 | 79.88 | 7.7556
|  | 52 | 74.07 | 7.7503
|  | 53 | 75.76 | 7.5247
|  | 54 | 146.26 | 8.0833
|  | 55 | 624.24 | 10.2409
|  | 56 | 767.83 | 14.0113
|  | 57 | 807.48 | 16.8268
|  | 58 | 723.59 | 15.7083
|  | 59 | 363.21 | 18.345
|  | 60 | 335.93 | 18.5302
|  | 61 | 325.08 | 19.0004
|  | 62 | 341.9 | 18.2786
|  | 63 | 363.51 | 19.3925
|  | 64 | 352.51 | 18.1131
|  | 65 | 651.18 | 20.1835
|  | 66 | 677.64 | 16.7722
|  | 67 | 941.33 | 16.7131
|  | 68 | 1006.5 | 18.106
|  | 69 | 953.24 | 16.577
|  | 70 | 621.63 | 15.1991
|  | 71 | 523.37 | 13.6766
|  | 72 | 397.23 | 11.4249
|  | 73 | 114.92 | 12.6209
|  | 74 | 96.92 | 9.3037
|  | 75 | 109.09 | 10.4687
|  | 76 | 106.51 | 11.0423
|  | 77 | 85.12 | 16.0108
|  | 78 | 152.99 | 8.8953
|  | 79 | 372.07 | 5.7864
|  | 80 | 621.36 | 12.9207
|  | 81 | 674.56 | 14.612
|  | 82 | 602.43 | 14.2399
|  | 83 | 314.3 | 15.5513
|  | 84 | 293.05 | 16.6088
|  | 85 | 279.37 | 13.6314
|  | 86 | 291.15 | 18.3863
|  | 87 | 297.54 | 17.4577
|  | 88 | 297.43 | 14.0448
|  | 89 | 612.6 | 14.4397
|  | 90 | 735.05 | 12.9374
|  | 91 | 807.4 | 17.4026
|  | 92 | 865.67 | 19.0326
|  | 93 | 804.03 | 19.457
|  | 94 | 680.51 | 17.8594
|  | 95 | 490.82 | 15.7951
|  | 96 | 380.86 | 13.3031
|  | 97 | 112.91 | 11.7849
|  | 98 | 103.82 | 11.1183
|  | 99 | 87.01 | 11.3268
|  | 100 | 78.29 | 12.9133
|  | 101 | 83.51 | 13.4827
|  | 102 | 126.8 | 14.8643
|  | 103 | 335.89 | 16.2696
|  | 104 | 597.18 | 14.8489
|  | 105 | 638.45 | 12.8011
|  | 106 | 600.66 | 15.1462
|  | 107 | 313.2 | 18.2462
|  | 108 | 309.06 | 14.5472
|  | 109 | 338.42 | 12.4626
|  | 110 | 346.07 | 15.1436
|  | 111 | 352 | 11.1432
|  | 112 | 342.35 | 12.763
|  | 113 | 637.28 | 14.4406
|  | 114 | 662.96 | 15.6089
|  | 115 | 817.77 | 15.5916
|  | 116 | 856.93 | 16.0972
|  | 117 | 795.9 | 14.7415
|  | 118 | 697.56 | 12.9697
|  | 119 | 510.03 | 11.1957
|  | 120 | 357.48 | 9.7862
|  | 121 | 89.27 | 9.6133
|  | 122 | 83.61 | 8.8699
|  | 123 | 89.26 | 8.3574
|  | 124 | 83.49 | 8.2626
|  | 125 | 86.72 | 8.2099
|  | 126 | 131.57 | 7.6855
|  | 127 | 269.69 | 8.8933
|  | 128 | 452.11 | 12.9277
|  | 129 | 593.2 | 21.0734
|  | 130 | 595.69 | 23.9046
|  | 131 | 342.05 | 26.1528
|  | 132 | 341.53 | 28.3574
|  | 133 | 333.53 | 27.6882
|  | 134 | 334.69 | 24.67
|  | 135 | 314.43 | 22.4717
|  | 136 | 296.96 | 17.1455
|  | 137 | 558.32 | 14.6373
|  | 138 | 619.14 | 16.1066
|  | 139 | 674.69 | 16.6473
|  | 140 | 728.76 | 18.2172
|  | 141 | 665.01 | 19.161
|  | 142 | 542.03 | 17.4961
|  | 143 | 447.5 | 12.734
|  | 144 | 362.82 | 12.5883
|  | 145 | 160.07 | 9.8447
|  | 146 | 124.11 | 10.7768
|  | 147 | 109.06 | 10.3133
|  | 148 | 106.19 | 10.0844
|  | 149 | 106.52 | 10.5526
|  | 150 | 132.07 | 12.6326
|  | 151 | 257.99 | 11.2732
|  | 152 | 403.21 | 14.3882
|  | 153 | 520.7 | 20.0401
|  | 154 | 564.89 | 16.5663
|  | 155 | 313.55 | 15.4308
|  | 156 | 311.83 | 19.5622
|  | 157 | 315.63 | 20.112
|  | 158 | 303.39 | 15.7056
|  | 159 | 268.23 | 14.0921
|  | 160 | 261.46 | 13.9912
|  | 161 | 542.12 | 11.9435
|  | 162 | 597.84 | 14.6039
|  | 163 | 726.99 | 16.9181
|  | 164 | 803.56 | 16.7153
|  | 165 | 749.31 | 16.8467
|  | 166 | 597.03 | 12.708
|  | 167 | 480.5 | 10.8174
|  | 168 | 381.82 | 8.6706
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 09/10/2023 | 10/10/2023 | 11/10/2023 | 12/10/2023 | 13/10/2023 | 14/10/2023 | 15/10/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-10-11
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 16733 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 09/10/2023 | 10/10/2023 | 11/10/2023 | 12/10/2023 | 13/10/2023 | 14/10/2023 | 15/10/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-10-09
|  | Hour | Production | Exchange | Consumption
|  | 1 | 88.2358 | -423.992 | 512.2278
|  | 2 | 86.4508 | -387.288 | 473.7388
|  | 3 | 88.1669 | -368.478 | 456.6449
|  | 4 | 86.8588 | -364.982 | 451.8408
|  | 5 | 87.3441 | -372.391 | 459.7351
|  | 6 | 102.9302 | -401.147 | 504.0772
|  | 7 | 342.2278 | -282.05 | 624.2778
|  | 8 | 616.5797 | -156.123 | 772.7027
|  | 9 | 694.7384 | -109.647 | 804.3854
|  | 10 | 673.1028 | -113.811 | 786.9138
|  | 11 | 392.764 | -374.678 | 767.442
|  | 12 | 331.7086 | -432.785 | 764.4936
|  | 13 | 331.9407 | -435.27 | 767.2107
|  | 14 | 374.6421 | -403.774 | 778.4161
|  | 15 | 396.7476 | -378.422 | 775.1696
|  | 16 | 388.4529 | -378.904 | 767.3569
|  | 17 | 655.2848 | -112.652 | 767.9368
|  | 18 | 790.4341 | -22.767 | 813.2011
|  | 19 | 966.0093 | 74.355 | 891.6543
|  | 20 | 1018.4491 | 95.859 | 922.5901
|  | 21 | 955.9861 | 89.567 | 866.4191
|  | 22 | 754.1644 | -31.4 | 785.5644
|  | 23 | 556.3989 | -127.945 | 684.3439
|  | 24 | 448.8835 | -132.657 | 581.5405
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 6.6322 | -30.0004 | -76.6683 | -155.3707 | -42.293 | -71.7361
2 | 25.3111 | -51.1496 | -90.807 | -187.4719 | -79.4895 | 4.7455
3 | 21.0705 | -58.6837 | -74.2083 | -192.8522 | -38.9652 | -46.7854
4 | 22.9103 | -57.615 | -90.5689 | -181.7368 | -77.7719 | -0.89414
5 | 23.7186 | -57.1963 | -97.727 | -179.4272 | -91.1501 | 13.7888
6 | 24.3374 | -38.291 | -112.7854 | -145.4036 | -147.0309 | 83.0476
7 | -3.2016 | 24.2808 | -43.5228 | -37.2976 | -0.32256 | -80.369
8 | -16.1484 | 69.7277 | -6.7461 | 19.0246 | 32.8581 | -137.2338
9 | -18.2688 | 93.6587 | 15.1347 | 13.4282 | 66.8291 | -169.2743
10 | -6.2684 | 86.6546 | 21.9447 | -54.132 | 128.5133 | -179.3756
11 | -21.7931 | 16.6565 | -10.3557 | -219.9698 | 167.8199 | -299.0312
12 | -32.3505 | 8.9243 | 33.1505 | -253.229 | 272.2299 | -399.3241
13 | -37.5537 | 6.8444 | 36.4939 | -250.1711 | 279.7133 | -407.0733
14 | -38.5144 | 8.1132 | 50.3147 | -249.684 | 308.1389 | -448.5919
15 | -36.3884 | 13.2197 | 18.294 | -218.3634 | 224.8082 | -371.3207
16 | -19.8645 | 22.7913 | -52.0047 | -159.7382 | 50.3866 | -213.3089
17 | -10.9488 | 83.2313 | -58.0192 | -29.0239 | -36.1455 | -70.6123
18 | -2.8189 | 109.9362 | -47.528 | 45.4423 | -52.631 | 16.3577
19 | -6.3835 | 125.9739 | -55.902 | 59.3059 | -48.6286 | 6.3402
20 | -0.49763 | 122.8338 | -56.4193 | 40.2136 | -40.699 | 32.7902
21 | 8.0678 | 109.6523 | -48.8709 | 15.7409 | -26.9714 | 36.5512
22 | -2.8844 | 79.6356 | -42.4303 | -16.8989 | 4.7954 | -35.6932
23 | -7.8602 | 62.735 | -50.1862 | -47.9131 | -0.88166 | -86.6099
24 | 9.8234 | 52.8491 | -75.4917 | -63.6798 | -67.3747 | 21.3109
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-10-11
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 122.87
|  |  | 01:00 - 02:00 | 87.86
|  |  | 02:00 - 03:00 | 79.88
|  |  | 03:00 - 04:00 | 74.07
|  |  | 04:00 - 05:00 | 75.76
|  |  | 05:00 - 06:00 | 146.26
|  |  | 06:00 - 07:00 | 624.24
|  |  | 07:00 - 08:00 | 767.83
|  |  | 08:00 - 09:00 | 807.48
|  |  | 09:00 - 10:00 | 723.59
|  |  | 10:00 - 11:00 | 363.21
|  |  | 11:00 - 12:00 | 335.93
|  |  | 12:00 - 13:00 | 325.08
|  |  | 13:00 - 14:00 | 341.9
|  |  | 14:00 - 15:00 | 363.51
|  |  | 15:00 - 16:00 | 352.51
|  |  | 16:00 - 17:00 | 651.18
|  |  | 17:00 - 18:00 | 677.64
|  |  | 18:00 - 19:00 | 941.33
|  |  | 19:00 - 20:00 | 1006.5
|  |  | 20:00 - 21:00 | 953.24
|  |  | 21:00 - 22:00 | 621.63
|  |  | 22:00 - 23:00 | 523.37
|  |  | 23:00 - 00:00 | 397.23
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 2.2886 | 0 | 0.48219 | 0.65641 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 2.1861 | 0 | 1.0669 | 0 | 0
7 | 0 | 4.1398 | 0 | 84.2636 | 0 | 105.6702 | 0 | 1.0059
8 | 1.5042 | 84.8557 | 0 | 84.3166 | 0 | 139.7563 | 0 | 129.0001
9 | 79.4362 | 84.8722 | 0 | 89.1539 | 0 | 136.9079 | 0 | 130.1384
10 | 79.471 | 84.8843 | 0 | 89.315 | 0 | 113.148 | 0 | 128.9533
11 | 79.4741 | 81.9994 | 0 | 2.2708 | 0 | 0.9211 | 0 | 126.1598
12 | 79.4783 | 79.9471 | 0 | 0 | 0 | 0 | 0 | 117.8532
13 | 77.128 | 79.5119 | 0 | 0 | 0 | 0 | 0 | 108.4453
14 | 76.9549 | 77.941 | 0 | 0 | 0 | 0 | 0 | 130.9704
15 | 79.6068 | 81.9519 | 0 | 0 | 0 | 0 | 0 | 135.644
16 | 79.5147 | 84.9257 | 0 | 1.8275 | 0.27143 | 1.1084 | 0 | 129.8659
17 | 79.5791 | 84.9505 | 0 | 84.3376 | 89.1745 | 101.2588 | 0 | 126.5331
18 | 75.7326 | 80.0157 | 0 | 84.3753 | 128.8358 | 116.0749 | 0.78698 | 117.4068
19 | 74.535 | 79.9377 | 0 | 84.3883 | 109.2315 | 101.2702 | 108.8884 | 129.1477
20 | 75.0601 | 79.9408 | 0 | 83.8012 | 135.4737 | 132.8009 | 109.156 | 101.6864
21 | 77.4703 | 79.889 | 0 | 81.3773 | 99.4794 | 110.1949 | 99.2637 | 114.1315
22 | 77.4772 | 0.14358 | 0 | 81.396 | 99.2307 | 97.2806 | 99.2364 | 123.515
23 | 77.4824 | 0 | 0 | 81.3865 | 0.49603 | 97.2448 | 99.2293 | 121.2655
24 | 77.4497 | 0 | 0 | 81.18 | 0 | 99.2289 | 0.69721 | 120.2049
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1247.3546 | 1149.9062 | 0 | 1015.5757 | 662.1931 | 1353.9328 | 517.2579 | 2091.9271
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 81.97 | 7.602
|  | 2 | 86.01 | 8.1785
|  | 3 | 77.76 | 8.4025
|  | 4 | 72.49 | 8.8038
|  | 5 | 77.22 | 8.073
|  | 6 | 98.57 | 9.4151
|  | 7 | 330.19 | 10.6878
|  | 8 | 601.31 | 13.3539
|  | 9 | 672.8 | 16.8366
|  | 10 | 659.29 | 19.9392
|  | 11 | 370.95 | 23.7166
|  | 12 | 314.43 | 30.3263
|  | 13 | 305.53 | 29.8437
|  | 14 | 342.49 | 27.2626
|  | 15 | 368.93 | 26.553
|  | 16 | 369.36 | 18.3541
|  | 17 | 643.92 | 12.8413
|  | 18 | 789.14 | 12.9096
|  | 19 | 947.29 | 14.728
|  | 20 | 1003.06 | 19.0835
|  | 21 | 944.71 | 19.431
|  | 22 | 756.33 | 16.0574
|  | 23 | 546.3 | 15.1504
|  | 24 | 444.92 | 11.3347
|  | 25 | 148.66 | 8.5477
|  | 26 | 115.11 | 10.053
|  | 27 | 85.3 | 9.1704
|  | 28 | 79.55 | 9.635
|  | 29 | 86.91 | 9.9613
|  | 30 | 161.77 | 11.2859
|  | 31 | 483.39 | 10.0983
|  | 32 | 728.33 | 12.429
|  | 33 | 796.51 | 13.582
|  | 34 | 778.7 | 13.9795
|  | 35 | 384.19 | 14.0667
|  | 36 | 377.07 | 16.7816
|  | 37 | 371.84 | 17.0393
|  | 38 | 375.25 | 20.2353
|  | 39 | 377.18 | 16.1049
|  | 40 | 375.96 | 12.0465
|  | 41 | 650.98 | 13.7749
|  | 42 | 889.29 | 16.132
|  | 43 | 965.08 | 18.8995
|  | 44 | 1020.72 | 20.0448
|  | 45 | 964.9 | 18.0589
|  | 46 | 769.67 | 13.9843
|  | 47 | 557.23 | 11.5598
|  | 48 | 458.35 | 10.7765
|  | 49 | 122.87 | 9.8134
|  | 50 | 87.86 | 8.7379
|  | 51 | 79.88 | 7.7556
|  | 52 | 74.07 | 7.7503
|  | 53 | 75.76 | 7.5247
|  | 54 | 146.26 | 8.0833
|  | 55 | 624.24 | 10.2409
|  | 56 | 767.83 | 14.0113
|  | 57 | 807.48 | 16.8268
|  | 58 | 723.59 | 15.7083
|  | 59 | 363.21 | 18.345
|  | 60 | 335.93 | 18.5302
|  | 61 | 325.08 | 19.0004
|  | 62 | 341.9 | 18.2786
|  | 63 | 363.51 | 19.3925
|  | 64 | 352.51 | 18.1131
|  | 65 | 651.18 | 20.1835
|  | 66 | 677.64 | 16.7722
|  | 67 | 941.33 | 16.7131
|  | 68 | 1006.5 | 18.106
|  | 69 | 953.24 | 16.577
|  | 70 | 621.63 | 15.1991
|  | 71 | 523.37 | 13.6766
|  | 72 | 397.23 | 11.4249
|  | 73 | 114.92 | 12.6209
|  | 74 | 96.92 | 9.3037
|  | 75 | 109.09 | 10.4687
|  | 76 | 106.51 | 11.0423
|  | 77 | 85.12 | 16.0108
|  | 78 | 152.99 | 8.8953
|  | 79 | 372.07 | 5.7864
|  | 80 | 621.36 | 12.9207
|  | 81 | 674.56 | 14.612
|  | 82 | 602.43 | 14.2399
|  | 83 | 314.3 | 15.5513
|  | 84 | 293.05 | 16.6088
|  | 85 | 279.37 | 13.6314
|  | 86 | 291.15 | 18.3863
|  | 87 | 297.54 | 17.4577
|  | 88 | 297.43 | 14.0448
|  | 89 | 612.6 | 14.4397
|  | 90 | 735.05 | 12.9374
|  | 91 | 807.4 | 17.4026
|  | 92 | 865.67 | 19.0326
|  | 93 | 804.03 | 19.457
|  | 94 | 680.51 | 17.8594
|  | 95 | 490.82 | 15.7951
|  | 96 | 380.86 | 13.3031
|  | 97 | 112.91 | 11.7849
|  | 98 | 103.82 | 11.1183
|  | 99 | 87.01 | 11.3268
|  | 100 | 78.29 | 12.9133
|  | 101 | 83.51 | 13.4827
|  | 102 | 126.8 | 14.8643
|  | 103 | 335.89 | 16.2696
|  | 104 | 597.18 | 14.8489
|  | 105 | 638.45 | 12.8011
|  | 106 | 600.66 | 15.1462
|  | 107 | 313.2 | 18.2462
|  | 108 | 309.06 | 14.5472
|  | 109 | 338.42 | 12.4626
|  | 110 | 346.07 | 15.1436
|  | 111 | 352 | 11.1432
|  | 112 | 342.35 | 12.763
|  | 113 | 637.28 | 14.4406
|  | 114 | 662.96 | 15.6089
|  | 115 | 817.77 | 15.5916
|  | 116 | 856.93 | 16.0972
|  | 117 | 795.9 | 14.7415
|  | 118 | 697.56 | 12.9697
|  | 119 | 510.03 | 11.1957
|  | 120 | 357.48 | 9.7862
|  | 121 | 89.27 | 9.6133
|  | 122 | 83.61 | 8.8699
|  | 123 | 89.26 | 8.3574
|  | 124 | 83.49 | 8.2626
|  | 125 | 86.72 | 8.2099
|  | 126 | 131.57 | 7.6855
|  | 127 | 269.69 | 8.8933
|  | 128 | 452.11 | 12.9277
|  | 129 | 593.2 | 21.0734
|  | 130 | 595.69 | 23.9046
|  | 131 | 342.05 | 26.1528
|  | 132 | 341.53 | 28.3574
|  | 133 | 333.53 | 27.6882
|  | 134 | 334.69 | 24.67
|  | 135 | 314.43 | 22.4717
|  | 136 | 296.96 | 17.1455
|  | 137 | 558.32 | 14.6373
|  | 138 | 619.14 | 16.1066
|  | 139 | 674.69 | 16.6473
|  | 140 | 728.76 | 18.2172
|  | 141 | 665.01 | 19.161
|  | 142 | 542.03 | 17.4961
|  | 143 | 447.5 | 12.734
|  | 144 | 362.82 | 12.5883
|  | 145 | 160.07 | 9.8447
|  | 146 | 124.11 | 10.7768
|  | 147 | 109.06 | 10.3133
|  | 148 | 106.19 | 10.0844
|  | 149 | 106.52 | 10.5526
|  | 150 | 132.07 | 12.6326
|  | 151 | 257.99 | 11.2732
|  | 152 | 403.21 | 14.3882
|  | 153 | 520.7 | 20.0401
|  | 154 | 564.89 | 16.5663
|  | 155 | 313.55 | 15.4308
|  | 156 | 311.83 | 19.5622
|  | 157 | 315.63 | 20.112
|  | 158 | 303.39 | 15.7056
|  | 159 | 268.23 | 14.0921
|  | 160 | 261.46 | 13.9912
|  | 161 | 542.12 | 11.9435
|  | 162 | 597.84 | 14.6039
|  | 163 | 726.99 | 16.9181
|  | 164 | 803.56 | 16.7153
|  | 165 | 749.31 | 16.8467
|  | 166 | 597.03 | 12.708
|  | 167 | 480.5 | 10.8174
|  | 168 | 381.82 | 8.6706
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 09/10/2023 | 10/10/2023 | 11/10/2023 | 12/10/2023 | 13/10/2023 | 14/10/2023 | 15/10/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible