## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-09-21
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 19078 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 18/09/2023 | 19/09/2023 | 20/09/2023 | 21/09/2023 | 22/09/2023 | 23/09/2023 | 24/09/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-09-19
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 274.1051 | -309.139 | 583.2441
|  | 2 | 238.8307 | -309.208 | 548.0387
|  | 3 | 207.6296 | -319.338 | 526.9676
|  | 4 | 199.1339 | -324.937 | 524.0709
|  | 5 | 201.574 | -327.862 | 529.436
|  | 6 | 257.1371 | -309.096 | 566.2331
|  | 7 | 431.2261 | -235.757 | 666.9831
|  | 8 | 580.278 | -221.207 | 801.485
|  | 9 | 641.5138 | -215.178 | 856.6918
|  | 10 | 650.1168 | -204.011 | 854.1278
|  | 11 | 632.6366 | -210.302 | 842.9386
|  | 12 | 633.8279 | -214.279 | 848.1069
|  | 13 | 634.8526 | -222.915 | 857.7676
|  | 14 | 668.5406 | -205.305 | 873.8456
|  | 15 | 673.5299 | -201.896 | 875.4259
|  | 16 | 673.605 | -196.443 | 870.048
|  | 17 | 674.9247 | -205.561 | 880.4857
|  | 18 | 677.7375 | -232.451 | 910.1885
|  | 19 | 789.9877 | -144.483 | 934.4707
|  | 20 | 861.2845 | -147.694 | 1008.9785
|  | 21 | 812.4833 | -154.061 | 966.5443
|  | 22 | 713.9771 | -153.518 | 867.4951
|  | 23 | 479.5189 | -288.71 | 768.2289
|  | 24 | 359.1873 | -301.576 | 660.7633
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 13.7275 | -1.63 | -54.9255 | -104.2159 | -163.6696 | 24.7533
2 | 23.4384 | -24.7058 | -60.8371 | -126.2726 | -189.9583 | 84.8913
3 | 28.2616 | -34.7209 | -69.1164 | -141.4555 | -209.9892 | 124.263
4 | 31.5251 | -40.2468 | -72.6986 | -151.9967 | -214.9325 | 138.7679
5 | 32.0399 | -38.7012 | -79.4043 | -145.2455 | -235.6704 | 153.5915
6 | 17.4608 | -7.8911 | -53.8994 | -95.3616 | -163.4035 | 54.9694
7 | -4.9589 | 30.6242 | -47.3417 | -33.5979 | -143.3188 | -23.6527
8 | -19.156 | 59.2862 | -26.1748 | -9.5413 | -83.414 | -119.6027
9 | -8.1999 | 57.1445 | -14.7859 | -56.3125 | -73.3206 | -103.823
10 | 3.3491 | 49.9162 | -28.6347 | -96.4261 | -113.017 | -49.1852
11 | -1.1871 | 40.3475 | -22.9151 | -127.1048 | -84.2984 | -49.6523
12 | 4.4668 | 31.9448 | -30.0373 | -138.9137 | -93.2091 | -49.8278
13 | 1.0045 | 32.9333 | -28.9313 | -129.4433 | -100.8484 | -50.0407
14 | -2.5358 | 32.6658 | -25.9885 | -139.504 | -93.8838 | -55.4558
15 | -2.5344 | 31.0209 | -26.058 | -143.0683 | -92.8381 | -54.5204
16 | 2.1874 | 49.7232 | -34.998 | -85.8881 | -122.0352 | -90.3116
17 | 1.0424 | 68.2481 | -39.2576 | -43.6069 | -133.6366 | -97.457
18 | 13.1387 | 90.3205 | -62.1148 | -14.1507 | -218.357 | 37.2725
19 | -11.6039 | 102.7583 | -46.7509 | 26.2693 | -163.9653 | -41.569
20 | -12.448 | 109.2074 | -34.8181 | 25.179 | -144.4908 | -49.9155
21 | -4.7682 | 97.0819 | -40.652 | 4.4513 | -150.3533 | -28.4859
22 | 1.0378 | 72.8359 | -35.0679 | -15.0636 | -119.2424 | -33.5308
23 | 24.5421 | 39.3058 | -68.2758 | -87.6396 | -227.2865 | 71.2187
24 | 35.2753 | 13.7846 | -77.5457 | -117.4441 | -258.7576 | 152.6264
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-09-21
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 277
|  |  | 01:00 - 02:00 | 238.67
|  |  | 02:00 - 03:00 | 223.55
|  |  | 03:00 - 04:00 | 223.05
|  |  | 04:00 - 05:00 | 223.39
|  |  | 05:00 - 06:00 | 257.71
|  |  | 06:00 - 07:00 | 428.01
|  |  | 07:00 - 08:00 | 575.72
|  |  | 08:00 - 09:00 | 636.06
|  |  | 09:00 - 10:00 | 643.86
|  |  | 10:00 - 11:00 | 573.45
|  |  | 11:00 - 12:00 | 578.33
|  |  | 12:00 - 13:00 | 621.16
|  |  | 13:00 - 14:00 | 655.87
|  |  | 14:00 - 15:00 | 636.6
|  |  | 15:00 - 16:00 | 629.96
|  |  | 16:00 - 17:00 | 650.45
|  |  | 17:00 - 18:00 | 813.96
|  |  | 18:00 - 19:00 | 845.58
|  |  | 19:00 - 20:00 | 923.94
|  |  | 20:00 - 21:00 | 874.97
|  |  | 21:00 - 22:00 | 743.57
|  |  | 22:00 - 23:00 | 492.57
|  |  | 23:00 - 00:00 | 387.9
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 50.7105 | 0 | 110.8374 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 101.8499 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 89.5552 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 89.2777 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 94.8682 | 0 | 0
6 | 0 | 40.3807 | 0 | 0 | 0 | 105.3669 | 0 | 0
7 | 0 | 94.9377 | 39.0132 | 0 | 1.4622 | 124.2853 | 0 | 0
8 | 0 | 90.5654 | 89.7725 | 0 | 120.9635 | 116.005 | 0 | 0
9 | 0 | 94.9696 | 89.75 | 0 | 121.4124 | 114.0602 | 0 | 0
10 | 0 | 94.9611 | 89.7692 | 0 | 93.0061 | 109.0431 | 0 | 0
11 | 0 | 89.9137 | 89.7609 | 0 | 113.7189 | 113.9371 | 0 | 0
12 | 0 | 89.8912 | 89.7233 | 0 | 117.3494 | 114.101 | 0 | 0
13 | 0 | 89.8969 | 89.7249 | 0 | 129.2747 | 114.5413 | 0 | 0
14 | 0 | 94.8366 | 89.5958 | 0 | 140.8084 | 119.8906 | 0 | 0
15 | 0 | 97.049 | 87.7391 | 0 | 126.1172 | 114.5403 | 0 | 0
16 | 0 | 97.0498 | 87.7245 | 0 | 107.5845 | 114.5389 | 0 | 0
17 | 0 | 97.0597 | 87.7169 | 3.9978 | 97.5882 | 111.6893 | 0 | 0
18 | 0 | 97.0377 | 87.7264 | 94.2888 | 127.4648 | 0.83382 | 0 | 24.1804
19 | 0 | 90.0067 | 87.9598 | 91.2466 | 125.9735 | 0 | 0 | 102.0117
20 | 0 | 95.0379 | 87.7252 | 96.3964 | 136.4331 | 0 | 0 | 136.5041
21 | 0 | 94.9131 | 87.7382 | 96.3836 | 131.1428 | 0 | 0 | 115.1261
22 | 0 | 0.17623 | 87.7164 | 96.3534 | 130.5006 | 0 | 0 | 116.9506
23 | 0 | 0 | 87.7283 | 96.3993 | 106.6996 | 0 | 0 | 1.1961
24 | 0 | 0 | 0.59278 | 96.3489 | 100.3072 | 0 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 1448.6829 | 1457.4773 | 722.1254 | 2027.8072 | 1859.2213 | 0 | 495.9689
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 592.6 | 16.5051
|  | 2 | 544.22 | 15.2495
|  | 3 | 521.8 | 13.0503
|  | 4 | 513.05 | 11.6598
|  | 5 | 518.1 | 10.4527
|  | 6 | 557.7 | 10.2155
|  | 7 | 675.82 | 15.2401
|  | 8 | 808.73 | 18.207
|  | 9 | 853.6 | 19.3662
|  | 10 | 872.93 | 17.3091
|  | 11 | 861.8 | 17.98
|  | 12 | 864.25 | 17.8548
|  | 13 | 862.07 | 17.828
|  | 14 | 865.04 | 17.8093
|  | 15 | 854.82 | 17.6309
|  | 16 | 847.91 | 16.6398
|  | 17 | 852.99 | 16.2992
|  | 18 | 885.23 | 15.591
|  | 19 | 923.59 | 17.1306
|  | 20 | 990.05 | 19.8588
|  | 21 | 960.88 | 19.4945
|  | 22 | 869.85 | 17.6623
|  | 23 | 764.01 | 15.2378
|  | 24 | 651.58 | 12.7996
|  | 25 | 583.76 | 10.0579
|  | 26 | 544.25 | 10.1297
|  | 27 | 525.2 | 9.461
|  | 28 | 525.46 | 9.5014
|  | 29 | 526.99 | 9.8664
|  | 30 | 557.39 | 10.0249
|  | 31 | 671.46 | 11.1531
|  | 32 | 804.15 | 12.9876
|  | 33 | 843.91 | 13.981
|  | 34 | 847.08 | 16.2075
|  | 35 | 836.36 | 17.4305
|  | 36 | 828.34 | 18.6609
|  | 37 | 841.61 | 17.8746
|  | 38 | 858.49 | 18.0218
|  | 39 | 861.49 | 18.2594
|  | 40 | 846.51 | 15.7676
|  | 41 | 848.54 | 15.7181
|  | 42 | 901.05 | 16.7664
|  | 43 | 937.05 | 17.5494
|  | 44 | 996.74 | 20.5573
|  | 45 | 958.16 | 19.348
|  | 46 | 867.54 | 16.5652
|  | 47 | 770.37 | 15.8599
|  | 48 | 661.69 | 13.4261
|  | 49 | 601.37 | 13.9594
|  | 50 | 551.04 | 12.6694
|  | 51 | 526.79 | 13.4259
|  | 52 | 518.19 | 14.006
|  | 53 | 524.39 | 13.3675
|  | 54 | 561.6 | 14.8389
|  | 55 | 676.16 | 13.8694
|  | 56 | 814.11 | 19.0875
|  | 57 | 866.01 | 21.9304
|  | 58 | 863.49 | 29.3257
|  | 59 | 858.96 | 31.9841
|  | 60 | 866.35 | 33.1266
|  | 61 | 863.24 | 32.921
|  | 62 | 871.43 | 34.1377
|  | 63 | 866.65 | 30.8579
|  | 64 | 859.96 | 30.3133
|  | 65 | 879.14 | 25.7997
|  | 66 | 904.59 | 26.1283
|  | 67 | 938.51 | 21.2326
|  | 68 | 995.66 | 25.918
|  | 69 | 976.28 | 23.5165
|  | 70 | 885.29 | 18.2499
|  | 71 | 784.37 | 15.17
|  | 72 | 676.44 | 12.793
|  | 73 | 607.2 | 12.334
|  | 74 | 559.77 | 11.5449
|  | 75 | 541.67 | 11.32
|  | 76 | 532.07 | 10.7793
|  | 77 | 535.67 | 10.4097
|  | 78 | 575.47 | 10.3383
|  | 79 | 684.72 | 15.4945
|  | 80 | 814.33 | 20.5175
|  | 81 | 856.04 | 24.3067
|  | 82 | 865.02 | 28.1499
|  | 83 | 862.4 | 25.2497
|  | 84 | 868.41 | 25.7498
|  | 85 | 857.51 | 29.3646
|  | 86 | 872.3 | 34.5256
|  | 87 | 872.69 | 27.2586
|  | 88 | 869.38 | 23.3422
|  | 89 | 887.37 | 20.0096
|  | 90 | 919.89 | 19.5195
|  | 91 | 956.01 | 20.1304
|  | 92 | 1017.48 | 21.3921
|  | 93 | 990.88 | 21.3089
|  | 94 | 897.86 | 19.9566
|  | 95 | 791.46 | 17.3643
|  | 96 | 678.48 | 13.6469
|  | 97 | 603.27 | 11.6816
|  | 98 | 556.45 | 10.517
|  | 99 | 531.98 | 9.7667
|  | 100 | 533.09 | 9.6801
|  | 101 | 537.06 | 9.2888
|  | 102 | 573.47 | 9.0754
|  | 103 | 678.4 | 12.0662
|  | 104 | 810.12 | 18.3777
|  | 105 | 860.03 | 22.3744
|  | 106 | 875.4 | 26.2598
|  | 107 | 873.61 | 26.932
|  | 108 | 873.21 | 29.1348
|  | 109 | 874.71 | 33.8281
|  | 110 | 887.74 | 30.0854
|  | 111 | 886.64 | 27.5259
|  | 112 | 877.3 | 23.4262
|  | 113 | 901.08 | 18.6985
|  | 114 | 929.35 | 18.7258
|  | 115 | 966.24 | 18.3697
|  | 116 | 1023.29 | 22.5862
|  | 117 | 978.29 | 20.5622
|  | 118 | 886.66 | 21.0037
|  | 119 | 788.64 | 17.4853
|  | 120 | 679 | 15.3143
|  | 121 | 613.65 | 14.2602
|  | 122 | 566.77 | 13.1464
|  | 123 | 544.15 | 12.9282
|  | 124 | 533.4 | 13.242
|  | 125 | 532.45 | 12.8091
|  | 126 | 568.65 | 13.2182
|  | 127 | 644.72 | 13.0585
|  | 128 | 765.03 | 17.6508
|  | 129 | 843.35 | 20.1789
|  | 130 | 874.65 | 21.9382
|  | 131 | 872.94 | 19.5563
|  | 132 | 884.25 | 21.1963
|  | 133 | 888.12 | 21.6004
|  | 134 | 884.34 | 20.6969
|  | 135 | 867.26 | 19.8811
|  | 136 | 861.74 | 17.8044
|  | 137 | 876.61 | 16.3836
|  | 138 | 912.03 | 17.2754
|  | 139 | 949.69 | 19.2229
|  | 140 | 1001.75 | 21.3224
|  | 141 | 983.18 | 22.9326
|  | 142 | 895.85 | 18.8449
|  | 143 | 793.01 | 17.7439
|  | 144 | 692.43 | 15.662
|  | 145 | 600.37 | 12.9231
|  | 146 | 548.05 | 13.8452
|  | 147 | 518.53 | 13.1232
|  | 148 | 513.34 | 12.4507
|  | 149 | 518.11 | 12.612
|  | 150 | 558.3 | 13.5495
|  | 151 | 674.47 | 14.8723
|  | 152 | 800.95 | 15.6004
|  | 153 | 859.24 | 18.2427
|  | 154 | 873.77 | 18.2113
|  | 155 | 871.85 | 18.4875
|  | 156 | 882.7 | 20.1611
|  | 157 | 874.88 | 20.7595
|  | 158 | 890.62 | 19.667
|  | 159 | 890.01 | 18.0701
|  | 160 | 876.04 | 17.6012
|  | 161 | 873.13 | 17.7169
|  | 162 | 893.9 | 20.3986
|  | 163 | 927.78 | 19.8118
|  | 164 | 991.18 | 22.6102
|  | 165 | 962.8 | 22.2261
|  | 166 | 871.7 | 19.3165
|  | 167 | 766.7 | 16.7623
|  | 168 | 666.23 | 15.2076
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 18/09/2023 | 19/09/2023 | 20/09/2023 | 21/09/2023 | 22/09/2023 | 23/09/2023 | 24/09/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-09-21
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 19078 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 18/09/2023 | 19/09/2023 | 20/09/2023 | 21/09/2023 | 22/09/2023 | 23/09/2023 | 24/09/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-09-19
|  | Hour | Production | Exchange | Consumption
|  | 1 | 274.1051 | -309.139 | 583.2441
|  | 2 | 238.8307 | -309.208 | 548.0387
|  | 3 | 207.6296 | -319.338 | 526.9676
|  | 4 | 199.1339 | -324.937 | 524.0709
|  | 5 | 201.574 | -327.862 | 529.436
|  | 6 | 257.1371 | -309.096 | 566.2331
|  | 7 | 431.2261 | -235.757 | 666.9831
|  | 8 | 580.278 | -221.207 | 801.485
|  | 9 | 641.5138 | -215.178 | 856.6918
|  | 10 | 650.1168 | -204.011 | 854.1278
|  | 11 | 632.6366 | -210.302 | 842.9386
|  | 12 | 633.8279 | -214.279 | 848.1069
|  | 13 | 634.8526 | -222.915 | 857.7676
|  | 14 | 668.5406 | -205.305 | 873.8456
|  | 15 | 673.5299 | -201.896 | 875.4259
|  | 16 | 673.605 | -196.443 | 870.048
|  | 17 | 674.9247 | -205.561 | 880.4857
|  | 18 | 677.7375 | -232.451 | 910.1885
|  | 19 | 789.9877 | -144.483 | 934.4707
|  | 20 | 861.2845 | -147.694 | 1008.9785
|  | 21 | 812.4833 | -154.061 | 966.5443
|  | 22 | 713.9771 | -153.518 | 867.4951
|  | 23 | 479.5189 | -288.71 | 768.2289
|  | 24 | 359.1873 | -301.576 | 660.7633
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 13.7275 | -1.63 | -54.9255 | -104.2159 | -163.6696 | 24.7533
2 | 23.4384 | -24.7058 | -60.8371 | -126.2726 | -189.9583 | 84.8913
3 | 28.2616 | -34.7209 | -69.1164 | -141.4555 | -209.9892 | 124.263
4 | 31.5251 | -40.2468 | -72.6986 | -151.9967 | -214.9325 | 138.7679
5 | 32.0399 | -38.7012 | -79.4043 | -145.2455 | -235.6704 | 153.5915
6 | 17.4608 | -7.8911 | -53.8994 | -95.3616 | -163.4035 | 54.9694
7 | -4.9589 | 30.6242 | -47.3417 | -33.5979 | -143.3188 | -23.6527
8 | -19.156 | 59.2862 | -26.1748 | -9.5413 | -83.414 | -119.6027
9 | -8.1999 | 57.1445 | -14.7859 | -56.3125 | -73.3206 | -103.823
10 | 3.3491 | 49.9162 | -28.6347 | -96.4261 | -113.017 | -49.1852
11 | -1.1871 | 40.3475 | -22.9151 | -127.1048 | -84.2984 | -49.6523
12 | 4.4668 | 31.9448 | -30.0373 | -138.9137 | -93.2091 | -49.8278
13 | 1.0045 | 32.9333 | -28.9313 | -129.4433 | -100.8484 | -50.0407
14 | -2.5358 | 32.6658 | -25.9885 | -139.504 | -93.8838 | -55.4558
15 | -2.5344 | 31.0209 | -26.058 | -143.0683 | -92.8381 | -54.5204
16 | 2.1874 | 49.7232 | -34.998 | -85.8881 | -122.0352 | -90.3116
17 | 1.0424 | 68.2481 | -39.2576 | -43.6069 | -133.6366 | -97.457
18 | 13.1387 | 90.3205 | -62.1148 | -14.1507 | -218.357 | 37.2725
19 | -11.6039 | 102.7583 | -46.7509 | 26.2693 | -163.9653 | -41.569
20 | -12.448 | 109.2074 | -34.8181 | 25.179 | -144.4908 | -49.9155
21 | -4.7682 | 97.0819 | -40.652 | 4.4513 | -150.3533 | -28.4859
22 | 1.0378 | 72.8359 | -35.0679 | -15.0636 | -119.2424 | -33.5308
23 | 24.5421 | 39.3058 | -68.2758 | -87.6396 | -227.2865 | 71.2187
24 | 35.2753 | 13.7846 | -77.5457 | -117.4441 | -258.7576 | 152.6264
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-09-21
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 277
|  |  | 01:00 - 02:00 | 238.67
|  |  | 02:00 - 03:00 | 223.55
|  |  | 03:00 - 04:00 | 223.05
|  |  | 04:00 - 05:00 | 223.39
|  |  | 05:00 - 06:00 | 257.71
|  |  | 06:00 - 07:00 | 428.01
|  |  | 07:00 - 08:00 | 575.72
|  |  | 08:00 - 09:00 | 636.06
|  |  | 09:00 - 10:00 | 643.86
|  |  | 10:00 - 11:00 | 573.45
|  |  | 11:00 - 12:00 | 578.33
|  |  | 12:00 - 13:00 | 621.16
|  |  | 13:00 - 14:00 | 655.87
|  |  | 14:00 - 15:00 | 636.6
|  |  | 15:00 - 16:00 | 629.96
|  |  | 16:00 - 17:00 | 650.45
|  |  | 17:00 - 18:00 | 813.96
|  |  | 18:00 - 19:00 | 845.58
|  |  | 19:00 - 20:00 | 923.94
|  |  | 20:00 - 21:00 | 874.97
|  |  | 21:00 - 22:00 | 743.57
|  |  | 22:00 - 23:00 | 492.57
|  |  | 23:00 - 00:00 | 387.9
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 50.7105 | 0 | 110.8374 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 101.8499 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 89.5552 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 89.2777 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 94.8682 | 0 | 0
6 | 0 | 40.3807 | 0 | 0 | 0 | 105.3669 | 0 | 0
7 | 0 | 94.9377 | 39.0132 | 0 | 1.4622 | 124.2853 | 0 | 0
8 | 0 | 90.5654 | 89.7725 | 0 | 120.9635 | 116.005 | 0 | 0
9 | 0 | 94.9696 | 89.75 | 0 | 121.4124 | 114.0602 | 0 | 0
10 | 0 | 94.9611 | 89.7692 | 0 | 93.0061 | 109.0431 | 0 | 0
11 | 0 | 89.9137 | 89.7609 | 0 | 113.7189 | 113.9371 | 0 | 0
12 | 0 | 89.8912 | 89.7233 | 0 | 117.3494 | 114.101 | 0 | 0
13 | 0 | 89.8969 | 89.7249 | 0 | 129.2747 | 114.5413 | 0 | 0
14 | 0 | 94.8366 | 89.5958 | 0 | 140.8084 | 119.8906 | 0 | 0
15 | 0 | 97.049 | 87.7391 | 0 | 126.1172 | 114.5403 | 0 | 0
16 | 0 | 97.0498 | 87.7245 | 0 | 107.5845 | 114.5389 | 0 | 0
17 | 0 | 97.0597 | 87.7169 | 3.9978 | 97.5882 | 111.6893 | 0 | 0
18 | 0 | 97.0377 | 87.7264 | 94.2888 | 127.4648 | 0.83382 | 0 | 24.1804
19 | 0 | 90.0067 | 87.9598 | 91.2466 | 125.9735 | 0 | 0 | 102.0117
20 | 0 | 95.0379 | 87.7252 | 96.3964 | 136.4331 | 0 | 0 | 136.5041
21 | 0 | 94.9131 | 87.7382 | 96.3836 | 131.1428 | 0 | 0 | 115.1261
22 | 0 | 0.17623 | 87.7164 | 96.3534 | 130.5006 | 0 | 0 | 116.9506
23 | 0 | 0 | 87.7283 | 96.3993 | 106.6996 | 0 | 0 | 1.1961
24 | 0 | 0 | 0.59278 | 96.3489 | 100.3072 | 0 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 1448.6829 | 1457.4773 | 671.4148 | 2027.8072 | 1748.3839 | 0 | 495.9689
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 592.6 | 16.5051
|  | 2 | 544.22 | 15.2495
|  | 3 | 521.8 | 13.0503
|  | 4 | 513.05 | 11.6598
|  | 5 | 518.1 | 10.4527
|  | 6 | 557.7 | 10.2155
|  | 7 | 675.82 | 15.2401
|  | 8 | 808.73 | 18.207
|  | 9 | 853.6 | 19.3662
|  | 10 | 872.93 | 17.3091
|  | 11 | 861.8 | 17.98
|  | 12 | 864.25 | 17.8548
|  | 13 | 862.07 | 17.828
|  | 14 | 865.04 | 17.8093
|  | 15 | 854.82 | 17.6309
|  | 16 | 847.91 | 16.6398
|  | 17 | 852.99 | 16.2992
|  | 18 | 885.23 | 15.591
|  | 19 | 923.59 | 17.1306
|  | 20 | 990.05 | 19.8588
|  | 21 | 960.88 | 19.4945
|  | 22 | 869.85 | 17.6623
|  | 23 | 764.01 | 15.2378
|  | 24 | 651.58 | 12.7996
|  | 25 | 583.76 | 10.0579
|  | 26 | 544.25 | 10.1297
|  | 27 | 525.2 | 9.461
|  | 28 | 525.46 | 9.5014
|  | 29 | 526.99 | 9.8664
|  | 30 | 557.39 | 10.0249
|  | 31 | 671.46 | 11.1531
|  | 32 | 804.15 | 12.9876
|  | 33 | 843.91 | 13.981
|  | 34 | 847.08 | 16.2075
|  | 35 | 836.36 | 17.4305
|  | 36 | 828.34 | 18.6609
|  | 37 | 841.61 | 17.8746
|  | 38 | 858.49 | 18.0218
|  | 39 | 861.49 | 18.2594
|  | 40 | 846.51 | 15.7676
|  | 41 | 848.54 | 15.7181
|  | 42 | 901.05 | 16.7664
|  | 43 | 937.05 | 17.5494
|  | 44 | 996.74 | 20.5573
|  | 45 | 958.16 | 19.348
|  | 46 | 867.54 | 16.5652
|  | 47 | 770.37 | 15.8599
|  | 48 | 661.69 | 13.4261
|  | 49 | 601.37 | 13.9594
|  | 50 | 551.04 | 12.6694
|  | 51 | 526.79 | 13.4259
|  | 52 | 518.19 | 14.006
|  | 53 | 524.39 | 13.3675
|  | 54 | 561.6 | 14.8389
|  | 55 | 676.16 | 13.8694
|  | 56 | 814.11 | 19.0875
|  | 57 | 866.01 | 21.9304
|  | 58 | 863.49 | 29.3257
|  | 59 | 858.96 | 31.9841
|  | 60 | 866.35 | 33.1266
|  | 61 | 863.24 | 32.921
|  | 62 | 871.43 | 34.1377
|  | 63 | 866.65 | 30.8579
|  | 64 | 859.96 | 30.3133
|  | 65 | 879.14 | 25.7997
|  | 66 | 904.59 | 26.1283
|  | 67 | 938.51 | 21.2326
|  | 68 | 995.66 | 25.918
|  | 69 | 976.28 | 23.5165
|  | 70 | 885.29 | 18.2499
|  | 71 | 784.37 | 15.17
|  | 72 | 676.44 | 12.793
|  | 73 | 607.2 | 12.334
|  | 74 | 559.77 | 11.5449
|  | 75 | 541.67 | 11.32
|  | 76 | 532.07 | 10.7793
|  | 77 | 535.67 | 10.4097
|  | 78 | 575.47 | 10.3383
|  | 79 | 684.72 | 15.4945
|  | 80 | 814.33 | 20.5175
|  | 81 | 856.04 | 24.3067
|  | 82 | 865.02 | 28.1499
|  | 83 | 862.4 | 25.2497
|  | 84 | 868.41 | 25.7498
|  | 85 | 857.51 | 29.3646
|  | 86 | 872.3 | 34.5256
|  | 87 | 872.69 | 27.2586
|  | 88 | 869.38 | 23.3422
|  | 89 | 887.37 | 20.0096
|  | 90 | 919.89 | 19.5195
|  | 91 | 956.01 | 20.1304
|  | 92 | 1017.48 | 21.3921
|  | 93 | 990.88 | 21.3089
|  | 94 | 897.86 | 19.9566
|  | 95 | 791.46 | 17.3643
|  | 96 | 678.48 | 13.6469
|  | 97 | 603.27 | 11.6816
|  | 98 | 556.45 | 10.517
|  | 99 | 531.98 | 9.7667
|  | 100 | 533.09 | 9.6801
|  | 101 | 537.06 | 9.2888
|  | 102 | 573.47 | 9.0754
|  | 103 | 678.4 | 12.0662
|  | 104 | 810.12 | 18.3777
|  | 105 | 860.03 | 22.3744
|  | 106 | 875.4 | 26.2598
|  | 107 | 873.61 | 26.932
|  | 108 | 873.21 | 29.1348
|  | 109 | 874.71 | 33.8281
|  | 110 | 887.74 | 30.0854
|  | 111 | 886.64 | 27.5259
|  | 112 | 877.3 | 23.4262
|  | 113 | 901.08 | 18.6985
|  | 114 | 929.35 | 18.7258
|  | 115 | 966.24 | 18.3697
|  | 116 | 1023.29 | 22.5862
|  | 117 | 978.29 | 20.5622
|  | 118 | 886.66 | 21.0037
|  | 119 | 788.64 | 17.4853
|  | 120 | 679 | 15.3143
|  | 121 | 613.65 | 14.2602
|  | 122 | 566.77 | 13.1464
|  | 123 | 544.15 | 12.9282
|  | 124 | 533.4 | 13.242
|  | 125 | 532.45 | 12.8091
|  | 126 | 568.65 | 13.2182
|  | 127 | 644.72 | 13.0585
|  | 128 | 765.03 | 17.6508
|  | 129 | 843.35 | 20.1789
|  | 130 | 874.65 | 21.9382
|  | 131 | 872.94 | 19.5563
|  | 132 | 884.25 | 21.1963
|  | 133 | 888.12 | 21.6004
|  | 134 | 884.34 | 20.6969
|  | 135 | 867.26 | 19.8811
|  | 136 | 861.74 | 17.8044
|  | 137 | 876.61 | 16.3836
|  | 138 | 912.03 | 17.2754
|  | 139 | 949.69 | 19.2229
|  | 140 | 1001.75 | 21.3224
|  | 141 | 983.18 | 22.9326
|  | 142 | 895.85 | 18.8449
|  | 143 | 793.01 | 17.7439
|  | 144 | 692.43 | 15.662
|  | 145 | 600.37 | 12.9231
|  | 146 | 548.05 | 13.8452
|  | 147 | 518.53 | 13.1232
|  | 148 | 513.34 | 12.4507
|  | 149 | 518.11 | 12.612
|  | 150 | 558.3 | 13.5495
|  | 151 | 674.47 | 14.8723
|  | 152 | 800.95 | 15.6004
|  | 153 | 859.24 | 18.2427
|  | 154 | 873.77 | 18.2113
|  | 155 | 871.85 | 18.4875
|  | 156 | 882.7 | 20.1611
|  | 157 | 874.88 | 20.7595
|  | 158 | 890.62 | 19.667
|  | 159 | 890.01 | 18.0701
|  | 160 | 876.04 | 17.6012
|  | 161 | 873.13 | 17.7169
|  | 162 | 893.9 | 20.3986
|  | 163 | 927.78 | 19.8118
|  | 164 | 991.18 | 22.6102
|  | 165 | 962.8 | 22.2261
|  | 166 | 871.7 | 19.3165
|  | 167 | 766.7 | 16.7623
|  | 168 | 666.23 | 15.2076
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 18/09/2023 | 19/09/2023 | 20/09/2023 | 21/09/2023 | 22/09/2023 | 23/09/2023 | 24/09/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible