## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-09-23
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 19051 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 18/09/2023 | 19/09/2023 | 20/09/2023 | 21/09/2023 | 22/09/2023 | 23/09/2023 | 24/09/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-09-21
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 278.0579 | -316.948 | 595.0059
|  | 2 | 234.1 | -323.652 | 557.752
|  | 3 | 225.7227 | -317.563 | 543.2857
|  | 4 | 206.2096 | -329.465 | 535.6746
|  | 5 | 222.8806 | -315.864 | 538.7446
|  | 6 | 264.4295 | -314.558 | 578.9875
|  | 7 | 434.0571 | -249.792 | 683.8491
|  | 8 | 593.6043 | -218.471 | 812.0753
|  | 9 | 672.4053 | -203.486 | 875.8913
|  | 10 | 689.7838 | -203.153 | 892.9368
|  | 11 | 603.2112 | -254.778 | 857.9892
|  | 12 | 609.1031 | -257.04 | 866.1431
|  | 13 | 652.7136 | -256.207 | 908.9206
|  | 14 | 654.1542 | -247.135 | 901.2892
|  | 15 | 645.9042 | -258.609 | 904.5132
|  | 16 | 612.4013 | -256.863 | 869.2643
|  | 17 | 627.1276 | -244.952 | 872.0796
|  | 18 | 795.5035 | -113.839 | 909.3425
|  | 19 | 842.2273 | -106.513 | 948.7403
|  | 20 | 916.0402 | -92.921 | 1008.9612
|  | 21 | 863.7997 | -95.77 | 959.5697
|  | 22 | 729.7998 | -135.998 | 865.7978
|  | 23 | 485.1866 | -279.151 | 764.3376
|  | 24 | 383.712 | -277.056 | 660.768
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 33.1779 | -9.2472 | -88.6597 | -111.9993 | -182.8969 | 77.5473
2 | 36.9422 | -23.772 | -86.7514 | -127.7789 | -188.453 | 116.1874
3 | 35.8467 | -37.5495 | -79.3596 | -148.0744 | -160.866 | 80.5703
4 | 30.2168 | -38.2293 | -67.4193 | -144.8617 | -129.9164 | 41.147
5 | 34.1364 | -38.8885 | -82.2137 | -142.4715 | -166.1184 | 87.4512
6 | 42.2821 | -30.6284 | -110.0132 | -122.9244 | -240.1647 | 161.2013
7 | 32.814 | 1.547 | -107.1995 | -90.6619 | -238.6648 | 141.6877
8 | 18.0211 | 28.3995 | -82.5962 | -75.0952 | -175.7844 | 29.9245
9 | 1.4522 | 47.969 | -16.1899 | -77.408 | -36.7154 | -151.0703
10 | -5.7091 | 52.3545 | 8.72 | -100.2258 | 18.3375 | -226.7403
11 | -4.7934 | 53.8171 | 15.1127 | -106.8996 | 31.8743 | -233.6934
12 | -8.2974 | 59.619 | 21.4678 | -95.1939 | 35.5488 | -258.1602
13 | -4.1151 | 56.1056 | 5.9918 | -94.0391 | 0.41126 | -218.1499
14 | -12.4642 | 68.9053 | 21.1357 | -101.5258 | 46.9056 | -276.3501
15 | -5.0039 | 69.0436 | 0.33424 | -95.7616 | -8.5505 | -214.9346
16 | 0.009193 | 63.8051 | -9.0279 | -88.7879 | -19.4262 | -200.0336
17 | 3.921 | 68.691 | -40.201 | -77.1015 | -52.0585 | -154.5385
18 | 14.6862 | 75.4239 | -89.5939 | -56.4254 | -126.5672 | -33.0056
19 | -13.8688 | 106.5661 | -49.7374 | 28.6885 | -54.0261 | -148.2718
20 | 0.56416 | 104.2627 | -85.2594 | 7.6156 | -119.4252 | -25.3777
21 | 4.7953 | 91.3921 | -76.2354 | 14.3313 | -104.7299 | -47.3183
22 | -6.4406 | 79.026 | -45.338 | 0.82575 | -57.7597 | -107.5609
23 | 21.9124 | 23.2653 | -108.2153 | -97.2099 | -152.8854 | 32.9914
24 | 32.9797 | -7.3319 | -128.5892 | -134.4591 | -183.3001 | 112.2289
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-09-23
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 291.52
|  |  | 01:00 - 02:00 | 263.12
|  |  | 02:00 - 03:00 | 231.26
|  |  | 03:00 - 04:00 | 221.64
|  |  | 04:00 - 05:00 | 226.96
|  |  | 05:00 - 06:00 | 265.37
|  |  | 06:00 - 07:00 | 376.1
|  |  | 07:00 - 08:00 | 501.73
|  |  | 08:00 - 09:00 | 572.64
|  |  | 09:00 - 10:00 | 614.73
|  |  | 10:00 - 11:00 | 613.7
|  |  | 11:00 - 12:00 | 616.18
|  |  | 12:00 - 13:00 | 629.37
|  |  | 13:00 - 14:00 | 623.76
|  |  | 14:00 - 15:00 | 615.33
|  |  | 15:00 - 16:00 | 605.3
|  |  | 16:00 - 17:00 | 594.02
|  |  | 17:00 - 18:00 | 620.81
|  |  | 18:00 - 19:00 | 736.24
|  |  | 19:00 - 20:00 | 861.67
|  |  | 20:00 - 21:00 | 812.55
|  |  | 21:00 - 22:00 | 654.24
|  |  | 22:00 - 23:00 | 464.3
|  |  | 23:00 - 00:00 | 363.18
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 54.8095 | 0 | 0 | 111.4889
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127.0763
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.161
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.1468
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.1575
6 | 0 | 0 | 0 | 1.2296 | 0 | 0 | 0 | 93.5877
7 | 0 | 0 | 0 | 93.2421 | 0 | 0.59183 | 0 | 100.364
8 | 0 | 0 | 67.1716 | 94.3437 | 0 | 90.5593 | 0 | 99.9332
9 | 0 | 0 | 89.6724 | 94.3565 | 0 | 98.9163 | 0 | 104.169
10 | 0 | 0 | 89.7332 | 94.3255 | 0 | 99.6994 | 0 | 113.9037
11 | 0 | 0 | 89.7408 | 94.3572 | 0 | 102.6979 | 0 | 113.9612
12 | 0 | 0 | 89.745 | 94.352 | 0 | 99.6827 | 0 | 113.8747
13 | 0 | 1.5837 | 84.6792 | 89.3869 | 0 | 130.8278 | 0 | 114.0166
14 | 1.4864 | 89.1199 | 84.6496 | 88.7719 | 0 | 117.9132 | 0 | 113.9956
15 | 0 | 84.9025 | 84.7135 | 89.3424 | 0 | 122.7497 | 0 | 113.9932
16 | 0 | 89.8832 | 84.731 | 89.3462 | 0 | 118.7303 | 0 | 114.0031
17 | 0 | 89.9269 | 84.7428 | 89.3084 | 0 | 119.4183 | 0 | 114.2678
18 | 0 | 89.9307 | 84.6738 | 89.3365 | 0 | 138.1909 | 0 | 107.0966
19 | 0 | 89.9366 | 84.6984 | 89.298 | 1.6279 | 135.9992 | 0 | 128.8791
20 | 0 | 89.9054 | 84.6768 | 89.3469 | 99.4957 | 131.9351 | 0 | 111.1553
21 | 0 | 0.46717 | 84.6558 | 89.3164 | 119.033 | 127.5844 | 0 | 130.6766
22 | 0 | 0 | 84.6688 | 94.2238 | 0.83027 | 128.5534 | 0 | 138.6607
23 | 0 | 0 | 0.57149 | 94.2827 | 0 | 117.4707 | 0 | 131.773
24 | 0 | 0 | 0 | 0.39503 | 0 | 104.6842 | 0 | 127.8579
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1.4864 | 625.6561 | 1273.5244 | 1558.5616 | 275.7964 | 1986.2047 | 0 | 2692.1995
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 592.6 | 16.5051
|  | 2 | 544.22 | 15.2495
|  | 3 | 521.8 | 13.0503
|  | 4 | 513.05 | 11.6598
|  | 5 | 518.1 | 10.4527
|  | 6 | 557.7 | 10.2155
|  | 7 | 675.82 | 15.2401
|  | 8 | 808.73 | 18.207
|  | 9 | 853.6 | 19.3662
|  | 10 | 872.93 | 17.3091
|  | 11 | 861.8 | 17.98
|  | 12 | 864.25 | 17.8548
|  | 13 | 862.07 | 17.828
|  | 14 | 865.04 | 17.8093
|  | 15 | 854.82 | 17.6309
|  | 16 | 847.91 | 16.6398
|  | 17 | 852.99 | 16.2992
|  | 18 | 885.23 | 15.591
|  | 19 | 923.59 | 17.1306
|  | 20 | 990.05 | 19.8588
|  | 21 | 960.88 | 19.4945
|  | 22 | 869.85 | 17.6623
|  | 23 | 764.01 | 15.2378
|  | 24 | 651.58 | 12.7996
|  | 25 | 583.76 | 10.0579
|  | 26 | 544.25 | 10.1297
|  | 27 | 525.2 | 9.461
|  | 28 | 525.46 | 9.5014
|  | 29 | 526.99 | 9.8664
|  | 30 | 557.39 | 10.0249
|  | 31 | 671.46 | 11.1531
|  | 32 | 804.15 | 12.9876
|  | 33 | 843.91 | 13.981
|  | 34 | 847.08 | 16.2075
|  | 35 | 836.36 | 17.4305
|  | 36 | 828.34 | 18.6609
|  | 37 | 841.61 | 17.8746
|  | 38 | 858.49 | 18.0218
|  | 39 | 861.49 | 18.2594
|  | 40 | 846.51 | 15.7676
|  | 41 | 848.54 | 15.7181
|  | 42 | 901.05 | 16.7664
|  | 43 | 937.05 | 17.5494
|  | 44 | 996.74 | 20.5573
|  | 45 | 958.16 | 19.348
|  | 46 | 867.54 | 16.5652
|  | 47 | 770.37 | 15.8599
|  | 48 | 661.69 | 13.4261
|  | 49 | 601.37 | 13.9594
|  | 50 | 551.04 | 12.6694
|  | 51 | 526.79 | 13.4259
|  | 52 | 518.19 | 14.006
|  | 53 | 524.39 | 13.3675
|  | 54 | 561.6 | 14.8389
|  | 55 | 676.16 | 13.8694
|  | 56 | 814.11 | 19.0875
|  | 57 | 866.01 | 21.9304
|  | 58 | 863.49 | 29.3257
|  | 59 | 858.96 | 31.9841
|  | 60 | 866.35 | 33.1266
|  | 61 | 863.24 | 32.921
|  | 62 | 871.43 | 34.1377
|  | 63 | 866.65 | 30.8579
|  | 64 | 859.96 | 30.3133
|  | 65 | 879.14 | 25.7997
|  | 66 | 904.59 | 26.1283
|  | 67 | 938.51 | 21.2326
|  | 68 | 995.66 | 25.918
|  | 69 | 976.28 | 23.5165
|  | 70 | 885.29 | 18.2499
|  | 71 | 784.37 | 15.17
|  | 72 | 676.44 | 12.793
|  | 73 | 607.2 | 12.334
|  | 74 | 559.77 | 11.5449
|  | 75 | 541.67 | 11.32
|  | 76 | 532.07 | 10.7793
|  | 77 | 535.67 | 10.4097
|  | 78 | 575.47 | 10.3383
|  | 79 | 684.72 | 15.4945
|  | 80 | 814.33 | 20.5175
|  | 81 | 856.04 | 24.3067
|  | 82 | 865.02 | 28.1499
|  | 83 | 862.4 | 25.2497
|  | 84 | 868.41 | 25.7498
|  | 85 | 857.51 | 29.3646
|  | 86 | 872.3 | 34.5256
|  | 87 | 872.69 | 27.2586
|  | 88 | 869.38 | 23.3422
|  | 89 | 887.37 | 20.0096
|  | 90 | 919.89 | 19.5195
|  | 91 | 956.01 | 20.1304
|  | 92 | 1017.48 | 21.3921
|  | 93 | 990.88 | 21.3089
|  | 94 | 897.86 | 19.9566
|  | 95 | 791.46 | 17.3643
|  | 96 | 678.48 | 13.6469
|  | 97 | 603.27 | 11.6816
|  | 98 | 556.45 | 10.517
|  | 99 | 531.98 | 9.7667
|  | 100 | 533.09 | 9.6801
|  | 101 | 537.06 | 9.2888
|  | 102 | 573.47 | 9.0754
|  | 103 | 678.4 | 12.0662
|  | 104 | 810.12 | 18.3777
|  | 105 | 860.03 | 22.3744
|  | 106 | 875.4 | 26.2598
|  | 107 | 873.61 | 26.932
|  | 108 | 873.21 | 29.1348
|  | 109 | 874.71 | 33.8281
|  | 110 | 887.74 | 30.0854
|  | 111 | 886.64 | 27.5259
|  | 112 | 877.3 | 23.4262
|  | 113 | 901.08 | 18.6985
|  | 114 | 929.35 | 18.7258
|  | 115 | 966.24 | 18.3697
|  | 116 | 1023.29 | 22.5862
|  | 117 | 978.29 | 20.5622
|  | 118 | 886.66 | 21.0037
|  | 119 | 788.64 | 17.4853
|  | 120 | 679 | 15.3143
|  | 121 | 613.65 | 14.2602
|  | 122 | 566.77 | 13.1464
|  | 123 | 544.15 | 12.9282
|  | 124 | 533.4 | 13.242
|  | 125 | 532.45 | 12.8091
|  | 126 | 568.65 | 13.2182
|  | 127 | 644.72 | 13.0585
|  | 128 | 765.03 | 17.6508
|  | 129 | 843.35 | 20.1789
|  | 130 | 874.65 | 21.9382
|  | 131 | 872.94 | 19.5563
|  | 132 | 884.25 | 21.1963
|  | 133 | 888.12 | 21.6004
|  | 134 | 884.34 | 20.6969
|  | 135 | 867.26 | 19.8811
|  | 136 | 861.74 | 17.8044
|  | 137 | 876.61 | 16.3836
|  | 138 | 912.03 | 17.2754
|  | 139 | 949.69 | 19.2229
|  | 140 | 1001.75 | 21.3224
|  | 141 | 983.18 | 22.9326
|  | 142 | 895.85 | 18.8449
|  | 143 | 793.01 | 17.7439
|  | 144 | 692.43 | 15.662
|  | 145 | 600.37 | 12.9231
|  | 146 | 548.05 | 13.8452
|  | 147 | 518.53 | 13.1232
|  | 148 | 513.34 | 12.4507
|  | 149 | 518.11 | 12.612
|  | 150 | 558.3 | 13.5495
|  | 151 | 674.47 | 14.8723
|  | 152 | 800.95 | 15.6004
|  | 153 | 859.24 | 18.2427
|  | 154 | 873.77 | 18.2113
|  | 155 | 871.85 | 18.4875
|  | 156 | 882.7 | 20.1611
|  | 157 | 874.88 | 20.7595
|  | 158 | 890.62 | 19.667
|  | 159 | 890.01 | 18.0701
|  | 160 | 876.04 | 17.6012
|  | 161 | 873.13 | 17.7169
|  | 162 | 893.9 | 20.3986
|  | 163 | 927.78 | 19.8118
|  | 164 | 991.18 | 22.6102
|  | 165 | 962.8 | 22.2261
|  | 166 | 871.7 | 19.3165
|  | 167 | 766.7 | 16.7623
|  | 168 | 666.23 | 15.2076
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 18/09/2023 | 19/09/2023 | 20/09/2023 | 21/09/2023 | 22/09/2023 | 23/09/2023 | 24/09/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-09-23
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 19051 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 18/09/2023 | 19/09/2023 | 20/09/2023 | 21/09/2023 | 22/09/2023 | 23/09/2023 | 24/09/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-09-21
|  | Hour | Production | Exchange | Consumption
|  | 1 | 278.0579 | -316.948 | 595.0059
|  | 2 | 234.1 | -323.652 | 557.752
|  | 3 | 225.7227 | -317.563 | 543.2857
|  | 4 | 206.2096 | -329.465 | 535.6746
|  | 5 | 222.8806 | -315.864 | 538.7446
|  | 6 | 264.4295 | -314.558 | 578.9875
|  | 7 | 434.0571 | -249.792 | 683.8491
|  | 8 | 593.6043 | -218.471 | 812.0753
|  | 9 | 672.4053 | -203.486 | 875.8913
|  | 10 | 689.7838 | -203.153 | 892.9368
|  | 11 | 603.2112 | -254.778 | 857.9892
|  | 12 | 609.1031 | -257.04 | 866.1431
|  | 13 | 652.7136 | -256.207 | 908.9206
|  | 14 | 654.1542 | -247.135 | 901.2892
|  | 15 | 645.9042 | -258.609 | 904.5132
|  | 16 | 612.4013 | -256.863 | 869.2643
|  | 17 | 627.1276 | -244.952 | 872.0796
|  | 18 | 795.5035 | -113.839 | 909.3425
|  | 19 | 842.2273 | -106.513 | 948.7403
|  | 20 | 916.0402 | -92.921 | 1008.9612
|  | 21 | 863.7997 | -95.77 | 959.5697
|  | 22 | 729.7998 | -135.998 | 865.7978
|  | 23 | 485.1866 | -279.151 | 764.3376
|  | 24 | 383.712 | -277.056 | 660.768
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 33.1779 | -9.2472 | -88.6597 | -111.9993 | -182.8969 | 77.5473
2 | 36.9422 | -23.772 | -86.7514 | -127.7789 | -188.453 | 116.1874
3 | 35.8467 | -37.5495 | -79.3596 | -148.0744 | -160.866 | 80.5703
4 | 30.2168 | -38.2293 | -67.4193 | -144.8617 | -129.9164 | 41.147
5 | 34.1364 | -38.8885 | -82.2137 | -142.4715 | -166.1184 | 87.4512
6 | 42.2821 | -30.6284 | -110.0132 | -122.9244 | -240.1647 | 161.2013
7 | 32.814 | 1.547 | -107.1995 | -90.6619 | -238.6648 | 141.6877
8 | 18.0211 | 28.3995 | -82.5962 | -75.0952 | -175.7844 | 29.9245
9 | 1.4522 | 47.969 | -16.1899 | -77.408 | -36.7154 | -151.0703
10 | -5.7091 | 52.3545 | 8.72 | -100.2258 | 18.3375 | -226.7403
11 | -4.7934 | 53.8171 | 15.1127 | -106.8996 | 31.8743 | -233.6934
12 | -8.2974 | 59.619 | 21.4678 | -95.1939 | 35.5488 | -258.1602
13 | -4.1151 | 56.1056 | 5.9918 | -94.0391 | 0.41126 | -218.1499
14 | -12.4642 | 68.9053 | 21.1357 | -101.5258 | 46.9056 | -276.3501
15 | -5.0039 | 69.0436 | 0.33424 | -95.7616 | -8.5505 | -214.9346
16 | 0.009193 | 63.8051 | -9.0279 | -88.7879 | -19.4262 | -200.0336
17 | 3.921 | 68.691 | -40.201 | -77.1015 | -52.0585 | -154.5385
18 | 14.6862 | 75.4239 | -89.5939 | -56.4254 | -126.5672 | -33.0056
19 | -13.8688 | 106.5661 | -49.7374 | 28.6885 | -54.0261 | -148.2718
20 | 0.56416 | 104.2627 | -85.2594 | 7.6156 | -119.4252 | -25.3777
21 | 4.7953 | 91.3921 | -76.2354 | 14.3313 | -104.7299 | -47.3183
22 | -6.4406 | 79.026 | -45.338 | 0.82575 | -57.7597 | -107.5609
23 | 21.9124 | 23.2653 | -108.2153 | -97.2099 | -152.8854 | 32.9914
24 | 32.9797 | -7.3319 | -128.5892 | -134.4591 | -183.3001 | 112.2289
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-09-23
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 291.52
|  |  | 01:00 - 02:00 | 263.12
|  |  | 02:00 - 03:00 | 231.26
|  |  | 03:00 - 04:00 | 221.64
|  |  | 04:00 - 05:00 | 226.96
|  |  | 05:00 - 06:00 | 265.37
|  |  | 06:00 - 07:00 | 376.1
|  |  | 07:00 - 08:00 | 501.73
|  |  | 08:00 - 09:00 | 572.64
|  |  | 09:00 - 10:00 | 614.73
|  |  | 10:00 - 11:00 | 613.7
|  |  | 11:00 - 12:00 | 616.18
|  |  | 12:00 - 13:00 | 629.37
|  |  | 13:00 - 14:00 | 623.76
|  |  | 14:00 - 15:00 | 615.33
|  |  | 15:00 - 16:00 | 605.3
|  |  | 16:00 - 17:00 | 594.02
|  |  | 17:00 - 18:00 | 620.81
|  |  | 18:00 - 19:00 | 736.24
|  |  | 19:00 - 20:00 | 861.67
|  |  | 20:00 - 21:00 | 812.55
|  |  | 21:00 - 22:00 | 654.24
|  |  | 22:00 - 23:00 | 464.3
|  |  | 23:00 - 00:00 | 363.18
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 54.8095 | 0 | 0 | 111.4889
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127.0763
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.161
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.1468
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.1575
6 | 0 | 0 | 0 | 1.2296 | 0 | 0 | 0 | 93.5877
7 | 0 | 0 | 0 | 93.2421 | 0 | 0.59183 | 0 | 100.364
8 | 0 | 0 | 67.1716 | 94.3437 | 0 | 90.5593 | 0 | 99.9332
9 | 0 | 0 | 89.6724 | 94.3565 | 0 | 98.9163 | 0 | 104.169
10 | 0 | 0 | 89.7332 | 94.3255 | 0 | 99.6994 | 0 | 113.9037
11 | 0 | 0 | 89.7408 | 94.3572 | 0 | 102.6979 | 0 | 113.9612
12 | 0 | 0 | 89.745 | 94.352 | 0 | 99.6827 | 0 | 113.8747
13 | 0 | 1.5837 | 84.6792 | 89.3869 | 0 | 130.8278 | 0 | 114.0166
14 | 1.4864 | 89.1199 | 84.6496 | 88.7719 | 0 | 117.9132 | 0 | 113.9956
15 | 0 | 84.9025 | 84.7135 | 89.3424 | 0 | 122.7497 | 0 | 113.9932
16 | 0 | 89.8832 | 84.731 | 89.3462 | 0 | 118.7303 | 0 | 114.0031
17 | 0 | 89.9269 | 84.7428 | 89.3084 | 0 | 119.4183 | 0 | 114.2678
18 | 0 | 89.9307 | 84.6738 | 89.3365 | 0 | 138.1909 | 0 | 107.0966
19 | 0 | 89.9366 | 84.6984 | 89.298 | 1.6279 | 135.9992 | 0 | 128.8791
20 | 0 | 89.9054 | 84.6768 | 89.3469 | 99.4957 | 131.9351 | 0 | 111.1553
21 | 0 | 0.46717 | 84.6558 | 89.3164 | 119.033 | 127.5844 | 0 | 130.6766
22 | 0 | 0 | 84.6688 | 94.2238 | 0.83027 | 128.5534 | 0 | 138.6607
23 | 0 | 0 | 0.57149 | 94.2827 | 0 | 117.4707 | 0 | 131.773
24 | 0 | 0 | 0 | 0.39503 | 0 | 104.6842 | 0 | 127.8579
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1.4864 | 625.6561 | 1273.5244 | 1558.5616 | 220.9869 | 1986.2047 | 0 | 2580.7106
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 592.6 | 16.5051
|  | 2 | 544.22 | 15.2495
|  | 3 | 521.8 | 13.0503
|  | 4 | 513.05 | 11.6598
|  | 5 | 518.1 | 10.4527
|  | 6 | 557.7 | 10.2155
|  | 7 | 675.82 | 15.2401
|  | 8 | 808.73 | 18.207
|  | 9 | 853.6 | 19.3662
|  | 10 | 872.93 | 17.3091
|  | 11 | 861.8 | 17.98
|  | 12 | 864.25 | 17.8548
|  | 13 | 862.07 | 17.828
|  | 14 | 865.04 | 17.8093
|  | 15 | 854.82 | 17.6309
|  | 16 | 847.91 | 16.6398
|  | 17 | 852.99 | 16.2992
|  | 18 | 885.23 | 15.591
|  | 19 | 923.59 | 17.1306
|  | 20 | 990.05 | 19.8588
|  | 21 | 960.88 | 19.4945
|  | 22 | 869.85 | 17.6623
|  | 23 | 764.01 | 15.2378
|  | 24 | 651.58 | 12.7996
|  | 25 | 583.76 | 10.0579
|  | 26 | 544.25 | 10.1297
|  | 27 | 525.2 | 9.461
|  | 28 | 525.46 | 9.5014
|  | 29 | 526.99 | 9.8664
|  | 30 | 557.39 | 10.0249
|  | 31 | 671.46 | 11.1531
|  | 32 | 804.15 | 12.9876
|  | 33 | 843.91 | 13.981
|  | 34 | 847.08 | 16.2075
|  | 35 | 836.36 | 17.4305
|  | 36 | 828.34 | 18.6609
|  | 37 | 841.61 | 17.8746
|  | 38 | 858.49 | 18.0218
|  | 39 | 861.49 | 18.2594
|  | 40 | 846.51 | 15.7676
|  | 41 | 848.54 | 15.7181
|  | 42 | 901.05 | 16.7664
|  | 43 | 937.05 | 17.5494
|  | 44 | 996.74 | 20.5573
|  | 45 | 958.16 | 19.348
|  | 46 | 867.54 | 16.5652
|  | 47 | 770.37 | 15.8599
|  | 48 | 661.69 | 13.4261
|  | 49 | 601.37 | 13.9594
|  | 50 | 551.04 | 12.6694
|  | 51 | 526.79 | 13.4259
|  | 52 | 518.19 | 14.006
|  | 53 | 524.39 | 13.3675
|  | 54 | 561.6 | 14.8389
|  | 55 | 676.16 | 13.8694
|  | 56 | 814.11 | 19.0875
|  | 57 | 866.01 | 21.9304
|  | 58 | 863.49 | 29.3257
|  | 59 | 858.96 | 31.9841
|  | 60 | 866.35 | 33.1266
|  | 61 | 863.24 | 32.921
|  | 62 | 871.43 | 34.1377
|  | 63 | 866.65 | 30.8579
|  | 64 | 859.96 | 30.3133
|  | 65 | 879.14 | 25.7997
|  | 66 | 904.59 | 26.1283
|  | 67 | 938.51 | 21.2326
|  | 68 | 995.66 | 25.918
|  | 69 | 976.28 | 23.5165
|  | 70 | 885.29 | 18.2499
|  | 71 | 784.37 | 15.17
|  | 72 | 676.44 | 12.793
|  | 73 | 607.2 | 12.334
|  | 74 | 559.77 | 11.5449
|  | 75 | 541.67 | 11.32
|  | 76 | 532.07 | 10.7793
|  | 77 | 535.67 | 10.4097
|  | 78 | 575.47 | 10.3383
|  | 79 | 684.72 | 15.4945
|  | 80 | 814.33 | 20.5175
|  | 81 | 856.04 | 24.3067
|  | 82 | 865.02 | 28.1499
|  | 83 | 862.4 | 25.2497
|  | 84 | 868.41 | 25.7498
|  | 85 | 857.51 | 29.3646
|  | 86 | 872.3 | 34.5256
|  | 87 | 872.69 | 27.2586
|  | 88 | 869.38 | 23.3422
|  | 89 | 887.37 | 20.0096
|  | 90 | 919.89 | 19.5195
|  | 91 | 956.01 | 20.1304
|  | 92 | 1017.48 | 21.3921
|  | 93 | 990.88 | 21.3089
|  | 94 | 897.86 | 19.9566
|  | 95 | 791.46 | 17.3643
|  | 96 | 678.48 | 13.6469
|  | 97 | 603.27 | 11.6816
|  | 98 | 556.45 | 10.517
|  | 99 | 531.98 | 9.7667
|  | 100 | 533.09 | 9.6801
|  | 101 | 537.06 | 9.2888
|  | 102 | 573.47 | 9.0754
|  | 103 | 678.4 | 12.0662
|  | 104 | 810.12 | 18.3777
|  | 105 | 860.03 | 22.3744
|  | 106 | 875.4 | 26.2598
|  | 107 | 873.61 | 26.932
|  | 108 | 873.21 | 29.1348
|  | 109 | 874.71 | 33.8281
|  | 110 | 887.74 | 30.0854
|  | 111 | 886.64 | 27.5259
|  | 112 | 877.3 | 23.4262
|  | 113 | 901.08 | 18.6985
|  | 114 | 929.35 | 18.7258
|  | 115 | 966.24 | 18.3697
|  | 116 | 1023.29 | 22.5862
|  | 117 | 978.29 | 20.5622
|  | 118 | 886.66 | 21.0037
|  | 119 | 788.64 | 17.4853
|  | 120 | 679 | 15.3143
|  | 121 | 613.65 | 14.2602
|  | 122 | 566.77 | 13.1464
|  | 123 | 544.15 | 12.9282
|  | 124 | 533.4 | 13.242
|  | 125 | 532.45 | 12.8091
|  | 126 | 568.65 | 13.2182
|  | 127 | 644.72 | 13.0585
|  | 128 | 765.03 | 17.6508
|  | 129 | 843.35 | 20.1789
|  | 130 | 874.65 | 21.9382
|  | 131 | 872.94 | 19.5563
|  | 132 | 884.25 | 21.1963
|  | 133 | 888.12 | 21.6004
|  | 134 | 884.34 | 20.6969
|  | 135 | 867.26 | 19.8811
|  | 136 | 861.74 | 17.8044
|  | 137 | 876.61 | 16.3836
|  | 138 | 912.03 | 17.2754
|  | 139 | 949.69 | 19.2229
|  | 140 | 1001.75 | 21.3224
|  | 141 | 983.18 | 22.9326
|  | 142 | 895.85 | 18.8449
|  | 143 | 793.01 | 17.7439
|  | 144 | 692.43 | 15.662
|  | 145 | 600.37 | 12.9231
|  | 146 | 548.05 | 13.8452
|  | 147 | 518.53 | 13.1232
|  | 148 | 513.34 | 12.4507
|  | 149 | 518.11 | 12.612
|  | 150 | 558.3 | 13.5495
|  | 151 | 674.47 | 14.8723
|  | 152 | 800.95 | 15.6004
|  | 153 | 859.24 | 18.2427
|  | 154 | 873.77 | 18.2113
|  | 155 | 871.85 | 18.4875
|  | 156 | 882.7 | 20.1611
|  | 157 | 874.88 | 20.7595
|  | 158 | 890.62 | 19.667
|  | 159 | 890.01 | 18.0701
|  | 160 | 876.04 | 17.6012
|  | 161 | 873.13 | 17.7169
|  | 162 | 893.9 | 20.3986
|  | 163 | 927.78 | 19.8118
|  | 164 | 991.18 | 22.6102
|  | 165 | 962.8 | 22.2261
|  | 166 | 871.7 | 19.3165
|  | 167 | 766.7 | 16.7623
|  | 168 | 666.23 | 15.2076
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 18/09/2023 | 19/09/2023 | 20/09/2023 | 21/09/2023 | 22/09/2023 | 23/09/2023 | 24/09/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible