## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-11-24
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21344.12 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 20/11/2023 | 21/11/20232 | 22/11/20232 | 23/11/20232 | 24/11/20232 | 25/11/2023 | 26/11/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-11-22
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 580.0723 | 0.279 | 579.7933
|  | 2 | 514.5568 | -0.564 | 515.1208
|  | 3 | 480.5064 | -15.276 | 495.7824
|  | 4 | 479.9674 | -9.824 | 489.7914
|  | 5 | 486.2459 | -15.254 | 501.4999
|  | 6 | 582.6696 | 17.813 | 564.8566
|  | 7 | 949.0378 | 220.277 | 728.7608
|  | 8 | 1153.5432 | 222.286 | 931.2572
|  | 9 | 1227.4379 | 234.702 | 992.7359
|  | 10 | 1236.6362 | 239.668 | 996.9682
|  | 11 | 1232.9722 | 227.737 | 1005.2352
|  | 12 | 1245.2249 | 233.572 | 1011.6529
|  | 13 | 1245.8357 | 223.964 | 1021.8717
|  | 14 | 1254.2097 | 212.906 | 1041.3037
|  | 15 | 1298.7334 | 232.602 | 1066.1314
|  | 16 | 1304.6983 | 220.248 | 1084.4503
|  | 17 | 1338.877 | 199.242 | 1139.635
|  | 18 | 1374.0878 | 197.596 | 1176.4918
|  | 19 | 1304.8044 | 139.64 | 1165.1644
|  | 20 | 1180.6089 | 36.118 | 1144.4909
|  | 21 | 1113.7355 | 14.76 | 1098.9755
|  | 22 | 1010.4596 | 17.271 | 993.1886
|  | 23 | 812.0581 | -33.164 | 845.2221
|  | 24 | 729.209 | 35.802 | 693.407
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 28.6874 | 68.3255 | -70.9873 | -71.1632 | -64.5684 | 168.3299
2 | 42.0479 | 45.0205 | -91.3871 | -97.8518 | -101.1521 | 265.5262
3 | 44.2757 | 40.234 | -92.3664 | -98.4776 | -108.0065 | 298.0816
4 | 48.1793 | 41.4759 | -109.2993 | -87.8363 | -150.0253 | 345.8527
5 | 48.4638 | 43.5139 | -124.0721 | -78.4692 | -179.4079 | 359.3641
6 | 40.5978 | 39.6315 | -125.4956 | -84.9849 | -180.5664 | 332.9284
7 | 21.7868 | 56.0985 | -88.6856 | -64.3152 | -133.5372 | 263.6838
8 | -13.7369 | 131.9426 | 19.5784 | 46.3164 | 42.5887 | -3.623
9 | -22.2808 | 154.7168 | 28.8735 | 64.1185 | 56.5905 | -33.4082
10 | -24.7329 | 157.9286 | 18.6413 | 68.1956 | 61.7729 | -37.666
11 | -18.6404 | 164.9135 | 2.357 | 74.4339 | 29.9766 | 30.1103
12 | -17.4025 | 130.2388 | -37.2511 | 31.169 | -17.3295 | 27.6563
13 | -17.366 | 120.5707 | -37.2557 | 22.8824 | -8.0049 | 1.3225
14 | -15.6268 | 112.6243 | -42.6063 | 2.9643 | -18.3268 | 13.1475
15 | -10.5196 | 104.2166 | -43.2993 | -11.4444 | -19.8401 | 15.2726
16 | -5.8617 | 135.8335 | 3.584 | 28.7627 | 6.5587 | 20.6219
17 | -5.3174 | 153.9149 | -2.9531 | 37.5202 | -36.1912 | 45.9274
18 | -2.8384 | 150.3583 | 27.2165 | -0.9451 | 40.9839 | -9.1026
19 | -1.7217 | 138.0582 | 30.9474 | -18.044 | 66.5307 | -19.5949
20 | 11.6685 | 117.5371 | 12.4143 | -49.7517 | 24.2619 | 40.3316
21 | 20.3924 | 101.1509 | -23.6279 | -78.7821 | -30.4201 | 90.3452
22 | 38.6491 | 72.9984 | -74.4319 | -123.3437 | -122.0513 | 182.6102
23 | 43.5178 | 71.9893 | -97.166 | -122.4341 | -159.9064 | 259.6531
24 | 49.1359 | 62.4398 | -106.1347 | -117.0699 | -150.0388 | 275.5566
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-11-24
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 576.1
|  |  | 01:00 - 02:00 | 456.01
|  |  | 02:00 - 03:00 | 455.59
|  |  | 03:00 - 04:00 | 454.49
|  |  | 04:00 - 05:00 | 448.69
|  |  | 05:00 - 06:00 | 443.68
|  |  | 06:00 - 07:00 | 730.51
|  |  | 07:00 - 08:00 | 993.75
|  |  | 08:00 - 09:00 | 1126.95
|  |  | 09:00 - 10:00 | 1133.12
|  |  | 10:00 - 11:00 | 1104.01
|  |  | 11:00 - 12:00 | 953.2
|  |  | 12:00 - 13:00 | 962.26
|  |  | 13:00 - 14:00 | 985.1
|  |  | 14:00 - 15:00 | 1000.34
|  |  | 15:00 - 16:00 | 1118.74
|  |  | 16:00 - 17:00 | 1207.51
|  |  | 17:00 - 18:00 | 1264.01
|  |  | 18:00 - 19:00 | 1246.97
|  |  | 19:00 - 20:00 | 1229.77
|  |  | 20:00 - 21:00 | 1206.04
|  |  | 21:00 - 22:00 | 992.89
|  |  | 22:00 - 23:00 | 834.88
|  |  | 23:00 - 00:00 | 676.91
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.421
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0.53329 | 0 | 40.4394 | 38.2914
8 | 0 | 0 | 0 | 0 | 91.5383 | 0 | 99.2591 | 89.3232
9 | 0 | 0 | 0 | 0 | 89.6535 | 0 | 120.7694 | 116.5947
10 | 0 | 0 | 0 | 0 | 89.7273 | 0 | 93.4727 | 89.2639
11 | 0 | 0 | 0 | 0 | 89.2508 | 0 | 89.3718 | 89.1138
12 | 0 | 0 | 0 | 0 | 91.4293 | 0 | 0.47687 | 89.1411
13 | 0 | 0 | 0 | 0 | 89.3402 | 0 | 0 | 89.1248
14 | 0 | 0 | 0 | 0 | 135.8367 | 0 | 0 | 89.1135
15 | 0 | 0 | 0 | 0 | 143.7335 | 0 | 0 | 89.1319
16 | 0 | 0 | 0 | 0 | 113.8385 | 0.71318 | 0 | 122.5861
17 | 0 | 0 | 0 | 0 | 114.8057 | 98.8727 | 0.80472 | 115.9478
18 | 0 | 0 | 0 | 0 | 115.0285 | 109.2276 | 98.8578 | 118.8616
19 | 0 | 0 | 0 | 0 | 89.3785 | 107.7356 | 102.9605 | 118.9226
20 | 0 | 0 | 0 | 0 | 94.8097 | 89.3427 | 113.1991 | 89.3562
21 | 0 | 0 | 0 | 0 | 96.5937 | 89.3317 | 107.2399 | 118.6828
22 | 0 | 0 | 0 | 0 | 104.873 | 91.8267 | 107.2336 | 1.0442
23 | 0 | 0 | 0 | 0 | 92.052 | 89.3185 | 0.85262 | 0
24 | 0 | 0 | 0 | 0 | 89.4637 | 0.50065 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 0 | 0 | 0 | 1731.886 | 676.8694 | 974.9375 | 1465.9206
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 500.66 | 20.0662
|  | 2 | 442.28 | 21.0419
|  | 3 | 418.8 | 19.1107
|  | 4 | 422.3 | 19.569
|  | 5 | 421.14 | 21.3519
|  | 6 | 496.54 | 22.0769
|  | 7 | 876.33 | 21.7612
|  | 8 | 1133 | 22.9238
|  | 9 | 1203.31 | 25.4323
|  | 10 | 1154.44 | 26.5224
|  | 11 | 922.87 | 23.5823
|  | 12 | 1227.64 | 27.5521
|  | 13 | 1215.09 | 26.5174
|  | 14 | 1250.51 | 26.301
|  | 15 | 1352.43 | 27.2366
|  | 16 | 1367.99 | 29.296
|  | 17 | 1569.17 | 34.7141
|  | 18 | 1583.2 | 36.63
|  | 19 | 1588.96 | 35.2964
|  | 20 | 1576.48 | 33.1859
|  | 21 | 1385.41 | 32.9706
|  | 22 | 1322.21 | 31.1099
|  | 23 | 1218.51 | 26.7803
|  | 24 | 1045.88 | 24.4132
|  | 25 | 576.99 | 26.3916
|  | 26 | 495.34 | 22.0461
|  | 27 | 471.36 | 22.1258
|  | 28 | 469.9 | 25.2246
|  | 29 | 476.9 | 20.5286
|  | 30 | 609.48 | 21.5555
|  | 31 | 1009.38 | 24.3788
|  | 32 | 1214.86 | 26.0678
|  | 33 | 1267.25 | 27.6568
|  | 34 | 1244.18 | 25.8381
|  | 35 | 1207.44 | 29.6695
|  | 36 | 1297.21 | 33.3908
|  | 37 | 1287.76 | 38.9428
|  | 38 | 1315.84 | 40.6409
|  | 39 | 1339.48 | 45.6469
|  | 40 | 1343.77 | 52.9046
|  | 41 | 1412.69 | 54.6565
|  | 42 | 1521.03 | 52.2211
|  | 43 | 1511.58 | 49.814
|  | 44 | 1487.85 | 56.1908
|  | 45 | 1442.65 | 53.517
|  | 46 | 1333.09 | 45.6004
|  | 47 | 954.1 | 43.8669
|  | 48 | 804.53 | 40.1703
|  | 49 | 451.4 | 32.517
|  | 50 | 398 | 28.5594
|  | 51 | 392 | 30.2532
|  | 52 | 395.5 | 34.6974
|  | 53 | 396.8 | 38.3213
|  | 54 | 454.22 | 38.8403
|  | 55 | 630.17 | 31.5224
|  | 56 | 937.32 | 28.3944
|  | 57 | 1021.05 | 27.1947
|  | 58 | 995.03 | 27.2629
|  | 59 | 994.03 | 25.9392
|  | 60 | 996.29 | 27.3055
|  | 61 | 889.26 | 29.7108
|  | 62 | 910.22 | 28.2861
|  | 63 | 1044.44 | 25.9325
|  | 64 | 1065.77 | 25.4223
|  | 65 | 1138.62 | 32.7688
|  | 66 | 1212.44 | 32.4001
|  | 67 | 1210.28 | 32.6442
|  | 68 | 1184.82 | 31.8345
|  | 69 | 1147.19 | 32.5872
|  | 70 | 1054.16 | 33.1358
|  | 71 | 769.33 | 31.3941
|  | 72 | 595.37 | 32.5404
|  | 73 | 486.87 | 34.7766
|  | 74 | 412.2 | 37.2635
|  | 75 | 397 | 36.2496
|  | 76 | 399 | 38.8263
|  | 77 | 399 | 41.362
|  | 78 | 463.4 | 33.3692
|  | 79 | 810.39 | 30.8711
|  | 80 | 999.68 | 32.9132
|  | 81 | 1099.76 | 31.6512
|  | 82 | 1125.34 | 28.2405
|  | 83 | 1112.62 | 26.9599
|  | 84 | 937.84 | 27.3339
|  | 85 | 926.92 | 25.0351
|  | 86 | 982.58 | 22.8942
|  | 87 | 993.78 | 22.9745
|  | 88 | 1138.9 | 25.0975
|  | 89 | 1173.76 | 25.1047
|  | 90 | 1254.96 | 28.3543
|  | 91 | 1250.99 | 30.2801
|  | 92 | 1228.94 | 29.5261
|  | 93 | 1186.92 | 24.394
|  | 94 | 877.5 | 24.0323
|  | 95 | 749.63 | 30.0406
|  | 96 | 616.1 | 25.5396
|  | 97 | 519.3 | 30.9588
|  | 98 | 430.65 | 34.1503
|  | 99 | 415 | 29.7139
|  | 100 | 413 | 27.8386
|  | 101 | 409 | 28.5195
|  | 102 | 455.51 | 27.6051
|  | 103 | 433.31 | 26.0431
|  | 104 | 591.83 | 24.4925
|  | 105 | 780.37 | 25.426
|  | 106 | 905.57 | 25.4518
|  | 107 | 913.85 | 25.6426
|  | 108 | 911.9 | 24.929
|  | 109 | 843.37 | 24.5651
|  | 110 | 872.34 | 26.1971
|  | 111 | 904.88 | 23.2857
|  | 112 | 904.57 | 22.9646
|  | 113 | 1050.9 | 25.0577
|  | 114 | 1183.85 | 28.8007
|  | 115 | 1161.81 | 31.9606
|  | 116 | 1180.49 | 30.9966
|  | 117 | 965.3 | 31.8522
|  | 118 | 871.21 | 31.4912
|  | 119 | 759.47 | 31.5191
|  | 120 | 591.53 | 27.6909
|  | 121 | 538.86 | 24.1463
|  | 122 | 479.3 | 28.7166
|  | 123 | 418.3 | 29.0474
|  | 124 | 413.5 | 27.6039
|  | 125 | 410.24 | 28.6789
|  | 126 | 437.54 | 31.8181
|  | 127 | 442.53 | 30.137
|  | 128 | 593.3 | 26.5729
|  | 129 | 784.81 | 32.1317
|  | 130 | 869.21 | 35.1977
|  | 131 | 876.65 | 36.5441
|  | 132 | 790.73 | 38.7335
|  | 133 | 799.41 | 33.8161
|  | 134 | 778.13 | 30.3483
|  | 135 | 791.21 | 25.9189
|  | 136 | 866.32 | 26.2827
|  | 137 | 989.4 | 28.605
|  | 138 | 1128.97 | 37.2159
|  | 139 | 1125.6 | 32.6742
|  | 140 | 1102.13 | 34.0698
|  | 141 | 987.16 | 33.7039
|  | 142 | 882.19 | 33.2872
|  | 143 | 757.61 | 29.997
|  | 144 | 629.78 | 28.7003
|  | 145 | 486.87 | 29.0567
|  | 146 | 412.2 | 24.9624
|  | 147 | 397 | 26.1586
|  | 148 | 399 | 25.5789
|  | 149 | 399 | 26.1365
|  | 150 | 463.4 | 24.2318
|  | 151 | 810.39 | 22.195
|  | 152 | 999.68 | 25.7583
|  | 153 | 1099.76 | 30.3824
|  | 154 | 1125.34 | 33.9879
|  | 155 | 1112.62 | 34.6171
|  | 156 | 937.84 | 34.5005
|  | 157 | 926.92 | 30.9706
|  | 158 | 982.58 | 31.2953
|  | 159 | 993.78 | 23.4406
|  | 160 | 1138.9 | 22.1527
|  | 161 | 1173.76 | 24.394
|  | 162 | 1254.96 | 28.1446
|  | 163 | 1250.99 | 27.6112
|  | 164 | 1228.94 | 26.4473
|  | 165 | 1186.92 | 24.727
|  | 166 | 877.5 | 22.6637
|  | 167 | 749.63 | 21.7722
|  | 168 | 616.1 | 20.1699
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 20/11/2023 | 21/11/20232 | 22/11/20232 | 23/11/20232 | 24/11/20232 | 25/11/2023 | 26/11/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-11-24
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21344.12 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 20/11/2023 | 21/11/20232 | 22/11/20232 | 23/11/20232 | 24/11/20232 | 25/11/2023 | 26/11/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-11-22
|  | Hour | Production | Exchange | Consumption
|  | 1 | 580.0723 | 0.279 | 579.7933
|  | 2 | 514.5568 | -0.564 | 515.1208
|  | 3 | 480.5064 | -15.276 | 495.7824
|  | 4 | 479.9674 | -9.824 | 489.7914
|  | 5 | 486.2459 | -15.254 | 501.4999
|  | 6 | 582.6696 | 17.813 | 564.8566
|  | 7 | 949.0378 | 220.277 | 728.7608
|  | 8 | 1153.5432 | 222.286 | 931.2572
|  | 9 | 1227.4379 | 234.702 | 992.7359
|  | 10 | 1236.6362 | 239.668 | 996.9682
|  | 11 | 1232.9722 | 227.737 | 1005.2352
|  | 12 | 1245.2249 | 233.572 | 1011.6529
|  | 13 | 1245.8357 | 223.964 | 1021.8717
|  | 14 | 1254.2097 | 212.906 | 1041.3037
|  | 15 | 1298.7334 | 232.602 | 1066.1314
|  | 16 | 1304.6983 | 220.248 | 1084.4503
|  | 17 | 1338.877 | 199.242 | 1139.635
|  | 18 | 1374.0878 | 197.596 | 1176.4918
|  | 19 | 1304.8044 | 139.64 | 1165.1644
|  | 20 | 1180.6089 | 36.118 | 1144.4909
|  | 21 | 1113.7355 | 14.76 | 1098.9755
|  | 22 | 1010.4596 | 17.271 | 993.1886
|  | 23 | 812.0581 | -33.164 | 845.2221
|  | 24 | 729.209 | 35.802 | 693.407
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 28.6874 | 68.3255 | -70.9873 | -71.1632 | -64.5684 | 168.3299
2 | 42.0479 | 45.0205 | -91.3871 | -97.8518 | -101.1521 | 265.5262
3 | 44.2757 | 40.234 | -92.3664 | -98.4776 | -108.0065 | 298.0816
4 | 48.1793 | 41.4759 | -109.2993 | -87.8363 | -150.0253 | 345.8527
5 | 48.4638 | 43.5139 | -124.0721 | -78.4692 | -179.4079 | 359.3641
6 | 40.5978 | 39.6315 | -125.4956 | -84.9849 | -180.5664 | 332.9284
7 | 21.7868 | 56.0985 | -88.6856 | -64.3152 | -133.5372 | 263.6838
8 | -13.7369 | 131.9426 | 19.5784 | 46.3164 | 42.5887 | -3.623
9 | -22.2808 | 154.7168 | 28.8735 | 64.1185 | 56.5905 | -33.4082
10 | -24.7329 | 157.9286 | 18.6413 | 68.1956 | 61.7729 | -37.666
11 | -18.6404 | 164.9135 | 2.357 | 74.4339 | 29.9766 | 30.1103
12 | -17.4025 | 130.2388 | -37.2511 | 31.169 | -17.3295 | 27.6563
13 | -17.366 | 120.5707 | -37.2557 | 22.8824 | -8.0049 | 1.3225
14 | -15.6268 | 112.6243 | -42.6063 | 2.9643 | -18.3268 | 13.1475
15 | -10.5196 | 104.2166 | -43.2993 | -11.4444 | -19.8401 | 15.2726
16 | -5.8617 | 135.8335 | 3.584 | 28.7627 | 6.5587 | 20.6219
17 | -5.3174 | 153.9149 | -2.9531 | 37.5202 | -36.1912 | 45.9274
18 | -2.8384 | 150.3583 | 27.2165 | -0.9451 | 40.9839 | -9.1026
19 | -1.7217 | 138.0582 | 30.9474 | -18.044 | 66.5307 | -19.5949
20 | 11.6685 | 117.5371 | 12.4143 | -49.7517 | 24.2619 | 40.3316
21 | 20.3924 | 101.1509 | -23.6279 | -78.7821 | -30.4201 | 90.3452
22 | 38.6491 | 72.9984 | -74.4319 | -123.3437 | -122.0513 | 182.6102
23 | 43.5178 | 71.9893 | -97.166 | -122.4341 | -159.9064 | 259.6531
24 | 49.1359 | 62.4398 | -106.1347 | -117.0699 | -150.0388 | 275.5566
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-11-24
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 576.1
|  |  | 01:00 - 02:00 | 456.01
|  |  | 02:00 - 03:00 | 455.59
|  |  | 03:00 - 04:00 | 454.49
|  |  | 04:00 - 05:00 | 448.69
|  |  | 05:00 - 06:00 | 443.68
|  |  | 06:00 - 07:00 | 730.51
|  |  | 07:00 - 08:00 | 993.75
|  |  | 08:00 - 09:00 | 1126.95
|  |  | 09:00 - 10:00 | 1133.12
|  |  | 10:00 - 11:00 | 1104.01
|  |  | 11:00 - 12:00 | 953.2
|  |  | 12:00 - 13:00 | 962.26
|  |  | 13:00 - 14:00 | 985.1
|  |  | 14:00 - 15:00 | 1000.34
|  |  | 15:00 - 16:00 | 1118.74
|  |  | 16:00 - 17:00 | 1207.51
|  |  | 17:00 - 18:00 | 1264.01
|  |  | 18:00 - 19:00 | 1246.97
|  |  | 19:00 - 20:00 | 1229.77
|  |  | 20:00 - 21:00 | 1206.04
|  |  | 21:00 - 22:00 | 992.89
|  |  | 22:00 - 23:00 | 834.88
|  |  | 23:00 - 00:00 | 676.91
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.421
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0.53329 | 0 | 40.4394 | 38.2914
8 | 0 | 0 | 0 | 0 | 91.5383 | 0 | 99.2591 | 89.3232
9 | 0 | 0 | 0 | 0 | 89.6535 | 0 | 120.7694 | 116.5947
10 | 0 | 0 | 0 | 0 | 89.7273 | 0 | 93.4727 | 89.2639
11 | 0 | 0 | 0 | 0 | 89.2508 | 0 | 89.3718 | 89.1138
12 | 0 | 0 | 0 | 0 | 91.4293 | 0 | 0.47687 | 89.1411
13 | 0 | 0 | 0 | 0 | 89.3402 | 0 | 0 | 89.1248
14 | 0 | 0 | 0 | 0 | 135.8367 | 0 | 0 | 89.1135
15 | 0 | 0 | 0 | 0 | 143.7335 | 0 | 0 | 89.1319
16 | 0 | 0 | 0 | 0 | 113.8385 | 0.71318 | 0 | 122.5861
17 | 0 | 0 | 0 | 0 | 114.8057 | 98.8727 | 0.80472 | 115.9478
18 | 0 | 0 | 0 | 0 | 115.0285 | 109.2276 | 98.8578 | 118.8616
19 | 0 | 0 | 0 | 0 | 89.3785 | 107.7356 | 102.9605 | 118.9226
20 | 0 | 0 | 0 | 0 | 94.8097 | 89.3427 | 113.1991 | 89.3562
21 | 0 | 0 | 0 | 0 | 96.5937 | 89.3317 | 107.2399 | 118.6828
22 | 0 | 0 | 0 | 0 | 104.873 | 91.8267 | 107.2336 | 1.0442
23 | 0 | 0 | 0 | 0 | 92.052 | 89.3185 | 0.85262 | 0
24 | 0 | 0 | 0 | 0 | 89.4637 | 0.50065 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 0 | 0 | 0 | 1731.886 | 676.8694 | 974.9375 | 1464.4995
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 500.66 | 20.0662
|  | 2 | 442.28 | 21.0419
|  | 3 | 418.8 | 19.1107
|  | 4 | 422.3 | 19.569
|  | 5 | 421.14 | 21.3519
|  | 6 | 496.54 | 22.0769
|  | 7 | 876.33 | 21.7612
|  | 8 | 1133 | 22.9238
|  | 9 | 1203.31 | 25.4323
|  | 10 | 1154.44 | 26.5224
|  | 11 | 922.87 | 23.5823
|  | 12 | 1227.64 | 27.5521
|  | 13 | 1215.09 | 26.5174
|  | 14 | 1250.51 | 26.301
|  | 15 | 1352.43 | 27.2366
|  | 16 | 1367.99 | 29.296
|  | 17 | 1569.17 | 34.7141
|  | 18 | 1583.2 | 36.63
|  | 19 | 1588.96 | 35.2964
|  | 20 | 1576.48 | 33.1859
|  | 21 | 1385.41 | 32.9706
|  | 22 | 1322.21 | 31.1099
|  | 23 | 1218.51 | 26.7803
|  | 24 | 1045.88 | 24.4132
|  | 25 | 576.99 | 26.3916
|  | 26 | 495.34 | 22.0461
|  | 27 | 471.36 | 22.1258
|  | 28 | 469.9 | 25.2246
|  | 29 | 476.9 | 20.5286
|  | 30 | 609.48 | 21.5555
|  | 31 | 1009.38 | 24.3788
|  | 32 | 1214.86 | 26.0678
|  | 33 | 1267.25 | 27.6568
|  | 34 | 1244.18 | 25.8381
|  | 35 | 1207.44 | 29.6695
|  | 36 | 1297.21 | 33.3908
|  | 37 | 1287.76 | 38.9428
|  | 38 | 1315.84 | 40.6409
|  | 39 | 1339.48 | 45.6469
|  | 40 | 1343.77 | 52.9046
|  | 41 | 1412.69 | 54.6565
|  | 42 | 1521.03 | 52.2211
|  | 43 | 1511.58 | 49.814
|  | 44 | 1487.85 | 56.1908
|  | 45 | 1442.65 | 53.517
|  | 46 | 1333.09 | 45.6004
|  | 47 | 954.1 | 43.8669
|  | 48 | 804.53 | 40.1703
|  | 49 | 451.4 | 32.517
|  | 50 | 398 | 28.5594
|  | 51 | 392 | 30.2532
|  | 52 | 395.5 | 34.6974
|  | 53 | 396.8 | 38.3213
|  | 54 | 454.22 | 38.8403
|  | 55 | 630.17 | 31.5224
|  | 56 | 937.32 | 28.3944
|  | 57 | 1021.05 | 27.1947
|  | 58 | 995.03 | 27.2629
|  | 59 | 994.03 | 25.9392
|  | 60 | 996.29 | 27.3055
|  | 61 | 889.26 | 29.7108
|  | 62 | 910.22 | 28.2861
|  | 63 | 1044.44 | 25.9325
|  | 64 | 1065.77 | 25.4223
|  | 65 | 1138.62 | 32.7688
|  | 66 | 1212.44 | 32.4001
|  | 67 | 1210.28 | 32.6442
|  | 68 | 1184.82 | 31.8345
|  | 69 | 1147.19 | 32.5872
|  | 70 | 1054.16 | 33.1358
|  | 71 | 769.33 | 31.3941
|  | 72 | 595.37 | 32.5404
|  | 73 | 486.87 | 34.7766
|  | 74 | 412.2 | 37.2635
|  | 75 | 397 | 36.2496
|  | 76 | 399 | 38.8263
|  | 77 | 399 | 41.362
|  | 78 | 463.4 | 33.3692
|  | 79 | 810.39 | 30.8711
|  | 80 | 999.68 | 32.9132
|  | 81 | 1099.76 | 31.6512
|  | 82 | 1125.34 | 28.2405
|  | 83 | 1112.62 | 26.9599
|  | 84 | 937.84 | 27.3339
|  | 85 | 926.92 | 25.0351
|  | 86 | 982.58 | 22.8942
|  | 87 | 993.78 | 22.9745
|  | 88 | 1138.9 | 25.0975
|  | 89 | 1173.76 | 25.1047
|  | 90 | 1254.96 | 28.3543
|  | 91 | 1250.99 | 30.2801
|  | 92 | 1228.94 | 29.5261
|  | 93 | 1186.92 | 24.394
|  | 94 | 877.5 | 24.0323
|  | 95 | 749.63 | 30.0406
|  | 96 | 616.1 | 25.5396
|  | 97 | 519.3 | 30.9588
|  | 98 | 430.65 | 34.1503
|  | 99 | 415 | 29.7139
|  | 100 | 413 | 27.8386
|  | 101 | 409 | 28.5195
|  | 102 | 455.51 | 27.6051
|  | 103 | 433.31 | 26.0431
|  | 104 | 591.83 | 24.4925
|  | 105 | 780.37 | 25.426
|  | 106 | 905.57 | 25.4518
|  | 107 | 913.85 | 25.6426
|  | 108 | 911.9 | 24.929
|  | 109 | 843.37 | 24.5651
|  | 110 | 872.34 | 26.1971
|  | 111 | 904.88 | 23.2857
|  | 112 | 904.57 | 22.9646
|  | 113 | 1050.9 | 25.0577
|  | 114 | 1183.85 | 28.8007
|  | 115 | 1161.81 | 31.9606
|  | 116 | 1180.49 | 30.9966
|  | 117 | 965.3 | 31.8522
|  | 118 | 871.21 | 31.4912
|  | 119 | 759.47 | 31.5191
|  | 120 | 591.53 | 27.6909
|  | 121 | 538.86 | 24.1463
|  | 122 | 479.3 | 28.7166
|  | 123 | 418.3 | 29.0474
|  | 124 | 413.5 | 27.6039
|  | 125 | 410.24 | 28.6789
|  | 126 | 437.54 | 31.8181
|  | 127 | 442.53 | 30.137
|  | 128 | 593.3 | 26.5729
|  | 129 | 784.81 | 32.1317
|  | 130 | 869.21 | 35.1977
|  | 131 | 876.65 | 36.5441
|  | 132 | 790.73 | 38.7335
|  | 133 | 799.41 | 33.8161
|  | 134 | 778.13 | 30.3483
|  | 135 | 791.21 | 25.9189
|  | 136 | 866.32 | 26.2827
|  | 137 | 989.4 | 28.605
|  | 138 | 1128.97 | 37.2159
|  | 139 | 1125.6 | 32.6742
|  | 140 | 1102.13 | 34.0698
|  | 141 | 987.16 | 33.7039
|  | 142 | 882.19 | 33.2872
|  | 143 | 757.61 | 29.997
|  | 144 | 629.78 | 28.7003
|  | 145 | 486.87 | 29.0567
|  | 146 | 412.2 | 24.9624
|  | 147 | 397 | 26.1586
|  | 148 | 399 | 25.5789
|  | 149 | 399 | 26.1365
|  | 150 | 463.4 | 24.2318
|  | 151 | 810.39 | 22.195
|  | 152 | 999.68 | 25.7583
|  | 153 | 1099.76 | 30.3824
|  | 154 | 1125.34 | 33.9879
|  | 155 | 1112.62 | 34.6171
|  | 156 | 937.84 | 34.5005
|  | 157 | 926.92 | 30.9706
|  | 158 | 982.58 | 31.2953
|  | 159 | 993.78 | 23.4406
|  | 160 | 1138.9 | 22.1527
|  | 161 | 1173.76 | 24.394
|  | 162 | 1254.96 | 28.1446
|  | 163 | 1250.99 | 27.6112
|  | 164 | 1228.94 | 26.4473
|  | 165 | 1186.92 | 24.727
|  | 166 | 877.5 | 22.6637
|  | 167 | 749.63 | 21.7722
|  | 168 | 616.1 | 20.1699
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 20/11/2023 | 21/11/20232 | 22/11/20232 | 23/11/20232 | 24/11/20232 | 25/11/2023 | 26/11/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible