## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-10-31
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 17817 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 30/10/2023 | 31/10/2023 | 11/01/2023 | 11/02/2023 | 11/03/2023 | 11/04/2023 | 11/05/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-10-29
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 139.9917 | -381.436 | 521.4277
|  | 2 | 89.3684 | -394.967 | 484.3354
|  | 3 | 73.532 | -394.044 | 467.576
|  | 4 | 86.3327 | -372.743 | 459.0757
|  | 5 | 72.3125 | -404.841 | 477.1535
|  | 6 | 148.076 | -380.63 | 528.706
|  | 7 | 423.1659 | -210.577 | 633.7429
|  | 8 | 541.3114 | -202.654 | 743.9654
|  | 9 | 577.0237 | -190.235 | 767.2587
|  | 10 | 559.104 | -202.027 | 761.131
|  | 11 | 533.4539 | -214.084 | 747.5379
|  | 12 | 173.2617 | -565.657 | 738.9187
|  | 13 | 191.6001 | -555.705 | 747.3051
|  | 14 | 178.9557 | -558.277 | 737.2327
|  | 15 | 134.4633 | -595.701 | 730.1643
|  | 16 | 126.9487 | -625.18 | 752.1287
|  | 17 | 542.917 | -276.296 | 819.213
|  | 18 | 854.2634 | -78.223 | 932.4864
|  | 19 | 848.6584 | -79.261 | 927.9194
|  | 20 | 789.1469 | -105.462 | 894.6089
|  | 21 | 747.2302 | -73.379 | 820.6092
|  | 22 | 581.1837 | -148.535 | 729.7187
|  | 23 | 377.6953 | -255.484 | 633.1793
|  | 24 | 306.2835 | -248.781 | 555.0645
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 48.9174 | -22.6727 | -75.6351 | -184.8204 | -120.0756 | 194.6662
2 | 53.234 | -35.7477 | -82.6196 | -196.3487 | -130.6476 | 232.3787
3 | 44.9664 | -40.7762 | -77.0799 | -190.662 | -119.538 | 223.0154
4 | 46.125 | -43.1719 | -77.9808 | -182.2787 | -135.4967 | 245.4849
5 | 43.854 | -42.2373 | -80.3924 | -179.0918 | -145.023 | 251.073
6 | 45.5412 | -28.5258 | -84.355 | -169.0956 | -164.5513 | 256.1268
7 | 31.85 | 8.7711 | -72.0848 | -129.4659 | -149.3937 | 193.2496
8 | 13.398 | 54.5572 | -17.7184 | -117.4118 | -30.2561 | 21.8683
9 | -0.14225 | 79.7222 | 30.8296 | -114.2088 | 45.1208 | -106.5209
10 | -17.754 | 67.6655 | 84.1475 | -125.9532 | 175.1608 | -281.6594
11 | -25.361 | 57.7697 | 95.3181 | -128.2757 | 222.1874 | -343.3251
12 | -22.5136 | 8.5397 | 31.7227 | -156.4932 | 176.8892 | -361.1356
13 | -15.5327 | 3.7171 | 9.7525 | -157.6964 | 139.5126 | -312.0678
14 | -15.6203 | 8.5049 | -2.0274 | -148.8582 | 97.1282 | -277.799
15 | -3.9832 | 21.4373 | -43.2088 | -124.0888 | -25.3263 | -150.0252
16 | 22.5097 | 28.193 | -112.9159 | -110.322 | -176.6204 | 100.5045
17 | 50.862 | 93.6892 | -101.8017 | -60.5897 | -260.5747 | 347.2539
18 | 43.8756 | 119.0954 | -79.6782 | -51.8193 | -246.0461 | 338.6983
19 | 34.8379 | 115.9943 | -58.363 | -51.5838 | -183.1603 | 261.5626
20 | 49.6923 | 97.876 | -68.0693 | -78.5724 | -188.996 | 299.7924
21 | 46.0853 | 70.6708 | -69.8796 | -96.8454 | -192.9608 | 281.7574
22 | 35.8184 | 50.3924 | -55.5454 | -111.2187 | -139.5663 | 178.4944
23 | 29.0706 | 31.4559 | -55.9027 | -128.424 | -102.2569 | 101.7599
24 | 38.7263 | 11.1554 | -68.8964 | -148.2421 | -112.9659 | 140.1575
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-10-31
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 385.56
|  |  | 01:00 - 02:00 | 337.54
|  |  | 02:00 - 03:00 | 307.74
|  |  | 03:00 - 04:00 | 299.99
|  |  | 04:00 - 05:00 | 315.22
|  |  | 05:00 - 06:00 | 376.06
|  |  | 06:00 - 07:00 | 551.42
|  |  | 07:00 - 08:00 | 709.45
|  |  | 08:00 - 09:00 | 748.1
|  |  | 09:00 - 10:00 | 713.86
|  |  | 10:00 - 11:00 | 695.46
|  |  | 11:00 - 12:00 | 482.02
|  |  | 12:00 - 13:00 | 475.44
|  |  | 13:00 - 14:00 | 505.42
|  |  | 14:00 - 15:00 | 497.6
|  |  | 15:00 - 16:00 | 519.88
|  |  | 16:00 - 17:00 | 865.39
|  |  | 17:00 - 18:00 | 1085.33
|  |  | 18:00 - 19:00 | 1071.18
|  |  | 19:00 - 20:00 | 1034.89
|  |  | 20:00 - 21:00 | 868.33
|  |  | 21:00 - 22:00 | 678.78
|  |  | 22:00 - 23:00 | 558.42
|  |  | 23:00 - 00:00 | 459.72
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 74.443 | 0 | 0 | 0 | 89.3228 | 0 | 0 | 0
2 | 74.5071 | 0 | 0 | 0 | 89.359 | 0 | 0 | 0
3 | 53.2217 | 0 | 0 | 0 | 99.7484 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 112.9493 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 118.8453 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 127.3161 | 0 | 64.8043 | 1.162
7 | 0 | 3.2153 | 4.1662 | 0 | 118.6792 | 0 | 96.3584 | 117.409
8 | 0 | 74.8908 | 74.5613 | 0 | 135.2083 | 0 | 91.3726 | 117.2951
9 | 0 | 74.8879 | 74.5107 | 0 | 118.5994 | 0 | 124.9311 | 114.012
10 | 0 | 74.8749 | 74.4986 | 0 | 110.5731 | 0 | 123.0254 | 113.7423
11 | 0 | 74.9125 | 74.4541 | 0 | 93.9361 | 0 | 99.2364 | 107.4294
12 | 0 | 0.25074 | 74.4861 | 0 | 91.0032 | 0 | 0.69615 | 101.8074
13 | 0 | 0 | 69.7001 | 0 | 89.3444 | 0 | 0 | 94.3764
14 | 0 | 0 | 74.545 | 0 | 92.0964 | 0 | 0 | 100.4853
15 | 0 | 0 | 74.6022 | 0 | 92.7833 | 0 | 0 | 109.427
16 | 3.4304 | 0 | 74.6531 | 0 | 94.9445 | 0 | 0 | 108.9746
17 | 76.3143 | 0 | 77.8928 | 0 | 120.9032 | 0.63938 | 0 | 120.7687
18 | 76.5158 | 0 | 77.6829 | 0 | 135.3627 | 141.6337 | 0 | 118.5419
19 | 76.4707 | 0 | 77.5687 | 0 | 133.3015 | 143.4092 | 0 | 114.7241
20 | 76.5423 | 0 | 77.5219 | 0 | 123.294 | 113.0611 | 0 | 113.6192
21 | 0.23418 | 0 | 74.465 | 0 | 125.5946 | 138.7728 | 0 | 116.8267
22 | 0 | 0 | 74.5783 | 0 | 123.0388 | 55.9336 | 0 | 119.1901
23 | 0 | 0 | 74.5539 | 0 | 116.7682 | 0 | 0 | 70.2333
24 | 0 | 0 | 74.6036 | 0 | 106.7797 | 0 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 511.6795 | 303.0323 | 1279.0444 | 0 | 2659.7515 | 593.4496 | 600.4243 | 1860.0246
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 524.56 | 16.3204
|  | 2 | 489.33 | 17.0444
|  | 3 | 468.03 | 15.9185
|  | 4 | 463.29 | 0
|  | 5 | 474.32 | 15.977
|  | 6 | 533.71 | 16.4833
|  | 7 | 685.72 | 18.4897
|  | 8 | 813.25 | 19.2777
|  | 9 | 837.8 | 17.7278
|  | 10 | 821.06 | 16.8284
|  | 11 | 797.66 | 16.7536
|  | 12 | 782.12 | 17.0986
|  | 13 | 781.54 | 14.0326
|  | 14 | 793.72 | 12.4817
|  | 15 | 804 | 12.4886
|  | 16 | 805.38 | 11.8536
|  | 17 | 846.89 | 16.2009
|  | 18 | 947.93 | 30.3642
|  | 19 | 942.38 | 35.0979
|  | 20 | 926.09 | 29.0253
|  | 21 | 871.53 | 30.1991
|  | 22 | 791.98 | 27.843
|  | 23 | 693.37 | 20.9164
|  | 24 | 597.8 | 13.366
|  | 25 | 525.56 | 13.8207
|  | 26 | 485.54 | 16.3091
|  | 27 | 464.74 | 16.2068
|  | 28 | 456.99 | 15.442
|  | 29 | 467.22 | 14.8354
|  | 30 | 528.06 | 15.0645
|  | 31 | 675.42 | 18.6505
|  | 32 | 823.45 | 17.3315
|  | 33 | 850.1 | 14.5092
|  | 34 | 825.86 | 15.8313
|  | 35 | 806.46 | 15.7855
|  | 36 | 793.02 | 13.7817
|  | 37 | 811.44 | 13.3918
|  | 38 | 833.42 | 13.2683
|  | 39 | 838.6 | 16.9822
|  | 40 | 836.88 | 16.9223
|  | 41 | 873.39 | 22.8749
|  | 42 | 990.33 | 26.2066
|  | 43 | 977.18 | 23.658
|  | 44 | 940.89 | 21.8336
|  | 45 | 888.33 | 18.89
|  | 46 | 802.78 | 18.7682
|  | 47 | 710.42 | 16.5878
|  | 48 | 611.72 | 13.3075
|  | 49 | 523.39 | 10.8195
|  | 50 | 494.66 | 13.7577
|  | 51 | 472.67 | 12.6358
|  | 52 | 471.16 | 12.2447
|  | 53 | 471.56 | 12.2828
|  | 54 | 539.24 | 13.9279
|  | 55 | 730.25 | 17.8486
|  | 56 | 859.1 | 18.5218
|  | 57 | 863.16 | 18.4018
|  | 58 | 840.97 | 17.9916
|  | 59 | 824.96 | 17.4756
|  | 60 | 813.25 | 17.6753
|  | 61 | 737.42 | 17.0579
|  | 62 | 764.39 | 16.622
|  | 63 | 777.25 | 16.7835
|  | 64 | 783.23 | 17.2236
|  | 65 | 791.62 | 20.4706
|  | 66 | 897.49 | 16.471
|  | 67 | 946.88 | 23.8008
|  | 68 | 906.9 | 25.3
|  | 69 | 853.71 | 24.0408
|  | 70 | 773.01 | 26.0428
|  | 71 | 671.12 | 28.7493
|  | 72 | 577.01 | 23.2712
|  | 73 | 504.8 | 20.8885
|  | 74 | 474.29 | 20.5836
|  | 75 | 465.97 | 22.8326
|  | 76 | 462.27 | 29.5313
|  | 77 | 471.47 | 18.9143
|  | 78 | 536.57 | 13.745
|  | 79 | 700.67 | 11.3604
|  | 80 | 826.3 | 13.2839
|  | 81 | 834.19 | 14.1106
|  | 82 | 814.46 | 17.6228
|  | 83 | 794.16 | 19.664
|  | 84 | 787.5 | 20.3758
|  | 85 | 768.74 | 21.4451
|  | 86 | 798.07 | 23.1724
|  | 87 | 812.33 | 19.8068
|  | 88 | 819.14 | 16.2111
|  | 89 | 840.13 | 13.6405
|  | 90 | 932.86 | 14.3603
|  | 91 | 930.19 | 17.5508
|  | 92 | 890.89 | 17.1341
|  | 93 | 835.61 | 15.5545
|  | 94 | 752.39 | 13.6879
|  | 95 | 656.63 | 12.4533
|  | 96 | 564.91 | 10.707
|  | 97 | 495.89 | 9.2067
|  | 98 | 471.14 | 9.0715
|  | 99 | 461.96 | 9.4859
|  | 100 | 470.1 | 9.3412
|  | 101 | 517.6 | 9.0142
|  | 102 | 634.58 | 10.4864
|  | 103 | 818.37 | 13.8443
|  | 104 | 875.7 | 17.8703
|  | 105 | 821.88 | 21.2068
|  | 106 | 810.52 | 22.1025
|  | 107 | 817.66 | 20.4316
|  | 108 | 787.43 | 27.5907
|  | 109 | 795.82 | 32.2521
|  | 110 | 787.42 | 30.2712
|  | 111 | 783.94 | 27.3567
|  | 112 | 731.56 | 25.568
|  | 113 | 802.71 | 20.242
|  | 114 | 886.26 | 18.1138
|  | 115 | 884.65 | 20.2579
|  | 116 | 834.01 | 19.7057
|  | 117 | 755.58 | 17.0431
|  | 118 | 657.95 | 14.7221
|  | 119 | 564.04 | 13.9048
|  | 120 | 562.8 | 12.6299
|  | 121 | 528.8 | 9.2067
|  | 122 | 527.8 | 9.0715
|  | 123 | 524.8 | 9.4859
|  | 124 | 523.8 | 9.3412
|  | 125 | 539.8 | 9.0142
|  | 126 | 640.7 | 10.4864
|  | 127 | 791.83 | 13.8443
|  | 128 | 834.51 | 17.8703
|  | 129 | 824.1 | 21.2068
|  | 130 | 798.72 | 22.1025
|  | 131 | 863.75 | 20.4316
|  | 132 | 822.72 | 27.5907
|  | 133 | 829.15 | 32.2521
|  | 134 | 832.96 | 30.2712
|  | 135 | 835.58 | 27.3567
|  | 136 | 816.06 | 25.568
|  | 137 | 865.81 | 20.242
|  | 138 | 952.79 | 18.1138
|  | 139 | 942.13 | 20.2579
|  | 140 | 875.92 | 19.7057
|  | 141 | 789.46 | 17.0431
|  | 142 | 687.14 | 14.7221
|  | 143 | 595.38 | 13.9048
|  | 144 | 543.56 | 12.6299
|  | 145 | 516.4 | 10.8195
|  | 146 | 489.93 | 13.7577
|  | 147 | 484.89 | 12.6358
|  | 148 | 488.52 | 12.2447
|  | 149 | 525.01 | 12.2828
|  | 150 | 605.72 | 13.9279
|  | 151 | 732.95 | 17.8486
|  | 152 | 818.8 | 18.5218
|  | 153 | 825.06 | 18.4018
|  | 154 | 840.26 | 17.9916
|  | 155 | 841.02 | 17.4756
|  | 156 | 842.04 | 17.6753
|  | 157 | 845.72 | 17.0579
|  | 158 | 835.6 | 16.622
|  | 159 | 815.28 | 16.7835
|  | 160 | 801.99 | 17.2236
|  | 161 | 837.13 | 20.4706
|  | 162 | 913.88 | 16.471
|  | 163 | 916.79 | 23.8008
|  | 164 | 852.23 | 25.3
|  | 165 | 765.98 | 24.0408
|  | 166 | 677.37 | 26.0428
|  | 167 | 592.9 | 28.7493
|  | 168 | 575.68 | 23.2712
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 30/10/2023 | 31/10/2023 | 11/01/2023 | 11/02/2023 | 11/03/2023 | 11/04/2023 | 11/05/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-10-31
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 17817 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 30/10/2023 | 31/10/2023 | 11/01/2023 | 11/02/2023 | 11/03/2023 | 11/04/2023 | 11/05/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-10-29
|  | Hour | Production | Exchange | Consumption
|  | 1 | 139.9917 | -381.436 | 521.4277
|  | 2 | 89.3684 | -394.967 | 484.3354
|  | 3 | 73.532 | -394.044 | 467.576
|  | 4 | 86.3327 | -372.743 | 459.0757
|  | 5 | 72.3125 | -404.841 | 477.1535
|  | 6 | 148.076 | -380.63 | 528.706
|  | 7 | 423.1659 | -210.577 | 633.7429
|  | 8 | 541.3114 | -202.654 | 743.9654
|  | 9 | 577.0237 | -190.235 | 767.2587
|  | 10 | 559.104 | -202.027 | 761.131
|  | 11 | 533.4539 | -214.084 | 747.5379
|  | 12 | 173.2617 | -565.657 | 738.9187
|  | 13 | 191.6001 | -555.705 | 747.3051
|  | 14 | 178.9557 | -558.277 | 737.2327
|  | 15 | 134.4633 | -595.701 | 730.1643
|  | 16 | 126.9487 | -625.18 | 752.1287
|  | 17 | 542.917 | -276.296 | 819.213
|  | 18 | 854.2634 | -78.223 | 932.4864
|  | 19 | 848.6584 | -79.261 | 927.9194
|  | 20 | 789.1469 | -105.462 | 894.6089
|  | 21 | 747.2302 | -73.379 | 820.6092
|  | 22 | 581.1837 | -148.535 | 729.7187
|  | 23 | 377.6953 | -255.484 | 633.1793
|  | 24 | 306.2835 | -248.781 | 555.0645
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 400
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 48.9174 | -22.6727 | -75.6351 | -184.8204 | -120.0756 | 194.6662
2 | 53.234 | -35.7477 | -82.6196 | -196.3487 | -130.6476 | 232.3787
3 | 44.9664 | -40.7762 | -77.0799 | -190.662 | -119.538 | 223.0154
4 | 46.125 | -43.1719 | -77.9808 | -182.2787 | -135.4967 | 245.4849
5 | 43.854 | -42.2373 | -80.3924 | -179.0918 | -145.023 | 251.073
6 | 45.5412 | -28.5258 | -84.355 | -169.0956 | -164.5513 | 256.1268
7 | 31.85 | 8.7711 | -72.0848 | -129.4659 | -149.3937 | 193.2496
8 | 13.398 | 54.5572 | -17.7184 | -117.4118 | -30.2561 | 21.8683
9 | -0.14225 | 79.7222 | 30.8296 | -114.2088 | 45.1208 | -106.5209
10 | -17.754 | 67.6655 | 84.1475 | -125.9532 | 175.1608 | -281.6594
11 | -25.361 | 57.7697 | 95.3181 | -128.2757 | 222.1874 | -343.3251
12 | -22.5136 | 8.5397 | 31.7227 | -156.4932 | 176.8892 | -361.1356
13 | -15.5327 | 3.7171 | 9.7525 | -157.6964 | 139.5126 | -312.0678
14 | -15.6203 | 8.5049 | -2.0274 | -148.8582 | 97.1282 | -277.799
15 | -3.9832 | 21.4373 | -43.2088 | -124.0888 | -25.3263 | -150.0252
16 | 22.5097 | 28.193 | -112.9159 | -110.322 | -176.6204 | 100.5045
17 | 50.862 | 93.6892 | -101.8017 | -60.5897 | -260.5747 | 347.2539
18 | 43.8756 | 119.0954 | -79.6782 | -51.8193 | -246.0461 | 338.6983
19 | 34.8379 | 115.9943 | -58.363 | -51.5838 | -183.1603 | 261.5626
20 | 49.6923 | 97.876 | -68.0693 | -78.5724 | -188.996 | 299.7924
21 | 46.0853 | 70.6708 | -69.8796 | -96.8454 | -192.9608 | 281.7574
22 | 35.8184 | 50.3924 | -55.5454 | -111.2187 | -139.5663 | 178.4944
23 | 29.0706 | 31.4559 | -55.9027 | -128.424 | -102.2569 | 101.7599
24 | 38.7263 | 11.1554 | -68.8964 | -148.2421 | -112.9659 | 140.1575
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-10-31
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 385.56
|  |  | 01:00 - 02:00 | 337.54
|  |  | 02:00 - 03:00 | 307.74
|  |  | 03:00 - 04:00 | 299.99
|  |  | 04:00 - 05:00 | 315.22
|  |  | 05:00 - 06:00 | 376.06
|  |  | 06:00 - 07:00 | 551.42
|  |  | 07:00 - 08:00 | 709.45
|  |  | 08:00 - 09:00 | 748.1
|  |  | 09:00 - 10:00 | 713.86
|  |  | 10:00 - 11:00 | 695.46
|  |  | 11:00 - 12:00 | 482.02
|  |  | 12:00 - 13:00 | 475.44
|  |  | 13:00 - 14:00 | 505.42
|  |  | 14:00 - 15:00 | 497.6
|  |  | 15:00 - 16:00 | 519.88
|  |  | 16:00 - 17:00 | 865.39
|  |  | 17:00 - 18:00 | 1085.33
|  |  | 18:00 - 19:00 | 1071.18
|  |  | 19:00 - 20:00 | 1034.89
|  |  | 20:00 - 21:00 | 868.33
|  |  | 21:00 - 22:00 | 678.78
|  |  | 22:00 - 23:00 | 558.42
|  |  | 23:00 - 00:00 | 459.72
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 74.443 | 0 | 0 | 0 | 89.3228 | 0 | 0 | 0
2 | 74.5071 | 0 | 0 | 0 | 89.359 | 0 | 0 | 0
3 | 53.2217 | 0 | 0 | 0 | 99.7484 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 112.9493 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 118.8453 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 127.3161 | 0 | 64.8043 | 1.162
7 | 0 | 3.2153 | 4.1662 | 0 | 118.6792 | 0 | 96.3584 | 117.409
8 | 0 | 74.8908 | 74.5613 | 0 | 135.2083 | 0 | 91.3726 | 117.2951
9 | 0 | 74.8879 | 74.5107 | 0 | 118.5994 | 0 | 124.9311 | 114.012
10 | 0 | 74.8749 | 74.4986 | 0 | 110.5731 | 0 | 123.0254 | 113.7423
11 | 0 | 74.9125 | 74.4541 | 0 | 93.9361 | 0 | 99.2364 | 107.4294
12 | 0 | 0.25074 | 74.4861 | 0 | 91.0032 | 0 | 0.69615 | 101.8074
13 | 0 | 0 | 69.7001 | 0 | 89.3444 | 0 | 0 | 94.3764
14 | 0 | 0 | 74.545 | 0 | 92.0964 | 0 | 0 | 100.4853
15 | 0 | 0 | 74.6022 | 0 | 92.7833 | 0 | 0 | 109.427
16 | 3.4304 | 0 | 74.6531 | 0 | 94.9445 | 0 | 0 | 108.9746
17 | 76.3143 | 0 | 77.8928 | 0 | 120.9032 | 0.63938 | 0 | 120.7687
18 | 76.5158 | 0 | 77.6829 | 0 | 135.3627 | 141.6337 | 0 | 118.5419
19 | 76.4707 | 0 | 77.5687 | 0 | 133.3015 | 143.4092 | 0 | 114.7241
20 | 76.5423 | 0 | 77.5219 | 0 | 123.294 | 113.0611 | 0 | 113.6192
21 | 0.23418 | 0 | 74.465 | 0 | 125.5946 | 138.7728 | 0 | 116.8267
22 | 0 | 0 | 74.5783 | 0 | 123.0388 | 55.9336 | 0 | 119.1901
23 | 0 | 0 | 74.5539 | 0 | 116.7682 | 0 | 0 | 70.2333
24 | 0 | 0 | 74.6036 | 0 | 106.7797 | 0 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 437.2365 | 303.0323 | 1279.0444 | 0 | 2570.4287 | 593.4496 | 600.4243 | 1860.0246
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 524.56 | 16.3204
|  | 2 | 489.33 | 17.0444
|  | 3 | 468.03 | 15.9185
|  | 4 | 463.29 | 0
|  | 5 | 474.32 | 15.977
|  | 6 | 533.71 | 16.4833
|  | 7 | 685.72 | 18.4897
|  | 8 | 813.25 | 19.2777
|  | 9 | 837.8 | 17.7278
|  | 10 | 821.06 | 16.8284
|  | 11 | 797.66 | 16.7536
|  | 12 | 782.12 | 17.0986
|  | 13 | 781.54 | 14.0326
|  | 14 | 793.72 | 12.4817
|  | 15 | 804 | 12.4886
|  | 16 | 805.38 | 11.8536
|  | 17 | 846.89 | 16.2009
|  | 18 | 947.93 | 30.3642
|  | 19 | 942.38 | 35.0979
|  | 20 | 926.09 | 29.0253
|  | 21 | 871.53 | 30.1991
|  | 22 | 791.98 | 27.843
|  | 23 | 693.37 | 20.9164
|  | 24 | 597.8 | 13.366
|  | 25 | 525.56 | 13.8207
|  | 26 | 485.54 | 16.3091
|  | 27 | 464.74 | 16.2068
|  | 28 | 456.99 | 15.442
|  | 29 | 467.22 | 14.8354
|  | 30 | 528.06 | 15.0645
|  | 31 | 675.42 | 18.6505
|  | 32 | 823.45 | 17.3315
|  | 33 | 850.1 | 14.5092
|  | 34 | 825.86 | 15.8313
|  | 35 | 806.46 | 15.7855
|  | 36 | 793.02 | 13.7817
|  | 37 | 811.44 | 13.3918
|  | 38 | 833.42 | 13.2683
|  | 39 | 838.6 | 16.9822
|  | 40 | 836.88 | 16.9223
|  | 41 | 873.39 | 22.8749
|  | 42 | 990.33 | 26.2066
|  | 43 | 977.18 | 23.658
|  | 44 | 940.89 | 21.8336
|  | 45 | 888.33 | 18.89
|  | 46 | 802.78 | 18.7682
|  | 47 | 710.42 | 16.5878
|  | 48 | 611.72 | 13.3075
|  | 49 | 523.39 | 10.8195
|  | 50 | 494.66 | 13.7577
|  | 51 | 472.67 | 12.6358
|  | 52 | 471.16 | 12.2447
|  | 53 | 471.56 | 12.2828
|  | 54 | 539.24 | 13.9279
|  | 55 | 730.25 | 17.8486
|  | 56 | 859.1 | 18.5218
|  | 57 | 863.16 | 18.4018
|  | 58 | 840.97 | 17.9916
|  | 59 | 824.96 | 17.4756
|  | 60 | 813.25 | 17.6753
|  | 61 | 737.42 | 17.0579
|  | 62 | 764.39 | 16.622
|  | 63 | 777.25 | 16.7835
|  | 64 | 783.23 | 17.2236
|  | 65 | 791.62 | 20.4706
|  | 66 | 897.49 | 16.471
|  | 67 | 946.88 | 23.8008
|  | 68 | 906.9 | 25.3
|  | 69 | 853.71 | 24.0408
|  | 70 | 773.01 | 26.0428
|  | 71 | 671.12 | 28.7493
|  | 72 | 577.01 | 23.2712
|  | 73 | 504.8 | 20.8885
|  | 74 | 474.29 | 20.5836
|  | 75 | 465.97 | 22.8326
|  | 76 | 462.27 | 29.5313
|  | 77 | 471.47 | 18.9143
|  | 78 | 536.57 | 13.745
|  | 79 | 700.67 | 11.3604
|  | 80 | 826.3 | 13.2839
|  | 81 | 834.19 | 14.1106
|  | 82 | 814.46 | 17.6228
|  | 83 | 794.16 | 19.664
|  | 84 | 787.5 | 20.3758
|  | 85 | 768.74 | 21.4451
|  | 86 | 798.07 | 23.1724
|  | 87 | 812.33 | 19.8068
|  | 88 | 819.14 | 16.2111
|  | 89 | 840.13 | 13.6405
|  | 90 | 932.86 | 14.3603
|  | 91 | 930.19 | 17.5508
|  | 92 | 890.89 | 17.1341
|  | 93 | 835.61 | 15.5545
|  | 94 | 752.39 | 13.6879
|  | 95 | 656.63 | 12.4533
|  | 96 | 564.91 | 10.707
|  | 97 | 495.89 | 9.2067
|  | 98 | 471.14 | 9.0715
|  | 99 | 461.96 | 9.4859
|  | 100 | 470.1 | 9.3412
|  | 101 | 517.6 | 9.0142
|  | 102 | 634.58 | 10.4864
|  | 103 | 818.37 | 13.8443
|  | 104 | 875.7 | 17.8703
|  | 105 | 821.88 | 21.2068
|  | 106 | 810.52 | 22.1025
|  | 107 | 817.66 | 20.4316
|  | 108 | 787.43 | 27.5907
|  | 109 | 795.82 | 32.2521
|  | 110 | 787.42 | 30.2712
|  | 111 | 783.94 | 27.3567
|  | 112 | 731.56 | 25.568
|  | 113 | 802.71 | 20.242
|  | 114 | 886.26 | 18.1138
|  | 115 | 884.65 | 20.2579
|  | 116 | 834.01 | 19.7057
|  | 117 | 755.58 | 17.0431
|  | 118 | 657.95 | 14.7221
|  | 119 | 564.04 | 13.9048
|  | 120 | 562.8 | 12.6299
|  | 121 | 528.8 | 9.2067
|  | 122 | 527.8 | 9.0715
|  | 123 | 524.8 | 9.4859
|  | 124 | 523.8 | 9.3412
|  | 125 | 539.8 | 9.0142
|  | 126 | 640.7 | 10.4864
|  | 127 | 791.83 | 13.8443
|  | 128 | 834.51 | 17.8703
|  | 129 | 824.1 | 21.2068
|  | 130 | 798.72 | 22.1025
|  | 131 | 863.75 | 20.4316
|  | 132 | 822.72 | 27.5907
|  | 133 | 829.15 | 32.2521
|  | 134 | 832.96 | 30.2712
|  | 135 | 835.58 | 27.3567
|  | 136 | 816.06 | 25.568
|  | 137 | 865.81 | 20.242
|  | 138 | 952.79 | 18.1138
|  | 139 | 942.13 | 20.2579
|  | 140 | 875.92 | 19.7057
|  | 141 | 789.46 | 17.0431
|  | 142 | 687.14 | 14.7221
|  | 143 | 595.38 | 13.9048
|  | 144 | 543.56 | 12.6299
|  | 145 | 516.4 | 10.8195
|  | 146 | 489.93 | 13.7577
|  | 147 | 484.89 | 12.6358
|  | 148 | 488.52 | 12.2447
|  | 149 | 525.01 | 12.2828
|  | 150 | 605.72 | 13.9279
|  | 151 | 732.95 | 17.8486
|  | 152 | 818.8 | 18.5218
|  | 153 | 825.06 | 18.4018
|  | 154 | 840.26 | 17.9916
|  | 155 | 841.02 | 17.4756
|  | 156 | 842.04 | 17.6753
|  | 157 | 845.72 | 17.0579
|  | 158 | 835.6 | 16.622
|  | 159 | 815.28 | 16.7835
|  | 160 | 801.99 | 17.2236
|  | 161 | 837.13 | 20.4706
|  | 162 | 913.88 | 16.471
|  | 163 | 916.79 | 23.8008
|  | 164 | 852.23 | 25.3
|  | 165 | 765.98 | 24.0408
|  | 166 | 677.37 | 26.0428
|  | 167 | 592.9 | 28.7493
|  | 168 | 575.68 | 23.2712
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 30/10/2023 | 31/10/2023 | 11/01/2023 | 11/02/2023 | 11/03/2023 | 11/04/2023 | 11/05/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible