## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-12-03
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 20324.9 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 27/11/2023 | 28/11/20232 | 29/11/20232 | 30/11/20232 | 01/12/20232 | 02/12/2023 | 03/12/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-12-01
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 1068.6333 | 456.279 | 612.3543
|  | 2 | 979.4874 | 432.66 | 546.8274
|  | 3 | 971.0639 | 458.651 | 512.4129
|  | 4 | 963.4633 | 456.843 | 506.6203
|  | 5 | 994.8985 | 469.871 | 525.0275
|  | 6 | 1055.9798 | 469.543 | 586.4368
|  | 7 | 1244.8635 | 491.006 | 753.8575
|  | 8 | 1424.7264 | 484.817 | 939.9094
|  | 9 | 1458.4473 | 489.153 | 969.2943
|  | 10 | 1520.0572 | 547.965 | 972.0922
|  | 11 | 1496.533 | 551.136 | 945.397
|  | 12 | 1394.9485 | 464.673 | 930.2755
|  | 13 | 1422.7575 | 470.291 | 952.4665
|  | 14 | 1416.4027 | 433.303 | 983.0997
|  | 15 | 1497.2708 | 502.054 | 995.2168
|  | 16 | 1499.0653 | 494.851 | 1004.2143
|  | 17 | 1603.6322 | 538.897 | 1064.7352
|  | 18 | 1658.7104 | 533.893 | 1124.8174
|  | 19 | 1678.8712 | 573.875 | 1104.9962
|  | 20 | 1645.1365 | 557.682 | 1087.4545
|  | 21 | 1559.0149 | 512.459 | 1046.5559
|  | 22 | 1452.1129 | 490.777 | 961.3359
|  | 23 | 1230.2003 | 392.923 | 837.2773
|  | 24 | 1111.4977 | 413.798 | 697.6997
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 24.552 | 115.5785 | 49.2822 | -15.1958 | 116.0141 | 101.7728
2 | 25.7352 | 105.9601 | 43.3067 | -22.5727 | 91.4323 | 149.7246
3 | 16.0473 | 98.1506 | 55.588 | -18.8052 | 126.1263 | 112.7102
4 | 13.1907 | 89.8997 | 50.7366 | -20.1632 | 125.4973 | 105.6178
5 | 23.1868 | 92.0634 | 46.5895 | -23.0147 | 87.86 | 180.3768
6 | 18.5841 | 85.1204 | 37.8688 | -29.2465 | 95.4885 | 122.3806
7 | 13.7183 | 76.0371 | 4.9284 | -41.8328 | 50.5935 | 131.8109
8 | 6.668 | 101.8861 | 35.2201 | -26.1854 | 70.0815 | 102.5896
9 | -18.2742 | 142.1102 | 70.828 | 0.08064 | 130.6637 | -12.2728
10 | -38.1588 | 151.251 | 96.0146 | 5.5932 | 174.6958 | -72.9489
11 | -49.1596 | 145.8634 | 76.7279 | 5.5222 | 143.1521 | -60.8593
12 | -39.0848 | 145.4249 | 67.1567 | 19.2988 | 95.0342 | -48.3634
13 | -33.9615 | 147.5935 | 89.8827 | 33.3011 | 133.1098 | -100.2787
14 | -42.3991 | 126.9212 | 81.9852 | 35.9009 | 129.0509 | -125.1713
15 | -33.153 | 132.9971 | 89.3427 | 30.0561 | 150.6382 | -80.222
16 | -44.1085 | 175.6332 | 145.6796 | 79.0691 | 261.529 | -142.6502
17 | -59.8302 | 186.6517 | 150.2493 | 100.1968 | 282.748 | -225.1533
18 | -45.6595 | 171.6841 | 142.3582 | 64.5023 | 256.5427 | -164.8475
19 | -40.5071 | 163.9314 | 149.6908 | 48.155 | 270.3187 | -141.4322
20 | -29.0454 | 149.6529 | 142.8344 | 24.6113 | 254.0133 | -90.2923
21 | -19.6398 | 139.7925 | 130.4644 | 11.0961 | 241.7399 | -55.51
22 | -12.919 | 114.8412 | 90.1846 | -25.6532 | 195.5762 | -63.734
23 | -4.2752 | 112.5888 | 52.8818 | -37.175 | 163.2315 | -37.4195
24 | 1.4856 | 99.4904 | 46.5767 | -46.3164 | 174.6985 | -41.6954
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-12-03
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 905.02
|  |  | 01:00 - 02:00 | 857.42
|  |  | 02:00 - 03:00 | 850.33
|  |  | 03:00 - 04:00 | 848.33
|  |  | 04:00 - 05:00 | 852.01
|  |  | 05:00 - 06:00 | 885.42
|  |  | 06:00 - 07:00 | 984.13
|  |  | 07:00 - 08:00 | 1134.86
|  |  | 08:00 - 09:00 | 1252.86
|  |  | 09:00 - 10:00 | 1323.48
|  |  | 10:00 - 11:00 | 1267.25
|  |  | 11:00 - 12:00 | 1177.81
|  |  | 12:00 - 13:00 | 1184.37
|  |  | 13:00 - 14:00 | 1204.4
|  |  | 14:00 - 15:00 | 1189.2
|  |  | 15:00 - 16:00 | 1330.63
|  |  | 16:00 - 17:00 | 1483.14
|  |  | 17:00 - 18:00 | 1644.13
|  |  | 18:00 - 19:00 | 1641.34
|  |  | 19:00 - 20:00 | 1615.46
|  |  | 20:00 - 21:00 | 1558.46
|  |  | 21:00 - 22:00 | 1450.55
|  |  | 22:00 - 23:00 | 1321.59
|  |  | 23:00 - 00:00 | 1115.71
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 89.1344 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 89.139 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 89.1401 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 89.1426 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 89.1291 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 89.1294 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 102.8502 | 1.9089 | 0 | 0
8 | 0 | 1.2598 | 0 | 0 | 93.2581 | 101.3259 | 50.457 | 0
9 | 0 | 99.4627 | 0 | 0 | 97.2253 | 99.2892 | 99.2992 | 0
10 | 0 | 99.9727 | 0 | 0 | 90.157 | 121.9637 | 133.9328 | 0
11 | 0 | 99.9673 | 0 | 0 | 89.2185 | 100.2458 | 99.4294 | 0
12 | 0 | 99.9921 | 0 | 0 | 89.2196 | 90.2609 | 119.0383 | 0
13 | 0 | 100.0016 | 0 | 0 | 89.2078 | 90.2684 | 134.0342 | 0.26434
14 | 0 | 0.61218 | 0 | 0 | 89.7323 | 102.2264 | 89.601 | 93.5284
15 | 0 | 0 | 0 | 0 | 94.2476 | 119.023 | 89.3909 | 94.1263
16 | 0 | 0 | 0 | 0 | 101.1456 | 120.0005 | 128.8248 | 133.4239
17 | 0 | 0 | 0 | 0 | 109.641 | 134.8574 | 128.9707 | 133.7071
18 | 0 | 0 | 0 | 0 | 89.3654 | 133.8632 | 133.9966 | 133.6865
19 | 0 | 0 | 0 | 0 | 93.026 | 133.876 | 128.9298 | 128.8096
20 | 0 | 0 | 0 | 0 | 112.24 | 106.6126 | 114.6343 | 128.789
21 | 0 | 0 | 0 | 0 | 114.9778 | 118.9861 | 99.2406 | 106.5516
22 | 0 | 0 | 0 | 0 | 106.4934 | 119.0411 | 89.3984 | 89.2217
23 | 0 | 0 | 0 | 0 | 101.3486 | 119.0759 | 109.1237 | 108.9154
24 | 0 | 0 | 0 | 0 | 114.4977 | 104.2258 | 94.4708 | 1.1911
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 501.2685 | 0 | 0 | 2312.6663 | 1917.051 | 1842.7724 | 1152.215
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 615.56 | 24.1463
|  | 2 | 549.46 | 28.7166
|  | 3 | 526.86 | 29.0474
|  | 4 | 530.03 | 27.6039
|  | 5 | 527.72 | 28.6789
|  | 6 | 607.01 | 31.8181
|  | 7 | 779.42 | 30.137
|  | 8 | 988.53 | 26.5729
|  | 9 | 1030.64 | 32.1317
|  | 10 | 1016.04 | 35.1977
|  | 11 | 973.96 | 36.5441
|  | 12 | 855.59 | 38.7335
|  | 13 | 851.43 | 33.8161
|  | 14 | 801.51 | 30.3483
|  | 15 | 824.7 | 25.9189
|  | 16 | 873.13 | 26.2827
|  | 17 | 956.97 | 28.605
|  | 18 | 1059.61 | 37.2159
|  | 19 | 1129.94 | 32.6742
|  | 20 | 1115.82 | 34.0698
|  | 21 | 1069.79 | 33.7039
|  | 22 | 955.97 | 33.2872
|  | 23 | 838.08 | 29.997
|  | 24 | 690.87 | 28.7003
|  | 25 | 601.1 | 29.0567
|  | 26 | 547.01 | 24.9624
|  | 27 | 530.59 | 26.1586
|  | 28 | 529.49 | 25.5789
|  | 29 | 539.69 | 26.1365
|  | 30 | 592.68 | 24.2318
|  | 31 | 737.51 | 22.195
|  | 32 | 947.75 | 25.7583
|  | 33 | 1020.95 | 30.3824
|  | 34 | 1026.12 | 33.9879
|  | 35 | 1019.01 | 34.6171
|  | 36 | 985.2 | 34.5005
|  | 37 | 994.86 | 30.9706
|  | 38 | 994.1 | 31.2953
|  | 39 | 1009.34 | 23.4406
|  | 40 | 1019.74 | 22.1527
|  | 41 | 1108.51 | 24.394
|  | 42 | 1172.01 | 28.1446
|  | 43 | 1154.97 | 27.6112
|  | 44 | 1137.77 | 26.4473
|  | 45 | 1114.04 | 24.727
|  | 46 | 1011.89 | 22.6637
|  | 47 | 853.88 | 21.7722
|  | 48 | 695.91 | 20.1699
|  | 49 | 590.42 | 19.8916
|  | 50 | 540.08 | 19.8925
|  | 51 | 515.3 | 20.2314
|  | 52 | 504.82 | 19.6636
|  | 53 | 511.03 | 18.8823
|  | 54 | 563.81 | 18.7805
|  | 55 | 687.13 | 19.151
|  | 56 | 854.05 | 20.4191
|  | 57 | 979.05 | 25.0495
|  | 58 | 1008.49 | 26.2691
|  | 59 | 1009.08 | 25.1914
|  | 60 | 1010.69 | 23.4647
|  | 61 | 946.72 | 23.452
|  | 62 | 952.96 | 22.2805
|  | 63 | 1041.94 | 22.8969
|  | 64 | 1057.5 | 29.0036
|  | 65 | 1267.71 | 39.3586
|  | 66 | 1336.38 | 46.8552
|  | 67 | 1320.36 | 46.046
|  | 68 | 1294.84 | 42.1116
|  | 69 | 1108.11 | 37.8972
|  | 70 | 1007.94 | 32.6134
|  | 71 | 868.2 | 26.4443
|  | 72 | 729.75 | 23.9063
|  | 73 | 625.91 | 20.0251
|  | 74 | 559.82 | 21.001
|  | 75 | 539.56 | 19.07
|  | 76 | 509.36 | 19.5288
|  | 77 | 526.24 | 21.3113
|  | 78 | 580.62 | 22.0372
|  | 79 | 696.86 | 21.7215
|  | 80 | 869.05 | 22.8847
|  | 81 | 981.11 | 25.3942
|  | 82 | 1015.42 | 26.4863
|  | 83 | 988.45 | 23.547
|  | 84 | 974.55 | 27.518
|  | 85 | 977.74 | 26.4839
|  | 86 | 1001.56 | 26.2641
|  | 87 | 1012.41 | 27.2054
|  | 88 | 1050.63 | 29.2652
|  | 89 | 1180.81 | 34.6829
|  | 90 | 1301.31 | 36.5983
|  | 91 | 1315.24 | 35.2886
|  | 92 | 1314.18 | 33.145
|  | 93 | 1251.75 | 32.9356
|  | 94 | 1123.57 | 31.0757
|  | 95 | 951.19 | 26.746
|  | 96 | 766.93 | 24.3801
|  | 97 | 582.52 | 19.0052
|  | 98 | 529.27 | 18.9872
|  | 99 | 501.62 | 18.3027
|  | 100 | 494.64 | 18.7479
|  | 101 | 503.02 | 20.2745
|  | 102 | 562.67 | 23.2048
|  | 103 | 696.33 | 20.8195
|  | 104 | 870.41 | 23.7553
|  | 105 | 995.52 | 26.1834
|  | 106 | 1020.19 | 28.0716
|  | 107 | 1012.71 | 26.3965
|  | 108 | 1033.46 | 27.5743
|  | 109 | 1038.96 | 25.9676
|  | 110 | 1068.08 | 26.1917
|  | 111 | 1089.34 | 25.6314
|  | 112 | 1146.85 | 25.5956
|  | 113 | 1204.09 | 27.491
|  | 114 | 1290.33 | 30.6736
|  | 115 | 1275.15 | 30.6551
|  | 116 | 1301.78 | 29.5129
|  | 117 | 1240.39 | 27.174
|  | 118 | 1115.71 | 24.2142
|  | 119 | 912.99 | 20.9706
|  | 120 | 761.74 | 18.5224
|  | 121 | 630.46 | 17.5189
|  | 122 | 576.76 | 17.6402
|  | 123 | 554.26 | 17.2069
|  | 124 | 544.33 | 17.3317
|  | 125 | 551.52 | 18.6703
|  | 126 | 601.81 | 19.4027
|  | 127 | 719.92 | 20.1762
|  | 128 | 870.53 | 23.2897
|  | 129 | 1012.64 | 25.1215
|  | 130 | 1080.84 | 27.1682
|  | 131 | 1103.66 | 26.376
|  | 132 | 1119.89 | 27.9053
|  | 133 | 1102.43 | 29.4528
|  | 134 | 1124.01 | 28.167
|  | 135 | 1119.7 | 29.4873
|  | 136 | 1112.83 | 31.0282
|  | 137 | 1178.07 | 36.0726
|  | 138 | 1261.21 | 34.3681
|  | 139 | 1235.54 | 31.5183
|  | 140 | 1186.02 | 29.4154
|  | 141 | 1131.99 | 26.9484
|  | 142 | 1037.07 | 23.4591
|  | 143 | 910.88 | 19.9816
|  | 144 | 784.77 | 19.3641
|  | 145 | 656.86 | 18.7388
|  | 146 | 601.91 | 20.8423
|  | 147 | 578.51 | 21.3629
|  | 148 | 576.76 | 22.8811
|  | 149 | 576.32 | 24.02
|  | 150 | 628.46 | 23.0717
|  | 151 | 750.11 | 18.9563
|  | 152 | 910.26 | 19.63
|  | 153 | 1055.13 | 20.3199
|  | 154 | 1159.75 | 19.3183
|  | 155 | 1181.88 | 18.5705
|  | 156 | 1210.63 | 15.7789
|  | 157 | 1191.66 | 15.3251
|  | 158 | 1102.35 | 15.832
|  | 159 | 1107.65 | 16.1518
|  | 160 | 1111.79 | 18.7134
|  | 161 | 1168.46 | 21.7403
|  | 162 | 1268.31 | 24.8845
|  | 163 | 1213.49 | 24.1006
|  | 164 | 1182.69 | 24.4546
|  | 165 | 1165.39 | 23.9426
|  | 166 | 1023.9 | 26.2322
|  | 167 | 895.33 | 24.775
|  | 168 | 766.22 | 23.0144
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 27/11/2023 | 28/11/20232 | 29/11/20232 | 30/11/20232 | 01/12/20232 | 02/12/2023 | 03/12/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-12-03
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 20324.9 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 27/11/2023 | 28/11/20232 | 29/11/20232 | 30/11/20232 | 01/12/20232 | 02/12/2023 | 03/12/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-12-01
|  | Hour | Production | Exchange | Consumption
|  | 1 | 1068.6333 | 456.279 | 612.3543
|  | 2 | 979.4874 | 432.66 | 546.8274
|  | 3 | 971.0639 | 458.651 | 512.4129
|  | 4 | 963.4633 | 456.843 | 506.6203
|  | 5 | 994.8985 | 469.871 | 525.0275
|  | 6 | 1055.9798 | 469.543 | 586.4368
|  | 7 | 1244.8635 | 491.006 | 753.8575
|  | 8 | 1424.7264 | 484.817 | 939.9094
|  | 9 | 1458.4473 | 489.153 | 969.2943
|  | 10 | 1520.0572 | 547.965 | 972.0922
|  | 11 | 1496.533 | 551.136 | 945.397
|  | 12 | 1394.9485 | 464.673 | 930.2755
|  | 13 | 1422.7575 | 470.291 | 952.4665
|  | 14 | 1416.4027 | 433.303 | 983.0997
|  | 15 | 1497.2708 | 502.054 | 995.2168
|  | 16 | 1499.0653 | 494.851 | 1004.2143
|  | 17 | 1603.6322 | 538.897 | 1064.7352
|  | 18 | 1658.7104 | 533.893 | 1124.8174
|  | 19 | 1678.8712 | 573.875 | 1104.9962
|  | 20 | 1645.1365 | 557.682 | 1087.4545
|  | 21 | 1559.0149 | 512.459 | 1046.5559
|  | 22 | 1452.1129 | 490.777 | 961.3359
|  | 23 | 1230.2003 | 392.923 | 837.2773
|  | 24 | 1111.4977 | 413.798 | 697.6997
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 24.552 | 115.5785 | 49.2822 | -15.1958 | 116.0141 | 101.7728
2 | 25.7352 | 105.9601 | 43.3067 | -22.5727 | 91.4323 | 149.7246
3 | 16.0473 | 98.1506 | 55.588 | -18.8052 | 126.1263 | 112.7102
4 | 13.1907 | 89.8997 | 50.7366 | -20.1632 | 125.4973 | 105.6178
5 | 23.1868 | 92.0634 | 46.5895 | -23.0147 | 87.86 | 180.3768
6 | 18.5841 | 85.1204 | 37.8688 | -29.2465 | 95.4885 | 122.3806
7 | 13.7183 | 76.0371 | 4.9284 | -41.8328 | 50.5935 | 131.8109
8 | 6.668 | 101.8861 | 35.2201 | -26.1854 | 70.0815 | 102.5896
9 | -18.2742 | 142.1102 | 70.828 | 0.08064 | 130.6637 | -12.2728
10 | -38.1588 | 151.251 | 96.0146 | 5.5932 | 174.6958 | -72.9489
11 | -49.1596 | 145.8634 | 76.7279 | 5.5222 | 143.1521 | -60.8593
12 | -39.0848 | 145.4249 | 67.1567 | 19.2988 | 95.0342 | -48.3634
13 | -33.9615 | 147.5935 | 89.8827 | 33.3011 | 133.1098 | -100.2787
14 | -42.3991 | 126.9212 | 81.9852 | 35.9009 | 129.0509 | -125.1713
15 | -33.153 | 132.9971 | 89.3427 | 30.0561 | 150.6382 | -80.222
16 | -44.1085 | 175.6332 | 145.6796 | 79.0691 | 261.529 | -142.6502
17 | -59.8302 | 186.6517 | 150.2493 | 100.1968 | 282.748 | -225.1533
18 | -45.6595 | 171.6841 | 142.3582 | 64.5023 | 256.5427 | -164.8475
19 | -40.5071 | 163.9314 | 149.6908 | 48.155 | 270.3187 | -141.4322
20 | -29.0454 | 149.6529 | 142.8344 | 24.6113 | 254.0133 | -90.2923
21 | -19.6398 | 139.7925 | 130.4644 | 11.0961 | 241.7399 | -55.51
22 | -12.919 | 114.8412 | 90.1846 | -25.6532 | 195.5762 | -63.734
23 | -4.2752 | 112.5888 | 52.8818 | -37.175 | 163.2315 | -37.4195
24 | 1.4856 | 99.4904 | 46.5767 | -46.3164 | 174.6985 | -41.6954
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-12-03
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 905.02
|  |  | 01:00 - 02:00 | 857.42
|  |  | 02:00 - 03:00 | 850.33
|  |  | 03:00 - 04:00 | 848.33
|  |  | 04:00 - 05:00 | 852.01
|  |  | 05:00 - 06:00 | 885.42
|  |  | 06:00 - 07:00 | 984.13
|  |  | 07:00 - 08:00 | 1134.86
|  |  | 08:00 - 09:00 | 1252.86
|  |  | 09:00 - 10:00 | 1323.48
|  |  | 10:00 - 11:00 | 1267.25
|  |  | 11:00 - 12:00 | 1177.81
|  |  | 12:00 - 13:00 | 1184.37
|  |  | 13:00 - 14:00 | 1204.4
|  |  | 14:00 - 15:00 | 1189.2
|  |  | 15:00 - 16:00 | 1330.63
|  |  | 16:00 - 17:00 | 1483.14
|  |  | 17:00 - 18:00 | 1644.13
|  |  | 18:00 - 19:00 | 1641.34
|  |  | 19:00 - 20:00 | 1615.46
|  |  | 20:00 - 21:00 | 1558.46
|  |  | 21:00 - 22:00 | 1450.55
|  |  | 22:00 - 23:00 | 1321.59
|  |  | 23:00 - 00:00 | 1115.71
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 89.1344 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 89.139 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 89.1401 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 89.1426 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 89.1291 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 89.1294 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 102.8502 | 1.9089 | 0 | 0
8 | 0 | 1.2598 | 0 | 0 | 93.2581 | 101.3259 | 50.457 | 0
9 | 0 | 99.4627 | 0 | 0 | 97.2253 | 99.2892 | 99.2992 | 0
10 | 0 | 99.9727 | 0 | 0 | 90.157 | 121.9637 | 133.9328 | 0
11 | 0 | 99.9673 | 0 | 0 | 89.2185 | 100.2458 | 99.4294 | 0
12 | 0 | 99.9921 | 0 | 0 | 89.2196 | 90.2609 | 119.0383 | 0
13 | 0 | 100.0016 | 0 | 0 | 89.2078 | 90.2684 | 134.0342 | 0.26434
14 | 0 | 0.61218 | 0 | 0 | 89.7323 | 102.2264 | 89.601 | 93.5284
15 | 0 | 0 | 0 | 0 | 94.2476 | 119.023 | 89.3909 | 94.1263
16 | 0 | 0 | 0 | 0 | 101.1456 | 120.0005 | 128.8248 | 133.4239
17 | 0 | 0 | 0 | 0 | 109.641 | 134.8574 | 128.9707 | 133.7071
18 | 0 | 0 | 0 | 0 | 89.3654 | 133.8632 | 133.9966 | 133.6865
19 | 0 | 0 | 0 | 0 | 93.026 | 133.876 | 128.9298 | 128.8096
20 | 0 | 0 | 0 | 0 | 112.24 | 106.6126 | 114.6343 | 128.789
21 | 0 | 0 | 0 | 0 | 114.9778 | 118.9861 | 99.2406 | 106.5516
22 | 0 | 0 | 0 | 0 | 106.4934 | 119.0411 | 89.3984 | 89.2217
23 | 0 | 0 | 0 | 0 | 101.3486 | 119.0759 | 109.1237 | 108.9154
24 | 0 | 0 | 0 | 0 | 114.4977 | 104.2258 | 94.4708 | 1.1911
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 501.2685 | 0 | 0 | 2223.5319 | 1917.051 | 1842.7724 | 1152.215
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 615.56 | 24.1463
|  | 2 | 549.46 | 28.7166
|  | 3 | 526.86 | 29.0474
|  | 4 | 530.03 | 27.6039
|  | 5 | 527.72 | 28.6789
|  | 6 | 607.01 | 31.8181
|  | 7 | 779.42 | 30.137
|  | 8 | 988.53 | 26.5729
|  | 9 | 1030.64 | 32.1317
|  | 10 | 1016.04 | 35.1977
|  | 11 | 973.96 | 36.5441
|  | 12 | 855.59 | 38.7335
|  | 13 | 851.43 | 33.8161
|  | 14 | 801.51 | 30.3483
|  | 15 | 824.7 | 25.9189
|  | 16 | 873.13 | 26.2827
|  | 17 | 956.97 | 28.605
|  | 18 | 1059.61 | 37.2159
|  | 19 | 1129.94 | 32.6742
|  | 20 | 1115.82 | 34.0698
|  | 21 | 1069.79 | 33.7039
|  | 22 | 955.97 | 33.2872
|  | 23 | 838.08 | 29.997
|  | 24 | 690.87 | 28.7003
|  | 25 | 601.1 | 29.0567
|  | 26 | 547.01 | 24.9624
|  | 27 | 530.59 | 26.1586
|  | 28 | 529.49 | 25.5789
|  | 29 | 539.69 | 26.1365
|  | 30 | 592.68 | 24.2318
|  | 31 | 737.51 | 22.195
|  | 32 | 947.75 | 25.7583
|  | 33 | 1020.95 | 30.3824
|  | 34 | 1026.12 | 33.9879
|  | 35 | 1019.01 | 34.6171
|  | 36 | 985.2 | 34.5005
|  | 37 | 994.86 | 30.9706
|  | 38 | 994.1 | 31.2953
|  | 39 | 1009.34 | 23.4406
|  | 40 | 1019.74 | 22.1527
|  | 41 | 1108.51 | 24.394
|  | 42 | 1172.01 | 28.1446
|  | 43 | 1154.97 | 27.6112
|  | 44 | 1137.77 | 26.4473
|  | 45 | 1114.04 | 24.727
|  | 46 | 1011.89 | 22.6637
|  | 47 | 853.88 | 21.7722
|  | 48 | 695.91 | 20.1699
|  | 49 | 590.42 | 19.8916
|  | 50 | 540.08 | 19.8925
|  | 51 | 515.3 | 20.2314
|  | 52 | 504.82 | 19.6636
|  | 53 | 511.03 | 18.8823
|  | 54 | 563.81 | 18.7805
|  | 55 | 687.13 | 19.151
|  | 56 | 854.05 | 20.4191
|  | 57 | 979.05 | 25.0495
|  | 58 | 1008.49 | 26.2691
|  | 59 | 1009.08 | 25.1914
|  | 60 | 1010.69 | 23.4647
|  | 61 | 946.72 | 23.452
|  | 62 | 952.96 | 22.2805
|  | 63 | 1041.94 | 22.8969
|  | 64 | 1057.5 | 29.0036
|  | 65 | 1267.71 | 39.3586
|  | 66 | 1336.38 | 46.8552
|  | 67 | 1320.36 | 46.046
|  | 68 | 1294.84 | 42.1116
|  | 69 | 1108.11 | 37.8972
|  | 70 | 1007.94 | 32.6134
|  | 71 | 868.2 | 26.4443
|  | 72 | 729.75 | 23.9063
|  | 73 | 625.91 | 20.0251
|  | 74 | 559.82 | 21.001
|  | 75 | 539.56 | 19.07
|  | 76 | 509.36 | 19.5288
|  | 77 | 526.24 | 21.3113
|  | 78 | 580.62 | 22.0372
|  | 79 | 696.86 | 21.7215
|  | 80 | 869.05 | 22.8847
|  | 81 | 981.11 | 25.3942
|  | 82 | 1015.42 | 26.4863
|  | 83 | 988.45 | 23.547
|  | 84 | 974.55 | 27.518
|  | 85 | 977.74 | 26.4839
|  | 86 | 1001.56 | 26.2641
|  | 87 | 1012.41 | 27.2054
|  | 88 | 1050.63 | 29.2652
|  | 89 | 1180.81 | 34.6829
|  | 90 | 1301.31 | 36.5983
|  | 91 | 1315.24 | 35.2886
|  | 92 | 1314.18 | 33.145
|  | 93 | 1251.75 | 32.9356
|  | 94 | 1123.57 | 31.0757
|  | 95 | 951.19 | 26.746
|  | 96 | 766.93 | 24.3801
|  | 97 | 582.52 | 19.0052
|  | 98 | 529.27 | 18.9872
|  | 99 | 501.62 | 18.3027
|  | 100 | 494.64 | 18.7479
|  | 101 | 503.02 | 20.2745
|  | 102 | 562.67 | 23.2048
|  | 103 | 696.33 | 20.8195
|  | 104 | 870.41 | 23.7553
|  | 105 | 995.52 | 26.1834
|  | 106 | 1020.19 | 28.0716
|  | 107 | 1012.71 | 26.3965
|  | 108 | 1033.46 | 27.5743
|  | 109 | 1038.96 | 25.9676
|  | 110 | 1068.08 | 26.1917
|  | 111 | 1089.34 | 25.6314
|  | 112 | 1146.85 | 25.5956
|  | 113 | 1204.09 | 27.491
|  | 114 | 1290.33 | 30.6736
|  | 115 | 1275.15 | 30.6551
|  | 116 | 1301.78 | 29.5129
|  | 117 | 1240.39 | 27.174
|  | 118 | 1115.71 | 24.2142
|  | 119 | 912.99 | 20.9706
|  | 120 | 761.74 | 18.5224
|  | 121 | 630.46 | 17.5189
|  | 122 | 576.76 | 17.6402
|  | 123 | 554.26 | 17.2069
|  | 124 | 544.33 | 17.3317
|  | 125 | 551.52 | 18.6703
|  | 126 | 601.81 | 19.4027
|  | 127 | 719.92 | 20.1762
|  | 128 | 870.53 | 23.2897
|  | 129 | 1012.64 | 25.1215
|  | 130 | 1080.84 | 27.1682
|  | 131 | 1103.66 | 26.376
|  | 132 | 1119.89 | 27.9053
|  | 133 | 1102.43 | 29.4528
|  | 134 | 1124.01 | 28.167
|  | 135 | 1119.7 | 29.4873
|  | 136 | 1112.83 | 31.0282
|  | 137 | 1178.07 | 36.0726
|  | 138 | 1261.21 | 34.3681
|  | 139 | 1235.54 | 31.5183
|  | 140 | 1186.02 | 29.4154
|  | 141 | 1131.99 | 26.9484
|  | 142 | 1037.07 | 23.4591
|  | 143 | 910.88 | 19.9816
|  | 144 | 784.77 | 19.3641
|  | 145 | 656.86 | 18.7388
|  | 146 | 601.91 | 20.8423
|  | 147 | 578.51 | 21.3629
|  | 148 | 576.76 | 22.8811
|  | 149 | 576.32 | 24.02
|  | 150 | 628.46 | 23.0717
|  | 151 | 750.11 | 18.9563
|  | 152 | 910.26 | 19.63
|  | 153 | 1055.13 | 20.3199
|  | 154 | 1159.75 | 19.3183
|  | 155 | 1181.88 | 18.5705
|  | 156 | 1210.63 | 15.7789
|  | 157 | 1191.66 | 15.3251
|  | 158 | 1102.35 | 15.832
|  | 159 | 1107.65 | 16.1518
|  | 160 | 1111.79 | 18.7134
|  | 161 | 1168.46 | 21.7403
|  | 162 | 1268.31 | 24.8845
|  | 163 | 1213.49 | 24.1006
|  | 164 | 1182.69 | 24.4546
|  | 165 | 1165.39 | 23.9426
|  | 166 | 1023.9 | 26.2322
|  | 167 | 895.33 | 24.775
|  | 168 | 766.22 | 23.0144
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 27/11/2023 | 28/11/20232 | 29/11/20232 | 30/11/20232 | 01/12/20232 | 02/12/2023 | 03/12/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible