## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2023-12-14
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 23568.18 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 12/11/2023 | 12/12/20232 | 13/12/20232 | 14/12/20232 | 15/12/20232 | 16/12/2023 | 17/12/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2023-12-12
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 777.8775 | 97.4949 | 680.3826
|  | 2 | 692.054 | 93.5085 | 598.5455
|  | 3 | 664.1971 | 99.5028 | 564.6943
|  | 4 | 660.662 | 106.5951 | 554.0669
|  | 5 | 676.7061 | 115.4812 | 561.2249
|  | 6 | 762.3717 | 134.1889 | 628.1828
|  | 7 | 1041.5998 | 225.3752 | 816.2246
|  | 8 | 1376.853 | 316.8629 | 1059.9901
|  | 9 | 1473.8165 | 350.2359 | 1123.5806
|  | 10 | 1471.7671 | 360.8703 | 1110.8968
|  | 11 | 1411.4032 | 338.7683 | 1072.6349
|  | 12 | 1382.0462 | 323.1356 | 1058.9106
|  | 13 | 1421.659 | 353.8523 | 1067.8067
|  | 14 | 1413.2142 | 329.8017 | 1083.4125
|  | 15 | 1463.9364 | 328.9536 | 1134.9828
|  | 16 | 1481.4554 | 321.0024 | 1160.453
|  | 17 | 1569.7691 | 337.9834 | 1231.7858
|  | 18 | 1631.6687 | 332.9991 | 1298.6696
|  | 19 | 1602.3749 | 307.5277 | 1294.8472
|  | 20 | 1561.2114 | 286.436 | 1274.7753
|  | 21 | 1521.5147 | 289.2636 | 1232.2511
|  | 22 | 1296.2633 | 170.048 | 1126.2153
|  | 23 | 1050.3867 | 91.1346 | 959.2522
|  | 24 | 900.8579 | 124.1683 | 776.6896
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Remont
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Remont
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Remont
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Remont
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 49.0805 | 108.172 | -102.5496 | -78.6724 | -200.764 | 322.2284
2 | 55.2054 | 75.0337 | -101.2187 | -91.7361 | -197.6809 | 353.9051
3 | 63.1689 | 63.2587 | -110.9048 | -101.0484 | -216.7872 | 401.8156
4 | 63.9944 | 59.6992 | -110.1136 | -100.971 | -216.4109 | 410.397
5 | 53.1912 | 67.987 | -88.4418 | -80.4561 | -176.1554 | 339.3563
6 | 31.0437 | 100.3278 | -62.2071 | -47.7131 | -120.7261 | 233.4638
7 | 0.99913 | 150.3348 | -15.217 | 25.3081 | -47.1395 | 111.0897
8 | -16.7943 | 204.9552 | 23.7922 | 68.5021 | -4.747 | 41.1548
9 | -33.6525 | 219.3707 | 56.7333 | 81.3432 | 74.1324 | -47.6911
10 | -35.0765 | 219.3387 | 73.0559 | 92.4715 | 103.445 | -92.3644
11 | -19.2423 | 219.3884 | 70.2401 | 88.2944 | 96.0584 | -115.9706
12 | -17.3996 | 219.3629 | 75.3636 | 70.6955 | 117.5892 | -142.476
13 | -14.3338 | 217.2475 | 75.7227 | 75.5113 | 101.2543 | -101.5496
14 | -12.7492 | 219.304 | 81.0751 | 46.5615 | 134.5317 | -138.9214
15 | -20.9198 | 209.4571 | 83.4062 | 52.8966 | 125.6721 | -121.5587
16 | -12.9715 | 219.3849 | 39.237 | 20.3181 | 57.87 | -2.8359
17 | -1.0661 | 219.4118 | 7.834 | 25.8145 | -31.0007 | 116.9899
18 | 0.34667 | 219.3231 | 20.6091 | 8.9059 | -11.1848 | 94.9991
19 | 0.81358 | 208.8852 | 22.9726 | -7.764 | -4.8411 | 87.4615
20 | -1.2897 | 191.8469 | 25.463 | -15.17 | 9.5881 | 75.9977
21 | -11.7542 | 186.998 | 53.2565 | -11.6863 | 77.6751 | -5.2255
22 | 1.244 | 159.0669 | 14.9935 | -44.8133 | 9.6015 | 29.9555
23 | 14.6947 | 137.3862 | -26.0683 | -63.7895 | -52.2601 | 81.1716
24 | 26.4133 | 115.0867 | -24.065 | -59.9316 | -44.5885 | 111.2535
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2023-12-14
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 758.87
|  |  | 01:00 - 02:00 | 675.66
|  |  | 02:00 - 03:00 | 630.43
|  |  | 03:00 - 04:00 | 619.71
|  |  | 04:00 - 05:00 | 642.31
|  |  | 05:00 - 06:00 | 705.02
|  |  | 06:00 - 07:00 | 1121
|  |  | 07:00 - 08:00 | 1354.83
|  |  | 08:00 - 09:00 | 1425.59
|  |  | 09:00 - 10:00 | 1432.92
|  |  | 10:00 - 11:00 | 1400.23
|  |  | 11:00 - 12:00 | 1383.23
|  |  | 12:00 - 13:00 | 1397.73
|  |  | 13:00 - 14:00 | 1430.02
|  |  | 14:00 - 15:00 | 1442.07
|  |  | 15:00 - 16:00 | 1456.2
|  |  | 16:00 - 17:00 | 1536.05
|  |  | 17:00 - 18:00 | 1600.23
|  |  | 18:00 - 19:00 | 1588.84
|  |  | 19:00 - 20:00 | 1569.87
|  |  | 20:00 - 21:00 | 1527.67
|  |  | 21:00 - 22:00 | 1421.79
|  |  | 22:00 - 23:00 | 1264.63
|  |  | 23:00 - 00:00 | 860.48
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 91.1165 | 109.6455 | 0 | 0 | 0.71992 | 0 | 0
2 | 0 | 0 | 109.72 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 109.7193 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 109.6805 | 0 | 0 | 0 | 0 | 0
5 | 1.5971 | 0 | 109.7214 | 0 | 0 | 0 | 0 | 0
6 | 99.4031 | 0 | 109.7195 | 0 | 0 | 0.54996 | 0 | 0
7 | 104.5477 | 2.4719 | 109.7266 | 0 | 0.57125 | 110.5206 | 0 | 0.67805
8 | 92.4944 | 95.5714 | 109.7659 | 0 | 86.942 | 93.3081 | 0 | 89.1365
9 | 104.6977 | 109.8939 | 109.7408 | 0 | 115.8205 | 138.3169 | 0 | 89.1954
10 | 104.7367 | 110.0982 | 109.6855 | 0 | 127.7249 | 137.951 | 0 | 92.2238
11 | 104.7464 | 110.0907 | 109.76 | 0 | 89.6464 | 128.1791 | 0 | 89.3338
12 | 104.7443 | 110.1067 | 109.6978 | 0 | 89.2806 | 89.4757 | 0 | 89.8674
13 | 104.8119 | 110.1453 | 109.7422 | 0 | 89.2607 | 89.3168 | 0 | 89.1532
14 | 104.7855 | 110.1146 | 109.6374 | 0 | 89.2738 | 105.2051 | 0 | 123.5586
15 | 104.7653 | 110.1347 | 99.7577 | 0 | 143.4305 | 127.0252 | 1.784 | 109.5388
16 | 104.7653 | 110.1276 | 109.7065 | 0 | 109.2808 | 104.3003 | 89.4175 | 95.8865
17 | 104.7365 | 110.1245 | 109.7389 | 0 | 119.0369 | 124.0018 | 118.9872 | 112.9745
18 | 104.7306 | 110.0874 | 109.6874 | 0 | 128.9231 | 138.9335 | 129.0001 | 112.8663
19 | 0.83571 | 110.5313 | 109.671 | 0 | 141.7458 | 141.8899 | 141.9385 | 120.432
20 | 0 | 110.0743 | 109.6876 | 0 | 133.8856 | 135.9733 | 138.9445 | 97.64
21 | 0 | 110.0408 | 99.8561 | 0 | 133.8675 | 129.0711 | 99.4624 | 118.8321
22 | 0 | 110.0916 | 109.6171 | 0 | 133.8565 | 140.9024 | 0.80259 | 109.2109
23 | 0 | 110.0935 | 109.7096 | 0 | 1.2681 | 100.4612 | 0 | 113.4687
24 | 0 | 110.1115 | 1.3819 | 0 | 0 | 73.0424 | 0 | 91.4375
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1346.3984 | 1951.0262 | 2504.7762 | 0 | 1733.8148 | 2109.1442 | 720.3368 | 1745.4343
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | N/a
Neni 5.12 | Rezerva energjitike | [5 empty] | N/a*
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 745.21 | 36.1616
|  | 2 | 672.1 | 32.9499
|  | 3 | 610.23 | 30.8162
|  | 4 | 562.39 | 29.0947
|  | 5 | 582.49 | 29.7978
|  | 6 | 682.75 | 30.3177
|  | 7 | 1077.66 | 32.3491
|  | 8 | 1453.81 | 37.3991
|  | 9 | 1558.72 | 41.6473
|  | 10 | 1572.46 | 39.0145
|  | 11 | 1555.43 | 42.6248
|  | 12 | 1530.59 | 47.9271
|  | 13 | 1541.12 | 50.4483
|  | 14 | 1592.23 | 55.944
|  | 15 | 1596.25 | 52.916
|  | 16 | 1601.08 | 51.2215
|  | 17 | 1639.62 | 49.3876
|  | 18 | 1697.06 | 48.3998
|  | 19 | 1691.65 | 46.5052
|  | 20 | 1668.27 | 45.0077
|  | 21 | 1613.38 | 44.6685
|  | 22 | 1513.39 | 43.6867
|  | 23 | 1161.87 | 40.8979
|  | 24 | 935.95 | 34.1665
|  | 25 | 754.58 | 29.0512
|  | 26 | 675.25 | 26.9944
|  | 27 | 636.72 | 24.1094
|  | 28 | 627.13 | 25.0415
|  | 29 | 646.67 | 25.2353
|  | 30 | 724.26 | 25.754
|  | 31 | 1067.97 | 27.5464
|  | 32 | 1450.16 | 32.7931
|  | 33 | 1532.49 | 37.5274
|  | 34 | 1521.63 | 39.6797
|  | 35 | 1500.51 | 37.6593
|  | 36 | 1350.06 | 38.1128
|  | 37 | 1345.59 | 37.0194
|  | 38 | 1397.2 | 38.3312
|  | 39 | 1427.06 | 39.1807
|  | 40 | 1468.3 | 41.4684
|  | 41 | 1554.03 | 43.0338
|  | 42 | 1629.75 | 47.384
|  | 43 | 1609.05 | 47.6817
|  | 44 | 1552.23 | 51.1238
|  | 45 | 1506.61 | 50.0416
|  | 46 | 1395 | 50.8251
|  | 47 | 1220.57 | 45.91
|  | 48 | 926.63 | 38.3207
|  | 49 | 1155.66 | 27.3226
|  | 50 | 1058.89 | 24.5033
|  | 51 | 1022.63 | 23.0192
|  | 52 | 1001.86 | 22.8288
|  | 53 | 1021.82 | 22.9284
|  | 54 | 1080.59 | 23.274
|  | 55 | 1215.2 | 24.3255
|  | 56 | 1423.4 | 34.8522
|  | 57 | 1769.18 | 45.2248
|  | 58 | 1813.81 | 45.3273
|  | 59 | 1782.94 | 43.4794
|  | 60 | 1780.28 | 41.4852
|  | 61 | 1774.56 | 43.9547
|  | 62 | 1805.98 | 41.9011
|  | 63 | 1821.07 | 42.4546
|  | 64 | 1860.58 | 43.0615
|  | 65 | 1997.75 | 42.4275
|  | 66 | 2074.76 | 43.4024
|  | 67 | 2067.49 | 42.6247
|  | 68 | 2085.53 | 43.1909
|  | 69 | 2057.81 | 42.6673
|  | 70 | 2027.21 | 44.7459
|  | 71 | 1737.87 | 41.2146
|  | 72 | 1445.74 | 34.5918
|  | 73 | 1086.06 | 26.7834
|  | 74 | 1010.65 | 28.2498
|  | 75 | 986.35 | 29.878
|  | 76 | 975.34 | 29.731
|  | 77 | 977.53 | 30.2926
|  | 78 | 1055.75 | 31.5167
|  | 79 | 1203.46 | 30.3865
|  | 80 | 1557.77 | 40.7147
|  | 81 | 1802.85 | 46.6769
|  | 82 | 1850.07 | 46.8603
|  | 83 | 1840.56 | 44.1911
|  | 84 | 1813.73 | 42.1216
|  | 85 | 1811.53 | 42.5881
|  | 86 | 1899.32 | 44.2425
|  | 87 | 1932.37 | 45.919
|  | 88 | 1966.65 | 46.2292
|  | 89 | 1956.95 | 48.2014
|  | 90 | 1972.37 | 48.0095
|  | 91 | 1969.57 | 48.0479
|  | 92 | 1972.22 | 46.2579
|  | 93 | 1934.11 | 43.583
|  | 94 | 1919.68 | 47.3763
|  | 95 | 1605.89 | 37.4999
|  | 96 | 1427.66 | 30.1902
|  | 97 | 1080.06 | 27.8978
|  | 98 | 1012.37 | 27.9576
|  | 99 | 981.2 | 26.9543
|  | 100 | 970.85 | 27.5031
|  | 101 | 983.45 | 29.2623
|  | 102 | 1049.68 | 37.8474
|  | 103 | 1195.59 | 38.3597
|  | 104 | 1551.42 | 52.2572
|  | 105 | 1795.66 | 53.5781
|  | 106 | 1822.07 | 51.1351
|  | 107 | 1783.74 | 49.1003
|  | 108 | 1758.54 | 48.9061
|  | 109 | 1755.32 | 49.7142
|  | 110 | 1760.2 | 53.8045
|  | 111 | 1785.92 | 51.9642
|  | 112 | 1864.27 | 48.8987
|  | 113 | 1854.5 | 47.8713
|  | 114 | 1927.94 | 51.1643
|  | 115 | 1892.52 | 51.8575
|  | 116 | 1869.91 | 47.6161
|  | 117 | 1827.1 | 45.6381
|  | 118 | 1672.52 | 43.8843
|  | 119 | 1548.93 | 37.839
|  | 120 | 1380.87 | 32.196
|  | 121 | 1064.55 | 27.3367
|  | 122 | 994.42 | 27.938
|  | 123 | 961.92 | 27.2224
|  | 124 | 952.33 | 27.4649
|  | 125 | 963.24 | 28.7001
|  | 126 | 1037.81 | 28.6583
|  | 127 | 1230.18 | 29.7498
|  | 128 | 1710.23 | 37.2794
|  | 129 | 1905.89 | 44.055
|  | 130 | 1921.3 | 44.631
|  | 131 | 1879.81 | 44.4557
|  | 132 | 1871.59 | 43.1804
|  | 133 | 1868.96 | 42.299
|  | 134 | 1881.07 | 44.1642
|  | 135 | 1904.27 | 44.0272
|  | 136 | 1920.12 | 44.7412
|  | 137 | 1918.08 | 45.3569
|  | 138 | 1962.56 | 45.7667
|  | 139 | 1938.97 | 45.0992
|  | 140 | 1918.65 | 44.4301
|  | 141 | 1715.8 | 44.7635
|  | 142 | 1676.75 | 42.3133
|  | 143 | 1505.16 | 37.2204
|  | 144 | 1320.85 | 34.6015
|  | 145 | 1093.38 | 25.1907
|  | 146 | 1022.27 | 25.55
|  | 147 | 1012.65 | 24.7344
|  | 148 | 1006.74 | 25.426
|  | 149 | 1009.25 | 27.1832
|  | 150 | 1069.14 | 29.1524
|  | 151 | 1270.15 | 26.1439
|  | 152 | 1713 | 25.3689
|  | 153 | 1857.6 | 27.0639
|  | 154 | 1905.57 | 27.9912
|  | 155 | 1868.92 | 26.9183
|  | 156 | 1862.5 | 28.4453
|  | 157 | 1863.61 | 26.6913
|  | 158 | 1882.31 | 29.5235
|  | 159 | 1894.78 | 29.8367
|  | 160 | 1883.86 | 28.8882
|  | 161 | 1884.86 | 31.5932
|  | 162 | 1962.1 | 34.036
|  | 163 | 1941.88 | 34.0534
|  | 164 | 1927.46 | 34.0193
|  | 165 | 1895.77 | 33.4105
|  | 166 | 1888.34 | 29.055
|  | 167 | 1548.54 | 26.8749
|  | 168 | 1386.01 | 26.6819
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 12/11/2023 | 12/12/20232 | 13/12/20232 | 14/12/20232 | 15/12/20232 | 16/12/2023 | 17/12/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2023-12-14
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 23568.18 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 12/11/2023 | 12/12/20232 | 13/12/20232 | 14/12/20232 | 15/12/20232 | 16/12/2023 | 17/12/2023
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2023
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2023-12-12
|  | Hour | Production | Exchange | Consumption
|  | 1 | 777.8775 | 97.4949 | 680.3826
|  | 2 | 692.054 | 93.5085 | 598.5455
|  | 3 | 664.1971 | 99.5028 | 564.6943
|  | 4 | 660.662 | 106.5951 | 554.0669
|  | 5 | 676.7061 | 115.4812 | 561.2249
|  | 6 | 762.3717 | 134.1889 | 628.1828
|  | 7 | 1041.5998 | 225.3752 | 816.2246
|  | 8 | 1376.853 | 316.8629 | 1059.9901
|  | 9 | 1473.8165 | 350.2359 | 1123.5806
|  | 10 | 1471.7671 | 360.8703 | 1110.8968
|  | 11 | 1411.4032 | 338.7683 | 1072.6349
|  | 12 | 1382.0462 | 323.1356 | 1058.9106
|  | 13 | 1421.659 | 353.8523 | 1067.8067
|  | 14 | 1413.2142 | 329.8017 | 1083.4125
|  | 15 | 1463.9364 | 328.9536 | 1134.9828
|  | 16 | 1481.4554 | 321.0024 | 1160.453
|  | 17 | 1569.7691 | 337.9834 | 1231.7858
|  | 18 | 1631.6687 | 332.9991 | 1298.6696
|  | 19 | 1602.3749 | 307.5277 | 1294.8472
|  | 20 | 1561.2114 | 286.436 | 1274.7753
|  | 21 | 1521.5147 | 289.2636 | 1232.2511
|  | 22 | 1296.2633 | 170.048 | 1126.2153
|  | 23 | 1050.3867 | 91.1346 | 959.2522
|  | 24 | 900.8579 | 124.1683 | 776.6896
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2022-03-13 | 2023-03-15 |  |  | Maintenace
| Zemblak-Kardia | 2023-05-02 | 2023-05-06 |  |  | Maintenace
| Prizren_Fierza | 2023-05-10 | 2023-05-11 |  |  | Maintenace
| Prizren_Fierza | 2023-09-06 | 2023-09-07 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-04-03 | 2023-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2023-08-23 | 2023-08-24 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-04-18 | 2023-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2023-09-15 | 2023-09-15 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 49.0805 | 108.172 | -102.5496 | -78.6724 | -200.764 | 322.2284
2 | 55.2054 | 75.0337 | -101.2187 | -91.7361 | -197.6809 | 353.9051
3 | 63.1689 | 63.2587 | -110.9048 | -101.0484 | -216.7872 | 401.8156
4 | 63.9944 | 59.6992 | -110.1136 | -100.971 | -216.4109 | 410.397
5 | 53.1912 | 67.987 | -88.4418 | -80.4561 | -176.1554 | 339.3563
6 | 31.0437 | 100.3278 | -62.2071 | -47.7131 | -120.7261 | 233.4638
7 | 0.99913 | 150.3348 | -15.217 | 25.3081 | -47.1395 | 111.0897
8 | -16.7943 | 204.9552 | 23.7922 | 68.5021 | -4.747 | 41.1548
9 | -33.6525 | 219.3707 | 56.7333 | 81.3432 | 74.1324 | -47.6911
10 | -35.0765 | 219.3387 | 73.0559 | 92.4715 | 103.445 | -92.3644
11 | -19.2423 | 219.3884 | 70.2401 | 88.2944 | 96.0584 | -115.9706
12 | -17.3996 | 219.3629 | 75.3636 | 70.6955 | 117.5892 | -142.476
13 | -14.3338 | 217.2475 | 75.7227 | 75.5113 | 101.2543 | -101.5496
14 | -12.7492 | 219.304 | 81.0751 | 46.5615 | 134.5317 | -138.9214
15 | -20.9198 | 209.4571 | 83.4062 | 52.8966 | 125.6721 | -121.5587
16 | -12.9715 | 219.3849 | 39.237 | 20.3181 | 57.87 | -2.8359
17 | -1.0661 | 219.4118 | 7.834 | 25.8145 | -31.0007 | 116.9899
18 | 0.34667 | 219.3231 | 20.6091 | 8.9059 | -11.1848 | 94.9991
19 | 0.81358 | 208.8852 | 22.9726 | -7.764 | -4.8411 | 87.4615
20 | -1.2897 | 191.8469 | 25.463 | -15.17 | 9.5881 | 75.9977
21 | -11.7542 | 186.998 | 53.2565 | -11.6863 | 77.6751 | -5.2255
22 | 1.244 | 159.0669 | 14.9935 | -44.8133 | 9.6015 | 29.9555
23 | 14.6947 | 137.3862 | -26.0683 | -63.7895 | -52.2601 | 81.1716
24 | 26.4133 | 115.0867 | -24.065 | -59.9316 | -44.5885 | 111.2535
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2023-12-14
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 758.87
|  |  | 01:00 - 02:00 | 675.66
|  |  | 02:00 - 03:00 | 630.43
|  |  | 03:00 - 04:00 | 619.71
|  |  | 04:00 - 05:00 | 642.31
|  |  | 05:00 - 06:00 | 705.02
|  |  | 06:00 - 07:00 | 1121
|  |  | 07:00 - 08:00 | 1354.83
|  |  | 08:00 - 09:00 | 1425.59
|  |  | 09:00 - 10:00 | 1432.92
|  |  | 10:00 - 11:00 | 1400.23
|  |  | 11:00 - 12:00 | 1383.23
|  |  | 12:00 - 13:00 | 1397.73
|  |  | 13:00 - 14:00 | 1430.02
|  |  | 14:00 - 15:00 | 1442.07
|  |  | 15:00 - 16:00 | 1456.2
|  |  | 16:00 - 17:00 | 1536.05
|  |  | 17:00 - 18:00 | 1600.23
|  |  | 18:00 - 19:00 | 1588.84
|  |  | 19:00 - 20:00 | 1569.87
|  |  | 20:00 - 21:00 | 1527.67
|  |  | 21:00 - 22:00 | 1421.79
|  |  | 22:00 - 23:00 | 1264.63
|  |  | 23:00 - 00:00 | 860.48
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 91.1165 | 109.6455 | 0 | 0 | 0.71992 | 0 | 0
2 | 0 | 0 | 109.72 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 109.7193 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 109.6805 | 0 | 0 | 0 | 0 | 0
5 | 1.5971 | 0 | 109.7214 | 0 | 0 | 0 | 0 | 0
6 | 99.4031 | 0 | 109.7195 | 0 | 0 | 0.54996 | 0 | 0
7 | 104.5477 | 2.4719 | 109.7266 | 0 | 0.57125 | 110.5206 | 0 | 0.67805
8 | 92.4944 | 95.5714 | 109.7659 | 0 | 86.942 | 93.3081 | 0 | 89.1365
9 | 104.6977 | 109.8939 | 109.7408 | 0 | 115.8205 | 138.3169 | 0 | 89.1954
10 | 104.7367 | 110.0982 | 109.6855 | 0 | 127.7249 | 137.951 | 0 | 92.2238
11 | 104.7464 | 110.0907 | 109.76 | 0 | 89.6464 | 128.1791 | 0 | 89.3338
12 | 104.7443 | 110.1067 | 109.6978 | 0 | 89.2806 | 89.4757 | 0 | 89.8674
13 | 104.8119 | 110.1453 | 109.7422 | 0 | 89.2607 | 89.3168 | 0 | 89.1532
14 | 104.7855 | 110.1146 | 109.6374 | 0 | 89.2738 | 105.2051 | 0 | 123.5586
15 | 104.7653 | 110.1347 | 99.7577 | 0 | 143.4305 | 127.0252 | 1.784 | 109.5388
16 | 104.7653 | 110.1276 | 109.7065 | 0 | 109.2808 | 104.3003 | 89.4175 | 95.8865
17 | 104.7365 | 110.1245 | 109.7389 | 0 | 119.0369 | 124.0018 | 118.9872 | 112.9745
18 | 104.7306 | 110.0874 | 109.6874 | 0 | 128.9231 | 138.9335 | 129.0001 | 112.8663
19 | 0.83571 | 110.5313 | 109.671 | 0 | 141.7458 | 141.8899 | 141.9385 | 120.432
20 | 0 | 110.0743 | 109.6876 | 0 | 133.8856 | 135.9733 | 138.9445 | 97.64
21 | 0 | 110.0408 | 99.8561 | 0 | 133.8675 | 129.0711 | 99.4624 | 118.8321
22 | 0 | 110.0916 | 109.6171 | 0 | 133.8565 | 140.9024 | 0.80259 | 109.2109
23 | 0 | 110.0935 | 109.7096 | 0 | 1.2681 | 100.4612 | 0 | 113.4687
24 | 0 | 110.1115 | 1.3819 | 0 | 0 | 73.0424 | 0 | 91.4375
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1346.3984 | 1859.9097 | 2395.1307 | 0 | 1733.8148 | 2108.4242 | 720.3368 | 1745.4343
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.12 | Energy reserve | [5 empty] | N/a*
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 745.21 | 36.1616
|  | 2 | 672.1 | 32.9499
|  | 3 | 610.23 | 30.8162
|  | 4 | 562.39 | 29.0947
|  | 5 | 582.49 | 29.7978
|  | 6 | 682.75 | 30.3177
|  | 7 | 1077.66 | 32.3491
|  | 8 | 1453.81 | 37.3991
|  | 9 | 1558.72 | 41.6473
|  | 10 | 1572.46 | 39.0145
|  | 11 | 1555.43 | 42.6248
|  | 12 | 1530.59 | 47.9271
|  | 13 | 1541.12 | 50.4483
|  | 14 | 1592.23 | 55.944
|  | 15 | 1596.25 | 52.916
|  | 16 | 1601.08 | 51.2215
|  | 17 | 1639.62 | 49.3876
|  | 18 | 1697.06 | 48.3998
|  | 19 | 1691.65 | 46.5052
|  | 20 | 1668.27 | 45.0077
|  | 21 | 1613.38 | 44.6685
|  | 22 | 1513.39 | 43.6867
|  | 23 | 1161.87 | 40.8979
|  | 24 | 935.95 | 34.1665
|  | 25 | 754.58 | 29.0512
|  | 26 | 675.25 | 26.9944
|  | 27 | 636.72 | 24.1094
|  | 28 | 627.13 | 25.0415
|  | 29 | 646.67 | 25.2353
|  | 30 | 724.26 | 25.754
|  | 31 | 1067.97 | 27.5464
|  | 32 | 1450.16 | 32.7931
|  | 33 | 1532.49 | 37.5274
|  | 34 | 1521.63 | 39.6797
|  | 35 | 1500.51 | 37.6593
|  | 36 | 1350.06 | 38.1128
|  | 37 | 1345.59 | 37.0194
|  | 38 | 1397.2 | 38.3312
|  | 39 | 1427.06 | 39.1807
|  | 40 | 1468.3 | 41.4684
|  | 41 | 1554.03 | 43.0338
|  | 42 | 1629.75 | 47.384
|  | 43 | 1609.05 | 47.6817
|  | 44 | 1552.23 | 51.1238
|  | 45 | 1506.61 | 50.0416
|  | 46 | 1395 | 50.8251
|  | 47 | 1220.57 | 45.91
|  | 48 | 926.63 | 38.3207
|  | 49 | 1155.66 | 27.3226
|  | 50 | 1058.89 | 24.5033
|  | 51 | 1022.63 | 23.0192
|  | 52 | 1001.86 | 22.8288
|  | 53 | 1021.82 | 22.9284
|  | 54 | 1080.59 | 23.274
|  | 55 | 1215.2 | 24.3255
|  | 56 | 1423.4 | 34.8522
|  | 57 | 1769.18 | 45.2248
|  | 58 | 1813.81 | 45.3273
|  | 59 | 1782.94 | 43.4794
|  | 60 | 1780.28 | 41.4852
|  | 61 | 1774.56 | 43.9547
|  | 62 | 1805.98 | 41.9011
|  | 63 | 1821.07 | 42.4546
|  | 64 | 1860.58 | 43.0615
|  | 65 | 1997.75 | 42.4275
|  | 66 | 2074.76 | 43.4024
|  | 67 | 2067.49 | 42.6247
|  | 68 | 2085.53 | 43.1909
|  | 69 | 2057.81 | 42.6673
|  | 70 | 2027.21 | 44.7459
|  | 71 | 1737.87 | 41.2146
|  | 72 | 1445.74 | 34.5918
|  | 73 | 1086.06 | 26.7834
|  | 74 | 1010.65 | 28.2498
|  | 75 | 986.35 | 29.878
|  | 76 | 975.34 | 29.731
|  | 77 | 977.53 | 30.2926
|  | 78 | 1055.75 | 31.5167
|  | 79 | 1203.46 | 30.3865
|  | 80 | 1557.77 | 40.7147
|  | 81 | 1802.85 | 46.6769
|  | 82 | 1850.07 | 46.8603
|  | 83 | 1840.56 | 44.1911
|  | 84 | 1813.73 | 42.1216
|  | 85 | 1811.53 | 42.5881
|  | 86 | 1899.32 | 44.2425
|  | 87 | 1932.37 | 45.919
|  | 88 | 1966.65 | 46.2292
|  | 89 | 1956.95 | 48.2014
|  | 90 | 1972.37 | 48.0095
|  | 91 | 1969.57 | 48.0479
|  | 92 | 1972.22 | 46.2579
|  | 93 | 1934.11 | 43.583
|  | 94 | 1919.68 | 47.3763
|  | 95 | 1605.89 | 37.4999
|  | 96 | 1427.66 | 30.1902
|  | 97 | 1080.06 | 27.8978
|  | 98 | 1012.37 | 27.9576
|  | 99 | 981.2 | 26.9543
|  | 100 | 970.85 | 27.5031
|  | 101 | 983.45 | 29.2623
|  | 102 | 1049.68 | 37.8474
|  | 103 | 1195.59 | 38.3597
|  | 104 | 1551.42 | 52.2572
|  | 105 | 1795.66 | 53.5781
|  | 106 | 1822.07 | 51.1351
|  | 107 | 1783.74 | 49.1003
|  | 108 | 1758.54 | 48.9061
|  | 109 | 1755.32 | 49.7142
|  | 110 | 1760.2 | 53.8045
|  | 111 | 1785.92 | 51.9642
|  | 112 | 1864.27 | 48.8987
|  | 113 | 1854.5 | 47.8713
|  | 114 | 1927.94 | 51.1643
|  | 115 | 1892.52 | 51.8575
|  | 116 | 1869.91 | 47.6161
|  | 117 | 1827.1 | 45.6381
|  | 118 | 1672.52 | 43.8843
|  | 119 | 1548.93 | 37.839
|  | 120 | 1380.87 | 32.196
|  | 121 | 1064.55 | 27.3367
|  | 122 | 994.42 | 27.938
|  | 123 | 961.92 | 27.2224
|  | 124 | 952.33 | 27.4649
|  | 125 | 963.24 | 28.7001
|  | 126 | 1037.81 | 28.6583
|  | 127 | 1230.18 | 29.7498
|  | 128 | 1710.23 | 37.2794
|  | 129 | 1905.89 | 44.055
|  | 130 | 1921.3 | 44.631
|  | 131 | 1879.81 | 44.4557
|  | 132 | 1871.59 | 43.1804
|  | 133 | 1868.96 | 42.299
|  | 134 | 1881.07 | 44.1642
|  | 135 | 1904.27 | 44.0272
|  | 136 | 1920.12 | 44.7412
|  | 137 | 1918.08 | 45.3569
|  | 138 | 1962.56 | 45.7667
|  | 139 | 1938.97 | 45.0992
|  | 140 | 1918.65 | 44.4301
|  | 141 | 1715.8 | 44.7635
|  | 142 | 1676.75 | 42.3133
|  | 143 | 1505.16 | 37.2204
|  | 144 | 1320.85 | 34.6015
|  | 145 | 1093.38 | 25.1907
|  | 146 | 1022.27 | 25.55
|  | 147 | 1012.65 | 24.7344
|  | 148 | 1006.74 | 25.426
|  | 149 | 1009.25 | 27.1832
|  | 150 | 1069.14 | 29.1524
|  | 151 | 1270.15 | 26.1439
|  | 152 | 1713 | 25.3689
|  | 153 | 1857.6 | 27.0639
|  | 154 | 1905.57 | 27.9912
|  | 155 | 1868.92 | 26.9183
|  | 156 | 1862.5 | 28.4453
|  | 157 | 1863.61 | 26.6913
|  | 158 | 1882.31 | 29.5235
|  | 159 | 1894.78 | 29.8367
|  | 160 | 1883.86 | 28.8882
|  | 161 | 1884.86 | 31.5932
|  | 162 | 1962.1 | 34.036
|  | 163 | 1941.88 | 34.0534
|  | 164 | 1927.46 | 34.0193
|  | 165 | 1895.77 | 33.4105
|  | 166 | 1888.34 | 29.055
|  | 167 | 1548.54 | 26.8749
|  | 168 | 1386.01 | 26.6819
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 12/11/2023 | 12/12/20232 | 13/12/20232 | 14/12/20232 | 15/12/20232 | 16/12/2023 | 17/12/2023
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible