## Info
1. Informacioni ditor duhet te perditesohet cdo dit per diten ne avance ne sheet "D-1" ku gjithashtu duhet te perditesohet data
2. Informacioni Javor duhet te perditesohet cdo te Premte per javen ne avance ne sheet "W-1"
3. Informacioni mujor duhet te perditesohet cdo fund muaji per muajin ne avance ne sheet "Publikime"
5. Ne sheet "Publikime" nuk duhet te nderhyhet dhe cdo informacion ditor, javor ose mujor duhet ndryshuar ne sheet-et perkatese. Pasi behen perditesimet, eksportohet ne *.pdf vetem sheet "Publikime"

## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-02-01
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 26204.63 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 29-01-2024 | 30-01-2024 | 31-01-2024 | 01-02-2024 | 02-02-2024 | 03-02-2024 | 04-02-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-01-30
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 795.4015 | 99.9023 | 695.4991
|  | 2 | 708.327 | 89.2489 | 619.0781
|  | 3 | 658.7209 | 80.2314 | 578.4895
|  | 4 | 652.3637 | 82.7207 | 569.643
|  | 5 | 654.759 | 82.0869 | 572.6721
|  | 6 | 733.4611 | 83.7369 | 649.7242
|  | 7 | 1095.1388 | 224.5986 | 870.5402
|  | 8 | 1434.6878 | 253.2668 | 1181.421
|  | 9 | 1529.3148 | 269.8433 | 1259.4715
|  | 10 | 1537.3139 | 307.4234 | 1229.8904
|  | 11 | 1458.9592 | 293.4648 | 1165.4944
|  | 12 | 1336.5422 | 221.7237 | 1114.8185
|  | 13 | 1221.5949 | 136.0795 | 1085.5154
|  | 14 | 1254.6377 | 141.2861 | 1113.3516
|  | 15 | 1333.0693 | 183.0679 | 1150.0014
|  | 16 | 1415.672 | 222.8649 | 1192.807
|  | 17 | 1591.476 | 318.7038 | 1272.7723
|  | 18 | 1768.23 | 327.8363 | 1440.3937
|  | 19 | 1835.6416 | 331.8922 | 1503.7494
|  | 20 | 1821.1097 | 323.2758 | 1497.8338
|  | 21 | 1770.7249 | 306.2162 | 1464.5087
|  | 22 | 1641.6115 | 303.3895 | 1338.222
|  | 23 | 1458.3675 | 308.0812 | 1150.2863
|  | 24 | 1277.5274 | 331.4236 | 946.1038
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro
| Agregati Nr.1 | Koman | 150 | Hidro
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 25.0782 | 138.8721 | 0.60815 | -59.1801 | -22.1249 | 83.0166
2 | 37.0834 | 98.1428 | 1.1276 | -83.2431 | -22.8319 | 142.6089
3 | 41.6956 | 70.9419 | -2.9879 | -94.3746 | -27.6219 | 159.8762
4 | 42.6101 | 65.9546 | -7.8475 | -94.3907 | -34.1242 | 173.1063
5 | 32.0174 | 69.3907 | -6.1472 | -81.8399 | -28.9068 | 151.1852
6 | 11.4164 | 111.921 | 11.2033 | -32.3141 | -10.9966 | 149.5298
7 | -8.0392 | 177.4754 | 3.7621 | -13.1895 | -18.5687 | 81.7457
8 | -11.7501 | 209.0122 | 50.8398 | -11.4154 | 13.1148 | 17.5047
9 | -9.3146 | 199.0241 | 83.887 | -26.0048 | 101.7946 | -83.8475
10 | -9.6603 | 198.9908 | 130.864 | -24.6597 | 216.806 | -157.8699
11 | -4.9107 | 198.9751 | 147.1443 | -38.8653 | 282.2158 | -215.492
12 | -11.9535 | 198.9822 | 149.5688 | -68.7311 | 300.927 | -285.4488
13 | -10.1551 | 198.9333 | 138.0302 | -80.7239 | 275.8184 | -244.6489
14 | -6.5914 | 198.8864 | 121.0334 | -81.1464 | 217.1608 | -179.8104
15 | 12.5595 | 198.8921 | 66.6249 | -62.8315 | 80.9814 | 33.5462
16 | 19.6311 | 198.841 | 20.9547 | -53.7837 | -47.0749 | 170.7091
17 | 0.95583 | 198.9574 | 10.9471 | -5.061 | -73.4173 | 164.7688
18 | -1.9085 | 218.71 | 13.1321 | -3.2611 | -109.9365 | 188.2009
19 | -2.8372 | 238.6287 | 15.9529 | -33.9591 | -102.3026 | 174.3682
20 | -1.1648 | 234.1764 | 1.7006 | -35.6332 | -125.3414 | 201
21 | -3.5185 | 219.1954 | 22.0852 | -31.9109 | -83.6828 | 173.5618
22 | 16.115 | 199.3335 | 6.8565 | -48.4679 | -91.7764 | 205.9804
23 | 38.3961 | 198.9631 | -11.3729 | -56.1351 | -125.543 | 258.657
24 | 57.5649 | 197.9788 | -37.6353 | -83.6592 | -159.815 | 307.7209
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-02-01
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 904.59
|  |  | 01:00 - 02:00 | 822.58
|  |  | 02:00 - 03:00 | 765.68
|  |  | 03:00 - 04:00 | 750.28
|  |  | 04:00 - 05:00 | 752.78
|  |  | 05:00 - 06:00 | 936.61
|  |  | 06:00 - 07:00 | 1140.46
|  |  | 07:00 - 08:00 | 1460.2
|  |  | 08:00 - 09:00 | 1557.57
|  |  | 09:00 - 10:00 | 1627.44
|  |  | 10:00 - 11:00 | 1554.12
|  |  | 11:00 - 12:00 | 1425.5
|  |  | 12:00 - 13:00 | 1400.85
|  |  | 13:00 - 14:00 | 1393.74
|  |  | 14:00 - 15:00 | 1508.07
|  |  | 15:00 - 16:00 | 1519.52
|  |  | 16:00 - 17:00 | 1582.94
|  |  | 17:00 - 18:00 | 1735.95
|  |  | 18:00 - 19:00 | 1807.05
|  |  | 19:00 - 20:00 | 1794.06
|  |  | 20:00 - 21:00 | 1774.98
|  |  | 21:00 - 22:00 | 1651.84
|  |  | 22:00 - 23:00 | 1447.66
|  |  | 23:00 - 00:00 | 1168.16
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 99.8258 | 0 | 48.9769 | 1.4608 | 95.1077 | 0 | 0
2 | 0 | 52.5095 | 0 | 0 | 0 | 95.058 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 95.0566 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 95.0517 | 0 | 0
5 | 0 | 0.22874 | 0 | 0 | 0 | 95.0506 | 0 | 0
6 | 84.7644 | 8.5818 | 0 | 1.2587 | 0 | 97.6926 | 0 | 0
7 | 99.6487 | 99.9129 | 0 | 98.7552 | 0 | 107.5128 | 0.48078 | 0.78592
8 | 99.6328 | 109.9549 | 53.27 | 99.314 | 0 | 111.8703 | 140.7626 | 137.2741
9 | 99.6749 | 99.9413 | 99.6357 | 99.33 | 0 | 107.5142 | 143.8797 | 143.5206
10 | 99.673 | 99.8625 | 99.726 | 99.3852 | 0 | 115.5072 | 135.0242 | 133.7656
11 | 99.6998 | 99.8807 | 0.68219 | 99.3487 | 0 | 92.2277 | 141.7284 | 138.6355
12 | 99.6579 | 99.8951 | 0 | 99.3367 | 0 | 93.8495 | 104.7303 | 97.062
13 | 99.7076 | 99.8533 | 0 | 99.3322 | 0 | 99.3407 | 95.4043 | 89.133
14 | 99.6598 | 99.8495 | 0 | 99.3059 | 1.2383 | 102.3602 | 121.0114 | 99.0111
15 | 99.6969 | 99.8559 | 0 | 99.3156 | 89.2515 | 98.2713 | 90.7137 | 90.7417
16 | 99.7106 | 99.8209 | 2.4946 | 99.2813 | 94.2111 | 101.6651 | 103.1677 | 94.0969
17 | 99.695 | 99.8552 | 89.5828 | 99.3397 | 99.2452 | 97.695 | 97.3193 | 99.0121
18 | 109.7112 | 109.8052 | 99.5739 | 109.1388 | 138.6649 | 121.7537 | 136.7702 | 138.3137
19 | 114.7227 | 119.833 | 104.6095 | 119.058 | 143.7108 | 143.8027 | 142.9032 | 143.4936
20 | 114.7634 | 119.9995 | 99.7123 | 114.4566 | 143.7086 | 143.8215 | 139.8922 | 143.5383
21 | 104.8548 | 109.9788 | 99.7106 | 109.7749 | 143.703 | 143.8123 | 143.88 | 143.5217
22 | 99.7326 | 99.955 | 99.6884 | 99.3099 | 113.4066 | 113.501 | 121.1292 | 119.061
23 | 99.7291 | 99.8344 | 0.64742 | 99.3691 | 0.82353 | 118.9773 | 123.0867 | 118.8807
24 | 0.63134 | 99.8093 | 0 | 99.3901 | 0 | 140.5572 | 137.6612 | 3.5968
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1825.3665 | 2029.0429 | 849.3333 | 1892.7775 | 969.4244 | 2627.0567 | 2119.5452 | 1933.4442
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 464.96
Neni 5.12 | Rezerva energjitike | [5 empty] | 1129.2GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 679.4368 | 14.2391
|  | 2 | 601.4328 | 14.3942
|  | 3 | 562.5184 | 12.6503
|  | 4 | 549.3174 | 12.6404
|  | 5 | 562.6883 | 14.171
|  | 6 | 635.2956 | 14.5457
|  | 7 | 858.018 | 25.5768
|  | 8 | 1159.2137 | 32.1395
|  | 9 | 1260.529 | 33.9504
|  | 10 | 1234.0023 | 31.4316
|  | 11 | 1169.5837 | 27.0773
|  | 12 | 1105.554 | 25.4581
|  | 13 | 1082.832 | 24.1263
|  | 14 | 1112.0251 | 26.972
|  | 15 | 1149.5889 | 30.1285
|  | 16 | 1181.1972 | 30.6311
|  | 17 | 1255.5608 | 36.8438
|  | 18 | 1412.022 | 46.6723
|  | 19 | 1471.2686 | 51.2543
|  | 20 | 1461.1539 | 51.518
|  | 21 | 1427.9892 | 50.1394
|  | 22 | 1304.3817 | 38.4617
|  | 23 | 1093.4665 | 26.2714
|  | 24 | 859.0359 | 21.2182
|  | 25 | 693.0903 | 13.5119
|  | 26 | 616.6693 | 13.2243
|  | 27 | 576.0807 | 11.9833
|  | 28 | 567.2341 | 12.5749
|  | 29 | 570.2633 | 13.017
|  | 30 | 647.3153 | 17.4104
|  | 31 | 868.1314 | 24.5932
|  | 32 | 1179.0122 | 31.913
|  | 33 | 1257.0627 | 33.7076
|  | 34 | 1227.4816 | 29.0392
|  | 35 | 1163.0856 | 25.6158
|  | 36 | 1112.4096 | 22.9241
|  | 37 | 1083.1065 | 21.423
|  | 38 | 1110.9428 | 23.8557
|  | 39 | 1147.5926 | 27.1072
|  | 40 | 1190.3982 | 29.201
|  | 41 | 1270.3634 | 36.4536
|  | 42 | 1437.9848 | 47.7124
|  | 43 | 1501.3405 | 50.5423
|  | 44 | 1495.425 | 49.3385
|  | 45 | 1462.0998 | 47.9579
|  | 46 | 1335.8131 | 36.6942
|  | 47 | 1147.8775 | 30.2718
|  | 48 | 943.6949 | 18.8992
|  | 49 | 783.362 | 17.6778
|  | 50 | 664.5235 | 13.4151
|  | 51 | 601.2876 | 13.1395
|  | 52 | 582.9417 | 12.0069
|  | 53 | 589.9958 | 12.9904
|  | 54 | 666.6222 | 14.9956
|  | 55 | 891.1104 | 19.6426
|  | 56 | 1203.2489 | 30.4319
|  | 57 | 1290.9744 | 34.0352
|  | 58 | 1265.1033 | 31.2624
|  | 59 | 1185.8082 | 28.0578
|  | 60 | 1121.5465 | 27.4476
|  | 61 | 1098.2245 | 27.4625
|  | 62 | 1126.9291 | 25.9817
|  | 63 | 1163.2454 | 26.2461
|  | 64 | 1191.3599 | 29.5372
|  | 65 | 1258.1951 | 35.3169
|  | 66 | 1444.9513 | 48.1382
|  | 67 | 1520.8088 | 52.7776
|  | 68 | 1517.2281 | 51.2032
|  | 69 | 1482.0102 | 49.5907
|  | 70 | 1354.6279 | 39.9945
|  | 71 | 1133.7095 | 27.9119
|  | 72 | 879.3925 | 18.9017
|  | 73 | 716.7863 | 15.3135
|  | 74 | 630.7831 | 15.0059
|  | 75 | 594.6797 | 14.7694
|  | 76 | 582.6563 | 15.0108
|  | 77 | 592.3455 | 13.66
|  | 78 | 667.3842 | 14.2327
|  | 79 | 888.0922 | 20.101
|  | 80 | 1203.749 | 33.5559
|  | 81 | 1293.7727 | 35.943
|  | 82 | 1243.611 | 34.6774
|  | 83 | 1167.8882 | 30.1482
|  | 84 | 1107.4212 | 27.6133
|  | 85 | 1083.6296 | 25.8048
|  | 86 | 1109.8893 | 26.1949
|  | 87 | 1152.0217 | 28.9646
|  | 88 | 1190.3397 | 33.3386
|  | 89 | 1255.992 | 37.7033
|  | 90 | 1425.6113 | 49.9032
|  | 91 | 1493.9807 | 53.5527
|  | 92 | 1484.7553 | 53.6251
|  | 93 | 1453.8018 | 50.4725
|  | 94 | 1331.0888 | 42.204
|  | 95 | 1120.0964 | 34.015
|  | 96 | 890.413 | 29.007
|  | 97 | 721.2351 | 20.3081
|  | 98 | 635.4289 | 20.7805
|  | 99 | 589.656 | 20.2964
|  | 100 | 578.1562 | 19.1675
|  | 101 | 590.5694 | 19.8767
|  | 102 | 667.1881 | 20.0264
|  | 103 | 891.3127 | 25.467
|  | 104 | 1193.2068 | 35.3773
|  | 105 | 1311.2042 | 38.3455
|  | 106 | 1302.8769 | 37.9839
|  | 107 | 1226.4953 | 29.6264
|  | 108 | 1150.1281 | 26.1756
|  | 109 | 1117.8026 | 23.5024
|  | 110 | 1136.9726 | 23.9416
|  | 111 | 1163.0242 | 26.5875
|  | 112 | 1176.1528 | 28.6081
|  | 113 | 1236.0271 | 34.5011
|  | 114 | 1403.1625 | 43.7303
|  | 115 | 1465.436 | 47.3705
|  | 116 | 1444.8318 | 48.1244
|  | 117 | 1405.6832 | 44.696
|  | 118 | 1285.4481 | 37.2021
|  | 119 | 1094.9616 | 27.2651
|  | 120 | 887.5835 | 21.3495
|  | 121 | 737.0899 | 16.8289
|  | 122 | 646.624 | 15.2715
|  | 123 | 597.482 | 17.3723
|  | 124 | 575.3556 | 18.6833
|  | 125 | 584.0558 | 20.191
|  | 126 | 651.0043 | 18.3037
|  | 127 | 803.7766 | 24.6226
|  | 128 | 1034.3303 | 28.9056
|  | 129 | 1201.5452 | 29.9301
|  | 130 | 1226.1317 | 29.98
|  | 131 | 1166.1021 | 25.6919
|  | 132 | 1105.8431 | 22.87
|  | 133 | 1071.9067 | 20.5645
|  | 134 | 1088.4702 | 22.4959
|  | 135 | 1102.2962 | 27.6785
|  | 136 | 1131.6521 | 32.3116
|  | 137 | 1207.0887 | 36.2721
|  | 138 | 1367.3673 | 43.086
|  | 139 | 1443.1619 | 47.8959
|  | 140 | 1426.0893 | 49.3461
|  | 141 | 1381.5202 | 46.9676
|  | 142 | 1269.2686 | 38.1474
|  | 143 | 1096.8032 | 31.0667
|  | 144 | 920.3175 | 24.7268
|  | 145 | 761.0245 | 20.2388
|  | 146 | 655.1152 | 17.4711
|  | 147 | 578.8439 | 16.0812
|  | 148 | 553.1976 | 15.5405
|  | 149 | 552.9518 | 15.2991
|  | 150 | 596.3163 | 16.5518
|  | 151 | 712.4374 | 21.2371
|  | 152 | 910.7276 | 25.7367
|  | 153 | 1089.4288 | 26.5439
|  | 154 | 1121.1189 | 23.3521
|  | 155 | 1068.0186 | 20.9636
|  | 156 | 1007.8934 | 19.7972
|  | 157 | 995.1852 | 17.8666
|  | 158 | 1002.0444 | 18.3038
|  | 159 | 998.8208 | 21.8992
|  | 160 | 1031.0714 | 26.0835
|  | 161 | 1126.9734 | 31.4164
|  | 162 | 1326.1167 | 43.9319
|  | 163 | 1414.2189 | 48.0549
|  | 164 | 1417.2449 | 48.9003
|  | 165 | 1387.2663 | 50.6508
|  | 166 | 1253.6757 | 44.6029
|  | 167 | 1064.9818 | 33.5558
|  | 168 | 845.1263 | 23.1502
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 29-01-2024 | 30-01-2024 | 31-01-2024 | 01-02-2024 | 02-02-2024 | 03-02-2024 | 04-02-2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-02-01
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 26204.63 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 29-01-2024 | 30-01-2024 | 31-01-2024 | 01-02-2024 | 02-02-2024 | 03-02-2024 | 04-02-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-01-30
|  | Hour | Production | Exchange | Consumption
|  | 1 | 795.4015 | 99.9023 | 695.4991
|  | 2 | 708.327 | 89.2489 | 619.0781
|  | 3 | 658.7209 | 80.2314 | 578.4895
|  | 4 | 652.3637 | 82.7207 | 569.643
|  | 5 | 654.759 | 82.0869 | 572.6721
|  | 6 | 733.4611 | 83.7369 | 649.7242
|  | 7 | 1095.1388 | 224.5986 | 870.5402
|  | 8 | 1434.6878 | 253.2668 | 1181.421
|  | 9 | 1529.3148 | 269.8433 | 1259.4715
|  | 10 | 1537.3139 | 307.4234 | 1229.8904
|  | 11 | 1458.9592 | 293.4648 | 1165.4944
|  | 12 | 1336.5422 | 221.7237 | 1114.8185
|  | 13 | 1221.5949 | 136.0795 | 1085.5154
|  | 14 | 1254.6377 | 141.2861 | 1113.3516
|  | 15 | 1333.0693 | 183.0679 | 1150.0014
|  | 16 | 1415.672 | 222.8649 | 1192.807
|  | 17 | 1591.476 | 318.7038 | 1272.7723
|  | 18 | 1768.23 | 327.8363 | 1440.3937
|  | 19 | 1835.6416 | 331.8922 | 1503.7494
|  | 20 | 1821.1097 | 323.2758 | 1497.8338
|  | 21 | 1770.7249 | 306.2162 | 1464.5087
|  | 22 | 1641.6115 | 303.3895 | 1338.222
|  | 23 | 1458.3675 | 308.0812 | 1150.2863
|  | 24 | 1277.5274 | 331.4236 | 946.1038
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.2 | Fierze | 125 | Hidro
| Aggregate Nr.3 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Fierze | 125 | Hidro
| Aggregate Nr.1 | Koman | 150 | Hidro
| Aggregate Nr.2 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Koman | 150 | Hidro
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 25.0782 | 138.8721 | 0.60815 | -59.1801 | -22.1249 | 83.0166
2 | 37.0834 | 98.1428 | 1.1276 | -83.2431 | -22.8319 | 142.6089
3 | 41.6956 | 70.9419 | -2.9879 | -94.3746 | -27.6219 | 159.8762
4 | 42.6101 | 65.9546 | -7.8475 | -94.3907 | -34.1242 | 173.1063
5 | 32.0174 | 69.3907 | -6.1472 | -81.8399 | -28.9068 | 151.1852
6 | 11.4164 | 111.921 | 11.2033 | -32.3141 | -10.9966 | 149.5298
7 | -8.0392 | 177.4754 | 3.7621 | -13.1895 | -18.5687 | 81.7457
8 | -11.7501 | 209.0122 | 50.8398 | -11.4154 | 13.1148 | 17.5047
9 | -9.3146 | 199.0241 | 83.887 | -26.0048 | 101.7946 | -83.8475
10 | -9.6603 | 198.9908 | 130.864 | -24.6597 | 216.806 | -157.8699
11 | -4.9107 | 198.9751 | 147.1443 | -38.8653 | 282.2158 | -215.492
12 | -11.9535 | 198.9822 | 149.5688 | -68.7311 | 300.927 | -285.4488
13 | -10.1551 | 198.9333 | 138.0302 | -80.7239 | 275.8184 | -244.6489
14 | -6.5914 | 198.8864 | 121.0334 | -81.1464 | 217.1608 | -179.8104
15 | 12.5595 | 198.8921 | 66.6249 | -62.8315 | 80.9814 | 33.5462
16 | 19.6311 | 198.841 | 20.9547 | -53.7837 | -47.0749 | 170.7091
17 | 0.95583 | 198.9574 | 10.9471 | -5.061 | -73.4173 | 164.7688
18 | -1.9085 | 218.71 | 13.1321 | -3.2611 | -109.9365 | 188.2009
19 | -2.8372 | 238.6287 | 15.9529 | -33.9591 | -102.3026 | 174.3682
20 | -1.1648 | 234.1764 | 1.7006 | -35.6332 | -125.3414 | 201
21 | -3.5185 | 219.1954 | 22.0852 | -31.9109 | -83.6828 | 173.5618
22 | 16.115 | 199.3335 | 6.8565 | -48.4679 | -91.7764 | 205.9804
23 | 38.3961 | 198.9631 | -11.3729 | -56.1351 | -125.543 | 258.657
24 | 57.5649 | 197.9788 | -37.6353 | -83.6592 | -159.815 | 307.7209
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2024-02-01
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 904.59
|  |  | 01:00 - 02:00 | 822.58
|  |  | 02:00 - 03:00 | 765.68
|  |  | 03:00 - 04:00 | 750.28
|  |  | 04:00 - 05:00 | 752.78
|  |  | 05:00 - 06:00 | 936.61
|  |  | 06:00 - 07:00 | 1140.46
|  |  | 07:00 - 08:00 | 1460.2
|  |  | 08:00 - 09:00 | 1557.57
|  |  | 09:00 - 10:00 | 1627.44
|  |  | 10:00 - 11:00 | 1554.12
|  |  | 11:00 - 12:00 | 1425.5
|  |  | 12:00 - 13:00 | 1400.85
|  |  | 13:00 - 14:00 | 1393.74
|  |  | 14:00 - 15:00 | 1508.07
|  |  | 15:00 - 16:00 | 1519.52
|  |  | 16:00 - 17:00 | 1582.94
|  |  | 17:00 - 18:00 | 1735.95
|  |  | 18:00 - 19:00 | 1807.05
|  |  | 19:00 - 20:00 | 1794.06
|  |  | 20:00 - 21:00 | 1774.98
|  |  | 21:00 - 22:00 | 1651.84
|  |  | 22:00 - 23:00 | 1447.66
|  |  | 23:00 - 00:00 | 1168.16
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 99.8258 | 0 | 48.9769 | 1.4608 | 95.1077 | 0 | 0
2 | 0 | 52.5095 | 0 | 0 | 0 | 95.058 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 95.0566 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 95.0517 | 0 | 0
5 | 0 | 0.22874 | 0 | 0 | 0 | 95.0506 | 0 | 0
6 | 84.7644 | 8.5818 | 0 | 1.2587 | 0 | 97.6926 | 0 | 0
7 | 99.6487 | 99.9129 | 0 | 98.7552 | 0 | 107.5128 | 0.48078 | 0.78592
8 | 99.6328 | 109.9549 | 53.27 | 99.314 | 0 | 111.8703 | 140.7626 | 137.2741
9 | 99.6749 | 99.9413 | 99.6357 | 99.33 | 0 | 107.5142 | 143.8797 | 143.5206
10 | 99.673 | 99.8625 | 99.726 | 99.3852 | 0 | 115.5072 | 135.0242 | 133.7656
11 | 99.6998 | 99.8807 | 0.68219 | 99.3487 | 0 | 92.2277 | 141.7284 | 138.6355
12 | 99.6579 | 99.8951 | 0 | 99.3367 | 0 | 93.8495 | 104.7303 | 97.062
13 | 99.7076 | 99.8533 | 0 | 99.3322 | 0 | 99.3407 | 95.4043 | 89.133
14 | 99.6598 | 99.8495 | 0 | 99.3059 | 1.2383 | 102.3602 | 121.0114 | 99.0111
15 | 99.6969 | 99.8559 | 0 | 99.3156 | 89.2515 | 98.2713 | 90.7137 | 90.7417
16 | 99.7106 | 99.8209 | 2.4946 | 99.2813 | 94.2111 | 101.6651 | 103.1677 | 94.0969
17 | 99.695 | 99.8552 | 89.5828 | 99.3397 | 99.2452 | 97.695 | 97.3193 | 99.0121
18 | 109.7112 | 109.8052 | 99.5739 | 109.1388 | 138.6649 | 121.7537 | 136.7702 | 138.3137
19 | 114.7227 | 119.833 | 104.6095 | 119.058 | 143.7108 | 143.8027 | 142.9032 | 143.4936
20 | 114.7634 | 119.9995 | 99.7123 | 114.4566 | 143.7086 | 143.8215 | 139.8922 | 143.5383
21 | 104.8548 | 109.9788 | 99.7106 | 109.7749 | 143.703 | 143.8123 | 143.88 | 143.5217
22 | 99.7326 | 99.955 | 99.6884 | 99.3099 | 113.4066 | 113.501 | 121.1292 | 119.061
23 | 99.7291 | 99.8344 | 0.64742 | 99.3691 | 0.82353 | 118.9773 | 123.0867 | 118.8807
24 | 0.63134 | 99.8093 | 0 | 99.3901 | 0 | 140.5572 | 137.6612 | 3.5968
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1825.3665 | 1929.2171 | 849.3333 | 1843.8006 | 967.9636 | 2531.9489 | 2119.5452 | 1933.4442
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 464.96
Art. 5.12 | Energy reserve | [5 empty] | 1129.2 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 679.4368 | 14.2391
|  | 2 | 601.4328 | 14.3942
|  | 3 | 562.5184 | 12.6503
|  | 4 | 549.3174 | 12.6404
|  | 5 | 562.6883 | 14.171
|  | 6 | 635.2956 | 14.5457
|  | 7 | 858.018 | 25.5768
|  | 8 | 1159.2137 | 32.1395
|  | 9 | 1260.529 | 33.9504
|  | 10 | 1234.0023 | 31.4316
|  | 11 | 1169.5837 | 27.0773
|  | 12 | 1105.554 | 25.4581
|  | 13 | 1082.832 | 24.1263
|  | 14 | 1112.0251 | 26.972
|  | 15 | 1149.5889 | 30.1285
|  | 16 | 1181.1972 | 30.6311
|  | 17 | 1255.5608 | 36.8438
|  | 18 | 1412.022 | 46.6723
|  | 19 | 1471.2686 | 51.2543
|  | 20 | 1461.1539 | 51.518
|  | 21 | 1427.9892 | 50.1394
|  | 22 | 1304.3817 | 38.4617
|  | 23 | 1093.4665 | 26.2714
|  | 24 | 859.0359 | 21.2182
|  | 25 | 693.0903 | 13.5119
|  | 26 | 616.6693 | 13.2243
|  | 27 | 576.0807 | 11.9833
|  | 28 | 567.2341 | 12.5749
|  | 29 | 570.2633 | 13.017
|  | 30 | 647.3153 | 17.4104
|  | 31 | 868.1314 | 24.5932
|  | 32 | 1179.0122 | 31.913
|  | 33 | 1257.0627 | 33.7076
|  | 34 | 1227.4816 | 29.0392
|  | 35 | 1163.0856 | 25.6158
|  | 36 | 1112.4096 | 22.9241
|  | 37 | 1083.1065 | 21.423
|  | 38 | 1110.9428 | 23.8557
|  | 39 | 1147.5926 | 27.1072
|  | 40 | 1190.3982 | 29.201
|  | 41 | 1270.3634 | 36.4536
|  | 42 | 1437.9848 | 47.7124
|  | 43 | 1501.3405 | 50.5423
|  | 44 | 1495.425 | 49.3385
|  | 45 | 1462.0998 | 47.9579
|  | 46 | 1335.8131 | 36.6942
|  | 47 | 1147.8775 | 30.2718
|  | 48 | 943.6949 | 18.8992
|  | 49 | 783.362 | 17.6778
|  | 50 | 664.5235 | 13.4151
|  | 51 | 601.2876 | 13.1395
|  | 52 | 582.9417 | 12.0069
|  | 53 | 589.9958 | 12.9904
|  | 54 | 666.6222 | 14.9956
|  | 55 | 891.1104 | 19.6426
|  | 56 | 1203.2489 | 30.4319
|  | 57 | 1290.9744 | 34.0352
|  | 58 | 1265.1033 | 31.2624
|  | 59 | 1185.8082 | 28.0578
|  | 60 | 1121.5465 | 27.4476
|  | 61 | 1098.2245 | 27.4625
|  | 62 | 1126.9291 | 25.9817
|  | 63 | 1163.2454 | 26.2461
|  | 64 | 1191.3599 | 29.5372
|  | 65 | 1258.1951 | 35.3169
|  | 66 | 1444.9513 | 48.1382
|  | 67 | 1520.8088 | 52.7776
|  | 68 | 1517.2281 | 51.2032
|  | 69 | 1482.0102 | 49.5907
|  | 70 | 1354.6279 | 39.9945
|  | 71 | 1133.7095 | 27.9119
|  | 72 | 879.3925 | 18.9017
|  | 73 | 716.7863 | 15.3135
|  | 74 | 630.7831 | 15.0059
|  | 75 | 594.6797 | 14.7694
|  | 76 | 582.6563 | 15.0108
|  | 77 | 592.3455 | 13.66
|  | 78 | 667.3842 | 14.2327
|  | 79 | 888.0922 | 20.101
|  | 80 | 1203.749 | 33.5559
|  | 81 | 1293.7727 | 35.943
|  | 82 | 1243.611 | 34.6774
|  | 83 | 1167.8882 | 30.1482
|  | 84 | 1107.4212 | 27.6133
|  | 85 | 1083.6296 | 25.8048
|  | 86 | 1109.8893 | 26.1949
|  | 87 | 1152.0217 | 28.9646
|  | 88 | 1190.3397 | 33.3386
|  | 89 | 1255.992 | 37.7033
|  | 90 | 1425.6113 | 49.9032
|  | 91 | 1493.9807 | 53.5527
|  | 92 | 1484.7553 | 53.6251
|  | 93 | 1453.8018 | 50.4725
|  | 94 | 1331.0888 | 42.204
|  | 95 | 1120.0964 | 34.015
|  | 96 | 890.413 | 29.007
|  | 97 | 721.2351 | 20.3081
|  | 98 | 635.4289 | 20.7805
|  | 99 | 589.656 | 20.2964
|  | 100 | 578.1562 | 19.1675
|  | 101 | 590.5694 | 19.8767
|  | 102 | 667.1881 | 20.0264
|  | 103 | 891.3127 | 25.467
|  | 104 | 1193.2068 | 35.3773
|  | 105 | 1311.2042 | 38.3455
|  | 106 | 1302.8769 | 37.9839
|  | 107 | 1226.4953 | 29.6264
|  | 108 | 1150.1281 | 26.1756
|  | 109 | 1117.8026 | 23.5024
|  | 110 | 1136.9726 | 23.9416
|  | 111 | 1163.0242 | 26.5875
|  | 112 | 1176.1528 | 28.6081
|  | 113 | 1236.0271 | 34.5011
|  | 114 | 1403.1625 | 43.7303
|  | 115 | 1465.436 | 47.3705
|  | 116 | 1444.8318 | 48.1244
|  | 117 | 1405.6832 | 44.696
|  | 118 | 1285.4481 | 37.2021
|  | 119 | 1094.9616 | 27.2651
|  | 120 | 887.5835 | 21.3495
|  | 121 | 737.0899 | 16.8289
|  | 122 | 646.624 | 15.2715
|  | 123 | 597.482 | 17.3723
|  | 124 | 575.3556 | 18.6833
|  | 125 | 584.0558 | 20.191
|  | 126 | 651.0043 | 18.3037
|  | 127 | 803.7766 | 24.6226
|  | 128 | 1034.3303 | 28.9056
|  | 129 | 1201.5452 | 29.9301
|  | 130 | 1226.1317 | 29.98
|  | 131 | 1166.1021 | 25.6919
|  | 132 | 1105.8431 | 22.87
|  | 133 | 1071.9067 | 20.5645
|  | 134 | 1088.4702 | 22.4959
|  | 135 | 1102.2962 | 27.6785
|  | 136 | 1131.6521 | 32.3116
|  | 137 | 1207.0887 | 36.2721
|  | 138 | 1367.3673 | 43.086
|  | 139 | 1443.1619 | 47.8959
|  | 140 | 1426.0893 | 49.3461
|  | 141 | 1381.5202 | 46.9676
|  | 142 | 1269.2686 | 38.1474
|  | 143 | 1096.8032 | 31.0667
|  | 144 | 920.3175 | 24.7268
|  | 145 | 761.0245 | 20.2388
|  | 146 | 655.1152 | 17.4711
|  | 147 | 578.8439 | 16.0812
|  | 148 | 553.1976 | 15.5405
|  | 149 | 552.9518 | 15.2991
|  | 150 | 596.3163 | 16.5518
|  | 151 | 712.4374 | 21.2371
|  | 152 | 910.7276 | 25.7367
|  | 153 | 1089.4288 | 26.5439
|  | 154 | 1121.1189 | 23.3521
|  | 155 | 1068.0186 | 20.9636
|  | 156 | 1007.8934 | 19.7972
|  | 157 | 995.1852 | 17.8666
|  | 158 | 1002.0444 | 18.3038
|  | 159 | 998.8208 | 21.8992
|  | 160 | 1031.0714 | 26.0835
|  | 161 | 1126.9734 | 31.4164
|  | 162 | 1326.1167 | 43.9319
|  | 163 | 1414.2189 | 48.0549
|  | 164 | 1417.2449 | 48.9003
|  | 165 | 1387.2663 | 50.6508
|  | 166 | 1253.6757 | 44.6029
|  | 167 | 1064.9818 | 33.5558
|  | 168 | 845.1263 | 23.1502
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 29-01-2024 | 30-01-2024 | 31-01-2024 | 01-02-2024 | 02-02-2024 | 03-02-2024 | 04-02-2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible

## D-1
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-02-01
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.2 | Parashikimi D-1 I ngarkeses totale per BZ | [5 empty] | 26204.63 | MWh
Neni 5.3 | Planifikimi i gjenerimit per D-1
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 904.59
|  |  | 01:00 - 02:00 | 822.58
|  |  | 02:00 - 03:00 | 765.68
|  |  | 03:00 - 04:00 | 750.28
|  |  | 04:00 - 05:00 | 752.78
|  |  | 05:00 - 06:00 | 936.61
|  |  | 06:00 - 07:00 | 1140.46
|  |  | 07:00 - 08:00 | 1460.2
|  |  | 08:00 - 09:00 | 1557.57
|  |  | 09:00 - 10:00 | 1627.44
|  |  | 10:00 - 11:00 | 1554.12
|  |  | 11:00 - 12:00 | 1425.5
|  |  | 12:00 - 13:00 | 1400.85
|  |  | 13:00 - 14:00 | 1393.74
|  |  | 14:00 - 15:00 | 1508.07
|  |  | 15:00 - 16:00 | 1519.52
|  |  | 16:00 - 17:00 | 1582.94
|  |  | 17:00 - 18:00 | 1735.95
|  |  | 18:00 - 19:00 | 1807.05
|  |  | 19:00 - 20:00 | 1794.06
|  |  | 20:00 - 21:00 | 1774.98
|  |  | 21:00 - 22:00 | 1651.84
|  |  | 22:00 - 23:00 | 1447.66
|  |  | 23:00 - 00:00 | 1168.16
Realizimi per diten D+1 | [7 empty] | MWh
2024-01-30
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 795.4015 | 99.9023 | 695.4991
|  | 2 | 708.327 | 89.2489 | 619.0781
|  | 3 | 658.7209 | 80.2314 | 578.4895
|  | 4 | 652.3637 | 82.7207 | 569.643
|  | 5 | 654.759 | 82.0869 | 572.6721
|  | 6 | 733.4611 | 83.7369 | 649.7242
|  | 7 | 1095.1388 | 224.5986 | 870.5402
|  | 8 | 1434.6878 | 253.2668 | 1181.421
|  | 9 | 1529.3148 | 269.8433 | 1259.4715
|  | 10 | 1537.3139 | 307.4234 | 1229.8904
|  | 11 | 1458.9592 | 293.4648 | 1165.4944
|  | 12 | 1336.5422 | 221.7237 | 1114.8185
|  | 13 | 1221.5949 | 136.0795 | 1085.5154
|  | 14 | 1254.6377 | 141.2861 | 1113.3516
|  | 15 | 1333.0693 | 183.0679 | 1150.0014
|  | 16 | 1415.672 | 222.8649 | 1192.807
|  | 17 | 1591.476 | 318.7038 | 1272.7723
|  | 18 | 1768.23 | 327.8363 | 1440.3937
|  | 19 | 1835.6416 | 331.8922 | 1503.7494
|  | 20 | 1821.1097 | 323.2758 | 1497.8338
|  | 21 | 1770.7249 | 306.2162 | 1464.5087
|  | 22 | 1641.6115 | 303.3895 | 1338.222
|  | 23 | 1458.3675 | 308.0812 | 1150.2863
|  | 24 | 1277.5274 | 331.4236 | 946.1038
export
| L 154 kV Bistrice-Myrtos/493 | 25.0782 | 37.0834 | 41.6956 | 42.6101 | 32.0174 | 11.4704 | 0.40401 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04161 | 12.5595 | 19.7518 | 2.4898 | 1.7711 | 0.0045965 | 0.15797 | 0.52714 | 16.115 | 38.3961 | 57.5649
| L 220 kV FIERZE-PRIZREN/494 | 138.8721 | 98.1428 | 70.9419 | 65.9546 | 69.3907 | 111.921 | 177.4754 | 209.0122 | 199.0241 | 198.9908 | 198.9751 | 198.9822 | 198.9333 | 198.8864 | 198.8921 | 198.841 | 198.9574 | 218.71 | 238.6287 | 234.1764 | 219.1954 | 199.3335 | 198.9631 | 197.9788
| L 220kV KOPLIK-PODGORICA/458 | 5.1629 | 5.2069 | 1.3096 | 0.66989 | 0.81359 | 12.293 | 7.5402 | 50.8412 | 83.887 | 130.864 | 147.1443 | 149.5688 | 138.0302 | 121.0334 | 66.6249 | 20.9547 | 11.5127 | 13.7168 | 15.9529 | 3.1018 | 22.0852 | 9.0265 | 0.50774 | 0
| L 400 kV KOMAN-KOSOVA B/853 | 0 | 0 | 0 | 0 | 0 | 0.0032256 | 0.21289 | 0.032256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45158 | 1.0741 | 0 | 0 | 0 | 0 | 0 | 0
| L 400kV TIRANA2-PODGORICE/454 | 2.8547 | 0.82522 | 0.28493 | 0.16397 | 0.47846 | 2.2848 | 1.4865 | 22.0416 | 101.7946 | 216.806 | 282.2158 | 300.927 | 275.8184 | 217.1608 | 80.9814 | 0.99456 | 0.010752 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| L 400kV ZEMBLAK-KARDIA/455 | 83.0166 | 142.6089 | 159.8762 | 173.1063 | 151.1852 | 149.5298 | 81.7483 | 26.2848 | 0.032256 | 0 | 0 | 0 | 0 | 0 | 36.3215 | 170.7091 | 164.7688 | 188.2009 | 174.3682 | 201 | 173.5618 | 205.9804 | 258.657 | 307.7209
import
| L 154 kV Bistrice-Myrtos/493 | 0 | 0 | 0 | 0 | 0 | 0.053948 | 8.4432 | 11.7501 | 9.3146 | 9.6603 | 4.9107 | 11.9535 | 10.1551 | 6.633 | 0 | 0.12072 | 1.534 | 3.6796 | 2.8418 | 1.3228 | 4.0456 | 0 | 0 | 0
| L 220 kV FIERZE-PRIZREN/494 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| L 220kV KOPLIK-PODGORICA/458 | 4.5548 | 4.0793 | 4.2975 | 8.5174 | 6.9608 | 1.0896 | 3.7781 | 0.0014193 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.56558 | 0.58474 | 0 | 1.4012 | 0 | 2.1701 | 11.8807 | 37.6353
| L 400 kV KOMAN-KOSOVA B/853 | 59.1801 | 83.2431 | 94.3746 | 94.3907 | 81.8399 | 32.3173 | 13.4024 | 11.4477 | 26.0048 | 24.6597 | 38.8653 | 68.7311 | 80.7239 | 81.1464 | 62.8315 | 53.7837 | 5.5126 | 4.3352 | 33.9591 | 35.6332 | 31.9109 | 48.4679 | 56.1351 | 83.6592
| L 400kV TIRANA2-PODGORICE/454 | 24.9796 | 23.6571 | 27.9068 | 34.2881 | 29.3852 | 13.2814 | 20.0552 | 8.9268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48.0695 | 73.4281 | 109.9365 | 102.3026 | 125.3414 | 83.6828 | 91.7764 | 125.543 | 159.815
| L 400kV ZEMBLAK-KARDIA/455 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0025805 | 8.7801 | 83.8798 | 157.8699 | 215.492 | 285.4488 | 244.6489 | 179.8104 | 2.7753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NETIM
| L 154 kV Bistrice-Myrtos/493 | 25.0782 | 37.0834 | 41.6956 | 42.6101 | 32.0174 | 11.4164 | -8.0392 | -11.7501 | -9.3146 | -9.6603 | -4.9107 | -11.9535 | -10.1551 | -6.5914 | 12.5595 | 19.6311 | 0.95583 | -1.9085 | -2.8372 | -1.1648 | -3.5185 | 16.115 | 38.3961 | 57.5649
| L 220 kV FIERZE-PRIZREN/494 | 138.8721 | 98.1428 | 70.9419 | 65.9546 | 69.3907 | 111.921 | 177.4754 | 209.0122 | 199.0241 | 198.9908 | 198.9751 | 198.9822 | 198.9333 | 198.8864 | 198.8921 | 198.841 | 198.9574 | 218.71 | 238.6287 | 234.1764 | 219.1954 | 199.3335 | 198.9631 | 197.9788
| L 220kV KOPLIK-PODGORICA/458 | 0.60815 | 1.1276 | -2.9879 | -7.8475 | -6.1472 | 11.2033 | 3.7621 | 50.8398 | 83.887 | 130.864 | 147.1443 | 149.5688 | 138.0302 | 121.0334 | 66.6249 | 20.9547 | 10.9471 | 13.1321 | 15.9529 | 1.7006 | 22.0852 | 6.8565 | -11.3729 | -37.6353
| L 400 kV KOMAN-KOSOVA B/853 | -59.1801 | -83.2431 | -94.3746 | -94.3907 | -81.8399 | -32.3141 | -13.1895 | -11.4154 | -26.0048 | -24.6597 | -38.8653 | -68.7311 | -80.7239 | -81.1464 | -62.8315 | -53.7837 | -5.061 | -3.2611 | -33.9591 | -35.6332 | -31.9109 | -48.4679 | -56.1351 | -83.6592
| L 400kV TIRANA2-PODGORICE/454 | -22.1249 | -22.8319 | -27.6219 | -34.1242 | -28.9068 | -10.9966 | -18.5687 | 13.1148 | 101.7946 | 216.806 | 282.2158 | 300.927 | 275.8184 | 217.1608 | 80.9814 | -47.0749 | -73.4173 | -109.9365 | -102.3026 | -125.3414 | -83.6828 | -91.7764 | -125.543 | -159.815
| L 400kV ZEMBLAK-KARDIA/455 | 83.0166 | 142.6089 | 159.8762 | 173.1063 | 151.1852 | 149.5298 | 81.7457 | 17.5047 | -83.8475 | -157.8699 | -215.492 | -285.4488 | -244.6489 | -179.8104 | 33.5462 | 170.7091 | 164.7688 | 188.2009 | 174.3682 | 201 | 173.5618 | 205.9804 | 258.657 | 307.7209
|  | Fierz 1 | Fierz 2 | Fierz 3 | Fierz 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
| 0 | 0 | 99.8258 | 0 | 48.9769 | 1.4608 | 95.1077 | 0 | 0
| 0 | 0 | 52.5095 | 0 | 0 | 0 | 95.058 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 95.0566 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 95.0517 | 0 | 0
| 0 | 0 | 0.22874 | 0 | 0 | 0 | 95.0506 | 0 | 0
| 0 | 84.7644 | 8.5818 | 0 | 1.2587 | 0 | 97.6926 | 0 | 0
| 0 | 99.6487 | 99.9129 | 0 | 98.7552 | 0 | 107.5128 | 0.48078 | 0.78592
| 0 | 99.6328 | 109.9549 | 53.27 | 99.314 | 0 | 111.8703 | 140.7626 | 137.2741
| 0 | 99.6749 | 99.9413 | 99.6357 | 99.33 | 0 | 107.5142 | 143.8797 | 143.5206
| 0 | 99.673 | 99.8625 | 99.726 | 99.3852 | 0 | 115.5072 | 135.0242 | 133.7656
| 0 | 99.6998 | 99.8807 | 0.68219 | 99.3487 | 0 | 92.2277 | 141.7284 | 138.6355
| 0 | 99.6579 | 99.8951 | 0 | 99.3367 | 0 | 93.8495 | 104.7303 | 97.062
| 0 | 99.7076 | 99.8533 | 0 | 99.3322 | 0 | 99.3407 | 95.4043 | 89.133
| 0 | 99.6598 | 99.8495 | 0 | 99.3059 | 1.2383 | 102.3602 | 121.0114 | 99.0111
| 0 | 99.6969 | 99.8559 | 0 | 99.3156 | 89.2515 | 98.2713 | 90.7137 | 90.7417
| 0 | 99.7106 | 99.8209 | 2.4946 | 99.2813 | 94.2111 | 101.6651 | 103.1677 | 94.0969
| 0 | 99.695 | 99.8552 | 89.5828 | 99.3397 | 99.2452 | 97.695 | 97.3193 | 99.0121
| 0 | 109.7112 | 109.8052 | 99.5739 | 109.1388 | 138.6649 | 121.7537 | 136.7702 | 138.3137
| 0 | 114.7227 | 119.833 | 104.6095 | 119.058 | 143.7108 | 143.8027 | 142.9032 | 143.4936
| 0 | 114.7634 | 119.9995 | 99.7123 | 114.4566 | 143.7086 | 143.8215 | 139.8922 | 143.5383
| 0 | 104.8548 | 109.9788 | 99.7106 | 109.7749 | 143.703 | 143.8123 | 143.88 | 143.5217
| 0 | 99.7326 | 99.955 | 99.6884 | 99.3099 | 113.4066 | 113.501 | 121.1292 | 119.061
| 0 | 99.7291 | 99.8344 | 0.64742 | 99.3691 | 0.82353 | 118.9773 | 123.0867 | 118.8807
| 0 | 0.63134 | 99.8093 | 0 | 99.3901 | 0 | 140.5572 | 137.6612 | 3.5968

## W-1
OPERATORI I SISTEMIT TE TRANSMETIMIT
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 29-01-2024 | 30-01-2024 | 31-01-2024 | 01-02-2024 | 02-02-2024 | 03-02-2024 | 04-02-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 679.4368 | 14.2391
|  | 2 | 601.4328 | 14.3942
|  | 3 | 562.5184 | 12.6503
|  | 4 | 549.3174 | 12.6404
|  | 5 | 562.6883 | 14.171
|  | 6 | 635.2956 | 14.5457
|  | 7 | 858.018 | 25.5768
|  | 8 | 1159.2137 | 32.1395
|  | 9 | 1260.529 | 33.9504
|  | 10 | 1234.0023 | 31.4316
|  | 11 | 1169.5837 | 27.0773
|  | 12 | 1105.554 | 25.4581
|  | 13 | 1082.832 | 24.1263
|  | 14 | 1112.0251 | 26.972
|  | 15 | 1149.5889 | 30.1285
|  | 16 | 1181.1972 | 30.6311
|  | 17 | 1255.5608 | 36.8438
|  | 18 | 1412.022 | 46.6723
|  | 19 | 1471.2686 | 51.2543
|  | 20 | 1461.1539 | 51.518
|  | 21 | 1427.9892 | 50.1394
|  | 22 | 1304.3817 | 38.4617
|  | 23 | 1093.4665 | 26.2714
|  | 24 | 859.0359 | 21.2182
|  | 25 | 693.0903 | 13.5119
|  | 26 | 616.6693 | 13.2243
|  | 27 | 576.0807 | 11.9833
|  | 28 | 567.2341 | 12.5749
|  | 29 | 570.2633 | 13.017
|  | 30 | 647.3153 | 17.4104
|  | 31 | 868.1314 | 24.5932
|  | 32 | 1179.0122 | 31.913
|  | 33 | 1257.0627 | 33.7076
|  | 34 | 1227.4816 | 29.0392
|  | 35 | 1163.0856 | 25.6158
|  | 36 | 1112.4096 | 22.9241
|  | 37 | 1083.1065 | 21.423
|  | 38 | 1110.9428 | 23.8557
|  | 39 | 1147.5926 | 27.1072
|  | 40 | 1190.3982 | 29.201
|  | 41 | 1270.3634 | 36.4536
|  | 42 | 1437.9848 | 47.7124
|  | 43 | 1501.3405 | 50.5423
|  | 44 | 1495.425 | 49.3385
|  | 45 | 1462.0998 | 47.9579
|  | 46 | 1335.8131 | 36.6942
|  | 47 | 1147.8775 | 30.2718
|  | 48 | 943.6949 | 18.8992
|  | 49 | 783.362 | 17.6778
|  | 50 | 664.5235 | 13.4151
|  | 51 | 601.2876 | 13.1395
|  | 52 | 582.9417 | 12.0069
|  | 53 | 589.9958 | 12.9904
|  | 54 | 666.6222 | 14.9956
|  | 55 | 891.1104 | 19.6426
|  | 56 | 1203.2489 | 30.4319
|  | 57 | 1290.9744 | 34.0352
|  | 58 | 1265.1033 | 31.2624
|  | 59 | 1185.8082 | 28.0578
|  | 60 | 1121.5465 | 27.4476
|  | 61 | 1098.2245 | 27.4625
|  | 62 | 1126.9291 | 25.9817
|  | 63 | 1163.2454 | 26.2461
|  | 64 | 1191.3599 | 29.5372
|  | 65 | 1258.1951 | 35.3169
|  | 66 | 1444.9513 | 48.1382
|  | 67 | 1520.8088 | 52.7776
|  | 68 | 1517.2281 | 51.2032
|  | 69 | 1482.0102 | 49.5907
|  | 70 | 1354.6279 | 39.9945
|  | 71 | 1133.7095 | 27.9119
|  | 72 | 879.3925 | 18.9017
|  | 73 | 716.7863 | 15.3135
|  | 74 | 630.7831 | 15.0059
|  | 75 | 594.6797 | 14.7694
|  | 76 | 582.6563 | 15.0108
|  | 77 | 592.3455 | 13.66
|  | 78 | 667.3842 | 14.2327
|  | 79 | 888.0922 | 20.101
|  | 80 | 1203.749 | 33.5559
|  | 81 | 1293.7727 | 35.943
|  | 82 | 1243.611 | 34.6774
|  | 83 | 1167.8882 | 30.1482
|  | 84 | 1107.4212 | 27.6133
|  | 85 | 1083.6296 | 25.8048
|  | 86 | 1109.8893 | 26.1949
|  | 87 | 1152.0217 | 28.9646
|  | 88 | 1190.3397 | 33.3386
|  | 89 | 1255.992 | 37.7033
|  | 90 | 1425.6113 | 49.9032
|  | 91 | 1493.9807 | 53.5527
|  | 92 | 1484.7553 | 53.6251
|  | 93 | 1453.8018 | 50.4725
|  | 94 | 1331.0888 | 42.204
|  | 95 | 1120.0964 | 34.015
|  | 96 | 890.413 | 29.007
|  | 97 | 721.2351 | 20.3081
|  | 98 | 635.4289 | 20.7805
|  | 99 | 589.656 | 20.2964
|  | 100 | 578.1562 | 19.1675
|  | 101 | 590.5694 | 19.8767
|  | 102 | 667.1881 | 20.0264
|  | 103 | 891.3127 | 25.467
|  | 104 | 1193.2068 | 35.3773
|  | 105 | 1311.2042 | 38.3455
|  | 106 | 1302.8769 | 37.9839
|  | 107 | 1226.4953 | 29.6264
|  | 108 | 1150.1281 | 26.1756
|  | 109 | 1117.8026 | 23.5024
|  | 110 | 1136.9726 | 23.9416
|  | 111 | 1163.0242 | 26.5875
|  | 112 | 1176.1528 | 28.6081
|  | 113 | 1236.0271 | 34.5011
|  | 114 | 1403.1625 | 43.7303
|  | 115 | 1465.436 | 47.3705
|  | 116 | 1444.8318 | 48.1244
|  | 117 | 1405.6832 | 44.696
|  | 118 | 1285.4481 | 37.2021
|  | 119 | 1094.9616 | 27.2651
|  | 120 | 887.5835 | 21.3495
|  | 121 | 737.0899 | 16.8289
|  | 122 | 646.624 | 15.2715
|  | 123 | 597.482 | 17.3723
|  | 124 | 575.3556 | 18.6833
|  | 125 | 584.0558 | 20.191
|  | 126 | 651.0043 | 18.3037
|  | 127 | 803.7766 | 24.6226
|  | 128 | 1034.3303 | 28.9056
|  | 129 | 1201.5452 | 29.9301
|  | 130 | 1226.1317 | 29.98
|  | 131 | 1166.1021 | 25.6919
|  | 132 | 1105.8431 | 22.87
|  | 133 | 1071.9067 | 20.5645
|  | 134 | 1088.4702 | 22.4959
|  | 135 | 1102.2962 | 27.6785
|  | 136 | 1131.6521 | 32.3116
|  | 137 | 1207.0887 | 36.2721
|  | 138 | 1367.3673 | 43.086
|  | 139 | 1443.1619 | 47.8959
|  | 140 | 1426.0893 | 49.3461
|  | 141 | 1381.5202 | 46.9676
|  | 142 | 1269.2686 | 38.1474
|  | 143 | 1096.8032 | 31.0667
|  | 144 | 920.3175 | 24.7268
|  | 145 | 761.0245 | 20.2388
|  | 146 | 655.1152 | 17.4711
|  | 147 | 578.8439 | 16.0812
|  | 148 | 553.1976 | 15.5405
|  | 149 | 552.9518 | 15.2991
|  | 150 | 596.3163 | 16.5518
|  | 151 | 712.4374 | 21.2371
|  | 152 | 910.7276 | 25.7367
|  | 153 | 1089.4288 | 26.5439
|  | 154 | 1121.1189 | 23.3521
|  | 155 | 1068.0186 | 20.9636
|  | 156 | 1007.8934 | 19.7972
|  | 157 | 995.1852 | 17.8666
|  | 158 | 1002.0444 | 18.3038
|  | 159 | 998.8208 | 21.8992
|  | 160 | 1031.0714 | 26.0835
|  | 161 | 1126.9734 | 31.4164
|  | 162 | 1326.1167 | 43.9319
|  | 163 | 1414.2189 | 48.0549
|  | 164 | 1417.2449 | 48.9003
|  | 165 | 1387.2663 | 50.6508
|  | 166 | 1253.6757 | 44.6029
|  | 167 | 1064.9818 | 33.5558
|  | 168 | 845.1263 | 23.1502
11.9833
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 29-01-2024 | 30-01-2024 | 31-01-2024 | 01-02-2024 | 02-02-2024 | 03-02-2024 | 04-02-2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti