## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-01-03
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 22603.51 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 01/01/2024 | 02/01/2024 | 03/01/2024 | 04/01/2024 | 05/01/2024 | 06/01/2024 | 07/01/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-01-01
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 935.3839 | 90.381 | 845.0029
|  | 2 | 864.2028 | 133.169 | 731.0338
|  | 3 | 715.2903 | 95.222 | 620.0683
|  | 4 | 715.8687 | 162.149 | 553.7197
|  | 5 | 692.2885 | 169.553 | 522.7355
|  | 6 | 717.5211 | 189.122 | 528.3991
|  | 7 | 690.6082 | 116.585 | 574.0232
|  | 8 | 690.3369 | 30.102 | 660.2349
|  | 9 | 847.4774 | 45.991 | 801.4864
|  | 10 | 1040.5928 | 128.025 | 912.5678
|  | 11 | 1001.9302 | 33.167 | 968.7632
|  | 12 | 1016.6304 | 34.25 | 982.3804
|  | 13 | 993.2554 | 29.648 | 963.6074
|  | 14 | 977.4243 | 31.503 | 945.9213
|  | 15 | 1036.5316 | 97.057 | 939.4746
|  | 16 | 1028.1599 | 87.562 | 940.5979
|  | 17 | 1121.2163 | 111.917 | 1009.2993
|  | 18 | 1281.867 | 211.649 | 1070.218
|  | 19 | 1269.5852 | 206.31 | 1063.2752
|  | 20 | 1251.0032 | 215.33 | 1035.6732
|  | 21 | 1214.9519 | 220.299 | 994.6529
|  | 22 | 1101.5406 | 177.081 | 924.4596
|  | 23 | 940.2241 | 107.425 | 832.7991
|  | 24 | 839.9865 | 117.968 | 722.0185
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro
| Agregati Nr.1 | Koman | 150 | Hidro
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 43.9624 | 90.4128 | -72.969 | -98.5969 | -130.4863 | 261.6387
2 | 49.2452 | 76.5828 | -85.2037 | -83.1592 | -189.2164 | 317.5526
3 | 57.3716 | 58.7597 | -95.7695 | -90.92 | -215.8598 | 371.9336
4 | 58.9593 | 39.5691 | -98.0711 | -106.419 | -212.5536 | 363.0916
5 | 55.803 | 34.376 | -94.9708 | -107.5351 | -202.3876 | 340.3731
6 | 59.3754 | 45.3994 | -104.2726 | -92.7296 | -241.3528 | 385.685
7 | 64.6742 | 64.0273 | -89.8589 | -98.1066 | -254.6316 | 427.263
8 | 58.2173 | 90.6605 | -84.8553 | -101.7903 | -214.1906 | 374.5102
9 | 42.8709 | 116.1675 | -81.3384 | -96.6229 | -218.0559 | 325.2772
10 | 33.1989 | 136.6084 | -68.9769 | -83.2882 | -204.9923 | 291.8368
11 | 25.913 | 140.444 | -73.6488 | -79.2723 | -209.3656 | 251.6613
12 | 26.8817 | 159.3351 | -91.2644 | -61.1767 | -272.1412 | 277.2726
13 | 32.4548 | 163.2111 | -86.4311 | -61.8089 | -276.6732 | 317.6726
14 | 30.4306 | 157.6171 | -75.689 | -63.8701 | -255.6073 | 299.3176
15 | 32.0459 | 152.9527 | -70.7986 | -66.4893 | -242.2022 | 290.7504
16 | 15.5109 | 165.9226 | -34.8145 | -37.075 | -183.7087 | 249.7969
17 | 15.7671 | 194.4399 | -30.0614 | -41.6522 | -138.5422 | 274.4224
18 | 0.36191 | 210.1809 | 3.6617 | -33.485 | -70.8664 | 177.2235
19 | 18.6844 | 201.7824 | -18.306 | -51.2548 | -124.5404 | 266.8552
20 | 30.2519 | 185.336 | -41.6071 | -67.9569 | -163.761 | 311.1414
21 | 30.0992 | 169.8753 | -44.682 | -90.8845 | -160.3311 | 277.6648
22 | 28.6799 | 150.7223 | -46.6835 | -111.5348 | -149.0415 | 241.5226
23 | 28.6136 | 150.9238 | -35.2229 | -106.848 | -90.2012 | 163.5766
24 | 31.8447 | 129.461 | -40.1886 | -99.1453 | -72.8475 | 159.1085
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-01-03
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 720.57
|  |  | 01:00 - 02:00 | 634.35
|  |  | 02:00 - 03:00 | 594.24
|  |  | 03:00 - 04:00 | 532.74
|  |  | 04:00 - 05:00 | 527.23
|  |  | 05:00 - 06:00 | 609.85
|  |  | 06:00 - 07:00 | 806.14
|  |  | 07:00 - 08:00 | 1054.63
|  |  | 08:00 - 09:00 | 1172.42
|  |  | 09:00 - 10:00 | 1192.45
|  |  | 10:00 - 11:00 | 1141.34
|  |  | 11:00 - 12:00 | 1147.83
|  |  | 12:00 - 13:00 | 1234.62
|  |  | 13:00 - 14:00 | 1250.32
|  |  | 14:00 - 15:00 | 1264.69
|  |  | 15:00 - 16:00 | 1354.57
|  |  | 16:00 - 17:00 | 1499.58
|  |  | 17:00 - 18:00 | 1580.33
|  |  | 18:00 - 19:00 | 1576.15
|  |  | 19:00 - 20:00 | 1558.66
|  |  | 20:00 - 21:00 | 1446.45
|  |  | 21:00 - 22:00 | 1266.37
|  |  | 22:00 - 23:00 | 1105.38
|  |  | 23:00 - 00:00 | 934.6
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 2.8279 | 89.3909 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57835 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2898 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0.92217 | 118.6075 | 0
8 | 0 | 53.2569 | 0 | 0 | 0 | 106.4388 | 103.3795 | 0
9 | 0 | 99.9285 | 0 | 0 | 57.1587 | 142.8113 | 113.2271 | 0
10 | 0 | 99.9025 | 0 | 0 | 140.6122 | 140.8651 | 135.0284 | 0
11 | 0 | 109.4598 | 0 | 4.2897 | 143.246 | 143.2577 | 143.5827 | 0
12 | 0 | 110.0788 | 0 | 109.3453 | 143.6387 | 143.7409 | 99.3737 | 0
13 | 0 | 110.2461 | 0 | 109.5185 | 143.7963 | 105.8842 | 139.0967 | 0
14 | 0 | 100.017 | 0 | 99.3996 | 143.7108 | 105.9921 | 141.9019 | 0
15 | 0 | 99.9358 | 0 | 99.2846 | 143.6725 | 95.9121 | 136.8898 | 0
16 | 0.54831 | 99.9292 | 0 | 99.2863 | 118.9805 | 93.0395 | 127.9392 | 0
17 | 98.7441 | 99.9512 | 0 | 99.2879 | 99.2495 | 91.87 | 122.1504 | 0
18 | 99.6588 | 110.0694 | 0 | 109.3141 | 143.6671 | 89.3388 | 141.9062 | 0
19 | 99.6778 | 110.3537 | 0 | 109.408 | 143.7186 | 89.3214 | 138.9339 | 0
20 | 99.664 | 99.9027 | 0 | 99.3513 | 115.6143 | 89.3083 | 138.9059 | 0
21 | 99.6425 | 99.8999 | 0 | 99.3166 | 95.8422 | 89.6301 | 138.9215 | 0
22 | 99.665 | 97.7483 | 0 | 99.3118 | 0.33814 | 93.014 | 142.8784 | 0
23 | 99.5928 | 99.8748 | 0 | 99.321 | 0 | 91.2729 | 62.311 | 0
24 | 0.18758 | 93.0491 | 0 | 92.686 | 0 | 101.8258 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 697.381 | 1693.6036 | 0 | 1329.1208 | 1633.2454 | 1817.2729 | 2236.2928 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 82.23
Neni 5.12 | Rezerva energjitike | [5 empty] | 958.5 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 845.0029 | 27.5673
|  | 2 | 731.0338 | 23.2492
|  | 3 | 620.0683 | 21.2126
|  | 4 | 553.7197 | 21.381
|  | 5 | 522.7355 | 20.406
|  | 6 | 528.3991 | 21.325
|  | 7 | 574.0232 | 23.8595
|  | 8 | 660.2349 | 27.5384
|  | 9 | 801.4864 | 30.8806
|  | 10 | 912.5678 | 31.8499
|  | 11 | 968.7632 | 28.573
|  | 12 | 982.3804 | 26.7382
|  | 13 | 963.6074 | 23.5668
|  | 14 | 945.9213 | 24.7289
|  | 15 | 939.4746 | 29.4929
|  | 16 | 940.5979 | 33.5203
|  | 17 | 1009.2993 | 34.6251
|  | 18 | 1070.218 | 37.6873
|  | 19 | 1063.2752 | 37.3255
|  | 20 | 1035.6732 | 35.2907
|  | 21 | 994.6529 | 32.9135
|  | 22 | 924.4596 | 30.7515
|  | 23 | 832.7991 | 26.9132
|  | 24 | 722.0185 | 22.4787
|  | 25 | 610.0156 | 19.7541
|  | 26 | 529.1249 | 18.9915
|  | 27 | 485.5138 | 21.2772
|  | 28 | 463.5577 | 21.6839
|  | 29 | 462.0538 | 22.9658
|  | 30 | 487.2434 | 26.3363
|  | 31 | 558.5306 | 28.1354
|  | 32 | 670.7357 | 29.11
|  | 33 | 829.2447 | 33.0685
|  | 34 | 933.317 | 32.4866
|  | 35 | 947.2661 | 29.7731
|  | 36 | 932.4149 | 24.1828
|  | 37 | 926.5441 | 23.112
|  | 38 | 918.6932 | 22.004
|  | 39 | 905.7427 | 27.3243
|  | 40 | 918.8693 | 30.5196
|  | 41 | 997.6665 | 38.0565
|  | 42 | 1091.444 | 39.9518
|  | 43 | 1099.5917 | 41.5281
|  | 44 | 1096.8116 | 41.0211
|  | 45 | 1079.4612 | 39.7242
|  | 46 | 1013.2363 | 37.6291
|  | 47 | 895.2463 | 30.0365
|  | 48 | 752.8213 | 27.5602
|  | 49 | 624.0177 | 22.4568
|  | 50 | 542.8665 | 22.7944
|  | 51 | 501.1279 | 24.6575
|  | 52 | 482.7622 | 25.0705
|  | 53 | 487.0796 | 23.8458
|  | 54 | 532.1685 | 26.5727
|  | 55 | 652.8916 | 31.0044
|  | 56 | 841.2049 | 33.695
|  | 57 | 1021.2734 | 36.4827
|  | 58 | 1112.664 | 38.3963
|  | 59 | 1143.9207 | 35.7573
|  | 60 | 1148.5191 | 37.8873
|  | 61 | 1139.4776 | 40.7595
|  | 62 | 1130.5748 | 37.5147
|  | 63 | 1108.4461 | 35.3322
|  | 64 | 1114.7542 | 32.0124
|  | 65 | 1154.6865 | 35.7744
|  | 66 | 1213.8786 | 34.4779
|  | 67 | 1207.8871 | 37.7843
|  | 68 | 1196.6339 | 39.5339
|  | 69 | 1161.8181 | 37.5869
|  | 70 | 1072.5562 | 33.6949
|  | 71 | 941.051 | 26.5829
|  | 72 | 771.8743 | 21.9671
|  | 73 | 636.92 | 20.3966
|  | 74 | 554.1347 | 18.4585
|  | 75 | 511.7597 | 18.9268
|  | 76 | 487.5195 | 18.3255
|  | 77 | 495.9916 | 17.2681
|  | 78 | 550.2389 | 20.8303
|  | 79 | 683.3877 | 26.3067
|  | 80 | 884.8726 | 30.359
|  | 81 | 1048.1505 | 28.5772
|  | 82 | 1104.5646 | 28.5433
|  | 83 | 1125.2336 | 29.539
|  | 84 | 1131.8137 | 31.8239
|  | 85 | 1134.247 | 29.8172
|  | 86 | 1141.0034 | 29.533
|  | 87 | 1109.8905 | 30.695
|  | 88 | 1088.5177 | 34.613
|  | 89 | 1129.9541 | 32.8306
|  | 90 | 1223.7401 | 35.5192
|  | 91 | 1229.5837 | 34.667
|  | 92 | 1209.5472 | 34.4981
|  | 93 | 1173.6026 | 35.9307
|  | 94 | 1089.9242 | 34.2239
|  | 95 | 947.9395 | 27.2226
|  | 96 | 782.0468 | 23.626
|  | 97 | 645.4286 | 22.7902
|  | 98 | 559.8827 | 24.465
|  | 99 | 524.2951 | 27.941
|  | 100 | 513.5351 | 26.9474
|  | 101 | 518.1362 | 28.3876
|  | 102 | 570.6421 | 28.7645
|  | 103 | 715.5445 | 30.1714
|  | 104 | 931.5212 | 30.7491
|  | 105 | 1075.4888 | 27.9168
|  | 106 | 1087.6515 | 26.3774
|  | 107 | 1042.1947 | 25.4275
|  | 108 | 1012.4245 | 24.011
|  | 109 | 1008.841 | 24.8968
|  | 110 | 1040.8094 | 24.5224
|  | 111 | 1066.3833 | 28.7105
|  | 112 | 1080.7667 | 33.4536
|  | 113 | 1135.4284 | 34.0568
|  | 114 | 1230.0709 | 39.9749
|  | 115 | 1231.2628 | 38.1304
|  | 116 | 1198.8131 | 35.3791
|  | 117 | 1159.4468 | 34.4871
|  | 118 | 1063.9449 | 33.8802
|  | 119 | 925.8688 | 31.1109
|  | 120 | 761.0796 | 25.7109
|  | 121 | 635.337 | 26.1288
|  | 122 | 556.3313 | 22.7527
|  | 123 | 514.5318 | 20.8901
|  | 124 | 497.9547 | 19.7786
|  | 125 | 501.7573 | 19.1647
|  | 126 | 551.7898 | 20.4191
|  | 127 | 667.4525 | 20.487
|  | 128 | 829.0487 | 19.0559
|  | 129 | 982.2824 | 23.3426
|  | 130 | 1049.6667 | 27.6178
|  | 131 | 1070.3658 | 30.761
|  | 132 | 1059.5156 | 29.6804
|  | 133 | 1041.3743 | 32.6723
|  | 134 | 1054.9128 | 30.408
|  | 135 | 1069.2809 | 29.6177
|  | 136 | 1076.991 | 28.7478
|  | 137 | 1125.0911 | 30.9118
|  | 138 | 1177.8124 | 32.2115
|  | 139 | 1159.7776 | 30.9077
|  | 140 | 1124.3869 | 30.2021
|  | 141 | 1076.9319 | 32.4153
|  | 142 | 1002.4176 | 38.5311
|  | 143 | 883.6043 | 31.3302
|  | 144 | 737.5407 | 24.3048
|  | 145 | 617.9567 | 19.8465
|  | 146 | 544.8815 | 19.9207
|  | 147 | 506.835 | 20.7031
|  | 148 | 488.9467 | 20.3588
|  | 149 | 493.581 | 20.4578
|  | 150 | 531.2517 | 21.1081
|  | 151 | 617.7416 | 22.4952
|  | 152 | 752.4424 | 22.7208
|  | 153 | 911.5274 | 22.5384
|  | 154 | 1020.4143 | 25.1683
|  | 155 | 1078.9987 | 25.8612
|  | 156 | 1107.2536 | 28.4442
|  | 157 | 1124.853 | 28.0625
|  | 158 | 1140.9157 | 29.4445
|  | 159 | 1137.7776 | 28.6014
|  | 160 | 1153.1569 | 30.0572
|  | 161 | 1221.6785 | 38.5407
|  | 162 | 1286.5253 | 44.4867
|  | 163 | 1297.4282 | 47.3024
|  | 164 | 1288.5618 | 43.1637
|  | 165 | 1248.1946 | 43.4035
|  | 166 | 1130.3689 | 38.8631
|  | 167 | 963.0375 | 34.4286
|  | 168 | 765.2085 | 30.1089
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 01/01/2024 | 02/01/2024 | 03/01/2024 | 04/01/2024 | 05/01/2024 | 06/01/2024 | 07/01/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-01-03
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 22603.51 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 01/01/2024 | 02/01/2024 | 03/01/2024 | 04/01/2024 | 05/01/2024 | 06/01/2024 | 07/01/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-01-01
|  | Hour | Production | Exchange | Consumption
|  | 1 | 935.3839 | 90.381 | 845.0029
|  | 2 | 864.2028 | 133.169 | 731.0338
|  | 3 | 715.2903 | 95.222 | 620.0683
|  | 4 | 715.8687 | 162.149 | 553.7197
|  | 5 | 692.2885 | 169.553 | 522.7355
|  | 6 | 717.5211 | 189.122 | 528.3991
|  | 7 | 690.6082 | 116.585 | 574.0232
|  | 8 | 690.3369 | 30.102 | 660.2349
|  | 9 | 847.4774 | 45.991 | 801.4864
|  | 10 | 1040.5928 | 128.025 | 912.5678
|  | 11 | 1001.9302 | 33.167 | 968.7632
|  | 12 | 1016.6304 | 34.25 | 982.3804
|  | 13 | 993.2554 | 29.648 | 963.6074
|  | 14 | 977.4243 | 31.503 | 945.9213
|  | 15 | 1036.5316 | 97.057 | 939.4746
|  | 16 | 1028.1599 | 87.562 | 940.5979
|  | 17 | 1121.2163 | 111.917 | 1009.2993
|  | 18 | 1281.867 | 211.649 | 1070.218
|  | 19 | 1269.5852 | 206.31 | 1063.2752
|  | 20 | 1251.0032 | 215.33 | 1035.6732
|  | 21 | 1214.9519 | 220.299 | 994.6529
|  | 22 | 1101.5406 | 177.081 | 924.4596
|  | 23 | 940.2241 | 107.425 | 832.7991
|  | 24 | 839.9865 | 117.968 | 722.0185
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.2 | Fierze | 125 | Hidro
| Aggregate Nr.3 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Fierze | 125 | Hidro
| Aggregate Nr.1 | Koman | 150 | Hidro
| Aggregate Nr.2 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Koman | 150 | Hidro
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 43.9624 | 90.4128 | -72.969 | -98.5969 | -130.4863 | 261.6387
2 | 49.2452 | 76.5828 | -85.2037 | -83.1592 | -189.2164 | 317.5526
3 | 57.3716 | 58.7597 | -95.7695 | -90.92 | -215.8598 | 371.9336
4 | 58.9593 | 39.5691 | -98.0711 | -106.419 | -212.5536 | 363.0916
5 | 55.803 | 34.376 | -94.9708 | -107.5351 | -202.3876 | 340.3731
6 | 59.3754 | 45.3994 | -104.2726 | -92.7296 | -241.3528 | 385.685
7 | 64.6742 | 64.0273 | -89.8589 | -98.1066 | -254.6316 | 427.263
8 | 58.2173 | 90.6605 | -84.8553 | -101.7903 | -214.1906 | 374.5102
9 | 42.8709 | 116.1675 | -81.3384 | -96.6229 | -218.0559 | 325.2772
10 | 33.1989 | 136.6084 | -68.9769 | -83.2882 | -204.9923 | 291.8368
11 | 25.913 | 140.444 | -73.6488 | -79.2723 | -209.3656 | 251.6613
12 | 26.8817 | 159.3351 | -91.2644 | -61.1767 | -272.1412 | 277.2726
13 | 32.4548 | 163.2111 | -86.4311 | -61.8089 | -276.6732 | 317.6726
14 | 30.4306 | 157.6171 | -75.689 | -63.8701 | -255.6073 | 299.3176
15 | 32.0459 | 152.9527 | -70.7986 | -66.4893 | -242.2022 | 290.7504
16 | 15.5109 | 165.9226 | -34.8145 | -37.075 | -183.7087 | 249.7969
17 | 15.7671 | 194.4399 | -30.0614 | -41.6522 | -138.5422 | 274.4224
18 | 0.36191 | 210.1809 | 3.6617 | -33.485 | -70.8664 | 177.2235
19 | 18.6844 | 201.7824 | -18.306 | -51.2548 | -124.5404 | 266.8552
20 | 30.2519 | 185.336 | -41.6071 | -67.9569 | -163.761 | 311.1414
21 | 30.0992 | 169.8753 | -44.682 | -90.8845 | -160.3311 | 277.6648
22 | 28.6799 | 150.7223 | -46.6835 | -111.5348 | -149.0415 | 241.5226
23 | 28.6136 | 150.9238 | -35.2229 | -106.848 | -90.2012 | 163.5766
24 | 31.8447 | 129.461 | -40.1886 | -99.1453 | -72.8475 | 159.1085
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2024-01-03
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 720.57
|  |  | 01:00 - 02:00 | 634.35
|  |  | 02:00 - 03:00 | 594.24
|  |  | 03:00 - 04:00 | 532.74
|  |  | 04:00 - 05:00 | 527.23
|  |  | 05:00 - 06:00 | 609.85
|  |  | 06:00 - 07:00 | 806.14
|  |  | 07:00 - 08:00 | 1054.63
|  |  | 08:00 - 09:00 | 1172.42
|  |  | 09:00 - 10:00 | 1192.45
|  |  | 10:00 - 11:00 | 1141.34
|  |  | 11:00 - 12:00 | 1147.83
|  |  | 12:00 - 13:00 | 1234.62
|  |  | 13:00 - 14:00 | 1250.32
|  |  | 14:00 - 15:00 | 1264.69
|  |  | 15:00 - 16:00 | 1354.57
|  |  | 16:00 - 17:00 | 1499.58
|  |  | 17:00 - 18:00 | 1580.33
|  |  | 18:00 - 19:00 | 1576.15
|  |  | 19:00 - 20:00 | 1558.66
|  |  | 20:00 - 21:00 | 1446.45
|  |  | 21:00 - 22:00 | 1266.37
|  |  | 22:00 - 23:00 | 1105.38
|  |  | 23:00 - 00:00 | 934.6
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 2.8279 | 89.3909 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57835 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2898 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0.92217 | 118.6075 | 0
8 | 0 | 53.2569 | 0 | 0 | 0 | 106.4388 | 103.3795 | 0
9 | 0 | 99.9285 | 0 | 0 | 57.1587 | 142.8113 | 113.2271 | 0
10 | 0 | 99.9025 | 0 | 0 | 140.6122 | 140.8651 | 135.0284 | 0
11 | 0 | 109.4598 | 0 | 4.2897 | 143.246 | 143.2577 | 143.5827 | 0
12 | 0 | 110.0788 | 0 | 109.3453 | 143.6387 | 143.7409 | 99.3737 | 0
13 | 0 | 110.2461 | 0 | 109.5185 | 143.7963 | 105.8842 | 139.0967 | 0
14 | 0 | 100.017 | 0 | 99.3996 | 143.7108 | 105.9921 | 141.9019 | 0
15 | 0 | 99.9358 | 0 | 99.2846 | 143.6725 | 95.9121 | 136.8898 | 0
16 | 0.54831 | 99.9292 | 0 | 99.2863 | 118.9805 | 93.0395 | 127.9392 | 0
17 | 98.7441 | 99.9512 | 0 | 99.2879 | 99.2495 | 91.87 | 122.1504 | 0
18 | 99.6588 | 110.0694 | 0 | 109.3141 | 143.6671 | 89.3388 | 141.9062 | 0
19 | 99.6778 | 110.3537 | 0 | 109.408 | 143.7186 | 89.3214 | 138.9339 | 0
20 | 99.664 | 99.9027 | 0 | 99.3513 | 115.6143 | 89.3083 | 138.9059 | 0
21 | 99.6425 | 99.8999 | 0 | 99.3166 | 95.8422 | 89.6301 | 138.9215 | 0
22 | 99.665 | 97.7483 | 0 | 99.3118 | 0.33814 | 93.014 | 142.8784 | 0
23 | 99.5928 | 99.8748 | 0 | 99.321 | 0 | 91.2729 | 62.311 | 0
24 | 0.18758 | 93.0491 | 0 | 92.686 | 0 | 101.8258 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 697.381 | 1693.6036 | 0 | 1329.1208 | 1633.2454 | 1814.445 | 2146.9019 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 82.23
Art. 5.12 | Energy reserve | [5 empty] | 958.5 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 845.0029 | 27.5673
|  | 2 | 731.0338 | 23.2492
|  | 3 | 620.0683 | 21.2126
|  | 4 | 553.7197 | 21.381
|  | 5 | 522.7355 | 20.406
|  | 6 | 528.3991 | 21.325
|  | 7 | 574.0232 | 23.8595
|  | 8 | 660.2349 | 27.5384
|  | 9 | 801.4864 | 30.8806
|  | 10 | 912.5678 | 31.8499
|  | 11 | 968.7632 | 28.573
|  | 12 | 982.3804 | 26.7382
|  | 13 | 963.6074 | 23.5668
|  | 14 | 945.9213 | 24.7289
|  | 15 | 939.4746 | 29.4929
|  | 16 | 940.5979 | 33.5203
|  | 17 | 1009.2993 | 34.6251
|  | 18 | 1070.218 | 37.6873
|  | 19 | 1063.2752 | 37.3255
|  | 20 | 1035.6732 | 35.2907
|  | 21 | 994.6529 | 32.9135
|  | 22 | 924.4596 | 30.7515
|  | 23 | 832.7991 | 26.9132
|  | 24 | 722.0185 | 22.4787
|  | 25 | 610.0156 | 19.7541
|  | 26 | 529.1249 | 18.9915
|  | 27 | 485.5138 | 21.2772
|  | 28 | 463.5577 | 21.6839
|  | 29 | 462.0538 | 22.9658
|  | 30 | 487.2434 | 26.3363
|  | 31 | 558.5306 | 28.1354
|  | 32 | 670.7357 | 29.11
|  | 33 | 829.2447 | 33.0685
|  | 34 | 933.317 | 32.4866
|  | 35 | 947.2661 | 29.7731
|  | 36 | 932.4149 | 24.1828
|  | 37 | 926.5441 | 23.112
|  | 38 | 918.6932 | 22.004
|  | 39 | 905.7427 | 27.3243
|  | 40 | 918.8693 | 30.5196
|  | 41 | 997.6665 | 38.0565
|  | 42 | 1091.444 | 39.9518
|  | 43 | 1099.5917 | 41.5281
|  | 44 | 1096.8116 | 41.0211
|  | 45 | 1079.4612 | 39.7242
|  | 46 | 1013.2363 | 37.6291
|  | 47 | 895.2463 | 30.0365
|  | 48 | 752.8213 | 27.5602
|  | 49 | 624.0177 | 22.4568
|  | 50 | 542.8665 | 22.7944
|  | 51 | 501.1279 | 24.6575
|  | 52 | 482.7622 | 25.0705
|  | 53 | 487.0796 | 23.8458
|  | 54 | 532.1685 | 26.5727
|  | 55 | 652.8916 | 31.0044
|  | 56 | 841.2049 | 33.695
|  | 57 | 1021.2734 | 36.4827
|  | 58 | 1112.664 | 38.3963
|  | 59 | 1143.9207 | 35.7573
|  | 60 | 1148.5191 | 37.8873
|  | 61 | 1139.4776 | 40.7595
|  | 62 | 1130.5748 | 37.5147
|  | 63 | 1108.4461 | 35.3322
|  | 64 | 1114.7542 | 32.0124
|  | 65 | 1154.6865 | 35.7744
|  | 66 | 1213.8786 | 34.4779
|  | 67 | 1207.8871 | 37.7843
|  | 68 | 1196.6339 | 39.5339
|  | 69 | 1161.8181 | 37.5869
|  | 70 | 1072.5562 | 33.6949
|  | 71 | 941.051 | 26.5829
|  | 72 | 771.8743 | 21.9671
|  | 73 | 636.92 | 20.3966
|  | 74 | 554.1347 | 18.4585
|  | 75 | 511.7597 | 18.9268
|  | 76 | 487.5195 | 18.3255
|  | 77 | 495.9916 | 17.2681
|  | 78 | 550.2389 | 20.8303
|  | 79 | 683.3877 | 26.3067
|  | 80 | 884.8726 | 30.359
|  | 81 | 1048.1505 | 28.5772
|  | 82 | 1104.5646 | 28.5433
|  | 83 | 1125.2336 | 29.539
|  | 84 | 1131.8137 | 31.8239
|  | 85 | 1134.247 | 29.8172
|  | 86 | 1141.0034 | 29.533
|  | 87 | 1109.8905 | 30.695
|  | 88 | 1088.5177 | 34.613
|  | 89 | 1129.9541 | 32.8306
|  | 90 | 1223.7401 | 35.5192
|  | 91 | 1229.5837 | 34.667
|  | 92 | 1209.5472 | 34.4981
|  | 93 | 1173.6026 | 35.9307
|  | 94 | 1089.9242 | 34.2239
|  | 95 | 947.9395 | 27.2226
|  | 96 | 782.0468 | 23.626
|  | 97 | 645.4286 | 22.7902
|  | 98 | 559.8827 | 24.465
|  | 99 | 524.2951 | 27.941
|  | 100 | 513.5351 | 26.9474
|  | 101 | 518.1362 | 28.3876
|  | 102 | 570.6421 | 28.7645
|  | 103 | 715.5445 | 30.1714
|  | 104 | 931.5212 | 30.7491
|  | 105 | 1075.4888 | 27.9168
|  | 106 | 1087.6515 | 26.3774
|  | 107 | 1042.1947 | 25.4275
|  | 108 | 1012.4245 | 24.011
|  | 109 | 1008.841 | 24.8968
|  | 110 | 1040.8094 | 24.5224
|  | 111 | 1066.3833 | 28.7105
|  | 112 | 1080.7667 | 33.4536
|  | 113 | 1135.4284 | 34.0568
|  | 114 | 1230.0709 | 39.9749
|  | 115 | 1231.2628 | 38.1304
|  | 116 | 1198.8131 | 35.3791
|  | 117 | 1159.4468 | 34.4871
|  | 118 | 1063.9449 | 33.8802
|  | 119 | 925.8688 | 31.1109
|  | 120 | 761.0796 | 25.7109
|  | 121 | 635.337 | 26.1288
|  | 122 | 556.3313 | 22.7527
|  | 123 | 514.5318 | 20.8901
|  | 124 | 497.9547 | 19.7786
|  | 125 | 501.7573 | 19.1647
|  | 126 | 551.7898 | 20.4191
|  | 127 | 667.4525 | 20.487
|  | 128 | 829.0487 | 19.0559
|  | 129 | 982.2824 | 23.3426
|  | 130 | 1049.6667 | 27.6178
|  | 131 | 1070.3658 | 30.761
|  | 132 | 1059.5156 | 29.6804
|  | 133 | 1041.3743 | 32.6723
|  | 134 | 1054.9128 | 30.408
|  | 135 | 1069.2809 | 29.6177
|  | 136 | 1076.991 | 28.7478
|  | 137 | 1125.0911 | 30.9118
|  | 138 | 1177.8124 | 32.2115
|  | 139 | 1159.7776 | 30.9077
|  | 140 | 1124.3869 | 30.2021
|  | 141 | 1076.9319 | 32.4153
|  | 142 | 1002.4176 | 38.5311
|  | 143 | 883.6043 | 31.3302
|  | 144 | 737.5407 | 24.3048
|  | 145 | 617.9567 | 19.8465
|  | 146 | 544.8815 | 19.9207
|  | 147 | 506.835 | 20.7031
|  | 148 | 488.9467 | 20.3588
|  | 149 | 493.581 | 20.4578
|  | 150 | 531.2517 | 21.1081
|  | 151 | 617.7416 | 22.4952
|  | 152 | 752.4424 | 22.7208
|  | 153 | 911.5274 | 22.5384
|  | 154 | 1020.4143 | 25.1683
|  | 155 | 1078.9987 | 25.8612
|  | 156 | 1107.2536 | 28.4442
|  | 157 | 1124.853 | 28.0625
|  | 158 | 1140.9157 | 29.4445
|  | 159 | 1137.7776 | 28.6014
|  | 160 | 1153.1569 | 30.0572
|  | 161 | 1221.6785 | 38.5407
|  | 162 | 1286.5253 | 44.4867
|  | 163 | 1297.4282 | 47.3024
|  | 164 | 1288.5618 | 43.1637
|  | 165 | 1248.1946 | 43.4035
|  | 166 | 1130.3689 | 38.8631
|  | 167 | 963.0375 | 34.4286
|  | 168 | 765.2085 | 30.1089
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 01/01/2024 | 02/01/2024 | 03/01/2024 | 04/01/2024 | 05/01/2024 | 06/01/2024 | 07/01/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible