## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-02-03
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 25578.25 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 29-01-2024 | 30-01-2024 | 31-01-2024 | 01-02-2024 | 02-02-2024 | 03-02-2024 | 04-02-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-02-01
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 882.2633 | 165.477 | 716.7863
|  | 2 | 803.1351 | 172.352 | 630.7831
|  | 3 | 741.7027 | 147.023 | 594.6797
|  | 4 | 727.1653 | 144.509 | 582.6563
|  | 5 | 727.7755 | 135.43 | 592.3455
|  | 6 | 907.8072 | 240.423 | 667.3842
|  | 7 | 1110.0992 | 222.007 | 888.0922
|  | 8 | 1469.445 | 265.696 | 1203.749
|  | 9 | 1557.2397 | 263.467 | 1293.7727
|  | 10 | 1595.301 | 351.69 | 1243.611
|  | 11 | 1532.9712 | 365.083 | 1167.8882
|  | 12 | 1386.6072 | 279.186 | 1107.4212
|  | 13 | 1357.0966 | 273.467 | 1083.6296
|  | 14 | 1376.6363 | 266.747 | 1109.8893
|  | 15 | 1480.1207 | 328.099 | 1152.0217
|  | 16 | 1498.1837 | 307.844 | 1190.3397
|  | 17 | 1551.366 | 295.374 | 1255.992
|  | 18 | 1728.3213 | 302.71 | 1425.6113
|  | 19 | 1781.4707 | 287.49 | 1493.9807
|  | 20 | 1756.7943 | 272.039 | 1484.7553
|  | 21 | 1747.7488 | 293.947 | 1453.8018
|  | 22 | 1617.2548 | 286.166 | 1331.0888
|  | 23 | 1420.8294 | 300.733 | 1120.0964
|  | 24 | 1169.461 | 279.048 | 890.413
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro
| Agregati Nr.1 | Koman | 150 | Hidro
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 27.5375 | 120.2848 | 18.6289 | -85.8074 | -56.7383 | 110.7903
2 | 33.0642 | 72.8373 | 21.3848 | -105.79 | -54.9347 | 141.6245
3 | 43.5187 | 45.5421 | 13.3787 | -118.6053 | -89.3276 | 213.0496
4 | 54.4114 | 14.0252 | -3.6656 | -141.2329 | -118.8419 | 251.3775
5 | 61.2936 | 7.4675 | -16.3354 | -153.7256 | -139.5905 | 284.6037
6 | 48.6121 | 23.926 | -0.65393 | -150.8065 | -97.4508 | 232.3903
7 | 57.2615 | 74.7981 | 4.3841 | -168.2505 | -94.9375 | 264.6566
8 | 40.8516 | 126.8198 | -11.8136 | -180.6175 | -98.3727 | 211.1981
9 | 21.2982 | 198.9297 | 30.8346 | -185.7784 | -8.0532 | 72.0444
10 | 24.2476 | 218.9023 | 33.3449 | -170.044 | 0.72845 | 68.5659
11 | 12.3713 | 191.0713 | 82.1725 | -156.7287 | 104.7702 | -29.1478
12 | 8.4829 | 198.7772 | 73.9259 | -162.4186 | 106.3212 | -46.5828
13 | 12.2699 | 198.9829 | 33.193 | -185.1236 | 52.7009 | -6.1273
14 | 19.7099 | 198.8595 | 8.5972 | -196.1036 | -5.626 | 59.7523
15 | 33.9104 | 198.9382 | -31.1635 | -197.0229 | -111.7912 | 176.7306
16 | 33.4457 | 218.8243 | -46.6679 | -177.2048 | -167.578 | 231.629
17 | 32.4879 | 199.1291 | -1.6705 | -124.2275 | -118.2532 | 219.4969
18 | 18.7123 | 208.9717 | 26.6201 | -105.3287 | -87.11 | 138.3382
19 | 28.654 | 238.408 | 8.7931 | -143.2457 | -137.4267 | 163.6179
20 | 33.2759 | 199.5436 | 29.4029 | -141.4587 | -96.0315 | 165.9468
21 | 34.9521 | 198.9794 | 21.6629 | -148.0228 | -108.6651 | 208.4318
22 | 33.9786 | 199.0078 | 41.7178 | -150.5549 | -70.939 | 164.4927
23 | 42.1901 | 184.3709 | 28.9388 | -147.3099 | -52.4913 | 178.6905
24 | 45.6002 | 139.4164 | 26.0847 | -140.9878 | -28.7482 | 192.8844
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-02-03
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 885.35
|  |  | 01:00 - 02:00 | 771.67
|  |  | 02:00 - 03:00 | 713.24
|  |  | 03:00 - 04:00 | 659.37
|  |  | 04:00 - 05:00 | 655.04
|  |  | 05:00 - 06:00 | 732.07
|  |  | 06:00 - 07:00 | 959.6
|  |  | 07:00 - 08:00 | 1184.65
|  |  | 08:00 - 09:00 | 1400.05
|  |  | 09:00 - 10:00 | 1456.5
|  |  | 10:00 - 11:00 | 1415.8
|  |  | 11:00 - 12:00 | 1324.96
|  |  | 12:00 - 13:00 | 1215.6
|  |  | 13:00 - 14:00 | 1220.21
|  |  | 14:00 - 15:00 | 1215.93
|  |  | 15:00 - 16:00 | 1268.89
|  |  | 16:00 - 17:00 | 1463.25
|  |  | 17:00 - 18:00 | 1663.94
|  |  | 18:00 - 19:00 | 1706.75
|  |  | 19:00 - 20:00 | 1625.95
|  |  | 20:00 - 21:00 | 1600.07
|  |  | 21:00 - 22:00 | 1491
|  |  | 22:00 - 23:00 | 1330.54
|  |  | 23:00 - 00:00 | 1159.82
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 109.8354 | 0 | 109.2233 | 0 | 0 | 1.8248 | 105.645
2 | 0 | 99.88 | 0 | 1.0311 | 0 | 0 | 0 | 102.5514
3 | 0 | 42.1919 | 0 | 0 | 0 | 0 | 0 | 107.934
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91.3101
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.1394
6 | 0 | 2.0135 | 0 | 2.4887 | 70.5871 | 0 | 0 | 89.4452
7 | 0 | 89.7382 | 2.1071 | 89.2261 | 89.2497 | 0 | 0 | 99.2037
8 | 47.6655 | 99.4538 | 89.6116 | 98.8655 | 104.1396 | 0 | 0.14406 | 112.8336
9 | 100.0919 | 99.8653 | 99.6508 | 99.3281 | 106.921 | 0 | 109.9681 | 97.2366
10 | 99.6953 | 109.8499 | 99.7721 | 109.3484 | 112.3071 | 0 | 107.6618 | 89.4881
11 | 95.5285 | 95.8439 | 95.758 | 95.4457 | 105.4173 | 0 | 107.3503 | 89.1018
12 | 89.5797 | 99.7478 | 89.667 | 99.2955 | 97.1703 | 0 | 89.3171 | 89.0812
13 | 89.5918 | 99.9079 | 0.51945 | 99.34 | 99.17 | 0 | 89.3161 | 99.2041
14 | 99.6333 | 99.8516 | 0 | 99.2898 | 112.9876 | 0 | 94.3502 | 97.7394
15 | 99.7104 | 99.8788 | 0 | 99.3584 | 122.9086 | 0 | 94.3615 | 92.415
16 | 99.6797 | 109.9291 | 0 | 109.2164 | 112.1492 | 1.3377 | 109.6963 | 109.7379
17 | 99.7147 | 99.9486 | 4.8023 | 99.4195 | 100.442 | 99.0249 | 133.8607 | 115.0963
18 | 99.6461 | 109.9166 | 99.7341 | 99.3097 | 141.4424 | 101.7566 | 102.1977 | 115.0917
19 | 99.6839 | 119.8774 | 99.7587 | 118.8187 | 105.2189 | 105.1632 | 105.2562 | 143.1785
20 | 99.7277 | 100.0737 | 99.7069 | 99.6704 | 137.6583 | 133.832 | 133.9015 | 109.7034
21 | 99.6631 | 99.8627 | 99.7047 | 99.3494 | 127.9037 | 119.0436 | 119.0486 | 104.8843
22 | 99.6577 | 99.915 | 0.73873 | 99.3289 | 114.0052 | 119.0202 | 119.0166 | 114.0666
23 | 99.62 | 99.9022 | 0 | 99.3222 | 116.9534 | 119.0124 | 3.6457 | 111.1553
24 | 1.2452 | 99.8928 | 0 | 99.3606 | 91.2065 | 99.2605 | 0 | 99.307
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1520.1343 | 2087.3761 | 881.5314 | 1926.0363 | 2067.8379 | 897.451 | 1520.9174 | 2474.5497
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 524.62
Neni 5.12 | Rezerva energjitike | [5 empty] | 1113.5 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 679.4368 | 14.2391
|  | 2 | 601.4328 | 14.3942
|  | 3 | 562.5184 | 12.6503
|  | 4 | 549.3174 | 12.6404
|  | 5 | 562.6883 | 14.171
|  | 6 | 635.2956 | 14.5457
|  | 7 | 858.018 | 25.5768
|  | 8 | 1159.2137 | 32.1395
|  | 9 | 1260.529 | 33.9504
|  | 10 | 1234.0023 | 31.4316
|  | 11 | 1169.5837 | 27.0773
|  | 12 | 1105.554 | 25.4581
|  | 13 | 1082.832 | 24.1263
|  | 14 | 1112.0251 | 26.972
|  | 15 | 1149.5889 | 30.1285
|  | 16 | 1181.1972 | 30.6311
|  | 17 | 1255.5608 | 36.8438
|  | 18 | 1412.022 | 46.6723
|  | 19 | 1471.2686 | 51.2543
|  | 20 | 1461.1539 | 51.518
|  | 21 | 1427.9892 | 50.1394
|  | 22 | 1304.3817 | 38.4617
|  | 23 | 1093.4665 | 26.2714
|  | 24 | 859.0359 | 21.2182
|  | 25 | 693.0903 | 13.5119
|  | 26 | 616.6693 | 13.2243
|  | 27 | 576.0807 | 11.9833
|  | 28 | 567.2341 | 12.5749
|  | 29 | 570.2633 | 13.017
|  | 30 | 647.3153 | 17.4104
|  | 31 | 868.1314 | 24.5932
|  | 32 | 1179.0122 | 31.913
|  | 33 | 1257.0627 | 33.7076
|  | 34 | 1227.4816 | 29.0392
|  | 35 | 1163.0856 | 25.6158
|  | 36 | 1112.4096 | 22.9241
|  | 37 | 1083.1065 | 21.423
|  | 38 | 1110.9428 | 23.8557
|  | 39 | 1147.5926 | 27.1072
|  | 40 | 1190.3982 | 29.201
|  | 41 | 1270.3634 | 36.4536
|  | 42 | 1437.9848 | 47.7124
|  | 43 | 1501.3405 | 50.5423
|  | 44 | 1495.425 | 49.3385
|  | 45 | 1462.0998 | 47.9579
|  | 46 | 1335.8131 | 36.6942
|  | 47 | 1147.8775 | 30.2718
|  | 48 | 943.6949 | 18.8992
|  | 49 | 783.362 | 17.6778
|  | 50 | 664.5235 | 13.4151
|  | 51 | 601.2876 | 13.1395
|  | 52 | 582.9417 | 12.0069
|  | 53 | 589.9958 | 12.9904
|  | 54 | 666.6222 | 14.9956
|  | 55 | 891.1104 | 19.6426
|  | 56 | 1203.2489 | 30.4319
|  | 57 | 1290.9744 | 34.0352
|  | 58 | 1265.1033 | 31.2624
|  | 59 | 1185.8082 | 28.0578
|  | 60 | 1121.5465 | 27.4476
|  | 61 | 1098.2245 | 27.4625
|  | 62 | 1126.9291 | 25.9817
|  | 63 | 1163.2454 | 26.2461
|  | 64 | 1191.3599 | 29.5372
|  | 65 | 1258.1951 | 35.3169
|  | 66 | 1444.9513 | 48.1382
|  | 67 | 1520.8088 | 52.7776
|  | 68 | 1517.2281 | 51.2032
|  | 69 | 1482.0102 | 49.5907
|  | 70 | 1354.6279 | 39.9945
|  | 71 | 1133.7095 | 27.9119
|  | 72 | 879.3925 | 18.9017
|  | 73 | 716.7863 | 15.3135
|  | 74 | 630.7831 | 15.0059
|  | 75 | 594.6797 | 14.7694
|  | 76 | 582.6563 | 15.0108
|  | 77 | 592.3455 | 13.66
|  | 78 | 667.3842 | 14.2327
|  | 79 | 888.0922 | 20.101
|  | 80 | 1203.749 | 33.5559
|  | 81 | 1293.7727 | 35.943
|  | 82 | 1243.611 | 34.6774
|  | 83 | 1167.8882 | 30.1482
|  | 84 | 1107.4212 | 27.6133
|  | 85 | 1083.6296 | 25.8048
|  | 86 | 1109.8893 | 26.1949
|  | 87 | 1152.0217 | 28.9646
|  | 88 | 1190.3397 | 33.3386
|  | 89 | 1255.992 | 37.7033
|  | 90 | 1425.6113 | 49.9032
|  | 91 | 1493.9807 | 53.5527
|  | 92 | 1484.7553 | 53.6251
|  | 93 | 1453.8018 | 50.4725
|  | 94 | 1331.0888 | 42.204
|  | 95 | 1120.0964 | 34.015
|  | 96 | 890.413 | 29.007
|  | 97 | 721.2351 | 20.3081
|  | 98 | 635.4289 | 20.7805
|  | 99 | 589.656 | 20.2964
|  | 100 | 578.1562 | 19.1675
|  | 101 | 590.5694 | 19.8767
|  | 102 | 667.1881 | 20.0264
|  | 103 | 891.3127 | 25.467
|  | 104 | 1193.2068 | 35.3773
|  | 105 | 1311.2042 | 38.3455
|  | 106 | 1302.8769 | 37.9839
|  | 107 | 1226.4953 | 29.6264
|  | 108 | 1150.1281 | 26.1756
|  | 109 | 1117.8026 | 23.5024
|  | 110 | 1136.9726 | 23.9416
|  | 111 | 1163.0242 | 26.5875
|  | 112 | 1176.1528 | 28.6081
|  | 113 | 1236.0271 | 34.5011
|  | 114 | 1403.1625 | 43.7303
|  | 115 | 1465.436 | 47.3705
|  | 116 | 1444.8318 | 48.1244
|  | 117 | 1405.6832 | 44.696
|  | 118 | 1285.4481 | 37.2021
|  | 119 | 1094.9616 | 27.2651
|  | 120 | 887.5835 | 21.3495
|  | 121 | 737.0899 | 16.8289
|  | 122 | 646.624 | 15.2715
|  | 123 | 597.482 | 17.3723
|  | 124 | 575.3556 | 18.6833
|  | 125 | 584.0558 | 20.191
|  | 126 | 651.0043 | 18.3037
|  | 127 | 803.7766 | 24.6226
|  | 128 | 1034.3303 | 28.9056
|  | 129 | 1201.5452 | 29.9301
|  | 130 | 1226.1317 | 29.98
|  | 131 | 1166.1021 | 25.6919
|  | 132 | 1105.8431 | 22.87
|  | 133 | 1071.9067 | 20.5645
|  | 134 | 1088.4702 | 22.4959
|  | 135 | 1102.2962 | 27.6785
|  | 136 | 1131.6521 | 32.3116
|  | 137 | 1207.0887 | 36.2721
|  | 138 | 1367.3673 | 43.086
|  | 139 | 1443.1619 | 47.8959
|  | 140 | 1426.0893 | 49.3461
|  | 141 | 1381.5202 | 46.9676
|  | 142 | 1269.2686 | 38.1474
|  | 143 | 1096.8032 | 31.0667
|  | 144 | 920.3175 | 24.7268
|  | 145 | 761.0245 | 20.2388
|  | 146 | 655.1152 | 17.4711
|  | 147 | 578.8439 | 16.0812
|  | 148 | 553.1976 | 15.5405
|  | 149 | 552.9518 | 15.2991
|  | 150 | 596.3163 | 16.5518
|  | 151 | 712.4374 | 21.2371
|  | 152 | 910.7276 | 25.7367
|  | 153 | 1089.4288 | 26.5439
|  | 154 | 1121.1189 | 23.3521
|  | 155 | 1068.0186 | 20.9636
|  | 156 | 1007.8934 | 19.7972
|  | 157 | 995.1852 | 17.8666
|  | 158 | 1002.0444 | 18.3038
|  | 159 | 998.8208 | 21.8992
|  | 160 | 1031.0714 | 26.0835
|  | 161 | 1126.9734 | 31.4164
|  | 162 | 1326.1167 | 43.9319
|  | 163 | 1414.2189 | 48.0549
|  | 164 | 1417.2449 | 48.9003
|  | 165 | 1387.2663 | 50.6508
|  | 166 | 1253.6757 | 44.6029
|  | 167 | 1064.9818 | 33.5558
|  | 168 | 845.1263 | 23.1502
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 29-01-2024 | 30-01-2024 | 31-01-2024 | 01-02-2024 | 02-02-2024 | 03-02-2024 | 04-02-2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-02-03
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 25578.25 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 29-01-2024 | 30-01-2024 | 31-01-2024 | 01-02-2024 | 02-02-2024 | 03-02-2024 | 04-02-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-02-01
|  | Hour | Production | Exchange | Consumption
|  | 1 | 882.2633 | 165.477 | 716.7863
|  | 2 | 803.1351 | 172.352 | 630.7831
|  | 3 | 741.7027 | 147.023 | 594.6797
|  | 4 | 727.1653 | 144.509 | 582.6563
|  | 5 | 727.7755 | 135.43 | 592.3455
|  | 6 | 907.8072 | 240.423 | 667.3842
|  | 7 | 1110.0992 | 222.007 | 888.0922
|  | 8 | 1469.445 | 265.696 | 1203.749
|  | 9 | 1557.2397 | 263.467 | 1293.7727
|  | 10 | 1595.301 | 351.69 | 1243.611
|  | 11 | 1532.9712 | 365.083 | 1167.8882
|  | 12 | 1386.6072 | 279.186 | 1107.4212
|  | 13 | 1357.0966 | 273.467 | 1083.6296
|  | 14 | 1376.6363 | 266.747 | 1109.8893
|  | 15 | 1480.1207 | 328.099 | 1152.0217
|  | 16 | 1498.1837 | 307.844 | 1190.3397
|  | 17 | 1551.366 | 295.374 | 1255.992
|  | 18 | 1728.3213 | 302.71 | 1425.6113
|  | 19 | 1781.4707 | 287.49 | 1493.9807
|  | 20 | 1756.7943 | 272.039 | 1484.7553
|  | 21 | 1747.7488 | 293.947 | 1453.8018
|  | 22 | 1617.2548 | 286.166 | 1331.0888
|  | 23 | 1420.8294 | 300.733 | 1120.0964
|  | 24 | 1169.461 | 279.048 | 890.413
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.2 | Fierze | 125 | Hidro
| Aggregate Nr.3 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Fierze | 125 | Hidro
| Aggregate Nr.1 | Koman | 150 | Hidro
| Aggregate Nr.2 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Koman | 150 | Hidro
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 27.5375 | 120.2848 | 18.6289 | -85.8074 | -56.7383 | 110.7903
2 | 33.0642 | 72.8373 | 21.3848 | -105.79 | -54.9347 | 141.6245
3 | 43.5187 | 45.5421 | 13.3787 | -118.6053 | -89.3276 | 213.0496
4 | 54.4114 | 14.0252 | -3.6656 | -141.2329 | -118.8419 | 251.3775
5 | 61.2936 | 7.4675 | -16.3354 | -153.7256 | -139.5905 | 284.6037
6 | 48.6121 | 23.926 | -0.65393 | -150.8065 | -97.4508 | 232.3903
7 | 57.2615 | 74.7981 | 4.3841 | -168.2505 | -94.9375 | 264.6566
8 | 40.8516 | 126.8198 | -11.8136 | -180.6175 | -98.3727 | 211.1981
9 | 21.2982 | 198.9297 | 30.8346 | -185.7784 | -8.0532 | 72.0444
10 | 24.2476 | 218.9023 | 33.3449 | -170.044 | 0.72845 | 68.5659
11 | 12.3713 | 191.0713 | 82.1725 | -156.7287 | 104.7702 | -29.1478
12 | 8.4829 | 198.7772 | 73.9259 | -162.4186 | 106.3212 | -46.5828
13 | 12.2699 | 198.9829 | 33.193 | -185.1236 | 52.7009 | -6.1273
14 | 19.7099 | 198.8595 | 8.5972 | -196.1036 | -5.626 | 59.7523
15 | 33.9104 | 198.9382 | -31.1635 | -197.0229 | -111.7912 | 176.7306
16 | 33.4457 | 218.8243 | -46.6679 | -177.2048 | -167.578 | 231.629
17 | 32.4879 | 199.1291 | -1.6705 | -124.2275 | -118.2532 | 219.4969
18 | 18.7123 | 208.9717 | 26.6201 | -105.3287 | -87.11 | 138.3382
19 | 28.654 | 238.408 | 8.7931 | -143.2457 | -137.4267 | 163.6179
20 | 33.2759 | 199.5436 | 29.4029 | -141.4587 | -96.0315 | 165.9468
21 | 34.9521 | 198.9794 | 21.6629 | -148.0228 | -108.6651 | 208.4318
22 | 33.9786 | 199.0078 | 41.7178 | -150.5549 | -70.939 | 164.4927
23 | 42.1901 | 184.3709 | 28.9388 | -147.3099 | -52.4913 | 178.6905
24 | 45.6002 | 139.4164 | 26.0847 | -140.9878 | -28.7482 | 192.8844
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2024-02-03
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 885.35
|  |  | 01:00 - 02:00 | 771.67
|  |  | 02:00 - 03:00 | 713.24
|  |  | 03:00 - 04:00 | 659.37
|  |  | 04:00 - 05:00 | 655.04
|  |  | 05:00 - 06:00 | 732.07
|  |  | 06:00 - 07:00 | 959.6
|  |  | 07:00 - 08:00 | 1184.65
|  |  | 08:00 - 09:00 | 1400.05
|  |  | 09:00 - 10:00 | 1456.5
|  |  | 10:00 - 11:00 | 1415.8
|  |  | 11:00 - 12:00 | 1324.96
|  |  | 12:00 - 13:00 | 1215.6
|  |  | 13:00 - 14:00 | 1220.21
|  |  | 14:00 - 15:00 | 1215.93
|  |  | 15:00 - 16:00 | 1268.89
|  |  | 16:00 - 17:00 | 1463.25
|  |  | 17:00 - 18:00 | 1663.94
|  |  | 18:00 - 19:00 | 1706.75
|  |  | 19:00 - 20:00 | 1625.95
|  |  | 20:00 - 21:00 | 1600.07
|  |  | 21:00 - 22:00 | 1491
|  |  | 22:00 - 23:00 | 1330.54
|  |  | 23:00 - 00:00 | 1159.82
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 109.8354 | 0 | 109.2233 | 0 | 0 | 1.8248 | 105.645
2 | 0 | 99.88 | 0 | 1.0311 | 0 | 0 | 0 | 102.5514
3 | 0 | 42.1919 | 0 | 0 | 0 | 0 | 0 | 107.934
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91.3101
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.1394
6 | 0 | 2.0135 | 0 | 2.4887 | 70.5871 | 0 | 0 | 89.4452
7 | 0 | 89.7382 | 2.1071 | 89.2261 | 89.2497 | 0 | 0 | 99.2037
8 | 47.6655 | 99.4538 | 89.6116 | 98.8655 | 104.1396 | 0 | 0.14406 | 112.8336
9 | 100.0919 | 99.8653 | 99.6508 | 99.3281 | 106.921 | 0 | 109.9681 | 97.2366
10 | 99.6953 | 109.8499 | 99.7721 | 109.3484 | 112.3071 | 0 | 107.6618 | 89.4881
11 | 95.5285 | 95.8439 | 95.758 | 95.4457 | 105.4173 | 0 | 107.3503 | 89.1018
12 | 89.5797 | 99.7478 | 89.667 | 99.2955 | 97.1703 | 0 | 89.3171 | 89.0812
13 | 89.5918 | 99.9079 | 0.51945 | 99.34 | 99.17 | 0 | 89.3161 | 99.2041
14 | 99.6333 | 99.8516 | 0 | 99.2898 | 112.9876 | 0 | 94.3502 | 97.7394
15 | 99.7104 | 99.8788 | 0 | 99.3584 | 122.9086 | 0 | 94.3615 | 92.415
16 | 99.6797 | 109.9291 | 0 | 109.2164 | 112.1492 | 1.3377 | 109.6963 | 109.7379
17 | 99.7147 | 99.9486 | 4.8023 | 99.4195 | 100.442 | 99.0249 | 133.8607 | 115.0963
18 | 99.6461 | 109.9166 | 99.7341 | 99.3097 | 141.4424 | 101.7566 | 102.1977 | 115.0917
19 | 99.6839 | 119.8774 | 99.7587 | 118.8187 | 105.2189 | 105.1632 | 105.2562 | 143.1785
20 | 99.7277 | 100.0737 | 99.7069 | 99.6704 | 137.6583 | 133.832 | 133.9015 | 109.7034
21 | 99.6631 | 99.8627 | 99.7047 | 99.3494 | 127.9037 | 119.0436 | 119.0486 | 104.8843
22 | 99.6577 | 99.915 | 0.73873 | 99.3289 | 114.0052 | 119.0202 | 119.0166 | 114.0666
23 | 99.62 | 99.9022 | 0 | 99.3222 | 116.9534 | 119.0124 | 3.6457 | 111.1553
24 | 1.2452 | 99.8928 | 0 | 99.3606 | 91.2065 | 99.2605 | 0 | 99.307
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1520.1343 | 1977.5407 | 881.5314 | 1816.813 | 2067.8379 | 897.451 | 1519.0926 | 2368.9046
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 524.62
Art. 5.12 | Energy reserve | [5 empty] | 1113.5 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 679.4368 | 14.2391
|  | 2 | 601.4328 | 14.3942
|  | 3 | 562.5184 | 12.6503
|  | 4 | 549.3174 | 12.6404
|  | 5 | 562.6883 | 14.171
|  | 6 | 635.2956 | 14.5457
|  | 7 | 858.018 | 25.5768
|  | 8 | 1159.2137 | 32.1395
|  | 9 | 1260.529 | 33.9504
|  | 10 | 1234.0023 | 31.4316
|  | 11 | 1169.5837 | 27.0773
|  | 12 | 1105.554 | 25.4581
|  | 13 | 1082.832 | 24.1263
|  | 14 | 1112.0251 | 26.972
|  | 15 | 1149.5889 | 30.1285
|  | 16 | 1181.1972 | 30.6311
|  | 17 | 1255.5608 | 36.8438
|  | 18 | 1412.022 | 46.6723
|  | 19 | 1471.2686 | 51.2543
|  | 20 | 1461.1539 | 51.518
|  | 21 | 1427.9892 | 50.1394
|  | 22 | 1304.3817 | 38.4617
|  | 23 | 1093.4665 | 26.2714
|  | 24 | 859.0359 | 21.2182
|  | 25 | 693.0903 | 13.5119
|  | 26 | 616.6693 | 13.2243
|  | 27 | 576.0807 | 11.9833
|  | 28 | 567.2341 | 12.5749
|  | 29 | 570.2633 | 13.017
|  | 30 | 647.3153 | 17.4104
|  | 31 | 868.1314 | 24.5932
|  | 32 | 1179.0122 | 31.913
|  | 33 | 1257.0627 | 33.7076
|  | 34 | 1227.4816 | 29.0392
|  | 35 | 1163.0856 | 25.6158
|  | 36 | 1112.4096 | 22.9241
|  | 37 | 1083.1065 | 21.423
|  | 38 | 1110.9428 | 23.8557
|  | 39 | 1147.5926 | 27.1072
|  | 40 | 1190.3982 | 29.201
|  | 41 | 1270.3634 | 36.4536
|  | 42 | 1437.9848 | 47.7124
|  | 43 | 1501.3405 | 50.5423
|  | 44 | 1495.425 | 49.3385
|  | 45 | 1462.0998 | 47.9579
|  | 46 | 1335.8131 | 36.6942
|  | 47 | 1147.8775 | 30.2718
|  | 48 | 943.6949 | 18.8992
|  | 49 | 783.362 | 17.6778
|  | 50 | 664.5235 | 13.4151
|  | 51 | 601.2876 | 13.1395
|  | 52 | 582.9417 | 12.0069
|  | 53 | 589.9958 | 12.9904
|  | 54 | 666.6222 | 14.9956
|  | 55 | 891.1104 | 19.6426
|  | 56 | 1203.2489 | 30.4319
|  | 57 | 1290.9744 | 34.0352
|  | 58 | 1265.1033 | 31.2624
|  | 59 | 1185.8082 | 28.0578
|  | 60 | 1121.5465 | 27.4476
|  | 61 | 1098.2245 | 27.4625
|  | 62 | 1126.9291 | 25.9817
|  | 63 | 1163.2454 | 26.2461
|  | 64 | 1191.3599 | 29.5372
|  | 65 | 1258.1951 | 35.3169
|  | 66 | 1444.9513 | 48.1382
|  | 67 | 1520.8088 | 52.7776
|  | 68 | 1517.2281 | 51.2032
|  | 69 | 1482.0102 | 49.5907
|  | 70 | 1354.6279 | 39.9945
|  | 71 | 1133.7095 | 27.9119
|  | 72 | 879.3925 | 18.9017
|  | 73 | 716.7863 | 15.3135
|  | 74 | 630.7831 | 15.0059
|  | 75 | 594.6797 | 14.7694
|  | 76 | 582.6563 | 15.0108
|  | 77 | 592.3455 | 13.66
|  | 78 | 667.3842 | 14.2327
|  | 79 | 888.0922 | 20.101
|  | 80 | 1203.749 | 33.5559
|  | 81 | 1293.7727 | 35.943
|  | 82 | 1243.611 | 34.6774
|  | 83 | 1167.8882 | 30.1482
|  | 84 | 1107.4212 | 27.6133
|  | 85 | 1083.6296 | 25.8048
|  | 86 | 1109.8893 | 26.1949
|  | 87 | 1152.0217 | 28.9646
|  | 88 | 1190.3397 | 33.3386
|  | 89 | 1255.992 | 37.7033
|  | 90 | 1425.6113 | 49.9032
|  | 91 | 1493.9807 | 53.5527
|  | 92 | 1484.7553 | 53.6251
|  | 93 | 1453.8018 | 50.4725
|  | 94 | 1331.0888 | 42.204
|  | 95 | 1120.0964 | 34.015
|  | 96 | 890.413 | 29.007
|  | 97 | 721.2351 | 20.3081
|  | 98 | 635.4289 | 20.7805
|  | 99 | 589.656 | 20.2964
|  | 100 | 578.1562 | 19.1675
|  | 101 | 590.5694 | 19.8767
|  | 102 | 667.1881 | 20.0264
|  | 103 | 891.3127 | 25.467
|  | 104 | 1193.2068 | 35.3773
|  | 105 | 1311.2042 | 38.3455
|  | 106 | 1302.8769 | 37.9839
|  | 107 | 1226.4953 | 29.6264
|  | 108 | 1150.1281 | 26.1756
|  | 109 | 1117.8026 | 23.5024
|  | 110 | 1136.9726 | 23.9416
|  | 111 | 1163.0242 | 26.5875
|  | 112 | 1176.1528 | 28.6081
|  | 113 | 1236.0271 | 34.5011
|  | 114 | 1403.1625 | 43.7303
|  | 115 | 1465.436 | 47.3705
|  | 116 | 1444.8318 | 48.1244
|  | 117 | 1405.6832 | 44.696
|  | 118 | 1285.4481 | 37.2021
|  | 119 | 1094.9616 | 27.2651
|  | 120 | 887.5835 | 21.3495
|  | 121 | 737.0899 | 16.8289
|  | 122 | 646.624 | 15.2715
|  | 123 | 597.482 | 17.3723
|  | 124 | 575.3556 | 18.6833
|  | 125 | 584.0558 | 20.191
|  | 126 | 651.0043 | 18.3037
|  | 127 | 803.7766 | 24.6226
|  | 128 | 1034.3303 | 28.9056
|  | 129 | 1201.5452 | 29.9301
|  | 130 | 1226.1317 | 29.98
|  | 131 | 1166.1021 | 25.6919
|  | 132 | 1105.8431 | 22.87
|  | 133 | 1071.9067 | 20.5645
|  | 134 | 1088.4702 | 22.4959
|  | 135 | 1102.2962 | 27.6785
|  | 136 | 1131.6521 | 32.3116
|  | 137 | 1207.0887 | 36.2721
|  | 138 | 1367.3673 | 43.086
|  | 139 | 1443.1619 | 47.8959
|  | 140 | 1426.0893 | 49.3461
|  | 141 | 1381.5202 | 46.9676
|  | 142 | 1269.2686 | 38.1474
|  | 143 | 1096.8032 | 31.0667
|  | 144 | 920.3175 | 24.7268
|  | 145 | 761.0245 | 20.2388
|  | 146 | 655.1152 | 17.4711
|  | 147 | 578.8439 | 16.0812
|  | 148 | 553.1976 | 15.5405
|  | 149 | 552.9518 | 15.2991
|  | 150 | 596.3163 | 16.5518
|  | 151 | 712.4374 | 21.2371
|  | 152 | 910.7276 | 25.7367
|  | 153 | 1089.4288 | 26.5439
|  | 154 | 1121.1189 | 23.3521
|  | 155 | 1068.0186 | 20.9636
|  | 156 | 1007.8934 | 19.7972
|  | 157 | 995.1852 | 17.8666
|  | 158 | 1002.0444 | 18.3038
|  | 159 | 998.8208 | 21.8992
|  | 160 | 1031.0714 | 26.0835
|  | 161 | 1126.9734 | 31.4164
|  | 162 | 1326.1167 | 43.9319
|  | 163 | 1414.2189 | 48.0549
|  | 164 | 1417.2449 | 48.9003
|  | 165 | 1387.2663 | 50.6508
|  | 166 | 1253.6757 | 44.6029
|  | 167 | 1064.9818 | 33.5558
|  | 168 | 845.1263 | 23.1502
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 29-01-2024 | 30-01-2024 | 31-01-2024 | 01-02-2024 | 02-02-2024 | 03-02-2024 | 04-02-2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible