## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-02-05
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 24429.46 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 05-02-2024 | 06-02-2024 | 07-02-2024 | 08-02-2024 | 09-02-2024 | 10-02-2024 | 11-02-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-02-03
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 870.9739 | 133.884 | 737.0899
|  | 2 | 754.444 | 107.82 | 646.624
|  | 3 | 704.057 | 106.575 | 597.482
|  | 4 | 630.1906 | 54.835 | 575.3556
|  | 5 | 626.3788 | 42.323 | 584.0558
|  | 6 | 706.1123 | 55.108 | 651.0043
|  | 7 | 940.1206 | 136.344 | 803.7766
|  | 8 | 1120.8923 | 86.562 | 1034.3303
|  | 9 | 1328.9912 | 127.446 | 1201.5452
|  | 10 | 1399.7287 | 173.597 | 1226.1317
|  | 11 | 1368.7531 | 202.651 | 1166.1021
|  | 12 | 1282.2901 | 176.447 | 1105.8431
|  | 13 | 1175.8617 | 103.955 | 1071.9067
|  | 14 | 1172.1072 | 83.637 | 1088.4702
|  | 15 | 1169.7102 | 67.414 | 1102.2962
|  | 16 | 1220.7091 | 89.057 | 1131.6521
|  | 17 | 1411.7067 | 204.618 | 1207.0887
|  | 18 | 1565.5633 | 198.196 | 1367.3673
|  | 19 | 1599.1239 | 155.962 | 1443.1619
|  | 20 | 1614.3883 | 188.299 | 1426.0893
|  | 21 | 1586.8152 | 205.295 | 1381.5202
|  | 22 | 1484.8036 | 215.535 | 1269.2686
|  | 23 | 1329.2312 | 232.428 | 1096.8032
|  | 24 | 1153.0925 | 232.775 | 920.3175
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro
| Agregati Nr.1 | Koman | 150 | Hidro
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 44.9981 | 86.0755 | -8.137 | -163.6863 | -44.9111 | 192.1245
2 | 43.4084 | 48.2032 | 1.9369 | -174.6888 | -14.6684 | 191.1374
3 | 43.0521 | 22.0036 | 2.3688 | -193.8263 | 6.4566 | 160.2968
4 | 44.5733 | 4.4182 | -12.6531 | -199.5292 | -5.1233 | 160.9716
5 | 43.3083 | 7.2716 | -20.332 | -192.4135 | -25.6919 | 184.3301
6 | 38.8168 | 26.834 | -10.493 | -181.1658 | -30.3717 | 203.0373
7 | 38.2224 | 88.3889 | 7.0438 | -141.2523 | -40.7071 | 211.8793
8 | 14.6226 | 157.8115 | 73.2993 | -92.5586 | 33.1995 | 116.8054
9 | 9.9952 | 198.5508 | 74.7175 | -75.6435 | 43.7875 | 69.7001
10 | 9.2984 | 199.0567 | 96.9641 | -77.0822 | 105.7379 | -5.7454
11 | -7.2605 | 229.1111 | 97.8267 | -95.2133 | 142.4291 | -136.5655
12 | -14.5718 | 199.0965 | 106.0534 | -119.0988 | 179.9777 | -214.1527
13 | -14.3705 | 188.9906 | 107.1683 | -116.1055 | 189.7594 | -216.6519
14 | -4.8048 | 199.0851 | 85.4234 | -128.1886 | 135.7924 | -143.3289
15 | 10.4326 | 228.9564 | 28.7067 | -157.8318 | 6.1663 | 14.4958
16 | 31.8553 | 187.2847 | 34.7351 | -97.5518 | -42.3494 | 210.3749
17 | 14.5829 | 198.6303 | 51.8014 | -76.8402 | 20.418 | 105.25
18 | 13.1072 | 198.9389 | 59.6392 | -70.0891 | -5.6878 | 112.136
19 | 17.8975 | 238.7089 | 36.859 | -96.268 | -45.5401 | 148.4757
20 | 25.9345 | 239.2162 | 34.0538 | -116.27 | -46.6234 | 160.102
21 | 37.8748 | 219.6418 | 20.9143 | -133.1495 | -67.1892 | 215.6352
22 | 43.2512 | 199.3548 | 30.0589 | -128.6434 | -51.8166 | 221.6839
23 | 46.8483 | 189.2631 | 12.3593 | -152.2257 | -51.2037 | 196.0674
24 | 53.3134 | 133.2334 | 20.4583 | -132.6947 | -22.8749 | 206.4461
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-02-05
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 794.09
|  |  | 01:00 - 02:00 | 699.61
|  |  | 02:00 - 03:00 | 604.35
|  |  | 03:00 - 04:00 | 533.89
|  |  | 04:00 - 05:00 | 548.63
|  |  | 05:00 - 06:00 | 677.66
|  |  | 06:00 - 07:00 | 1007.55
|  |  | 07:00 - 08:00 | 1467.82
|  |  | 08:00 - 09:00 | 1564.3
|  |  | 09:00 - 10:00 | 1514.44
|  |  | 10:00 - 11:00 | 1313.47
|  |  | 11:00 - 12:00 | 1169.05
|  |  | 12:00 - 13:00 | 1137.3
|  |  | 13:00 - 14:00 | 1168.14
|  |  | 14:00 - 15:00 | 1193.49
|  |  | 15:00 - 16:00 | 1409.64
|  |  | 16:00 - 17:00 | 1516.78
|  |  | 17:00 - 18:00 | 1702.29
|  |  | 18:00 - 19:00 | 1728.84
|  |  | 19:00 - 20:00 | 1718.14
|  |  | 20:00 - 21:00 | 1684.21
|  |  | 21:00 - 22:00 | 1559.74
|  |  | 22:00 - 23:00 | 1283.18
|  |  | 23:00 - 00:00 | 1073.55
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 99.8682 | 0 | 99.2865 | 0.97858 | 0 | 0 | 94.1245
2 | 0 | 99.8424 | 0 | 0.72524 | 0 | 0 | 0 | 89.1933
3 | 0 | 99.8757 | 0 | 0 | 0 | 0 | 0 | 89.1408
4 | 0 | 89.8586 | 0 | 0 | 0 | 0 | 0 | 89.144
5 | 0 | 89.8283 | 0 | 0 | 0 | 0 | 0 | 89.1486
6 | 0 | 99.7878 | 0 | 3.9997 | 0 | 0 | 1.7503 | 91.0728
7 | 0 | 99.8942 | 0 | 99.3518 | 0 | 3.0496 | 89.3934 | 109.7524
8 | 62.5051 | 109.8319 | 1.1354 | 109.1972 | 0 | 133.9867 | 138.666 | 123.8673
9 | 99.5879 | 100.1045 | 97.7199 | 99.3847 | 0 | 133.9636 | 137.9202 | 101.5909
10 | 89.7559 | 99.9694 | 89.5667 | 99.3317 | 0 | 99.3911 | 127.0341 | 105.4027
11 | 99.6785 | 120.079 | 0.34181 | 109.3155 | 0 | 0.86717 | 136.0084 | 131.3075
12 | 99.6191 | 99.9772 | 0 | 99.418 | 0 | 0 | 137.6431 | 131.6751
13 | 89.7495 | 99.8817 | 0 | 89.3524 | 0 | 0 | 136.1571 | 125.3189
14 | 99.6756 | 99.9694 | 0 | 99.3771 | 0 | 0 | 140.9308 | 118.7495
15 | 99.5505 | 119.9933 | 0.4984 | 109.2848 | 0.81679 | 0 | 134.0378 | 96.1548
16 | 89.7167 | 94.0203 | 88.1453 | 93.5106 | 92.9256 | 0 | 101.2414 | 90.1861
17 | 89.6892 | 99.7504 | 89.6244 | 99.1294 | 94.2225 | 0.73553 | 119.9874 | 105.0412
18 | 99.6744 | 99.9022 | 99.7054 | 99.2756 | 99.2442 | 98.7449 | 101.3415 | 114.3324
19 | 99.6636 | 119.9373 | 99.7901 | 119.054 | 99.2509 | 99.3123 | 128.9192 | 104.5004
20 | 109.6521 | 120.1109 | 99.762 | 119.3793 | 99.2215 | 99.2839 | 107.2559 | 112.4607
21 | 99.7386 | 120.1069 | 99.7773 | 99.7799 | 109.0939 | 109.2702 | 113.9211 | 113.2229
22 | 89.7237 | 100.2168 | 89.8046 | 99.3693 | 118.9751 | 119.0156 | 115.1786 | 95.4235
23 | 89.7502 | 99.9273 | 0.71152 | 89.5485 | 99.2527 | 99.3041 | 95.4338 | 103.2933
24 | 0.47569 | 89.9232 | 0 | 89.3046 | 0.88704 | 99.2686 | 103.2997 | 96.5625
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1508.2063 | 2472.6569 | 856.5829 | 1926.376 | 814.8687 | 1096.1934 | 2166.1198 | 2520.6658
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 511.74
Neni 5.12 | Rezerva energjitike | [5 empty] | 1099.3 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 672.9737 | 18.9257
|  | 2 | 588.1819 | 16.3611
|  | 3 | 550.1124 | 14.7469
|  | 4 | 536.4424 | 14.7873
|  | 5 | 547.5312 | 14.8736
|  | 6 | 622.1074 | 16.4262
|  | 7 | 838.9034 | 22.3129
|  | 8 | 1126.2571 | 31.3142
|  | 9 | 1220.8229 | 34.7194
|  | 10 | 1201.7189 | 29.4857
|  | 11 | 1103.0466 | 23.546
|  | 12 | 1042.5401 | 22.68
|  | 13 | 1007.5864 | 21.1065
|  | 14 | 1013.7328 | 21.1081
|  | 15 | 1037.273 | 22.7922
|  | 16 | 1057.8348 | 28.9346
|  | 17 | 1111.6035 | 29.0974
|  | 18 | 1283.9795 | 40.0746
|  | 19 | 1375.1292 | 44.9004
|  | 20 | 1378.3584 | 45.5356
|  | 21 | 1347.6946 | 46.4943
|  | 22 | 1228.4378 | 41.4242
|  | 23 | 1040.1007 | 30.6852
|  | 24 | 808.9686 | 23.7678
|  | 25 | 666.0465 | 18.4492
|  | 26 | 591.8579 | 15.4454
|  | 27 | 557.6563 | 15.3911
|  | 28 | 548.1228 | 15.5105
|  | 29 | 562.007 | 15.9207
|  | 30 | 630.1817 | 17.308
|  | 31 | 832.8202 | 23.7292
|  | 32 | 1125.0028 | 35.0426
|  | 33 | 1183.3784 | 33.5994
|  | 34 | 1119.3472 | 25.2187
|  | 35 | 1035.6093 | 22.0291
|  | 36 | 979.2289 | 19.5288
|  | 37 | 959.8487 | 20.5766
|  | 38 | 980.9577 | 20.736
|  | 39 | 1024.225 | 21.1001
|  | 40 | 1058.3616 | 26.1282
|  | 41 | 1115.4958 | 29.8293
|  | 42 | 1269.179 | 38.7002
|  | 43 | 1344.2142 | 46.9235
|  | 44 | 1336.895 | 47.083
|  | 45 | 1311.6985 | 46.9462
|  | 46 | 1197.4398 | 44.2537
|  | 47 | 1032.8186 | 30.8507
|  | 48 | 850.2329 | 23.3983
|  | 49 | 705.7489 | 21.5504
|  | 50 | 599.2332 | 17.4057
|  | 51 | 546.9278 | 16.2521
|  | 52 | 531.2876 | 16.0626
|  | 53 | 538.2304 | 17.6893
|  | 54 | 606.5876 | 19.2644
|  | 55 | 793.2124 | 25.5391
|  | 56 | 1064.5838 | 30.4516
|  | 57 | 1144.2908 | 34.05
|  | 58 | 1120.0203 | 30.999
|  | 59 | 1062.7692 | 26.7988
|  | 60 | 1016.1147 | 23.6011
|  | 61 | 991.4689 | 22.4605
|  | 62 | 1017.7608 | 24.1903
|  | 63 | 1039.2568 | 25.1843
|  | 64 | 1041.9982 | 29.3652
|  | 65 | 1068.1008 | 26.2118
|  | 66 | 1236.8117 | 33.5156
|  | 67 | 1331.5235 | 39.7632
|  | 68 | 1324.9938 | 38.9737
|  | 69 | 1289.0201 | 36.3534
|  | 70 | 1171.6577 | 30.6443
|  | 71 | 986.522 | 22.7498
|  | 72 | 786.9841 | 16.9525
|  | 73 | 639.6319 | 15.8751
|  | 74 | 563.8215 | 16.141
|  | 75 | 533.2188 | 13.6727
|  | 76 | 521.7185 | 12.1467
|  | 77 | 533.183 | 12.833
|  | 78 | 604.6157 | 13.1106
|  | 79 | 793.2059 | 18.0965
|  | 80 | 1060.3946 | 24.8669
|  | 81 | 1133.1448 | 36.4389
|  | 82 | 1095.9891 | 34.2935
|  | 83 | 1026.6521 | 29.3636
|  | 84 | 1015.6595 | 33.5079
|  | 85 | 1013.4284 | 32.8899
|  | 86 | 1037.0984 | 33.3021
|  | 87 | 1048.291 | 29.3346
|  | 88 | 1050.8585 | 24.1478
|  | 89 | 1057.4847 | 26.5503
|  | 90 | 1196.1413 | 26.4706
|  | 91 | 1292.7102 | 36.9324
|  | 92 | 1303.4598 | 41.2672
|  | 93 | 1272.2437 | 38.8684
|  | 94 | 1155.6866 | 33.2643
|  | 95 | 973.5966 | 27.0696
|  | 96 | 771.5622 | 20.3964
|  | 97 | 634.7451 | 19.5729
|  | 98 | 563.9739 | 16.1801
|  | 99 | 530.7415 | 16.3589
|  | 100 | 520.9986 | 16.5816
|  | 101 | 530.2105 | 16.811
|  | 102 | 600.5554 | 18.154
|  | 103 | 781.5649 | 29.3826
|  | 104 | 1030.0697 | 32.9008
|  | 105 | 1103.488 | 29.4385
|  | 106 | 1059.5066 | 26.2973
|  | 107 | 993.6041 | 20.8283
|  | 108 | 946.5597 | 22.1802
|  | 109 | 932.2244 | 22.1104
|  | 110 | 942.6469 | 20.7845
|  | 111 | 955.6508 | 19.869
|  | 112 | 973.9032 | 21.3117
|  | 113 | 1029.538 | 23.5791
|  | 114 | 1174.169 | 29.7269
|  | 115 | 1236.2508 | 34.4847
|  | 116 | 1224.9187 | 31.5919
|  | 117 | 1187.2535 | 31.9762
|  | 118 | 1081.3558 | 28.5777
|  | 119 | 925.5327 | 24.7386
|  | 120 | 749.4241 | 21.0514
|  | 121 | 622.148 | 17.0176
|  | 122 | 550.7975 | 15.1869
|  | 123 | 515.2841 | 12.9827
|  | 124 | 505.7618 | 11.3057
|  | 125 | 514.6924 | 11.6309
|  | 126 | 572.4763 | 12.1693
|  | 127 | 708.4028 | 14.8448
|  | 128 | 892.622 | 17.437
|  | 129 | 1036.5519 | 19.0325
|  | 130 | 1077.2276 | 24.2799
|  | 131 | 1081.2406 | 26.4827
|  | 132 | 1047.9768 | 26.6887
|  | 133 | 1062.5631 | 27.4378
|  | 134 | 1071.5636 | 25.0237
|  | 135 | 1083.6485 | 23.083
|  | 136 | 1067.2346 | 22.5679
|  | 137 | 1080.3278 | 23.9701
|  | 138 | 1161.4552 | 26.5925
|  | 139 | 1193.7467 | 27.1856
|  | 140 | 1169.7988 | 25.6496
|  | 141 | 1124.698 | 23.6995
|  | 142 | 1008.9952 | 20.4135
|  | 143 | 867.8912 | 16.0546
|  | 144 | 737.4861 | 14.8666
|  | 145 | 622.9189 | 13.0912
|  | 146 | 541.4496 | 11.8332
|  | 147 | 482.0939 | 13.0701
|  | 148 | 453.3344 | 14.3771
|  | 149 | 459.0035 | 18.7275
|  | 150 | 488.2177 | 16.082
|  | 151 | 564.4332 | 13.1243
|  | 152 | 695.1567 | 14.1721
|  | 153 | 835.5631 | 15.9697
|  | 154 | 931.953 | 20.3419
|  | 155 | 975.8072 | 22.9294
|  | 156 | 999.4069 | 23.5629
|  | 157 | 1003.4139 | 23.5313
|  | 158 | 992.0626 | 23.1572
|  | 159 | 967.3315 | 21.4679
|  | 160 | 971.8285 | 21.8994
|  | 161 | 1003.8761 | 22.8494
|  | 162 | 1104.6619 | 26.8677
|  | 163 | 1160.9028 | 34.1868
|  | 164 | 1162.1814 | 35.5458
|  | 165 | 1142.4445 | 30.8357
|  | 166 | 1041.9656 | 24.8024
|  | 167 | 882.1107 | 21.9188
|  | 168 | 711.8715 | 17.0982
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 05-02-2024 | 06-02-2024 | 07-02-2024 | 08-02-2024 | 09-02-2024 | 10-02-2024 | 11-02-2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-02-05
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 24429.46 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 05-02-2024 | 06-02-2024 | 07-02-2024 | 08-02-2024 | 09-02-2024 | 10-02-2024 | 11-02-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-02-03
|  | Hour | Production | Exchange | Consumption
|  | 1 | 870.9739 | 133.884 | 737.0899
|  | 2 | 754.444 | 107.82 | 646.624
|  | 3 | 704.057 | 106.575 | 597.482
|  | 4 | 630.1906 | 54.835 | 575.3556
|  | 5 | 626.3788 | 42.323 | 584.0558
|  | 6 | 706.1123 | 55.108 | 651.0043
|  | 7 | 940.1206 | 136.344 | 803.7766
|  | 8 | 1120.8923 | 86.562 | 1034.3303
|  | 9 | 1328.9912 | 127.446 | 1201.5452
|  | 10 | 1399.7287 | 173.597 | 1226.1317
|  | 11 | 1368.7531 | 202.651 | 1166.1021
|  | 12 | 1282.2901 | 176.447 | 1105.8431
|  | 13 | 1175.8617 | 103.955 | 1071.9067
|  | 14 | 1172.1072 | 83.637 | 1088.4702
|  | 15 | 1169.7102 | 67.414 | 1102.2962
|  | 16 | 1220.7091 | 89.057 | 1131.6521
|  | 17 | 1411.7067 | 204.618 | 1207.0887
|  | 18 | 1565.5633 | 198.196 | 1367.3673
|  | 19 | 1599.1239 | 155.962 | 1443.1619
|  | 20 | 1614.3883 | 188.299 | 1426.0893
|  | 21 | 1586.8152 | 205.295 | 1381.5202
|  | 22 | 1484.8036 | 215.535 | 1269.2686
|  | 23 | 1329.2312 | 232.428 | 1096.8032
|  | 24 | 1153.0925 | 232.775 | 920.3175
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.2 | Fierze | 125 | Hidro
| Aggregate Nr.3 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Fierze | 125 | Hidro
| Aggregate Nr.1 | Koman | 150 | Hidro
| Aggregate Nr.2 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Koman | 150 | Hidro
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 44.9981 | 86.0755 | -8.137 | -163.6863 | -44.9111 | 192.1245
2 | 43.4084 | 48.2032 | 1.9369 | -174.6888 | -14.6684 | 191.1374
3 | 43.0521 | 22.0036 | 2.3688 | -193.8263 | 6.4566 | 160.2968
4 | 44.5733 | 4.4182 | -12.6531 | -199.5292 | -5.1233 | 160.9716
5 | 43.3083 | 7.2716 | -20.332 | -192.4135 | -25.6919 | 184.3301
6 | 38.8168 | 26.834 | -10.493 | -181.1658 | -30.3717 | 203.0373
7 | 38.2224 | 88.3889 | 7.0438 | -141.2523 | -40.7071 | 211.8793
8 | 14.6226 | 157.8115 | 73.2993 | -92.5586 | 33.1995 | 116.8054
9 | 9.9952 | 198.5508 | 74.7175 | -75.6435 | 43.7875 | 69.7001
10 | 9.2984 | 199.0567 | 96.9641 | -77.0822 | 105.7379 | -5.7454
11 | -7.2605 | 229.1111 | 97.8267 | -95.2133 | 142.4291 | -136.5655
12 | -14.5718 | 199.0965 | 106.0534 | -119.0988 | 179.9777 | -214.1527
13 | -14.3705 | 188.9906 | 107.1683 | -116.1055 | 189.7594 | -216.6519
14 | -4.8048 | 199.0851 | 85.4234 | -128.1886 | 135.7924 | -143.3289
15 | 10.4326 | 228.9564 | 28.7067 | -157.8318 | 6.1663 | 14.4958
16 | 31.8553 | 187.2847 | 34.7351 | -97.5518 | -42.3494 | 210.3749
17 | 14.5829 | 198.6303 | 51.8014 | -76.8402 | 20.418 | 105.25
18 | 13.1072 | 198.9389 | 59.6392 | -70.0891 | -5.6878 | 112.136
19 | 17.8975 | 238.7089 | 36.859 | -96.268 | -45.5401 | 148.4757
20 | 25.9345 | 239.2162 | 34.0538 | -116.27 | -46.6234 | 160.102
21 | 37.8748 | 219.6418 | 20.9143 | -133.1495 | -67.1892 | 215.6352
22 | 43.2512 | 199.3548 | 30.0589 | -128.6434 | -51.8166 | 221.6839
23 | 46.8483 | 189.2631 | 12.3593 | -152.2257 | -51.2037 | 196.0674
24 | 53.3134 | 133.2334 | 20.4583 | -132.6947 | -22.8749 | 206.4461
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2024-02-05
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 794.09
|  |  | 01:00 - 02:00 | 699.61
|  |  | 02:00 - 03:00 | 604.35
|  |  | 03:00 - 04:00 | 533.89
|  |  | 04:00 - 05:00 | 548.63
|  |  | 05:00 - 06:00 | 677.66
|  |  | 06:00 - 07:00 | 1007.55
|  |  | 07:00 - 08:00 | 1467.82
|  |  | 08:00 - 09:00 | 1564.3
|  |  | 09:00 - 10:00 | 1514.44
|  |  | 10:00 - 11:00 | 1313.47
|  |  | 11:00 - 12:00 | 1169.05
|  |  | 12:00 - 13:00 | 1137.3
|  |  | 13:00 - 14:00 | 1168.14
|  |  | 14:00 - 15:00 | 1193.49
|  |  | 15:00 - 16:00 | 1409.64
|  |  | 16:00 - 17:00 | 1516.78
|  |  | 17:00 - 18:00 | 1702.29
|  |  | 18:00 - 19:00 | 1728.84
|  |  | 19:00 - 20:00 | 1718.14
|  |  | 20:00 - 21:00 | 1684.21
|  |  | 21:00 - 22:00 | 1559.74
|  |  | 22:00 - 23:00 | 1283.18
|  |  | 23:00 - 00:00 | 1073.55
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 99.8682 | 0 | 99.2865 | 0.97858 | 0 | 0 | 94.1245
2 | 0 | 99.8424 | 0 | 0.72524 | 0 | 0 | 0 | 89.1933
3 | 0 | 99.8757 | 0 | 0 | 0 | 0 | 0 | 89.1408
4 | 0 | 89.8586 | 0 | 0 | 0 | 0 | 0 | 89.144
5 | 0 | 89.8283 | 0 | 0 | 0 | 0 | 0 | 89.1486
6 | 0 | 99.7878 | 0 | 3.9997 | 0 | 0 | 1.7503 | 91.0728
7 | 0 | 99.8942 | 0 | 99.3518 | 0 | 3.0496 | 89.3934 | 109.7524
8 | 62.5051 | 109.8319 | 1.1354 | 109.1972 | 0 | 133.9867 | 138.666 | 123.8673
9 | 99.5879 | 100.1045 | 97.7199 | 99.3847 | 0 | 133.9636 | 137.9202 | 101.5909
10 | 89.7559 | 99.9694 | 89.5667 | 99.3317 | 0 | 99.3911 | 127.0341 | 105.4027
11 | 99.6785 | 120.079 | 0.34181 | 109.3155 | 0 | 0.86717 | 136.0084 | 131.3075
12 | 99.6191 | 99.9772 | 0 | 99.418 | 0 | 0 | 137.6431 | 131.6751
13 | 89.7495 | 99.8817 | 0 | 89.3524 | 0 | 0 | 136.1571 | 125.3189
14 | 99.6756 | 99.9694 | 0 | 99.3771 | 0 | 0 | 140.9308 | 118.7495
15 | 99.5505 | 119.9933 | 0.4984 | 109.2848 | 0.81679 | 0 | 134.0378 | 96.1548
16 | 89.7167 | 94.0203 | 88.1453 | 93.5106 | 92.9256 | 0 | 101.2414 | 90.1861
17 | 89.6892 | 99.7504 | 89.6244 | 99.1294 | 94.2225 | 0.73553 | 119.9874 | 105.0412
18 | 99.6744 | 99.9022 | 99.7054 | 99.2756 | 99.2442 | 98.7449 | 101.3415 | 114.3324
19 | 99.6636 | 119.9373 | 99.7901 | 119.054 | 99.2509 | 99.3123 | 128.9192 | 104.5004
20 | 109.6521 | 120.1109 | 99.762 | 119.3793 | 99.2215 | 99.2839 | 107.2559 | 112.4607
21 | 99.7386 | 120.1069 | 99.7773 | 99.7799 | 109.0939 | 109.2702 | 113.9211 | 113.2229
22 | 89.7237 | 100.2168 | 89.8046 | 99.3693 | 118.9751 | 119.0156 | 115.1786 | 95.4235
23 | 89.7502 | 99.9273 | 0.71152 | 89.5485 | 99.2527 | 99.3041 | 95.4338 | 103.2933
24 | 0.47569 | 89.9232 | 0 | 89.3046 | 0.88704 | 99.2686 | 103.2997 | 96.5625
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1508.2063 | 2372.7887 | 856.5829 | 1827.0894 | 813.8901 | 1096.1934 | 2166.1198 | 2426.5413
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 511.74
Art. 5.12 | Energy reserve | [5 empty] | 1099.3 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 672.9737 | 18.9257
|  | 2 | 588.1819 | 16.3611
|  | 3 | 550.1124 | 14.7469
|  | 4 | 536.4424 | 14.7873
|  | 5 | 547.5312 | 14.8736
|  | 6 | 622.1074 | 16.4262
|  | 7 | 838.9034 | 22.3129
|  | 8 | 1126.2571 | 31.3142
|  | 9 | 1220.8229 | 34.7194
|  | 10 | 1201.7189 | 29.4857
|  | 11 | 1103.0466 | 23.546
|  | 12 | 1042.5401 | 22.68
|  | 13 | 1007.5864 | 21.1065
|  | 14 | 1013.7328 | 21.1081
|  | 15 | 1037.273 | 22.7922
|  | 16 | 1057.8348 | 28.9346
|  | 17 | 1111.6035 | 29.0974
|  | 18 | 1283.9795 | 40.0746
|  | 19 | 1375.1292 | 44.9004
|  | 20 | 1378.3584 | 45.5356
|  | 21 | 1347.6946 | 46.4943
|  | 22 | 1228.4378 | 41.4242
|  | 23 | 1040.1007 | 30.6852
|  | 24 | 808.9686 | 23.7678
|  | 25 | 666.0465 | 18.4492
|  | 26 | 591.8579 | 15.4454
|  | 27 | 557.6563 | 15.3911
|  | 28 | 548.1228 | 15.5105
|  | 29 | 562.007 | 15.9207
|  | 30 | 630.1817 | 17.308
|  | 31 | 832.8202 | 23.7292
|  | 32 | 1125.0028 | 35.0426
|  | 33 | 1183.3784 | 33.5994
|  | 34 | 1119.3472 | 25.2187
|  | 35 | 1035.6093 | 22.0291
|  | 36 | 979.2289 | 19.5288
|  | 37 | 959.8487 | 20.5766
|  | 38 | 980.9577 | 20.736
|  | 39 | 1024.225 | 21.1001
|  | 40 | 1058.3616 | 26.1282
|  | 41 | 1115.4958 | 29.8293
|  | 42 | 1269.179 | 38.7002
|  | 43 | 1344.2142 | 46.9235
|  | 44 | 1336.895 | 47.083
|  | 45 | 1311.6985 | 46.9462
|  | 46 | 1197.4398 | 44.2537
|  | 47 | 1032.8186 | 30.8507
|  | 48 | 850.2329 | 23.3983
|  | 49 | 705.7489 | 21.5504
|  | 50 | 599.2332 | 17.4057
|  | 51 | 546.9278 | 16.2521
|  | 52 | 531.2876 | 16.0626
|  | 53 | 538.2304 | 17.6893
|  | 54 | 606.5876 | 19.2644
|  | 55 | 793.2124 | 25.5391
|  | 56 | 1064.5838 | 30.4516
|  | 57 | 1144.2908 | 34.05
|  | 58 | 1120.0203 | 30.999
|  | 59 | 1062.7692 | 26.7988
|  | 60 | 1016.1147 | 23.6011
|  | 61 | 991.4689 | 22.4605
|  | 62 | 1017.7608 | 24.1903
|  | 63 | 1039.2568 | 25.1843
|  | 64 | 1041.9982 | 29.3652
|  | 65 | 1068.1008 | 26.2118
|  | 66 | 1236.8117 | 33.5156
|  | 67 | 1331.5235 | 39.7632
|  | 68 | 1324.9938 | 38.9737
|  | 69 | 1289.0201 | 36.3534
|  | 70 | 1171.6577 | 30.6443
|  | 71 | 986.522 | 22.7498
|  | 72 | 786.9841 | 16.9525
|  | 73 | 639.6319 | 15.8751
|  | 74 | 563.8215 | 16.141
|  | 75 | 533.2188 | 13.6727
|  | 76 | 521.7185 | 12.1467
|  | 77 | 533.183 | 12.833
|  | 78 | 604.6157 | 13.1106
|  | 79 | 793.2059 | 18.0965
|  | 80 | 1060.3946 | 24.8669
|  | 81 | 1133.1448 | 36.4389
|  | 82 | 1095.9891 | 34.2935
|  | 83 | 1026.6521 | 29.3636
|  | 84 | 1015.6595 | 33.5079
|  | 85 | 1013.4284 | 32.8899
|  | 86 | 1037.0984 | 33.3021
|  | 87 | 1048.291 | 29.3346
|  | 88 | 1050.8585 | 24.1478
|  | 89 | 1057.4847 | 26.5503
|  | 90 | 1196.1413 | 26.4706
|  | 91 | 1292.7102 | 36.9324
|  | 92 | 1303.4598 | 41.2672
|  | 93 | 1272.2437 | 38.8684
|  | 94 | 1155.6866 | 33.2643
|  | 95 | 973.5966 | 27.0696
|  | 96 | 771.5622 | 20.3964
|  | 97 | 634.7451 | 19.5729
|  | 98 | 563.9739 | 16.1801
|  | 99 | 530.7415 | 16.3589
|  | 100 | 520.9986 | 16.5816
|  | 101 | 530.2105 | 16.811
|  | 102 | 600.5554 | 18.154
|  | 103 | 781.5649 | 29.3826
|  | 104 | 1030.0697 | 32.9008
|  | 105 | 1103.488 | 29.4385
|  | 106 | 1059.5066 | 26.2973
|  | 107 | 993.6041 | 20.8283
|  | 108 | 946.5597 | 22.1802
|  | 109 | 932.2244 | 22.1104
|  | 110 | 942.6469 | 20.7845
|  | 111 | 955.6508 | 19.869
|  | 112 | 973.9032 | 21.3117
|  | 113 | 1029.538 | 23.5791
|  | 114 | 1174.169 | 29.7269
|  | 115 | 1236.2508 | 34.4847
|  | 116 | 1224.9187 | 31.5919
|  | 117 | 1187.2535 | 31.9762
|  | 118 | 1081.3558 | 28.5777
|  | 119 | 925.5327 | 24.7386
|  | 120 | 749.4241 | 21.0514
|  | 121 | 622.148 | 17.0176
|  | 122 | 550.7975 | 15.1869
|  | 123 | 515.2841 | 12.9827
|  | 124 | 505.7618 | 11.3057
|  | 125 | 514.6924 | 11.6309
|  | 126 | 572.4763 | 12.1693
|  | 127 | 708.4028 | 14.8448
|  | 128 | 892.622 | 17.437
|  | 129 | 1036.5519 | 19.0325
|  | 130 | 1077.2276 | 24.2799
|  | 131 | 1081.2406 | 26.4827
|  | 132 | 1047.9768 | 26.6887
|  | 133 | 1062.5631 | 27.4378
|  | 134 | 1071.5636 | 25.0237
|  | 135 | 1083.6485 | 23.083
|  | 136 | 1067.2346 | 22.5679
|  | 137 | 1080.3278 | 23.9701
|  | 138 | 1161.4552 | 26.5925
|  | 139 | 1193.7467 | 27.1856
|  | 140 | 1169.7988 | 25.6496
|  | 141 | 1124.698 | 23.6995
|  | 142 | 1008.9952 | 20.4135
|  | 143 | 867.8912 | 16.0546
|  | 144 | 737.4861 | 14.8666
|  | 145 | 622.9189 | 13.0912
|  | 146 | 541.4496 | 11.8332
|  | 147 | 482.0939 | 13.0701
|  | 148 | 453.3344 | 14.3771
|  | 149 | 459.0035 | 18.7275
|  | 150 | 488.2177 | 16.082
|  | 151 | 564.4332 | 13.1243
|  | 152 | 695.1567 | 14.1721
|  | 153 | 835.5631 | 15.9697
|  | 154 | 931.953 | 20.3419
|  | 155 | 975.8072 | 22.9294
|  | 156 | 999.4069 | 23.5629
|  | 157 | 1003.4139 | 23.5313
|  | 158 | 992.0626 | 23.1572
|  | 159 | 967.3315 | 21.4679
|  | 160 | 971.8285 | 21.8994
|  | 161 | 1003.8761 | 22.8494
|  | 162 | 1104.6619 | 26.8677
|  | 163 | 1160.9028 | 34.1868
|  | 164 | 1162.1814 | 35.5458
|  | 165 | 1142.4445 | 30.8357
|  | 166 | 1041.9656 | 24.8024
|  | 167 | 882.1107 | 21.9188
|  | 168 | 711.8715 | 17.0982
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 05-02-2024 | 06-02-2024 | 07-02-2024 | 08-02-2024 | 09-02-2024 | 10-02-2024 | 11-02-2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible