## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-02-11
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21915.88 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 05-02-2024 | 06-02-2024 | 07-02-2024 | 08-02-2024 | 09-02-2024 | 10-02-2024 | 11-02-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-02-09
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 769.4731 | 134.728 | 634.7451
|  | 2 | 589.2469 | 25.273 | 563.9739
|  | 3 | 537.3895 | 6.648 | 530.7415
|  | 4 | 545.9616 | 24.963 | 520.9986
|  | 5 | 555.3565 | 25.146 | 530.2105
|  | 6 | 726.6654 | 126.11 | 600.5554
|  | 7 | 1037.1559 | 255.591 | 781.5649
|  | 8 | 1295.2417 | 265.172 | 1030.0697
|  | 9 | 1409.427 | 305.939 | 1103.488
|  | 10 | 1365.8696 | 306.363 | 1059.5066
|  | 11 | 1168.7021 | 175.098 | 993.6041
|  | 12 | 1006.5117 | 59.952 | 946.5597
|  | 13 | 1007.2844 | 75.06 | 932.2244
|  | 14 | 1002.2029 | 59.556 | 942.6469
|  | 15 | 1178.1948 | 222.544 | 955.6508
|  | 16 | 1216.0702 | 242.167 | 973.9032
|  | 17 | 1305.413 | 275.875 | 1029.538
|  | 18 | 1499.828 | 325.659 | 1174.169
|  | 19 | 1576.4808 | 340.23 | 1236.2508
|  | 20 | 1511.0157 | 286.097 | 1224.9187
|  | 21 | 1480.0375 | 292.784 | 1187.2535
|  | 22 | 1363.3868 | 282.031 | 1081.3558
|  | 23 | 1168.3587 | 242.826 | 925.5327
|  | 24 | 916.6831 | 167.259 | 749.4241
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro
| Agregati Nr.1 | Koman | 150 | Hidro
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -4.6695 | 59.6609 | 40.2177 | -76.4112 | 118.2693 | -123.5018
2 | -16.647 | 26.4302 | 34.745 | -89.304 | 172.8653 | -224.7069
3 | -17.9016 | -3.3197 | 25.061 | -108.5802 | 188.4046 | -256.1397
4 | -26.0258 | -13.5313 | 31.8486 | -109.3317 | 222.1498 | -311.1001
5 | -46.3816 | -8.1941 | 64.7255 | -87.4912 | 289.6723 | -421.644
6 | -37.7098 | -9.1578 | 52.2034 | -97.6131 | 269.3618 | -382.5136
7 | -24.7666 | 10.0321 | 54.526 | -97.2035 | 233.7001 | -309.8602
8 | -21.7227 | 15.4068 | 58.0703 | -109.6672 | 224.2894 | -299.866
9 | -21.961 | 47.7518 | 76.8106 | -108.1189 | 212.6316 | -277.5138
10 | -13.9595 | 78.5499 | 91.9999 | -114.3637 | 204.1993 | -222.1226
11 | -24.6352 | 84.9444 | 111.9547 | -104.5385 | 255.2579 | -311.4936
12 | -21.0945 | 89.3604 | 101.9053 | -111.0381 | 240.5841 | -288.4551
13 | -23.0226 | 87.3891 | 102.7693 | -109.822 | 252.9677 | -314.4999
14 | -29.0469 | 103.4423 | 96.6118 | -88.6846 | 238.7025 | -289.7066
15 | -21.6622 | 95.5981 | 68.6097 | -95.5036 | 187.1977 | -219.6427
16 | -15.4098 | 113.5823 | 72.1753 | -83.0398 | 153.4257 | -144.4849
17 | -16.1414 | 124.4091 | 49.4557 | -73.6888 | 107.2915 | -92.7166
18 | -26.3567 | 135.7107 | 40.7212 | -69.7633 | 85.3978 | -108.3376
19 | -38.9861 | 139.1532 | 72.1185 | -66.1313 | 153.802 | -197.1125
20 | -31.43 | 130.001 | 81.0673 | -85.1042 | 177.4752 | -193.2728
21 | -20.3346 | 118.7605 | 87.6247 | -107.9221 | 190.0282 | -176.2648
22 | -4.7005 | 109.3834 | 68.6757 | -92.8295 | 141.5796 | -101.8877
23 | -5.6145 | 93.3407 | 64.1387 | -91.3554 | 159.7962 | -118.2247
24 | 3.2686 | 69.7888 | 46.6725 | -100.6323 | 161.0972 | -112.0109
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-02-11
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 645.09
|  |  | 01:00 - 02:00 | 459.94
|  |  | 02:00 - 03:00 | 324.92
|  |  | 03:00 - 04:00 | 256.94
|  |  | 04:00 - 05:00 | 255.91
|  |  | 05:00 - 06:00 | 293.51
|  |  | 06:00 - 07:00 | 447.94
|  |  | 07:00 - 08:00 | 597.91
|  |  | 08:00 - 09:00 | 846.95
|  |  | 09:00 - 10:00 | 1007.01
|  |  | 10:00 - 11:00 | 1062.9
|  |  | 11:00 - 12:00 | 1088.37
|  |  | 12:00 - 13:00 | 1072.96
|  |  | 13:00 - 14:00 | 1038.76
|  |  | 14:00 - 15:00 | 1034.21
|  |  | 15:00 - 16:00 | 1105.14
|  |  | 16:00 - 17:00 | 1225.74
|  |  | 17:00 - 18:00 | 1307.1
|  |  | 18:00 - 19:00 | 1324.3
|  |  | 19:00 - 20:00 | 1337.26
|  |  | 20:00 - 21:00 | 1309.27
|  |  | 21:00 - 22:00 | 1225.17
|  |  | 22:00 - 23:00 | 1034.69
|  |  | 23:00 - 00:00 | 831.79
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 118.924 | 121.2658 | 0
2 | 0 | 0 | 0 | 0 | 0 | 101.1545 | 0.89946 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0.94488 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 94.2792 | 0 | 0 | 0.58545
8 | 0 | 0 | 0 | 0 | 93.1044 | 0 | 0 | 88.946
9 | 0 | 51.2326 | 0 | 0 | 139.4917 | 0.68834 | 0.21466 | 109.2698
10 | 0 | 100.4605 | 0 | 0 | 91.8278 | 95.724 | 91.1466 | 103.8358
11 | 0 | 99.8703 | 0 | 1.226 | 99.1367 | 119.0305 | 99.3052 | 100.0854
12 | 0 | 89.9742 | 0 | 88.9841 | 89.1876 | 89.4463 | 89.4331 | 89.1706
13 | 0 | 89.7609 | 0 | 89.2705 | 89.1777 | 89.3434 | 89.4136 | 89.5087
14 | 0 | 99.853 | 0 | 99.2004 | 99.1118 | 97.3172 | 94.4446 | 89.1489
15 | 0 | 90.1197 | 0 | 89.6336 | 89.6098 | 89.9306 | 89.8919 | 89.1713
16 | 0 | 99.7118 | 0 | 99.1101 | 89.2604 | 89.3455 | 89.414 | 89.1646
17 | 0 | 99.8795 | 0 | 99.3719 | 96.6888 | 94.3509 | 96.0047 | 93.5618
18 | 0 | 99.8902 | 0 | 99.2797 | 89.5165 | 97.5911 | 89.8178 | 113.9009
19 | 0 | 99.859 | 0 | 99.3504 | 89.2934 | 90.3489 | 119.0131 | 109.7858
20 | 0 | 99.8653 | 0 | 99.296 | 89.299 | 100.2951 | 119.1025 | 90.9234
21 | 0 | 99.8582 | 0 | 99.3194 | 89.298 | 89.3686 | 89.5222 | 95.2358
22 | 0 | 0.57173 | 0 | 99.3892 | 89.2866 | 89.3455 | 89.4104 | 113.8459
23 | 0 | 0 | 0 | 0.61383 | 0.86291 | 102.2754 | 99.3055 | 119.1185
24 | 0 | 0 | 0 | 0 | 0 | 1.6396 | 0.95375 | 109.8624
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 1220.9071 | 0 | 1064.045 | 1518.4323 | 1557.0643 | 1468.559 | 1695.1211
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 302.56
Neni 5.12 | Rezerva energjitike | [5 empty] | 1150 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 672.9737 | 18.9257
|  | 2 | 588.1819 | 16.3611
|  | 3 | 550.1124 | 14.7469
|  | 4 | 536.4424 | 14.7873
|  | 5 | 547.5312 | 14.8736
|  | 6 | 622.1074 | 16.4262
|  | 7 | 838.9034 | 22.3129
|  | 8 | 1126.2571 | 31.3142
|  | 9 | 1220.8229 | 34.7194
|  | 10 | 1201.7189 | 29.4857
|  | 11 | 1103.0466 | 23.546
|  | 12 | 1042.5401 | 22.68
|  | 13 | 1007.5864 | 21.1065
|  | 14 | 1013.7328 | 21.1081
|  | 15 | 1037.273 | 22.7922
|  | 16 | 1057.8348 | 28.9346
|  | 17 | 1111.6035 | 29.0974
|  | 18 | 1283.9795 | 40.0746
|  | 19 | 1375.1292 | 44.9004
|  | 20 | 1378.3584 | 45.5356
|  | 21 | 1347.6946 | 46.4943
|  | 22 | 1228.4378 | 41.4242
|  | 23 | 1040.1007 | 30.6852
|  | 24 | 808.9686 | 23.7678
|  | 25 | 666.0465 | 18.4492
|  | 26 | 591.8579 | 15.4454
|  | 27 | 557.6563 | 15.3911
|  | 28 | 548.1228 | 15.5105
|  | 29 | 562.007 | 15.9207
|  | 30 | 630.1817 | 17.308
|  | 31 | 832.8202 | 23.7292
|  | 32 | 1125.0028 | 35.0426
|  | 33 | 1183.3784 | 33.5994
|  | 34 | 1119.3472 | 25.2187
|  | 35 | 1035.6093 | 22.0291
|  | 36 | 979.2289 | 19.5288
|  | 37 | 959.8487 | 20.5766
|  | 38 | 980.9577 | 20.736
|  | 39 | 1024.225 | 21.1001
|  | 40 | 1058.3616 | 26.1282
|  | 41 | 1115.4958 | 29.8293
|  | 42 | 1269.179 | 38.7002
|  | 43 | 1344.2142 | 46.9235
|  | 44 | 1336.895 | 47.083
|  | 45 | 1311.6985 | 46.9462
|  | 46 | 1197.4398 | 44.2537
|  | 47 | 1032.8186 | 30.8507
|  | 48 | 850.2329 | 23.3983
|  | 49 | 705.7489 | 21.5504
|  | 50 | 599.2332 | 17.4057
|  | 51 | 546.9278 | 16.2521
|  | 52 | 531.2876 | 16.0626
|  | 53 | 538.2304 | 17.6893
|  | 54 | 606.5876 | 19.2644
|  | 55 | 793.2124 | 25.5391
|  | 56 | 1064.5838 | 30.4516
|  | 57 | 1144.2908 | 34.05
|  | 58 | 1120.0203 | 30.999
|  | 59 | 1062.7692 | 26.7988
|  | 60 | 1016.1147 | 23.6011
|  | 61 | 991.4689 | 22.4605
|  | 62 | 1017.7608 | 24.1903
|  | 63 | 1039.2568 | 25.1843
|  | 64 | 1041.9982 | 29.3652
|  | 65 | 1068.1008 | 26.2118
|  | 66 | 1236.8117 | 33.5156
|  | 67 | 1331.5235 | 39.7632
|  | 68 | 1324.9938 | 38.9737
|  | 69 | 1289.0201 | 36.3534
|  | 70 | 1171.6577 | 30.6443
|  | 71 | 986.522 | 22.7498
|  | 72 | 786.9841 | 16.9525
|  | 73 | 639.6319 | 15.8751
|  | 74 | 563.8215 | 16.141
|  | 75 | 533.2188 | 13.6727
|  | 76 | 521.7185 | 12.1467
|  | 77 | 533.183 | 12.833
|  | 78 | 604.6157 | 13.1106
|  | 79 | 793.2059 | 18.0965
|  | 80 | 1060.3946 | 24.8669
|  | 81 | 1133.1448 | 36.4389
|  | 82 | 1095.9891 | 34.2935
|  | 83 | 1026.6521 | 29.3636
|  | 84 | 1015.6595 | 33.5079
|  | 85 | 1013.4284 | 32.8899
|  | 86 | 1037.0984 | 33.3021
|  | 87 | 1048.291 | 29.3346
|  | 88 | 1050.8585 | 24.1478
|  | 89 | 1057.4847 | 26.5503
|  | 90 | 1196.1413 | 26.4706
|  | 91 | 1292.7102 | 36.9324
|  | 92 | 1303.4598 | 41.2672
|  | 93 | 1272.2437 | 38.8684
|  | 94 | 1155.6866 | 33.2643
|  | 95 | 973.5966 | 27.0696
|  | 96 | 771.5622 | 20.3964
|  | 97 | 634.7451 | 19.5729
|  | 98 | 563.9739 | 16.1801
|  | 99 | 530.7415 | 16.3589
|  | 100 | 520.9986 | 16.5816
|  | 101 | 530.2105 | 16.811
|  | 102 | 600.5554 | 18.154
|  | 103 | 781.5649 | 29.3826
|  | 104 | 1030.0697 | 32.9008
|  | 105 | 1103.488 | 29.4385
|  | 106 | 1059.5066 | 26.2973
|  | 107 | 993.6041 | 20.8283
|  | 108 | 946.5597 | 22.1802
|  | 109 | 932.2244 | 22.1104
|  | 110 | 942.6469 | 20.7845
|  | 111 | 955.6508 | 19.869
|  | 112 | 973.9032 | 21.3117
|  | 113 | 1029.538 | 23.5791
|  | 114 | 1174.169 | 29.7269
|  | 115 | 1236.2508 | 34.4847
|  | 116 | 1224.9187 | 31.5919
|  | 117 | 1187.2535 | 31.9762
|  | 118 | 1081.3558 | 28.5777
|  | 119 | 925.5327 | 24.7386
|  | 120 | 749.4241 | 21.0514
|  | 121 | 622.148 | 17.0176
|  | 122 | 550.7975 | 15.1869
|  | 123 | 515.2841 | 12.9827
|  | 124 | 505.7618 | 11.3057
|  | 125 | 514.6924 | 11.6309
|  | 126 | 572.4763 | 12.1693
|  | 127 | 708.4028 | 14.8448
|  | 128 | 892.622 | 17.437
|  | 129 | 1036.5519 | 19.0325
|  | 130 | 1077.2276 | 24.2799
|  | 131 | 1081.2406 | 26.4827
|  | 132 | 1047.9768 | 26.6887
|  | 133 | 1062.5631 | 27.4378
|  | 134 | 1071.5636 | 25.0237
|  | 135 | 1083.6485 | 23.083
|  | 136 | 1067.2346 | 22.5679
|  | 137 | 1080.3278 | 23.9701
|  | 138 | 1161.4552 | 26.5925
|  | 139 | 1193.7467 | 27.1856
|  | 140 | 1169.7988 | 25.6496
|  | 141 | 1124.698 | 23.6995
|  | 142 | 1008.9952 | 20.4135
|  | 143 | 867.8912 | 16.0546
|  | 144 | 737.4861 | 14.8666
|  | 145 | 622.9189 | 13.0912
|  | 146 | 541.4496 | 11.8332
|  | 147 | 482.0939 | 13.0701
|  | 148 | 453.3344 | 14.3771
|  | 149 | 459.0035 | 18.7275
|  | 150 | 488.2177 | 16.082
|  | 151 | 564.4332 | 13.1243
|  | 152 | 695.1567 | 14.1721
|  | 153 | 835.5631 | 15.9697
|  | 154 | 931.953 | 20.3419
|  | 155 | 975.8072 | 22.9294
|  | 156 | 999.4069 | 23.5629
|  | 157 | 1003.4139 | 23.5313
|  | 158 | 992.0626 | 23.1572
|  | 159 | 967.3315 | 21.4679
|  | 160 | 971.8285 | 21.8994
|  | 161 | 1003.8761 | 22.8494
|  | 162 | 1104.6619 | 26.8677
|  | 163 | 1160.9028 | 34.1868
|  | 164 | 1162.1814 | 35.5458
|  | 165 | 1142.4445 | 30.8357
|  | 166 | 1041.9656 | 24.8024
|  | 167 | 882.1107 | 21.9188
|  | 168 | 711.8715 | 17.0982
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 05-02-2024 | 06-02-2024 | 07-02-2024 | 08-02-2024 | 09-02-2024 | 10-02-2024 | 11-02-2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-02-11
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21915.88 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 05-02-2024 | 06-02-2024 | 07-02-2024 | 08-02-2024 | 09-02-2024 | 10-02-2024 | 11-02-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-02-09
|  | Hour | Production | Exchange | Consumption
|  | 1 | 769.4731 | 134.728 | 634.7451
|  | 2 | 589.2469 | 25.273 | 563.9739
|  | 3 | 537.3895 | 6.648 | 530.7415
|  | 4 | 545.9616 | 24.963 | 520.9986
|  | 5 | 555.3565 | 25.146 | 530.2105
|  | 6 | 726.6654 | 126.11 | 600.5554
|  | 7 | 1037.1559 | 255.591 | 781.5649
|  | 8 | 1295.2417 | 265.172 | 1030.0697
|  | 9 | 1409.427 | 305.939 | 1103.488
|  | 10 | 1365.8696 | 306.363 | 1059.5066
|  | 11 | 1168.7021 | 175.098 | 993.6041
|  | 12 | 1006.5117 | 59.952 | 946.5597
|  | 13 | 1007.2844 | 75.06 | 932.2244
|  | 14 | 1002.2029 | 59.556 | 942.6469
|  | 15 | 1178.1948 | 222.544 | 955.6508
|  | 16 | 1216.0702 | 242.167 | 973.9032
|  | 17 | 1305.413 | 275.875 | 1029.538
|  | 18 | 1499.828 | 325.659 | 1174.169
|  | 19 | 1576.4808 | 340.23 | 1236.2508
|  | 20 | 1511.0157 | 286.097 | 1224.9187
|  | 21 | 1480.0375 | 292.784 | 1187.2535
|  | 22 | 1363.3868 | 282.031 | 1081.3558
|  | 23 | 1168.3587 | 242.826 | 925.5327
|  | 24 | 916.6831 | 167.259 | 749.4241
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.2 | Fierze | 125 | Hidro
| Aggregate Nr.3 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Fierze | 125 | Hidro
| Aggregate Nr.1 | Koman | 150 | Hidro
| Aggregate Nr.2 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Koman | 150 | Hidro
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -4.6695 | 59.6609 | 40.2177 | -76.4112 | 118.2693 | -123.5018
2 | -16.647 | 26.4302 | 34.745 | -89.304 | 172.8653 | -224.7069
3 | -17.9016 | -3.3197 | 25.061 | -108.5802 | 188.4046 | -256.1397
4 | -26.0258 | -13.5313 | 31.8486 | -109.3317 | 222.1498 | -311.1001
5 | -46.3816 | -8.1941 | 64.7255 | -87.4912 | 289.6723 | -421.644
6 | -37.7098 | -9.1578 | 52.2034 | -97.6131 | 269.3618 | -382.5136
7 | -24.7666 | 10.0321 | 54.526 | -97.2035 | 233.7001 | -309.8602
8 | -21.7227 | 15.4068 | 58.0703 | -109.6672 | 224.2894 | -299.866
9 | -21.961 | 47.7518 | 76.8106 | -108.1189 | 212.6316 | -277.5138
10 | -13.9595 | 78.5499 | 91.9999 | -114.3637 | 204.1993 | -222.1226
11 | -24.6352 | 84.9444 | 111.9547 | -104.5385 | 255.2579 | -311.4936
12 | -21.0945 | 89.3604 | 101.9053 | -111.0381 | 240.5841 | -288.4551
13 | -23.0226 | 87.3891 | 102.7693 | -109.822 | 252.9677 | -314.4999
14 | -29.0469 | 103.4423 | 96.6118 | -88.6846 | 238.7025 | -289.7066
15 | -21.6622 | 95.5981 | 68.6097 | -95.5036 | 187.1977 | -219.6427
16 | -15.4098 | 113.5823 | 72.1753 | -83.0398 | 153.4257 | -144.4849
17 | -16.1414 | 124.4091 | 49.4557 | -73.6888 | 107.2915 | -92.7166
18 | -26.3567 | 135.7107 | 40.7212 | -69.7633 | 85.3978 | -108.3376
19 | -38.9861 | 139.1532 | 72.1185 | -66.1313 | 153.802 | -197.1125
20 | -31.43 | 130.001 | 81.0673 | -85.1042 | 177.4752 | -193.2728
21 | -20.3346 | 118.7605 | 87.6247 | -107.9221 | 190.0282 | -176.2648
22 | -4.7005 | 109.3834 | 68.6757 | -92.8295 | 141.5796 | -101.8877
23 | -5.6145 | 93.3407 | 64.1387 | -91.3554 | 159.7962 | -118.2247
24 | 3.2686 | 69.7888 | 46.6725 | -100.6323 | 161.0972 | -112.0109
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2024-02-11
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 645.09
|  |  | 01:00 - 02:00 | 459.94
|  |  | 02:00 - 03:00 | 324.92
|  |  | 03:00 - 04:00 | 256.94
|  |  | 04:00 - 05:00 | 255.91
|  |  | 05:00 - 06:00 | 293.51
|  |  | 06:00 - 07:00 | 447.94
|  |  | 07:00 - 08:00 | 597.91
|  |  | 08:00 - 09:00 | 846.95
|  |  | 09:00 - 10:00 | 1007.01
|  |  | 10:00 - 11:00 | 1062.9
|  |  | 11:00 - 12:00 | 1088.37
|  |  | 12:00 - 13:00 | 1072.96
|  |  | 13:00 - 14:00 | 1038.76
|  |  | 14:00 - 15:00 | 1034.21
|  |  | 15:00 - 16:00 | 1105.14
|  |  | 16:00 - 17:00 | 1225.74
|  |  | 17:00 - 18:00 | 1307.1
|  |  | 18:00 - 19:00 | 1324.3
|  |  | 19:00 - 20:00 | 1337.26
|  |  | 20:00 - 21:00 | 1309.27
|  |  | 21:00 - 22:00 | 1225.17
|  |  | 22:00 - 23:00 | 1034.69
|  |  | 23:00 - 00:00 | 831.79
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 118.924 | 121.2658 | 0
2 | 0 | 0 | 0 | 0 | 0 | 101.1545 | 0.89946 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0.94488 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 94.2792 | 0 | 0 | 0.58545
8 | 0 | 0 | 0 | 0 | 93.1044 | 0 | 0 | 88.946
9 | 0 | 51.2326 | 0 | 0 | 139.4917 | 0.68834 | 0.21466 | 109.2698
10 | 0 | 100.4605 | 0 | 0 | 91.8278 | 95.724 | 91.1466 | 103.8358
11 | 0 | 99.8703 | 0 | 1.226 | 99.1367 | 119.0305 | 99.3052 | 100.0854
12 | 0 | 89.9742 | 0 | 88.9841 | 89.1876 | 89.4463 | 89.4331 | 89.1706
13 | 0 | 89.7609 | 0 | 89.2705 | 89.1777 | 89.3434 | 89.4136 | 89.5087
14 | 0 | 99.853 | 0 | 99.2004 | 99.1118 | 97.3172 | 94.4446 | 89.1489
15 | 0 | 90.1197 | 0 | 89.6336 | 89.6098 | 89.9306 | 89.8919 | 89.1713
16 | 0 | 99.7118 | 0 | 99.1101 | 89.2604 | 89.3455 | 89.414 | 89.1646
17 | 0 | 99.8795 | 0 | 99.3719 | 96.6888 | 94.3509 | 96.0047 | 93.5618
18 | 0 | 99.8902 | 0 | 99.2797 | 89.5165 | 97.5911 | 89.8178 | 113.9009
19 | 0 | 99.859 | 0 | 99.3504 | 89.2934 | 90.3489 | 119.0131 | 109.7858
20 | 0 | 99.8653 | 0 | 99.296 | 89.299 | 100.2951 | 119.1025 | 90.9234
21 | 0 | 99.8582 | 0 | 99.3194 | 89.298 | 89.3686 | 89.5222 | 95.2358
22 | 0 | 0.57173 | 0 | 99.3892 | 89.2866 | 89.3455 | 89.4104 | 113.8459
23 | 0 | 0 | 0 | 0.61383 | 0.86291 | 102.2754 | 99.3055 | 119.1185
24 | 0 | 0 | 0 | 0 | 0 | 1.6396 | 0.95375 | 109.8624
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 1220.9071 | 0 | 1064.045 | 1518.4323 | 1438.1402 | 1347.2932 | 1695.1211
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 302.56
Art. 5.12 | Energy reserve | [5 empty] | 1150 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 672.9737 | 18.9257
|  | 2 | 588.1819 | 16.3611
|  | 3 | 550.1124 | 14.7469
|  | 4 | 536.4424 | 14.7873
|  | 5 | 547.5312 | 14.8736
|  | 6 | 622.1074 | 16.4262
|  | 7 | 838.9034 | 22.3129
|  | 8 | 1126.2571 | 31.3142
|  | 9 | 1220.8229 | 34.7194
|  | 10 | 1201.7189 | 29.4857
|  | 11 | 1103.0466 | 23.546
|  | 12 | 1042.5401 | 22.68
|  | 13 | 1007.5864 | 21.1065
|  | 14 | 1013.7328 | 21.1081
|  | 15 | 1037.273 | 22.7922
|  | 16 | 1057.8348 | 28.9346
|  | 17 | 1111.6035 | 29.0974
|  | 18 | 1283.9795 | 40.0746
|  | 19 | 1375.1292 | 44.9004
|  | 20 | 1378.3584 | 45.5356
|  | 21 | 1347.6946 | 46.4943
|  | 22 | 1228.4378 | 41.4242
|  | 23 | 1040.1007 | 30.6852
|  | 24 | 808.9686 | 23.7678
|  | 25 | 666.0465 | 18.4492
|  | 26 | 591.8579 | 15.4454
|  | 27 | 557.6563 | 15.3911
|  | 28 | 548.1228 | 15.5105
|  | 29 | 562.007 | 15.9207
|  | 30 | 630.1817 | 17.308
|  | 31 | 832.8202 | 23.7292
|  | 32 | 1125.0028 | 35.0426
|  | 33 | 1183.3784 | 33.5994
|  | 34 | 1119.3472 | 25.2187
|  | 35 | 1035.6093 | 22.0291
|  | 36 | 979.2289 | 19.5288
|  | 37 | 959.8487 | 20.5766
|  | 38 | 980.9577 | 20.736
|  | 39 | 1024.225 | 21.1001
|  | 40 | 1058.3616 | 26.1282
|  | 41 | 1115.4958 | 29.8293
|  | 42 | 1269.179 | 38.7002
|  | 43 | 1344.2142 | 46.9235
|  | 44 | 1336.895 | 47.083
|  | 45 | 1311.6985 | 46.9462
|  | 46 | 1197.4398 | 44.2537
|  | 47 | 1032.8186 | 30.8507
|  | 48 | 850.2329 | 23.3983
|  | 49 | 705.7489 | 21.5504
|  | 50 | 599.2332 | 17.4057
|  | 51 | 546.9278 | 16.2521
|  | 52 | 531.2876 | 16.0626
|  | 53 | 538.2304 | 17.6893
|  | 54 | 606.5876 | 19.2644
|  | 55 | 793.2124 | 25.5391
|  | 56 | 1064.5838 | 30.4516
|  | 57 | 1144.2908 | 34.05
|  | 58 | 1120.0203 | 30.999
|  | 59 | 1062.7692 | 26.7988
|  | 60 | 1016.1147 | 23.6011
|  | 61 | 991.4689 | 22.4605
|  | 62 | 1017.7608 | 24.1903
|  | 63 | 1039.2568 | 25.1843
|  | 64 | 1041.9982 | 29.3652
|  | 65 | 1068.1008 | 26.2118
|  | 66 | 1236.8117 | 33.5156
|  | 67 | 1331.5235 | 39.7632
|  | 68 | 1324.9938 | 38.9737
|  | 69 | 1289.0201 | 36.3534
|  | 70 | 1171.6577 | 30.6443
|  | 71 | 986.522 | 22.7498
|  | 72 | 786.9841 | 16.9525
|  | 73 | 639.6319 | 15.8751
|  | 74 | 563.8215 | 16.141
|  | 75 | 533.2188 | 13.6727
|  | 76 | 521.7185 | 12.1467
|  | 77 | 533.183 | 12.833
|  | 78 | 604.6157 | 13.1106
|  | 79 | 793.2059 | 18.0965
|  | 80 | 1060.3946 | 24.8669
|  | 81 | 1133.1448 | 36.4389
|  | 82 | 1095.9891 | 34.2935
|  | 83 | 1026.6521 | 29.3636
|  | 84 | 1015.6595 | 33.5079
|  | 85 | 1013.4284 | 32.8899
|  | 86 | 1037.0984 | 33.3021
|  | 87 | 1048.291 | 29.3346
|  | 88 | 1050.8585 | 24.1478
|  | 89 | 1057.4847 | 26.5503
|  | 90 | 1196.1413 | 26.4706
|  | 91 | 1292.7102 | 36.9324
|  | 92 | 1303.4598 | 41.2672
|  | 93 | 1272.2437 | 38.8684
|  | 94 | 1155.6866 | 33.2643
|  | 95 | 973.5966 | 27.0696
|  | 96 | 771.5622 | 20.3964
|  | 97 | 634.7451 | 19.5729
|  | 98 | 563.9739 | 16.1801
|  | 99 | 530.7415 | 16.3589
|  | 100 | 520.9986 | 16.5816
|  | 101 | 530.2105 | 16.811
|  | 102 | 600.5554 | 18.154
|  | 103 | 781.5649 | 29.3826
|  | 104 | 1030.0697 | 32.9008
|  | 105 | 1103.488 | 29.4385
|  | 106 | 1059.5066 | 26.2973
|  | 107 | 993.6041 | 20.8283
|  | 108 | 946.5597 | 22.1802
|  | 109 | 932.2244 | 22.1104
|  | 110 | 942.6469 | 20.7845
|  | 111 | 955.6508 | 19.869
|  | 112 | 973.9032 | 21.3117
|  | 113 | 1029.538 | 23.5791
|  | 114 | 1174.169 | 29.7269
|  | 115 | 1236.2508 | 34.4847
|  | 116 | 1224.9187 | 31.5919
|  | 117 | 1187.2535 | 31.9762
|  | 118 | 1081.3558 | 28.5777
|  | 119 | 925.5327 | 24.7386
|  | 120 | 749.4241 | 21.0514
|  | 121 | 622.148 | 17.0176
|  | 122 | 550.7975 | 15.1869
|  | 123 | 515.2841 | 12.9827
|  | 124 | 505.7618 | 11.3057
|  | 125 | 514.6924 | 11.6309
|  | 126 | 572.4763 | 12.1693
|  | 127 | 708.4028 | 14.8448
|  | 128 | 892.622 | 17.437
|  | 129 | 1036.5519 | 19.0325
|  | 130 | 1077.2276 | 24.2799
|  | 131 | 1081.2406 | 26.4827
|  | 132 | 1047.9768 | 26.6887
|  | 133 | 1062.5631 | 27.4378
|  | 134 | 1071.5636 | 25.0237
|  | 135 | 1083.6485 | 23.083
|  | 136 | 1067.2346 | 22.5679
|  | 137 | 1080.3278 | 23.9701
|  | 138 | 1161.4552 | 26.5925
|  | 139 | 1193.7467 | 27.1856
|  | 140 | 1169.7988 | 25.6496
|  | 141 | 1124.698 | 23.6995
|  | 142 | 1008.9952 | 20.4135
|  | 143 | 867.8912 | 16.0546
|  | 144 | 737.4861 | 14.8666
|  | 145 | 622.9189 | 13.0912
|  | 146 | 541.4496 | 11.8332
|  | 147 | 482.0939 | 13.0701
|  | 148 | 453.3344 | 14.3771
|  | 149 | 459.0035 | 18.7275
|  | 150 | 488.2177 | 16.082
|  | 151 | 564.4332 | 13.1243
|  | 152 | 695.1567 | 14.1721
|  | 153 | 835.5631 | 15.9697
|  | 154 | 931.953 | 20.3419
|  | 155 | 975.8072 | 22.9294
|  | 156 | 999.4069 | 23.5629
|  | 157 | 1003.4139 | 23.5313
|  | 158 | 992.0626 | 23.1572
|  | 159 | 967.3315 | 21.4679
|  | 160 | 971.8285 | 21.8994
|  | 161 | 1003.8761 | 22.8494
|  | 162 | 1104.6619 | 26.8677
|  | 163 | 1160.9028 | 34.1868
|  | 164 | 1162.1814 | 35.5458
|  | 165 | 1142.4445 | 30.8357
|  | 166 | 1041.9656 | 24.8024
|  | 167 | 882.1107 | 21.9188
|  | 168 | 711.8715 | 17.0982
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 05-02-2024 | 06-02-2024 | 07-02-2024 | 08-02-2024 | 09-02-2024 | 10-02-2024 | 11-02-2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible