## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-01-13
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 26569.19 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 08-01-2024 | 09-01-2024 | 2024-01-10 | 11-01-2024 | 12-01-2024 | 13-01-2024 | 14-01-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-01-11
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 893.9413 | 213.035 | 680.9063
|  | 2 | 799.2984 | 206.287 | 593.0114
|  | 3 | 757.0967 | 207.131 | 549.9657
|  | 4 | 751.1151 | 215.048 | 536.0671
|  | 5 | 768.6181 | 216.477 | 552.1411
|  | 6 | 844.9709 | 218.368 | 626.6029
|  | 7 | 1126.4268 | 294.825 | 831.6018
|  | 8 | 1438.217 | 302.845 | 1135.372
|  | 9 | 1612.4412 | 360.407 | 1252.0342
|  | 10 | 1585.2494 | 329.518 | 1255.7314
|  | 11 | 1540.3213 | 344.629 | 1195.6923
|  | 12 | 1492.9586 | 341.831 | 1151.1276
|  | 13 | 1484.0077 | 348.789 | 1135.2187
|  | 14 | 1480.7111 | 341.299 | 1139.4121
|  | 15 | 1520.206 | 320.617 | 1199.589
|  | 16 | 1573.8477 | 328.696 | 1245.1517
|  | 17 | 1654.9131 | 334.212 | 1320.7011
|  | 18 | 1745.7638 | 316.646 | 1429.1178
|  | 19 | 1762.2309 | 318.161 | 1444.0699
|  | 20 | 1729.5598 | 304.014 | 1425.5458
|  | 21 | 1700.3536 | 300.556 | 1399.7976
|  | 22 | 1581.6247 | 288.446 | 1293.1787
|  | 23 | 1350.8994 | 271.286 | 1079.6134
|  | 24 | 1185.8708 | 335.614 | 850.2568
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro
| Agregati Nr.1 | Koman | 150 | Hidro
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 48.4704 | 164.9958 | -42.0354 | -10.1703 | -88.532 | 265.9585
2 | 57.7981 | 112.312 | -87.5285 | -60.2349 | -163.632 | 318.7873
3 | 60.0874 | 91.6028 | -92.3111 | -74.392 | -158.1404 | 328.7983
4 | 60.938 | 88.5585 | -86.3008 | -74.6468 | -147.6814 | 325.765
5 | 59.2293 | 90.2262 | -91.9147 | -65.7281 | -161.5945 | 332.2071
6 | 52.1405 | 103.558 | -97.7362 | -41.1264 | -195.1703 | 343.9019
7 | 26.1262 | 180.5446 | -39.485 | 49.2356 | -126.9811 | 233.9618
8 | 3.2386 | 200.7215 | 12.8046 | 61.9864 | -66.2646 | 95.2752
9 | -6.0635 | 198.7062 | 64.7816 | 66.1571 | 23.356 | -15.4339
10 | -26.424 | 198.7452 | 132.1246 | 75.4597 | 176.9537 | -203.4128
11 | -22.0307 | 198.7466 | 137.7754 | 90.1781 | 196.7858 | -234.9024
12 | -18.6617 | 198.7864 | 105.7114 | 88.0105 | 177.3757 | -216.3436
13 | -20.0641 | 198.0611 | 99.5642 | 96.1648 | 135.7091 | -177.0171
14 | -23.5117 | 179.0033 | 101.2357 | 108.8898 | 109.8612 | -153.6547
15 | -23.6634 | 198.2911 | 82.9929 | 117.0635 | 69.8826 | -105.53
16 | -12.933 | 198.6934 | 40.3085 | 131.0755 | -65.77 | 42.5482
17 | -27.4514 | 203.7013 | 44.413 | 164.1669 | -62.4664 | -4.7816
18 | -33.6651 | 198.7246 | 55.3442 | 167.8699 | -59.1064 | -10.0845
19 | -23.219 | 203.6743 | 49.6235 | 155.3578 | -74.8635 | 20.6296
20 | -19.7114 | 203.6871 | 35.951 | 147.9454 | -83.7393 | 41.4825
21 | -21.1598 | 198.6863 | 54.4692 | 131.7303 | -50.15 | 32.4831
22 | -21.2297 | 198.7197 | 56.8458 | 88.3234 | 12.0637 | -9.011
23 | 2.0382 | 198.7126 | 1.0478 | 63.1895 | -27.8853 | 24.6939
24 | 6.1363 | 197.0336 | -28.0844 | 46.5615 | -43.3144 | 45.4822
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-01-13
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 1070.92
|  |  | 01:00 - 02:00 | 736.32
|  |  | 02:00 - 03:00 | 691.02
|  |  | 03:00 - 04:00 | 675.73
|  |  | 04:00 - 05:00 | 689.23
|  |  | 05:00 - 06:00 | 762.63
|  |  | 06:00 - 07:00 | 928.56
|  |  | 07:00 - 08:00 | 1408.06
|  |  | 08:00 - 09:00 | 1587.56
|  |  | 09:00 - 10:00 | 1622.28
|  |  | 10:00 - 11:00 | 1572.18
|  |  | 11:00 - 12:00 | 1426.28
|  |  | 12:00 - 13:00 | 1298.68
|  |  | 13:00 - 14:00 | 1324.68
|  |  | 14:00 - 15:00 | 1382.36
|  |  | 15:00 - 16:00 | 1665.77
|  |  | 16:00 - 17:00 | 1778.43
|  |  | 17:00 - 18:00 | 1848.71
|  |  | 18:00 - 19:00 | 1837.14
|  |  | 19:00 - 20:00 | 1801.36
|  |  | 20:00 - 21:00 | 1750.35
|  |  | 21:00 - 22:00 | 1646.08
|  |  | 22:00 - 23:00 | 1469.08
|  |  | 23:00 - 00:00 | 1243.48
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 98.949 | 0 | 48.0913 | 89.2756 | 0 | 0 | 0
2 | 0 | 89.7207 | 0 | 0 | 93.6487 | 0 | 0 | 0
3 | 0 | 89.781 | 0 | 0 | 89.5275 | 0 | 0 | 0
4 | 0 | 89.7663 | 0 | 0 | 89.1596 | 0 | 0 | 0
5 | 0 | 89.7398 | 0 | 0 | 91.3154 | 0 | 0 | 0
6 | 0 | 89.7375 | 0 | 3.578 | 103.5385 | 0 | 0.45771 | 0
7 | 2.9873 | 99.7009 | 0 | 99.0502 | 96.092 | 0 | 99.9751 | 0
8 | 99.6252 | 99.8012 | 0.45724 | 99.3064 | 130.2711 | 0 | 127.2902 | 108.5599
9 | 99.6529 | 99.8438 | 98.2523 | 99.326 | 113.1359 | 0 | 143.1055 | 143.5231
10 | 99.665 | 99.8339 | 99.7291 | 99.3542 | 96.4255 | 0 | 143.1448 | 142.5789
11 | 99.6312 | 99.8523 | 99.7116 | 99.3958 | 89.7482 | 0 | 89.9132 | 140.5657
12 | 99.7038 | 99.8795 | 99.7594 | 99.3636 | 130.9676 | 0 | 133.6808 | 90.5239
13 | 99.3289 | 99.5619 | 99.4372 | 98.9958 | 100.8114 | 0 | 0.68444 | 135.0057
14 | 89.7668 | 89.8766 | 89.8054 | 89.5057 | 93.6171 | 0 | 0 | 118.8744
15 | 99.5711 | 99.774 | 99.52 | 99.0223 | 90.2212 | 0.91117 | 0 | 105.9615
16 | 99.6605 | 99.8679 | 99.7026 | 99.3237 | 90.5143 | 89.1887 | 0 | 89.161
17 | 99.687 | 104.886 | 99.7357 | 104.3171 | 111.4339 | 99.3765 | 2.4042 | 137.344
18 | 99.6555 | 99.9001 | 99.7111 | 99.3639 | 104.895 | 138.8917 | 133.9601 | 138.5741
19 | 99.6304 | 104.9314 | 99.6834 | 104.3559 | 101.6576 | 138.8431 | 138.5826 | 143.0132
20 | 99.656 | 104.8966 | 99.7187 | 104.3372 | 91.3126 | 138.87 | 138.825 | 138.5886
21 | 99.6357 | 99.8218 | 99.7293 | 99.3483 | 99.4017 | 133.8284 | 128.911 | 132.6398
22 | 99.6853 | 99.7795 | 99.7132 | 99.3322 | 96.0657 | 0.99916 | 119.1202 | 137.5778
23 | 99.6775 | 99.8637 | 99.7272 | 99.3343 | 100.5091 | 0 | 30.8534 | 2.0789
24 | 0.63772 | 99.7856 | 0.9114 | 99.3092 | 107.2204 | 0 | 1.2504 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1587.8578 | 2349.5511 | 1485.3049 | 1844.0109 | 2400.7657 | 740.9087 | 1432.1588 | 1904.5704
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 426.34
Neni 5.12 | Rezerva energjitike | [5 empty] | 966.0 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 627.9367 | 27.5673
|  | 2 | 544.8203 | 23.2492
|  | 3 | 505.5338 | 21.2126
|  | 4 | 494.1733 | 21.381
|  | 5 | 499.3236 | 20.406
|  | 6 | 563.6028 | 21.325
|  | 7 | 755.4379 | 23.8595
|  | 8 | 1010.2539 | 27.5384
|  | 9 | 1121.0564 | 30.8806
|  | 10 | 1144.751 | 31.8499
|  | 11 | 1128.0081 | 28.573
|  | 12 | 1115.3967 | 26.7382
|  | 13 | 1130.3383 | 23.5668
|  | 14 | 1166.9921 | 24.7289
|  | 15 | 1198.1428 | 29.4929
|  | 16 | 1212.1755 | 33.5203
|  | 17 | 1253.9901 | 34.6251
|  | 18 | 1311.956 | 37.6873
|  | 19 | 1312.0969 | 37.3255
|  | 20 | 1300.3608 | 35.2907
|  | 21 | 1265.7924 | 32.9135
|  | 22 | 1157.8136 | 30.7515
|  | 23 | 985.576 | 26.9132
|  | 24 | 784.6119 | 22.4787
|  | 25 | 646.1449 | 19.7541
|  | 26 | 568.6157 | 18.9915
|  | 27 | 531.6385 | 21.2772
|  | 28 | 518.668 | 21.6839
|  | 29 | 525.2928 | 22.9658
|  | 30 | 589.9995 | 26.3363
|  | 31 | 788.2485 | 28.1354
|  | 32 | 1071.9613 | 29.11
|  | 33 | 1162.2187 | 33.0685
|  | 34 | 1146.9818 | 32.4866
|  | 35 | 1109.0849 | 29.7731
|  | 36 | 1078.5349 | 24.1828
|  | 37 | 1058.8672 | 23.112
|  | 38 | 1084.3798 | 22.004
|  | 39 | 1112.8801 | 27.3243
|  | 40 | 1142.4332 | 30.5196
|  | 41 | 1231.4315 | 38.0565
|  | 42 | 1357.4247 | 39.9518
|  | 43 | 1386.4651 | 41.5281
|  | 44 | 1384.9732 | 41.0211
|  | 45 | 1348.5991 | 39.7242
|  | 46 | 1230.9549 | 37.6291
|  | 47 | 1033.7277 | 30.0365
|  | 48 | 824.8566 | 27.5602
|  | 49 | 672.0782 | 22.4568
|  | 50 | 584.8351 | 22.7944
|  | 51 | 545.1869 | 24.6575
|  | 52 | 531.567 | 25.0705
|  | 53 | 541.4029 | 23.8458
|  | 54 | 614.6207 | 26.5727
|  | 55 | 824.4232 | 31.0044
|  | 56 | 1119.1003 | 33.695
|  | 57 | 1230.9651 | 36.4827
|  | 58 | 1221.5804 | 38.3963
|  | 59 | 1162.3158 | 35.7573
|  | 60 | 1106.9229 | 37.8873
|  | 61 | 1092.2541 | 40.7595
|  | 62 | 1129.9316 | 37.5147
|  | 63 | 1172.9636 | 35.3322
|  | 64 | 1223.5178 | 32.0124
|  | 65 | 1315.1665 | 35.7744
|  | 66 | 1428.5344 | 34.4779
|  | 67 | 1446.04 | 37.7843
|  | 68 | 1420.4345 | 39.5339
|  | 69 | 1401.1548 | 37.5869
|  | 70 | 1287.6526 | 33.6949
|  | 71 | 1084.5056 | 26.5829
|  | 72 | 858.6708 | 21.9671
|  | 73 | 680.9063 | 20.3966
|  | 74 | 593.0114 | 18.4585
|  | 75 | 549.9657 | 18.9268
|  | 76 | 536.0671 | 18.3255
|  | 77 | 552.1411 | 17.2681
|  | 78 | 626.6029 | 20.8303
|  | 79 | 831.6018 | 26.3067
|  | 80 | 1135.372 | 30.359
|  | 81 | 1252.0342 | 28.5772
|  | 82 | 1255.7314 | 28.5433
|  | 83 | 1195.6923 | 29.539
|  | 84 | 1151.1276 | 31.8239
|  | 85 | 1135.2187 | 29.8172
|  | 86 | 1139.4121 | 29.533
|  | 87 | 1199.589 | 30.695
|  | 88 | 1245.1517 | 34.613
|  | 89 | 1320.7011 | 32.8306
|  | 90 | 1429.1178 | 35.5192
|  | 91 | 1444.0699 | 34.667
|  | 92 | 1425.5458 | 34.4981
|  | 93 | 1399.7976 | 35.9307
|  | 94 | 1293.1787 | 34.2239
|  | 95 | 1079.6134 | 27.2226
|  | 96 | 850.2568 | 23.626
|  | 97 | 697.3963 | 22.7902
|  | 98 | 610.383 | 24.465
|  | 99 | 568.257 | 27.941
|  | 100 | 558.0701 | 26.9474
|  | 101 | 568.8438 | 28.3876
|  | 102 | 640.7258 | 28.7645
|  | 103 | 858.4741 | 30.1714
|  | 104 | 1170.1612 | 30.7491
|  | 105 | 1290.4722 | 27.9168
|  | 106 | 1273.1894 | 26.3774
|  | 107 | 1207.4001 | 25.4275
|  | 108 | 1147.0349 | 24.011
|  | 109 | 1115.5653 | 24.8968
|  | 110 | 1138.2844 | 24.5224
|  | 111 | 1153.8154 | 28.7105
|  | 112 | 1209.6739 | 33.4536
|  | 113 | 1315.1285 | 34.0568
|  | 114 | 1456.7418 | 39.9749
|  | 115 | 1467.8371 | 38.1304
|  | 116 | 1449.9246 | 35.3791
|  | 117 | 1407.7999 | 34.4871
|  | 118 | 1287.4098 | 33.8802
|  | 119 | 1094.3604 | 31.1109
|  | 120 | 890.6815 | 25.7109
|  | 121 | 728.9415 | 26.1288
|  | 122 | 634.0066 | 22.7527
|  | 123 | 588.5016 | 20.8901
|  | 124 | 575.186 | 19.7786
|  | 125 | 584.9591 | 19.1647
|  | 126 | 649.2245 | 20.4191
|  | 127 | 807.0323 | 20.487
|  | 128 | 1051.2977 | 19.0559
|  | 129 | 1258.8299 | 23.3426
|  | 130 | 1309.4353 | 27.6178
|  | 131 | 1264.8549 | 30.761
|  | 132 | 1214.7398 | 29.6804
|  | 133 | 1190.8719 | 32.6723
|  | 134 | 1209.627 | 30.408
|  | 135 | 1231.7891 | 29.6177
|  | 136 | 1282.6255 | 28.7478
|  | 137 | 1378.9052 | 30.9118
|  | 138 | 1496.9486 | 32.2115
|  | 139 | 1511.3036 | 30.9077
|  | 140 | 1494.9082 | 30.2021
|  | 141 | 1449.1153 | 32.4153
|  | 142 | 1320.4466 | 38.5311
|  | 143 | 1168.6672 | 31.3302
|  | 144 | 999.5517 | 24.3048
|  | 145 | 840.0525 | 19.8465
|  | 146 | 727.9755 | 19.9207
|  | 147 | 630.8609 | 20.7031
|  | 148 | 590.4654 | 20.3588
|  | 149 | 587.3937 | 20.4578
|  | 150 | 628.3612 | 21.1081
|  | 151 | 741.6263 | 22.4952
|  | 152 | 928.4178 | 22.7208
|  | 153 | 1121.1836 | 22.5384
|  | 154 | 1245.1649 | 25.1683
|  | 155 | 1304.9221 | 25.8612
|  | 156 | 1306.2559 | 28.4442
|  | 157 | 1282.2391 | 28.0625
|  | 158 | 1316.0066 | 29.4445
|  | 159 | 1304.0769 | 28.6014
|  | 160 | 1325.0847 | 30.0572
|  | 161 | 1404.7436 | 38.5407
|  | 162 | 1514.2555 | 44.4867
|  | 163 | 1523.8603 | 47.3024
|  | 164 | 1519.8909 | 43.1637
|  | 165 | 1465.776 | 43.4035
|  | 166 | 1323.2894 | 38.8631
|  | 167 | 1125.8767 | 34.4286
|  | 168 | 887.0642 | 30.1089
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 08-01-2024 | 09-01-2024 | 2024-01-10 | 11-01-2024 | 12-01-2024 | 13-01-2024 | 14-01-2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-01-13
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 26569.19 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 08-01-2024 | 09-01-2024 | 2024-01-10 | 11-01-2024 | 12-01-2024 | 13-01-2024 | 14-01-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-01-11
|  | Hour | Production | Exchange | Consumption
|  | 1 | 893.9413 | 213.035 | 680.9063
|  | 2 | 799.2984 | 206.287 | 593.0114
|  | 3 | 757.0967 | 207.131 | 549.9657
|  | 4 | 751.1151 | 215.048 | 536.0671
|  | 5 | 768.6181 | 216.477 | 552.1411
|  | 6 | 844.9709 | 218.368 | 626.6029
|  | 7 | 1126.4268 | 294.825 | 831.6018
|  | 8 | 1438.217 | 302.845 | 1135.372
|  | 9 | 1612.4412 | 360.407 | 1252.0342
|  | 10 | 1585.2494 | 329.518 | 1255.7314
|  | 11 | 1540.3213 | 344.629 | 1195.6923
|  | 12 | 1492.9586 | 341.831 | 1151.1276
|  | 13 | 1484.0077 | 348.789 | 1135.2187
|  | 14 | 1480.7111 | 341.299 | 1139.4121
|  | 15 | 1520.206 | 320.617 | 1199.589
|  | 16 | 1573.8477 | 328.696 | 1245.1517
|  | 17 | 1654.9131 | 334.212 | 1320.7011
|  | 18 | 1745.7638 | 316.646 | 1429.1178
|  | 19 | 1762.2309 | 318.161 | 1444.0699
|  | 20 | 1729.5598 | 304.014 | 1425.5458
|  | 21 | 1700.3536 | 300.556 | 1399.7976
|  | 22 | 1581.6247 | 288.446 | 1293.1787
|  | 23 | 1350.8994 | 271.286 | 1079.6134
|  | 24 | 1185.8708 | 335.614 | 850.2568
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.2 | Fierze | 125 | Hidro
| Aggregate Nr.3 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Fierze | 125 | Hidro
| Aggregate Nr.1 | Koman | 150 | Hidro
| Aggregate Nr.2 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Koman | 150 | Hidro
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 48.4704 | 164.9958 | -42.0354 | -10.1703 | -88.532 | 265.9585
2 | 57.7981 | 112.312 | -87.5285 | -60.2349 | -163.632 | 318.7873
3 | 60.0874 | 91.6028 | -92.3111 | -74.392 | -158.1404 | 328.7983
4 | 60.938 | 88.5585 | -86.3008 | -74.6468 | -147.6814 | 325.765
5 | 59.2293 | 90.2262 | -91.9147 | -65.7281 | -161.5945 | 332.2071
6 | 52.1405 | 103.558 | -97.7362 | -41.1264 | -195.1703 | 343.9019
7 | 26.1262 | 180.5446 | -39.485 | 49.2356 | -126.9811 | 233.9618
8 | 3.2386 | 200.7215 | 12.8046 | 61.9864 | -66.2646 | 95.2752
9 | -6.0635 | 198.7062 | 64.7816 | 66.1571 | 23.356 | -15.4339
10 | -26.424 | 198.7452 | 132.1246 | 75.4597 | 176.9537 | -203.4128
11 | -22.0307 | 198.7466 | 137.7754 | 90.1781 | 196.7858 | -234.9024
12 | -18.6617 | 198.7864 | 105.7114 | 88.0105 | 177.3757 | -216.3436
13 | -20.0641 | 198.0611 | 99.5642 | 96.1648 | 135.7091 | -177.0171
14 | -23.5117 | 179.0033 | 101.2357 | 108.8898 | 109.8612 | -153.6547
15 | -23.6634 | 198.2911 | 82.9929 | 117.0635 | 69.8826 | -105.53
16 | -12.933 | 198.6934 | 40.3085 | 131.0755 | -65.77 | 42.5482
17 | -27.4514 | 203.7013 | 44.413 | 164.1669 | -62.4664 | -4.7816
18 | -33.6651 | 198.7246 | 55.3442 | 167.8699 | -59.1064 | -10.0845
19 | -23.219 | 203.6743 | 49.6235 | 155.3578 | -74.8635 | 20.6296
20 | -19.7114 | 203.6871 | 35.951 | 147.9454 | -83.7393 | 41.4825
21 | -21.1598 | 198.6863 | 54.4692 | 131.7303 | -50.15 | 32.4831
22 | -21.2297 | 198.7197 | 56.8458 | 88.3234 | 12.0637 | -9.011
23 | 2.0382 | 198.7126 | 1.0478 | 63.1895 | -27.8853 | 24.6939
24 | 6.1363 | 197.0336 | -28.0844 | 46.5615 | -43.3144 | 45.4822
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2024-01-13
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 1070.92
|  |  | 01:00 - 02:00 | 736.32
|  |  | 02:00 - 03:00 | 691.02
|  |  | 03:00 - 04:00 | 675.73
|  |  | 04:00 - 05:00 | 689.23
|  |  | 05:00 - 06:00 | 762.63
|  |  | 06:00 - 07:00 | 928.56
|  |  | 07:00 - 08:00 | 1408.06
|  |  | 08:00 - 09:00 | 1587.56
|  |  | 09:00 - 10:00 | 1622.28
|  |  | 10:00 - 11:00 | 1572.18
|  |  | 11:00 - 12:00 | 1426.28
|  |  | 12:00 - 13:00 | 1298.68
|  |  | 13:00 - 14:00 | 1324.68
|  |  | 14:00 - 15:00 | 1382.36
|  |  | 15:00 - 16:00 | 1665.77
|  |  | 16:00 - 17:00 | 1778.43
|  |  | 17:00 - 18:00 | 1848.71
|  |  | 18:00 - 19:00 | 1837.14
|  |  | 19:00 - 20:00 | 1801.36
|  |  | 20:00 - 21:00 | 1750.35
|  |  | 21:00 - 22:00 | 1646.08
|  |  | 22:00 - 23:00 | 1469.08
|  |  | 23:00 - 00:00 | 1243.48
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 98.949 | 0 | 48.0913 | 89.2756 | 0 | 0 | 0
2 | 0 | 89.7207 | 0 | 0 | 93.6487 | 0 | 0 | 0
3 | 0 | 89.781 | 0 | 0 | 89.5275 | 0 | 0 | 0
4 | 0 | 89.7663 | 0 | 0 | 89.1596 | 0 | 0 | 0
5 | 0 | 89.7398 | 0 | 0 | 91.3154 | 0 | 0 | 0
6 | 0 | 89.7375 | 0 | 3.578 | 103.5385 | 0 | 0.45771 | 0
7 | 2.9873 | 99.7009 | 0 | 99.0502 | 96.092 | 0 | 99.9751 | 0
8 | 99.6252 | 99.8012 | 0.45724 | 99.3064 | 130.2711 | 0 | 127.2902 | 108.5599
9 | 99.6529 | 99.8438 | 98.2523 | 99.326 | 113.1359 | 0 | 143.1055 | 143.5231
10 | 99.665 | 99.8339 | 99.7291 | 99.3542 | 96.4255 | 0 | 143.1448 | 142.5789
11 | 99.6312 | 99.8523 | 99.7116 | 99.3958 | 89.7482 | 0 | 89.9132 | 140.5657
12 | 99.7038 | 99.8795 | 99.7594 | 99.3636 | 130.9676 | 0 | 133.6808 | 90.5239
13 | 99.3289 | 99.5619 | 99.4372 | 98.9958 | 100.8114 | 0 | 0.68444 | 135.0057
14 | 89.7668 | 89.8766 | 89.8054 | 89.5057 | 93.6171 | 0 | 0 | 118.8744
15 | 99.5711 | 99.774 | 99.52 | 99.0223 | 90.2212 | 0.91117 | 0 | 105.9615
16 | 99.6605 | 99.8679 | 99.7026 | 99.3237 | 90.5143 | 89.1887 | 0 | 89.161
17 | 99.687 | 104.886 | 99.7357 | 104.3171 | 111.4339 | 99.3765 | 2.4042 | 137.344
18 | 99.6555 | 99.9001 | 99.7111 | 99.3639 | 104.895 | 138.8917 | 133.9601 | 138.5741
19 | 99.6304 | 104.9314 | 99.6834 | 104.3559 | 101.6576 | 138.8431 | 138.5826 | 143.0132
20 | 99.656 | 104.8966 | 99.7187 | 104.3372 | 91.3126 | 138.87 | 138.825 | 138.5886
21 | 99.6357 | 99.8218 | 99.7293 | 99.3483 | 99.4017 | 133.8284 | 128.911 | 132.6398
22 | 99.6853 | 99.7795 | 99.7132 | 99.3322 | 96.0657 | 0.99916 | 119.1202 | 137.5778
23 | 99.6775 | 99.8637 | 99.7272 | 99.3343 | 100.5091 | 0 | 30.8534 | 2.0789
24 | 0.63772 | 99.7856 | 0.9114 | 99.3092 | 107.2204 | 0 | 1.2504 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1587.8578 | 2250.6021 | 1485.3049 | 1795.9196 | 2311.4901 | 740.9087 | 1432.1588 | 1904.5704
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 426.34
Art. 5.12 | Energy reserve | [5 empty] | 966.0 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 627.9367 | 27.5673
|  | 2 | 544.8203 | 23.2492
|  | 3 | 505.5338 | 21.2126
|  | 4 | 494.1733 | 21.381
|  | 5 | 499.3236 | 20.406
|  | 6 | 563.6028 | 21.325
|  | 7 | 755.4379 | 23.8595
|  | 8 | 1010.2539 | 27.5384
|  | 9 | 1121.0564 | 30.8806
|  | 10 | 1144.751 | 31.8499
|  | 11 | 1128.0081 | 28.573
|  | 12 | 1115.3967 | 26.7382
|  | 13 | 1130.3383 | 23.5668
|  | 14 | 1166.9921 | 24.7289
|  | 15 | 1198.1428 | 29.4929
|  | 16 | 1212.1755 | 33.5203
|  | 17 | 1253.9901 | 34.6251
|  | 18 | 1311.956 | 37.6873
|  | 19 | 1312.0969 | 37.3255
|  | 20 | 1300.3608 | 35.2907
|  | 21 | 1265.7924 | 32.9135
|  | 22 | 1157.8136 | 30.7515
|  | 23 | 985.576 | 26.9132
|  | 24 | 784.6119 | 22.4787
|  | 25 | 646.1449 | 19.7541
|  | 26 | 568.6157 | 18.9915
|  | 27 | 531.6385 | 21.2772
|  | 28 | 518.668 | 21.6839
|  | 29 | 525.2928 | 22.9658
|  | 30 | 589.9995 | 26.3363
|  | 31 | 788.2485 | 28.1354
|  | 32 | 1071.9613 | 29.11
|  | 33 | 1162.2187 | 33.0685
|  | 34 | 1146.9818 | 32.4866
|  | 35 | 1109.0849 | 29.7731
|  | 36 | 1078.5349 | 24.1828
|  | 37 | 1058.8672 | 23.112
|  | 38 | 1084.3798 | 22.004
|  | 39 | 1112.8801 | 27.3243
|  | 40 | 1142.4332 | 30.5196
|  | 41 | 1231.4315 | 38.0565
|  | 42 | 1357.4247 | 39.9518
|  | 43 | 1386.4651 | 41.5281
|  | 44 | 1384.9732 | 41.0211
|  | 45 | 1348.5991 | 39.7242
|  | 46 | 1230.9549 | 37.6291
|  | 47 | 1033.7277 | 30.0365
|  | 48 | 824.8566 | 27.5602
|  | 49 | 672.0782 | 22.4568
|  | 50 | 584.8351 | 22.7944
|  | 51 | 545.1869 | 24.6575
|  | 52 | 531.567 | 25.0705
|  | 53 | 541.4029 | 23.8458
|  | 54 | 614.6207 | 26.5727
|  | 55 | 824.4232 | 31.0044
|  | 56 | 1119.1003 | 33.695
|  | 57 | 1230.9651 | 36.4827
|  | 58 | 1221.5804 | 38.3963
|  | 59 | 1162.3158 | 35.7573
|  | 60 | 1106.9229 | 37.8873
|  | 61 | 1092.2541 | 40.7595
|  | 62 | 1129.9316 | 37.5147
|  | 63 | 1172.9636 | 35.3322
|  | 64 | 1223.5178 | 32.0124
|  | 65 | 1315.1665 | 35.7744
|  | 66 | 1428.5344 | 34.4779
|  | 67 | 1446.04 | 37.7843
|  | 68 | 1420.4345 | 39.5339
|  | 69 | 1401.1548 | 37.5869
|  | 70 | 1287.6526 | 33.6949
|  | 71 | 1084.5056 | 26.5829
|  | 72 | 858.6708 | 21.9671
|  | 73 | 680.9063 | 20.3966
|  | 74 | 593.0114 | 18.4585
|  | 75 | 549.9657 | 18.9268
|  | 76 | 536.0671 | 18.3255
|  | 77 | 552.1411 | 17.2681
|  | 78 | 626.6029 | 20.8303
|  | 79 | 831.6018 | 26.3067
|  | 80 | 1135.372 | 30.359
|  | 81 | 1252.0342 | 28.5772
|  | 82 | 1255.7314 | 28.5433
|  | 83 | 1195.6923 | 29.539
|  | 84 | 1151.1276 | 31.8239
|  | 85 | 1135.2187 | 29.8172
|  | 86 | 1139.4121 | 29.533
|  | 87 | 1199.589 | 30.695
|  | 88 | 1245.1517 | 34.613
|  | 89 | 1320.7011 | 32.8306
|  | 90 | 1429.1178 | 35.5192
|  | 91 | 1444.0699 | 34.667
|  | 92 | 1425.5458 | 34.4981
|  | 93 | 1399.7976 | 35.9307
|  | 94 | 1293.1787 | 34.2239
|  | 95 | 1079.6134 | 27.2226
|  | 96 | 850.2568 | 23.626
|  | 97 | 697.3963 | 22.7902
|  | 98 | 610.383 | 24.465
|  | 99 | 568.257 | 27.941
|  | 100 | 558.0701 | 26.9474
|  | 101 | 568.8438 | 28.3876
|  | 102 | 640.7258 | 28.7645
|  | 103 | 858.4741 | 30.1714
|  | 104 | 1170.1612 | 30.7491
|  | 105 | 1290.4722 | 27.9168
|  | 106 | 1273.1894 | 26.3774
|  | 107 | 1207.4001 | 25.4275
|  | 108 | 1147.0349 | 24.011
|  | 109 | 1115.5653 | 24.8968
|  | 110 | 1138.2844 | 24.5224
|  | 111 | 1153.8154 | 28.7105
|  | 112 | 1209.6739 | 33.4536
|  | 113 | 1315.1285 | 34.0568
|  | 114 | 1456.7418 | 39.9749
|  | 115 | 1467.8371 | 38.1304
|  | 116 | 1449.9246 | 35.3791
|  | 117 | 1407.7999 | 34.4871
|  | 118 | 1287.4098 | 33.8802
|  | 119 | 1094.3604 | 31.1109
|  | 120 | 890.6815 | 25.7109
|  | 121 | 728.9415 | 26.1288
|  | 122 | 634.0066 | 22.7527
|  | 123 | 588.5016 | 20.8901
|  | 124 | 575.186 | 19.7786
|  | 125 | 584.9591 | 19.1647
|  | 126 | 649.2245 | 20.4191
|  | 127 | 807.0323 | 20.487
|  | 128 | 1051.2977 | 19.0559
|  | 129 | 1258.8299 | 23.3426
|  | 130 | 1309.4353 | 27.6178
|  | 131 | 1264.8549 | 30.761
|  | 132 | 1214.7398 | 29.6804
|  | 133 | 1190.8719 | 32.6723
|  | 134 | 1209.627 | 30.408
|  | 135 | 1231.7891 | 29.6177
|  | 136 | 1282.6255 | 28.7478
|  | 137 | 1378.9052 | 30.9118
|  | 138 | 1496.9486 | 32.2115
|  | 139 | 1511.3036 | 30.9077
|  | 140 | 1494.9082 | 30.2021
|  | 141 | 1449.1153 | 32.4153
|  | 142 | 1320.4466 | 38.5311
|  | 143 | 1168.6672 | 31.3302
|  | 144 | 999.5517 | 24.3048
|  | 145 | 840.0525 | 19.8465
|  | 146 | 727.9755 | 19.9207
|  | 147 | 630.8609 | 20.7031
|  | 148 | 590.4654 | 20.3588
|  | 149 | 587.3937 | 20.4578
|  | 150 | 628.3612 | 21.1081
|  | 151 | 741.6263 | 22.4952
|  | 152 | 928.4178 | 22.7208
|  | 153 | 1121.1836 | 22.5384
|  | 154 | 1245.1649 | 25.1683
|  | 155 | 1304.9221 | 25.8612
|  | 156 | 1306.2559 | 28.4442
|  | 157 | 1282.2391 | 28.0625
|  | 158 | 1316.0066 | 29.4445
|  | 159 | 1304.0769 | 28.6014
|  | 160 | 1325.0847 | 30.0572
|  | 161 | 1404.7436 | 38.5407
|  | 162 | 1514.2555 | 44.4867
|  | 163 | 1523.8603 | 47.3024
|  | 164 | 1519.8909 | 43.1637
|  | 165 | 1465.776 | 43.4035
|  | 166 | 1323.2894 | 38.8631
|  | 167 | 1125.8767 | 34.4286
|  | 168 | 887.0642 | 30.1089
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 08-01-2024 | 09-01-2024 | 2024-01-10 | 11-01-2024 | 12-01-2024 | 13-01-2024 | 14-01-2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible