## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-01-17
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 24310.85 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 2024-01-15 | 2024-01-16 | 2024-01-17 | 2024-01-18 | 2024-01-19 | 2024-01-20 | 2024-01-21
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | 2024-01-15: Parashikimi M-1 i ngarkeses totale per BZ; 2024-01-21: MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | 2024-01-15: Parashikimi Y-1 i ngarkeses totale per BZ; 2024-01-21: MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | 2024-01-15: Zona e parashikimit Y-1; 2024-01-21: 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-01-15
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 791.9317 | 85.717 | 706.2147
|  | 2 | 699.1181 | 89.216 | 609.9021
|  | 3 | 646.5704 | 84.193 | 562.3774
|  | 4 | 634.675 | 86.192 | 548.483
|  | 5 | 645.9199 | 88.561 | 557.3589
|  | 6 | 711.8752 | 83.123 | 628.7522
|  | 7 | 1062.0366 | 217.925 | 844.1116
|  | 8 | 1372.0323 | 229.435 | 1142.5973
|  | 9 | 1512.9365 | 229.36 | 1283.5765
|  | 10 | 1562.8954 | 231.135 | 1331.7604
|  | 11 | 1511.8193 | 174.209 | 1337.6103
|  | 12 | 1579.4546 | 233.374 | 1346.0806
|  | 13 | 1572.4547 | 228.624 | 1343.8307
|  | 14 | 1603.5366 | 226.54 | 1376.9966
|  | 15 | 1620.7859 | 223.73 | 1397.0559
|  | 16 | 1741.5409 | 332.714 | 1408.8269
|  | 17 | 1773.4618 | 344.708 | 1428.7538
|  | 18 | 1801.7255 | 335.36 | 1466.3655
|  | 19 | 1788.9832 | 327.465 | 1461.5182
|  | 20 | 1751.3152 | 324.952 | 1426.3632
|  | 21 | 1691.2285 | 313.156 | 1378.0725
|  | 22 | 1618.1472 | 369.385 | 1248.7622
|  | 23 | 1291.8461 | 226.495 | 1065.3511
|  | 24 | 1097.7193 | 256.682 | 841.0373
Neni 4.1, 4.2 | 2024-01-15: Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | 2024-01-15: Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | 2024-01-15: Planifikimi i padisponueshmerise per njesite konsumatore; 2024-01-21: N/a
Neni 3.7 | 2024-01-15: Padisponueshmeria aktuale e njesive konsumatore; 2024-01-21: N/a
Neni 5.5 | 2024-01-15: Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | 2024-01-15: Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | 2024-01-15: Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro
| Agregati Nr.1 | Koman | 150 | Hidro
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro
Neni 5.8 | 2024-01-15: Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | 2024-01-15: Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | 2024-01-15: Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | 2024-01-15: Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | 2024-01-15: Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | 2024-01-15: Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | 2024-01-15: Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | 2024-01-15: Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | 2024-01-15: Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | 2024-01-15: Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB); 2024-01-21: N/a*
Neni 4.4 | 2024-01-15: Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.); 2024-01-21: N/a*
Neni 4.4 | 2024-01-15: Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | 2024-01-15: Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB); 2024-01-21: N/a*
Neni 4.12 | 2024-01-15: Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 17.5385 | 186.5097 | 88.5514 | -1.6289 | 90.8867 | 54.1333
2 | 23.21 | 162.0303 | 84.3532 | 2.374 | 79.1025 | 97.8621
3 | 26.2832 | 155.6074 | 77.6125 | 10.4864 | 69.4794 | 127.6602
4 | 24.9149 | 147.0911 | 91.2154 | 5.0545 | 100.1468 | 107.8176
5 | 28.1421 | 152.93 | 73.5771 | 17.5569 | 54.9884 | 165.0243
6 | 22.3087 | 170.477 | 72.7334 | 48.6904 | 31.5571 | 164.3353
7 | 6.6959 | 186.2791 | 70.8951 | 94.9004 | 61.0525 | 83.2772
8 | -6.0449 | 183.2887 | 53.0932 | 77.1176 | 46.6556 | -25.93
9 | -12.5421 | 216.6464 | 87.2134 | 95.1036 | 91.6904 | -92.8973
10 | -17.0796 | 197.7922 | 109.4334 | 76.9112 | 168.0833 | -184.7159
11 | -15.1219 | 211.4029 | 126.7811 | 91.9748 | 212.2257 | -227.5429
12 | -12.0841 | 210.8083 | 145.2028 | 84.6172 | 236.7214 | -241.0581
13 | -12.3403 | 190.1012 | 123.6786 | 62.7895 | 215.1206 | -243.156
14 | -21.348 | 213.4885 | 137.1201 | 88.3073 | 206.0379 | -215.4133
15 | -19.2571 | 207.9342 | 99.3896 | 94.4778 | 127.9542 | -152.4535
16 | -5.9295 | 211.4661 | 54.3841 | 108.4447 | 3.481 | -6.4951
17 | 4.0725 | 230.6283 | 36.1636 | 102.2806 | -39.7636 | 34.0133
18 | -19.5612 | 193.1434 | 60.6767 | 94.781 | 8.2253 | -21.1212
19 | -22.5201 | 137.2982 | 76.5217 | 93.6908 | 26.4069 | -16.688
20 | -17.1524 | 216.8274 | 59.8929 | 67.7118 | 9.4564 | -40.4619
21 | -10.0866 | 216.75 | 30.9009 | 72.2115 | -43.6343 | 37.4582
22 | -14.5979 | 188.3179 | 52.6646 | 44.7229 | 26.8343 | 6.4125
23 | 13.2971 | 175.7808 | 12.7372 | 23.6114 | -39.1265 | 116.6132
24 | 16.5502 | 148.9177 | -38.0508 | 18.573 | -77.0892 | 137.417
Neni 4.6 | 2024-01-15: Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | 2024-01-15: Menaxhimi kongjestjoneve - redispecerimi; 2024-01-21: N/a*
Neni 4.14 | 2024-01-15: Tregetimi nderkufitar - Countertrading; 2024-01-21: N/a*
Neni 4.17 | 2024-01-15: Raporti menaxhimit te kongjestioneve; 2024-01-21: N/a*
Neni 5.1, 5.2 | 2024-01-15: Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | 2024-01-15: Planifikimi I gjenerimit per D-1
2024-01-17
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 791.23
|  |  | 01:00 - 02:00 | 704.04
|  |  | 02:00 - 03:00 | 660.72
|  |  | 03:00 - 04:00 | 644.74
|  |  | 04:00 - 05:00 | 653.24
|  |  | 05:00 - 06:00 | 717.33
|  |  | 06:00 - 07:00 | 1150.87
|  |  | 07:00 - 08:00 | 1401.37
|  |  | 08:00 - 09:00 | 1463.42
|  |  | 09:00 - 10:00 | 1508.32
|  |  | 10:00 - 11:00 | 1513.32
|  |  | 11:00 - 12:00 | 1509.89
|  |  | 12:00 - 13:00 | 1414.19
|  |  | 13:00 - 14:00 | 1431.2
|  |  | 14:00 - 15:00 | 1427.75
|  |  | 15:00 - 16:00 | 1435.83
|  |  | 16:00 - 17:00 | 1584.39
|  |  | 17:00 - 18:00 | 1662.48
|  |  | 18:00 - 19:00 | 1698.89
|  |  | 19:00 - 20:00 | 1690.11
|  |  | 20:00 - 21:00 | 1658.4
|  |  | 21:00 - 22:00 | 1557.22
|  |  | 22:00 - 23:00 | 1385.11
|  |  | 23:00 - 00:00 | 1197.69
Neni 14.1b, 14.2 b | 2024-01-15: Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | 2024-01-15: Parashikimi gjenerimit D-1 per centralet me ere dhe diell; 2024-01-21: N/a
Neni 5.9 | 2024-01-15: Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 109.8853 | 0 | 109.2389 | 0 | 0 | 101.2216 | 88.8999
2 | 0 | 109.9766 | 0 | 1.1527 | 0 | 0 | 132.8761 | 88.935
3 | 0 | 109.9755 | 0 | 0 | 0 | 0 | 105.402 | 88.9396
4 | 0 | 109.9244 | 0 | 0 | 0 | 0 | 92.4001 | 88.9282
5 | 0 | 109.9743 | 0 | 0 | 0 | 0 | 100.2274 | 88.9325
6 | 0 | 109.9648 | 0 | 0 | 0 | 0 | 132.8701 | 88.9439
7 | 0 | 109.9714 | 0 | 0 | 0 | 0.063157 | 106.3451 | 89.1106
8 | 0 | 109.9819 | 0 | 0 | 1.3444 | 97.7316 | 102.2516 | 101.9362
9 | 0 | 109.9712 | 0 | 0 | 138.3754 | 99.2516 | 137.6729 | 89.5428
10 | 0 | 0.3314 | 0 | 0 | 138.7941 | 133.7369 | 136.7571 | 90.8152
11 | 0 | 0 | 0 | 0 | 128.9178 | 128.9625 | 131.8071 | 89.139
12 | 0 | 0 | 0 | 0 | 143.6292 | 143.6856 | 139.6815 | 89.1337
13 | 0 | 0 | 0 | 0 | 138.8001 | 109.2418 | 115.9415 | 89.0517
14 | 0 | 30.6485 | 0 | 0 | 138.7746 | 138.7334 | 135.7377 | 89.1049
15 | 0 | 16.8713 | 0 | 0 | 133.8157 | 133.8646 | 117.911 | 91.9133
16 | 0 | 0 | 0 | 0.39053 | 143.6405 | 143.725 | 126.7885 | 90.9152
17 | 0 | 0 | 0 | 97.9784 | 133.8412 | 133.8959 | 116.006 | 104.141
18 | 0 | 29.4133 | 0 | 108.7154 | 138.77 | 138.8136 | 137.6459 | 117.8539
19 | 0 | 99.6572 | 0 | 50.5663 | 138.2069 | 138.0433 | 126.2652 | 127.8076
20 | 0 | 99.828 | 0 | 0 | 143.6824 | 143.0405 | 141.4889 | 142.0247
21 | 0 | 99.814 | 0 | 0 | 143.6742 | 142.9085 | 137.736 | 127.3648
22 | 0 | 0.89887 | 0 | 0 | 143.6803 | 142.6357 | 141.6528 | 111.5343
23 | 0 | 0 | 0 | 0 | 61.0922 | 99.4049 | 100.353 | 103.74
24 | 0 | 0 | 0 | 0 | 0 | 0.94488 | 0.99739 | 141.7107
Neni 5.10 | 2024-01-15: Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 1367.088 | 0 | 368.0422 | 2009.0389 | 2068.6834 | 2818.0364 | 2420.4186
Neni 5.11 | 2024-01-15: Gjenerimi aktual i centraleve te eres dhe centaleve solar; 2024-01-21: 387.1
Neni 5.12 | 2024-01-15: Rezerva energjitike; 2024-01-21: 961.5 GWh
Referuar kodit te transmetimit
Neni 97, 189 | 2024-01-15: Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | 2024-01-15: Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin; 2024-01-21: N/a**
Neni 184 | 2024-01-15: Parametrat e përcaktimit të kualitetit të frekuencës; 2024-01-21: +/- 200 | mHZ
Neni 184 | 2024-01-15: Parametrat target të kualitetit të frekuencës; 2024-01-21: +/- 200 | mHZ
Neni 184 | 2024-01-15: Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR; 2024-01-21: N/a**
Neni 184 | 2024-01-15: Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | 2024-01-15: Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 706.2147 | 21.6196
|  | 2 | 609.9021 | 19.8733
|  | 3 | 562.3774 | 19.1292
|  | 4 | 548.483 | 18.4088
|  | 5 | 557.3624 | 19.4115
|  | 6 | 629.0121 | 20.3338
|  | 7 | 845.9382 | 23.6514
|  | 8 | 1145.3638 | 31.1041
|  | 9 | 1287.7302 | 39.2295
|  | 10 | 1337.8812 | 46.429
|  | 11 | 1339.0507 | 40.8941
|  | 12 | 1341.1565 | 36.2013
|  | 13 | 1337.0094 | 38.9633
|  | 14 | 1373.9223 | 45.7116
|  | 15 | 1395.8277 | 47.6932
|  | 16 | 1408.3474 | 50.0072
|  | 17 | 1428.7091 | 50.1714
|  | 18 | 1466.3655 | 50.0631
|  | 19 | 1461.5182 | 49.096
|  | 20 | 1426.3632 | 45.3111
|  | 21 | 1378.0725 | 41.3408
|  | 22 | 1248.7622 | 40.4081
|  | 23 | 1065.3511 | 33.4027
|  | 24 | 841.0373 | 25.1609
|  | 25 | 686.1828 | 25.5493
|  | 26 | 607.0508 | 23.9202
|  | 27 | 566.8118 | 24.0674
|  | 28 | 550.4973 | 24.0948
|  | 29 | 548.7002 | 24.1651
|  | 30 | 622.4939 | 30.721
|  | 31 | 838.354 | 50.7326
|  | 32 | 1111.803 | 60.2006
|  | 33 | 1204.1269 | 52.2687
|  | 34 | 1184.0479 | 31.2513
|  | 35 | 1128.7045 | 23.4786
|  | 36 | 1075.3298 | 19.9583
|  | 37 | 1082.0101 | 14.9522
|  | 38 | 1091.1831 | 11.8308
|  | 39 | 1110.6346 | 13.1502
|  | 40 | 1136.151 | 18.455
|  | 41 | 1200.0533 | 31.766
|  | 42 | 1334.3015 | 36.9972
|  | 43 | 1369.2165 | 37.7986
|  | 44 | 1357.699 | 36.1511
|  | 45 | 1330.7923 | 36.3894
|  | 46 | 1220.8279 | 31.5015
|  | 47 | 1058.4378 | 27.1201
|  | 48 | 870.5275 | 22.3875
|  | 49 | 724.8951 | 20.6188
|  | 50 | 613.5867 | 20.0071
|  | 51 | 562.0843 | 20.9667
|  | 52 | 545.2629 | 22.6475
|  | 53 | 549.8639 | 21.6849
|  | 54 | 608.6702 | 21.5214
|  | 55 | 802.1817 | 25.2835
|  | 56 | 1068.0858 | 25.8746
|  | 57 | 1146.0405 | 21.146
|  | 58 | 1116.7624 | 16.8209
|  | 59 | 1076.8128 | 21.2433
|  | 60 | 1057.5727 | 18.5807
|  | 61 | 1057.199 | 20.2939
|  | 62 | 1088.1031 | 24.9024
|  | 63 | 1138.0164 | 29.8059
|  | 64 | 1158.854 | 28.2493
|  | 65 | 1210.8617 | 28.2412
|  | 66 | 1298.385 | 29.8416
|  | 67 | 1306.1853 | 35.0272
|  | 68 | 1295.7662 | 32.4595
|  | 69 | 1265.8494 | 34.857
|  | 70 | 1167.6121 | 35.9757
|  | 71 | 992.3858 | 30.8887
|  | 72 | 797.0488 | 25.7395
|  | 73 | 647.6493 | 23.3435
|  | 74 | 569.5836 | 21.8053
|  | 75 | 535.4531 | 20.9834
|  | 76 | 521.6537 | 22.4188
|  | 77 | 528.3386 | 26.3942
|  | 78 | 595.4646 | 27.5
|  | 79 | 766.3268 | 25.5813
|  | 80 | 1007.4383 | 27.9114
|  | 81 | 1096.2213 | 32.4496
|  | 82 | 1101.1176 | 38.2054
|  | 83 | 1045.0338 | 34.46
|  | 84 | 1058.3667 | 35.0305
|  | 85 | 1071.4762 | 33.2003
|  | 86 | 1094.0347 | 35.5943
|  | 87 | 1098.5599 | 35.3747
|  | 88 | 1092.115 | 35.5333
|  | 89 | 1112.7482 | 36.858
|  | 90 | 1202.9139 | 40.2317
|  | 91 | 1226.6855 | 39.3306
|  | 92 | 1216.0001 | 36.2356
|  | 93 | 1180.4741 | 36.9907
|  | 94 | 1078.6786 | 35.173
|  | 95 | 926.2942 | 29.8606
|  | 96 | 757.2771 | 26.6465
|  | 97 | 627.2094 | 23.8626
|  | 98 | 551.1412 | 18.7423
|  | 99 | 524.0379 | 21.436
|  | 100 | 516.975 | 22.1517
|  | 101 | 528.11 | 25.8077
|  | 102 | 585.3109 | 28.3669
|  | 103 | 743.4091 | 29.1131
|  | 104 | 974.0762 | 34.2353
|  | 105 | 1052.4602 | 33.1577
|  | 106 | 1067.1902 | 35.8155
|  | 107 | 1031.7567 | 32.1047
|  | 108 | 1008.6935 | 31.9799
|  | 109 | 993.3603 | 30.0104
|  | 110 | 1021.2318 | 29.765
|  | 111 | 1037.974 | 33.738
|  | 112 | 1022.1761 | 33.6823
|  | 113 | 1059.3026 | 33.2542
|  | 114 | 1160.9216 | 36.9349
|  | 115 | 1172.5537 | 37.7057
|  | 116 | 1157.7761 | 40.7092
|  | 117 | 1117.8261 | 38.5973
|  | 118 | 1019.5905 | 35.4272
|  | 119 | 883.2667 | 35.3069
|  | 120 | 734.8862 | 33.8792
|  | 121 | 626.5658 | 36.1019
|  | 122 | 563.7913 | 37.3806
|  | 123 | 535.3779 | 45.1009
|  | 124 | 519.8231 | 47.7726
|  | 125 | 521.0681 | 46.9703
|  | 126 | 559.6752 | 47.7586
|  | 127 | 680.8619 | 49.5089
|  | 128 | 861.0967 | 49.653
|  | 129 | 1064.767 | 53.9799
|  | 130 | 1173.7829 | 53.4141
|  | 131 | 1258.5161 | 52.993
|  | 132 | 1306.285 | 56.4383
|  | 133 | 1316.8521 | 59.7522
|  | 134 | 1318.9302 | 60.7448
|  | 135 | 1300.4872 | 60.7435
|  | 136 | 1264.5186 | 58.1258
|  | 137 | 1279.4181 | 49.3317
|  | 138 | 1343.1776 | 46.9768
|  | 139 | 1326.4577 | 47.322
|  | 140 | 1304.8526 | 46.3836
|  | 141 | 1263.5536 | 44.5534
|  | 142 | 1138.8876 | 40.3461
|  | 143 | 1004.3565 | 35.7931
|  | 144 | 866.1749 | 33.1236
|  | 145 | 737.3316 | 27.333
|  | 146 | 632.4666 | 28.607
|  | 147 | 561.4263 | 28.779
|  | 148 | 536.7829 | 27.0663
|  | 149 | 537.1347 | 27.3914
|  | 150 | 574.3833 | 27.0418
|  | 151 | 663.9899 | 27.0862
|  | 152 | 833.1502 | 29.5541
|  | 153 | 1004.8261 | 34.8008
|  | 154 | 1109.5205 | 34.3835
|  | 155 | 1112.3542 | 32.9861
|  | 156 | 1090.165 | 28.8116
|  | 157 | 1092.2042 | 25.5218
|  | 158 | 1096.4974 | 24.8452
|  | 159 | 1095.1873 | 28.2935
|  | 160 | 1124.468 | 33.3544
|  | 161 | 1218.1701 | 35.5982
|  | 162 | 1370.4041 | 39.423
|  | 163 | 1413.388 | 40.9856
|  | 164 | 1411.881 | 40.729
|  | 165 | 1376.5485 | 40.898
|  | 166 | 1252.0867 | 35.9038
|  | 167 | 1044.0844 | 29.0619
|  | 168 | 841.5416 | 21.252
Neni XVI.8, iv. | 2024-01-15: Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | 2024-01-15: Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 2024-01-15 | 2024-01-16 | 2024-01-17 | 2024-01-18 | 2024-01-19 | 2024-01-20 | 2024-01-21
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | 2024-01-15: Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | 2024-01-15: Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-01-17
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 24310.85 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 2024-01-15 | 16-01-2024 | 2024-01-17 | 2024-01-18 | 2024-01-19 | 2024-01-20 | 21-01-2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-01-15
|  | Hour | Production | Exchange | Consumption
|  | 1 | 791.9317 | 85.717 | 706.2147
|  | 2 | 699.1181 | 89.216 | 609.9021
|  | 3 | 646.5704 | 84.193 | 562.3774
|  | 4 | 634.675 | 86.192 | 548.483
|  | 5 | 645.9199 | 88.561 | 557.3589
|  | 6 | 711.8752 | 83.123 | 628.7522
|  | 7 | 1062.0366 | 217.925 | 844.1116
|  | 8 | 1372.0323 | 229.435 | 1142.5973
|  | 9 | 1512.9365 | 229.36 | 1283.5765
|  | 10 | 1562.8954 | 231.135 | 1331.7604
|  | 11 | 1511.8193 | 174.209 | 1337.6103
|  | 12 | 1579.4546 | 233.374 | 1346.0806
|  | 13 | 1572.4547 | 228.624 | 1343.8307
|  | 14 | 1603.5366 | 226.54 | 1376.9966
|  | 15 | 1620.7859 | 223.73 | 1397.0559
|  | 16 | 1741.5409 | 332.714 | 1408.8269
|  | 17 | 1773.4618 | 344.708 | 1428.7538
|  | 18 | 1801.7255 | 335.36 | 1466.3655
|  | 19 | 1788.9832 | 327.465 | 1461.5182
|  | 20 | 1751.3152 | 324.952 | 1426.3632
|  | 21 | 1691.2285 | 313.156 | 1378.0725
|  | 22 | 1618.1472 | 369.385 | 1248.7622
|  | 23 | 1291.8461 | 226.495 | 1065.3511
|  | 24 | 1097.7193 | 256.682 | 841.0373
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.2 | Fierze | 125 | Hidro
| Aggregate Nr.3 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Fierze | 125 | Hidro
| Aggregate Nr.1 | Koman | 150 | Hidro
| Aggregate Nr.2 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.4 | Koman | 150 | Hidro
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 17.5385 | 186.5097 | 88.5514 | -1.6289 | 90.8867 | 54.1333
2 | 23.21 | 162.0303 | 84.3532 | 2.374 | 79.1025 | 97.8621
3 | 26.2832 | 155.6074 | 77.6125 | 10.4864 | 69.4794 | 127.6602
4 | 24.9149 | 147.0911 | 91.2154 | 5.0545 | 100.1468 | 107.8176
5 | 28.1421 | 152.93 | 73.5771 | 17.5569 | 54.9884 | 165.0243
6 | 22.3087 | 170.477 | 72.7334 | 48.6904 | 31.5571 | 164.3353
7 | 6.6959 | 186.2791 | 70.8951 | 94.9004 | 61.0525 | 83.2772
8 | -6.0449 | 183.2887 | 53.0932 | 77.1176 | 46.6556 | -25.93
9 | -12.5421 | 216.6464 | 87.2134 | 95.1036 | 91.6904 | -92.8973
10 | -17.0796 | 197.7922 | 109.4334 | 76.9112 | 168.0833 | -184.7159
11 | -15.1219 | 211.4029 | 126.7811 | 91.9748 | 212.2257 | -227.5429
12 | -12.0841 | 210.8083 | 145.2028 | 84.6172 | 236.7214 | -241.0581
13 | -12.3403 | 190.1012 | 123.6786 | 62.7895 | 215.1206 | -243.156
14 | -21.348 | 213.4885 | 137.1201 | 88.3073 | 206.0379 | -215.4133
15 | -19.2571 | 207.9342 | 99.3896 | 94.4778 | 127.9542 | -152.4535
16 | -5.9295 | 211.4661 | 54.3841 | 108.4447 | 3.481 | -6.4951
17 | 4.0725 | 230.6283 | 36.1636 | 102.2806 | -39.7636 | 34.0133
18 | -19.5612 | 193.1434 | 60.6767 | 94.781 | 8.2253 | -21.1212
19 | -22.5201 | 137.2982 | 76.5217 | 93.6908 | 26.4069 | -16.688
20 | -17.1524 | 216.8274 | 59.8929 | 67.7118 | 9.4564 | -40.4619
21 | -10.0866 | 216.75 | 30.9009 | 72.2115 | -43.6343 | 37.4582
22 | -14.5979 | 188.3179 | 52.6646 | 44.7229 | 26.8343 | 6.4125
23 | 13.2971 | 175.7808 | 12.7372 | 23.6114 | -39.1265 | 116.6132
24 | 16.5502 | 148.9177 | -38.0508 | 18.573 | -77.0892 | 137.417
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2024-01-17
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 791.23
|  |  | 01:00 - 02:00 | 704.04
|  |  | 02:00 - 03:00 | 660.72
|  |  | 03:00 - 04:00 | 644.74
|  |  | 04:00 - 05:00 | 653.24
|  |  | 05:00 - 06:00 | 717.33
|  |  | 06:00 - 07:00 | 1150.87
|  |  | 07:00 - 08:00 | 1401.37
|  |  | 08:00 - 09:00 | 1463.42
|  |  | 09:00 - 10:00 | 1508.32
|  |  | 10:00 - 11:00 | 1513.32
|  |  | 11:00 - 12:00 | 1509.89
|  |  | 12:00 - 13:00 | 1414.19
|  |  | 13:00 - 14:00 | 1431.2
|  |  | 14:00 - 15:00 | 1427.75
|  |  | 15:00 - 16:00 | 1435.83
|  |  | 16:00 - 17:00 | 1584.39
|  |  | 17:00 - 18:00 | 1662.48
|  |  | 18:00 - 19:00 | 1698.89
|  |  | 19:00 - 20:00 | 1690.11
|  |  | 20:00 - 21:00 | 1658.4
|  |  | 21:00 - 22:00 | 1557.22
|  |  | 22:00 - 23:00 | 1385.11
|  |  | 23:00 - 00:00 | 1197.69
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 109.8853 | 0 | 109.2389 | 0 | 0 | 101.2216 | 88.8999
2 | 0 | 109.9766 | 0 | 1.1527 | 0 | 0 | 132.8761 | 88.935
3 | 0 | 109.9755 | 0 | 0 | 0 | 0 | 105.402 | 88.9396
4 | 0 | 109.9244 | 0 | 0 | 0 | 0 | 92.4001 | 88.9282
5 | 0 | 109.9743 | 0 | 0 | 0 | 0 | 100.2274 | 88.9325
6 | 0 | 109.9648 | 0 | 0 | 0 | 0 | 132.8701 | 88.9439
7 | 0 | 109.9714 | 0 | 0 | 0 | 0.063157 | 106.3451 | 89.1106
8 | 0 | 109.9819 | 0 | 0 | 1.3444 | 97.7316 | 102.2516 | 101.9362
9 | 0 | 109.9712 | 0 | 0 | 138.3754 | 99.2516 | 137.6729 | 89.5428
10 | 0 | 0.3314 | 0 | 0 | 138.7941 | 133.7369 | 136.7571 | 90.8152
11 | 0 | 0 | 0 | 0 | 128.9178 | 128.9625 | 131.8071 | 89.139
12 | 0 | 0 | 0 | 0 | 143.6292 | 143.6856 | 139.6815 | 89.1337
13 | 0 | 0 | 0 | 0 | 138.8001 | 109.2418 | 115.9415 | 89.0517
14 | 0 | 30.6485 | 0 | 0 | 138.7746 | 138.7334 | 135.7377 | 89.1049
15 | 0 | 16.8713 | 0 | 0 | 133.8157 | 133.8646 | 117.911 | 91.9133
16 | 0 | 0 | 0 | 0.39053 | 143.6405 | 143.725 | 126.7885 | 90.9152
17 | 0 | 0 | 0 | 97.9784 | 133.8412 | 133.8959 | 116.006 | 104.141
18 | 0 | 29.4133 | 0 | 108.7154 | 138.77 | 138.8136 | 137.6459 | 117.8539
19 | 0 | 99.6572 | 0 | 50.5663 | 138.2069 | 138.0433 | 126.2652 | 127.8076
20 | 0 | 99.828 | 0 | 0 | 143.6824 | 143.0405 | 141.4889 | 142.0247
21 | 0 | 99.814 | 0 | 0 | 143.6742 | 142.9085 | 137.736 | 127.3648
22 | 0 | 0.89887 | 0 | 0 | 143.6803 | 142.6357 | 141.6528 | 111.5343
23 | 0 | 0 | 0 | 0 | 61.0922 | 99.4049 | 100.353 | 103.74
24 | 0 | 0 | 0 | 0 | 0 | 0.94488 | 0.99739 | 141.7107
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 1257.2026 | 0 | 258.8033 | 2009.0389 | 2068.6834 | 2716.8148 | 2331.5187
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 387.1
Art. 5.12 | Energy reserve | [5 empty] | 961.5 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 706.2147 | 21.6196
|  | 2 | 609.9021 | 19.8733
|  | 3 | 562.3774 | 19.1292
|  | 4 | 548.483 | 18.4088
|  | 5 | 557.3624 | 19.4115
|  | 6 | 629.0121 | 20.3338
|  | 7 | 845.9382 | 23.6514
|  | 8 | 1145.3638 | 31.1041
|  | 9 | 1287.7302 | 39.2295
|  | 10 | 1337.8812 | 46.429
|  | 11 | 1339.0507 | 40.8941
|  | 12 | 1341.1565 | 36.2013
|  | 13 | 1337.0094 | 38.9633
|  | 14 | 1373.9223 | 45.7116
|  | 15 | 1395.8277 | 47.6932
|  | 16 | 1408.3474 | 50.0072
|  | 17 | 1428.7091 | 50.1714
|  | 18 | 1466.3655 | 50.0631
|  | 19 | 1461.5182 | 49.096
|  | 20 | 1426.3632 | 45.3111
|  | 21 | 1378.0725 | 41.3408
|  | 22 | 1248.7622 | 40.4081
|  | 23 | 1065.3511 | 33.4027
|  | 24 | 841.0373 | 25.1609
|  | 25 | 686.1828 | 25.5493
|  | 26 | 607.0508 | 23.9202
|  | 27 | 566.8118 | 24.0674
|  | 28 | 550.4973 | 24.0948
|  | 29 | 548.7002 | 24.1651
|  | 30 | 622.4939 | 30.721
|  | 31 | 838.354 | 50.7326
|  | 32 | 1111.803 | 60.2006
|  | 33 | 1204.1269 | 52.2687
|  | 34 | 1184.0479 | 31.2513
|  | 35 | 1128.7045 | 23.4786
|  | 36 | 1075.3298 | 19.9583
|  | 37 | 1082.0101 | 14.9522
|  | 38 | 1091.1831 | 11.8308
|  | 39 | 1110.6346 | 13.1502
|  | 40 | 1136.151 | 18.455
|  | 41 | 1200.0533 | 31.766
|  | 42 | 1334.3015 | 36.9972
|  | 43 | 1369.2165 | 37.7986
|  | 44 | 1357.699 | 36.1511
|  | 45 | 1330.7923 | 36.3894
|  | 46 | 1220.8279 | 31.5015
|  | 47 | 1058.4378 | 27.1201
|  | 48 | 870.5275 | 22.3875
|  | 49 | 724.8951 | 20.6188
|  | 50 | 613.5867 | 20.0071
|  | 51 | 562.0843 | 20.9667
|  | 52 | 545.2629 | 22.6475
|  | 53 | 549.8639 | 21.6849
|  | 54 | 608.6702 | 21.5214
|  | 55 | 802.1817 | 25.2835
|  | 56 | 1068.0858 | 25.8746
|  | 57 | 1146.0405 | 21.146
|  | 58 | 1116.7624 | 16.8209
|  | 59 | 1076.8128 | 21.2433
|  | 60 | 1057.5727 | 18.5807
|  | 61 | 1057.199 | 20.2939
|  | 62 | 1088.1031 | 24.9024
|  | 63 | 1138.0164 | 29.8059
|  | 64 | 1158.854 | 28.2493
|  | 65 | 1210.8617 | 28.2412
|  | 66 | 1298.385 | 29.8416
|  | 67 | 1306.1853 | 35.0272
|  | 68 | 1295.7662 | 32.4595
|  | 69 | 1265.8494 | 34.857
|  | 70 | 1167.6121 | 35.9757
|  | 71 | 992.3858 | 30.8887
|  | 72 | 797.0488 | 25.7395
|  | 73 | 647.6493 | 23.3435
|  | 74 | 569.5836 | 21.8053
|  | 75 | 535.4531 | 20.9834
|  | 76 | 521.6537 | 22.4188
|  | 77 | 528.3386 | 26.3942
|  | 78 | 595.4646 | 27.5
|  | 79 | 766.3268 | 25.5813
|  | 80 | 1007.4383 | 27.9114
|  | 81 | 1096.2213 | 32.4496
|  | 82 | 1101.1176 | 38.2054
|  | 83 | 1045.0338 | 34.46
|  | 84 | 1058.3667 | 35.0305
|  | 85 | 1071.4762 | 33.2003
|  | 86 | 1094.0347 | 35.5943
|  | 87 | 1098.5599 | 35.3747
|  | 88 | 1092.115 | 35.5333
|  | 89 | 1112.7482 | 36.858
|  | 90 | 1202.9139 | 40.2317
|  | 91 | 1226.6855 | 39.3306
|  | 92 | 1216.0001 | 36.2356
|  | 93 | 1180.4741 | 36.9907
|  | 94 | 1078.6786 | 35.173
|  | 95 | 926.2942 | 29.8606
|  | 96 | 757.2771 | 26.6465
|  | 97 | 627.2094 | 23.8626
|  | 98 | 551.1412 | 18.7423
|  | 99 | 524.0379 | 21.436
|  | 100 | 516.975 | 22.1517
|  | 101 | 528.11 | 25.8077
|  | 102 | 585.3109 | 28.3669
|  | 103 | 743.4091 | 29.1131
|  | 104 | 974.0762 | 34.2353
|  | 105 | 1052.4602 | 33.1577
|  | 106 | 1067.1902 | 35.8155
|  | 107 | 1031.7567 | 32.1047
|  | 108 | 1008.6935 | 31.9799
|  | 109 | 993.3603 | 30.0104
|  | 110 | 1021.2318 | 29.765
|  | 111 | 1037.974 | 33.738
|  | 112 | 1022.1761 | 33.6823
|  | 113 | 1059.3026 | 33.2542
|  | 114 | 1160.9216 | 36.9349
|  | 115 | 1172.5537 | 37.7057
|  | 116 | 1157.7761 | 40.7092
|  | 117 | 1117.8261 | 38.5973
|  | 118 | 1019.5905 | 35.4272
|  | 119 | 883.2667 | 35.3069
|  | 120 | 734.8862 | 33.8792
|  | 121 | 626.5658 | 36.1019
|  | 122 | 563.7913 | 37.3806
|  | 123 | 535.3779 | 45.1009
|  | 124 | 519.8231 | 47.7726
|  | 125 | 521.0681 | 46.9703
|  | 126 | 559.6752 | 47.7586
|  | 127 | 680.8619 | 49.5089
|  | 128 | 861.0967 | 49.653
|  | 129 | 1064.767 | 53.9799
|  | 130 | 1173.7829 | 53.4141
|  | 131 | 1258.5161 | 52.993
|  | 132 | 1306.285 | 56.4383
|  | 133 | 1316.8521 | 59.7522
|  | 134 | 1318.9302 | 60.7448
|  | 135 | 1300.4872 | 60.7435
|  | 136 | 1264.5186 | 58.1258
|  | 137 | 1279.4181 | 49.3317
|  | 138 | 1343.1776 | 46.9768
|  | 139 | 1326.4577 | 47.322
|  | 140 | 1304.8526 | 46.3836
|  | 141 | 1263.5536 | 44.5534
|  | 142 | 1138.8876 | 40.3461
|  | 143 | 1004.3565 | 35.7931
|  | 144 | 866.1749 | 33.1236
|  | 145 | 737.3316 | 27.333
|  | 146 | 632.4666 | 28.607
|  | 147 | 561.4263 | 28.779
|  | 148 | 536.7829 | 27.0663
|  | 149 | 537.1347 | 27.3914
|  | 150 | 574.3833 | 27.0418
|  | 151 | 663.9899 | 27.0862
|  | 152 | 833.1502 | 29.5541
|  | 153 | 1004.8261 | 34.8008
|  | 154 | 1109.5205 | 34.3835
|  | 155 | 1112.3542 | 32.9861
|  | 156 | 1090.165 | 28.8116
|  | 157 | 1092.2042 | 25.5218
|  | 158 | 1096.4974 | 24.8452
|  | 159 | 1095.1873 | 28.2935
|  | 160 | 1124.468 | 33.3544
|  | 161 | 1218.1701 | 35.5982
|  | 162 | 1370.4041 | 39.423
|  | 163 | 1413.388 | 40.9856
|  | 164 | 1411.881 | 40.729
|  | 165 | 1376.5485 | 40.898
|  | 166 | 1252.0867 | 35.9038
|  | 167 | 1044.0844 | 29.0619
|  | 168 | 841.5416 | 21.252
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 2024-01-15 | 2024-01-16 | 2024-01-17 | 2024-01-18 | 2024-01-19 | 2024-01-20 | 2024-01-21
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | 2024-01-15: Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | 2024-01-15: Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible