## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-02-14
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21769.78 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-02-12
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 674.8828 | 88.801 | 586.0818
|  | 2 | 553.8541 | 33.479 | 520.3751
|  | 3 | 531.6445 | 39.449 | 492.1955
|  | 4 | 467.3567 | -12.767 | 480.1237
|  | 5 | 469.9165 | -18.768 | 488.6845
|  | 6 | 539.66 | -10.7 | 550.36
|  | 7 | 871.2884 | 149.772 | 721.5164
|  | 8 | 1209.9288 | 240.376 | 969.5528
|  | 9 | 1418.9802 | 352.517 | 1066.4632
|  | 10 | 1400.6203 | 325.405 | 1075.2153
|  | 11 | 1387.3393 | 345.381 | 1041.9583
|  | 12 | 1315.4861 | 300.6 | 1014.8861
|  | 13 | 1258.4481 | 265.007 | 993.4411
|  | 14 | 1274.7566 | 268.697 | 1006.0596
|  | 15 | 1280.3385 | 230.202 | 1050.1365
|  | 16 | 1374.6332 | 278.28 | 1096.3532
|  | 17 | 1432.8255 | 323.306 | 1109.5195
|  | 18 | 1504.0628 | 310.107 | 1193.9558
|  | 19 | 1540.573 | 311.083 | 1229.49
|  | 20 | 1516.5393 | 296.067 | 1220.4723
|  | 21 | 1482.6324 | 299.503 | 1183.1294
|  | 22 | 1373.8933 | 298.626 | 1075.2673
|  | 23 | 1103.436 | 191.484 | 911.952
|  | 24 | 922.7896 | 184.686 | 738.1036
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.1 | Koman | 150 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro | Remont profilaktik | Shkurt
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -2.0795 | 59.6694 | 65.8758 | -87.4492 | 226.0178 | -170.3414
2 | 4.6081 | 25.0543 | 40.7027 | -106.7383 | 195.2563 | -123.147
3 | 4.3577 | 16.2059 | 58.5631 | -106.9351 | 238.7804 | -167.9467
4 | 0.93284 | 5.7778 | 46.1197 | -113.4282 | 251.1882 | -199.8156
5 | 7.4129 | 5.3336 | 17.5446 | -114.1379 | 186.8509 | -119.0775
6 | 10.6595 | 9.3487 | -3.2026 | -113.883 | 100.2597 | -11.9102
7 | 23.6411 | 56.4186 | 21.5466 | -105.8835 | 73.4012 | 82.4141
8 | 0.71947 | 112.5661 | 101.284 | -67.8828 | 146.9933 | -51.0832
9 | -15.1069 | 172.7464 | 151.6359 | -30.4077 | 228.1332 | -149.9994
10 | -22.2179 | 199.0866 | 151.0956 | -25.7725 | 307.8136 | -278.8183
11 | 0.15555 | 179.1133 | 152.6947 | -52.1709 | 307.0529 | -236.7216
12 | -0.26224 | 198.8219 | 140.4028 | -83.5559 | 332.6481 | -281.7291
13 | -3.362 | 198.8808 | 130.5563 | -97.4099 | 310.3995 | -268.8099
14 | 0.39481 | 178.9933 | 131.9642 | -89.1653 | 276.6678 | -225.9301
15 | 5.9169 | 178.9458 | 103.7088 | -96.0326 | 184.0742 | -143.5276
16 | 7.2187 | 218.2104 | 76.3082 | -104.0901 | 117.9683 | -34.2662
17 | 3.5693 | 218.9477 | 41.3322 | -66.3506 | 42.3978 | 85.7442
18 | -5.0448 | 192.7084 | 44.357 | -35.2623 | 31.0948 | 83.9224
19 | -0.20152 | 218.1955 | 37.5268 | -62.2186 | 33.0597 | 86.6512
20 | 10.3348 | 218.9499 | 12.9316 | -78.195 | -39.1265 | 173.2341
21 | 13.1474 | 218.9009 | 18.9007 | -104.1095 | -38.5836 | 193.0393
22 | 20.636 | 209.2031 | 32.5409 | -102.1741 | -18.7676 | 159.0105
23 | 32.702 | 177.3562 | -20.7503 | -117.886 | -72.162 | 193.9747
24 | 42.844 | 115.4436 | -57.1609 | -91.1103 | -89.0669 | 265.0463
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-02-14
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 636.65
|  |  | 01:00 - 02:00 | 486.87
|  |  | 02:00 - 03:00 | 393.25
|  |  | 03:00 - 04:00 | 400.24
|  |  | 04:00 - 05:00 | 403.24
|  |  | 05:00 - 06:00 | 473.02
|  |  | 06:00 - 07:00 | 846.46
|  |  | 07:00 - 08:00 | 1255.82
|  |  | 08:00 - 09:00 | 1349.47
|  |  | 09:00 - 10:00 | 1316.29
|  |  | 10:00 - 11:00 | 1066.98
|  |  | 11:00 - 12:00 | 955.72
|  |  | 12:00 - 13:00 | 939.95
|  |  | 13:00 - 14:00 | 943.04
|  |  | 14:00 - 15:00 | 947.2
|  |  | 15:00 - 16:00 | 1047.27
|  |  | 16:00 - 17:00 | 1286.17
|  |  | 17:00 - 18:00 | 1467.2
|  |  | 18:00 - 19:00 | 1548.52
|  |  | 19:00 - 20:00 | 1549.43
|  |  | 20:00 - 21:00 | 1493.63
|  |  | 21:00 - 22:00 | 1274.74
|  |  | 22:00 - 23:00 | 983.06
|  |  | 23:00 - 00:00 | 850.66
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 118.6455
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8352
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0.87285 | 0.32856 | 0 | 0
7 | 0 | 0 | 0 | 0 | 89.0847 | 98.5533 | 0.78272 | 0
8 | 0 | 0 | 0 | 2.4546 | 116.8398 | 113.7366 | 111.1486 | 0
9 | 0 | 57.2978 | 0 | 113.9799 | 95.1336 | 129.1484 | 138.8952 | 0
10 | 0.50762 | 99.9034 | 0 | 99.3967 | 99.593 | 89.3395 | 89.6304 | 0
11 | 0.5159 | 89.8685 | 0 | 89.4536 | 89.2593 | 89.298 | 89.3625 | 0
12 | 98.5121 | 109.7138 | 0 | 89.3242 | 89.2543 | 89.3079 | 0.9321 | 0
13 | 89.6585 | 109.8404 | 0 | 89.2684 | 89.4864 | 89.2976 | 0 | 0
14 | 89.6913 | 89.9402 | 0 | 89.2613 | 89.8341 | 130.809 | 0 | 0
15 | 89.6133 | 89.8583 | 0 | 89.3098 | 116.5897 | 138.9126 | 0 | 0
16 | 109.8139 | 109.5795 | 0 | 108.8855 | 115.2964 | 114.1762 | 0 | 0
17 | 110.0779 | 109.8955 | 2.475 | 109.3247 | 91.3516 | 116.1182 | 0 | 97.8937
18 | 96.5556 | 96.7115 | 96.3964 | 96.2732 | 120.7261 | 107.2421 | 0 | 99.1072
19 | 109.4527 | 109.6594 | 109.3351 | 108.8029 | 91.952 | 124.9974 | 0 | 99.0838
20 | 109.7694 | 109.9608 | 109.7425 | 109.2486 | 112.4735 | 116.1387 | 0 | 50.4506
21 | 109.7609 | 109.9497 | 109.7252 | 109.2755 | 112.747 | 121.0501 | 0 | 0
22 | 99.771 | 109.9308 | 0.77965 | 99.4987 | 116.7778 | 133.9274 | 0 | 0
23 | 0.57977 | 109.8437 | 0 | 99.3468 | 118.0569 | 97.4264 | 0 | 0
24 | 0 | 109.9052 | 0 | 0.60413 | 121.5958 | 0.91578 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1114.2799 | 1621.8586 | 428.4538 | 1503.7087 | 1876.9249 | 1900.7238 | 430.7516 | 472.016
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 678
Neni 5.12 | Rezerva energjitike | [5 empty] | 1073.9 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 672.48 | 17.9971
|  | 2 | 583.19 | 19.0678
|  | 3 | 541.71 | 22.7285
|  | 4 | 527.18 | 23.7388
|  | 5 | 534 | 21.0673
|  | 6 | 599 | 17.253
|  | 7 | 783.46 | 19.6666
|  | 8 | 1047.6 | 26.603
|  | 9 | 1144.16 | 32.9055
|  | 10 | 1153.89 | 32.5349
|  | 11 | 1123.81 | 28.9763
|  | 12 | 1043.94 | 30.2928
|  | 13 | 1044.64 | 29.6784
|  | 14 | 1029.51 | 30.0293
|  | 15 | 1043.85 | 29.9909
|  | 16 | 1056.7 | 33.7561
|  | 17 | 1083.35 | 32.6008
|  | 18 | 1177.5 | 34.9922
|  | 19 | 1193.12 | 36.7063
|  | 20 | 1138.35 | 37.5044
|  | 21 | 1100.6 | 34.976
|  | 22 | 989.45 | 30.4092
|  | 23 | 831.55 | 26.205
|  | 24 | 647.25 | 22.0775
|  | 25 | 648.11 | 21.4125
|  | 26 | 562.27 | 20.3841
|  | 27 | 522.15 | 19.6254
|  | 28 | 509.23 | 20.5793
|  | 29 | 529.05 | 22.1713
|  | 30 | 582.92 | 25.3114
|  | 31 | 767.7 | 31.064
|  | 32 | 1034.07 | 37.1342
|  | 33 | 1101.57 | 32.0125
|  | 34 | 1067.79 | 27.0378
|  | 35 | 1010.06 | 20.775
|  | 36 | 963.47 | 19.1089
|  | 37 | 942.06 | 20.8623
|  | 38 | 968.38 | 23.374
|  | 39 | 996.35 | 27.0523
|  | 40 | 1006.48 | 34.579
|  | 41 | 1038.34 | 29.5065
|  | 42 | 1187.85 | 34.2797
|  | 43 | 1260.23 | 37.3743
|  | 44 | 1254.3 | 37.2411
|  | 45 | 1225 | 36.2821
|  | 46 | 1113.99 | 34.3338
|  | 47 | 954.74 | 30.7429
|  | 48 | 776.86 | 23.8806
|  | 49 | 628.65 | 16.3122
|  | 50 | 544.87 | 14.8239
|  | 51 | 508.05 | 13.5823
|  | 52 | 497.04 | 12.0421
|  | 53 | 506.14 | 11.632
|  | 54 | 571.02 | 11.4783
|  | 55 | 756.66 | 18.064
|  | 56 | 1019.82 | 26.5706
|  | 57 | 1093.47 | 27.8979
|  | 58 | 1067.69 | 25.5993
|  | 59 | 1003.68 | 28.8737
|  | 60 | 953.72 | 32.7747
|  | 61 | 930.95 | 28.3937
|  | 62 | 953.04 | 27.6876
|  | 63 | 976.3 | 25.4449
|  | 64 | 985.27 | 20.799
|  | 65 | 1020.17 | 24.194
|  | 66 | 1167.2 | 30.6799
|  | 67 | 1240.52 | 35.9717
|  | 68 | 1246.43 | 35.0836
|  | 69 | 1217.63 | 34.237
|  | 70 | 1107.74 | 27.6146
|  | 71 | 964.06 | 20.6684
|  | 72 | 809.66 | 16.0228
|  | 73 | 672.04 | 13.4622
|  | 74 | 578.37 | 11.0655
|  | 75 | 534.25 | 10.7826
|  | 76 | 519.94 | 10.5393
|  | 77 | 524.23 | 10.3198
|  | 78 | 596.14 | 11.4159
|  | 79 | 781.55 | 18.9759
|  | 80 | 1046.92 | 27.4347
|  | 81 | 1112.47 | 26.6045
|  | 82 | 1115.49 | 24.8072
|  | 83 | 1031.78 | 22.0375
|  | 84 | 978.42 | 21.6135
|  | 85 | 955.14 | 21.8126
|  | 86 | 992.45 | 20.6868
|  | 87 | 1011.41 | 20.2774
|  | 88 | 1028.73 | 19.257
|  | 89 | 1072.06 | 27.426
|  | 90 | 1216.78 | 32.5451
|  | 91 | 1305.5 | 35.7339
|  | 92 | 1299.12 | 35.3999
|  | 93 | 1267.93 | 34.3046
|  | 94 | 1157.12 | 29.0499
|  | 95 | 1003.13 | 22.5576
|  | 96 | 819.06 | 16.7164
|  | 97 | 663.55 | 11.9083
|  | 98 | 592.28 | 11.28
|  | 99 | 546.64 | 11.0151
|  | 100 | 532.03 | 10.456
|  | 101 | 541.02 | 10.543
|  | 102 | 608.63 | 13.8445
|  | 103 | 792.85 | 21.9495
|  | 104 | 1060.23 | 27.641
|  | 105 | 1127.97 | 26.7013
|  | 106 | 1103.39 | 24.5709
|  | 107 | 1008.68 | 21.8151
|  | 108 | 959.12 | 21.4656
|  | 109 | 938.44 | 18.8276
|  | 110 | 959.22 | 19.4854
|  | 111 | 987.99 | 19.689
|  | 112 | 1000.75 | 23.0934
|  | 113 | 1044.08 | 28.1989
|  | 114 | 1198.69 | 31.1418
|  | 115 | 1282.22 | 40.0833
|  | 116 | 1277.51 | 40.7869
|  | 117 | 1246.13 | 43.4953
|  | 118 | 1133.43 | 36.8229
|  | 119 | 975.13 | 30.2865
|  | 120 | 784.23 | 22.3015
|  | 121 | 623.35 | 15.0395
|  | 122 | 548.6 | 14.2388
|  | 123 | 515.27 | 13.9795
|  | 124 | 500.76 | 13.9912
|  | 125 | 509.27 | 14.3331
|  | 126 | 571.97 | 15.2942
|  | 127 | 724.11 | 19.3417
|  | 128 | 943.39 | 19.9622
|  | 129 | 1066.22 | 22.8607
|  | 130 | 1079.61 | 22.3949
|  | 131 | 1040.65 | 22.0973
|  | 132 | 994.87 | 23.0297
|  | 133 | 986.56 | 22.2142
|  | 134 | 1001.62 | 24.0383
|  | 135 | 1030.9 | 18.4502
|  | 136 | 1040.25 | 17.6959
|  | 137 | 1072.69 | 27.666
|  | 138 | 1198.16 | 36.8177
|  | 139 | 1258.01 | 43.2916
|  | 140 | 1246.18 | 40.3985
|  | 141 | 1208.47 | 41.3526
|  | 142 | 1100.81 | 39.7097
|  | 143 | 938.63 | 31.6615
|  | 144 | 785.13 | 24.3617
|  | 145 | 704.08 | 22.1079
|  | 146 | 604.36 | 19.8989
|  | 147 | 539.13 | 18.2148
|  | 148 | 514.25 | 17.9774
|  | 149 | 515.03 | 18.4393
|  | 150 | 553.12 | 19.6301
|  | 151 | 655.88 | 21.8889
|  | 152 | 840.76 | 19.0689
|  | 153 | 997.68 | 18.0186
|  | 154 | 1030.3 | 17.7922
|  | 155 | 986.47 | 17.0567
|  | 156 | 931.77 | 16.4212
|  | 157 | 883.28 | 16.4367
|  | 158 | 891.44 | 15.0131
|  | 159 | 887.08 | 14.9551
|  | 160 | 911.17 | 18.684
|  | 161 | 991.27 | 29.2698
|  | 162 | 1202.52 | 39.1841
|  | 163 | 1281.51 | 48.1975
|  | 164 | 1285.38 | 47.5713
|  | 165 | 1255.64 | 43.4111
|  | 166 | 1138.33 | 39.0936
|  | 167 | 963.64 | 31.8024
|  | 168 | 769.73 | 21.6199
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-02-14
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21769.78 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-02-12
|  | Hour | Production | Exchange | Consumption
|  | 1 | 674.8828 | 88.801 | 586.0818
|  | 2 | 553.8541 | 33.479 | 520.3751
|  | 3 | 531.6445 | 39.449 | 492.1955
|  | 4 | 467.3567 | -12.767 | 480.1237
|  | 5 | 469.9165 | -18.768 | 488.6845
|  | 6 | 539.66 | -10.7 | 550.36
|  | 7 | 871.2884 | 149.772 | 721.5164
|  | 8 | 1209.9288 | 240.376 | 969.5528
|  | 9 | 1418.9802 | 352.517 | 1066.4632
|  | 10 | 1400.6203 | 325.405 | 1075.2153
|  | 11 | 1387.3393 | 345.381 | 1041.9583
|  | 12 | 1315.4861 | 300.6 | 1014.8861
|  | 13 | 1258.4481 | 265.007 | 993.4411
|  | 14 | 1274.7566 | 268.697 | 1006.0596
|  | 15 | 1280.3385 | 230.202 | 1050.1365
|  | 16 | 1374.6332 | 278.28 | 1096.3532
|  | 17 | 1432.8255 | 323.306 | 1109.5195
|  | 18 | 1504.0628 | 310.107 | 1193.9558
|  | 19 | 1540.573 | 311.083 | 1229.49
|  | 20 | 1516.5393 | 296.067 | 1220.4723
|  | 21 | 1482.6324 | 299.503 | 1183.1294
|  | 22 | 1373.8933 | 298.626 | 1075.2673
|  | 23 | 1103.436 | 191.484 | 911.952
|  | 24 | 922.7896 | 184.686 | 738.1036
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | February
| Aggregate Nr.3 | Fierze | 125 | Hidro
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | February
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | February
| Aggregate Nr.2 | Koman | 150 | Hidro
| Aggregate Nr.3 | Koman | 150 | Hidro
| Aggregate Nr.4 | Koman | 150 | Hidro | Preventive Maintenance | February
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -2.0795 | 59.6694 | 65.8758 | -87.4492 | 226.0178 | -170.3414
2 | 4.6081 | 25.0543 | 40.7027 | -106.7383 | 195.2563 | -123.147
3 | 4.3577 | 16.2059 | 58.5631 | -106.9351 | 238.7804 | -167.9467
4 | 0.93284 | 5.7778 | 46.1197 | -113.4282 | 251.1882 | -199.8156
5 | 7.4129 | 5.3336 | 17.5446 | -114.1379 | 186.8509 | -119.0775
6 | 10.6595 | 9.3487 | -3.2026 | -113.883 | 100.2597 | -11.9102
7 | 23.6411 | 56.4186 | 21.5466 | -105.8835 | 73.4012 | 82.4141
8 | 0.71947 | 112.5661 | 101.284 | -67.8828 | 146.9933 | -51.0832
9 | -15.1069 | 172.7464 | 151.6359 | -30.4077 | 228.1332 | -149.9994
10 | -22.2179 | 199.0866 | 151.0956 | -25.7725 | 307.8136 | -278.8183
11 | 0.15555 | 179.1133 | 152.6947 | -52.1709 | 307.0529 | -236.7216
12 | -0.26224 | 198.8219 | 140.4028 | -83.5559 | 332.6481 | -281.7291
13 | -3.362 | 198.8808 | 130.5563 | -97.4099 | 310.3995 | -268.8099
14 | 0.39481 | 178.9933 | 131.9642 | -89.1653 | 276.6678 | -225.9301
15 | 5.9169 | 178.9458 | 103.7088 | -96.0326 | 184.0742 | -143.5276
16 | 7.2187 | 218.2104 | 76.3082 | -104.0901 | 117.9683 | -34.2662
17 | 3.5693 | 218.9477 | 41.3322 | -66.3506 | 42.3978 | 85.7442
18 | -5.0448 | 192.7084 | 44.357 | -35.2623 | 31.0948 | 83.9224
19 | -0.20152 | 218.1955 | 37.5268 | -62.2186 | 33.0597 | 86.6512
20 | 10.3348 | 218.9499 | 12.9316 | -78.195 | -39.1265 | 173.2341
21 | 13.1474 | 218.9009 | 18.9007 | -104.1095 | -38.5836 | 193.0393
22 | 20.636 | 209.2031 | 32.5409 | -102.1741 | -18.7676 | 159.0105
23 | 32.702 | 177.3562 | -20.7503 | -117.886 | -72.162 | 193.9747
24 | 42.844 | 115.4436 | -57.1609 | -91.1103 | -89.0669 | 265.0463
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2024-02-14
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 636.65
|  |  | 01:00 - 02:00 | 486.87
|  |  | 02:00 - 03:00 | 393.25
|  |  | 03:00 - 04:00 | 400.24
|  |  | 04:00 - 05:00 | 403.24
|  |  | 05:00 - 06:00 | 473.02
|  |  | 06:00 - 07:00 | 846.46
|  |  | 07:00 - 08:00 | 1255.82
|  |  | 08:00 - 09:00 | 1349.47
|  |  | 09:00 - 10:00 | 1316.29
|  |  | 10:00 - 11:00 | 1066.98
|  |  | 11:00 - 12:00 | 955.72
|  |  | 12:00 - 13:00 | 939.95
|  |  | 13:00 - 14:00 | 943.04
|  |  | 14:00 - 15:00 | 947.2
|  |  | 15:00 - 16:00 | 1047.27
|  |  | 16:00 - 17:00 | 1286.17
|  |  | 17:00 - 18:00 | 1467.2
|  |  | 18:00 - 19:00 | 1548.52
|  |  | 19:00 - 20:00 | 1549.43
|  |  | 20:00 - 21:00 | 1493.63
|  |  | 21:00 - 22:00 | 1274.74
|  |  | 22:00 - 23:00 | 983.06
|  |  | 23:00 - 00:00 | 850.66
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 118.6455
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8352
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0.87285 | 0.32856 | 0 | 0
7 | 0 | 0 | 0 | 0 | 89.0847 | 98.5533 | 0.78272 | 0
8 | 0 | 0 | 0 | 2.4546 | 116.8398 | 113.7366 | 111.1486 | 0
9 | 0 | 57.2978 | 0 | 113.9799 | 95.1336 | 129.1484 | 138.8952 | 0
10 | 0.50762 | 99.9034 | 0 | 99.3967 | 99.593 | 89.3395 | 89.6304 | 0
11 | 0.5159 | 89.8685 | 0 | 89.4536 | 89.2593 | 89.298 | 89.3625 | 0
12 | 98.5121 | 109.7138 | 0 | 89.3242 | 89.2543 | 89.3079 | 0.9321 | 0
13 | 89.6585 | 109.8404 | 0 | 89.2684 | 89.4864 | 89.2976 | 0 | 0
14 | 89.6913 | 89.9402 | 0 | 89.2613 | 89.8341 | 130.809 | 0 | 0
15 | 89.6133 | 89.8583 | 0 | 89.3098 | 116.5897 | 138.9126 | 0 | 0
16 | 109.8139 | 109.5795 | 0 | 108.8855 | 115.2964 | 114.1762 | 0 | 0
17 | 110.0779 | 109.8955 | 2.475 | 109.3247 | 91.3516 | 116.1182 | 0 | 97.8937
18 | 96.5556 | 96.7115 | 96.3964 | 96.2732 | 120.7261 | 107.2421 | 0 | 99.1072
19 | 109.4527 | 109.6594 | 109.3351 | 108.8029 | 91.952 | 124.9974 | 0 | 99.0838
20 | 109.7694 | 109.9608 | 109.7425 | 109.2486 | 112.4735 | 116.1387 | 0 | 50.4506
21 | 109.7609 | 109.9497 | 109.7252 | 109.2755 | 112.747 | 121.0501 | 0 | 0
22 | 99.771 | 109.9308 | 0.77965 | 99.4987 | 116.7778 | 133.9274 | 0 | 0
23 | 0.57977 | 109.8437 | 0 | 99.3468 | 118.0569 | 97.4264 | 0 | 0
24 | 0 | 109.9052 | 0 | 0.60413 | 121.5958 | 0.91578 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1114.2799 | 1621.8586 | 428.4538 | 1503.7087 | 1876.9249 | 1900.7238 | 430.7516 | 353.3705
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 678
Art. 5.12 | Energy reserve | [5 empty] | 1073.9 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 672.48 | 17.9971
|  | 2 | 583.19 | 19.0678
|  | 3 | 541.71 | 22.7285
|  | 4 | 527.18 | 23.7388
|  | 5 | 534 | 21.0673
|  | 6 | 599 | 17.253
|  | 7 | 783.46 | 19.6666
|  | 8 | 1047.6 | 26.603
|  | 9 | 1144.16 | 32.9055
|  | 10 | 1153.89 | 32.5349
|  | 11 | 1123.81 | 28.9763
|  | 12 | 1043.94 | 30.2928
|  | 13 | 1044.64 | 29.6784
|  | 14 | 1029.51 | 30.0293
|  | 15 | 1043.85 | 29.9909
|  | 16 | 1056.7 | 33.7561
|  | 17 | 1083.35 | 32.6008
|  | 18 | 1177.5 | 34.9922
|  | 19 | 1193.12 | 36.7063
|  | 20 | 1138.35 | 37.5044
|  | 21 | 1100.6 | 34.976
|  | 22 | 989.45 | 30.4092
|  | 23 | 831.55 | 26.205
|  | 24 | 647.25 | 22.0775
|  | 25 | 648.11 | 21.4125
|  | 26 | 562.27 | 20.3841
|  | 27 | 522.15 | 19.6254
|  | 28 | 509.23 | 20.5793
|  | 29 | 529.05 | 22.1713
|  | 30 | 582.92 | 25.3114
|  | 31 | 767.7 | 31.064
|  | 32 | 1034.07 | 37.1342
|  | 33 | 1101.57 | 32.0125
|  | 34 | 1067.79 | 27.0378
|  | 35 | 1010.06 | 20.775
|  | 36 | 963.47 | 19.1089
|  | 37 | 942.06 | 20.8623
|  | 38 | 968.38 | 23.374
|  | 39 | 996.35 | 27.0523
|  | 40 | 1006.48 | 34.579
|  | 41 | 1038.34 | 29.5065
|  | 42 | 1187.85 | 34.2797
|  | 43 | 1260.23 | 37.3743
|  | 44 | 1254.3 | 37.2411
|  | 45 | 1225 | 36.2821
|  | 46 | 1113.99 | 34.3338
|  | 47 | 954.74 | 30.7429
|  | 48 | 776.86 | 23.8806
|  | 49 | 628.65 | 16.3122
|  | 50 | 544.87 | 14.8239
|  | 51 | 508.05 | 13.5823
|  | 52 | 497.04 | 12.0421
|  | 53 | 506.14 | 11.632
|  | 54 | 571.02 | 11.4783
|  | 55 | 756.66 | 18.064
|  | 56 | 1019.82 | 26.5706
|  | 57 | 1093.47 | 27.8979
|  | 58 | 1067.69 | 25.5993
|  | 59 | 1003.68 | 28.8737
|  | 60 | 953.72 | 32.7747
|  | 61 | 930.95 | 28.3937
|  | 62 | 953.04 | 27.6876
|  | 63 | 976.3 | 25.4449
|  | 64 | 985.27 | 20.799
|  | 65 | 1020.17 | 24.194
|  | 66 | 1167.2 | 30.6799
|  | 67 | 1240.52 | 35.9717
|  | 68 | 1246.43 | 35.0836
|  | 69 | 1217.63 | 34.237
|  | 70 | 1107.74 | 27.6146
|  | 71 | 964.06 | 20.6684
|  | 72 | 809.66 | 16.0228
|  | 73 | 672.04 | 13.4622
|  | 74 | 578.37 | 11.0655
|  | 75 | 534.25 | 10.7826
|  | 76 | 519.94 | 10.5393
|  | 77 | 524.23 | 10.3198
|  | 78 | 596.14 | 11.4159
|  | 79 | 781.55 | 18.9759
|  | 80 | 1046.92 | 27.4347
|  | 81 | 1112.47 | 26.6045
|  | 82 | 1115.49 | 24.8072
|  | 83 | 1031.78 | 22.0375
|  | 84 | 978.42 | 21.6135
|  | 85 | 955.14 | 21.8126
|  | 86 | 992.45 | 20.6868
|  | 87 | 1011.41 | 20.2774
|  | 88 | 1028.73 | 19.257
|  | 89 | 1072.06 | 27.426
|  | 90 | 1216.78 | 32.5451
|  | 91 | 1305.5 | 35.7339
|  | 92 | 1299.12 | 35.3999
|  | 93 | 1267.93 | 34.3046
|  | 94 | 1157.12 | 29.0499
|  | 95 | 1003.13 | 22.5576
|  | 96 | 819.06 | 16.7164
|  | 97 | 663.55 | 11.9083
|  | 98 | 592.28 | 11.28
|  | 99 | 546.64 | 11.0151
|  | 100 | 532.03 | 10.456
|  | 101 | 541.02 | 10.543
|  | 102 | 608.63 | 13.8445
|  | 103 | 792.85 | 21.9495
|  | 104 | 1060.23 | 27.641
|  | 105 | 1127.97 | 26.7013
|  | 106 | 1103.39 | 24.5709
|  | 107 | 1008.68 | 21.8151
|  | 108 | 959.12 | 21.4656
|  | 109 | 938.44 | 18.8276
|  | 110 | 959.22 | 19.4854
|  | 111 | 987.99 | 19.689
|  | 112 | 1000.75 | 23.0934
|  | 113 | 1044.08 | 28.1989
|  | 114 | 1198.69 | 31.1418
|  | 115 | 1282.22 | 40.0833
|  | 116 | 1277.51 | 40.7869
|  | 117 | 1246.13 | 43.4953
|  | 118 | 1133.43 | 36.8229
|  | 119 | 975.13 | 30.2865
|  | 120 | 784.23 | 22.3015
|  | 121 | 623.35 | 15.0395
|  | 122 | 548.6 | 14.2388
|  | 123 | 515.27 | 13.9795
|  | 124 | 500.76 | 13.9912
|  | 125 | 509.27 | 14.3331
|  | 126 | 571.97 | 15.2942
|  | 127 | 724.11 | 19.3417
|  | 128 | 943.39 | 19.9622
|  | 129 | 1066.22 | 22.8607
|  | 130 | 1079.61 | 22.3949
|  | 131 | 1040.65 | 22.0973
|  | 132 | 994.87 | 23.0297
|  | 133 | 986.56 | 22.2142
|  | 134 | 1001.62 | 24.0383
|  | 135 | 1030.9 | 18.4502
|  | 136 | 1040.25 | 17.6959
|  | 137 | 1072.69 | 27.666
|  | 138 | 1198.16 | 36.8177
|  | 139 | 1258.01 | 43.2916
|  | 140 | 1246.18 | 40.3985
|  | 141 | 1208.47 | 41.3526
|  | 142 | 1100.81 | 39.7097
|  | 143 | 938.63 | 31.6615
|  | 144 | 785.13 | 24.3617
|  | 145 | 704.08 | 22.1079
|  | 146 | 604.36 | 19.8989
|  | 147 | 539.13 | 18.2148
|  | 148 | 514.25 | 17.9774
|  | 149 | 515.03 | 18.4393
|  | 150 | 553.12 | 19.6301
|  | 151 | 655.88 | 21.8889
|  | 152 | 840.76 | 19.0689
|  | 153 | 997.68 | 18.0186
|  | 154 | 1030.3 | 17.7922
|  | 155 | 986.47 | 17.0567
|  | 156 | 931.77 | 16.4212
|  | 157 | 883.28 | 16.4367
|  | 158 | 891.44 | 15.0131
|  | 159 | 887.08 | 14.9551
|  | 160 | 911.17 | 18.684
|  | 161 | 991.27 | 29.2698
|  | 162 | 1202.52 | 39.1841
|  | 163 | 1281.51 | 48.1975
|  | 164 | 1285.38 | 47.5713
|  | 165 | 1255.64 | 43.4111
|  | 166 | 1138.33 | 39.0936
|  | 167 | 963.64 | 31.8024
|  | 168 | 769.73 | 21.6199
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible