## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-03-14
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 20482 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-03-12
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 578.8047 | -7.572 | 586.3767
|  | 2 | 479.0227 | -47.604 | 526.6267
|  | 3 | 498.9494 | -43.648 | 542.5974
|  | 4 | 517.0857 | -69.006 | 586.0917
|  | 5 | 536.6702 | -63.065 | 599.7352
|  | 6 | 584.4348 | -25.333 | 609.7678
|  | 7 | 791.4607 | 30.644 | 760.8167
|  | 8 | 1033.6772 | 53.629 | 980.0482
|  | 9 | 1228.584 | 166.859 | 1061.725
|  | 10 | 1199.67 | 134.743 | 1064.927
|  | 11 | 1062.7497 | 57.286 | 1005.4637
|  | 12 | 996.7038 | -9.848 | 1006.5518
|  | 13 | 998.4298 | -6.29 | 1004.7198
|  | 14 | 1044.8414 | 37.011 | 1007.8304
|  | 15 | 1072.9543 | 77.29 | 995.6643
|  | 16 | 1101.6174 | 116.127 | 985.4904
|  | 17 | 1356.711 | 325.72 | 1030.991
|  | 18 | 1405.0586 | 280.677 | 1124.3816
|  | 19 | 1474.7505 | 275.341 | 1199.4095
|  | 20 | 1506.7167 | 294.315 | 1212.4017
|  | 21 | 1478.1873 | 286.922 | 1191.2653
|  | 22 | 1380.379 | 294.178 | 1086.201
|  | 23 | 1161.4233 | 234.131 | 927.2923
|  | 24 | 868.7874 | 100.937 | 767.8504
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro | Remont Profilaktik
| Agregati Nr.3 | Fierze | 125 | Hidro | Remont Profilaktik
| Agregati Nr.2 | Koman | 150 | Hidro | Remont Profilaktik
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 19.6541 | 76.8177 | -73.762 | -42.9618 | -25.8935 | 68.7233
2 | 27.4652 | 53.9001 | -85.8637 | -54.8513 | -43.3601 | 117.8995
3 | 28.9948 | 42.3423 | -100.8643 | -63.6669 | -57.8028 | 120.791
4 | 33.7578 | 46.5228 | -123.3089 | -65.0249 | -108.2135 | 164.2334
5 | 40.9938 | 37.7687 | -147.8103 | -76.6016 | -155.8287 | 221.6142
6 | 50.481 | 41.9286 | -157.6284 | -68.0376 | -206.5486 | 327.3674
7 | 20.6825 | 58.5219 | -78.2831 | -47.7421 | -49.0345 | 148.9337
8 | 5.2185 | 109.7006 | -4.884 | -18.9601 | 52.5477 | 4.3533
9 | -10.4093 | 134.6051 | 43.8904 | 13.9701 | 134.9994 | -116.3784
10 | -11.2089 | 152.5453 | 108.6493 | 82.8237 | 19.2353 | -146.4384
11 | -10.8574 | 141.6773 | 96.9251 | 60.1445 | 0 | -161.8787
12 | -12.4023 | 98.2862 | 50.6564 | 26.2145 | 0 | -183.3637
13 | -8.4457 | 94.0284 | 35.1857 | 7.7285 | 15.9452 | -166.9377
14 | -13.4752 | 109.1939 | 8.4432 | -30.1594 | 146.117 | -195.0907
15 | -7.1291 | 110.8765 | -20.8926 | -32.6786 | 75.1887 | -94.6507
16 | 3.5925 | 125.3246 | -47.8789 | -19.3504 | -14.2195 | 46.4732
17 | 1.8004 | 154.9006 | -52.4571 | 15.2764 | -56.0771 | 117.5628
18 | -18.5937 | 185.8363 | -16.2963 | 46.0487 | -3.5293 | 59.5549
19 | -1.2323 | 185.7036 | -30.5081 | 1.5451 | -56.3378 | 162.8683
20 | 4.3575 | 178.5732 | -30.2264 | -16.728 | -61.3079 | 193.656
21 | 21.5551 | 164.1883 | -52.8853 | -35.0074 | -110.0172 | 277.2029
22 | 34.5404 | 138.7281 | -69.9378 | -66.2603 | -126.836 | 313.5915
23 | 50.9735 | 120.0286 | -127.3385 | -97.397 | -190.8588 | 356.1217
24 | 54.7342 | 91.9335 | -138.0366 | -102.4999 | -200.3017 | 364.507
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-03-14
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 614.17
|  |  | 01:00 - 02:00 | 542.76
|  |  | 02:00 - 03:00 | 523.28
|  |  | 03:00 - 04:00 | 518.97
|  |  | 04:00 - 05:00 | 519.66
|  |  | 05:00 - 06:00 | 499.82
|  |  | 06:00 - 07:00 | 773.36
|  |  | 07:00 - 08:00 | 1009.11
|  |  | 08:00 - 09:00 | 1143.39
|  |  | 09:00 - 10:00 | 1177.19
|  |  | 10:00 - 11:00 | 934.23
|  |  | 11:00 - 12:00 | 817.48
|  |  | 12:00 - 13:00 | 801.2
|  |  | 13:00 - 14:00 | 803.9
|  |  | 14:00 - 15:00 | 822.18
|  |  | 15:00 - 16:00 | 884.92
|  |  | 16:00 - 17:00 | 1038.09
|  |  | 17:00 - 18:00 | 1370.46
|  |  | 18:00 - 19:00 | 1445.18
|  |  | 19:00 - 20:00 | 1457.47
|  |  | 20:00 - 21:00 | 1430.04
|  |  | 21:00 - 22:00 | 1263.97
|  |  | 22:00 - 23:00 | 1001.52
|  |  | 23:00 - 00:00 | 777.29
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0 | 99.1885 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82353 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 1.0393 | 0 | 0
7 | 0 | 0 | 0 | 1.9449 | 0 | 90.3706 | 0 | 1.2074
8 | 0 | 0 | 0 | 98.9856 | 0 | 95.2028 | 0 | 92.1145
9 | 0 | 0 | 0 | 91.8065 | 0 | 101.9975 | 0 | 98.1939
10 | 0 | 0 | 0 | 92.369 | 6.1781 | 90.0466 | 0 | 93.3837
11 | 0 | 0 | 0 | 90.919 | 116.9945 | 89.2731 | 0 | 0
12 | 0 | 0 | 0 | 0.63465 | 98.184 | 117.327 | 0 | 0
13 | 0 | 0 | 0 | 0 | 100.1592 | 139.8812 | 0 | 0
14 | 0 | 0 | 0 | 95.6669 | 134.7016 | 90.6956 | 0 | 0
15 | 0 | 0 | 0 | 99.5247 | 135.8257 | 89.7546 | 0 | 0
16 | 0 | 0 | 0 | 92.7967 | 107.2236 | 89.8933 | 0 | 0
17 | 0 | 0 | 0 | 96.8087 | 101.835 | 101.8627 | 1.5144 | 0
18 | 0.48965 | 0 | 0 | 99.3506 | 96.1878 | 129.6044 | 89.4243 | 0
19 | 98.382 | 0 | 0 | 99.383 | 96.1984 | 120.5842 | 109.1687 | 0
20 | 99.7925 | 0 | 0 | 99.3809 | 110.9428 | 112.0339 | 109.1772 | 0
21 | 97.3308 | 0 | 0 | 96.9471 | 95.278 | 103.3175 | 109.1794 | 0
22 | 89.6265 | 0 | 0 | 89.2743 | 0.54571 | 118.3868 | 92.299 | 0
23 | 99.779 | 0 | 0 | 104.2317 | 0 | 126.1843 | 0.21821 | 0
24 | 0.80638 | 0 | 0 | 95.3424 | 0 | 115.3145 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 486.2068 | 0 | 0 | 1445.3668 | 1200.2546 | 1922.77 | 610.9932 | 284.8995
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 912.0 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 1026 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 613.19 | 13.6475
|  | 2 | 549.8 | 12.8009
|  | 3 | 565.19 | 11.4338
|  | 4 | 551.39 | 12.0992
|  | 5 | 561.67 | 12.9098
|  | 6 | 630.08 | 15.2044
|  | 7 | 814.47 | 14.5684
|  | 8 | 1036.56 | 17.5277
|  | 9 | 1102.48 | 18.7844
|  | 10 | 1117.12 | 20.7525
|  | 11 | 1083.01 | 24.3819
|  | 12 | 1054.55 | 24.7665
|  | 13 | 1052.07 | 26.7995
|  | 14 | 1086.06 | 31.3071
|  | 15 | 1036.25 | 40.0473
|  | 16 | 1050.73 | 38.1017
|  | 17 | 1061.2 | 33.2876
|  | 18 | 1144.82 | 37.4459
|  | 19 | 1233.29 | 36.1582
|  | 20 | 1218.99 | 37.9106
|  | 21 | 1171.6 | 37.1569
|  | 22 | 1056.33 | 29.819
|  | 23 | 897.54 | 25.3961
|  | 24 | 754.32 | 23.4987
|  | 25 | 588.33 | 18.4267
|  | 26 | 546.78 | 17.9568
|  | 27 | 538.25 | 19.279
|  | 28 | 527.83 | 18.2407
|  | 29 | 536.96 | 18.6699
|  | 30 | 609.31 | 24.1297
|  | 31 | 777.93 | 23.908
|  | 32 | 986.44 | 26.4359
|  | 33 | 1058.18 | 25.7683
|  | 34 | 1057.33 | 24.529
|  | 35 | 1006.15 | 24.8008
|  | 36 | 945.26 | 27.0894
|  | 37 | 949.11 | 24.3076
|  | 38 | 966.95 | 23.6119
|  | 39 | 1017.96 | 22.3535
|  | 40 | 1006 | 23.1984
|  | 41 | 1044.46 | 25.9178
|  | 42 | 1118.68 | 27.4372
|  | 43 | 1134.24 | 30.2596
|  | 44 | 1137.63 | 31.279
|  | 45 | 1109.39 | 32.11
|  | 46 | 1000.72 | 28.6201
|  | 47 | 843.01 | 25.6152
|  | 48 | 648.72 | 23.037
|  | 49 | 652.87 | 19.6194
|  | 50 | 570.81 | 18.9911
|  | 51 | 594.7 | 18.7602
|  | 52 | 582.69 | 19.124
|  | 53 | 580.59 | 20.2572
|  | 54 | 657.39 | 25.5398
|  | 55 | 792.99 | 20.7391
|  | 56 | 1001.88 | 21.5733
|  | 57 | 1058.61 | 21.8168
|  | 58 | 1073.21 | 22.404
|  | 59 | 1028.79 | 21.5529
|  | 60 | 936.78 | 19.3205
|  | 61 | 927.8 | 19.303
|  | 62 | 965.26 | 20.2346
|  | 63 | 937.05 | 20.2828
|  | 64 | 947.62 | 20.6855
|  | 65 | 961 | 22.013
|  | 66 | 1033.14 | 25.6657
|  | 67 | 1157.49 | 30.0585
|  | 68 | 1162.89 | 30.994
|  | 69 | 1137.51 | 32.6102
|  | 70 | 1039.12 | 30.8413
|  | 71 | 851.12 | 30.2098
|  | 72 | 713.52 | 28.1195
|  | 73 | 616.9 | 23.4341
|  | 74 | 552.39 | 22.6822
|  | 75 | 572.91 | 22.805
|  | 76 | 572.6 | 22.2106
|  | 77 | 573.29 | 23.35
|  | 78 | 638.4 | 24.4285
|  | 79 | 767.99 | 21.7309
|  | 80 | 952.29 | 17.7714
|  | 81 | 1056.52 | 17.3847
|  | 82 | 1052.72 | 17.7653
|  | 83 | 977.71 | 16.0483
|  | 84 | 859.9 | 15.7002
|  | 85 | 837.62 | 15.2334
|  | 86 | 840.32 | 15.8538
|  | 87 | 809.6 | 16.9168
|  | 88 | 837.39 | 18.879
|  | 89 | 869.61 | 22.3252
|  | 90 | 1055.94 | 24.9918
|  | 91 | 1130.7 | 27.979
|  | 92 | 1147 | 30.3996
|  | 93 | 1120.61 | 31.5257
|  | 94 | 1018.43 | 27.8278
|  | 95 | 884.12 | 27.8166
|  | 96 | 736.89 | 25.2392
|  | 97 | 582 | 24.3347
|  | 98 | 528.19 | 23.0797
|  | 99 | 547.51 | 22.6765
|  | 100 | 546.81 | 22.6517
|  | 101 | 543.19 | 22.6696
|  | 102 | 607.5 | 23.0068
|  | 103 | 728.29 | 22.1502
|  | 104 | 916.39 | 19.3724
|  | 105 | 1030.02 | 17.8257
|  | 106 | 1024.42 | 16.0138
|  | 107 | 969.01 | 15.1827
|  | 108 | 922.2 | 14.4578
|  | 109 | 885.12 | 14.6241
|  | 110 | 882.12 | 15.9604
|  | 111 | 852 | 17.8635
|  | 112 | 837.39 | 19.5693
|  | 113 | 906.71 | 20.5291
|  | 114 | 1038.84 | 24.4023
|  | 115 | 1149.9 | 26.6556
|  | 116 | 1151.4 | 29.484
|  | 117 | 1119.41 | 31.471
|  | 118 | 1023.73 | 33.7118
|  | 119 | 867.52 | 25.3052
|  | 120 | 723.59 | 24.113
|  | 121 | 612.9 | 20.692
|  | 122 | 567.39 | 22.0422
|  | 123 | 536.81 | 20.373
|  | 124 | 546.7 | 20.9868
|  | 125 | 557.79 | 21.0718
|  | 126 | 593.7 | 20.1599
|  | 127 | 706.49 | 20.515
|  | 128 | 858.69 | 19.5767
|  | 129 | 962.32 | 18.2514
|  | 130 | 969.42 | 16.3045
|  | 131 | 956.31 | 14.6598
|  | 132 | 922 | 14.9211
|  | 133 | 915.72 | 14.8457
|  | 134 | 921.42 | 17.5277
|  | 135 | 928.6 | 16.8258
|  | 136 | 912.29 | 18.8734
|  | 137 | 877.51 | 23.5669
|  | 138 | 1018.14 | 30.4337
|  | 139 | 1113.5 | 33.0043
|  | 140 | 1110.7 | 31.9681
|  | 141 | 1078.51 | 34.7726
|  | 142 | 988.23 | 31.1061
|  | 143 | 846.52 | 27.3559
|  | 144 | 677.89 | 22.8638
|  | 145 | 664.4 | 23.02
|  | 146 | 608.3 | 21.2542
|  | 147 | 552.9 | 21.2153
|  | 148 | 532.87 | 21.5002
|  | 149 | 535.68 | 19.9157
|  | 150 | 598.94 | 19.8753
|  | 151 | 670.75 | 18.502
|  | 152 | 824.43 | 16.9414
|  | 153 | 921.86 | 16.0908
|  | 154 | 939.79 | 14.5016
|  | 155 | 910.58 | 13.0892
|  | 156 | 889.88 | 12.657
|  | 157 | 836.04 | 13.3557
|  | 158 | 843.13 | 14.5387
|  | 159 | 840.97 | 16.9215
|  | 160 | 855.67 | 18.998
|  | 161 | 836.29 | 23.3218
|  | 162 | 989.96 | 23.6454
|  | 163 | 1113.22 | 25.2187
|  | 164 | 1132.71 | 24.6747
|  | 165 | 1107.2 | 26.6118
|  | 166 | 998.95 | 25.6494
|  | 167 | 843.73 | 21.1496
|  | 168 | 652.09 | 14.8885
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-03-14
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 20482 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-03-12
|  | Hour | Production | Exchange | Consumption
|  | 1 | 578.8047 | -7.572 | 586.3767
|  | 2 | 479.0227 | -47.604 | 526.6267
|  | 3 | 498.9494 | -43.648 | 542.5974
|  | 4 | 517.0857 | -69.006 | 586.0917
|  | 5 | 536.6702 | -63.065 | 599.7352
|  | 6 | 584.4348 | -25.333 | 609.7678
|  | 7 | 791.4607 | 30.644 | 760.8167
|  | 8 | 1033.6772 | 53.629 | 980.0482
|  | 9 | 1228.584 | 166.859 | 1061.725
|  | 10 | 1199.67 | 134.743 | 1064.927
|  | 11 | 1062.7497 | 57.286 | 1005.4637
|  | 12 | 996.7038 | -9.848 | 1006.5518
|  | 13 | 998.4298 | -6.29 | 1004.7198
|  | 14 | 1044.8414 | 37.011 | 1007.8304
|  | 15 | 1072.9543 | 77.29 | 995.6643
|  | 16 | 1101.6174 | 116.127 | 985.4904
|  | 17 | 1356.711 | 325.72 | 1030.991
|  | 18 | 1405.0586 | 280.677 | 1124.3816
|  | 19 | 1474.7505 | 275.341 | 1199.4095
|  | 20 | 1506.7167 | 294.315 | 1212.4017
|  | 21 | 1478.1873 | 286.922 | 1191.2653
|  | 22 | 1380.379 | 294.178 | 1086.201
|  | 23 | 1161.4233 | 234.131 | 927.2923
|  | 24 | 868.7874 | 100.937 | 767.8504
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.2 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 19.6541 | 76.8177 | -73.762 | -42.9618 | -25.8935 | 68.7233
2 | 27.4652 | 53.9001 | -85.8637 | -54.8513 | -43.3601 | 117.8995
3 | 28.9948 | 42.3423 | -100.8643 | -63.6669 | -57.8028 | 120.791
4 | 33.7578 | 46.5228 | -123.3089 | -65.0249 | -108.2135 | 164.2334
5 | 40.9938 | 37.7687 | -147.8103 | -76.6016 | -155.8287 | 221.6142
6 | 50.481 | 41.9286 | -157.6284 | -68.0376 | -206.5486 | 327.3674
7 | 20.6825 | 58.5219 | -78.2831 | -47.7421 | -49.0345 | 148.9337
8 | 5.2185 | 109.7006 | -4.884 | -18.9601 | 52.5477 | 4.3533
9 | -10.4093 | 134.6051 | 43.8904 | 13.9701 | 134.9994 | -116.3784
10 | -11.2089 | 152.5453 | 108.6493 | 82.8237 | 19.2353 | -146.4384
11 | -10.8574 | 141.6773 | 96.9251 | 60.1445 | 0 | -161.8787
12 | -12.4023 | 98.2862 | 50.6564 | 26.2145 | 0 | -183.3637
13 | -8.4457 | 94.0284 | 35.1857 | 7.7285 | 15.9452 | -166.9377
14 | -13.4752 | 109.1939 | 8.4432 | -30.1594 | 146.117 | -195.0907
15 | -7.1291 | 110.8765 | -20.8926 | -32.6786 | 75.1887 | -94.6507
16 | 3.5925 | 125.3246 | -47.8789 | -19.3504 | -14.2195 | 46.4732
17 | 1.8004 | 154.9006 | -52.4571 | 15.2764 | -56.0771 | 117.5628
18 | -18.5937 | 185.8363 | -16.2963 | 46.0487 | -3.5293 | 59.5549
19 | -1.2323 | 185.7036 | -30.5081 | 1.5451 | -56.3378 | 162.8683
20 | 4.3575 | 178.5732 | -30.2264 | -16.728 | -61.3079 | 193.656
21 | 21.5551 | 164.1883 | -52.8853 | -35.0074 | -110.0172 | 277.2029
22 | 34.5404 | 138.7281 | -69.9378 | -66.2603 | -126.836 | 313.5915
23 | 50.9735 | 120.0286 | -127.3385 | -97.397 | -190.8588 | 356.1217
24 | 54.7342 | 91.9335 | -138.0366 | -102.4999 | -200.3017 | 364.507
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2024-03-14
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 614.17
|  |  | 01:00 - 02:00 | 542.76
|  |  | 02:00 - 03:00 | 523.28
|  |  | 03:00 - 04:00 | 518.97
|  |  | 04:00 - 05:00 | 519.66
|  |  | 05:00 - 06:00 | 499.82
|  |  | 06:00 - 07:00 | 773.36
|  |  | 07:00 - 08:00 | 1009.11
|  |  | 08:00 - 09:00 | 1143.39
|  |  | 09:00 - 10:00 | 1177.19
|  |  | 10:00 - 11:00 | 934.23
|  |  | 11:00 - 12:00 | 817.48
|  |  | 12:00 - 13:00 | 801.2
|  |  | 13:00 - 14:00 | 803.9
|  |  | 14:00 - 15:00 | 822.18
|  |  | 15:00 - 16:00 | 884.92
|  |  | 16:00 - 17:00 | 1038.09
|  |  | 17:00 - 18:00 | 1370.46
|  |  | 18:00 - 19:00 | 1445.18
|  |  | 19:00 - 20:00 | 1457.47
|  |  | 20:00 - 21:00 | 1430.04
|  |  | 21:00 - 22:00 | 1263.97
|  |  | 22:00 - 23:00 | 1001.52
|  |  | 23:00 - 00:00 | 777.29
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0 | 99.1885 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82353 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 1.0393 | 0 | 0
7 | 0 | 0 | 0 | 1.9449 | 0 | 90.3706 | 0 | 1.2074
8 | 0 | 0 | 0 | 98.9856 | 0 | 95.2028 | 0 | 92.1145
9 | 0 | 0 | 0 | 91.8065 | 0 | 101.9975 | 0 | 98.1939
10 | 0 | 0 | 0 | 92.369 | 6.1781 | 90.0466 | 0 | 93.3837
11 | 0 | 0 | 0 | 90.919 | 116.9945 | 89.2731 | 0 | 0
12 | 0 | 0 | 0 | 0.63465 | 98.184 | 117.327 | 0 | 0
13 | 0 | 0 | 0 | 0 | 100.1592 | 139.8812 | 0 | 0
14 | 0 | 0 | 0 | 95.6669 | 134.7016 | 90.6956 | 0 | 0
15 | 0 | 0 | 0 | 99.5247 | 135.8257 | 89.7546 | 0 | 0
16 | 0 | 0 | 0 | 92.7967 | 107.2236 | 89.8933 | 0 | 0
17 | 0 | 0 | 0 | 96.8087 | 101.835 | 101.8627 | 1.5144 | 0
18 | 0.48965 | 0 | 0 | 99.3506 | 96.1878 | 129.6044 | 89.4243 | 0
19 | 98.382 | 0 | 0 | 99.383 | 96.1984 | 120.5842 | 109.1687 | 0
20 | 99.7925 | 0 | 0 | 99.3809 | 110.9428 | 112.0339 | 109.1772 | 0
21 | 97.3308 | 0 | 0 | 96.9471 | 95.278 | 103.3175 | 109.1794 | 0
22 | 89.6265 | 0 | 0 | 89.2743 | 0.54571 | 118.3868 | 92.299 | 0
23 | 99.779 | 0 | 0 | 104.2317 | 0 | 126.1843 | 0.21821 | 0
24 | 0.80638 | 0 | 0 | 95.3424 | 0 | 115.3145 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 486.2068 | 0 | 0 | 1445.3668 | 1200.2546 | 1922.77 | 511.8047 | 284.8995
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 912.0 MWh
Art. 5.12 | Energy reserve | [5 empty] | 1026 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 613.19 | 13.6475
|  | 2 | 549.8 | 12.8009
|  | 3 | 565.19 | 11.4338
|  | 4 | 551.39 | 12.0992
|  | 5 | 561.67 | 12.9098
|  | 6 | 630.08 | 15.2044
|  | 7 | 814.47 | 14.5684
|  | 8 | 1036.56 | 17.5277
|  | 9 | 1102.48 | 18.7844
|  | 10 | 1117.12 | 20.7525
|  | 11 | 1083.01 | 24.3819
|  | 12 | 1054.55 | 24.7665
|  | 13 | 1052.07 | 26.7995
|  | 14 | 1086.06 | 31.3071
|  | 15 | 1036.25 | 40.0473
|  | 16 | 1050.73 | 38.1017
|  | 17 | 1061.2 | 33.2876
|  | 18 | 1144.82 | 37.4459
|  | 19 | 1233.29 | 36.1582
|  | 20 | 1218.99 | 37.9106
|  | 21 | 1171.6 | 37.1569
|  | 22 | 1056.33 | 29.819
|  | 23 | 897.54 | 25.3961
|  | 24 | 754.32 | 23.4987
|  | 25 | 588.33 | 18.4267
|  | 26 | 546.78 | 17.9568
|  | 27 | 538.25 | 19.279
|  | 28 | 527.83 | 18.2407
|  | 29 | 536.96 | 18.6699
|  | 30 | 609.31 | 24.1297
|  | 31 | 777.93 | 23.908
|  | 32 | 986.44 | 26.4359
|  | 33 | 1058.18 | 25.7683
|  | 34 | 1057.33 | 24.529
|  | 35 | 1006.15 | 24.8008
|  | 36 | 945.26 | 27.0894
|  | 37 | 949.11 | 24.3076
|  | 38 | 966.95 | 23.6119
|  | 39 | 1017.96 | 22.3535
|  | 40 | 1006 | 23.1984
|  | 41 | 1044.46 | 25.9178
|  | 42 | 1118.68 | 27.4372
|  | 43 | 1134.24 | 30.2596
|  | 44 | 1137.63 | 31.279
|  | 45 | 1109.39 | 32.11
|  | 46 | 1000.72 | 28.6201
|  | 47 | 843.01 | 25.6152
|  | 48 | 648.72 | 23.037
|  | 49 | 652.87 | 19.6194
|  | 50 | 570.81 | 18.9911
|  | 51 | 594.7 | 18.7602
|  | 52 | 582.69 | 19.124
|  | 53 | 580.59 | 20.2572
|  | 54 | 657.39 | 25.5398
|  | 55 | 792.99 | 20.7391
|  | 56 | 1001.88 | 21.5733
|  | 57 | 1058.61 | 21.8168
|  | 58 | 1073.21 | 22.404
|  | 59 | 1028.79 | 21.5529
|  | 60 | 936.78 | 19.3205
|  | 61 | 927.8 | 19.303
|  | 62 | 965.26 | 20.2346
|  | 63 | 937.05 | 20.2828
|  | 64 | 947.62 | 20.6855
|  | 65 | 961 | 22.013
|  | 66 | 1033.14 | 25.6657
|  | 67 | 1157.49 | 30.0585
|  | 68 | 1162.89 | 30.994
|  | 69 | 1137.51 | 32.6102
|  | 70 | 1039.12 | 30.8413
|  | 71 | 851.12 | 30.2098
|  | 72 | 713.52 | 28.1195
|  | 73 | 616.9 | 23.4341
|  | 74 | 552.39 | 22.6822
|  | 75 | 572.91 | 22.805
|  | 76 | 572.6 | 22.2106
|  | 77 | 573.29 | 23.35
|  | 78 | 638.4 | 24.4285
|  | 79 | 767.99 | 21.7309
|  | 80 | 952.29 | 17.7714
|  | 81 | 1056.52 | 17.3847
|  | 82 | 1052.72 | 17.7653
|  | 83 | 977.71 | 16.0483
|  | 84 | 859.9 | 15.7002
|  | 85 | 837.62 | 15.2334
|  | 86 | 840.32 | 15.8538
|  | 87 | 809.6 | 16.9168
|  | 88 | 837.39 | 18.879
|  | 89 | 869.61 | 22.3252
|  | 90 | 1055.94 | 24.9918
|  | 91 | 1130.7 | 27.979
|  | 92 | 1147 | 30.3996
|  | 93 | 1120.61 | 31.5257
|  | 94 | 1018.43 | 27.8278
|  | 95 | 884.12 | 27.8166
|  | 96 | 736.89 | 25.2392
|  | 97 | 582 | 24.3347
|  | 98 | 528.19 | 23.0797
|  | 99 | 547.51 | 22.6765
|  | 100 | 546.81 | 22.6517
|  | 101 | 543.19 | 22.6696
|  | 102 | 607.5 | 23.0068
|  | 103 | 728.29 | 22.1502
|  | 104 | 916.39 | 19.3724
|  | 105 | 1030.02 | 17.8257
|  | 106 | 1024.42 | 16.0138
|  | 107 | 969.01 | 15.1827
|  | 108 | 922.2 | 14.4578
|  | 109 | 885.12 | 14.6241
|  | 110 | 882.12 | 15.9604
|  | 111 | 852 | 17.8635
|  | 112 | 837.39 | 19.5693
|  | 113 | 906.71 | 20.5291
|  | 114 | 1038.84 | 24.4023
|  | 115 | 1149.9 | 26.6556
|  | 116 | 1151.4 | 29.484
|  | 117 | 1119.41 | 31.471
|  | 118 | 1023.73 | 33.7118
|  | 119 | 867.52 | 25.3052
|  | 120 | 723.59 | 24.113
|  | 121 | 612.9 | 20.692
|  | 122 | 567.39 | 22.0422
|  | 123 | 536.81 | 20.373
|  | 124 | 546.7 | 20.9868
|  | 125 | 557.79 | 21.0718
|  | 126 | 593.7 | 20.1599
|  | 127 | 706.49 | 20.515
|  | 128 | 858.69 | 19.5767
|  | 129 | 962.32 | 18.2514
|  | 130 | 969.42 | 16.3045
|  | 131 | 956.31 | 14.6598
|  | 132 | 922 | 14.9211
|  | 133 | 915.72 | 14.8457
|  | 134 | 921.42 | 17.5277
|  | 135 | 928.6 | 16.8258
|  | 136 | 912.29 | 18.8734
|  | 137 | 877.51 | 23.5669
|  | 138 | 1018.14 | 30.4337
|  | 139 | 1113.5 | 33.0043
|  | 140 | 1110.7 | 31.9681
|  | 141 | 1078.51 | 34.7726
|  | 142 | 988.23 | 31.1061
|  | 143 | 846.52 | 27.3559
|  | 144 | 677.89 | 22.8638
|  | 145 | 664.4 | 23.02
|  | 146 | 608.3 | 21.2542
|  | 147 | 552.9 | 21.2153
|  | 148 | 532.87 | 21.5002
|  | 149 | 535.68 | 19.9157
|  | 150 | 598.94 | 19.8753
|  | 151 | 670.75 | 18.502
|  | 152 | 824.43 | 16.9414
|  | 153 | 921.86 | 16.0908
|  | 154 | 939.79 | 14.5016
|  | 155 | 910.58 | 13.0892
|  | 156 | 889.88 | 12.657
|  | 157 | 836.04 | 13.3557
|  | 158 | 843.13 | 14.5387
|  | 159 | 840.97 | 16.9215
|  | 160 | 855.67 | 18.998
|  | 161 | 836.29 | 23.3218
|  | 162 | 989.96 | 23.6454
|  | 163 | 1113.22 | 25.2187
|  | 164 | 1132.71 | 24.6747
|  | 165 | 1107.2 | 26.6118
|  | 166 | 998.95 | 25.6494
|  | 167 | 843.73 | 21.1496
|  | 168 | 652.09 | 14.8885
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible