## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-02-15
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 22620.03 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-02-13
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 726.7932 | 116.552 | 610.2412
|  | 2 | 558.8431 | 19.949 | 538.8941
|  | 3 | 474.5997 | -29.809 | 504.4087
|  | 4 | 454.0799 | -42.164 | 496.2439
|  | 5 | 453.179 | -58.49 | 511.669
|  | 6 | 599.443 | 21.798 | 577.645
|  | 7 | 996.9119 | 228.956 | 767.9559
|  | 8 | 1283.3151 | 274.649 | 1008.6661
|  | 9 | 1388.4347 | 332.929 | 1055.5057
|  | 10 | 1363.2007 | 337.76 | 1025.4407
|  | 11 | 1067.142 | 101.916 | 965.226
|  | 12 | 975.5795 | 50.711 | 924.8685
|  | 13 | 933.8483 | 17.733 | 916.1153
|  | 14 | 937.7667 | 11.759 | 926.0077
|  | 15 | 962.8725 | 13.04 | 949.8325
|  | 16 | 1127.42 | 143.858 | 983.562
|  | 17 | 1346.2409 | 308.827 | 1037.4139
|  | 18 | 1504.3259 | 334.746 | 1169.5799
|  | 19 | 1565.0269 | 320.745 | 1244.2819
|  | 20 | 1544.8195 | 303.818 | 1241.0015
|  | 21 | 1527.7169 | 311.804 | 1215.9129
|  | 22 | 1436.5893 | 324.273 | 1112.3163
|  | 23 | 1189.3586 | 226.5 | 962.8586
|  | 24 | 925.5274 | 116.757 | 808.7704
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.1 | Koman | 150 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro | Remont profilaktik | Shkurt
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 39.5428 | 87.2663 | -87.2056 | -102.6225 | -138.2358 | 319.3679
2 | 39.7477 | 40.8493 | -111.4317 | -114.8539 | -158.1108 | 325.4011
3 | 39.3282 | 19.8576 | -124.0146 | -122.2857 | -161.9654 | 320.8298
4 | 41.6623 | 12.4675 | -135.9804 | -127.4918 | -186.6359 | 355.5927
5 | 41.5381 | 11.8523 | -151.3077 | -123.4082 | -219.9725 | 385.3121
6 | 43.9944 | 34.8337 | -142.3057 | -100.9516 | -239.9309 | 429.2125
7 | 40.2093 | 106.6932 | -100.017 | -74.2791 | -232.6572 | 491.7659
8 | 34.6611 | 193.3932 | -60.1002 | -69.5117 | -205.0218 | 384.6709
9 | 28.542 | 223.9393 | -11.4194 | -43.0521 | -99.6495 | 236.8623
10 | 30.3791 | 219.162 | 7.9979 | -37.8976 | -20.4073 | 140.8607
11 | 18.1851 | 219.1237 | -31.458 | -71.3761 | -39.6991 | 8.9491
12 | 14.792 | 209.7325 | -37.0148 | -79.6497 | -30.2964 | -25.0307
13 | 27.5895 | 179.109 | -71.6789 | -85.1913 | -109.7994 | 79.5356
14 | 31.5575 | 178.977 | -79.6782 | -94.2198 | -142.8242 | 120.0723
15 | 33.5681 | 198.7921 | -99.5635 | -98.1066 | -197.7669 | 179.1679
16 | 47.8438 | 198.9957 | -91.8356 | -64.283 | -249.1668 | 306.6178
17 | 6.451 | 198.9922 | -7.3291 | 20.0955 | -95.9052 | 188.4383
18 | -14.9025 | 199.0014 | 31.965 | 43.9327 | -37.9814 | 114.6249
19 | -11.2103 | 218.7079 | 32.3926 | 23.6307 | -36.546 | 95.6752
20 | 5.9914 | 218.9953 | 18.4245 | -11.3057 | -57.8377 | 131.5451
21 | 16.2287 | 199.6748 | 25.8086 | -22.576 | -38.597 | 132.8147
22 | 35.3438 | 198.9134 | -7.4054 | -48.4872 | -88.3331 | 235.8339
23 | 44.5975 | 193.7437 | -39.7387 | -80.6368 | -153.7912 | 264.9624
24 | 45.936 | 120.6807 | -69.039 | -82.4463 | -133.4028 | 236.861
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-02-15
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 682.04
|  |  | 01:00 - 02:00 | 549.37
|  |  | 02:00 - 03:00 | 464.15
|  |  | 03:00 - 04:00 | 449.14
|  |  | 04:00 - 05:00 | 464.33
|  |  | 05:00 - 06:00 | 519.24
|  |  | 06:00 - 07:00 | 1003.55
|  |  | 07:00 - 08:00 | 1381.92
|  |  | 08:00 - 09:00 | 1386.47
|  |  | 09:00 - 10:00 | 1378.49
|  |  | 10:00 - 11:00 | 1166.78
|  |  | 11:00 - 12:00 | 996.42
|  |  | 12:00 - 13:00 | 947.14
|  |  | 13:00 - 14:00 | 966.45
|  |  | 14:00 - 15:00 | 1020.41
|  |  | 15:00 - 16:00 | 1137.73
|  |  | 16:00 - 17:00 | 1409.06
|  |  | 17:00 - 18:00 | 1534.78
|  |  | 18:00 - 19:00 | 1617.5
|  |  | 19:00 - 20:00 | 1610.12
|  |  | 20:00 - 21:00 | 1577.93
|  |  | 21:00 - 22:00 | 1476.12
|  |  | 22:00 - 23:00 | 1258.13
|  |  | 23:00 - 00:00 | 990.06
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 99.8131 | 0 | 0 | 94.4882 | 0 | 0 | 0
2 | 0 | 0.58237 | 0 | 0 | 90.9432 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 4.7187 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 2.1774 | 0 | 0 | 1.3359 | 0 | 0 | 0
7 | 0 | 99.8053 | 0 | 3.1881 | 106.7081 | 0 | 0 | 3.1763
8 | 55.8161 | 99.9119 | 0 | 99.2794 | 111.0606 | 0 | 0 | 127.561
9 | 109.4201 | 114.9578 | 0 | 109.2315 | 102.6383 | 0 | 0 | 118.3773
10 | 94.8691 | 109.9674 | 0 | 109.4198 | 93.8921 | 0 | 0 | 95.8493
11 | 0.46788 | 109.9596 | 0 | 109.3815 | 101.0779 | 0 | 0 | 103.0194
12 | 0 | 100.5549 | 0 | 109.3978 | 102.1373 | 0 | 0 | 89.1064
13 | 0 | 89.8229 | 0 | 89.4934 | 89.277 | 0 | 0 | 94.6305
14 | 0 | 89.8399 | 0 | 89.3547 | 99.2066 | 0 | 0 | 109.5491
15 | 0 | 99.84 | 0 | 99.1969 | 114.9866 | 0.97468 | 0 | 118.1016
16 | 0 | 99.907 | 0 | 99.3265 | 90.3028 | 88.9698 | 0 | 106.3941
17 | 0 | 99.9074 | 0 | 99.3085 | 132.6593 | 109.2039 | 49.863 | 111.9441
18 | 0 | 99.8705 | 0 | 99.3083 | 116.0436 | 129.0434 | 128.8738 | 114.7014
19 | 0 | 109.8345 | 0 | 109.1024 | 134.774 | 142.8514 | 142.9192 | 106.2326
20 | 0 | 109.9083 | 0 | 109.3127 | 129.9099 | 138.9481 | 138.9467 | 99.3953
21 | 0 | 100.1972 | 0 | 99.6917 | 124.9222 | 138.9428 | 138.9254 | 106.971
22 | 0 | 99.7915 | 0 | 99.3312 | 118.0356 | 119.1391 | 119.1618 | 112.2581
23 | 0 | 99.8019 | 0 | 99.3142 | 101.2141 | 89.4346 | 1.5718 | 118.8009
24 | 0 | 99.9134 | 0 | 1.0517 | 136.2064 | 0.52655 | 0 | 120.0027
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 260.5731 | 1936.3643 | 0 | 1633.6903 | 2196.5385 | 958.0341 | 720.2616 | 1856.0709
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 737
Neni 5.12 | Rezerva energjitike | [5 empty] | 1073.9 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 672.48 | 17.9971
|  | 2 | 583.19 | 19.0678
|  | 3 | 541.71 | 22.7285
|  | 4 | 527.18 | 23.7388
|  | 5 | 534 | 21.0673
|  | 6 | 599 | 17.253
|  | 7 | 783.46 | 19.6666
|  | 8 | 1047.6 | 26.603
|  | 9 | 1144.16 | 32.9055
|  | 10 | 1153.89 | 32.5349
|  | 11 | 1123.81 | 28.9763
|  | 12 | 1043.94 | 30.2928
|  | 13 | 1044.64 | 29.6784
|  | 14 | 1029.51 | 30.0293
|  | 15 | 1043.85 | 29.9909
|  | 16 | 1056.7 | 33.7561
|  | 17 | 1083.35 | 32.6008
|  | 18 | 1177.5 | 34.9922
|  | 19 | 1193.12 | 36.7063
|  | 20 | 1138.35 | 37.5044
|  | 21 | 1100.6 | 34.976
|  | 22 | 989.45 | 30.4092
|  | 23 | 831.55 | 26.205
|  | 24 | 647.25 | 22.0775
|  | 25 | 648.11 | 21.4125
|  | 26 | 562.27 | 20.3841
|  | 27 | 522.15 | 19.6254
|  | 28 | 509.23 | 20.5793
|  | 29 | 529.05 | 22.1713
|  | 30 | 582.92 | 25.3114
|  | 31 | 767.7 | 31.064
|  | 32 | 1034.07 | 37.1342
|  | 33 | 1101.57 | 32.0125
|  | 34 | 1067.79 | 27.0378
|  | 35 | 1010.06 | 20.775
|  | 36 | 963.47 | 19.1089
|  | 37 | 942.06 | 20.8623
|  | 38 | 968.38 | 23.374
|  | 39 | 996.35 | 27.0523
|  | 40 | 1006.48 | 34.579
|  | 41 | 1038.34 | 29.5065
|  | 42 | 1187.85 | 34.2797
|  | 43 | 1260.23 | 37.3743
|  | 44 | 1254.3 | 37.2411
|  | 45 | 1225 | 36.2821
|  | 46 | 1113.99 | 34.3338
|  | 47 | 954.74 | 30.7429
|  | 48 | 776.86 | 23.8806
|  | 49 | 628.65 | 16.3122
|  | 50 | 544.87 | 14.8239
|  | 51 | 508.05 | 13.5823
|  | 52 | 497.04 | 12.0421
|  | 53 | 506.14 | 11.632
|  | 54 | 571.02 | 11.4783
|  | 55 | 756.66 | 18.064
|  | 56 | 1019.82 | 26.5706
|  | 57 | 1093.47 | 27.8979
|  | 58 | 1067.69 | 25.5993
|  | 59 | 1003.68 | 28.8737
|  | 60 | 953.72 | 32.7747
|  | 61 | 930.95 | 28.3937
|  | 62 | 953.04 | 27.6876
|  | 63 | 976.3 | 25.4449
|  | 64 | 985.27 | 20.799
|  | 65 | 1020.17 | 24.194
|  | 66 | 1167.2 | 30.6799
|  | 67 | 1240.52 | 35.9717
|  | 68 | 1246.43 | 35.0836
|  | 69 | 1217.63 | 34.237
|  | 70 | 1107.74 | 27.6146
|  | 71 | 964.06 | 20.6684
|  | 72 | 809.66 | 16.0228
|  | 73 | 672.04 | 13.4622
|  | 74 | 578.37 | 11.0655
|  | 75 | 534.25 | 10.7826
|  | 76 | 519.94 | 10.5393
|  | 77 | 524.23 | 10.3198
|  | 78 | 596.14 | 11.4159
|  | 79 | 781.55 | 18.9759
|  | 80 | 1046.92 | 27.4347
|  | 81 | 1112.47 | 26.6045
|  | 82 | 1115.49 | 24.8072
|  | 83 | 1031.78 | 22.0375
|  | 84 | 978.42 | 21.6135
|  | 85 | 955.14 | 21.8126
|  | 86 | 992.45 | 20.6868
|  | 87 | 1011.41 | 20.2774
|  | 88 | 1028.73 | 19.257
|  | 89 | 1072.06 | 27.426
|  | 90 | 1216.78 | 32.5451
|  | 91 | 1305.5 | 35.7339
|  | 92 | 1299.12 | 35.3999
|  | 93 | 1267.93 | 34.3046
|  | 94 | 1157.12 | 29.0499
|  | 95 | 1003.13 | 22.5576
|  | 96 | 819.06 | 16.7164
|  | 97 | 663.55 | 11.9083
|  | 98 | 592.28 | 11.28
|  | 99 | 546.64 | 11.0151
|  | 100 | 532.03 | 10.456
|  | 101 | 541.02 | 10.543
|  | 102 | 608.63 | 13.8445
|  | 103 | 792.85 | 21.9495
|  | 104 | 1060.23 | 27.641
|  | 105 | 1127.97 | 26.7013
|  | 106 | 1103.39 | 24.5709
|  | 107 | 1008.68 | 21.8151
|  | 108 | 959.12 | 21.4656
|  | 109 | 938.44 | 18.8276
|  | 110 | 959.22 | 19.4854
|  | 111 | 987.99 | 19.689
|  | 112 | 1000.75 | 23.0934
|  | 113 | 1044.08 | 28.1989
|  | 114 | 1198.69 | 31.1418
|  | 115 | 1282.22 | 40.0833
|  | 116 | 1277.51 | 40.7869
|  | 117 | 1246.13 | 43.4953
|  | 118 | 1133.43 | 36.8229
|  | 119 | 975.13 | 30.2865
|  | 120 | 784.23 | 22.3015
|  | 121 | 623.35 | 15.0395
|  | 122 | 548.6 | 14.2388
|  | 123 | 515.27 | 13.9795
|  | 124 | 500.76 | 13.9912
|  | 125 | 509.27 | 14.3331
|  | 126 | 571.97 | 15.2942
|  | 127 | 724.11 | 19.3417
|  | 128 | 943.39 | 19.9622
|  | 129 | 1066.22 | 22.8607
|  | 130 | 1079.61 | 22.3949
|  | 131 | 1040.65 | 22.0973
|  | 132 | 994.87 | 23.0297
|  | 133 | 986.56 | 22.2142
|  | 134 | 1001.62 | 24.0383
|  | 135 | 1030.9 | 18.4502
|  | 136 | 1040.25 | 17.6959
|  | 137 | 1072.69 | 27.666
|  | 138 | 1198.16 | 36.8177
|  | 139 | 1258.01 | 43.2916
|  | 140 | 1246.18 | 40.3985
|  | 141 | 1208.47 | 41.3526
|  | 142 | 1100.81 | 39.7097
|  | 143 | 938.63 | 31.6615
|  | 144 | 785.13 | 24.3617
|  | 145 | 704.08 | 22.1079
|  | 146 | 604.36 | 19.8989
|  | 147 | 539.13 | 18.2148
|  | 148 | 514.25 | 17.9774
|  | 149 | 515.03 | 18.4393
|  | 150 | 553.12 | 19.6301
|  | 151 | 655.88 | 21.8889
|  | 152 | 840.76 | 19.0689
|  | 153 | 997.68 | 18.0186
|  | 154 | 1030.3 | 17.7922
|  | 155 | 986.47 | 17.0567
|  | 156 | 931.77 | 16.4212
|  | 157 | 883.28 | 16.4367
|  | 158 | 891.44 | 15.0131
|  | 159 | 887.08 | 14.9551
|  | 160 | 911.17 | 18.684
|  | 161 | 991.27 | 29.2698
|  | 162 | 1202.52 | 39.1841
|  | 163 | 1281.51 | 48.1975
|  | 164 | 1285.38 | 47.5713
|  | 165 | 1255.64 | 43.4111
|  | 166 | 1138.33 | 39.0936
|  | 167 | 963.64 | 31.8024
|  | 168 | 769.73 | 21.6199
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-02-15
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 22620.03 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-02-13
|  | Hour | Production | Exchange | Consumption
|  | 1 | 726.7932 | 116.552 | 610.2412
|  | 2 | 558.8431 | 19.949 | 538.8941
|  | 3 | 474.5997 | -29.809 | 504.4087
|  | 4 | 454.0799 | -42.164 | 496.2439
|  | 5 | 453.179 | -58.49 | 511.669
|  | 6 | 599.443 | 21.798 | 577.645
|  | 7 | 996.9119 | 228.956 | 767.9559
|  | 8 | 1283.3151 | 274.649 | 1008.6661
|  | 9 | 1388.4347 | 332.929 | 1055.5057
|  | 10 | 1363.2007 | 337.76 | 1025.4407
|  | 11 | 1067.142 | 101.916 | 965.226
|  | 12 | 975.5795 | 50.711 | 924.8685
|  | 13 | 933.8483 | 17.733 | 916.1153
|  | 14 | 937.7667 | 11.759 | 926.0077
|  | 15 | 962.8725 | 13.04 | 949.8325
|  | 16 | 1127.42 | 143.858 | 983.562
|  | 17 | 1346.2409 | 308.827 | 1037.4139
|  | 18 | 1504.3259 | 334.746 | 1169.5799
|  | 19 | 1565.0269 | 320.745 | 1244.2819
|  | 20 | 1544.8195 | 303.818 | 1241.0015
|  | 21 | 1527.7169 | 311.804 | 1215.9129
|  | 22 | 1436.5893 | 324.273 | 1112.3163
|  | 23 | 1189.3586 | 226.5 | 962.8586
|  | 24 | 925.5274 | 116.757 | 808.7704
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | February
| Aggregate Nr.3 | Fierze | 125 | Hidro
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | February
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | February
| Aggregate Nr.2 | Koman | 150 | Hidro
| Aggregate Nr.3 | Koman | 150 | Hidro
| Aggregate Nr.4 | Koman | 150 | Hidro | Preventive Maintenance | February
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 39.5428 | 87.2663 | -87.2056 | -102.6225 | -138.2358 | 319.3679
2 | 39.7477 | 40.8493 | -111.4317 | -114.8539 | -158.1108 | 325.4011
3 | 39.3282 | 19.8576 | -124.0146 | -122.2857 | -161.9654 | 320.8298
4 | 41.6623 | 12.4675 | -135.9804 | -127.4918 | -186.6359 | 355.5927
5 | 41.5381 | 11.8523 | -151.3077 | -123.4082 | -219.9725 | 385.3121
6 | 43.9944 | 34.8337 | -142.3057 | -100.9516 | -239.9309 | 429.2125
7 | 40.2093 | 106.6932 | -100.017 | -74.2791 | -232.6572 | 491.7659
8 | 34.6611 | 193.3932 | -60.1002 | -69.5117 | -205.0218 | 384.6709
9 | 28.542 | 223.9393 | -11.4194 | -43.0521 | -99.6495 | 236.8623
10 | 30.3791 | 219.162 | 7.9979 | -37.8976 | -20.4073 | 140.8607
11 | 18.1851 | 219.1237 | -31.458 | -71.3761 | -39.6991 | 8.9491
12 | 14.792 | 209.7325 | -37.0148 | -79.6497 | -30.2964 | -25.0307
13 | 27.5895 | 179.109 | -71.6789 | -85.1913 | -109.7994 | 79.5356
14 | 31.5575 | 178.977 | -79.6782 | -94.2198 | -142.8242 | 120.0723
15 | 33.5681 | 198.7921 | -99.5635 | -98.1066 | -197.7669 | 179.1679
16 | 47.8438 | 198.9957 | -91.8356 | -64.283 | -249.1668 | 306.6178
17 | 6.451 | 198.9922 | -7.3291 | 20.0955 | -95.9052 | 188.4383
18 | -14.9025 | 199.0014 | 31.965 | 43.9327 | -37.9814 | 114.6249
19 | -11.2103 | 218.7079 | 32.3926 | 23.6307 | -36.546 | 95.6752
20 | 5.9914 | 218.9953 | 18.4245 | -11.3057 | -57.8377 | 131.5451
21 | 16.2287 | 199.6748 | 25.8086 | -22.576 | -38.597 | 132.8147
22 | 35.3438 | 198.9134 | -7.4054 | -48.4872 | -88.3331 | 235.8339
23 | 44.5975 | 193.7437 | -39.7387 | -80.6368 | -153.7912 | 264.9624
24 | 45.936 | 120.6807 | -69.039 | -82.4463 | -133.4028 | 236.861
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2024-02-15
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 682.04
|  |  | 01:00 - 02:00 | 549.37
|  |  | 02:00 - 03:00 | 464.15
|  |  | 03:00 - 04:00 | 449.14
|  |  | 04:00 - 05:00 | 464.33
|  |  | 05:00 - 06:00 | 519.24
|  |  | 06:00 - 07:00 | 1003.55
|  |  | 07:00 - 08:00 | 1381.92
|  |  | 08:00 - 09:00 | 1386.47
|  |  | 09:00 - 10:00 | 1378.49
|  |  | 10:00 - 11:00 | 1166.78
|  |  | 11:00 - 12:00 | 996.42
|  |  | 12:00 - 13:00 | 947.14
|  |  | 13:00 - 14:00 | 966.45
|  |  | 14:00 - 15:00 | 1020.41
|  |  | 15:00 - 16:00 | 1137.73
|  |  | 16:00 - 17:00 | 1409.06
|  |  | 17:00 - 18:00 | 1534.78
|  |  | 18:00 - 19:00 | 1617.5
|  |  | 19:00 - 20:00 | 1610.12
|  |  | 20:00 - 21:00 | 1577.93
|  |  | 21:00 - 22:00 | 1476.12
|  |  | 22:00 - 23:00 | 1258.13
|  |  | 23:00 - 00:00 | 990.06
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 99.8131 | 0 | 0 | 94.4882 | 0 | 0 | 0
2 | 0 | 0.58237 | 0 | 0 | 90.9432 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 4.7187 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 2.1774 | 0 | 0 | 1.3359 | 0 | 0 | 0
7 | 0 | 99.8053 | 0 | 3.1881 | 106.7081 | 0 | 0 | 3.1763
8 | 55.8161 | 99.9119 | 0 | 99.2794 | 111.0606 | 0 | 0 | 127.561
9 | 109.4201 | 114.9578 | 0 | 109.2315 | 102.6383 | 0 | 0 | 118.3773
10 | 94.8691 | 109.9674 | 0 | 109.4198 | 93.8921 | 0 | 0 | 95.8493
11 | 0.46788 | 109.9596 | 0 | 109.3815 | 101.0779 | 0 | 0 | 103.0194
12 | 0 | 100.5549 | 0 | 109.3978 | 102.1373 | 0 | 0 | 89.1064
13 | 0 | 89.8229 | 0 | 89.4934 | 89.277 | 0 | 0 | 94.6305
14 | 0 | 89.8399 | 0 | 89.3547 | 99.2066 | 0 | 0 | 109.5491
15 | 0 | 99.84 | 0 | 99.1969 | 114.9866 | 0.97468 | 0 | 118.1016
16 | 0 | 99.907 | 0 | 99.3265 | 90.3028 | 88.9698 | 0 | 106.3941
17 | 0 | 99.9074 | 0 | 99.3085 | 132.6593 | 109.2039 | 49.863 | 111.9441
18 | 0 | 99.8705 | 0 | 99.3083 | 116.0436 | 129.0434 | 128.8738 | 114.7014
19 | 0 | 109.8345 | 0 | 109.1024 | 134.774 | 142.8514 | 142.9192 | 106.2326
20 | 0 | 109.9083 | 0 | 109.3127 | 129.9099 | 138.9481 | 138.9467 | 99.3953
21 | 0 | 100.1972 | 0 | 99.6917 | 124.9222 | 138.9428 | 138.9254 | 106.971
22 | 0 | 99.7915 | 0 | 99.3312 | 118.0356 | 119.1391 | 119.1618 | 112.2581
23 | 0 | 99.8019 | 0 | 99.3142 | 101.2141 | 89.4346 | 1.5718 | 118.8009
24 | 0 | 99.9134 | 0 | 1.0517 | 136.2064 | 0.52655 | 0 | 120.0027
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 260.5731 | 1836.5512 | 0 | 1633.6903 | 2102.0503 | 958.0341 | 720.2616 | 1856.0709
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 737
Art. 5.12 | Energy reserve | [5 empty] | 1073.9 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 672.48 | 17.9971
|  | 2 | 583.19 | 19.0678
|  | 3 | 541.71 | 22.7285
|  | 4 | 527.18 | 23.7388
|  | 5 | 534 | 21.0673
|  | 6 | 599 | 17.253
|  | 7 | 783.46 | 19.6666
|  | 8 | 1047.6 | 26.603
|  | 9 | 1144.16 | 32.9055
|  | 10 | 1153.89 | 32.5349
|  | 11 | 1123.81 | 28.9763
|  | 12 | 1043.94 | 30.2928
|  | 13 | 1044.64 | 29.6784
|  | 14 | 1029.51 | 30.0293
|  | 15 | 1043.85 | 29.9909
|  | 16 | 1056.7 | 33.7561
|  | 17 | 1083.35 | 32.6008
|  | 18 | 1177.5 | 34.9922
|  | 19 | 1193.12 | 36.7063
|  | 20 | 1138.35 | 37.5044
|  | 21 | 1100.6 | 34.976
|  | 22 | 989.45 | 30.4092
|  | 23 | 831.55 | 26.205
|  | 24 | 647.25 | 22.0775
|  | 25 | 648.11 | 21.4125
|  | 26 | 562.27 | 20.3841
|  | 27 | 522.15 | 19.6254
|  | 28 | 509.23 | 20.5793
|  | 29 | 529.05 | 22.1713
|  | 30 | 582.92 | 25.3114
|  | 31 | 767.7 | 31.064
|  | 32 | 1034.07 | 37.1342
|  | 33 | 1101.57 | 32.0125
|  | 34 | 1067.79 | 27.0378
|  | 35 | 1010.06 | 20.775
|  | 36 | 963.47 | 19.1089
|  | 37 | 942.06 | 20.8623
|  | 38 | 968.38 | 23.374
|  | 39 | 996.35 | 27.0523
|  | 40 | 1006.48 | 34.579
|  | 41 | 1038.34 | 29.5065
|  | 42 | 1187.85 | 34.2797
|  | 43 | 1260.23 | 37.3743
|  | 44 | 1254.3 | 37.2411
|  | 45 | 1225 | 36.2821
|  | 46 | 1113.99 | 34.3338
|  | 47 | 954.74 | 30.7429
|  | 48 | 776.86 | 23.8806
|  | 49 | 628.65 | 16.3122
|  | 50 | 544.87 | 14.8239
|  | 51 | 508.05 | 13.5823
|  | 52 | 497.04 | 12.0421
|  | 53 | 506.14 | 11.632
|  | 54 | 571.02 | 11.4783
|  | 55 | 756.66 | 18.064
|  | 56 | 1019.82 | 26.5706
|  | 57 | 1093.47 | 27.8979
|  | 58 | 1067.69 | 25.5993
|  | 59 | 1003.68 | 28.8737
|  | 60 | 953.72 | 32.7747
|  | 61 | 930.95 | 28.3937
|  | 62 | 953.04 | 27.6876
|  | 63 | 976.3 | 25.4449
|  | 64 | 985.27 | 20.799
|  | 65 | 1020.17 | 24.194
|  | 66 | 1167.2 | 30.6799
|  | 67 | 1240.52 | 35.9717
|  | 68 | 1246.43 | 35.0836
|  | 69 | 1217.63 | 34.237
|  | 70 | 1107.74 | 27.6146
|  | 71 | 964.06 | 20.6684
|  | 72 | 809.66 | 16.0228
|  | 73 | 672.04 | 13.4622
|  | 74 | 578.37 | 11.0655
|  | 75 | 534.25 | 10.7826
|  | 76 | 519.94 | 10.5393
|  | 77 | 524.23 | 10.3198
|  | 78 | 596.14 | 11.4159
|  | 79 | 781.55 | 18.9759
|  | 80 | 1046.92 | 27.4347
|  | 81 | 1112.47 | 26.6045
|  | 82 | 1115.49 | 24.8072
|  | 83 | 1031.78 | 22.0375
|  | 84 | 978.42 | 21.6135
|  | 85 | 955.14 | 21.8126
|  | 86 | 992.45 | 20.6868
|  | 87 | 1011.41 | 20.2774
|  | 88 | 1028.73 | 19.257
|  | 89 | 1072.06 | 27.426
|  | 90 | 1216.78 | 32.5451
|  | 91 | 1305.5 | 35.7339
|  | 92 | 1299.12 | 35.3999
|  | 93 | 1267.93 | 34.3046
|  | 94 | 1157.12 | 29.0499
|  | 95 | 1003.13 | 22.5576
|  | 96 | 819.06 | 16.7164
|  | 97 | 663.55 | 11.9083
|  | 98 | 592.28 | 11.28
|  | 99 | 546.64 | 11.0151
|  | 100 | 532.03 | 10.456
|  | 101 | 541.02 | 10.543
|  | 102 | 608.63 | 13.8445
|  | 103 | 792.85 | 21.9495
|  | 104 | 1060.23 | 27.641
|  | 105 | 1127.97 | 26.7013
|  | 106 | 1103.39 | 24.5709
|  | 107 | 1008.68 | 21.8151
|  | 108 | 959.12 | 21.4656
|  | 109 | 938.44 | 18.8276
|  | 110 | 959.22 | 19.4854
|  | 111 | 987.99 | 19.689
|  | 112 | 1000.75 | 23.0934
|  | 113 | 1044.08 | 28.1989
|  | 114 | 1198.69 | 31.1418
|  | 115 | 1282.22 | 40.0833
|  | 116 | 1277.51 | 40.7869
|  | 117 | 1246.13 | 43.4953
|  | 118 | 1133.43 | 36.8229
|  | 119 | 975.13 | 30.2865
|  | 120 | 784.23 | 22.3015
|  | 121 | 623.35 | 15.0395
|  | 122 | 548.6 | 14.2388
|  | 123 | 515.27 | 13.9795
|  | 124 | 500.76 | 13.9912
|  | 125 | 509.27 | 14.3331
|  | 126 | 571.97 | 15.2942
|  | 127 | 724.11 | 19.3417
|  | 128 | 943.39 | 19.9622
|  | 129 | 1066.22 | 22.8607
|  | 130 | 1079.61 | 22.3949
|  | 131 | 1040.65 | 22.0973
|  | 132 | 994.87 | 23.0297
|  | 133 | 986.56 | 22.2142
|  | 134 | 1001.62 | 24.0383
|  | 135 | 1030.9 | 18.4502
|  | 136 | 1040.25 | 17.6959
|  | 137 | 1072.69 | 27.666
|  | 138 | 1198.16 | 36.8177
|  | 139 | 1258.01 | 43.2916
|  | 140 | 1246.18 | 40.3985
|  | 141 | 1208.47 | 41.3526
|  | 142 | 1100.81 | 39.7097
|  | 143 | 938.63 | 31.6615
|  | 144 | 785.13 | 24.3617
|  | 145 | 704.08 | 22.1079
|  | 146 | 604.36 | 19.8989
|  | 147 | 539.13 | 18.2148
|  | 148 | 514.25 | 17.9774
|  | 149 | 515.03 | 18.4393
|  | 150 | 553.12 | 19.6301
|  | 151 | 655.88 | 21.8889
|  | 152 | 840.76 | 19.0689
|  | 153 | 997.68 | 18.0186
|  | 154 | 1030.3 | 17.7922
|  | 155 | 986.47 | 17.0567
|  | 156 | 931.77 | 16.4212
|  | 157 | 883.28 | 16.4367
|  | 158 | 891.44 | 15.0131
|  | 159 | 887.08 | 14.9551
|  | 160 | 911.17 | 18.684
|  | 161 | 991.27 | 29.2698
|  | 162 | 1202.52 | 39.1841
|  | 163 | 1281.51 | 48.1975
|  | 164 | 1285.38 | 47.5713
|  | 165 | 1255.64 | 43.4111
|  | 166 | 1138.33 | 39.0936
|  | 167 | 963.64 | 31.8024
|  | 168 | 769.73 | 21.6199
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible