## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-03-16
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 20180 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-03-14
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 606.434 | -8.181 | 614.615
|  | 2 | 530.6731 | -7.216 | 537.8891
|  | 3 | 504.7414 | -49.386 | 554.1274
|  | 4 | 497.1128 | -77.371 | 574.4838
|  | 5 | 496.643 | -98.782 | 595.425
|  | 6 | 494.4474 | -122.584 | 617.0314
|  | 7 | 750.3021 | 17.031 | 733.2711
|  | 8 | 901.2265 | 37.209 | 864.0175
|  | 9 | 1018.5677 | 69.173 | 949.3947
|  | 10 | 1057.6507 | 109.19 | 948.4607
|  | 11 | 832.0676 | -67.241 | 899.3086
|  | 12 | 806.6552 | -51.876 | 858.5312
|  | 13 | 795.9998 | -46.72 | 842.7198
|  | 14 | 800.0749 | -46.241 | 846.3159
|  | 15 | 821.4702 | -15.205 | 836.6752
|  | 16 | 852.92 | 22.702 | 830.218
|  | 17 | 1031.7629 | 149.41 | 882.3529
|  | 18 | 1280.7054 | 294.491 | 986.2144
|  | 19 | 1381.6881 | 294.18 | 1087.5081
|  | 20 | 1375.972 | 283.79 | 1092.182
|  | 21 | 1341.9271 | 278.537 | 1063.3901
|  | 22 | 1198.2404 | 222.387 | 975.8534
|  | 23 | 948.4342 | 107.591 | 840.8432
|  | 24 | 705.9347 | 16.131 | 689.8037
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro | Remont Profilaktik
| Agregati Nr.3 | Fierze | 125 | Hidro | Remont Profilaktik
| Agregati Nr.2 | Koman | 150 | Hidro | Remont Profilaktik
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 65.8751 | 46.2865 | -165.5887 | -118.6956 | -238.0842 | 408.8048
2 | 64.6028 | 16.9687 | -169.0386 | -135.8849 | -228.7461 | 402.6078
3 | 62.1459 | 7.6818 | -185.9215 | -140.6426 | -244.7532 | 397.1772
4 | 62.4763 | 19.2601 | -185.6933 | -136.101 | -256.9056 | 397.7539
5 | 62.3329 | 15.7893 | -191.0312 | -133.3205 | -261.1526 | 392.46
6 | 61.2708 | 7.0999 | -184.0111 | -137.2203 | -250.8764 | 397.4249
7 | 44.5421 | 37.2699 | -137.141 | -99.3743 | -181.4588 | 345.5314
8 | 18.8228 | 78.1695 | -66.1792 | -74.0727 | -60.0983 | 182.547
9 | 3.0308 | 106.4278 | -37.0375 | -43.9649 | 8.3301 | 51.1141
10 | -0.67036 | 102.671 | -33.2633 | -57.5995 | 40.8442 | -4.5429
11 | -2.8566 | 92.8823 | -35.631 | -86.7009 | 50.5935 | -42.227
12 | -2.7001 | 87.1648 | -56.7596 | -88.4653 | 23.2512 | -18.2027
13 | 3.7914 | 76.9007 | -81.316 | -92.0425 | -25.6946 | 46.1816
14 | 7.1004 | 77.0632 | -86.8749 | -97.4647 | -48.6501 | 75.2545
15 | 22.11 | 86.045 | -113.9921 | -88.1169 | -131.3679 | 211.402
16 | 22.5017 | 100.8302 | -114.2689 | -73.9533 | -146.5713 | 244.2373
17 | 15.0061 | 142.1897 | -97.744 | -27.3273 | -143.3457 | 275.3359
18 | 10.7248 | 170.5544 | -72.815 | 7.4286 | -129.4057 | 283.7522
19 | 4.319 | 173.8066 | -54.8815 | 5.1964 | -115.5302 | 271.2988
20 | 15.9928 | 170.7701 | -76.9447 | -17.8182 | -161.7235 | 342.191
21 | 24.2036 | 152.2743 | -84.0655 | -42.8456 | -184.1307 | 414.1528
22 | 48.6339 | 121.8559 | -109.377 | -72.9921 | -233.3587 | 496.0779
23 | 46.5127 | 85.7491 | -145.9092 | -104.8675 | -237.7106 | 387.7907
24 | 54.4613 | 70.4438 | -170.3227 | -108.9188 | -260.6473 | 384.2064
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-03-16
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 594.19
|  |  | 01:00 - 02:00 | 472.46
|  |  | 02:00 - 03:00 | 433.88
|  |  | 03:00 - 04:00 | 483.87
|  |  | 04:00 - 05:00 | 488.36
|  |  | 05:00 - 06:00 | 426.67
|  |  | 06:00 - 07:00 | 540.82
|  |  | 07:00 - 08:00 | 715.08
|  |  | 08:00 - 09:00 | 846.17
|  |  | 09:00 - 10:00 | 893.83
|  |  | 10:00 - 11:00 | 883.72
|  |  | 11:00 - 12:00 | 860.46
|  |  | 12:00 - 13:00 | 854.24
|  |  | 13:00 - 14:00 | 860.94
|  |  | 14:00 - 15:00 | 871.12
|  |  | 15:00 - 16:00 | 857.82
|  |  | 16:00 - 17:00 | 912.99
|  |  | 17:00 - 18:00 | 1210.62
|  |  | 18:00 - 19:00 | 1337.92
|  |  | 19:00 - 20:00 | 1340.12
|  |  | 20:00 - 21:00 | 1308.88
|  |  | 21:00 - 22:00 | 1165.75
|  |  | 22:00 - 23:00 | 976.94
|  |  | 23:00 - 00:00 | 699.27
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 107.7679 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 1.0304 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0.76179 | 0 | 0
7 | 0 | 0 | 0 | 2.7288 | 0 | 105.2821 | 0 | 0
8 | 1.6284 | 0 | 0 | 92.5623 | 0 | 90.2854 | 0 | 0
9 | 89.6651 | 0 | 0 | 89.2398 | 0 | 96.9425 | 0 | 0
10 | 94.2242 | 0 | 0 | 98.7143 | 0 | 100.2405 | 0 | 0
11 | 99.6806 | 0 | 0 | 99.0559 | 0 | 103.8529 | 0 | 0
12 | 91.6272 | 0 | 0 | 91.0453 | 0 | 119.9892 | 0 | 0
13 | 89.8971 | 0 | 0 | 89.3344 | 0 | 91.7093 | 0 | 0
14 | 89.9118 | 0 | 0 | 89.3396 | 0 | 99.7523 | 0 | 0
15 | 89.9556 | 0 | 0 | 89.3126 | 0 | 94.7334 | 0 | 0
16 | 89.9608 | 0 | 0 | 89.3245 | 0 | 103.5371 | 0 | 0
17 | 94.6167 | 0 | 0 | 94.0402 | 2.8286 | 109.9745 | 18.4817 | 0
18 | 94.9504 | 0 | 0 | 94.3352 | 92.4423 | 101.5959 | 91.8306 | 0
19 | 109.7453 | 0 | 0 | 109.2152 | 128.7876 | 90.3099 | 118.9741 | 0
20 | 109.8492 | 0 | 0 | 109.3233 | 123.0051 | 89.4853 | 119.0826 | 0
21 | 83.5161 | 0 | 0 | 99.5363 | 113.0852 | 94.2785 | 119.0837 | 0
22 | 0 | 0 | 0 | 99.4093 | 108.1557 | 97.4683 | 104.1946 | 0
23 | 0 | 0 | 0 | 99.3937 | 79.2034 | 106.7762 | 0 | 0
24 | 0 | 0 | 0 | 83.6862 | 0 | 116.7536 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1229.2284 | 0 | 0 | 1619.5968 | 756.3063 | 1813.7286 | 571.6473 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 670.1 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 1026 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 613.19 | 13.6475
|  | 2 | 549.8 | 12.8009
|  | 3 | 565.19 | 11.4338
|  | 4 | 551.39 | 12.0992
|  | 5 | 561.67 | 12.9098
|  | 6 | 630.08 | 15.2044
|  | 7 | 814.47 | 14.5684
|  | 8 | 1036.56 | 17.5277
|  | 9 | 1102.48 | 18.7844
|  | 10 | 1117.12 | 20.7525
|  | 11 | 1083.01 | 24.3819
|  | 12 | 1054.55 | 24.7665
|  | 13 | 1052.07 | 26.7995
|  | 14 | 1086.06 | 31.3071
|  | 15 | 1036.25 | 40.0473
|  | 16 | 1050.73 | 38.1017
|  | 17 | 1061.2 | 33.2876
|  | 18 | 1144.82 | 37.4459
|  | 19 | 1233.29 | 36.1582
|  | 20 | 1218.99 | 37.9106
|  | 21 | 1171.6 | 37.1569
|  | 22 | 1056.33 | 29.819
|  | 23 | 897.54 | 25.3961
|  | 24 | 754.32 | 23.4987
|  | 25 | 588.33 | 18.4267
|  | 26 | 546.78 | 17.9568
|  | 27 | 538.25 | 19.279
|  | 28 | 527.83 | 18.2407
|  | 29 | 536.96 | 18.6699
|  | 30 | 609.31 | 24.1297
|  | 31 | 777.93 | 23.908
|  | 32 | 986.44 | 26.4359
|  | 33 | 1058.18 | 25.7683
|  | 34 | 1057.33 | 24.529
|  | 35 | 1006.15 | 24.8008
|  | 36 | 945.26 | 27.0894
|  | 37 | 949.11 | 24.3076
|  | 38 | 966.95 | 23.6119
|  | 39 | 1017.96 | 22.3535
|  | 40 | 1006 | 23.1984
|  | 41 | 1044.46 | 25.9178
|  | 42 | 1118.68 | 27.4372
|  | 43 | 1134.24 | 30.2596
|  | 44 | 1137.63 | 31.279
|  | 45 | 1109.39 | 32.11
|  | 46 | 1000.72 | 28.6201
|  | 47 | 843.01 | 25.6152
|  | 48 | 648.72 | 23.037
|  | 49 | 652.87 | 19.6194
|  | 50 | 570.81 | 18.9911
|  | 51 | 594.7 | 18.7602
|  | 52 | 582.69 | 19.124
|  | 53 | 580.59 | 20.2572
|  | 54 | 657.39 | 25.5398
|  | 55 | 792.99 | 20.7391
|  | 56 | 1001.88 | 21.5733
|  | 57 | 1058.61 | 21.8168
|  | 58 | 1073.21 | 22.404
|  | 59 | 1028.79 | 21.5529
|  | 60 | 936.78 | 19.3205
|  | 61 | 927.8 | 19.303
|  | 62 | 965.26 | 20.2346
|  | 63 | 937.05 | 20.2828
|  | 64 | 947.62 | 20.6855
|  | 65 | 961 | 22.013
|  | 66 | 1033.14 | 25.6657
|  | 67 | 1157.49 | 30.0585
|  | 68 | 1162.89 | 30.994
|  | 69 | 1137.51 | 32.6102
|  | 70 | 1039.12 | 30.8413
|  | 71 | 851.12 | 30.2098
|  | 72 | 713.52 | 28.1195
|  | 73 | 616.9 | 23.4341
|  | 74 | 552.39 | 22.6822
|  | 75 | 572.91 | 22.805
|  | 76 | 572.6 | 22.2106
|  | 77 | 573.29 | 23.35
|  | 78 | 638.4 | 24.4285
|  | 79 | 767.99 | 21.7309
|  | 80 | 952.29 | 17.7714
|  | 81 | 1056.52 | 17.3847
|  | 82 | 1052.72 | 17.7653
|  | 83 | 977.71 | 16.0483
|  | 84 | 859.9 | 15.7002
|  | 85 | 837.62 | 15.2334
|  | 86 | 840.32 | 15.8538
|  | 87 | 809.6 | 16.9168
|  | 88 | 837.39 | 18.879
|  | 89 | 869.61 | 22.3252
|  | 90 | 1055.94 | 24.9918
|  | 91 | 1130.7 | 27.979
|  | 92 | 1147 | 30.3996
|  | 93 | 1120.61 | 31.5257
|  | 94 | 1018.43 | 27.8278
|  | 95 | 884.12 | 27.8166
|  | 96 | 736.89 | 25.2392
|  | 97 | 582 | 24.3347
|  | 98 | 528.19 | 23.0797
|  | 99 | 547.51 | 22.6765
|  | 100 | 546.81 | 22.6517
|  | 101 | 543.19 | 22.6696
|  | 102 | 607.5 | 23.0068
|  | 103 | 728.29 | 22.1502
|  | 104 | 916.39 | 19.3724
|  | 105 | 1030.02 | 17.8257
|  | 106 | 1024.42 | 16.0138
|  | 107 | 969.01 | 15.1827
|  | 108 | 922.2 | 14.4578
|  | 109 | 885.12 | 14.6241
|  | 110 | 882.12 | 15.9604
|  | 111 | 852 | 17.8635
|  | 112 | 837.39 | 19.5693
|  | 113 | 906.71 | 20.5291
|  | 114 | 1038.84 | 24.4023
|  | 115 | 1149.9 | 26.6556
|  | 116 | 1151.4 | 29.484
|  | 117 | 1119.41 | 31.471
|  | 118 | 1023.73 | 33.7118
|  | 119 | 867.52 | 25.3052
|  | 120 | 723.59 | 24.113
|  | 121 | 612.9 | 20.692
|  | 122 | 567.39 | 22.0422
|  | 123 | 536.81 | 20.373
|  | 124 | 546.7 | 20.9868
|  | 125 | 557.79 | 21.0718
|  | 126 | 593.7 | 20.1599
|  | 127 | 706.49 | 20.515
|  | 128 | 858.69 | 19.5767
|  | 129 | 962.32 | 18.2514
|  | 130 | 969.42 | 16.3045
|  | 131 | 956.31 | 14.6598
|  | 132 | 922 | 14.9211
|  | 133 | 915.72 | 14.8457
|  | 134 | 921.42 | 17.5277
|  | 135 | 928.6 | 16.8258
|  | 136 | 912.29 | 18.8734
|  | 137 | 877.51 | 23.5669
|  | 138 | 1018.14 | 30.4337
|  | 139 | 1113.5 | 33.0043
|  | 140 | 1110.7 | 31.9681
|  | 141 | 1078.51 | 34.7726
|  | 142 | 988.23 | 31.1061
|  | 143 | 846.52 | 27.3559
|  | 144 | 677.89 | 22.8638
|  | 145 | 664.4 | 23.02
|  | 146 | 608.3 | 21.2542
|  | 147 | 552.9 | 21.2153
|  | 148 | 532.87 | 21.5002
|  | 149 | 535.68 | 19.9157
|  | 150 | 598.94 | 19.8753
|  | 151 | 670.75 | 18.502
|  | 152 | 824.43 | 16.9414
|  | 153 | 921.86 | 16.0908
|  | 154 | 939.79 | 14.5016
|  | 155 | 910.58 | 13.0892
|  | 156 | 889.88 | 12.657
|  | 157 | 836.04 | 13.3557
|  | 158 | 843.13 | 14.5387
|  | 159 | 840.97 | 16.9215
|  | 160 | 855.67 | 18.998
|  | 161 | 836.29 | 23.3218
|  | 162 | 989.96 | 23.6454
|  | 163 | 1113.22 | 25.2187
|  | 164 | 1132.71 | 24.6747
|  | 165 | 1107.2 | 26.6118
|  | 166 | 998.95 | 25.6494
|  | 167 | 843.73 | 21.1496
|  | 168 | 652.09 | 14.8885
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-03-16
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 20180 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-03-14
|  | Hour | Production | Exchange | Consumption
|  | 1 | 606.434 | -8.181 | 614.615
|  | 2 | 530.6731 | -7.216 | 537.8891
|  | 3 | 504.7414 | -49.386 | 554.1274
|  | 4 | 497.1128 | -77.371 | 574.4838
|  | 5 | 496.643 | -98.782 | 595.425
|  | 6 | 494.4474 | -122.584 | 617.0314
|  | 7 | 750.3021 | 17.031 | 733.2711
|  | 8 | 901.2265 | 37.209 | 864.0175
|  | 9 | 1018.5677 | 69.173 | 949.3947
|  | 10 | 1057.6507 | 109.19 | 948.4607
|  | 11 | 832.0676 | -67.241 | 899.3086
|  | 12 | 806.6552 | -51.876 | 858.5312
|  | 13 | 795.9998 | -46.72 | 842.7198
|  | 14 | 800.0749 | -46.241 | 846.3159
|  | 15 | 821.4702 | -15.205 | 836.6752
|  | 16 | 852.92 | 22.702 | 830.218
|  | 17 | 1031.7629 | 149.41 | 882.3529
|  | 18 | 1280.7054 | 294.491 | 986.2144
|  | 19 | 1381.6881 | 294.18 | 1087.5081
|  | 20 | 1375.972 | 283.79 | 1092.182
|  | 21 | 1341.9271 | 278.537 | 1063.3901
|  | 22 | 1198.2404 | 222.387 | 975.8534
|  | 23 | 948.4342 | 107.591 | 840.8432
|  | 24 | 705.9347 | 16.131 | 689.8037
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.2 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 65.8751 | 46.2865 | -165.5887 | -118.6956 | -238.0842 | 408.8048
2 | 64.6028 | 16.9687 | -169.0386 | -135.8849 | -228.7461 | 402.6078
3 | 62.1459 | 7.6818 | -185.9215 | -140.6426 | -244.7532 | 397.1772
4 | 62.4763 | 19.2601 | -185.6933 | -136.101 | -256.9056 | 397.7539
5 | 62.3329 | 15.7893 | -191.0312 | -133.3205 | -261.1526 | 392.46
6 | 61.2708 | 7.0999 | -184.0111 | -137.2203 | -250.8764 | 397.4249
7 | 44.5421 | 37.2699 | -137.141 | -99.3743 | -181.4588 | 345.5314
8 | 18.8228 | 78.1695 | -66.1792 | -74.0727 | -60.0983 | 182.547
9 | 3.0308 | 106.4278 | -37.0375 | -43.9649 | 8.3301 | 51.1141
10 | -0.67036 | 102.671 | -33.2633 | -57.5995 | 40.8442 | -4.5429
11 | -2.8566 | 92.8823 | -35.631 | -86.7009 | 50.5935 | -42.227
12 | -2.7001 | 87.1648 | -56.7596 | -88.4653 | 23.2512 | -18.2027
13 | 3.7914 | 76.9007 | -81.316 | -92.0425 | -25.6946 | 46.1816
14 | 7.1004 | 77.0632 | -86.8749 | -97.4647 | -48.6501 | 75.2545
15 | 22.11 | 86.045 | -113.9921 | -88.1169 | -131.3679 | 211.402
16 | 22.5017 | 100.8302 | -114.2689 | -73.9533 | -146.5713 | 244.2373
17 | 15.0061 | 142.1897 | -97.744 | -27.3273 | -143.3457 | 275.3359
18 | 10.7248 | 170.5544 | -72.815 | 7.4286 | -129.4057 | 283.7522
19 | 4.319 | 173.8066 | -54.8815 | 5.1964 | -115.5302 | 271.2988
20 | 15.9928 | 170.7701 | -76.9447 | -17.8182 | -161.7235 | 342.191
21 | 24.2036 | 152.2743 | -84.0655 | -42.8456 | -184.1307 | 414.1528
22 | 48.6339 | 121.8559 | -109.377 | -72.9921 | -233.3587 | 496.0779
23 | 46.5127 | 85.7491 | -145.9092 | -104.8675 | -237.7106 | 387.7907
24 | 54.4613 | 70.4438 | -170.3227 | -108.9188 | -260.6473 | 384.2064
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2024-03-16
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 594.19
|  |  | 01:00 - 02:00 | 472.46
|  |  | 02:00 - 03:00 | 433.88
|  |  | 03:00 - 04:00 | 483.87
|  |  | 04:00 - 05:00 | 488.36
|  |  | 05:00 - 06:00 | 426.67
|  |  | 06:00 - 07:00 | 540.82
|  |  | 07:00 - 08:00 | 715.08
|  |  | 08:00 - 09:00 | 846.17
|  |  | 09:00 - 10:00 | 893.83
|  |  | 10:00 - 11:00 | 883.72
|  |  | 11:00 - 12:00 | 860.46
|  |  | 12:00 - 13:00 | 854.24
|  |  | 13:00 - 14:00 | 860.94
|  |  | 14:00 - 15:00 | 871.12
|  |  | 15:00 - 16:00 | 857.82
|  |  | 16:00 - 17:00 | 912.99
|  |  | 17:00 - 18:00 | 1210.62
|  |  | 18:00 - 19:00 | 1337.92
|  |  | 19:00 - 20:00 | 1340.12
|  |  | 20:00 - 21:00 | 1308.88
|  |  | 21:00 - 22:00 | 1165.75
|  |  | 22:00 - 23:00 | 976.94
|  |  | 23:00 - 00:00 | 699.27
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 107.7679 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 1.0304 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0.76179 | 0 | 0
7 | 0 | 0 | 0 | 2.7288 | 0 | 105.2821 | 0 | 0
8 | 1.6284 | 0 | 0 | 92.5623 | 0 | 90.2854 | 0 | 0
9 | 89.6651 | 0 | 0 | 89.2398 | 0 | 96.9425 | 0 | 0
10 | 94.2242 | 0 | 0 | 98.7143 | 0 | 100.2405 | 0 | 0
11 | 99.6806 | 0 | 0 | 99.0559 | 0 | 103.8529 | 0 | 0
12 | 91.6272 | 0 | 0 | 91.0453 | 0 | 119.9892 | 0 | 0
13 | 89.8971 | 0 | 0 | 89.3344 | 0 | 91.7093 | 0 | 0
14 | 89.9118 | 0 | 0 | 89.3396 | 0 | 99.7523 | 0 | 0
15 | 89.9556 | 0 | 0 | 89.3126 | 0 | 94.7334 | 0 | 0
16 | 89.9608 | 0 | 0 | 89.3245 | 0 | 103.5371 | 0 | 0
17 | 94.6167 | 0 | 0 | 94.0402 | 2.8286 | 109.9745 | 18.4817 | 0
18 | 94.9504 | 0 | 0 | 94.3352 | 92.4423 | 101.5959 | 91.8306 | 0
19 | 109.7453 | 0 | 0 | 109.2152 | 128.7876 | 90.3099 | 118.9741 | 0
20 | 109.8492 | 0 | 0 | 109.3233 | 123.0051 | 89.4853 | 119.0826 | 0
21 | 83.5161 | 0 | 0 | 99.5363 | 113.0852 | 94.2785 | 119.0837 | 0
22 | 0 | 0 | 0 | 99.4093 | 108.1557 | 97.4683 | 104.1946 | 0
23 | 0 | 0 | 0 | 99.3937 | 79.2034 | 106.7762 | 0 | 0
24 | 0 | 0 | 0 | 83.6862 | 0 | 116.7536 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1229.2284 | 0 | 0 | 1619.5968 | 648.5384 | 1813.7286 | 571.6473 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 670.1 MWh
Art. 5.12 | Energy reserve | [5 empty] | 1026 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 613.19 | 13.6475
|  | 2 | 549.8 | 12.8009
|  | 3 | 565.19 | 11.4338
|  | 4 | 551.39 | 12.0992
|  | 5 | 561.67 | 12.9098
|  | 6 | 630.08 | 15.2044
|  | 7 | 814.47 | 14.5684
|  | 8 | 1036.56 | 17.5277
|  | 9 | 1102.48 | 18.7844
|  | 10 | 1117.12 | 20.7525
|  | 11 | 1083.01 | 24.3819
|  | 12 | 1054.55 | 24.7665
|  | 13 | 1052.07 | 26.7995
|  | 14 | 1086.06 | 31.3071
|  | 15 | 1036.25 | 40.0473
|  | 16 | 1050.73 | 38.1017
|  | 17 | 1061.2 | 33.2876
|  | 18 | 1144.82 | 37.4459
|  | 19 | 1233.29 | 36.1582
|  | 20 | 1218.99 | 37.9106
|  | 21 | 1171.6 | 37.1569
|  | 22 | 1056.33 | 29.819
|  | 23 | 897.54 | 25.3961
|  | 24 | 754.32 | 23.4987
|  | 25 | 588.33 | 18.4267
|  | 26 | 546.78 | 17.9568
|  | 27 | 538.25 | 19.279
|  | 28 | 527.83 | 18.2407
|  | 29 | 536.96 | 18.6699
|  | 30 | 609.31 | 24.1297
|  | 31 | 777.93 | 23.908
|  | 32 | 986.44 | 26.4359
|  | 33 | 1058.18 | 25.7683
|  | 34 | 1057.33 | 24.529
|  | 35 | 1006.15 | 24.8008
|  | 36 | 945.26 | 27.0894
|  | 37 | 949.11 | 24.3076
|  | 38 | 966.95 | 23.6119
|  | 39 | 1017.96 | 22.3535
|  | 40 | 1006 | 23.1984
|  | 41 | 1044.46 | 25.9178
|  | 42 | 1118.68 | 27.4372
|  | 43 | 1134.24 | 30.2596
|  | 44 | 1137.63 | 31.279
|  | 45 | 1109.39 | 32.11
|  | 46 | 1000.72 | 28.6201
|  | 47 | 843.01 | 25.6152
|  | 48 | 648.72 | 23.037
|  | 49 | 652.87 | 19.6194
|  | 50 | 570.81 | 18.9911
|  | 51 | 594.7 | 18.7602
|  | 52 | 582.69 | 19.124
|  | 53 | 580.59 | 20.2572
|  | 54 | 657.39 | 25.5398
|  | 55 | 792.99 | 20.7391
|  | 56 | 1001.88 | 21.5733
|  | 57 | 1058.61 | 21.8168
|  | 58 | 1073.21 | 22.404
|  | 59 | 1028.79 | 21.5529
|  | 60 | 936.78 | 19.3205
|  | 61 | 927.8 | 19.303
|  | 62 | 965.26 | 20.2346
|  | 63 | 937.05 | 20.2828
|  | 64 | 947.62 | 20.6855
|  | 65 | 961 | 22.013
|  | 66 | 1033.14 | 25.6657
|  | 67 | 1157.49 | 30.0585
|  | 68 | 1162.89 | 30.994
|  | 69 | 1137.51 | 32.6102
|  | 70 | 1039.12 | 30.8413
|  | 71 | 851.12 | 30.2098
|  | 72 | 713.52 | 28.1195
|  | 73 | 616.9 | 23.4341
|  | 74 | 552.39 | 22.6822
|  | 75 | 572.91 | 22.805
|  | 76 | 572.6 | 22.2106
|  | 77 | 573.29 | 23.35
|  | 78 | 638.4 | 24.4285
|  | 79 | 767.99 | 21.7309
|  | 80 | 952.29 | 17.7714
|  | 81 | 1056.52 | 17.3847
|  | 82 | 1052.72 | 17.7653
|  | 83 | 977.71 | 16.0483
|  | 84 | 859.9 | 15.7002
|  | 85 | 837.62 | 15.2334
|  | 86 | 840.32 | 15.8538
|  | 87 | 809.6 | 16.9168
|  | 88 | 837.39 | 18.879
|  | 89 | 869.61 | 22.3252
|  | 90 | 1055.94 | 24.9918
|  | 91 | 1130.7 | 27.979
|  | 92 | 1147 | 30.3996
|  | 93 | 1120.61 | 31.5257
|  | 94 | 1018.43 | 27.8278
|  | 95 | 884.12 | 27.8166
|  | 96 | 736.89 | 25.2392
|  | 97 | 582 | 24.3347
|  | 98 | 528.19 | 23.0797
|  | 99 | 547.51 | 22.6765
|  | 100 | 546.81 | 22.6517
|  | 101 | 543.19 | 22.6696
|  | 102 | 607.5 | 23.0068
|  | 103 | 728.29 | 22.1502
|  | 104 | 916.39 | 19.3724
|  | 105 | 1030.02 | 17.8257
|  | 106 | 1024.42 | 16.0138
|  | 107 | 969.01 | 15.1827
|  | 108 | 922.2 | 14.4578
|  | 109 | 885.12 | 14.6241
|  | 110 | 882.12 | 15.9604
|  | 111 | 852 | 17.8635
|  | 112 | 837.39 | 19.5693
|  | 113 | 906.71 | 20.5291
|  | 114 | 1038.84 | 24.4023
|  | 115 | 1149.9 | 26.6556
|  | 116 | 1151.4 | 29.484
|  | 117 | 1119.41 | 31.471
|  | 118 | 1023.73 | 33.7118
|  | 119 | 867.52 | 25.3052
|  | 120 | 723.59 | 24.113
|  | 121 | 612.9 | 20.692
|  | 122 | 567.39 | 22.0422
|  | 123 | 536.81 | 20.373
|  | 124 | 546.7 | 20.9868
|  | 125 | 557.79 | 21.0718
|  | 126 | 593.7 | 20.1599
|  | 127 | 706.49 | 20.515
|  | 128 | 858.69 | 19.5767
|  | 129 | 962.32 | 18.2514
|  | 130 | 969.42 | 16.3045
|  | 131 | 956.31 | 14.6598
|  | 132 | 922 | 14.9211
|  | 133 | 915.72 | 14.8457
|  | 134 | 921.42 | 17.5277
|  | 135 | 928.6 | 16.8258
|  | 136 | 912.29 | 18.8734
|  | 137 | 877.51 | 23.5669
|  | 138 | 1018.14 | 30.4337
|  | 139 | 1113.5 | 33.0043
|  | 140 | 1110.7 | 31.9681
|  | 141 | 1078.51 | 34.7726
|  | 142 | 988.23 | 31.1061
|  | 143 | 846.52 | 27.3559
|  | 144 | 677.89 | 22.8638
|  | 145 | 664.4 | 23.02
|  | 146 | 608.3 | 21.2542
|  | 147 | 552.9 | 21.2153
|  | 148 | 532.87 | 21.5002
|  | 149 | 535.68 | 19.9157
|  | 150 | 598.94 | 19.8753
|  | 151 | 670.75 | 18.502
|  | 152 | 824.43 | 16.9414
|  | 153 | 921.86 | 16.0908
|  | 154 | 939.79 | 14.5016
|  | 155 | 910.58 | 13.0892
|  | 156 | 889.88 | 12.657
|  | 157 | 836.04 | 13.3557
|  | 158 | 843.13 | 14.5387
|  | 159 | 840.97 | 16.9215
|  | 160 | 855.67 | 18.998
|  | 161 | 836.29 | 23.3218
|  | 162 | 989.96 | 23.6454
|  | 163 | 1113.22 | 25.2187
|  | 164 | 1132.71 | 24.6747
|  | 165 | 1107.2 | 26.6118
|  | 166 | 998.95 | 25.6494
|  | 167 | 843.73 | 21.1496
|  | 168 | 652.09 | 14.8885
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible