## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-03-17
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 19700 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-03-15
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 575.3019 | -1.4023 | 576.7042
|  | 2 | 467.7448 | -49.4903 | 517.2351
|  | 3 | 427.266 | -104.3124 | 531.5784
|  | 4 | 474.8616 | -99.2095 | 574.0711
|  | 5 | 459.8071 | -114.9221 | 574.7292
|  | 6 | 478.4089 | -106.3122 | 584.7211
|  | 7 | 710.1958 | 9.3693 | 700.8265
|  | 8 | 926.2223 | 79.1892 | 847.0332
|  | 9 | 982.0176 | 87.9004 | 894.1172
|  | 10 | 972.3845 | 47.439 | 924.9455
|  | 11 | 866.8907 | -23.9396 | 890.8303
|  | 12 | 807.8507 | -55.7116 | 863.5623
|  | 13 | 778.4717 | -72.1795 | 850.6512
|  | 14 | 802.9496 | -73.5717 | 876.5212
|  | 15 | 826.3422 | -13.92 | 840.2621
|  | 16 | 882.8528 | 32.7757 | 850.0771
|  | 17 | 1043.0177 | 164.1147 | 878.903
|  | 18 | 1251.0366 | 270.2392 | 980.7974
|  | 19 | 1367.3675 | 284.2091 | 1083.1584
|  | 20 | 1364.4512 | 272.4675 | 1091.9837
|  | 21 | 1337.7035 | 279.5889 | 1058.1146
|  | 22 | 1223.8241 | 250.8399 | 972.9842
|  | 23 | 872.5069 | 31.5652 | 840.9417
|  | 24 | 665.0376 | -30.7774 | 695.815
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro | Remont Profilaktik
| Agregati Nr.3 | Fierze | 125 | Hidro | Remont Profilaktik
| Agregati Nr.2 | Koman | 150 | Hidro | Remont Profilaktik
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 48.3564 | 48.9093 | -153.3313 | -100.3484 | -215.7926 | 329.7918
2 | 57.7898 | 13.2907 | -179.8278 | -129.7078 | -263.1444 | 391.4627
3 | 56.1286 | 5.5678 | -172.9781 | -134.972 | -236.8827 | 365.7121
4 | 59.6127 | 15.3018 | -180.2167 | -127.5467 | -262.8998 | 386.9288
5 | 59.7042 | 10.3301 | -175.6531 | -134.0785 | -259.3436 | 388.4306
6 | 54.2956 | -11.9616 | -183.8348 | -150.2581 | -251.6774 | 367.2178
7 | 50.4045 | -9.9398 | -161.8025 | -163.5153 | -223.0556 | 352.851
8 | 40.1689 | -1.7308 | -120.8464 | -180.3175 | -158.4899 | 249.7143
9 | 20.5973 | 24.0579 | -73.5374 | -172.9793 | -66.0657 | 132.4096
10 | 8.459 | 46.0218 | -47.3257 | -147.2325 | -9.4241 | 75.5152
11 | -7.4178 | 42.1862 | 3.8749 | -154.974 | 107.3023 | -83.1031
12 | 3.833 | 41.3687 | -12.7979 | -162.2993 | 67.3344 | -19.2968
13 | 6.3115 | 41.9542 | -28.1717 | -162.2735 | 44.3628 | 22.0902
14 | 26.5964 | 38.1548 | -72.8129 | -173.8598 | -62.9745 | 167.0693
15 | 20.7998 | 47.8562 | -70.4065 | -157.7286 | -66.6086 | 155.4507
16 | 25.0702 | 60.8318 | -114.09 | -131.2593 | -161.2047 | 243.1935
17 | 37.1151 | 94.4996 | -113.5518 | -105.1191 | -200.9414 | 298.1293
18 | 44.0965 | 148.1839 | -115.1027 | -58.1156 | -239.9658 | 393.3284
19 | 43.2529 | 148.0981 | -89.4974 | -59.1252 | -213.3304 | 365.5366
20 | 39.9422 | 143.599 | -79.5302 | -64.9765 | -192.0791 | 349.9621
21 | 53.4866 | 128.1141 | -93.0835 | -83.2914 | -223.4051 | 414.7993
22 | 54.8793 | 109.7744 | -122.1039 | -97.0035 | -242.6753 | 425.3947
23 | 58.3422 | 99.6522 | -138.848 | -101.8838 | -249.9948 | 428.1765
24 | 51.8135 | 71.064 | -151.8119 | -114.6927 | -237.9552 | 357.1939
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-03-17
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 667.78
|  |  | 01:00 - 02:00 | 548.47
|  |  | 02:00 - 03:00 | 466.21
|  |  | 03:00 - 04:00 | 520.44
|  |  | 04:00 - 05:00 | 476.99
|  |  | 05:00 - 06:00 | 449.25
|  |  | 06:00 - 07:00 | 452.97
|  |  | 07:00 - 08:00 | 659.8
|  |  | 08:00 - 09:00 | 811.83
|  |  | 09:00 - 10:00 | 871.46
|  |  | 10:00 - 11:00 | 840.99
|  |  | 11:00 - 12:00 | 824.24
|  |  | 12:00 - 13:00 | 768.4
|  |  | 13:00 - 14:00 | 774.52
|  |  | 14:00 - 15:00 | 778.33
|  |  | 15:00 - 16:00 | 792.99
|  |  | 16:00 - 17:00 | 840.6
|  |  | 17:00 - 18:00 | 1176.28
|  |  | 18:00 - 19:00 | 1333.49
|  |  | 19:00 - 20:00 | 1356.68
|  |  | 20:00 - 21:00 | 1319.39
|  |  | 21:00 - 22:00 | 1170.42
|  |  | 22:00 - 23:00 | 994.05
|  |  | 23:00 - 00:00 | 671.34
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 99.0653 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0.20686 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6453
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.1866
8 | 0 | 0 | 0 | 49.5247 | 0 | 0 | 2.3329 | 116.0216
9 | 0 | 0 | 0 | 91.904 | 0 | 0 | 89.4214 | 107.4291
10 | 0 | 0 | 0 | 99.239 | 0 | 0 | 116.2296 | 91.1171
11 | 0 | 0 | 0 | 89.3143 | 0 | 0 | 89.4161 | 104.7995
12 | 0 | 0 | 0 | 90.9793 | 0 | 0 | 90.3883 | 95.9369
13 | 0 | 0 | 0 | 99.3684 | 0 | 0 | 106.2532 | 92.3146
14 | 0 | 0 | 0 | 99.3721 | 0 | 0 | 125.0964 | 91.5081
15 | 0 | 0 | 0 | 99.361 | 0 | 0 | 103.3881 | 89.4832
16 | 0 | 0 | 0 | 99.4048 | 0 | 0 | 94.7575 | 108.1795
17 | 1.0749 | 0 | 0 | 99.3953 | 0 | 0 | 111.2338 | 123.7577
18 | 98.7394 | 0 | 0 | 99.418 | 0 | 0 | 125.6506 | 111.463
19 | 109.8023 | 0 | 0 | 109.3432 | 0 | 0 | 135.0384 | 90.4926
20 | 109.7914 | 0 | 0 | 109.3746 | 0 | 0 | 136.0201 | 89.7135
21 | 100.5078 | 0 | 0 | 100.1449 | 0 | 0 | 138.9183 | 95.3426
22 | 90.1502 | 0 | 0 | 89.7905 | 0 | 0 | 119.6312 | 98.4348
23 | 89.6251 | 0 | 0 | 89.2854 | 0 | 0 | 1.4398 | 102.9492
24 | 0.54594 | 0 | 0 | 99.2752 | 0 | 0 | 0 | 118.6852
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 600.2371 | 0 | 0 | 1614.4948 | 0 | 99.2722 | 1585.2157 | 1818.4601
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 861.8 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 1026 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 613.19 | 13.6475
|  | 2 | 549.8 | 12.8009
|  | 3 | 565.19 | 11.4338
|  | 4 | 551.39 | 12.0992
|  | 5 | 561.67 | 12.9098
|  | 6 | 630.08 | 15.2044
|  | 7 | 814.47 | 14.5684
|  | 8 | 1036.56 | 17.5277
|  | 9 | 1102.48 | 18.7844
|  | 10 | 1117.12 | 20.7525
|  | 11 | 1083.01 | 24.3819
|  | 12 | 1054.55 | 24.7665
|  | 13 | 1052.07 | 26.7995
|  | 14 | 1086.06 | 31.3071
|  | 15 | 1036.25 | 40.0473
|  | 16 | 1050.73 | 38.1017
|  | 17 | 1061.2 | 33.2876
|  | 18 | 1144.82 | 37.4459
|  | 19 | 1233.29 | 36.1582
|  | 20 | 1218.99 | 37.9106
|  | 21 | 1171.6 | 37.1569
|  | 22 | 1056.33 | 29.819
|  | 23 | 897.54 | 25.3961
|  | 24 | 754.32 | 23.4987
|  | 25 | 588.33 | 18.4267
|  | 26 | 546.78 | 17.9568
|  | 27 | 538.25 | 19.279
|  | 28 | 527.83 | 18.2407
|  | 29 | 536.96 | 18.6699
|  | 30 | 609.31 | 24.1297
|  | 31 | 777.93 | 23.908
|  | 32 | 986.44 | 26.4359
|  | 33 | 1058.18 | 25.7683
|  | 34 | 1057.33 | 24.529
|  | 35 | 1006.15 | 24.8008
|  | 36 | 945.26 | 27.0894
|  | 37 | 949.11 | 24.3076
|  | 38 | 966.95 | 23.6119
|  | 39 | 1017.96 | 22.3535
|  | 40 | 1006 | 23.1984
|  | 41 | 1044.46 | 25.9178
|  | 42 | 1118.68 | 27.4372
|  | 43 | 1134.24 | 30.2596
|  | 44 | 1137.63 | 31.279
|  | 45 | 1109.39 | 32.11
|  | 46 | 1000.72 | 28.6201
|  | 47 | 843.01 | 25.6152
|  | 48 | 648.72 | 23.037
|  | 49 | 652.87 | 19.6194
|  | 50 | 570.81 | 18.9911
|  | 51 | 594.7 | 18.7602
|  | 52 | 582.69 | 19.124
|  | 53 | 580.59 | 20.2572
|  | 54 | 657.39 | 25.5398
|  | 55 | 792.99 | 20.7391
|  | 56 | 1001.88 | 21.5733
|  | 57 | 1058.61 | 21.8168
|  | 58 | 1073.21 | 22.404
|  | 59 | 1028.79 | 21.5529
|  | 60 | 936.78 | 19.3205
|  | 61 | 927.8 | 19.303
|  | 62 | 965.26 | 20.2346
|  | 63 | 937.05 | 20.2828
|  | 64 | 947.62 | 20.6855
|  | 65 | 961 | 22.013
|  | 66 | 1033.14 | 25.6657
|  | 67 | 1157.49 | 30.0585
|  | 68 | 1162.89 | 30.994
|  | 69 | 1137.51 | 32.6102
|  | 70 | 1039.12 | 30.8413
|  | 71 | 851.12 | 30.2098
|  | 72 | 713.52 | 28.1195
|  | 73 | 616.9 | 23.4341
|  | 74 | 552.39 | 22.6822
|  | 75 | 572.91 | 22.805
|  | 76 | 572.6 | 22.2106
|  | 77 | 573.29 | 23.35
|  | 78 | 638.4 | 24.4285
|  | 79 | 767.99 | 21.7309
|  | 80 | 952.29 | 17.7714
|  | 81 | 1056.52 | 17.3847
|  | 82 | 1052.72 | 17.7653
|  | 83 | 977.71 | 16.0483
|  | 84 | 859.9 | 15.7002
|  | 85 | 837.62 | 15.2334
|  | 86 | 840.32 | 15.8538
|  | 87 | 809.6 | 16.9168
|  | 88 | 837.39 | 18.879
|  | 89 | 869.61 | 22.3252
|  | 90 | 1055.94 | 24.9918
|  | 91 | 1130.7 | 27.979
|  | 92 | 1147 | 30.3996
|  | 93 | 1120.61 | 31.5257
|  | 94 | 1018.43 | 27.8278
|  | 95 | 884.12 | 27.8166
|  | 96 | 736.89 | 25.2392
|  | 97 | 582 | 24.3347
|  | 98 | 528.19 | 23.0797
|  | 99 | 547.51 | 22.6765
|  | 100 | 546.81 | 22.6517
|  | 101 | 543.19 | 22.6696
|  | 102 | 607.5 | 23.0068
|  | 103 | 728.29 | 22.1502
|  | 104 | 916.39 | 19.3724
|  | 105 | 1030.02 | 17.8257
|  | 106 | 1024.42 | 16.0138
|  | 107 | 969.01 | 15.1827
|  | 108 | 922.2 | 14.4578
|  | 109 | 885.12 | 14.6241
|  | 110 | 882.12 | 15.9604
|  | 111 | 852 | 17.8635
|  | 112 | 837.39 | 19.5693
|  | 113 | 906.71 | 20.5291
|  | 114 | 1038.84 | 24.4023
|  | 115 | 1149.9 | 26.6556
|  | 116 | 1151.4 | 29.484
|  | 117 | 1119.41 | 31.471
|  | 118 | 1023.73 | 33.7118
|  | 119 | 867.52 | 25.3052
|  | 120 | 723.59 | 24.113
|  | 121 | 612.9 | 20.692
|  | 122 | 567.39 | 22.0422
|  | 123 | 536.81 | 20.373
|  | 124 | 546.7 | 20.9868
|  | 125 | 557.79 | 21.0718
|  | 126 | 593.7 | 20.1599
|  | 127 | 706.49 | 20.515
|  | 128 | 858.69 | 19.5767
|  | 129 | 962.32 | 18.2514
|  | 130 | 969.42 | 16.3045
|  | 131 | 956.31 | 14.6598
|  | 132 | 922 | 14.9211
|  | 133 | 915.72 | 14.8457
|  | 134 | 921.42 | 17.5277
|  | 135 | 928.6 | 16.8258
|  | 136 | 912.29 | 18.8734
|  | 137 | 877.51 | 23.5669
|  | 138 | 1018.14 | 30.4337
|  | 139 | 1113.5 | 33.0043
|  | 140 | 1110.7 | 31.9681
|  | 141 | 1078.51 | 34.7726
|  | 142 | 988.23 | 31.1061
|  | 143 | 846.52 | 27.3559
|  | 144 | 677.89 | 22.8638
|  | 145 | 664.4 | 23.02
|  | 146 | 608.3 | 21.2542
|  | 147 | 552.9 | 21.2153
|  | 148 | 532.87 | 21.5002
|  | 149 | 535.68 | 19.9157
|  | 150 | 598.94 | 19.8753
|  | 151 | 670.75 | 18.502
|  | 152 | 824.43 | 16.9414
|  | 153 | 921.86 | 16.0908
|  | 154 | 939.79 | 14.5016
|  | 155 | 910.58 | 13.0892
|  | 156 | 889.88 | 12.657
|  | 157 | 836.04 | 13.3557
|  | 158 | 843.13 | 14.5387
|  | 159 | 840.97 | 16.9215
|  | 160 | 855.67 | 18.998
|  | 161 | 836.29 | 23.3218
|  | 162 | 989.96 | 23.6454
|  | 163 | 1113.22 | 25.2187
|  | 164 | 1132.71 | 24.6747
|  | 165 | 1107.2 | 26.6118
|  | 166 | 998.95 | 25.6494
|  | 167 | 843.73 | 21.1496
|  | 168 | 652.09 | 14.8885
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2024-03-17
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 19700 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-03-15
|  | Hour | Production | Exchange | Consumption
|  | 1 | 575.3019 | -1.4023 | 576.7042
|  | 2 | 467.7448 | -49.4903 | 517.2351
|  | 3 | 427.266 | -104.3124 | 531.5784
|  | 4 | 474.8616 | -99.2095 | 574.0711
|  | 5 | 459.8071 | -114.9221 | 574.7292
|  | 6 | 478.4089 | -106.3122 | 584.7211
|  | 7 | 710.1958 | 9.3693 | 700.8265
|  | 8 | 926.2223 | 79.1892 | 847.0332
|  | 9 | 982.0176 | 87.9004 | 894.1172
|  | 10 | 972.3845 | 47.439 | 924.9455
|  | 11 | 866.8907 | -23.9396 | 890.8303
|  | 12 | 807.8507 | -55.7116 | 863.5623
|  | 13 | 778.4717 | -72.1795 | 850.6512
|  | 14 | 802.9496 | -73.5717 | 876.5212
|  | 15 | 826.3422 | -13.92 | 840.2621
|  | 16 | 882.8528 | 32.7757 | 850.0771
|  | 17 | 1043.0177 | 164.1147 | 878.903
|  | 18 | 1251.0366 | 270.2392 | 980.7974
|  | 19 | 1367.3675 | 284.2091 | 1083.1584
|  | 20 | 1364.4512 | 272.4675 | 1091.9837
|  | 21 | 1337.7035 | 279.5889 | 1058.1146
|  | 22 | 1223.8241 | 250.8399 | 972.9842
|  | 23 | 872.5069 | 31.5652 | 840.9417
|  | 24 | 665.0376 | -30.7774 | 695.815
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Fierze | 125 | Hidro | Preventive Maintenance
| Aggregate Nr.2 | Koman | 150 | Hidro | Preventive Maintenance
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 350
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 48.3564 | 48.9093 | -153.3313 | -100.3484 | -215.7926 | 329.7918
2 | 57.7898 | 13.2907 | -179.8278 | -129.7078 | -263.1444 | 391.4627
3 | 56.1286 | 5.5678 | -172.9781 | -134.972 | -236.8827 | 365.7121
4 | 59.6127 | 15.3018 | -180.2167 | -127.5467 | -262.8998 | 386.9288
5 | 59.7042 | 10.3301 | -175.6531 | -134.0785 | -259.3436 | 388.4306
6 | 54.2956 | -11.9616 | -183.8348 | -150.2581 | -251.6774 | 367.2178
7 | 50.4045 | -9.9398 | -161.8025 | -163.5153 | -223.0556 | 352.851
8 | 40.1689 | -1.7308 | -120.8464 | -180.3175 | -158.4899 | 249.7143
9 | 20.5973 | 24.0579 | -73.5374 | -172.9793 | -66.0657 | 132.4096
10 | 8.459 | 46.0218 | -47.3257 | -147.2325 | -9.4241 | 75.5152
11 | -7.4178 | 42.1862 | 3.8749 | -154.974 | 107.3023 | -83.1031
12 | 3.833 | 41.3687 | -12.7979 | -162.2993 | 67.3344 | -19.2968
13 | 6.3115 | 41.9542 | -28.1717 | -162.2735 | 44.3628 | 22.0902
14 | 26.5964 | 38.1548 | -72.8129 | -173.8598 | -62.9745 | 167.0693
15 | 20.7998 | 47.8562 | -70.4065 | -157.7286 | -66.6086 | 155.4507
16 | 25.0702 | 60.8318 | -114.09 | -131.2593 | -161.2047 | 243.1935
17 | 37.1151 | 94.4996 | -113.5518 | -105.1191 | -200.9414 | 298.1293
18 | 44.0965 | 148.1839 | -115.1027 | -58.1156 | -239.9658 | 393.3284
19 | 43.2529 | 148.0981 | -89.4974 | -59.1252 | -213.3304 | 365.5366
20 | 39.9422 | 143.599 | -79.5302 | -64.9765 | -192.0791 | 349.9621
21 | 53.4866 | 128.1141 | -93.0835 | -83.2914 | -223.4051 | 414.7993
22 | 54.8793 | 109.7744 | -122.1039 | -97.0035 | -242.6753 | 425.3947
23 | 58.3422 | 99.6522 | -138.848 | -101.8838 | -249.9948 | 428.1765
24 | 51.8135 | 71.064 | -151.8119 | -114.6927 | -237.9552 | 357.1939
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2024-03-17
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 667.78
|  |  | 01:00 - 02:00 | 548.47
|  |  | 02:00 - 03:00 | 466.21
|  |  | 03:00 - 04:00 | 520.44
|  |  | 04:00 - 05:00 | 476.99
|  |  | 05:00 - 06:00 | 449.25
|  |  | 06:00 - 07:00 | 452.97
|  |  | 07:00 - 08:00 | 659.8
|  |  | 08:00 - 09:00 | 811.83
|  |  | 09:00 - 10:00 | 871.46
|  |  | 10:00 - 11:00 | 840.99
|  |  | 11:00 - 12:00 | 824.24
|  |  | 12:00 - 13:00 | 768.4
|  |  | 13:00 - 14:00 | 774.52
|  |  | 14:00 - 15:00 | 778.33
|  |  | 15:00 - 16:00 | 792.99
|  |  | 16:00 - 17:00 | 840.6
|  |  | 17:00 - 18:00 | 1176.28
|  |  | 18:00 - 19:00 | 1333.49
|  |  | 19:00 - 20:00 | 1356.68
|  |  | 20:00 - 21:00 | 1319.39
|  |  | 21:00 - 22:00 | 1170.42
|  |  | 22:00 - 23:00 | 994.05
|  |  | 23:00 - 00:00 | 671.34
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 99.0653 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0.20686 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6453
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.1866
8 | 0 | 0 | 0 | 49.5247 | 0 | 0 | 2.3329 | 116.0216
9 | 0 | 0 | 0 | 91.904 | 0 | 0 | 89.4214 | 107.4291
10 | 0 | 0 | 0 | 99.239 | 0 | 0 | 116.2296 | 91.1171
11 | 0 | 0 | 0 | 89.3143 | 0 | 0 | 89.4161 | 104.7995
12 | 0 | 0 | 0 | 90.9793 | 0 | 0 | 90.3883 | 95.9369
13 | 0 | 0 | 0 | 99.3684 | 0 | 0 | 106.2532 | 92.3146
14 | 0 | 0 | 0 | 99.3721 | 0 | 0 | 125.0964 | 91.5081
15 | 0 | 0 | 0 | 99.361 | 0 | 0 | 103.3881 | 89.4832
16 | 0 | 0 | 0 | 99.4048 | 0 | 0 | 94.7575 | 108.1795
17 | 1.0749 | 0 | 0 | 99.3953 | 0 | 0 | 111.2338 | 123.7577
18 | 98.7394 | 0 | 0 | 99.418 | 0 | 0 | 125.6506 | 111.463
19 | 109.8023 | 0 | 0 | 109.3432 | 0 | 0 | 135.0384 | 90.4926
20 | 109.7914 | 0 | 0 | 109.3746 | 0 | 0 | 136.0201 | 89.7135
21 | 100.5078 | 0 | 0 | 100.1449 | 0 | 0 | 138.9183 | 95.3426
22 | 90.1502 | 0 | 0 | 89.7905 | 0 | 0 | 119.6312 | 98.4348
23 | 89.6251 | 0 | 0 | 89.2854 | 0 | 0 | 1.4398 | 102.9492
24 | 0.54594 | 0 | 0 | 99.2752 | 0 | 0 | 0 | 118.6852
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 600.2371 | 0 | 0 | 1614.4948 | 0 | 0.20686 | 1585.2157 | 1818.4601
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 861.8 MWh
Art. 5.12 | Energy reserve | [5 empty] | 1026 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 613.19 | 13.6475
|  | 2 | 549.8 | 12.8009
|  | 3 | 565.19 | 11.4338
|  | 4 | 551.39 | 12.0992
|  | 5 | 561.67 | 12.9098
|  | 6 | 630.08 | 15.2044
|  | 7 | 814.47 | 14.5684
|  | 8 | 1036.56 | 17.5277
|  | 9 | 1102.48 | 18.7844
|  | 10 | 1117.12 | 20.7525
|  | 11 | 1083.01 | 24.3819
|  | 12 | 1054.55 | 24.7665
|  | 13 | 1052.07 | 26.7995
|  | 14 | 1086.06 | 31.3071
|  | 15 | 1036.25 | 40.0473
|  | 16 | 1050.73 | 38.1017
|  | 17 | 1061.2 | 33.2876
|  | 18 | 1144.82 | 37.4459
|  | 19 | 1233.29 | 36.1582
|  | 20 | 1218.99 | 37.9106
|  | 21 | 1171.6 | 37.1569
|  | 22 | 1056.33 | 29.819
|  | 23 | 897.54 | 25.3961
|  | 24 | 754.32 | 23.4987
|  | 25 | 588.33 | 18.4267
|  | 26 | 546.78 | 17.9568
|  | 27 | 538.25 | 19.279
|  | 28 | 527.83 | 18.2407
|  | 29 | 536.96 | 18.6699
|  | 30 | 609.31 | 24.1297
|  | 31 | 777.93 | 23.908
|  | 32 | 986.44 | 26.4359
|  | 33 | 1058.18 | 25.7683
|  | 34 | 1057.33 | 24.529
|  | 35 | 1006.15 | 24.8008
|  | 36 | 945.26 | 27.0894
|  | 37 | 949.11 | 24.3076
|  | 38 | 966.95 | 23.6119
|  | 39 | 1017.96 | 22.3535
|  | 40 | 1006 | 23.1984
|  | 41 | 1044.46 | 25.9178
|  | 42 | 1118.68 | 27.4372
|  | 43 | 1134.24 | 30.2596
|  | 44 | 1137.63 | 31.279
|  | 45 | 1109.39 | 32.11
|  | 46 | 1000.72 | 28.6201
|  | 47 | 843.01 | 25.6152
|  | 48 | 648.72 | 23.037
|  | 49 | 652.87 | 19.6194
|  | 50 | 570.81 | 18.9911
|  | 51 | 594.7 | 18.7602
|  | 52 | 582.69 | 19.124
|  | 53 | 580.59 | 20.2572
|  | 54 | 657.39 | 25.5398
|  | 55 | 792.99 | 20.7391
|  | 56 | 1001.88 | 21.5733
|  | 57 | 1058.61 | 21.8168
|  | 58 | 1073.21 | 22.404
|  | 59 | 1028.79 | 21.5529
|  | 60 | 936.78 | 19.3205
|  | 61 | 927.8 | 19.303
|  | 62 | 965.26 | 20.2346
|  | 63 | 937.05 | 20.2828
|  | 64 | 947.62 | 20.6855
|  | 65 | 961 | 22.013
|  | 66 | 1033.14 | 25.6657
|  | 67 | 1157.49 | 30.0585
|  | 68 | 1162.89 | 30.994
|  | 69 | 1137.51 | 32.6102
|  | 70 | 1039.12 | 30.8413
|  | 71 | 851.12 | 30.2098
|  | 72 | 713.52 | 28.1195
|  | 73 | 616.9 | 23.4341
|  | 74 | 552.39 | 22.6822
|  | 75 | 572.91 | 22.805
|  | 76 | 572.6 | 22.2106
|  | 77 | 573.29 | 23.35
|  | 78 | 638.4 | 24.4285
|  | 79 | 767.99 | 21.7309
|  | 80 | 952.29 | 17.7714
|  | 81 | 1056.52 | 17.3847
|  | 82 | 1052.72 | 17.7653
|  | 83 | 977.71 | 16.0483
|  | 84 | 859.9 | 15.7002
|  | 85 | 837.62 | 15.2334
|  | 86 | 840.32 | 15.8538
|  | 87 | 809.6 | 16.9168
|  | 88 | 837.39 | 18.879
|  | 89 | 869.61 | 22.3252
|  | 90 | 1055.94 | 24.9918
|  | 91 | 1130.7 | 27.979
|  | 92 | 1147 | 30.3996
|  | 93 | 1120.61 | 31.5257
|  | 94 | 1018.43 | 27.8278
|  | 95 | 884.12 | 27.8166
|  | 96 | 736.89 | 25.2392
|  | 97 | 582 | 24.3347
|  | 98 | 528.19 | 23.0797
|  | 99 | 547.51 | 22.6765
|  | 100 | 546.81 | 22.6517
|  | 101 | 543.19 | 22.6696
|  | 102 | 607.5 | 23.0068
|  | 103 | 728.29 | 22.1502
|  | 104 | 916.39 | 19.3724
|  | 105 | 1030.02 | 17.8257
|  | 106 | 1024.42 | 16.0138
|  | 107 | 969.01 | 15.1827
|  | 108 | 922.2 | 14.4578
|  | 109 | 885.12 | 14.6241
|  | 110 | 882.12 | 15.9604
|  | 111 | 852 | 17.8635
|  | 112 | 837.39 | 19.5693
|  | 113 | 906.71 | 20.5291
|  | 114 | 1038.84 | 24.4023
|  | 115 | 1149.9 | 26.6556
|  | 116 | 1151.4 | 29.484
|  | 117 | 1119.41 | 31.471
|  | 118 | 1023.73 | 33.7118
|  | 119 | 867.52 | 25.3052
|  | 120 | 723.59 | 24.113
|  | 121 | 612.9 | 20.692
|  | 122 | 567.39 | 22.0422
|  | 123 | 536.81 | 20.373
|  | 124 | 546.7 | 20.9868
|  | 125 | 557.79 | 21.0718
|  | 126 | 593.7 | 20.1599
|  | 127 | 706.49 | 20.515
|  | 128 | 858.69 | 19.5767
|  | 129 | 962.32 | 18.2514
|  | 130 | 969.42 | 16.3045
|  | 131 | 956.31 | 14.6598
|  | 132 | 922 | 14.9211
|  | 133 | 915.72 | 14.8457
|  | 134 | 921.42 | 17.5277
|  | 135 | 928.6 | 16.8258
|  | 136 | 912.29 | 18.8734
|  | 137 | 877.51 | 23.5669
|  | 138 | 1018.14 | 30.4337
|  | 139 | 1113.5 | 33.0043
|  | 140 | 1110.7 | 31.9681
|  | 141 | 1078.51 | 34.7726
|  | 142 | 988.23 | 31.1061
|  | 143 | 846.52 | 27.3559
|  | 144 | 677.89 | 22.8638
|  | 145 | 664.4 | 23.02
|  | 146 | 608.3 | 21.2542
|  | 147 | 552.9 | 21.2153
|  | 148 | 532.87 | 21.5002
|  | 149 | 535.68 | 19.9157
|  | 150 | 598.94 | 19.8753
|  | 151 | 670.75 | 18.502
|  | 152 | 824.43 | 16.9414
|  | 153 | 921.86 | 16.0908
|  | 154 | 939.79 | 14.5016
|  | 155 | 910.58 | 13.0892
|  | 156 | 889.88 | 12.657
|  | 157 | 836.04 | 13.3557
|  | 158 | 843.13 | 14.5387
|  | 159 | 840.97 | 16.9215
|  | 160 | 855.67 | 18.998
|  | 161 | 836.29 | 23.3218
|  | 162 | 989.96 | 23.6454
|  | 163 | 1113.22 | 25.2187
|  | 164 | 1132.71 | 24.6747
|  | 165 | 1107.2 | 26.6118
|  | 166 | 998.95 | 25.6494
|  | 167 | 843.73 | 21.1496
|  | 168 | 652.09 | 14.8885
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 11/03/20242 | 12/03/2024 | 13/03/2024 | 14/03/2024 | 15/03/2024 | 16/03/2024 | 17/03/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible