## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-02-18
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21333.82 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-02-16
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 650.2441 | 19.971 | 630.2731
|  | 2 | 583.2563 | 23.146 | 560.1103
|  | 3 | 547.3467 | 17.911 | 529.4357
|  | 4 | 528.56 | 8.781 | 519.779
|  | 5 | 521.4822 | -8.123 | 529.6052
|  | 6 | 584.2115 | -19.282 | 603.4935
|  | 7 | 913.1512 | 110.468 | 802.6832
|  | 8 | 1235.3533 | 175.55 | 1059.8033
|  | 9 | 1276.3721 | 175.989 | 1100.3831
|  | 10 | 1229.7684 | 188.373 | 1041.3954
|  | 11 | 1129.4797 | 164.397 | 965.0827
|  | 12 | 947.1175 | 34.347 | 912.7705
|  | 13 | 924.3936 | 37.707 | 886.6866
|  | 14 | 902.5639 | 1.463 | 901.1009
|  | 15 | 904.0649 | -10.271 | 914.3359
|  | 16 | 1035.999 | 94.392 | 941.607
|  | 17 | 1148.2638 | 155.21 | 993.0538
|  | 18 | 1408.824 | 263.2 | 1145.624
|  | 19 | 1575.5489 | 313.931 | 1261.6179
|  | 20 | 1581.9325 | 319.611 | 1262.3215
|  | 21 | 1546.1688 | 317.143 | 1229.0258
|  | 22 | 1315.3101 | 192.149 | 1123.1611
|  | 23 | 1011.0145 | 46.323 | 964.6915
|  | 24 | 837.6486 | 56.252 | 781.3966
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.1 | Koman | 150 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro | Remont profilaktik | Shkurt
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 6.4027 | 69.2658 | 44.3183 | -125.7371 | 135.994 | -109.7427
2 | 9.5805 | 44.511 | 49.5266 | -135.959 | 159.4495 | -102.9741
3 | 4.4615 | 28.7585 | 59.7443 | -133.4076 | 182.5609 | -123.2411
4 | 11.5137 | 23.0708 | 39.0354 | -134.7107 | 142.1253 | -71.6509
5 | 15.9996 | 23.029 | 17.837 | -132.627 | 103.0875 | -34.9255
6 | 33.894 | 26.4451 | -30.1356 | -146.1616 | -20.7245 | 117.8776
7 | 35.368 | 97.8639 | -23.6137 | -112.4251 | -93.0505 | 207.268
8 | 3.4302 | 198.7587 | 36.8668 | -77.5918 | 5.4755 | 9.8368
9 | -20.615 | 199.0376 | 92.1808 | -72.6663 | 161.6644 | -181.3484
10 | -9.7136 | 199.0234 | 90.048 | -76.5951 | 194.7886 | -206.0771
11 | -15.0244 | 199.0355 | 107.8822 | -83.6334 | 243.2613 | -283.8502
12 | -23.7672 | 199.0695 | 81.5566 | -112.3412 | 240.5249 | -347.081
13 | -17.0503 | 191.5056 | 69.3821 | -136.588 | 204.2961 | -271.2007
14 | -10.6009 | 99.1512 | 84.9224 | -129.3304 | 184.0124 | -225.1314
15 | 7.9483 | 99.1434 | 36.413 | -140.9232 | 50.6258 | -62.8102
16 | 27.2617 | 99.1817 | 17.948 | -109.8801 | -40.1883 | 100.7935
17 | 30.7817 | 153.497 | -8.3754 | -68.7472 | -119.659 | 169.2653
18 | 8.2492 | 198.956 | 18.7244 | -20.6309 | -60.6708 | 119.7291
19 | 11.1958 | 198.8985 | 20.9586 | -9.022 | -41.6721 | 135.3191
20 | 18.7074 | 198.9319 | 21.1414 | -29.053 | -44.3466 | 155.7823
21 | 37.3769 | 198.995 | -9.524 | -54.6417 | -96.3809 | 243.427
22 | 40.5318 | 198.9773 | -33.7817 | -109.4511 | -144.5149 | 243.138
23 | 47.9483 | 199.0617 | -78.386 | -143.4553 | -205.9196 | 230.273
24 | 48.2357 | 128.4356 | -73.3554 | -115.3668 | -134.1769 | 204.2772
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-02-18
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 708.08
|  |  | 01:00 - 02:00 | 585.36
|  |  | 02:00 - 03:00 | 510.13
|  |  | 03:00 - 04:00 | 477.75
|  |  | 04:00 - 05:00 | 486.53
|  |  | 05:00 - 06:00 | 524.62
|  |  | 06:00 - 07:00 | 645.88
|  |  | 07:00 - 08:00 | 829.06
|  |  | 08:00 - 09:00 | 966.38
|  |  | 09:00 - 10:00 | 1007.3
|  |  | 10:00 - 11:00 | 979.47
|  |  | 11:00 - 12:00 | 923.77
|  |  | 12:00 - 13:00 | 859.28
|  |  | 13:00 - 14:00 | 869.44
|  |  | 14:00 - 15:00 | 854.78
|  |  | 15:00 - 16:00 | 885.17
|  |  | 16:00 - 17:00 | 1018.27
|  |  | 17:00 - 18:00 | 1336.52
|  |  | 18:00 - 19:00 | 1484.51
|  |  | 19:00 - 20:00 | 1491.38
|  |  | 20:00 - 21:00 | 1460.64
|  |  | 21:00 - 22:00 | 1252.33
|  |  | 22:00 - 23:00 | 1037.64
|  |  | 23:00 - 00:00 | 818.73
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 109.9629 | 0 | 0 | 12.9423 | 0 | 109.5423 | 0
2 | 0 | 55.6792 | 0 | 0 | 0 | 0 | 107.9187 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 124.9527 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 127.2807 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 128.8965 | 0
6 | 0 | 3.3715 | 0 | 0 | 0 | 64.7067 | 129.1988 | 0
7 | 3.5664 | 99.8748 | 0 | 2.4362 | 0.84091 | 122.0425 | 120.7921 | 0
8 | 99.6063 | 99.8783 | 0 | 99.1216 | 111.3331 | 115.7626 | 129.3407 | 0
9 | 99.5919 | 99.9098 | 0 | 99.3662 | 126.9546 | 109.2798 | 109.0442 | 0
10 | 83.6148 | 99.924 | 0 | 99.3208 | 92.3231 | 99.2921 | 95.6577 | 0
11 | 0 | 99.9152 | 0 | 99.3499 | 106.0829 | 99.2779 | 93.1307 | 0
12 | 0 | 99.9569 | 0 | 99.3523 | 92.8553 | 94.0021 | 89.5648 | 0
13 | 0 | 92.3598 | 0 | 99.375 | 89.6741 | 89.8479 | 92.4945 | 0
14 | 0 | 0 | 0 | 99.3296 | 98.2223 | 109.1655 | 136.1099 | 0
15 | 0 | 0 | 0 | 99.3281 | 119.9672 | 109.2003 | 116.6688 | 0
16 | 0 | 0 | 0 | 99.3558 | 122.9636 | 109.2003 | 100.7028 | 0
17 | 5.4559 | 54.5132 | 0 | 99.3123 | 101.2489 | 109.2106 | 140.9805 | 0
18 | 99.6957 | 99.8547 | 5.2565 | 99.3407 | 119.9718 | 119.0574 | 125.0457 | 0.87072
19 | 99.6522 | 99.8391 | 99.7194 | 99.2924 | 107.1324 | 109.2159 | 114.4016 | 108.1316
20 | 99.696 | 99.8254 | 99.7201 | 99.3234 | 100.2036 | 109.2166 | 124.7168 | 108.9981
21 | 99.6912 | 99.866 | 99.7341 | 99.3546 | 113.0135 | 109.2035 | 118.8378 | 109.0023
22 | 99.6825 | 99.8713 | 99.7007 | 99.335 | 105.1252 | 0.84624 | 119.177 | 108.2281
23 | 99.7802 | 99.8909 | 0.70892 | 99.3932 | 105.104 | 0 | 106.1975 | 55.6057
24 | 0.56676 | 99.8095 | 0 | 99.3229 | 97.2199 | 0 | 115.7534 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 890.5998 | 1614.3025 | 404.8397 | 1691.0102 | 1823.1788 | 1678.5281 | 2776.4062 | 490.8365
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 696
Neni 5.12 | Rezerva energjitike | [5 empty] | 1073.9 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 672.48 | 17.9971
|  | 2 | 583.19 | 19.0678
|  | 3 | 541.71 | 22.7285
|  | 4 | 527.18 | 23.7388
|  | 5 | 534 | 21.0673
|  | 6 | 599 | 17.253
|  | 7 | 783.46 | 19.6666
|  | 8 | 1047.6 | 26.603
|  | 9 | 1144.16 | 32.9055
|  | 10 | 1153.89 | 32.5349
|  | 11 | 1123.81 | 28.9763
|  | 12 | 1043.94 | 30.2928
|  | 13 | 1044.64 | 29.6784
|  | 14 | 1029.51 | 30.0293
|  | 15 | 1043.85 | 29.9909
|  | 16 | 1056.7 | 33.7561
|  | 17 | 1083.35 | 32.6008
|  | 18 | 1177.5 | 34.9922
|  | 19 | 1193.12 | 36.7063
|  | 20 | 1138.35 | 37.5044
|  | 21 | 1100.6 | 34.976
|  | 22 | 989.45 | 30.4092
|  | 23 | 831.55 | 26.205
|  | 24 | 647.25 | 22.0775
|  | 25 | 648.11 | 21.4125
|  | 26 | 562.27 | 20.3841
|  | 27 | 522.15 | 19.6254
|  | 28 | 509.23 | 20.5793
|  | 29 | 529.05 | 22.1713
|  | 30 | 582.92 | 25.3114
|  | 31 | 767.7 | 31.064
|  | 32 | 1034.07 | 37.1342
|  | 33 | 1101.57 | 32.0125
|  | 34 | 1067.79 | 27.0378
|  | 35 | 1010.06 | 20.775
|  | 36 | 963.47 | 19.1089
|  | 37 | 942.06 | 20.8623
|  | 38 | 968.38 | 23.374
|  | 39 | 996.35 | 27.0523
|  | 40 | 1006.48 | 34.579
|  | 41 | 1038.34 | 29.5065
|  | 42 | 1187.85 | 34.2797
|  | 43 | 1260.23 | 37.3743
|  | 44 | 1254.3 | 37.2411
|  | 45 | 1225 | 36.2821
|  | 46 | 1113.99 | 34.3338
|  | 47 | 954.74 | 30.7429
|  | 48 | 776.86 | 23.8806
|  | 49 | 628.65 | 16.3122
|  | 50 | 544.87 | 14.8239
|  | 51 | 508.05 | 13.5823
|  | 52 | 497.04 | 12.0421
|  | 53 | 506.14 | 11.632
|  | 54 | 571.02 | 11.4783
|  | 55 | 756.66 | 18.064
|  | 56 | 1019.82 | 26.5706
|  | 57 | 1093.47 | 27.8979
|  | 58 | 1067.69 | 25.5993
|  | 59 | 1003.68 | 28.8737
|  | 60 | 953.72 | 32.7747
|  | 61 | 930.95 | 28.3937
|  | 62 | 953.04 | 27.6876
|  | 63 | 976.3 | 25.4449
|  | 64 | 985.27 | 20.799
|  | 65 | 1020.17 | 24.194
|  | 66 | 1167.2 | 30.6799
|  | 67 | 1240.52 | 35.9717
|  | 68 | 1246.43 | 35.0836
|  | 69 | 1217.63 | 34.237
|  | 70 | 1107.74 | 27.6146
|  | 71 | 964.06 | 20.6684
|  | 72 | 809.66 | 16.0228
|  | 73 | 672.04 | 13.4622
|  | 74 | 578.37 | 11.0655
|  | 75 | 534.25 | 10.7826
|  | 76 | 519.94 | 10.5393
|  | 77 | 524.23 | 10.3198
|  | 78 | 596.14 | 11.4159
|  | 79 | 781.55 | 18.9759
|  | 80 | 1046.92 | 27.4347
|  | 81 | 1112.47 | 26.6045
|  | 82 | 1115.49 | 24.8072
|  | 83 | 1031.78 | 22.0375
|  | 84 | 978.42 | 21.6135
|  | 85 | 955.14 | 21.8126
|  | 86 | 992.45 | 20.6868
|  | 87 | 1011.41 | 20.2774
|  | 88 | 1028.73 | 19.257
|  | 89 | 1072.06 | 27.426
|  | 90 | 1216.78 | 32.5451
|  | 91 | 1305.5 | 35.7339
|  | 92 | 1299.12 | 35.3999
|  | 93 | 1267.93 | 34.3046
|  | 94 | 1157.12 | 29.0499
|  | 95 | 1003.13 | 22.5576
|  | 96 | 819.06 | 16.7164
|  | 97 | 663.55 | 11.9083
|  | 98 | 592.28 | 11.28
|  | 99 | 546.64 | 11.0151
|  | 100 | 532.03 | 10.456
|  | 101 | 541.02 | 10.543
|  | 102 | 608.63 | 13.8445
|  | 103 | 792.85 | 21.9495
|  | 104 | 1060.23 | 27.641
|  | 105 | 1127.97 | 26.7013
|  | 106 | 1103.39 | 24.5709
|  | 107 | 1008.68 | 21.8151
|  | 108 | 959.12 | 21.4656
|  | 109 | 938.44 | 18.8276
|  | 110 | 959.22 | 19.4854
|  | 111 | 987.99 | 19.689
|  | 112 | 1000.75 | 23.0934
|  | 113 | 1044.08 | 28.1989
|  | 114 | 1198.69 | 31.1418
|  | 115 | 1282.22 | 40.0833
|  | 116 | 1277.51 | 40.7869
|  | 117 | 1246.13 | 43.4953
|  | 118 | 1133.43 | 36.8229
|  | 119 | 975.13 | 30.2865
|  | 120 | 784.23 | 22.3015
|  | 121 | 623.35 | 15.0395
|  | 122 | 548.6 | 14.2388
|  | 123 | 515.27 | 13.9795
|  | 124 | 500.76 | 13.9912
|  | 125 | 509.27 | 14.3331
|  | 126 | 571.97 | 15.2942
|  | 127 | 724.11 | 19.3417
|  | 128 | 943.39 | 19.9622
|  | 129 | 1066.22 | 22.8607
|  | 130 | 1079.61 | 22.3949
|  | 131 | 1040.65 | 22.0973
|  | 132 | 994.87 | 23.0297
|  | 133 | 986.56 | 22.2142
|  | 134 | 1001.62 | 24.0383
|  | 135 | 1030.9 | 18.4502
|  | 136 | 1040.25 | 17.6959
|  | 137 | 1072.69 | 27.666
|  | 138 | 1198.16 | 36.8177
|  | 139 | 1258.01 | 43.2916
|  | 140 | 1246.18 | 40.3985
|  | 141 | 1208.47 | 41.3526
|  | 142 | 1100.81 | 39.7097
|  | 143 | 938.63 | 31.6615
|  | 144 | 785.13 | 24.3617
|  | 145 | 704.08 | 22.1079
|  | 146 | 604.36 | 19.8989
|  | 147 | 539.13 | 18.2148
|  | 148 | 514.25 | 17.9774
|  | 149 | 515.03 | 18.4393
|  | 150 | 553.12 | 19.6301
|  | 151 | 655.88 | 21.8889
|  | 152 | 840.76 | 19.0689
|  | 153 | 997.68 | 18.0186
|  | 154 | 1030.3 | 17.7922
|  | 155 | 986.47 | 17.0567
|  | 156 | 931.77 | 16.4212
|  | 157 | 883.28 | 16.4367
|  | 158 | 891.44 | 15.0131
|  | 159 | 887.08 | 14.9551
|  | 160 | 911.17 | 18.684
|  | 161 | 991.27 | 29.2698
|  | 162 | 1202.52 | 39.1841
|  | 163 | 1281.51 | 48.1975
|  | 164 | 1285.38 | 47.5713
|  | 165 | 1255.64 | 43.4111
|  | 166 | 1138.33 | 39.0936
|  | 167 | 963.64 | 31.8024
|  | 168 | 769.73 | 21.6199
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
c | Albania Transmission System Operator
2024-02-18
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21333.82 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-02-16
|  | Hour | Production | Exchange | Consumption
|  | 1 | 650.2441 | 19.971 | 630.2731
|  | 2 | 583.2563 | 23.146 | 560.1103
|  | 3 | 547.3467 | 17.911 | 529.4357
|  | 4 | 528.56 | 8.781 | 519.779
|  | 5 | 521.4822 | -8.123 | 529.6052
|  | 6 | 584.2115 | -19.282 | 603.4935
|  | 7 | 913.1512 | 110.468 | 802.6832
|  | 8 | 1235.3533 | 175.55 | 1059.8033
|  | 9 | 1276.3721 | 175.989 | 1100.3831
|  | 10 | 1229.7684 | 188.373 | 1041.3954
|  | 11 | 1129.4797 | 164.397 | 965.0827
|  | 12 | 947.1175 | 34.347 | 912.7705
|  | 13 | 924.3936 | 37.707 | 886.6866
|  | 14 | 902.5639 | 1.463 | 901.1009
|  | 15 | 904.0649 | -10.271 | 914.3359
|  | 16 | 1035.999 | 94.392 | 941.607
|  | 17 | 1148.2638 | 155.21 | 993.0538
|  | 18 | 1408.824 | 263.2 | 1145.624
|  | 19 | 1575.5489 | 313.931 | 1261.6179
|  | 20 | 1581.9325 | 319.611 | 1262.3215
|  | 21 | 1546.1688 | 317.143 | 1229.0258
|  | 22 | 1315.3101 | 192.149 | 1123.1611
|  | 23 | 1011.0145 | 46.323 | 964.6915
|  | 24 | 837.6486 | 56.252 | 781.3966
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | February
| Aggregate Nr.3 | Fierze | 125 | Hidro
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | February
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | February
| Aggregate Nr.2 | Koman | 150 | Hidro
| Aggregate Nr.3 | Koman | 150 | Hidro
| Aggregate Nr.4 | Koman | 150 | Hidro | Preventive Maintenance | February
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 6.4027 | 69.2658 | 44.3183 | -125.7371 | 135.994 | -109.7427
2 | 9.5805 | 44.511 | 49.5266 | -135.959 | 159.4495 | -102.9741
3 | 4.4615 | 28.7585 | 59.7443 | -133.4076 | 182.5609 | -123.2411
4 | 11.5137 | 23.0708 | 39.0354 | -134.7107 | 142.1253 | -71.6509
5 | 15.9996 | 23.029 | 17.837 | -132.627 | 103.0875 | -34.9255
6 | 33.894 | 26.4451 | -30.1356 | -146.1616 | -20.7245 | 117.8776
7 | 35.368 | 97.8639 | -23.6137 | -112.4251 | -93.0505 | 207.268
8 | 3.4302 | 198.7587 | 36.8668 | -77.5918 | 5.4755 | 9.8368
9 | -20.615 | 199.0376 | 92.1808 | -72.6663 | 161.6644 | -181.3484
10 | -9.7136 | 199.0234 | 90.048 | -76.5951 | 194.7886 | -206.0771
11 | -15.0244 | 199.0355 | 107.8822 | -83.6334 | 243.2613 | -283.8502
12 | -23.7672 | 199.0695 | 81.5566 | -112.3412 | 240.5249 | -347.081
13 | -17.0503 | 191.5056 | 69.3821 | -136.588 | 204.2961 | -271.2007
14 | -10.6009 | 99.1512 | 84.9224 | -129.3304 | 184.0124 | -225.1314
15 | 7.9483 | 99.1434 | 36.413 | -140.9232 | 50.6258 | -62.8102
16 | 27.2617 | 99.1817 | 17.948 | -109.8801 | -40.1883 | 100.7935
17 | 30.7817 | 153.497 | -8.3754 | -68.7472 | -119.659 | 169.2653
18 | 8.2492 | 198.956 | 18.7244 | -20.6309 | -60.6708 | 119.7291
19 | 11.1958 | 198.8985 | 20.9586 | -9.022 | -41.6721 | 135.3191
20 | 18.7074 | 198.9319 | 21.1414 | -29.053 | -44.3466 | 155.7823
21 | 37.3769 | 198.995 | -9.524 | -54.6417 | -96.3809 | 243.427
22 | 40.5318 | 198.9773 | -33.7817 | -109.4511 | -144.5149 | 243.138
23 | 47.9483 | 199.0617 | -78.386 | -143.4553 | -205.9196 | 230.273
24 | 48.2357 | 128.4356 | -73.3554 | -115.3668 | -134.1769 | 204.2772
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Hydro | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2024-02-18
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 708.08
|  |  | 01:00 - 02:00 | 585.36
|  |  | 02:00 - 03:00 | 510.13
|  |  | 03:00 - 04:00 | 477.75
|  |  | 04:00 - 05:00 | 486.53
|  |  | 05:00 - 06:00 | 524.62
|  |  | 06:00 - 07:00 | 645.88
|  |  | 07:00 - 08:00 | 829.06
|  |  | 08:00 - 09:00 | 966.38
|  |  | 09:00 - 10:00 | 1007.3
|  |  | 10:00 - 11:00 | 979.47
|  |  | 11:00 - 12:00 | 923.77
|  |  | 12:00 - 13:00 | 859.28
|  |  | 13:00 - 14:00 | 869.44
|  |  | 14:00 - 15:00 | 854.78
|  |  | 15:00 - 16:00 | 885.17
|  |  | 16:00 - 17:00 | 1018.27
|  |  | 17:00 - 18:00 | 1336.52
|  |  | 18:00 - 19:00 | 1484.51
|  |  | 19:00 - 20:00 | 1491.38
|  |  | 20:00 - 21:00 | 1460.64
|  |  | 21:00 - 22:00 | 1252.33
|  |  | 22:00 - 23:00 | 1037.64
|  |  | 23:00 - 00:00 | 818.73
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 109.9629 | 0 | 0 | 12.9423 | 0 | 109.5423 | 0
2 | 0 | 55.6792 | 0 | 0 | 0 | 0 | 107.9187 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 124.9527 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 127.2807 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 128.8965 | 0
6 | 0 | 3.3715 | 0 | 0 | 0 | 64.7067 | 129.1988 | 0
7 | 3.5664 | 99.8748 | 0 | 2.4362 | 0.84091 | 122.0425 | 120.7921 | 0
8 | 99.6063 | 99.8783 | 0 | 99.1216 | 111.3331 | 115.7626 | 129.3407 | 0
9 | 99.5919 | 99.9098 | 0 | 99.3662 | 126.9546 | 109.2798 | 109.0442 | 0
10 | 83.6148 | 99.924 | 0 | 99.3208 | 92.3231 | 99.2921 | 95.6577 | 0
11 | 0 | 99.9152 | 0 | 99.3499 | 106.0829 | 99.2779 | 93.1307 | 0
12 | 0 | 99.9569 | 0 | 99.3523 | 92.8553 | 94.0021 | 89.5648 | 0
13 | 0 | 92.3598 | 0 | 99.375 | 89.6741 | 89.8479 | 92.4945 | 0
14 | 0 | 0 | 0 | 99.3296 | 98.2223 | 109.1655 | 136.1099 | 0
15 | 0 | 0 | 0 | 99.3281 | 119.9672 | 109.2003 | 116.6688 | 0
16 | 0 | 0 | 0 | 99.3558 | 122.9636 | 109.2003 | 100.7028 | 0
17 | 5.4559 | 54.5132 | 0 | 99.3123 | 101.2489 | 109.2106 | 140.9805 | 0
18 | 99.6957 | 99.8547 | 5.2565 | 99.3407 | 119.9718 | 119.0574 | 125.0457 | 0.87072
19 | 99.6522 | 99.8391 | 99.7194 | 99.2924 | 107.1324 | 109.2159 | 114.4016 | 108.1316
20 | 99.696 | 99.8254 | 99.7201 | 99.3234 | 100.2036 | 109.2166 | 124.7168 | 108.9981
21 | 99.6912 | 99.866 | 99.7341 | 99.3546 | 113.0135 | 109.2035 | 118.8378 | 109.0023
22 | 99.6825 | 99.8713 | 99.7007 | 99.335 | 105.1252 | 0.84624 | 119.177 | 108.2281
23 | 99.7802 | 99.8909 | 0.70892 | 99.3932 | 105.104 | 0 | 106.1975 | 55.6057
24 | 0.56676 | 99.8095 | 0 | 99.3229 | 97.2199 | 0 | 115.7534 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 890.5998 | 1504.3396 | 404.8397 | 1691.0102 | 1810.2365 | 1678.5281 | 2666.8638 | 490.8365
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 696
Art. 5.12 | Energy reserve | [5 empty] | 1073.9 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 672.48 | 17.9971
|  | 2 | 583.19 | 19.0678
|  | 3 | 541.71 | 22.7285
|  | 4 | 527.18 | 23.7388
|  | 5 | 534 | 21.0673
|  | 6 | 599 | 17.253
|  | 7 | 783.46 | 19.6666
|  | 8 | 1047.6 | 26.603
|  | 9 | 1144.16 | 32.9055
|  | 10 | 1153.89 | 32.5349
|  | 11 | 1123.81 | 28.9763
|  | 12 | 1043.94 | 30.2928
|  | 13 | 1044.64 | 29.6784
|  | 14 | 1029.51 | 30.0293
|  | 15 | 1043.85 | 29.9909
|  | 16 | 1056.7 | 33.7561
|  | 17 | 1083.35 | 32.6008
|  | 18 | 1177.5 | 34.9922
|  | 19 | 1193.12 | 36.7063
|  | 20 | 1138.35 | 37.5044
|  | 21 | 1100.6 | 34.976
|  | 22 | 989.45 | 30.4092
|  | 23 | 831.55 | 26.205
|  | 24 | 647.25 | 22.0775
|  | 25 | 648.11 | 21.4125
|  | 26 | 562.27 | 20.3841
|  | 27 | 522.15 | 19.6254
|  | 28 | 509.23 | 20.5793
|  | 29 | 529.05 | 22.1713
|  | 30 | 582.92 | 25.3114
|  | 31 | 767.7 | 31.064
|  | 32 | 1034.07 | 37.1342
|  | 33 | 1101.57 | 32.0125
|  | 34 | 1067.79 | 27.0378
|  | 35 | 1010.06 | 20.775
|  | 36 | 963.47 | 19.1089
|  | 37 | 942.06 | 20.8623
|  | 38 | 968.38 | 23.374
|  | 39 | 996.35 | 27.0523
|  | 40 | 1006.48 | 34.579
|  | 41 | 1038.34 | 29.5065
|  | 42 | 1187.85 | 34.2797
|  | 43 | 1260.23 | 37.3743
|  | 44 | 1254.3 | 37.2411
|  | 45 | 1225 | 36.2821
|  | 46 | 1113.99 | 34.3338
|  | 47 | 954.74 | 30.7429
|  | 48 | 776.86 | 23.8806
|  | 49 | 628.65 | 16.3122
|  | 50 | 544.87 | 14.8239
|  | 51 | 508.05 | 13.5823
|  | 52 | 497.04 | 12.0421
|  | 53 | 506.14 | 11.632
|  | 54 | 571.02 | 11.4783
|  | 55 | 756.66 | 18.064
|  | 56 | 1019.82 | 26.5706
|  | 57 | 1093.47 | 27.8979
|  | 58 | 1067.69 | 25.5993
|  | 59 | 1003.68 | 28.8737
|  | 60 | 953.72 | 32.7747
|  | 61 | 930.95 | 28.3937
|  | 62 | 953.04 | 27.6876
|  | 63 | 976.3 | 25.4449
|  | 64 | 985.27 | 20.799
|  | 65 | 1020.17 | 24.194
|  | 66 | 1167.2 | 30.6799
|  | 67 | 1240.52 | 35.9717
|  | 68 | 1246.43 | 35.0836
|  | 69 | 1217.63 | 34.237
|  | 70 | 1107.74 | 27.6146
|  | 71 | 964.06 | 20.6684
|  | 72 | 809.66 | 16.0228
|  | 73 | 672.04 | 13.4622
|  | 74 | 578.37 | 11.0655
|  | 75 | 534.25 | 10.7826
|  | 76 | 519.94 | 10.5393
|  | 77 | 524.23 | 10.3198
|  | 78 | 596.14 | 11.4159
|  | 79 | 781.55 | 18.9759
|  | 80 | 1046.92 | 27.4347
|  | 81 | 1112.47 | 26.6045
|  | 82 | 1115.49 | 24.8072
|  | 83 | 1031.78 | 22.0375
|  | 84 | 978.42 | 21.6135
|  | 85 | 955.14 | 21.8126
|  | 86 | 992.45 | 20.6868
|  | 87 | 1011.41 | 20.2774
|  | 88 | 1028.73 | 19.257
|  | 89 | 1072.06 | 27.426
|  | 90 | 1216.78 | 32.5451
|  | 91 | 1305.5 | 35.7339
|  | 92 | 1299.12 | 35.3999
|  | 93 | 1267.93 | 34.3046
|  | 94 | 1157.12 | 29.0499
|  | 95 | 1003.13 | 22.5576
|  | 96 | 819.06 | 16.7164
|  | 97 | 663.55 | 11.9083
|  | 98 | 592.28 | 11.28
|  | 99 | 546.64 | 11.0151
|  | 100 | 532.03 | 10.456
|  | 101 | 541.02 | 10.543
|  | 102 | 608.63 | 13.8445
|  | 103 | 792.85 | 21.9495
|  | 104 | 1060.23 | 27.641
|  | 105 | 1127.97 | 26.7013
|  | 106 | 1103.39 | 24.5709
|  | 107 | 1008.68 | 21.8151
|  | 108 | 959.12 | 21.4656
|  | 109 | 938.44 | 18.8276
|  | 110 | 959.22 | 19.4854
|  | 111 | 987.99 | 19.689
|  | 112 | 1000.75 | 23.0934
|  | 113 | 1044.08 | 28.1989
|  | 114 | 1198.69 | 31.1418
|  | 115 | 1282.22 | 40.0833
|  | 116 | 1277.51 | 40.7869
|  | 117 | 1246.13 | 43.4953
|  | 118 | 1133.43 | 36.8229
|  | 119 | 975.13 | 30.2865
|  | 120 | 784.23 | 22.3015
|  | 121 | 623.35 | 15.0395
|  | 122 | 548.6 | 14.2388
|  | 123 | 515.27 | 13.9795
|  | 124 | 500.76 | 13.9912
|  | 125 | 509.27 | 14.3331
|  | 126 | 571.97 | 15.2942
|  | 127 | 724.11 | 19.3417
|  | 128 | 943.39 | 19.9622
|  | 129 | 1066.22 | 22.8607
|  | 130 | 1079.61 | 22.3949
|  | 131 | 1040.65 | 22.0973
|  | 132 | 994.87 | 23.0297
|  | 133 | 986.56 | 22.2142
|  | 134 | 1001.62 | 24.0383
|  | 135 | 1030.9 | 18.4502
|  | 136 | 1040.25 | 17.6959
|  | 137 | 1072.69 | 27.666
|  | 138 | 1198.16 | 36.8177
|  | 139 | 1258.01 | 43.2916
|  | 140 | 1246.18 | 40.3985
|  | 141 | 1208.47 | 41.3526
|  | 142 | 1100.81 | 39.7097
|  | 143 | 938.63 | 31.6615
|  | 144 | 785.13 | 24.3617
|  | 145 | 704.08 | 22.1079
|  | 146 | 604.36 | 19.8989
|  | 147 | 539.13 | 18.2148
|  | 148 | 514.25 | 17.9774
|  | 149 | 515.03 | 18.4393
|  | 150 | 553.12 | 19.6301
|  | 151 | 655.88 | 21.8889
|  | 152 | 840.76 | 19.0689
|  | 153 | 997.68 | 18.0186
|  | 154 | 1030.3 | 17.7922
|  | 155 | 986.47 | 17.0567
|  | 156 | 931.77 | 16.4212
|  | 157 | 883.28 | 16.4367
|  | 158 | 891.44 | 15.0131
|  | 159 | 887.08 | 14.9551
|  | 160 | 911.17 | 18.684
|  | 161 | 991.27 | 29.2698
|  | 162 | 1202.52 | 39.1841
|  | 163 | 1281.51 | 48.1975
|  | 164 | 1285.38 | 47.5713
|  | 165 | 1255.64 | 43.4111
|  | 166 | 1138.33 | 39.0936
|  | 167 | 963.64 | 31.8024
|  | 168 | 769.73 | 21.6199
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 12/02/2024 | 13/02/2024 | 14/02/2024 | 15/02/2024 | 16/02/2024 | 17/02/2024 | 18/02/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible