## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-02-21
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21972.72 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 19/02/2024 | 20/02/2024 | 21/02/2024 | 22/02/2024 | 23/02/2024 | 24/02/2024 | 25/02/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-02-19
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 581.2056 | -34.479 | 615.6846
|  | 2 | 496.6253 | -42.749 | 539.3743
|  | 3 | 429.0087 | -75.751 | 504.7597
|  | 4 | 428.6297 | -62.967 | 491.5967
|  | 5 | 436.384 | -67.66 | 504.044
|  | 6 | 480.9476 | -95.978 | 576.9256
|  | 7 | 872.2648 | 88.296 | 783.9688
|  | 8 | 1279.4029 | 234.688 | 1044.7149
|  | 9 | 1359.2917 | 274.472 | 1084.8197
|  | 10 | 1306.5534 | 272.274 | 1034.2794
|  | 11 | 1097.3095 | 144.25 | 953.0595
|  | 12 | 922.3558 | 19.63 | 902.7258
|  | 13 | 910.3042 | 28.632 | 881.6722
|  | 14 | 924.9502 | 17.872 | 907.0782
|  | 15 | 1041.593 | 98.747 | 942.846
|  | 16 | 1114.0591 | 134.106 | 979.9531
|  | 17 | 1299.7467 | 265.657 | 1034.0897
|  | 18 | 1446.6893 | 287.182 | 1159.5073
|  | 19 | 1575.1369 | 320.532 | 1254.6049
|  | 20 | 1582.1525 | 332.918 | 1249.2345
|  | 21 | 1509.3422 | 296.336 | 1213.0062
|  | 22 | 1402.0226 | 297.072 | 1104.9506
|  | 23 | 1112.0244 | 181.13 | 930.8944
|  | 24 | 828.3702 | 97.653 | 730.7172
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.1 | Koman | 150 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro | Remont profilaktik | Shkurt
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 58.3518 | 53.5581 | -88.1966 | -162.5444 | -143.394 | 249.6653
2 | 54.1448 | 24.0402 | -67.817 | -167.9796 | -110.716 | 226.819
3 | 53.3511 | -1.4129 | -64.6656 | -177.4983 | -93.486 | 209.2511
4 | 53.989 | -3.2984 | -65.6516 | -176.35 | -98.7598 | 228.2873
5 | 54.3565 | -3.4077 | -74.1654 | -173.7921 | -120.6025 | 251.3749
6 | 49.4025 | 5.0717 | -92.0755 | -163.5218 | -161.1429 | 268.0357
7 | 48.1958 | 85.4773 | -59.1258 | -123.2889 | -169.4918 | 308.619
8 | 33.0772 | 216.9863 | -10.7903 | -93.994 | -136.0881 | 228.0306
9 | 13.5509 | 218.9974 | 41.6089 | -50.2871 | -16.9156 | 69.5349
10 | 16.3819 | 218.9775 | 43.0002 | -40.1039 | 7.8839 | 28.0937
11 | 3.7478 | 219.0336 | 42.2774 | -78.8659 | 68.6166 | -108.4473
12 | 0.95945 | 199.0553 | 20.1876 | -118.773 | 30.2669 | -110.6871
13 | 13.0092 | 198.9248 | -16.3024 | -121.9212 | -40.8684 | -2.8218
14 | 14.0638 | 198.9389 | -13.076 | -125.2791 | -39.6534 | -15.719
15 | 38.2635 | 198.9531 | -43.4682 | -123.0857 | -148.0712 | 178.9447
16 | 35.89 | 198.9943 | -45.4683 | -95.4423 | -156.6163 | 199.2027
17 | 28.2654 | 218.6632 | -21.609 | -37.0718 | -129.4568 | 209.6653
18 | 7.305 | 218.9272 | -0.93565 | -2.2644 | -62.2621 | 128.0937
19 | 5.7838 | 221.1483 | 34.5939 | -1.6289 | -47.161 | 110.0523
20 | 22.5837 | 228.4185 | 16.4209 | -27.2144 | -94.3542 | 189.4008
21 | 40.4021 | 218.8817 | -31.5651 | -65.3829 | -182.5905 | 319.8028
22 | 53.0107 | 198.89 | -32.4376 | -83.0495 | -177.8058 | 341.7097
23 | 54.3672 | 192.1251 | -54.9276 | -104.7836 | -172.5992 | 270.335
24 | 48.7493 | 150.2901 | -57.0289 | -106.7706 | -155.2616 | 219.6569
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Termo | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-02-21
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 684.55
|  |  | 01:00 - 02:00 | 555.17
|  |  | 02:00 - 03:00 | 493.85
|  |  | 03:00 - 04:00 | 447.95
|  |  | 04:00 - 05:00 | 458.95
|  |  | 05:00 - 06:00 | 552.83
|  |  | 06:00 - 07:00 | 944.94
|  |  | 07:00 - 08:00 | 1277.8
|  |  | 08:00 - 09:00 | 1323.95
|  |  | 09:00 - 10:00 | 1240.66
|  |  | 10:00 - 11:00 | 1014.15
|  |  | 11:00 - 12:00 | 952.99
|  |  | 12:00 - 13:00 | 936.81
|  |  | 13:00 - 14:00 | 936.91
|  |  | 14:00 - 15:00 | 916.68
|  |  | 15:00 - 16:00 | 1079.14
|  |  | 16:00 - 17:00 | 1271.54
|  |  | 17:00 - 18:00 | 1427.1
|  |  | 18:00 - 19:00 | 1573.02
|  |  | 19:00 - 20:00 | 1572.04
|  |  | 20:00 - 21:00 | 1533.33
|  |  | 21:00 - 22:00 | 1413.34
|  |  | 22:00 - 23:00 | 1177.96
|  |  | 23:00 - 00:00 | 872.46
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 99.8783 | 0 | 0 | 28.7376 | 0 | 114.6623 | 0
2 | 0 | 51.5141 | 0 | 0 | 0 | 0 | 115.0189 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 104.12 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 89.3579 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 89.3597 | 0
6 | 0 | 1.2189 | 0 | 0 | 0 | 51.6882 | 96.9648 | 0
7 | 0 | 106.8136 | 0 | 1.1988 | 1.6392 | 124.8051 | 106.7549 | 0
8 | 0 | 109.9707 | 0 | 107.2867 | 138.4847 | 135.1441 | 129.2527 | 0
9 | 0 | 109.945 | 0 | 109.3153 | 142.7751 | 141.8789 | 115.1491 | 0
10 | 0 | 109.9064 | 0 | 109.3231 | 122.0617 | 109.3004 | 108.6429 | 0
11 | 0 | 109.9211 | 0 | 109.3415 | 117.0311 | 130.6983 | 106.7187 | 0
12 | 0 | 99.897 | 0 | 99.4221 | 103.1989 | 99.4368 | 123.0722 | 0
13 | 0 | 99.9143 | 0 | 99.322 | 98.3121 | 119.034 | 97.1713 | 0
14 | 0 | 99.8836 | 0 | 99.3478 | 89.2792 | 119.0794 | 120.3508 | 0
15 | 2.5734 | 99.9181 | 0 | 99.3442 | 105.1107 | 129.0398 | 122.1231 | 0
16 | 89.8373 | 99.9536 | 0 | 99.3397 | 92.2458 | 89.469 | 127.2214 | 0
17 | 109.4946 | 109.5977 | 7.9644 | 109.3581 | 98.2475 | 109.1627 | 137.2978 | 0
18 | 109.7635 | 110.0124 | 109.4783 | 109.188 | 89.2774 | 129.004 | 124.3648 | 0
19 | 109.7545 | 111.0163 | 109.6183 | 110.3882 | 143.4056 | 143.753 | 127.1057 | 0
20 | 109.8196 | 114.6661 | 109.6677 | 114.0199 | 143.7324 | 143.8325 | 123.7055 | 0
21 | 109.5102 | 109.8141 | 109.6277 | 109.3131 | 126.9525 | 129.0601 | 119.414 | 0
22 | 99.7045 | 99.8467 | 99.5706 | 99.2754 | 103.2366 | 89.3193 | 115.973 | 0
23 | 96.2259 | 96.4191 | 89.5896 | 95.9363 | 96.2343 | 0.19799 | 112.6835 | 0
24 | 1.3937 | 99.0611 | 24.9317 | 98.4749 | 125.7844 | 0 | 93.186 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 838.0771 | 2049.1681 | 660.4484 | 1779.1952 | 1965.7467 | 1993.9035 | 2719.6715 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 677
Neni 5.12 | Rezerva energjitike | [5 empty] | 1287 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 649.57 | 20.028
|  | 2 | 566.77 | 16.5949
|  | 3 | 530.97 | 15.5438
|  | 4 | 519.79 | 15.705
|  | 5 | 531.88 | 16.5795
|  | 6 | 600.25 | 18.1688
|  | 7 | 780.59 | 26.4886
|  | 8 | 1034.04 | 33.1624
|  | 9 | 1104.43 | 28.4855
|  | 10 | 1072.03 | 24.892
|  | 11 | 1007.93 | 21.2513
|  | 12 | 968.11 | 19.0856
|  | 13 | 951.42 | 19.725
|  | 14 | 975.71 | 20.7775
|  | 15 | 996.43 | 28.3887
|  | 16 | 1006.42 | 28.9185
|  | 17 | 1041.52 | 31.544
|  | 18 | 1188.85 | 33.562
|  | 19 | 1265.29 | 39.7488
|  | 20 | 1263.51 | 42.76
|  | 21 | 1230.12 | 45.962
|  | 22 | 1118.29 | 41.1113
|  | 23 | 958.85 | 31.4528
|  | 24 | 776.54 | 22.2925
|  | 25 | 625.73 | 20.704
|  | 26 | 550.95 | 20.915
|  | 27 | 522.54 | 19.9343
|  | 28 | 513.73 | 20.2862
|  | 29 | 525.83 | 21.4148
|  | 30 | 591.62 | 22.3431
|  | 31 | 780.44 | 29.0209
|  | 32 | 1044.5 | 37.1819
|  | 33 | 1095.35 | 38.7441
|  | 34 | 1055.66 | 40.1877
|  | 35 | 990.95 | 35.9018
|  | 36 | 955.19 | 32.2571
|  | 37 | 944.01 | 30.4129
|  | 38 | 1021.11 | 35.0344
|  | 39 | 1047.68 | 36.314
|  | 40 | 1059.54 | 37.729
|  | 41 | 1081.54 | 34.8998
|  | 42 | 1168.46 | 38.9903
|  | 43 | 1246.29 | 42.7598
|  | 44 | 1247.3 | 43.0921
|  | 45 | 1219.51 | 44.2412
|  | 46 | 1109.32 | 43.7753
|  | 47 | 953.31 | 32.678
|  | 48 | 774.32 | 21.0658
|  | 49 | 686.55 | 20.704
|  | 50 | 587.17 | 20.915
|  | 51 | 531.35 | 19.9343
|  | 52 | 518.95 | 20.2862
|  | 53 | 527.35 | 21.4148
|  | 54 | 595.83 | 22.3431
|  | 55 | 787.94 | 29.0209
|  | 56 | 1041.8 | 37.1819
|  | 57 | 1100.95 | 38.7441
|  | 58 | 1070.66 | 40.1877
|  | 59 | 1006.15 | 35.9018
|  | 60 | 959.19 | 32.2571
|  | 61 | 938.01 | 30.4129
|  | 62 | 939.21 | 35.0344
|  | 63 | 924.68 | 36.314
|  | 64 | 946.14 | 37.729
|  | 65 | 982.54 | 34.8998
|  | 66 | 1135.1 | 38.9903
|  | 67 | 1281.02 | 42.7598
|  | 68 | 1279.04 | 43.0921
|  | 69 | 1245.33 | 44.2412
|  | 70 | 1135.34 | 43.7753
|  | 71 | 971.96 | 32.678
|  | 72 | 780.46 | 21.0658
|  | 73 | 641.95 | 18.9411
|  | 74 | 563.15 | 18.1038
|  | 75 | 527.65 | 19.2843
|  | 76 | 513.36 | 19.3307
|  | 77 | 524.55 | 18.1001
|  | 78 | 595.57 | 14.4028
|  | 79 | 793.99 | 23.4016
|  | 80 | 1054.67 | 34.2296
|  | 81 | 1090.52 | 28.5551
|  | 82 | 1037.14 | 21.9278
|  | 83 | 963.14 | 19.4045
|  | 84 | 914.11 | 17.9104
|  | 85 | 896.61 | 17.1195
|  | 86 | 916.44 | 17.8044
|  | 87 | 937.02 | 19.9533
|  | 88 | 1001.27 | 25.2739
|  | 89 | 1048.68 | 35.277
|  | 90 | 1194.42 | 39.5678
|  | 91 | 1289.03 | 47.8026
|  | 92 | 1287.56 | 52.754
|  | 93 | 1253.46 | 46.1093
|  | 94 | 1143.55 | 38.066
|  | 95 | 969.75 | 27.7966
|  | 96 | 777.77 | 24.1693
|  | 97 | 614.25 | 18.3217
|  | 98 | 545.75 | 15.557
|  | 99 | 516.23 | 15.9576
|  | 100 | 504.83 | 16.6219
|  | 101 | 513.23 | 17.8859
|  | 102 | 599.34 | 20.1551
|  | 103 | 781.88 | 27.8288
|  | 104 | 1019.36 | 26.6274
|  | 105 | 1081.78 | 23.632
|  | 106 | 1047.11 | 24.5095
|  | 107 | 989.6 | 26.1361
|  | 108 | 957.78 | 26.0117
|  | 109 | 951.49 | 27.8384
|  | 110 | 942.68 | 29.2331
|  | 111 | 977.85 | 24.3479
|  | 112 | 983.93 | 24.1929
|  | 113 | 1019.46 | 23.889
|  | 114 | 1177.05 | 30.1883
|  | 115 | 1238.77 | 31.1984
|  | 116 | 1237.16 | 29.8188
|  | 117 | 1205.36 | 29.914
|  | 118 | 1097.37 | 24.6545
|  | 119 | 946.15 | 22.2067
|  | 120 | 781.05 | 15.5775
|  | 121 | 640.88 | 13.4864
|  | 122 | 567.68 | 13.7457
|  | 123 | 533.36 | 13.5268
|  | 124 | 519.88 | 11.5364
|  | 125 | 525.37 | 13.2266
|  | 126 | 579.99 | 14.07
|  | 127 | 709.42 | 16.5251
|  | 128 | 884.2 | 18.3377
|  | 129 | 1037.05 | 22.5782
|  | 130 | 1086.18 | 23.9389
|  | 131 | 1094.28 | 26.6263
|  | 132 | 1073.83 | 31.0418
|  | 133 | 1071.17 | 33.5752
|  | 134 | 1084.65 | 36.372
|  | 135 | 1090.15 | 35.1024
|  | 136 | 1111.21 | 36.8941
|  | 137 | 1125.41 | 38.0583
|  | 138 | 1196.59 | 34.9531
|  | 139 | 1219.3 | 32.034
|  | 140 | 1155.42 | 29.2553
|  | 141 | 1107.91 | 30.5249
|  | 142 | 1002.75 | 24.9617
|  | 143 | 868.75 | 20.6145
|  | 144 | 730.85 | 17.0562
|  | 145 | 640.7 | 16.841
|  | 146 | 561.9 | 16.7686
|  | 147 | 510.17 | 16.3397
|  | 148 | 485.78 | 14.5443
|  | 149 | 485.38 | 14.4276
|  | 150 | 520 | 15.5208
|  | 151 | 612.92 | 15.3308
|  | 152 | 749.1 | 17.9546
|  | 153 | 907.05 | 20.9081
|  | 154 | 1006.38 | 23.7138
|  | 155 | 1055.28 | 22.1764
|  | 156 | 1081.47 | 20.9268
|  | 157 | 1040.27 | 20.339
|  | 158 | 1039.65 | 20.2334
|  | 159 | 1022.75 | 23.6486
|  | 160 | 1031.21 | 26.588
|  | 161 | 1076.81 | 25.0679
|  | 162 | 1209.6 | 27.6704
|  | 163 | 1244 | 29.0307
|  | 164 | 1246.32 | 30.6314
|  | 165 | 1217.23 | 32.217
|  | 166 | 1107.25 | 27.3092
|  | 167 | 944.56 | 20.9023
|  | 168 | 758.36 | 15.6848
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 19/02/2024 | 20/02/2024 | 21/02/2024 | 22/02/2024 | 23/02/2024 | 24/02/2024 | 25/02/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
c | Albania Transmission System Operator
2024-02-21
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21972.72 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 19/02/2024 | 20/02/2024 | 21/02/2024 | 22/02/2024 | 23/02/2024 | 24/02/2024 | 25/02/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-02-19
|  | Hour | Production | Exchange | Consumption
|  | 1 | 581.2056 | -34.479 | 615.6846
|  | 2 | 496.6253 | -42.749 | 539.3743
|  | 3 | 429.0087 | -75.751 | 504.7597
|  | 4 | 428.6297 | -62.967 | 491.5967
|  | 5 | 436.384 | -67.66 | 504.044
|  | 6 | 480.9476 | -95.978 | 576.9256
|  | 7 | 872.2648 | 88.296 | 783.9688
|  | 8 | 1279.4029 | 234.688 | 1044.7149
|  | 9 | 1359.2917 | 274.472 | 1084.8197
|  | 10 | 1306.5534 | 272.274 | 1034.2794
|  | 11 | 1097.3095 | 144.25 | 953.0595
|  | 12 | 922.3558 | 19.63 | 902.7258
|  | 13 | 910.3042 | 28.632 | 881.6722
|  | 14 | 924.9502 | 17.872 | 907.0782
|  | 15 | 1041.593 | 98.747 | 942.846
|  | 16 | 1114.0591 | 134.106 | 979.9531
|  | 17 | 1299.7467 | 265.657 | 1034.0897
|  | 18 | 1446.6893 | 287.182 | 1159.5073
|  | 19 | 1575.1369 | 320.532 | 1254.6049
|  | 20 | 1582.1525 | 332.918 | 1249.2345
|  | 21 | 1509.3422 | 296.336 | 1213.0062
|  | 22 | 1402.0226 | 297.072 | 1104.9506
|  | 23 | 1112.0244 | 181.13 | 930.8944
|  | 24 | 828.3702 | 97.653 | 730.7172
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | February
| Aggregate Nr.3 | Fierze | 125 | Hidro
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | February
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | February
| Aggregate Nr.2 | Koman | 150 | Hidro
| Aggregate Nr.3 | Koman | 150 | Hidro
| Aggregate Nr.4 | Koman | 150 | Hidro | Preventive Maintenance | February
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 58.3518 | 53.5581 | -88.1966 | -162.5444 | -143.394 | 249.6653
2 | 54.1448 | 24.0402 | -67.817 | -167.9796 | -110.716 | 226.819
3 | 53.3511 | -1.4129 | -64.6656 | -177.4983 | -93.486 | 209.2511
4 | 53.989 | -3.2984 | -65.6516 | -176.35 | -98.7598 | 228.2873
5 | 54.3565 | -3.4077 | -74.1654 | -173.7921 | -120.6025 | 251.3749
6 | 49.4025 | 5.0717 | -92.0755 | -163.5218 | -161.1429 | 268.0357
7 | 48.1958 | 85.4773 | -59.1258 | -123.2889 | -169.4918 | 308.619
8 | 33.0772 | 216.9863 | -10.7903 | -93.994 | -136.0881 | 228.0306
9 | 13.5509 | 218.9974 | 41.6089 | -50.2871 | -16.9156 | 69.5349
10 | 16.3819 | 218.9775 | 43.0002 | -40.1039 | 7.8839 | 28.0937
11 | 3.7478 | 219.0336 | 42.2774 | -78.8659 | 68.6166 | -108.4473
12 | 0.95945 | 199.0553 | 20.1876 | -118.773 | 30.2669 | -110.6871
13 | 13.0092 | 198.9248 | -16.3024 | -121.9212 | -40.8684 | -2.8218
14 | 14.0638 | 198.9389 | -13.076 | -125.2791 | -39.6534 | -15.719
15 | 38.2635 | 198.9531 | -43.4682 | -123.0857 | -148.0712 | 178.9447
16 | 35.89 | 198.9943 | -45.4683 | -95.4423 | -156.6163 | 199.2027
17 | 28.2654 | 218.6632 | -21.609 | -37.0718 | -129.4568 | 209.6653
18 | 7.305 | 218.9272 | -0.93565 | -2.2644 | -62.2621 | 128.0937
19 | 5.7838 | 221.1483 | 34.5939 | -1.6289 | -47.161 | 110.0523
20 | 22.5837 | 228.4185 | 16.4209 | -27.2144 | -94.3542 | 189.4008
21 | 40.4021 | 218.8817 | -31.5651 | -65.3829 | -182.5905 | 319.8028
22 | 53.0107 | 198.89 | -32.4376 | -83.0495 | -177.8058 | 341.7097
23 | 54.3672 | 192.1251 | -54.9276 | -104.7836 | -172.5992 | 270.335
24 | 48.7493 | 150.2901 | -57.0289 | -106.7706 | -155.2616 | 219.6569
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Termo | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2024-02-21
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 684.55
|  |  | 01:00 - 02:00 | 555.17
|  |  | 02:00 - 03:00 | 493.85
|  |  | 03:00 - 04:00 | 447.95
|  |  | 04:00 - 05:00 | 458.95
|  |  | 05:00 - 06:00 | 552.83
|  |  | 06:00 - 07:00 | 944.94
|  |  | 07:00 - 08:00 | 1277.8
|  |  | 08:00 - 09:00 | 1323.95
|  |  | 09:00 - 10:00 | 1240.66
|  |  | 10:00 - 11:00 | 1014.15
|  |  | 11:00 - 12:00 | 952.99
|  |  | 12:00 - 13:00 | 936.81
|  |  | 13:00 - 14:00 | 936.91
|  |  | 14:00 - 15:00 | 916.68
|  |  | 15:00 - 16:00 | 1079.14
|  |  | 16:00 - 17:00 | 1271.54
|  |  | 17:00 - 18:00 | 1427.1
|  |  | 18:00 - 19:00 | 1573.02
|  |  | 19:00 - 20:00 | 1572.04
|  |  | 20:00 - 21:00 | 1533.33
|  |  | 21:00 - 22:00 | 1413.34
|  |  | 22:00 - 23:00 | 1177.96
|  |  | 23:00 - 00:00 | 872.46
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 99.8783 | 0 | 0 | 28.7376 | 0 | 114.6623 | 0
2 | 0 | 51.5141 | 0 | 0 | 0 | 0 | 115.0189 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 104.12 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 89.3579 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 89.3597 | 0
6 | 0 | 1.2189 | 0 | 0 | 0 | 51.6882 | 96.9648 | 0
7 | 0 | 106.8136 | 0 | 1.1988 | 1.6392 | 124.8051 | 106.7549 | 0
8 | 0 | 109.9707 | 0 | 107.2867 | 138.4847 | 135.1441 | 129.2527 | 0
9 | 0 | 109.945 | 0 | 109.3153 | 142.7751 | 141.8789 | 115.1491 | 0
10 | 0 | 109.9064 | 0 | 109.3231 | 122.0617 | 109.3004 | 108.6429 | 0
11 | 0 | 109.9211 | 0 | 109.3415 | 117.0311 | 130.6983 | 106.7187 | 0
12 | 0 | 99.897 | 0 | 99.4221 | 103.1989 | 99.4368 | 123.0722 | 0
13 | 0 | 99.9143 | 0 | 99.322 | 98.3121 | 119.034 | 97.1713 | 0
14 | 0 | 99.8836 | 0 | 99.3478 | 89.2792 | 119.0794 | 120.3508 | 0
15 | 2.5734 | 99.9181 | 0 | 99.3442 | 105.1107 | 129.0398 | 122.1231 | 0
16 | 89.8373 | 99.9536 | 0 | 99.3397 | 92.2458 | 89.469 | 127.2214 | 0
17 | 109.4946 | 109.5977 | 7.9644 | 109.3581 | 98.2475 | 109.1627 | 137.2978 | 0
18 | 109.7635 | 110.0124 | 109.4783 | 109.188 | 89.2774 | 129.004 | 124.3648 | 0
19 | 109.7545 | 111.0163 | 109.6183 | 110.3882 | 143.4056 | 143.753 | 127.1057 | 0
20 | 109.8196 | 114.6661 | 109.6677 | 114.0199 | 143.7324 | 143.8325 | 123.7055 | 0
21 | 109.5102 | 109.8141 | 109.6277 | 109.3131 | 126.9525 | 129.0601 | 119.414 | 0
22 | 99.7045 | 99.8467 | 99.5706 | 99.2754 | 103.2366 | 89.3193 | 115.973 | 0
23 | 96.2259 | 96.4191 | 89.5896 | 95.9363 | 96.2343 | 0.19799 | 112.6835 | 0
24 | 1.3937 | 99.0611 | 24.9317 | 98.4749 | 125.7844 | 0 | 93.186 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 838.0771 | 1949.2897 | 660.4484 | 1779.1952 | 1937.0091 | 1993.9035 | 2605.0091 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 677
Art. 5.12 | Energy reserve | [5 empty] | 1287 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 649.57 | 20.028
|  | 2 | 566.77 | 16.5949
|  | 3 | 530.97 | 15.5438
|  | 4 | 519.79 | 15.705
|  | 5 | 531.88 | 16.5795
|  | 6 | 600.25 | 18.1688
|  | 7 | 780.59 | 26.4886
|  | 8 | 1034.04 | 33.1624
|  | 9 | 1104.43 | 28.4855
|  | 10 | 1072.03 | 24.892
|  | 11 | 1007.93 | 21.2513
|  | 12 | 968.11 | 19.0856
|  | 13 | 951.42 | 19.725
|  | 14 | 975.71 | 20.7775
|  | 15 | 996.43 | 28.3887
|  | 16 | 1006.42 | 28.9185
|  | 17 | 1041.52 | 31.544
|  | 18 | 1188.85 | 33.562
|  | 19 | 1265.29 | 39.7488
|  | 20 | 1263.51 | 42.76
|  | 21 | 1230.12 | 45.962
|  | 22 | 1118.29 | 41.1113
|  | 23 | 958.85 | 31.4528
|  | 24 | 776.54 | 22.2925
|  | 25 | 625.73 | 20.704
|  | 26 | 550.95 | 20.915
|  | 27 | 522.54 | 19.9343
|  | 28 | 513.73 | 20.2862
|  | 29 | 525.83 | 21.4148
|  | 30 | 591.62 | 22.3431
|  | 31 | 780.44 | 29.0209
|  | 32 | 1044.5 | 37.1819
|  | 33 | 1095.35 | 38.7441
|  | 34 | 1055.66 | 40.1877
|  | 35 | 990.95 | 35.9018
|  | 36 | 955.19 | 32.2571
|  | 37 | 944.01 | 30.4129
|  | 38 | 1021.11 | 35.0344
|  | 39 | 1047.68 | 36.314
|  | 40 | 1059.54 | 37.729
|  | 41 | 1081.54 | 34.8998
|  | 42 | 1168.46 | 38.9903
|  | 43 | 1246.29 | 42.7598
|  | 44 | 1247.3 | 43.0921
|  | 45 | 1219.51 | 44.2412
|  | 46 | 1109.32 | 43.7753
|  | 47 | 953.31 | 32.678
|  | 48 | 774.32 | 21.0658
|  | 49 | 686.55 | 20.704
|  | 50 | 587.17 | 20.915
|  | 51 | 531.35 | 19.9343
|  | 52 | 518.95 | 20.2862
|  | 53 | 527.35 | 21.4148
|  | 54 | 595.83 | 22.3431
|  | 55 | 787.94 | 29.0209
|  | 56 | 1041.8 | 37.1819
|  | 57 | 1100.95 | 38.7441
|  | 58 | 1070.66 | 40.1877
|  | 59 | 1006.15 | 35.9018
|  | 60 | 959.19 | 32.2571
|  | 61 | 938.01 | 30.4129
|  | 62 | 939.21 | 35.0344
|  | 63 | 924.68 | 36.314
|  | 64 | 946.14 | 37.729
|  | 65 | 982.54 | 34.8998
|  | 66 | 1135.1 | 38.9903
|  | 67 | 1281.02 | 42.7598
|  | 68 | 1279.04 | 43.0921
|  | 69 | 1245.33 | 44.2412
|  | 70 | 1135.34 | 43.7753
|  | 71 | 971.96 | 32.678
|  | 72 | 780.46 | 21.0658
|  | 73 | 641.95 | 18.9411
|  | 74 | 563.15 | 18.1038
|  | 75 | 527.65 | 19.2843
|  | 76 | 513.36 | 19.3307
|  | 77 | 524.55 | 18.1001
|  | 78 | 595.57 | 14.4028
|  | 79 | 793.99 | 23.4016
|  | 80 | 1054.67 | 34.2296
|  | 81 | 1090.52 | 28.5551
|  | 82 | 1037.14 | 21.9278
|  | 83 | 963.14 | 19.4045
|  | 84 | 914.11 | 17.9104
|  | 85 | 896.61 | 17.1195
|  | 86 | 916.44 | 17.8044
|  | 87 | 937.02 | 19.9533
|  | 88 | 1001.27 | 25.2739
|  | 89 | 1048.68 | 35.277
|  | 90 | 1194.42 | 39.5678
|  | 91 | 1289.03 | 47.8026
|  | 92 | 1287.56 | 52.754
|  | 93 | 1253.46 | 46.1093
|  | 94 | 1143.55 | 38.066
|  | 95 | 969.75 | 27.7966
|  | 96 | 777.77 | 24.1693
|  | 97 | 614.25 | 18.3217
|  | 98 | 545.75 | 15.557
|  | 99 | 516.23 | 15.9576
|  | 100 | 504.83 | 16.6219
|  | 101 | 513.23 | 17.8859
|  | 102 | 599.34 | 20.1551
|  | 103 | 781.88 | 27.8288
|  | 104 | 1019.36 | 26.6274
|  | 105 | 1081.78 | 23.632
|  | 106 | 1047.11 | 24.5095
|  | 107 | 989.6 | 26.1361
|  | 108 | 957.78 | 26.0117
|  | 109 | 951.49 | 27.8384
|  | 110 | 942.68 | 29.2331
|  | 111 | 977.85 | 24.3479
|  | 112 | 983.93 | 24.1929
|  | 113 | 1019.46 | 23.889
|  | 114 | 1177.05 | 30.1883
|  | 115 | 1238.77 | 31.1984
|  | 116 | 1237.16 | 29.8188
|  | 117 | 1205.36 | 29.914
|  | 118 | 1097.37 | 24.6545
|  | 119 | 946.15 | 22.2067
|  | 120 | 781.05 | 15.5775
|  | 121 | 640.88 | 13.4864
|  | 122 | 567.68 | 13.7457
|  | 123 | 533.36 | 13.5268
|  | 124 | 519.88 | 11.5364
|  | 125 | 525.37 | 13.2266
|  | 126 | 579.99 | 14.07
|  | 127 | 709.42 | 16.5251
|  | 128 | 884.2 | 18.3377
|  | 129 | 1037.05 | 22.5782
|  | 130 | 1086.18 | 23.9389
|  | 131 | 1094.28 | 26.6263
|  | 132 | 1073.83 | 31.0418
|  | 133 | 1071.17 | 33.5752
|  | 134 | 1084.65 | 36.372
|  | 135 | 1090.15 | 35.1024
|  | 136 | 1111.21 | 36.8941
|  | 137 | 1125.41 | 38.0583
|  | 138 | 1196.59 | 34.9531
|  | 139 | 1219.3 | 32.034
|  | 140 | 1155.42 | 29.2553
|  | 141 | 1107.91 | 30.5249
|  | 142 | 1002.75 | 24.9617
|  | 143 | 868.75 | 20.6145
|  | 144 | 730.85 | 17.0562
|  | 145 | 640.7 | 16.841
|  | 146 | 561.9 | 16.7686
|  | 147 | 510.17 | 16.3397
|  | 148 | 485.78 | 14.5443
|  | 149 | 485.38 | 14.4276
|  | 150 | 520 | 15.5208
|  | 151 | 612.92 | 15.3308
|  | 152 | 749.1 | 17.9546
|  | 153 | 907.05 | 20.9081
|  | 154 | 1006.38 | 23.7138
|  | 155 | 1055.28 | 22.1764
|  | 156 | 1081.47 | 20.9268
|  | 157 | 1040.27 | 20.339
|  | 158 | 1039.65 | 20.2334
|  | 159 | 1022.75 | 23.6486
|  | 160 | 1031.21 | 26.588
|  | 161 | 1076.81 | 25.0679
|  | 162 | 1209.6 | 27.6704
|  | 163 | 1244 | 29.0307
|  | 164 | 1246.32 | 30.6314
|  | 165 | 1217.23 | 32.217
|  | 166 | 1107.25 | 27.3092
|  | 167 | 944.56 | 20.9023
|  | 168 | 758.36 | 15.6848
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 19/02/2024 | 20/02/2024 | 21/02/2024 | 22/02/2024 | 23/02/2024 | 24/02/2024 | 25/02/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible