## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2024-02-25
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21554.14 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 19/02/2024 | 20/02/2024 | 21/02/2024 | 22/02/2024 | 23/02/2024 | 24/02/2024 | 25/02/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2023
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2024-02-23
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 556.6543 | -62.47 | 619.1243
|  | 2 | 415.9047 | -134.104 | 550.0087
|  | 3 | 402.6446 | -115.378 | 518.0226
|  | 4 | 346.9814 | -162.01 | 508.9914
|  | 5 | 338.2011 | -182.531 | 520.7321
|  | 6 | 455.389 | -133.217 | 588.606
|  | 7 | 728.4969 | -53.246 | 781.7429
|  | 8 | 1041.3886 | 34.943 | 1006.4456
|  | 9 | 1135.1367 | 97.905 | 1037.2317
|  | 10 | 1108.404 | 83.428 | 1024.976
|  | 11 | 982.5336 | -8.805 | 991.3386
|  | 12 | 982.0127 | 17.516 | 964.4967
|  | 13 | 1012.9141 | 50.501 | 962.4131
|  | 14 | 1013.4604 | 23.498 | 989.9624
|  | 15 | 1037.8554 | 30.645 | 1007.2104
|  | 16 | 1025.7889 | 35.28 | 990.5089
|  | 17 | 1254.8781 | 225.142 | 1029.7361
|  | 18 | 1476.1479 | 340.5 | 1135.6479
|  | 19 | 1532.2568 | 327.708 | 1204.5488
|  | 20 | 1491.8603 | 306.831 | 1185.0293
|  | 21 | 1442.0526 | 302.488 | 1139.5646
|  | 22 | 1150.0824 | 113.327 | 1036.7554
|  | 23 | 960.5131 | 72.551 | 887.9621
|  | 24 | 777.3058 | 55.3 | 722.0058
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Remont
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Remont
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Remont
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Remont
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Remont
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Remont
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.1 | Fierze | 125 | Hidro
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.3 | Fierze | 125 | Hidro
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.1 | Koman | 150 | Hidro | Remont profilaktik | Shkurt
| Agregati Nr.2 | Koman | 150 | Hidro
| Agregati Nr.3 | Koman | 150 | Hidro
| Agregati Nr.4 | Koman | 150 | Hidro | Remont profilaktik | Shkurt
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 45.883 | 42.9178 | -85.7587 | -159.6382 | -180.6712 | 276.5629
2 | 42.5208 | -2.6214 | -90.989 | -178.9176 | -162.5756 | 259.955
3 | 43.1876 | -11.2129 | -85.0207 | -180.7271 | -154.7132 | 275.0495
4 | 44.2138 | -21.3159 | -107.7892 | -183.5495 | -177.072 | 285.7649
5 | 44.875 | -23.9919 | -117.9774 | -184.5785 | -195.9418 | 297.6519
6 | 44.0834 | 11.8466 | -124.2523 | -162.3316 | -229.7971 | 329.9286
7 | 45.6106 | 60.1662 | -83.8324 | -154.4514 | -248.597 | 330.6498
8 | 23.5347 | 176.2236 | 4.4263 | -172.2632 | -100.5446 | 104.9313
9 | 7.4006 | 199.0135 | 54.4529 | -154.574 | 61.0982 | -67.4202
10 | -3.3767 | 199.0099 | 81.3756 | -147.3035 | 163.9438 | -207.2629
11 | -22.4577 | 198.9993 | 97.0234 | -158.3512 | 275.606 | -395.1992
12 | -25.6534 | 198.9638 | 105.6071 | -153.6031 | 307.4723 | -410.815
13 | -33.7522 | 213.0784 | 121.654 | -146.1197 | 323.4605 | -422.1072
14 | -43.9228 | 220.0697 | 116.3867 | -140.233 | 313.3213 | -436.5514
15 | -12.7596 | 220.1193 | 47.886 | -148.6647 | 109.0387 | -182.529
16 | 1.5996 | 215.164 | 29.0261 | -143.6779 | -0.28224 | -64.6901
17 | 3.6155 | 223.2084 | 24.1073 | -49.6291 | 30.7373 | -4.5326
18 | 2.1173 | 209.3713 | 19.1349 | -0.6806 | -5.4405 | 117.906
19 | -9.2034 | 220.8581 | 38.1846 | 0.064512 | 37.0971 | 43.005
20 | -6.3773 | 219.1791 | 41.2626 | -18.1666 | 61.0794 | 12.2986
21 | 4.8568 | 219.1493 | 2.7832 | -45.6777 | -19.8294 | 143.1689
22 | -0.90841 | 219.1195 | -25.9899 | -101.558 | -37.8282 | 62.885
23 | 27.9773 | 199.5237 | -60.5621 | -132.2593 | -102.3994 | 143.1276
24 | 21.303 | 110.6508 | -27.335 | -103.4385 | -40.3603 | 95.6442
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Termo | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2024-02-25
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 615.1
|  |  | 01:00 - 02:00 | 413.6
|  |  | 02:00 - 03:00 | 367.27
|  |  | 03:00 - 04:00 | 320.28
|  |  | 04:00 - 05:00 | 353.38
|  |  | 05:00 - 06:00 | 388.5
|  |  | 06:00 - 07:00 | 490.92
|  |  | 07:00 - 08:00 | 695.1
|  |  | 08:00 - 09:00 | 839.05
|  |  | 09:00 - 10:00 | 971.38
|  |  | 10:00 - 11:00 | 1056.28
|  |  | 11:00 - 12:00 | 1073.47
|  |  | 12:00 - 13:00 | 1025.27
|  |  | 13:00 - 14:00 | 1010.15
|  |  | 14:00 - 15:00 | 992.05
|  |  | 15:00 - 16:00 | 998.21
|  |  | 16:00 - 17:00 | 1086.41
|  |  | 17:00 - 18:00 | 1266.6
|  |  | 18:00 - 19:00 | 1394
|  |  | 19:00 - 20:00 | 1348.32
|  |  | 20:00 - 21:00 | 1319.23
|  |  | 21:00 - 22:00 | 1229.25
|  |  | 22:00 - 23:00 | 984.56
|  |  | 23:00 - 00:00 | 780.36
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0.56392 | 0 | 99.349 | 0 | 1.1194 | 105.4258 | 0
2 | 0 | 0 | 0 | 0.91424 | 0 | 0 | 109.7907 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 103.4502 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 100.6436 | 0
5 | 0 | 2.5412 | 0 | 0 | 0 | 0 | 110.5106 | 0
6 | 0 | 99.8213 | 0 | 0 | 0 | 0 | 110.6739 | 1.1819
7 | 0 | 99.8951 | 0 | 0 | 0.045062 | 0 | 114.1322 | 123.6002
8 | 4.3886 | 99.8866 | 0 | 93.073 | 127.8161 | 0 | 108.0397 | 133.694
9 | 99.7721 | 99.9316 | 0 | 99.3106 | 99.3098 | 0 | 89.536 | 131.7542
10 | 99.6946 | 99.9238 | 0 | 99.3182 | 99.1846 | 0 | 112.8925 | 102.1441
11 | 99.7236 | 99.8925 | 0 | 99.349 | 1.2454 | 0 | 137.5618 | 132.4766
12 | 99.648 | 99.9266 | 0 | 99.3189 | 0 | 0 | 139.3043 | 123.7996
13 | 99.6846 | 109.3455 | 0 | 104.0108 | 0 | 0 | 139.8557 | 143.3911
14 | 99.6896 | 110.0601 | 0 | 110.2976 | 0 | 0 | 143.423 | 143.4858
15 | 109.6888 | 111.0252 | 0 | 109.3751 | 0 | 0 | 143.6409 | 143.4929
16 | 104.8552 | 111.038 | 4.3725 | 104.4093 | 0 | 0 | 138.303 | 136.6815
17 | 100.566 | 111.8787 | 99.7918 | 111.6301 | 0 | 23.0105 | 125.1323 | 142.4388
18 | 99.8003 | 110.0781 | 99.8176 | 99.5588 | 0 | 143.5351 | 108.023 | 139.5612
19 | 109.6968 | 109.996 | 109.6062 | 111.1452 | 0 | 143.7807 | 101.2918 | 143.4592
20 | 99.9685 | 110.0072 | 104.8339 | 109.4456 | 0 | 143.7636 | 97.7837 | 140.5093
21 | 99.7324 | 110.0452 | 99.8121 | 109.3817 | 0 | 143.8193 | 89.8568 | 108.6471
22 | 99.7639 | 110.0225 | 0.83879 | 109.369 | 0 | 143.8193 | 92.2351 | 143.0466
23 | 1.9782 | 100.1014 | 0 | 99.6683 | 0 | 143.7551 | 94.0979 | 128.8273
24 | 0 | 50.6904 | 0 | 99.322 | 0 | 1.1563 | 112.9649 | 123.8865
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1428.6511 | 1956.6713 | 519.0729 | 1868.2464 | 327.6009 | 887.7596 | 2728.5695 | 2386.0777
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 174
Neni 5.12 | Rezerva energjitike | [5 empty] | 1287 GWh
Referuar kodit te transmetimit
Neni 97, 189 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Mesatare | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Neni 184 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 184 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 184 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 184 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 649.57 | 20.028
|  | 2 | 566.77 | 16.5949
|  | 3 | 530.97 | 15.5438
|  | 4 | 519.79 | 15.705
|  | 5 | 531.88 | 16.5795
|  | 6 | 600.25 | 18.1688
|  | 7 | 780.59 | 26.4886
|  | 8 | 1034.04 | 33.1624
|  | 9 | 1104.43 | 28.4855
|  | 10 | 1072.03 | 24.892
|  | 11 | 1007.93 | 21.2513
|  | 12 | 968.11 | 19.0856
|  | 13 | 951.42 | 19.725
|  | 14 | 975.71 | 20.7775
|  | 15 | 996.43 | 28.3887
|  | 16 | 1006.42 | 28.9185
|  | 17 | 1041.52 | 31.544
|  | 18 | 1188.85 | 33.562
|  | 19 | 1265.29 | 39.7488
|  | 20 | 1263.51 | 42.76
|  | 21 | 1230.12 | 45.962
|  | 22 | 1118.29 | 41.1113
|  | 23 | 958.85 | 31.4528
|  | 24 | 776.54 | 22.2925
|  | 25 | 625.73 | 20.704
|  | 26 | 550.95 | 20.915
|  | 27 | 522.54 | 19.9343
|  | 28 | 513.73 | 20.2862
|  | 29 | 525.83 | 21.4148
|  | 30 | 591.62 | 22.3431
|  | 31 | 780.44 | 29.0209
|  | 32 | 1044.5 | 37.1819
|  | 33 | 1095.35 | 38.7441
|  | 34 | 1055.66 | 40.1877
|  | 35 | 990.95 | 35.9018
|  | 36 | 955.19 | 32.2571
|  | 37 | 944.01 | 30.4129
|  | 38 | 1021.11 | 35.0344
|  | 39 | 1047.68 | 36.314
|  | 40 | 1059.54 | 37.729
|  | 41 | 1081.54 | 34.8998
|  | 42 | 1168.46 | 38.9903
|  | 43 | 1246.29 | 42.7598
|  | 44 | 1247.3 | 43.0921
|  | 45 | 1219.51 | 44.2412
|  | 46 | 1109.32 | 43.7753
|  | 47 | 953.31 | 32.678
|  | 48 | 774.32 | 21.0658
|  | 49 | 686.55 | 20.704
|  | 50 | 587.17 | 20.915
|  | 51 | 531.35 | 19.9343
|  | 52 | 518.95 | 20.2862
|  | 53 | 527.35 | 21.4148
|  | 54 | 595.83 | 22.3431
|  | 55 | 787.94 | 29.0209
|  | 56 | 1041.8 | 37.1819
|  | 57 | 1100.95 | 38.7441
|  | 58 | 1070.66 | 40.1877
|  | 59 | 1006.15 | 35.9018
|  | 60 | 959.19 | 32.2571
|  | 61 | 938.01 | 30.4129
|  | 62 | 939.21 | 35.0344
|  | 63 | 924.68 | 36.314
|  | 64 | 946.14 | 37.729
|  | 65 | 982.54 | 34.8998
|  | 66 | 1135.1 | 38.9903
|  | 67 | 1281.02 | 42.7598
|  | 68 | 1279.04 | 43.0921
|  | 69 | 1245.33 | 44.2412
|  | 70 | 1135.34 | 43.7753
|  | 71 | 971.96 | 32.678
|  | 72 | 780.46 | 21.0658
|  | 73 | 641.95 | 18.9411
|  | 74 | 563.15 | 18.1038
|  | 75 | 527.65 | 19.2843
|  | 76 | 513.36 | 19.3307
|  | 77 | 524.55 | 18.1001
|  | 78 | 595.57 | 14.4028
|  | 79 | 793.99 | 23.4016
|  | 80 | 1054.67 | 34.2296
|  | 81 | 1090.52 | 28.5551
|  | 82 | 1037.14 | 21.9278
|  | 83 | 963.14 | 19.4045
|  | 84 | 914.11 | 17.9104
|  | 85 | 896.61 | 17.1195
|  | 86 | 916.44 | 17.8044
|  | 87 | 937.02 | 19.9533
|  | 88 | 1001.27 | 25.2739
|  | 89 | 1048.68 | 35.277
|  | 90 | 1194.42 | 39.5678
|  | 91 | 1289.03 | 47.8026
|  | 92 | 1287.56 | 52.754
|  | 93 | 1253.46 | 46.1093
|  | 94 | 1143.55 | 38.066
|  | 95 | 969.75 | 27.7966
|  | 96 | 777.77 | 24.1693
|  | 97 | 614.25 | 18.3217
|  | 98 | 545.75 | 15.557
|  | 99 | 516.23 | 15.9576
|  | 100 | 504.83 | 16.6219
|  | 101 | 513.23 | 17.8859
|  | 102 | 599.34 | 20.1551
|  | 103 | 781.88 | 27.8288
|  | 104 | 1019.36 | 26.6274
|  | 105 | 1081.78 | 23.632
|  | 106 | 1047.11 | 24.5095
|  | 107 | 989.6 | 26.1361
|  | 108 | 957.78 | 26.0117
|  | 109 | 951.49 | 27.8384
|  | 110 | 942.68 | 29.2331
|  | 111 | 977.85 | 24.3479
|  | 112 | 983.93 | 24.1929
|  | 113 | 1019.46 | 23.889
|  | 114 | 1177.05 | 30.1883
|  | 115 | 1238.77 | 31.1984
|  | 116 | 1237.16 | 29.8188
|  | 117 | 1205.36 | 29.914
|  | 118 | 1097.37 | 24.6545
|  | 119 | 946.15 | 22.2067
|  | 120 | 781.05 | 15.5775
|  | 121 | 640.88 | 13.4864
|  | 122 | 567.68 | 13.7457
|  | 123 | 533.36 | 13.5268
|  | 124 | 519.88 | 11.5364
|  | 125 | 525.37 | 13.2266
|  | 126 | 579.99 | 14.07
|  | 127 | 709.42 | 16.5251
|  | 128 | 884.2 | 18.3377
|  | 129 | 1037.05 | 22.5782
|  | 130 | 1086.18 | 23.9389
|  | 131 | 1094.28 | 26.6263
|  | 132 | 1073.83 | 31.0418
|  | 133 | 1071.17 | 33.5752
|  | 134 | 1084.65 | 36.372
|  | 135 | 1090.15 | 35.1024
|  | 136 | 1111.21 | 36.8941
|  | 137 | 1125.41 | 38.0583
|  | 138 | 1196.59 | 34.9531
|  | 139 | 1219.3 | 32.034
|  | 140 | 1155.42 | 29.2553
|  | 141 | 1107.91 | 30.5249
|  | 142 | 1002.75 | 24.9617
|  | 143 | 868.75 | 20.6145
|  | 144 | 730.85 | 17.0562
|  | 145 | 640.7 | 16.841
|  | 146 | 561.9 | 16.7686
|  | 147 | 510.17 | 16.3397
|  | 148 | 485.78 | 14.5443
|  | 149 | 485.38 | 14.4276
|  | 150 | 520 | 15.5208
|  | 151 | 612.92 | 15.3308
|  | 152 | 749.1 | 17.9546
|  | 153 | 907.05 | 20.9081
|  | 154 | 1006.38 | 23.7138
|  | 155 | 1055.28 | 22.1764
|  | 156 | 1081.47 | 20.9268
|  | 157 | 1040.27 | 20.339
|  | 158 | 1039.65 | 20.2334
|  | 159 | 1022.75 | 23.6486
|  | 160 | 1031.21 | 26.588
|  | 161 | 1076.81 | 25.0679
|  | 162 | 1209.6 | 27.6704
|  | 163 | 1244 | 29.0307
|  | 164 | 1246.32 | 30.6314
|  | 165 | 1217.23 | 32.217
|  | 166 | 1107.25 | 27.3092
|  | 167 | 944.56 | 20.9023
|  | 168 | 758.36 | 15.6848
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 19/02/2024 | 20/02/2024 | 21/02/2024 | 22/02/2024 | 23/02/2024 | 24/02/2024 | 25/02/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
c | Albania Transmission System Operator
2024-02-25
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21554.14 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 19/02/2024 | 20/02/2024 | 21/02/2024 | 22/02/2024 | 23/02/2024 | 24/02/2024 | 25/02/2024
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2024
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2024-02-23
|  | Hour | Production | Exchange | Consumption
|  | 1 | 556.6543 | -62.47 | 619.1243
|  | 2 | 415.9047 | -134.104 | 550.0087
|  | 3 | 402.6446 | -115.378 | 518.0226
|  | 4 | 346.9814 | -162.01 | 508.9914
|  | 5 | 338.2011 | -182.531 | 520.7321
|  | 6 | 455.389 | -133.217 | 588.606
|  | 7 | 728.4969 | -53.246 | 781.7429
|  | 8 | 1041.3886 | 34.943 | 1006.4456
|  | 9 | 1135.1367 | 97.905 | 1037.2317
|  | 10 | 1108.404 | 83.428 | 1024.976
|  | 11 | 982.5336 | -8.805 | 991.3386
|  | 12 | 982.0127 | 17.516 | 964.4967
|  | 13 | 1012.9141 | 50.501 | 962.4131
|  | 14 | 1013.4604 | 23.498 | 989.9624
|  | 15 | 1037.8554 | 30.645 | 1007.2104
|  | 16 | 1025.7889 | 35.28 | 990.5089
|  | 17 | 1254.8781 | 225.142 | 1029.7361
|  | 18 | 1476.1479 | 340.5 | 1135.6479
|  | 19 | 1532.2568 | 327.708 | 1204.5488
|  | 20 | 1491.8603 | 306.831 | 1185.0293
|  | 21 | 1442.0526 | 302.488 | 1139.5646
|  | 22 | 1150.0824 | 113.327 | 1036.7554
|  | 23 | 960.5131 | 72.551 | 887.9621
|  | 24 | 777.3058 | 55.3 | 722.0058
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Podgorica 2 - Tirana 2 | 2024-03-11 | 2024-03-13 |  |  | Maintenace
| Zemblak-Kardia | 2024-09-15 | 2024-10-05 |  |  | Maintenace
| Prizren_Fierza | 2024-05-07 | 2024-05-08 |  |  | Maintenace
| Prizren_Fierza | 2024-10-17 | 2024-10-18 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-04-03 | 2024-04-04 |  |  | Maintenace
| Tie Line Koman-KosovoB | 2024-08-22 | 2024-08-23 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-04-18 | 2024-04-19 |  |  | Maintenace
| Vau Dejes-Podgorica | 2024-10-28 | 2024-11-08 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.1 | Fierze | 125 | Hidro
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | February
| Aggregate Nr.3 | Fierze | 125 | Hidro
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | February
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | February
| Aggregate Nr.2 | Koman | 150 | Hidro
| Aggregate Nr.3 | Koman | 150 | Hidro
| Aggregate Nr.4 | Koman | 150 | Hidro | Preventive Maintenance | February
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 400
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 45.883 | 42.9178 | -85.7587 | -159.6382 | -180.6712 | 276.5629
2 | 42.5208 | -2.6214 | -90.989 | -178.9176 | -162.5756 | 259.955
3 | 43.1876 | -11.2129 | -85.0207 | -180.7271 | -154.7132 | 275.0495
4 | 44.2138 | -21.3159 | -107.7892 | -183.5495 | -177.072 | 285.7649
5 | 44.875 | -23.9919 | -117.9774 | -184.5785 | -195.9418 | 297.6519
6 | 44.0834 | 11.8466 | -124.2523 | -162.3316 | -229.7971 | 329.9286
7 | 45.6106 | 60.1662 | -83.8324 | -154.4514 | -248.597 | 330.6498
8 | 23.5347 | 176.2236 | 4.4263 | -172.2632 | -100.5446 | 104.9313
9 | 7.4006 | 199.0135 | 54.4529 | -154.574 | 61.0982 | -67.4202
10 | -3.3767 | 199.0099 | 81.3756 | -147.3035 | 163.9438 | -207.2629
11 | -22.4577 | 198.9993 | 97.0234 | -158.3512 | 275.606 | -395.1992
12 | -25.6534 | 198.9638 | 105.6071 | -153.6031 | 307.4723 | -410.815
13 | -33.7522 | 213.0784 | 121.654 | -146.1197 | 323.4605 | -422.1072
14 | -43.9228 | 220.0697 | 116.3867 | -140.233 | 313.3213 | -436.5514
15 | -12.7596 | 220.1193 | 47.886 | -148.6647 | 109.0387 | -182.529
16 | 1.5996 | 215.164 | 29.0261 | -143.6779 | -0.28224 | -64.6901
17 | 3.6155 | 223.2084 | 24.1073 | -49.6291 | 30.7373 | -4.5326
18 | 2.1173 | 209.3713 | 19.1349 | -0.6806 | -5.4405 | 117.906
19 | -9.2034 | 220.8581 | 38.1846 | 0.064512 | 37.0971 | 43.005
20 | -6.3773 | 219.1791 | 41.2626 | -18.1666 | 61.0794 | 12.2986
21 | 4.8568 | 219.1493 | 2.7832 | -45.6777 | -19.8294 | 143.1689
22 | -0.90841 | 219.1195 | -25.9899 | -101.558 | -37.8282 | 62.885
23 | 27.9773 | 199.5237 | -60.5621 | -132.2593 | -102.3994 | 143.1276
24 | 21.303 | 110.6508 | -27.335 | -103.4385 | -40.3603 | 95.6442
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Termo | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2024-02-25
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 615.1
|  |  | 01:00 - 02:00 | 413.6
|  |  | 02:00 - 03:00 | 367.27
|  |  | 03:00 - 04:00 | 320.28
|  |  | 04:00 - 05:00 | 353.38
|  |  | 05:00 - 06:00 | 388.5
|  |  | 06:00 - 07:00 | 490.92
|  |  | 07:00 - 08:00 | 695.1
|  |  | 08:00 - 09:00 | 839.05
|  |  | 09:00 - 10:00 | 971.38
|  |  | 10:00 - 11:00 | 1056.28
|  |  | 11:00 - 12:00 | 1073.47
|  |  | 12:00 - 13:00 | 1025.27
|  |  | 13:00 - 14:00 | 1010.15
|  |  | 14:00 - 15:00 | 992.05
|  |  | 15:00 - 16:00 | 998.21
|  |  | 16:00 - 17:00 | 1086.41
|  |  | 17:00 - 18:00 | 1266.6
|  |  | 18:00 - 19:00 | 1394
|  |  | 19:00 - 20:00 | 1348.32
|  |  | 20:00 - 21:00 | 1319.23
|  |  | 21:00 - 22:00 | 1229.25
|  |  | 22:00 - 23:00 | 984.56
|  |  | 23:00 - 00:00 | 780.36
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0.56392 | 0 | 99.349 | 0 | 1.1194 | 105.4258 | 0
2 | 0 | 0 | 0 | 0.91424 | 0 | 0 | 109.7907 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 103.4502 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 100.6436 | 0
5 | 0 | 2.5412 | 0 | 0 | 0 | 0 | 110.5106 | 0
6 | 0 | 99.8213 | 0 | 0 | 0 | 0 | 110.6739 | 1.1819
7 | 0 | 99.8951 | 0 | 0 | 0.045062 | 0 | 114.1322 | 123.6002
8 | 4.3886 | 99.8866 | 0 | 93.073 | 127.8161 | 0 | 108.0397 | 133.694
9 | 99.7721 | 99.9316 | 0 | 99.3106 | 99.3098 | 0 | 89.536 | 131.7542
10 | 99.6946 | 99.9238 | 0 | 99.3182 | 99.1846 | 0 | 112.8925 | 102.1441
11 | 99.7236 | 99.8925 | 0 | 99.349 | 1.2454 | 0 | 137.5618 | 132.4766
12 | 99.648 | 99.9266 | 0 | 99.3189 | 0 | 0 | 139.3043 | 123.7996
13 | 99.6846 | 109.3455 | 0 | 104.0108 | 0 | 0 | 139.8557 | 143.3911
14 | 99.6896 | 110.0601 | 0 | 110.2976 | 0 | 0 | 143.423 | 143.4858
15 | 109.6888 | 111.0252 | 0 | 109.3751 | 0 | 0 | 143.6409 | 143.4929
16 | 104.8552 | 111.038 | 4.3725 | 104.4093 | 0 | 0 | 138.303 | 136.6815
17 | 100.566 | 111.8787 | 99.7918 | 111.6301 | 0 | 23.0105 | 125.1323 | 142.4388
18 | 99.8003 | 110.0781 | 99.8176 | 99.5588 | 0 | 143.5351 | 108.023 | 139.5612
19 | 109.6968 | 109.996 | 109.6062 | 111.1452 | 0 | 143.7807 | 101.2918 | 143.4592
20 | 99.9685 | 110.0072 | 104.8339 | 109.4456 | 0 | 143.7636 | 97.7837 | 140.5093
21 | 99.7324 | 110.0452 | 99.8121 | 109.3817 | 0 | 143.8193 | 89.8568 | 108.6471
22 | 99.7639 | 110.0225 | 0.83879 | 109.369 | 0 | 143.8193 | 92.2351 | 143.0466
23 | 1.9782 | 100.1014 | 0 | 99.6683 | 0 | 143.7551 | 94.0979 | 128.8273
24 | 0 | 50.6904 | 0 | 99.322 | 0 | 1.1563 | 112.9649 | 123.8865
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 1428.6511 | 1956.1074 | 519.0729 | 1768.8975 | 327.6009 | 886.6401 | 2623.1438 | 2386.0777
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 174
Art. 5.12 | Energy reserve | [5 empty] | 1287 GWh
Refering to transmission code
Art. 97, 189 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 60 | 55 | 0 | 0 | 0 | 0 | 115
2 | 60 | 55 | 0 | 0 | 0 | 0 | 115
3 | 60 | 55 | 0 | 0 | 0 | 0 | 115
4 | 60 | 55 | 0 | 0 | 0 | 0 | 115
5 | 60 | 55 | 0 | 0 | 0 | 0 | 115
6 | 60 | 55 | 0 | 0 | 0 | 0 | 115
7 | 65 | 50 | 0 | 0 | 0 | 0 | 115
8 | 65 | 50 | 0 | 0 | 0 | 0 | 115
9 | 65 | 50 | 0 | 0 | 0 | 0 | 115
10 | 65 | 50 | 0 | 0 | 0 | 0 | 115
11 | 65 | 50 | 0 | 0 | 0 | 0 | 115
12 | 65 | 50 | 0 | 0 | 0 | 0 | 115
13 | 65 | 50 | 0 | 0 | 0 | 0 | 115
14 | 65 | 50 | 0 | 0 | 0 | 0 | 115
15 | 65 | 50 | 0 | 0 | 0 | 0 | 115
16 | 65 | 50 | 0 | 0 | 0 | 0 | 115
17 | 65 | 50 | 0 | 0 | 0 | 0 | 115
18 | 65 | 50 | 0 | 0 | 0 | 0 | 115
19 | 65 | 50 | 0 | 0 | 0 | 0 | 115
20 | 65 | 50 | 0 | 0 | 0 | 0 | 115
21 | 65 | 50 | 0 | 0 | 0 | 0 | 115
22 | 65 | 50 | 0 | 0 | 0 | 0 | 115
23 | 65 | 50 | 0 | 0 | 0 | 0 | 115
24 | 65 | 50 | 0 | 0 | 0 | 0 | 115
Average | 63.75 | 51.25 | 0 | 0 | 0 | 0 | 115
Art. 184 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 184 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 184 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 184 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 184 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 649.57 | 20.028
|  | 2 | 566.77 | 16.5949
|  | 3 | 530.97 | 15.5438
|  | 4 | 519.79 | 15.705
|  | 5 | 531.88 | 16.5795
|  | 6 | 600.25 | 18.1688
|  | 7 | 780.59 | 26.4886
|  | 8 | 1034.04 | 33.1624
|  | 9 | 1104.43 | 28.4855
|  | 10 | 1072.03 | 24.892
|  | 11 | 1007.93 | 21.2513
|  | 12 | 968.11 | 19.0856
|  | 13 | 951.42 | 19.725
|  | 14 | 975.71 | 20.7775
|  | 15 | 996.43 | 28.3887
|  | 16 | 1006.42 | 28.9185
|  | 17 | 1041.52 | 31.544
|  | 18 | 1188.85 | 33.562
|  | 19 | 1265.29 | 39.7488
|  | 20 | 1263.51 | 42.76
|  | 21 | 1230.12 | 45.962
|  | 22 | 1118.29 | 41.1113
|  | 23 | 958.85 | 31.4528
|  | 24 | 776.54 | 22.2925
|  | 25 | 625.73 | 20.704
|  | 26 | 550.95 | 20.915
|  | 27 | 522.54 | 19.9343
|  | 28 | 513.73 | 20.2862
|  | 29 | 525.83 | 21.4148
|  | 30 | 591.62 | 22.3431
|  | 31 | 780.44 | 29.0209
|  | 32 | 1044.5 | 37.1819
|  | 33 | 1095.35 | 38.7441
|  | 34 | 1055.66 | 40.1877
|  | 35 | 990.95 | 35.9018
|  | 36 | 955.19 | 32.2571
|  | 37 | 944.01 | 30.4129
|  | 38 | 1021.11 | 35.0344
|  | 39 | 1047.68 | 36.314
|  | 40 | 1059.54 | 37.729
|  | 41 | 1081.54 | 34.8998
|  | 42 | 1168.46 | 38.9903
|  | 43 | 1246.29 | 42.7598
|  | 44 | 1247.3 | 43.0921
|  | 45 | 1219.51 | 44.2412
|  | 46 | 1109.32 | 43.7753
|  | 47 | 953.31 | 32.678
|  | 48 | 774.32 | 21.0658
|  | 49 | 686.55 | 20.704
|  | 50 | 587.17 | 20.915
|  | 51 | 531.35 | 19.9343
|  | 52 | 518.95 | 20.2862
|  | 53 | 527.35 | 21.4148
|  | 54 | 595.83 | 22.3431
|  | 55 | 787.94 | 29.0209
|  | 56 | 1041.8 | 37.1819
|  | 57 | 1100.95 | 38.7441
|  | 58 | 1070.66 | 40.1877
|  | 59 | 1006.15 | 35.9018
|  | 60 | 959.19 | 32.2571
|  | 61 | 938.01 | 30.4129
|  | 62 | 939.21 | 35.0344
|  | 63 | 924.68 | 36.314
|  | 64 | 946.14 | 37.729
|  | 65 | 982.54 | 34.8998
|  | 66 | 1135.1 | 38.9903
|  | 67 | 1281.02 | 42.7598
|  | 68 | 1279.04 | 43.0921
|  | 69 | 1245.33 | 44.2412
|  | 70 | 1135.34 | 43.7753
|  | 71 | 971.96 | 32.678
|  | 72 | 780.46 | 21.0658
|  | 73 | 641.95 | 18.9411
|  | 74 | 563.15 | 18.1038
|  | 75 | 527.65 | 19.2843
|  | 76 | 513.36 | 19.3307
|  | 77 | 524.55 | 18.1001
|  | 78 | 595.57 | 14.4028
|  | 79 | 793.99 | 23.4016
|  | 80 | 1054.67 | 34.2296
|  | 81 | 1090.52 | 28.5551
|  | 82 | 1037.14 | 21.9278
|  | 83 | 963.14 | 19.4045
|  | 84 | 914.11 | 17.9104
|  | 85 | 896.61 | 17.1195
|  | 86 | 916.44 | 17.8044
|  | 87 | 937.02 | 19.9533
|  | 88 | 1001.27 | 25.2739
|  | 89 | 1048.68 | 35.277
|  | 90 | 1194.42 | 39.5678
|  | 91 | 1289.03 | 47.8026
|  | 92 | 1287.56 | 52.754
|  | 93 | 1253.46 | 46.1093
|  | 94 | 1143.55 | 38.066
|  | 95 | 969.75 | 27.7966
|  | 96 | 777.77 | 24.1693
|  | 97 | 614.25 | 18.3217
|  | 98 | 545.75 | 15.557
|  | 99 | 516.23 | 15.9576
|  | 100 | 504.83 | 16.6219
|  | 101 | 513.23 | 17.8859
|  | 102 | 599.34 | 20.1551
|  | 103 | 781.88 | 27.8288
|  | 104 | 1019.36 | 26.6274
|  | 105 | 1081.78 | 23.632
|  | 106 | 1047.11 | 24.5095
|  | 107 | 989.6 | 26.1361
|  | 108 | 957.78 | 26.0117
|  | 109 | 951.49 | 27.8384
|  | 110 | 942.68 | 29.2331
|  | 111 | 977.85 | 24.3479
|  | 112 | 983.93 | 24.1929
|  | 113 | 1019.46 | 23.889
|  | 114 | 1177.05 | 30.1883
|  | 115 | 1238.77 | 31.1984
|  | 116 | 1237.16 | 29.8188
|  | 117 | 1205.36 | 29.914
|  | 118 | 1097.37 | 24.6545
|  | 119 | 946.15 | 22.2067
|  | 120 | 781.05 | 15.5775
|  | 121 | 640.88 | 13.4864
|  | 122 | 567.68 | 13.7457
|  | 123 | 533.36 | 13.5268
|  | 124 | 519.88 | 11.5364
|  | 125 | 525.37 | 13.2266
|  | 126 | 579.99 | 14.07
|  | 127 | 709.42 | 16.5251
|  | 128 | 884.2 | 18.3377
|  | 129 | 1037.05 | 22.5782
|  | 130 | 1086.18 | 23.9389
|  | 131 | 1094.28 | 26.6263
|  | 132 | 1073.83 | 31.0418
|  | 133 | 1071.17 | 33.5752
|  | 134 | 1084.65 | 36.372
|  | 135 | 1090.15 | 35.1024
|  | 136 | 1111.21 | 36.8941
|  | 137 | 1125.41 | 38.0583
|  | 138 | 1196.59 | 34.9531
|  | 139 | 1219.3 | 32.034
|  | 140 | 1155.42 | 29.2553
|  | 141 | 1107.91 | 30.5249
|  | 142 | 1002.75 | 24.9617
|  | 143 | 868.75 | 20.6145
|  | 144 | 730.85 | 17.0562
|  | 145 | 640.7 | 16.841
|  | 146 | 561.9 | 16.7686
|  | 147 | 510.17 | 16.3397
|  | 148 | 485.78 | 14.5443
|  | 149 | 485.38 | 14.4276
|  | 150 | 520 | 15.5208
|  | 151 | 612.92 | 15.3308
|  | 152 | 749.1 | 17.9546
|  | 153 | 907.05 | 20.9081
|  | 154 | 1006.38 | 23.7138
|  | 155 | 1055.28 | 22.1764
|  | 156 | 1081.47 | 20.9268
|  | 157 | 1040.27 | 20.339
|  | 158 | 1039.65 | 20.2334
|  | 159 | 1022.75 | 23.6486
|  | 160 | 1031.21 | 26.588
|  | 161 | 1076.81 | 25.0679
|  | 162 | 1209.6 | 27.6704
|  | 163 | 1244 | 29.0307
|  | 164 | 1246.32 | 30.6314
|  | 165 | 1217.23 | 32.217
|  | 166 | 1107.25 | 27.3092
|  | 167 | 944.56 | 20.9023
|  | 168 | 758.36 | 15.6848
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 19/02/2024 | 20/02/2024 | 21/02/2024 | 22/02/2024 | 23/02/2024 | 24/02/2024 | 25/02/2024
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible