## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-05-12
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 17930.74 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 05/12/2025 | 13/05/20252 | 14/05/2025 | 15/05/2025 | 16/05/2025 | 17/05/2025 | 18/05/2025
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-05-10
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 608.7113 | 13.489 | 595.2223
|  | 2 | 526.1288 | -20.8176 | 546.9464
|  | 3 | 471.5226 | -50.1897 | 521.7122
|  | 4 | 451.6518 | -59.4789 | 511.1307
|  | 5 | 462.4105 | -55.7822 | 518.1926
|  | 6 | 495.3792 | -57.798 | 553.1772
|  | 7 | 607.7327 | -26.6843 | 634.417
|  | 8 | 717.3563 | -4.8224 | 722.1787
|  | 9 | 788.0095 | -0.4535 | 788.463
|  | 10 | 751.2135 | -44.5691 | 795.7826
|  | 11 | 702.9151 | -71.5994 | 774.5145
|  | 12 | 682.5193 | -83.2595 | 765.7788
|  | 13 | 690.2815 | -63.7924 | 754.0739
|  | 14 | 669.6664 | -70.6348 | 740.3012
|  | 15 | 654.7541 | -63.7339 | 718.488
|  | 16 | 624.1532 | -77.8012 | 701.9545
|  | 17 | 647.1235 | -71.8139 | 718.9374
|  | 18 | 720.9761 | -42.5988 | 763.5749
|  | 19 | 897.9245 | 71.0193 | 826.9052
|  | 20 | 1144.5099 | 267.5448 | 876.965
|  | 21 | 1240.1541 | 286.3836 | 953.7705
|  | 22 | 1179.2469 | 272.8978 | 906.349
|  | 23 | 1077.5462 | 277.3061 | 800.2401
|  | 24 | 684.5631 | -0.72812 | 685.2912
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-05-12
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 601.65
|  |  | 01:00 - 02:00 | 553.05
|  |  | 02:00 - 03:00 | 527.52
|  |  | 03:00 - 04:00 | 524.67
|  |  | 04:00 - 05:00 | 537.49
|  |  | 05:00 - 06:00 | 582.33
|  |  | 06:00 - 07:00 | 863
|  |  | 07:00 - 08:00 | 961.88
|  |  | 08:00 - 09:00 | 925.35
|  |  | 09:00 - 10:00 | 812.13
|  |  | 10:00 - 11:00 | 757.13
|  |  | 11:00 - 12:00 | 801.69
|  |  | 12:00 - 13:00 | 783.14
|  |  | 13:00 - 14:00 | 796.85
|  |  | 14:00 - 15:00 | 821.73
|  |  | 15:00 - 16:00 | 800.9
|  |  | 16:00 - 17:00 | 818.56
|  |  | 17:00 - 18:00 | 944.78
|  |  | 18:00 - 19:00 | 1110.81
|  |  | 19:00 - 20:00 | 1158.94
|  |  | 20:00 - 21:00 | 1239.06
|  |  | 21:00 - 22:00 | 1177.82
|  |  | 22:00 - 23:00 | 1000.31
|  |  | 23:00 - 00:00 | 878.07
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 94.3158 | 93.9347 | 96.0271 | 0 | 0
2 | 0 | 0 | 0 | 94.3108 | 0.14902 | 114.9001 | 0 | 0
3 | 0 | 0 | 0 | 94.2718 | 0 | 98.0381 | 0 | 0
4 | 0 | 0 | 0 | 94.3087 | 0 | 89.9799 | 0 | 0
5 | 0 | 0 | 0 | 94.2879 | 0 | 100.3636 | 0 | 0
6 | 0 | 0 | 0 | 94.2775 | 0 | 126.7474 | 0 | 0
7 | 0 | 0 | 0 | 94.2794 | 0 | 92.4906 | 0 | 0
8 | 0 | 0 | 0 | 94.3158 | 0 | 124.9286 | 0 | 0
9 | 0 | 0 | 0 | 99.287 | 0 | 120.2113 | 0 | 0
10 | 0 | 0 | 0 | 94.3449 | 0 | 95.4753 | 0 | 0
11 | 0 | 0 | 0 | 94.3501 | 0 | 89.3381 | 0 | 0
12 | 0 | 0 | 0 | 94.3534 | 0 | 100.5879 | 0 | 0
13 | 0 | 0 | 0 | 94.3534 | 0 | 112.7304 | 0 | 0
14 | 0 | 0 | 0 | 94.3773 | 0 | 102.5667 | 0 | 0
15 | 0 | 0 | 0 | 91.2457 | 0 | 89.8415 | 0 | 0
16 | 0 | 0 | 0 | 94.3515 | 0 | 92.5346 | 0 | 0
17 | 0 | 0.95138 | 0 | 94.3236 | 0 | 110.1413 | 0 | 0
18 | 1.349 | 89.3753 | 0 | 89.4073 | 0 | 131.9014 | 0 | 0
19 | 93.7911 | 94.9251 | 0 | 94.3699 | 1.2415 | 115.9989 | 0 | 0
20 | 94.58 | 94.9161 | 0 | 94.3891 | 93.7647 | 117.0581 | 0 | 0
21 | 94.6089 | 99.8767 | 0 | 99.1787 | 137.0942 | 122.4392 | 0 | 0
22 | 94.5968 | 95.0197 | 0 | 94.4262 | 105.1802 | 106.7013 | 0 | 0
23 | 94.5916 | 95.0015 | 0 | 94.4097 | 109.0037 | 123.4032 | 0 | 0
24 | 0.84967 | 94.9665 | 0 | 94.382 | 70.4991 | 123.4724 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 474.367 | 665.0324 | 0 | 2265.9172 | 610.8672 | 2597.877 | 0 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 1709 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 835.6 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 70 | 75 | 0 | 0 | 0 | 0 | 145
11 | 70 | 75 | 0 | 0 | 0 | 0 | 145
12 | 70 | 75 | 0 | 0 | 0 | 0 | 145
13 | 70 | 75 | 0 | 0 | 0 | 0 | 145
14 | 70 | 75 | 0 | 0 | 0 | 0 | 145
15 | 70 | 75 | 0 | 0 | 0 | 0 | 145
16 | 70 | 75 | 0 | 0 | 0 | 0 | 145
17 | 70 | 75 | 0 | 0 | 0 | 0 | 145
18 | 70 | 75 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 71.4583 | 73.5417 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 584.73 | 12.8109
|  | 2 | 518.35 | 12.4648
|  | 3 | 491.37 | 11.7549
|  | 4 | 485.07 | 13.6323
|  | 5 | 489.89 | 14.3804
|  | 6 | 551.3 | 16.0116
|  | 7 | 663.27 | 15.0189
|  | 8 | 809.18 | 22.6166
|  | 9 | 881.72 | 24.9251
|  | 10 | 846.84 | 26.1803
|  | 11 | 797.18 | 29.3221
|  | 12 | 740.63 | 33.2915
|  | 13 | 672.29 | 27.3846
|  | 14 | 734.68 | 25.5459
|  | 15 | 721.17 | 25.4432
|  | 16 | 780.67 | 24.4961
|  | 17 | 841.28 | 19.9441
|  | 18 | 877.94 | 16.8951
|  | 19 | 898.87 | 18.6785
|  | 20 | 911.39 | 20.2953
|  | 21 | 970.7 | 21.7195
|  | 22 | 914.33 | 20.866
|  | 23 | 803.55 | 19.934
|  | 24 | 685.45 | 15.2451
|  | 25 | 608.31 | 16.1581
|  | 26 | 555.57 | 17.1735
|  | 27 | 531.34 | 16.6142
|  | 28 | 525.56 | 16.8525
|  | 29 | 530.82 | 18.227
|  | 30 | 578.52 | 16.9138
|  | 31 | 680.94 | 14.5922
|  | 32 | 836.66 | 21.6296
|  | 33 | 896.93 | 27.9484
|  | 34 | 861.91 | 27.7459
|  | 35 | 760.62 | 25.795
|  | 36 | 767.37 | 35.1787
|  | 37 | 755.09 | 37.8627
|  | 38 | 779.47 | 34.666
|  | 39 | 788.91 | 28.4472
|  | 40 | 731.22 | 23.5784
|  | 41 | 759.24 | 21.0901
|  | 42 | 808.31 | 19.974
|  | 43 | 830.05 | 18.639
|  | 44 | 901.06 | 20.0461
|  | 45 | 998.6 | 22.4689
|  | 46 | 942.54 | 20.038
|  | 47 | 838.8 | 16.0658
|  | 48 | 723.77 | 13.4751
|  | 49 | 608.6 | 13.1188
|  | 50 | 551.72 | 11.8206
|  | 51 | 516.75 | 11.9327
|  | 52 | 514.96 | 11.8491
|  | 53 | 521.34 | 14.0972
|  | 54 | 566.92 | 16.5962
|  | 55 | 681.34 | 14.2663
|  | 56 | 818.56 | 17.0844
|  | 57 | 885.34 | 22.6807
|  | 58 | 873.84 | 24.4278
|  | 59 | 748.66 | 23.2839
|  | 60 | 758.93 | 23.7493
|  | 61 | 752.71 | 25.8358
|  | 62 | 765.54 | 27.8999
|  | 63 | 767.32 | 24.249
|  | 64 | 801.96 | 20.803
|  | 65 | 853.63 | 16.6695
|  | 66 | 858.08 | 14.6441
|  | 67 | 867.71 | 17.4787
|  | 68 | 898.46 | 19.8706
|  | 69 | 964.5 | 20.9499
|  | 70 | 924.81 | 18.1682
|  | 71 | 818.19 | 16.4779
|  | 72 | 689.1 | 13.9368
|  | 73 | 606.88 | 19.6527
|  | 74 | 548.87 | 20.1084
|  | 75 | 520.58 | 20.7044
|  | 76 | 499.2 | 22.1423
|  | 77 | 521.33 | 21.7941
|  | 78 | 567.24 | 19.4021
|  | 79 | 666.32 | 13.7092
|  | 80 | 801.82 | 14.2329
|  | 81 | 853.05 | 15.3283
|  | 82 | 837.57 | 14.4835
|  | 83 | 791.95 | 14.7202
|  | 84 | 777.83 | 14.0211
|  | 85 | 772.74 | 13.333
|  | 86 | 827.94 | 16.834
|  | 87 | 841.6 | 17.1872
|  | 88 | 879.61 | 14.3662
|  | 89 | 818.79 | 14.0509
|  | 90 | 793.6 | 13.8062
|  | 91 | 841.78 | 17.9804
|  | 92 | 908.84 | 19.7661
|  | 93 | 978.04 | 23.7134
|  | 94 | 984.41 | 20.0176
|  | 95 | 817.55 | 16.683
|  | 96 | 706.45 | 13.539
|  | 97 | 599.53 | 12.8465
|  | 98 | 542.35 | 11.6674
|  | 99 | 524.61 | 11.9296
|  | 100 | 510.95 | 11.9582
|  | 101 | 520.83 | 12.2001
|  | 102 | 555.1 | 14.3596
|  | 103 | 637.71 | 16.7133
|  | 104 | 726.04 | 24.2374
|  | 105 | 795.1 | 35.7777
|  | 106 | 811.53 | 30.1624
|  | 107 | 793.41 | 21.3943
|  | 108 | 775.19 | 16.6098
|  | 109 | 771.39 | 13.9008
|  | 110 | 745.15 | 18.9968
|  | 111 | 722.36 | 16.5635
|  | 112 | 708.5 | 13.9101
|  | 113 | 714.17 | 14.8291
|  | 114 | 754.87 | 14.1281
|  | 115 | 809.03 | 18.6886
|  | 116 | 882.37 | 20.0762
|  | 117 | 951.08 | 20.7901
|  | 118 | 891.86 | 18.8937
|  | 119 | 788.64 | 17.4764
|  | 120 | 679.54 | 15.9827
|  | 121 | 629.79 | 14.8288
|  | 122 | 553.4 | 17.3973
|  | 123 | 518.71 | 17.8418
|  | 124 | 501.28 | 20.4194
|  | 125 | 501.18 | 19.4822
|  | 126 | 537.54 | 19.2484
|  | 127 | 596.86 | 21.6694
|  | 128 | 687.66 | 28.9565
|  | 129 | 745.27 | 34.5215
|  | 130 | 767.61 | 32.9134
|  | 131 | 734.57 | 19.5553
|  | 132 | 728.48 | 18.2248
|  | 133 | 727.93 | 19.0752
|  | 134 | 710.6 | 19.7812
|  | 135 | 684.65 | 19.9309
|  | 136 | 698.4 | 15.643
|  | 137 | 731.76 | 13.3919
|  | 138 | 784.63 | 13.8296
|  | 139 | 839.86 | 15.7791
|  | 140 | 916.6 | 19.1459
|  | 141 | 966.67 | 22.8361
|  | 142 | 921.11 | 20.179
|  | 143 | 810.75 | 18.3488
|  | 144 | 681.05 | 15.8405
|  | 145 | 620.4 | 14.7939
|  | 146 | 586.68 | 15.5864
|  | 147 | 559.18 | 14.8581
|  | 148 | 551.21 | 15.5437
|  | 149 | 556.81 | 14.788
|  | 150 | 599.59 | 16.539
|  | 151 | 709.26 | 19.907
|  | 152 | 800.13 | 26.8817
|  | 153 | 783.61 | 31.703
|  | 154 | 757.4 | 16.7094
|  | 155 | 724.14 | 17.0314
|  | 156 | 759.55 | 18.8245
|  | 157 | 739.43 | 22.4361
|  | 158 | 762.76 | 21.879
|  | 159 | 792 | 22.2579
|  | 160 | 780.18 | 21.5134
|  | 161 | 781.35 | 13.7439
|  | 162 | 823.73 | 14.9321
|  | 163 | 860.11 | 15.7953
|  | 164 | 909.93 | 17.6395
|  | 165 | 991.3 | 19.3173
|  | 166 | 948.14 | 20.7785
|  | 167 | 833.65 | 21.2246
|  | 168 | 700.2 | 18.1253
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 05/12/2025 | 13/05/20252 | 14/05/2025 | 15/05/2025 | 16/05/2025 | 17/05/2025 | 18/05/2025
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-05-12
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 17930.74 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 05/12/2025 | 13/05/20252 | 14/05/2025 | 15/05/2025 | 16/05/2025 | 17/05/2025 | 18/05/2025
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-05-10
|  | Hour | Production | Exchange | Consumption
|  | 1 | 608.7113 | 13.489 | 595.2223
|  | 2 | 526.1288 | -20.8176 | 546.9464
|  | 3 | 471.5226 | -50.1897 | 521.7122
|  | 4 | 451.6518 | -59.4789 | 511.1307
|  | 5 | 462.4105 | -55.7822 | 518.1926
|  | 6 | 495.3792 | -57.798 | 553.1772
|  | 7 | 607.7327 | -26.6843 | 634.417
|  | 8 | 717.3563 | -4.8224 | 722.1787
|  | 9 | 788.0095 | -0.4535 | 788.463
|  | 10 | 751.2135 | -44.5691 | 795.7826
|  | 11 | 702.9151 | -71.5994 | 774.5145
|  | 12 | 682.5193 | -83.2595 | 765.7788
|  | 13 | 690.2815 | -63.7924 | 754.0739
|  | 14 | 669.6664 | -70.6348 | 740.3012
|  | 15 | 654.7541 | -63.7339 | 718.488
|  | 16 | 624.1532 | -77.8012 | 701.9545
|  | 17 | 647.1235 | -71.8139 | 718.9374
|  | 18 | 720.9761 | -42.5988 | 763.5749
|  | 19 | 897.9245 | 71.0193 | 826.9052
|  | 20 | 1144.5099 | 267.5448 | 876.965
|  | 21 | 1240.1541 | 286.3836 | 953.7705
|  | 22 | 1179.2469 | 272.8978 | 906.349
|  | 23 | 1077.5462 | 277.3061 | 800.2401
|  | 24 | 684.5631 | -0.72812 | 685.2912
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2025-05-12
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 601.65
|  |  | 01:00 - 02:00 | 553.05
|  |  | 02:00 - 03:00 | 527.52
|  |  | 03:00 - 04:00 | 524.67
|  |  | 04:00 - 05:00 | 537.49
|  |  | 05:00 - 06:00 | 582.33
|  |  | 06:00 - 07:00 | 863
|  |  | 07:00 - 08:00 | 961.88
|  |  | 08:00 - 09:00 | 925.35
|  |  | 09:00 - 10:00 | 812.13
|  |  | 10:00 - 11:00 | 757.13
|  |  | 11:00 - 12:00 | 801.69
|  |  | 12:00 - 13:00 | 783.14
|  |  | 13:00 - 14:00 | 796.85
|  |  | 14:00 - 15:00 | 821.73
|  |  | 15:00 - 16:00 | 800.9
|  |  | 16:00 - 17:00 | 818.56
|  |  | 17:00 - 18:00 | 944.78
|  |  | 18:00 - 19:00 | 1110.81
|  |  | 19:00 - 20:00 | 1158.94
|  |  | 20:00 - 21:00 | 1239.06
|  |  | 21:00 - 22:00 | 1177.82
|  |  | 22:00 - 23:00 | 1000.31
|  |  | 23:00 - 00:00 | 878.07
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 94.3158 | 93.9347 | 96.0271 | 0 | 0
2 | 0 | 0 | 0 | 94.3108 | 0.14902 | 114.9001 | 0 | 0
3 | 0 | 0 | 0 | 94.2718 | 0 | 98.0381 | 0 | 0
4 | 0 | 0 | 0 | 94.3087 | 0 | 89.9799 | 0 | 0
5 | 0 | 0 | 0 | 94.2879 | 0 | 100.3636 | 0 | 0
6 | 0 | 0 | 0 | 94.2775 | 0 | 126.7474 | 0 | 0
7 | 0 | 0 | 0 | 94.2794 | 0 | 92.4906 | 0 | 0
8 | 0 | 0 | 0 | 94.3158 | 0 | 124.9286 | 0 | 0
9 | 0 | 0 | 0 | 99.287 | 0 | 120.2113 | 0 | 0
10 | 0 | 0 | 0 | 94.3449 | 0 | 95.4753 | 0 | 0
11 | 0 | 0 | 0 | 94.3501 | 0 | 89.3381 | 0 | 0
12 | 0 | 0 | 0 | 94.3534 | 0 | 100.5879 | 0 | 0
13 | 0 | 0 | 0 | 94.3534 | 0 | 112.7304 | 0 | 0
14 | 0 | 0 | 0 | 94.3773 | 0 | 102.5667 | 0 | 0
15 | 0 | 0 | 0 | 91.2457 | 0 | 89.8415 | 0 | 0
16 | 0 | 0 | 0 | 94.3515 | 0 | 92.5346 | 0 | 0
17 | 0 | 0.95138 | 0 | 94.3236 | 0 | 110.1413 | 0 | 0
18 | 1.349 | 89.3753 | 0 | 89.4073 | 0 | 131.9014 | 0 | 0
19 | 93.7911 | 94.9251 | 0 | 94.3699 | 1.2415 | 115.9989 | 0 | 0
20 | 94.58 | 94.9161 | 0 | 94.3891 | 93.7647 | 117.0581 | 0 | 0
21 | 94.6089 | 99.8767 | 0 | 99.1787 | 137.0942 | 122.4392 | 0 | 0
22 | 94.5968 | 95.0197 | 0 | 94.4262 | 105.1802 | 106.7013 | 0 | 0
23 | 94.5916 | 95.0015 | 0 | 94.4097 | 109.0037 | 123.4032 | 0 | 0
24 | 0.84967 | 94.9665 | 0 | 94.382 | 70.4991 | 123.4724 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 474.367 | 665.0324 | 0 | 2171.6014 | 516.9325 | 2501.8499 | 0 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 1709 MWh
Art. 5.12 | Energy reserve | [5 empty] | 835.6 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 70 | 75 | 0 | 0 | 0 | 0 | 145
11 | 70 | 75 | 0 | 0 | 0 | 0 | 145
12 | 70 | 75 | 0 | 0 | 0 | 0 | 145
13 | 70 | 75 | 0 | 0 | 0 | 0 | 145
14 | 70 | 75 | 0 | 0 | 0 | 0 | 145
15 | 70 | 75 | 0 | 0 | 0 | 0 | 145
16 | 70 | 75 | 0 | 0 | 0 | 0 | 145
17 | 70 | 75 | 0 | 0 | 0 | 0 | 145
18 | 70 | 75 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 71.4583 | 73.5417 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 584.73 | 12.8109
|  | 2 | 518.35 | 12.4648
|  | 3 | 491.37 | 11.7549
|  | 4 | 485.07 | 13.6323
|  | 5 | 489.89 | 14.3804
|  | 6 | 551.3 | 16.0116
|  | 7 | 663.27 | 15.0189
|  | 8 | 809.18 | 22.6166
|  | 9 | 881.72 | 24.9251
|  | 10 | 846.84 | 26.1803
|  | 11 | 797.18 | 29.3221
|  | 12 | 740.63 | 33.2915
|  | 13 | 672.29 | 27.3846
|  | 14 | 734.68 | 25.5459
|  | 15 | 721.17 | 25.4432
|  | 16 | 780.67 | 24.4961
|  | 17 | 841.28 | 19.9441
|  | 18 | 877.94 | 16.8951
|  | 19 | 898.87 | 18.6785
|  | 20 | 911.39 | 20.2953
|  | 21 | 970.7 | 21.7195
|  | 22 | 914.33 | 20.866
|  | 23 | 803.55 | 19.934
|  | 24 | 685.45 | 15.2451
|  | 25 | 608.31 | 16.1581
|  | 26 | 555.57 | 17.1735
|  | 27 | 531.34 | 16.6142
|  | 28 | 525.56 | 16.8525
|  | 29 | 530.82 | 18.227
|  | 30 | 578.52 | 16.9138
|  | 31 | 680.94 | 14.5922
|  | 32 | 836.66 | 21.6296
|  | 33 | 896.93 | 27.9484
|  | 34 | 861.91 | 27.7459
|  | 35 | 760.62 | 25.795
|  | 36 | 767.37 | 35.1787
|  | 37 | 755.09 | 37.8627
|  | 38 | 779.47 | 34.666
|  | 39 | 788.91 | 28.4472
|  | 40 | 731.22 | 23.5784
|  | 41 | 759.24 | 21.0901
|  | 42 | 808.31 | 19.974
|  | 43 | 830.05 | 18.639
|  | 44 | 901.06 | 20.0461
|  | 45 | 998.6 | 22.4689
|  | 46 | 942.54 | 20.038
|  | 47 | 838.8 | 16.0658
|  | 48 | 723.77 | 13.4751
|  | 49 | 608.6 | 13.1188
|  | 50 | 551.72 | 11.8206
|  | 51 | 516.75 | 11.9327
|  | 52 | 514.96 | 11.8491
|  | 53 | 521.34 | 14.0972
|  | 54 | 566.92 | 16.5962
|  | 55 | 681.34 | 14.2663
|  | 56 | 818.56 | 17.0844
|  | 57 | 885.34 | 22.6807
|  | 58 | 873.84 | 24.4278
|  | 59 | 748.66 | 23.2839
|  | 60 | 758.93 | 23.7493
|  | 61 | 752.71 | 25.8358
|  | 62 | 765.54 | 27.8999
|  | 63 | 767.32 | 24.249
|  | 64 | 801.96 | 20.803
|  | 65 | 853.63 | 16.6695
|  | 66 | 858.08 | 14.6441
|  | 67 | 867.71 | 17.4787
|  | 68 | 898.46 | 19.8706
|  | 69 | 964.5 | 20.9499
|  | 70 | 924.81 | 18.1682
|  | 71 | 818.19 | 16.4779
|  | 72 | 689.1 | 13.9368
|  | 73 | 606.88 | 19.6527
|  | 74 | 548.87 | 20.1084
|  | 75 | 520.58 | 20.7044
|  | 76 | 499.2 | 22.1423
|  | 77 | 521.33 | 21.7941
|  | 78 | 567.24 | 19.4021
|  | 79 | 666.32 | 13.7092
|  | 80 | 801.82 | 14.2329
|  | 81 | 853.05 | 15.3283
|  | 82 | 837.57 | 14.4835
|  | 83 | 791.95 | 14.7202
|  | 84 | 777.83 | 14.0211
|  | 85 | 772.74 | 13.333
|  | 86 | 827.94 | 16.834
|  | 87 | 841.6 | 17.1872
|  | 88 | 879.61 | 14.3662
|  | 89 | 818.79 | 14.0509
|  | 90 | 793.6 | 13.8062
|  | 91 | 841.78 | 17.9804
|  | 92 | 908.84 | 19.7661
|  | 93 | 978.04 | 23.7134
|  | 94 | 984.41 | 20.0176
|  | 95 | 817.55 | 16.683
|  | 96 | 706.45 | 13.539
|  | 97 | 599.53 | 12.8465
|  | 98 | 542.35 | 11.6674
|  | 99 | 524.61 | 11.9296
|  | 100 | 510.95 | 11.9582
|  | 101 | 520.83 | 12.2001
|  | 102 | 555.1 | 14.3596
|  | 103 | 637.71 | 16.7133
|  | 104 | 726.04 | 24.2374
|  | 105 | 795.1 | 35.7777
|  | 106 | 811.53 | 30.1624
|  | 107 | 793.41 | 21.3943
|  | 108 | 775.19 | 16.6098
|  | 109 | 771.39 | 13.9008
|  | 110 | 745.15 | 18.9968
|  | 111 | 722.36 | 16.5635
|  | 112 | 708.5 | 13.9101
|  | 113 | 714.17 | 14.8291
|  | 114 | 754.87 | 14.1281
|  | 115 | 809.03 | 18.6886
|  | 116 | 882.37 | 20.0762
|  | 117 | 951.08 | 20.7901
|  | 118 | 891.86 | 18.8937
|  | 119 | 788.64 | 17.4764
|  | 120 | 679.54 | 15.9827
|  | 121 | 629.79 | 14.8288
|  | 122 | 553.4 | 17.3973
|  | 123 | 518.71 | 17.8418
|  | 124 | 501.28 | 20.4194
|  | 125 | 501.18 | 19.4822
|  | 126 | 537.54 | 19.2484
|  | 127 | 596.86 | 21.6694
|  | 128 | 687.66 | 28.9565
|  | 129 | 745.27 | 34.5215
|  | 130 | 767.61 | 32.9134
|  | 131 | 734.57 | 19.5553
|  | 132 | 728.48 | 18.2248
|  | 133 | 727.93 | 19.0752
|  | 134 | 710.6 | 19.7812
|  | 135 | 684.65 | 19.9309
|  | 136 | 698.4 | 15.643
|  | 137 | 731.76 | 13.3919
|  | 138 | 784.63 | 13.8296
|  | 139 | 839.86 | 15.7791
|  | 140 | 916.6 | 19.1459
|  | 141 | 966.67 | 22.8361
|  | 142 | 921.11 | 20.179
|  | 143 | 810.75 | 18.3488
|  | 144 | 681.05 | 15.8405
|  | 145 | 620.4 | 14.7939
|  | 146 | 586.68 | 15.5864
|  | 147 | 559.18 | 14.8581
|  | 148 | 551.21 | 15.5437
|  | 149 | 556.81 | 14.788
|  | 150 | 599.59 | 16.539
|  | 151 | 709.26 | 19.907
|  | 152 | 800.13 | 26.8817
|  | 153 | 783.61 | 31.703
|  | 154 | 757.4 | 16.7094
|  | 155 | 724.14 | 17.0314
|  | 156 | 759.55 | 18.8245
|  | 157 | 739.43 | 22.4361
|  | 158 | 762.76 | 21.879
|  | 159 | 792 | 22.2579
|  | 160 | 780.18 | 21.5134
|  | 161 | 781.35 | 13.7439
|  | 162 | 823.73 | 14.9321
|  | 163 | 860.11 | 15.7953
|  | 164 | 909.93 | 17.6395
|  | 165 | 991.3 | 19.3173
|  | 166 | 948.14 | 20.7785
|  | 167 | 833.65 | 21.2246
|  | 168 | 700.2 | 18.1253
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 05/12/2025 | 13/05/20252 | 14/05/2025 | 15/05/2025 | 16/05/2025 | 17/05/2025 | 18/05/2025
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible