## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-06-05
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 17643.1 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 02/06/2025 | 03/06/20252 | 04/06/2025 | 05/06/2025 | 06/06/2025 | 07/06/2025 | 07/06/20252
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-06-03
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 305.1486 | -295.208 | 600.3566
|  | 2 | 240.5357 | -304.93 | 545.4657
|  | 3 | 200.555 | -318.052 | 518.607
|  | 4 | 194.3747 | -317.084 | 511.4587
|  | 5 | 159.9569 | -359.575 | 519.5319
|  | 6 | 194.8629 | -359.449 | 554.3119
|  | 7 | 366.5477 | -280.746 | 647.2937
|  | 8 | 529.2676 | -219.432 | 748.6996
|  | 9 | 598.4905 | -183.221 | 781.7115
|  | 10 | 695.1 | -83.168 | 778.268
|  | 11 | 652.2954 | -90.064 | 742.3594
|  | 12 | 615.8114 | -120.815 | 736.6264
|  | 13 | 582.4045 | -145.926 | 728.3305
|  | 14 | 585.708 | -139.291 | 724.999
|  | 15 | 559.8748 | -162.689 | 722.5638
|  | 16 | 585.3979 | -144.895 | 730.2929
|  | 17 | 641.0908 | -109.719 | 750.8098
|  | 18 | 678.9189 | -128.244 | 807.1629
|  | 19 | 811.2511 | -61.892 | 873.1431
|  | 20 | 952.8344 | 41.91 | 910.9244
|  | 21 | 1018.7748 | 55.946 | 962.8288
|  | 22 | 1009.0814 | 56.842 | 952.2394
|  | 23 | 819.2407 | -31.086 | 850.3267
|  | 24 | 525.0878 | -194.679 | 719.7668
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-06-05
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 322.3
|  |  | 01:00 - 02:00 | 268.28
|  |  | 02:00 - 03:00 | 235.95
|  |  | 03:00 - 04:00 | 224.26
|  |  | 04:00 - 05:00 | 215.82
|  |  | 05:00 - 06:00 | 259.23
|  |  | 06:00 - 07:00 | 436.92
|  |  | 07:00 - 08:00 | 631.03
|  |  | 08:00 - 09:00 | 677.67
|  |  | 09:00 - 10:00 | 580.16
|  |  | 10:00 - 11:00 | 595.92
|  |  | 11:00 - 12:00 | 567.51
|  |  | 12:00 - 13:00 | 557.73
|  |  | 13:00 - 14:00 | 567.53
|  |  | 14:00 - 15:00 | 550.69
|  |  | 15:00 - 16:00 | 540.43
|  |  | 16:00 - 17:00 | 578.4
|  |  | 17:00 - 18:00 | 614.93
|  |  | 18:00 - 19:00 | 809.65
|  |  | 19:00 - 20:00 | 899.2
|  |  | 20:00 - 21:00 | 970.72
|  |  | 21:00 - 22:00 | 927.9
|  |  | 22:00 - 23:00 | 695.46
|  |  | 23:00 - 00:00 | 465.31
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 93.3734 | 0 | 0 | 99.296 | 0.4492
2 | 0 | 0 | 0 | 73.6998 | 0 | 0 | 0.44707 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69.6209
7 | 0 | 0 | 0 | 47.5548 | 0 | 0 | 0 | 115.4901
8 | 0 | 0 | 0 | 97.3736 | 0 | 0 | 0 | 140.6991
9 | 0 | 0 | 0 | 98.1121 | 0 | 0 | 0 | 135.3634
10 | 0 | 0 | 0 | 98.4047 | 0 | 0 | 0 | 75.0567
11 | 0 | 0 | 0 | 101.4041 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 90.4582 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 15.1511 | 0 | 0 | 0 | 1.8149
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 137.6072
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 143.626
16 | 0 | 0 | 0 | 47.674 | 0 | 0 | 0 | 128.9565
17 | 0 | 0 | 0 | 94.4135 | 0 | 0 | 1.2617 | 128.3338
18 | 1.3582 | 0 | 0 | 94.5526 | 0 | 0 | 109.9273 | 135.0618
19 | 98.2393 | 0 | 2.7292 | 104.3391 | 0 | 0 | 120.7886 | 142.7042
20 | 94.7016 | 0 | 94.7586 | 94.3988 | 0 | 0 | 138.363 | 91.6486
21 | 94.5864 | 0 | 94.7792 | 94.4014 | 0 | 0 | 129.7023 | 134.4252
22 | 99.5585 | 0 | 99.8381 | 99.3553 | 0 | 0 | 135.1544 | 135.7973
23 | 94.6902 | 0 | 94.452 | 94.4246 | 0 | 0 | 114.4605 | 115.1165
24 | 97.7539 | 0 | 0.007806 | 103.3773 | 0 | 0 | 130.0702 | 25.9129
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 580.8883 | 0 | 386.565 | 1542.4683 | 0 | 0 | 979.471 | 1857.6843
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 2511 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 849.2 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 40 | 0 | 0 | 40
21 | 0 | 0 | 0 | 80 | 0 | 0 | 80
22 | 0 | 0 | 0 | 40 | 0 | 0 | 40
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mesatare | 0 | 0 | 0 | 6.6667 | 0 | 0 | 6.6667
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 589.9 | 14.2521
|  | 2 | 530.68 | 13.7052
|  | 3 | 502.45 | 12.8484
|  | 4 | 510.19 | 12.9497
|  | 5 | 517.61 | 12.6489
|  | 6 | 552.05 | 12.8893
|  | 7 | 664.74 | 14.2291
|  | 8 | 767.8 | 21.9489
|  | 9 | 788.69 | 24.4373
|  | 10 | 762.52 | 22.4156
|  | 11 | 710.71 | 16.1624
|  | 12 | 686.22 | 13.8477
|  | 13 | 654.99 | 13.6582
|  | 14 | 670.71 | 18.3304
|  | 15 | 665.73 | 23.519
|  | 16 | 675.6 | 25.6544
|  | 17 | 705.72 | 26.7644
|  | 18 | 777.52 | 28.6127
|  | 19 | 829.54 | 28.5711
|  | 20 | 887.62 | 22.9109
|  | 21 | 970.51 | 21.8242
|  | 22 | 934.73 | 21.2357
|  | 23 | 809.03 | 20.525
|  | 24 | 673.72 | 17.245
|  | 25 | 576.369 | 14.5818
|  | 26 | 517.159 | 14.1307
|  | 27 | 501.515 | 13.8868
|  | 28 | 483.071 | 14.7788
|  | 29 | 490.496 | 15.4471
|  | 30 | 529.161 | 15.1125
|  | 31 | 640.33 | 14.4192
|  | 32 | 747.51 | 18.306
|  | 33 | 774.008 | 25.2348
|  | 34 | 751.329 | 32.6775
|  | 35 | 776.08 | 33.8532
|  | 36 | 759.077 | 30.2987
|  | 37 | 740.871 | 26.8952
|  | 38 | 769.146 | 23.9486
|  | 39 | 742.355 | 22.8229
|  | 40 | 708.02 | 18.558
|  | 41 | 740.275 | 16.2667
|  | 42 | 784.973 | 13.9714
|  | 43 | 827.44 | 18.5606
|  | 44 | 861.623 | 17.3642
|  | 45 | 934.474 | 17.96
|  | 46 | 912.34 | 18.7375
|  | 47 | 816.13 | 20.2974
|  | 48 | 690.8 | 16.4762
|  | 49 | 573.67 | 14.5372
|  | 50 | 524.56 | 13.8764
|  | 51 | 498.98 | 13.4792
|  | 52 | 491.84 | 13.122
|  | 53 | 497.52 | 13.3599
|  | 54 | 553.24 | 13.0538
|  | 55 | 658.07 | 14.7194
|  | 56 | 786.94 | 17.334
|  | 57 | 815.86 | 23.3604
|  | 58 | 789.87 | 25.3624
|  | 59 | 815.95 | 19.7343
|  | 60 | 798.03 | 14.9975
|  | 61 | 763.6 | 14.8979
|  | 62 | 779.98 | 14.7039
|  | 63 | 732.32 | 14.7639
|  | 64 | 853.79 | 14.9388
|  | 65 | 842.09 | 14.7493
|  | 66 | 832.76 | 14.9783
|  | 67 | 885.39 | 22.4907
|  | 68 | 927.44 | 18.2613
|  | 69 | 950.71 | 17.3938
|  | 70 | 921.52 | 19.3066
|  | 71 | 820.94 | 22.5795
|  | 72 | 683.6 | 17.0095
|  | 73 | 543.03 | 14.2912
|  | 74 | 487.15 | 14.873
|  | 75 | 465.9 | 14.5786
|  | 76 | 457.12 | 14.9857
|  | 77 | 459.38 | 14.7058
|  | 78 | 497.15 | 15.1925
|  | 79 | 603.27 | 16.4724
|  | 80 | 716.24 | 18.2756
|  | 81 | 765.46 | 18.6659
|  | 82 | 749.53 | 20.1162
|  | 83 | 665.58 | 20.6499
|  | 84 | 660.26 | 18.5004
|  | 85 | 638.09 | 16.3531
|  | 86 | 643.72 | 17.5261
|  | 87 | 648.65 | 15.8559
|  | 88 | 664.5 | 16.5399
|  | 89 | 693.38 | 16.4797
|  | 90 | 754.32 | 13.847
|  | 91 | 770.22 | 18.2385
|  | 92 | 848 | 18.0567
|  | 93 | 899.8 | 16.8127
|  | 94 | 876.74 | 19.2764
|  | 95 | 754.48 | 21.9056
|  | 96 | 631 | 16.6369
|  | 97 | 555 | 29.2077
|  | 98 | 484.22 | 33.4918
|  | 99 | 458.89 | 32.3127
|  | 100 | 463.07 | 31.8268
|  | 101 | 469.48 | 29.7339
|  | 102 | 519.24 | 25.8322
|  | 103 | 596.25 | 24.3818
|  | 104 | 683.5 | 25.4221
|  | 105 | 735.54 | 23.8977
|  | 106 | 745.42 | 25.6011
|  | 107 | 697.23 | 29.0655
|  | 108 | 718.25 | 31.243
|  | 109 | 732.13 | 32.3263
|  | 110 | 749.46 | 30.9955
|  | 111 | 695.15 | 29.9594
|  | 112 | 684.43 | 28.5463
|  | 113 | 704.95 | 27.0049
|  | 114 | 734.13 | 24.1776
|  | 115 | 806.37 | 19.97
|  | 116 | 866.1 | 16.1385
|  | 117 | 923.6 | 17.4239
|  | 118 | 883.75 | 19.7288
|  | 119 | 781.02 | 20.5489
|  | 120 | 664.37 | 16.6332
|  | 121 | 577.78 | 15.9997
|  | 122 | 524.95 | 15.802
|  | 123 | 497.71 | 16.2308
|  | 124 | 483.86 | 16.3998
|  | 125 | 491.07 | 18.7436
|  | 126 | 522.91 | 19.9072
|  | 127 | 582.22 | 18.7599
|  | 128 | 646.47 | 18.378
|  | 129 | 691.76 | 18.2344
|  | 130 | 706.36 | 19.7383
|  | 131 | 696.63 | 19.6491
|  | 132 | 686.04 | 19.0206
|  | 133 | 704.38 | 18.0599
|  | 134 | 690.62 | 20.7911
|  | 135 | 666.49 | 21.9012
|  | 136 | 663.52 | 20.6574
|  | 137 | 681.07 | 21.1403
|  | 138 | 736.68 | 25.2305
|  | 139 | 786.63 | 32.3929
|  | 140 | 863.68 | 24.1645
|  | 141 | 936.77 | 21.7888
|  | 142 | 890 | 22.1509
|  | 143 | 781.25 | 29.8054
|  | 144 | 682.8 | 29.9092
|  | 145 | 578.02 | 16.4759
|  | 146 | 524.54 | 15.2894
|  | 147 | 498.56 | 15.3028
|  | 148 | 487.19 | 15.9821
|  | 149 | 494.3 | 16.1672
|  | 150 | 534.02 | 21.712
|  | 151 | 634.83 | 20.1588
|  | 152 | 754.88 | 17.683
|  | 153 | 781.44 | 23.6413
|  | 154 | 765.26 | 30.4412
|  | 155 | 724.96 | 30.6765
|  | 156 | 705.43 | 21.7194
|  | 157 | 691.49 | 18.0251
|  | 158 | 700.18 | 15.9459
|  | 159 | 700.7 | 18.3835
|  | 160 | 700.24 | 19.4908
|  | 161 | 724.17 | 16.5789
|  | 162 | 772.16 | 17.7644
|  | 163 | 832.14 | 23.7211
|  | 164 | 889.42 | 19.5293
|  | 165 | 959.1 | 20.087
|  | 166 | 924.17 | 22.0848
|  | 167 | 813.62 | 29.5068
|  | 168 | 689.67 | 21.5648
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 02/06/2025 | 03/06/20252 | 04/06/2025 | 05/06/2025 | 06/06/2025 | 07/06/2025 | 07/06/20252
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-06-05
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 17643.1 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 02/06/2025 | 03/06/20252 | 04/06/2025 | 05/06/2025 | 06/06/2025 | 07/06/2025 | 07/06/20252
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-06-03
|  | Hour | Production | Exchange | Consumption
|  | 1 | 305.1486 | -295.208 | 600.3566
|  | 2 | 240.5357 | -304.93 | 545.4657
|  | 3 | 200.555 | -318.052 | 518.607
|  | 4 | 194.3747 | -317.084 | 511.4587
|  | 5 | 159.9569 | -359.575 | 519.5319
|  | 6 | 194.8629 | -359.449 | 554.3119
|  | 7 | 366.5477 | -280.746 | 647.2937
|  | 8 | 529.2676 | -219.432 | 748.6996
|  | 9 | 598.4905 | -183.221 | 781.7115
|  | 10 | 695.1 | -83.168 | 778.268
|  | 11 | 652.2954 | -90.064 | 742.3594
|  | 12 | 615.8114 | -120.815 | 736.6264
|  | 13 | 582.4045 | -145.926 | 728.3305
|  | 14 | 585.708 | -139.291 | 724.999
|  | 15 | 559.8748 | -162.689 | 722.5638
|  | 16 | 585.3979 | -144.895 | 730.2929
|  | 17 | 641.0908 | -109.719 | 750.8098
|  | 18 | 678.9189 | -128.244 | 807.1629
|  | 19 | 811.2511 | -61.892 | 873.1431
|  | 20 | 952.8344 | 41.91 | 910.9244
|  | 21 | 1018.7748 | 55.946 | 962.8288
|  | 22 | 1009.0814 | 56.842 | 952.2394
|  | 23 | 819.2407 | -31.086 | 850.3267
|  | 24 | 525.0878 | -194.679 | 719.7668
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2025-06-05
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 322.3
|  |  | 01:00 - 02:00 | 268.28
|  |  | 02:00 - 03:00 | 235.95
|  |  | 03:00 - 04:00 | 224.26
|  |  | 04:00 - 05:00 | 215.82
|  |  | 05:00 - 06:00 | 259.23
|  |  | 06:00 - 07:00 | 436.92
|  |  | 07:00 - 08:00 | 631.03
|  |  | 08:00 - 09:00 | 677.67
|  |  | 09:00 - 10:00 | 580.16
|  |  | 10:00 - 11:00 | 595.92
|  |  | 11:00 - 12:00 | 567.51
|  |  | 12:00 - 13:00 | 557.73
|  |  | 13:00 - 14:00 | 567.53
|  |  | 14:00 - 15:00 | 550.69
|  |  | 15:00 - 16:00 | 540.43
|  |  | 16:00 - 17:00 | 578.4
|  |  | 17:00 - 18:00 | 614.93
|  |  | 18:00 - 19:00 | 809.65
|  |  | 19:00 - 20:00 | 899.2
|  |  | 20:00 - 21:00 | 970.72
|  |  | 21:00 - 22:00 | 927.9
|  |  | 22:00 - 23:00 | 695.46
|  |  | 23:00 - 00:00 | 465.31
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 93.3734 | 0 | 0 | 99.296 | 0.4492
2 | 0 | 0 | 0 | 73.6998 | 0 | 0 | 0.44707 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69.6209
7 | 0 | 0 | 0 | 47.5548 | 0 | 0 | 0 | 115.4901
8 | 0 | 0 | 0 | 97.3736 | 0 | 0 | 0 | 140.6991
9 | 0 | 0 | 0 | 98.1121 | 0 | 0 | 0 | 135.3634
10 | 0 | 0 | 0 | 98.4047 | 0 | 0 | 0 | 75.0567
11 | 0 | 0 | 0 | 101.4041 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 90.4582 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 15.1511 | 0 | 0 | 0 | 1.8149
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 137.6072
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 143.626
16 | 0 | 0 | 0 | 47.674 | 0 | 0 | 0 | 128.9565
17 | 0 | 0 | 0 | 94.4135 | 0 | 0 | 1.2617 | 128.3338
18 | 1.3582 | 0 | 0 | 94.5526 | 0 | 0 | 109.9273 | 135.0618
19 | 98.2393 | 0 | 2.7292 | 104.3391 | 0 | 0 | 120.7886 | 142.7042
20 | 94.7016 | 0 | 94.7586 | 94.3988 | 0 | 0 | 138.363 | 91.6486
21 | 94.5864 | 0 | 94.7792 | 94.4014 | 0 | 0 | 129.7023 | 134.4252
22 | 99.5585 | 0 | 99.8381 | 99.3553 | 0 | 0 | 135.1544 | 135.7973
23 | 94.6902 | 0 | 94.452 | 94.4246 | 0 | 0 | 114.4605 | 115.1165
24 | 97.7539 | 0 | 0.007806 | 103.3773 | 0 | 0 | 130.0702 | 25.9129
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 580.8883 | 0 | 386.565 | 1449.0949 | 0 | 0 | 880.175 | 1857.2351
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 2511 MWh
Art. 5.12 | Energy reserve | [5 empty] | 849.2 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 40 | 0 | 0 | 40
21 | 0 | 0 | 0 | 80 | 0 | 0 | 80
22 | 0 | 0 | 0 | 40 | 0 | 0 | 40
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 0 | 0 | 0 | 6.6667 | 0 | 0 | 6.6667
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 589.9 | 14.2521
|  | 2 | 530.68 | 13.7052
|  | 3 | 502.45 | 12.8484
|  | 4 | 510.19 | 12.9497
|  | 5 | 517.61 | 12.6489
|  | 6 | 552.05 | 12.8893
|  | 7 | 664.74 | 14.2291
|  | 8 | 767.8 | 21.9489
|  | 9 | 788.69 | 24.4373
|  | 10 | 762.52 | 22.4156
|  | 11 | 710.71 | 16.1624
|  | 12 | 686.22 | 13.8477
|  | 13 | 654.99 | 13.6582
|  | 14 | 670.71 | 18.3304
|  | 15 | 665.73 | 23.519
|  | 16 | 675.6 | 25.6544
|  | 17 | 705.72 | 26.7644
|  | 18 | 777.52 | 28.6127
|  | 19 | 829.54 | 28.5711
|  | 20 | 887.62 | 22.9109
|  | 21 | 970.51 | 21.8242
|  | 22 | 934.73 | 21.2357
|  | 23 | 809.03 | 20.525
|  | 24 | 673.72 | 17.245
|  | 25 | 576.369 | 14.5818
|  | 26 | 517.159 | 14.1307
|  | 27 | 501.515 | 13.8868
|  | 28 | 483.071 | 14.7788
|  | 29 | 490.496 | 15.4471
|  | 30 | 529.161 | 15.1125
|  | 31 | 640.33 | 14.4192
|  | 32 | 747.51 | 18.306
|  | 33 | 774.008 | 25.2348
|  | 34 | 751.329 | 32.6775
|  | 35 | 776.08 | 33.8532
|  | 36 | 759.077 | 30.2987
|  | 37 | 740.871 | 26.8952
|  | 38 | 769.146 | 23.9486
|  | 39 | 742.355 | 22.8229
|  | 40 | 708.02 | 18.558
|  | 41 | 740.275 | 16.2667
|  | 42 | 784.973 | 13.9714
|  | 43 | 827.44 | 18.5606
|  | 44 | 861.623 | 17.3642
|  | 45 | 934.474 | 17.96
|  | 46 | 912.34 | 18.7375
|  | 47 | 816.13 | 20.2974
|  | 48 | 690.8 | 16.4762
|  | 49 | 573.67 | 14.5372
|  | 50 | 524.56 | 13.8764
|  | 51 | 498.98 | 13.4792
|  | 52 | 491.84 | 13.122
|  | 53 | 497.52 | 13.3599
|  | 54 | 553.24 | 13.0538
|  | 55 | 658.07 | 14.7194
|  | 56 | 786.94 | 17.334
|  | 57 | 815.86 | 23.3604
|  | 58 | 789.87 | 25.3624
|  | 59 | 815.95 | 19.7343
|  | 60 | 798.03 | 14.9975
|  | 61 | 763.6 | 14.8979
|  | 62 | 779.98 | 14.7039
|  | 63 | 732.32 | 14.7639
|  | 64 | 853.79 | 14.9388
|  | 65 | 842.09 | 14.7493
|  | 66 | 832.76 | 14.9783
|  | 67 | 885.39 | 22.4907
|  | 68 | 927.44 | 18.2613
|  | 69 | 950.71 | 17.3938
|  | 70 | 921.52 | 19.3066
|  | 71 | 820.94 | 22.5795
|  | 72 | 683.6 | 17.0095
|  | 73 | 543.03 | 14.2912
|  | 74 | 487.15 | 14.873
|  | 75 | 465.9 | 14.5786
|  | 76 | 457.12 | 14.9857
|  | 77 | 459.38 | 14.7058
|  | 78 | 497.15 | 15.1925
|  | 79 | 603.27 | 16.4724
|  | 80 | 716.24 | 18.2756
|  | 81 | 765.46 | 18.6659
|  | 82 | 749.53 | 20.1162
|  | 83 | 665.58 | 20.6499
|  | 84 | 660.26 | 18.5004
|  | 85 | 638.09 | 16.3531
|  | 86 | 643.72 | 17.5261
|  | 87 | 648.65 | 15.8559
|  | 88 | 664.5 | 16.5399
|  | 89 | 693.38 | 16.4797
|  | 90 | 754.32 | 13.847
|  | 91 | 770.22 | 18.2385
|  | 92 | 848 | 18.0567
|  | 93 | 899.8 | 16.8127
|  | 94 | 876.74 | 19.2764
|  | 95 | 754.48 | 21.9056
|  | 96 | 631 | 16.6369
|  | 97 | 555 | 29.2077
|  | 98 | 484.22 | 33.4918
|  | 99 | 458.89 | 32.3127
|  | 100 | 463.07 | 31.8268
|  | 101 | 469.48 | 29.7339
|  | 102 | 519.24 | 25.8322
|  | 103 | 596.25 | 24.3818
|  | 104 | 683.5 | 25.4221
|  | 105 | 735.54 | 23.8977
|  | 106 | 745.42 | 25.6011
|  | 107 | 697.23 | 29.0655
|  | 108 | 718.25 | 31.243
|  | 109 | 732.13 | 32.3263
|  | 110 | 749.46 | 30.9955
|  | 111 | 695.15 | 29.9594
|  | 112 | 684.43 | 28.5463
|  | 113 | 704.95 | 27.0049
|  | 114 | 734.13 | 24.1776
|  | 115 | 806.37 | 19.97
|  | 116 | 866.1 | 16.1385
|  | 117 | 923.6 | 17.4239
|  | 118 | 883.75 | 19.7288
|  | 119 | 781.02 | 20.5489
|  | 120 | 664.37 | 16.6332
|  | 121 | 577.78 | 15.9997
|  | 122 | 524.95 | 15.802
|  | 123 | 497.71 | 16.2308
|  | 124 | 483.86 | 16.3998
|  | 125 | 491.07 | 18.7436
|  | 126 | 522.91 | 19.9072
|  | 127 | 582.22 | 18.7599
|  | 128 | 646.47 | 18.378
|  | 129 | 691.76 | 18.2344
|  | 130 | 706.36 | 19.7383
|  | 131 | 696.63 | 19.6491
|  | 132 | 686.04 | 19.0206
|  | 133 | 704.38 | 18.0599
|  | 134 | 690.62 | 20.7911
|  | 135 | 666.49 | 21.9012
|  | 136 | 663.52 | 20.6574
|  | 137 | 681.07 | 21.1403
|  | 138 | 736.68 | 25.2305
|  | 139 | 786.63 | 32.3929
|  | 140 | 863.68 | 24.1645
|  | 141 | 936.77 | 21.7888
|  | 142 | 890 | 22.1509
|  | 143 | 781.25 | 29.8054
|  | 144 | 682.8 | 29.9092
|  | 145 | 578.02 | 16.4759
|  | 146 | 524.54 | 15.2894
|  | 147 | 498.56 | 15.3028
|  | 148 | 487.19 | 15.9821
|  | 149 | 494.3 | 16.1672
|  | 150 | 534.02 | 21.712
|  | 151 | 634.83 | 20.1588
|  | 152 | 754.88 | 17.683
|  | 153 | 781.44 | 23.6413
|  | 154 | 765.26 | 30.4412
|  | 155 | 724.96 | 30.6765
|  | 156 | 705.43 | 21.7194
|  | 157 | 691.49 | 18.0251
|  | 158 | 700.18 | 15.9459
|  | 159 | 700.7 | 18.3835
|  | 160 | 700.24 | 19.4908
|  | 161 | 724.17 | 16.5789
|  | 162 | 772.16 | 17.7644
|  | 163 | 832.14 | 23.7211
|  | 164 | 889.42 | 19.5293
|  | 165 | 959.1 | 20.087
|  | 166 | 924.17 | 22.0848
|  | 167 | 813.62 | 29.5068
|  | 168 | 689.67 | 21.5648
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 02/06/2025 | 03/06/20252 | 04/06/2025 | 05/06/2025 | 06/06/2025 | 07/06/2025 | 07/06/20252
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible