## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-06-07
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 18352.94 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 02/06/2025 | 03/06/20252 | 04/06/2025 | 05/06/2025 | 06/06/2025 | 07/06/2025 | 07/06/20252
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-06-05
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 348.3511 | -268.5089 | 616.86
|  | 2 | 264.7284 | -295.835 | 560.5634
|  | 3 | 231.5652 | -298.4742 | 530.0394
|  | 4 | 223.8765 | -291.5961 | 515.4726
|  | 5 | 218.3966 | -298.0173 | 516.4139
|  | 6 | 275.1926 | -278.2808 | 553.4734
|  | 7 | 433.9224 | -221.5912 | 655.5137
|  | 8 | 644.9403 | -114.9612 | 759.9015
|  | 9 | 683.1186 | -112.2156 | 795.3342
|  | 10 | 663.7109 | -117.7202 | 781.4311
|  | 11 | 728.9754 | -29.3149 | 758.2903
|  | 12 | 698.3595 | -57.8814 | 756.2409
|  | 13 | 702.0668 | -59.8182 | 761.885
|  | 14 | 701.8808 | -82.7362 | 784.617
|  | 15 | 685.0163 | -98.3332 | 783.3495
|  | 16 | 704.2269 | -91.8656 | 796.0925
|  | 17 | 718.4228 | -88.5503 | 806.9731
|  | 18 | 772.4149 | -86.7029 | 859.1178
|  | 19 | 958.9836 | 44.5432 | 914.4404
|  | 20 | 1035.9488 | 94.4301 | 941.5187
|  | 21 | 1034.9351 | 55.2818 | 979.6533
|  | 22 | 998.6539 | 40.9815 | 957.6724
|  | 23 | 805.9807 | -55.3887 | 861.3694
|  | 24 | 577.4778 | -164.3481 | 741.8259
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 1.1798 | 0.029805 | 70.0918 | 76.1919 | 85.6343 | 62.3741
2 | 0 | 14.8512 | 99.5266 | 124.8146 | 98.8969 | 0.5819
3 | 0 | 29.1744 | 80.9765 | 142.2715 | 75.4199 | 1.3793
4 | 0 | 27.5437 | 81.4746 | 131.3045 | 66.8291 | 8.2937
5 | 0 | 26.2968 | 83.1834 | 124.9178 | 66.6328 | 10.3464
6 | 0 | 21.1265 | 90.1435 | 117.0732 | 74.807 | 8.8304
7 | 0.25305 | 9.6411 | 26.2926 | 123.5018 | 0.2473 | 142.0567
8 | 10.1009 | 0 | 0 | 106.5383 | 0 | 299.5641
9 | 31.9027 | 0 | 0 | 125.3726 | 0 | 493.7994
10 | 43.4067 | 0 | 0 | 114.654 | 0 | 583.3046
11 | 41.0091 | 0 | 0 | 94.1456 | 0 | 558.8765
12 | 17.0452 | 0 | 0 | 133.0592 | 0 | 338.1422
13 | 20.0752 | 0 | 0 | 113.3573 | 0 | 327.241
14 | 17.5598 | 0 | 0 | 78.1627 | 0 | 237.288
15 | 23.4166 | 0 | 0.42152 | 49.0194 | 0 | 220.0969
16 | 19.7837 | 0 | 0.026256 | 47.8163 | 0 | 260.9162
17 | 17.4146 | 0 | 2.7832 | 18.8633 | 0 | 225.2836
18 | 5.607 | 0 | 39.1806 | 1.3418 | 21.3562 | 118.6608
19 | 0.5748 | 0 | 44.2303 | 0 | 211.938 | 3.1856
20 | 18.1481 | 0 | 0.1987 | 0 | 92.7683 | 84.1301
21 | 17.4516 | 0 | 17.1628 | 0 | 143.8913 | 30.1258
22 | 15.62 | 0 | 12.811 | 0 | 127.4004 | 49.0356
23 | 5.0702 | 0 | 42.8753 | 0 | 192.7511 | 0.32772
24 | 0.00048384 | 0 | 67.5463 | 36.1654 | 172.7658 | 0.41933
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-06-07
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 411.27
|  |  | 01:00 - 02:00 | 292.4
|  |  | 02:00 - 03:00 | 245.89
|  |  | 03:00 - 04:00 | 244.92
|  |  | 04:00 - 05:00 | 239.52
|  |  | 05:00 - 06:00 | 300.64
|  |  | 06:00 - 07:00 | 423.51
|  |  | 07:00 - 08:00 | 578.26
|  |  | 08:00 - 09:00 | 714.19
|  |  | 09:00 - 10:00 | 636.79
|  |  | 10:00 - 11:00 | 650.29
|  |  | 11:00 - 12:00 | 653.13
|  |  | 12:00 - 13:00 | 603.42
|  |  | 13:00 - 14:00 | 638.1
|  |  | 14:00 - 15:00 | 583.13
|  |  | 15:00 - 16:00 | 608.03
|  |  | 16:00 - 17:00 | 618.43
|  |  | 17:00 - 18:00 | 644.07
|  |  | 18:00 - 19:00 | 787.31
|  |  | 19:00 - 20:00 | 897.15
|  |  | 20:00 - 21:00 | 1056.48
|  |  | 21:00 - 22:00 | 1030.19
|  |  | 22:00 - 23:00 | 868.98
|  |  | 23:00 - 00:00 | 547.83
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0.14169 | 0 | 0 | 99.3695 | 0 | 0 | 122.4924 | 0
2 | 0 | 0 | 0 | 50.0085 | 0 | 0 | 113.7359 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 108.9612 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 89.3608 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 113.9105 | 0
6 | 0 | 0 | 0 | 49.9011 | 0 | 0 | 116.11 | 0
7 | 0 | 1.6016 | 0 | 94.343 | 0 | 0 | 124.9336 | 0
8 | 0 | 94.7645 | 0 | 94.3744 | 0 | 0 | 93.9869 | 0
9 | 0 | 95.1803 | 0 | 94.3676 | 0 | 0 | 105.7699 | 0
10 | 0 | 90.8133 | 0 | 90.0734 | 0 | 0 | 102.5046 | 0
11 | 0 | 42.9488 | 0 | 86.8469 | 0 | 0 | 117.9593 | 0
12 | 0 | 0 | 0 | 94.1493 | 0 | 0 | 123.6012 | 0
13 | 0 | 0 | 0 | 38.354 | 0 | 0 | 102.1047 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 89.5297 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 89.4665 | 0
16 | 0 | 0 | 0 | 7.8499 | 0 | 0 | 89.4583 | 0
17 | 0 | 0 | 0 | 88.7 | 0 | 0 | 100.5556 | 0
18 | 0 | 2.435 | 0 | 84.3533 | 0 | 0 | 108.64 | 74.7338
19 | 0 | 87.5707 | 0 | 99.0717 | 0 | 0 | 98.8947 | 120.1198
20 | 35.8617 | 90.142 | 0 | 89.4245 | 0 | 0 | 115.3489 | 102.9932
21 | 94.7692 | 86.8001 | 0 | 86.0554 | 0 | 0 | 95.6236 | 128.3469
22 | 99.5919 | 95.2541 | 0 | 94.391 | 0 | 0 | 117.1248 | 109.9394
23 | 0.34701 | 95.2196 | 0 | 94.4135 | 0 | 0 | 134.0619 | 121.3794
24 | 0 | 0.54784 | 0 | 97.7989 | 0 | 0 | 106.4728 | 127.1522
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 230.7116 | 783.2779 | 0 | 1533.8458 | 0 | 0 | 2580.6077 | 784.6646
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 2390 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 848.6 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 40 | 0 | 0 | 40
21 | 0 | 0 | 0 | 80 | 0 | 0 | 80
22 | 0 | 0 | 0 | 40 | 0 | 0 | 40
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mesatare | 0 | 0 | 0 | 6.6667 | 0 | 0 | 6.6667
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 589.9 | 14.2521
|  | 2 | 530.68 | 13.7052
|  | 3 | 502.45 | 12.8484
|  | 4 | 510.19 | 12.9497
|  | 5 | 517.61 | 12.6489
|  | 6 | 552.05 | 12.8893
|  | 7 | 664.74 | 14.2291
|  | 8 | 767.8 | 21.9489
|  | 9 | 788.69 | 24.4373
|  | 10 | 762.52 | 22.4156
|  | 11 | 710.71 | 16.1624
|  | 12 | 686.22 | 13.8477
|  | 13 | 654.99 | 13.6582
|  | 14 | 670.71 | 18.3304
|  | 15 | 665.73 | 23.519
|  | 16 | 675.6 | 25.6544
|  | 17 | 705.72 | 26.7644
|  | 18 | 777.52 | 28.6127
|  | 19 | 829.54 | 28.5711
|  | 20 | 887.62 | 22.9109
|  | 21 | 970.51 | 21.8242
|  | 22 | 934.73 | 21.2357
|  | 23 | 809.03 | 20.525
|  | 24 | 673.72 | 17.245
|  | 25 | 576.369 | 14.5818
|  | 26 | 517.159 | 14.1307
|  | 27 | 501.515 | 13.8868
|  | 28 | 483.071 | 14.7788
|  | 29 | 490.496 | 15.4471
|  | 30 | 529.161 | 15.1125
|  | 31 | 640.33 | 14.4192
|  | 32 | 747.51 | 18.306
|  | 33 | 774.008 | 25.2348
|  | 34 | 751.329 | 32.6775
|  | 35 | 776.08 | 33.8532
|  | 36 | 759.077 | 30.2987
|  | 37 | 740.871 | 26.8952
|  | 38 | 769.146 | 23.9486
|  | 39 | 742.355 | 22.8229
|  | 40 | 708.02 | 18.558
|  | 41 | 740.275 | 16.2667
|  | 42 | 784.973 | 13.9714
|  | 43 | 827.44 | 18.5606
|  | 44 | 861.623 | 17.3642
|  | 45 | 934.474 | 17.96
|  | 46 | 912.34 | 18.7375
|  | 47 | 816.13 | 20.2974
|  | 48 | 690.8 | 16.4762
|  | 49 | 573.67 | 14.5372
|  | 50 | 524.56 | 13.8764
|  | 51 | 498.98 | 13.4792
|  | 52 | 491.84 | 13.122
|  | 53 | 497.52 | 13.3599
|  | 54 | 553.24 | 13.0538
|  | 55 | 658.07 | 14.7194
|  | 56 | 786.94 | 17.334
|  | 57 | 815.86 | 23.3604
|  | 58 | 789.87 | 25.3624
|  | 59 | 815.95 | 19.7343
|  | 60 | 798.03 | 14.9975
|  | 61 | 763.6 | 14.8979
|  | 62 | 779.98 | 14.7039
|  | 63 | 732.32 | 14.7639
|  | 64 | 853.79 | 14.9388
|  | 65 | 842.09 | 14.7493
|  | 66 | 832.76 | 14.9783
|  | 67 | 885.39 | 22.4907
|  | 68 | 927.44 | 18.2613
|  | 69 | 950.71 | 17.3938
|  | 70 | 921.52 | 19.3066
|  | 71 | 820.94 | 22.5795
|  | 72 | 683.6 | 17.0095
|  | 73 | 543.03 | 14.2912
|  | 74 | 487.15 | 14.873
|  | 75 | 465.9 | 14.5786
|  | 76 | 457.12 | 14.9857
|  | 77 | 459.38 | 14.7058
|  | 78 | 497.15 | 15.1925
|  | 79 | 603.27 | 16.4724
|  | 80 | 716.24 | 18.2756
|  | 81 | 765.46 | 18.6659
|  | 82 | 749.53 | 20.1162
|  | 83 | 665.58 | 20.6499
|  | 84 | 660.26 | 18.5004
|  | 85 | 638.09 | 16.3531
|  | 86 | 643.72 | 17.5261
|  | 87 | 648.65 | 15.8559
|  | 88 | 664.5 | 16.5399
|  | 89 | 693.38 | 16.4797
|  | 90 | 754.32 | 13.847
|  | 91 | 770.22 | 18.2385
|  | 92 | 848 | 18.0567
|  | 93 | 899.8 | 16.8127
|  | 94 | 876.74 | 19.2764
|  | 95 | 754.48 | 21.9056
|  | 96 | 631 | 16.6369
|  | 97 | 555 | 29.2077
|  | 98 | 484.22 | 33.4918
|  | 99 | 458.89 | 32.3127
|  | 100 | 463.07 | 31.8268
|  | 101 | 469.48 | 29.7339
|  | 102 | 519.24 | 25.8322
|  | 103 | 596.25 | 24.3818
|  | 104 | 683.5 | 25.4221
|  | 105 | 735.54 | 23.8977
|  | 106 | 745.42 | 25.6011
|  | 107 | 697.23 | 29.0655
|  | 108 | 718.25 | 31.243
|  | 109 | 732.13 | 32.3263
|  | 110 | 749.46 | 30.9955
|  | 111 | 695.15 | 29.9594
|  | 112 | 684.43 | 28.5463
|  | 113 | 704.95 | 27.0049
|  | 114 | 734.13 | 24.1776
|  | 115 | 806.37 | 19.97
|  | 116 | 866.1 | 16.1385
|  | 117 | 923.6 | 17.4239
|  | 118 | 883.75 | 19.7288
|  | 119 | 781.02 | 20.5489
|  | 120 | 664.37 | 16.6332
|  | 121 | 577.78 | 15.9997
|  | 122 | 524.95 | 15.802
|  | 123 | 497.71 | 16.2308
|  | 124 | 483.86 | 16.3998
|  | 125 | 491.07 | 18.7436
|  | 126 | 522.91 | 19.9072
|  | 127 | 582.22 | 18.7599
|  | 128 | 646.47 | 18.378
|  | 129 | 691.76 | 18.2344
|  | 130 | 706.36 | 19.7383
|  | 131 | 696.63 | 19.6491
|  | 132 | 686.04 | 19.0206
|  | 133 | 704.38 | 18.0599
|  | 134 | 690.62 | 20.7911
|  | 135 | 666.49 | 21.9012
|  | 136 | 663.52 | 20.6574
|  | 137 | 681.07 | 21.1403
|  | 138 | 736.68 | 25.2305
|  | 139 | 786.63 | 32.3929
|  | 140 | 863.68 | 24.1645
|  | 141 | 936.77 | 21.7888
|  | 142 | 890 | 22.1509
|  | 143 | 781.25 | 29.8054
|  | 144 | 682.8 | 29.9092
|  | 145 | 578.02 | 16.4759
|  | 146 | 524.54 | 15.2894
|  | 147 | 498.56 | 15.3028
|  | 148 | 487.19 | 15.9821
|  | 149 | 494.3 | 16.1672
|  | 150 | 534.02 | 21.712
|  | 151 | 634.83 | 20.1588
|  | 152 | 754.88 | 17.683
|  | 153 | 781.44 | 23.6413
|  | 154 | 765.26 | 30.4412
|  | 155 | 724.96 | 30.6765
|  | 156 | 705.43 | 21.7194
|  | 157 | 691.49 | 18.0251
|  | 158 | 700.18 | 15.9459
|  | 159 | 700.7 | 18.3835
|  | 160 | 700.24 | 19.4908
|  | 161 | 724.17 | 16.5789
|  | 162 | 772.16 | 17.7644
|  | 163 | 832.14 | 23.7211
|  | 164 | 889.42 | 19.5293
|  | 165 | 959.1 | 20.087
|  | 166 | 924.17 | 22.0848
|  | 167 | 813.62 | 29.5068
|  | 168 | 689.67 | 21.5648
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 02/06/2025 | 03/06/20252 | 04/06/2025 | 05/06/2025 | 06/06/2025 | 07/06/2025 | 07/06/20252
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-06-07
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 18352.94 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 02/06/2025 | 03/06/20252 | 04/06/2025 | 05/06/2025 | 06/06/2025 | 07/06/2025 | 07/06/20252
Min (MW) | 500 | 500 | 500 | 500 | 500 | 500 | 500
Max (MW) | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-06-05
|  | Hour | Production | Exchange | Consumption
|  | 1 | 348.3511 | -268.5089 | 616.86
|  | 2 | 264.7284 | -295.835 | 560.5634
|  | 3 | 231.5652 | -298.4742 | 530.0394
|  | 4 | 223.8765 | -291.5961 | 515.4726
|  | 5 | 218.3966 | -298.0173 | 516.4139
|  | 6 | 275.1926 | -278.2808 | 553.4734
|  | 7 | 433.9224 | -221.5912 | 655.5137
|  | 8 | 644.9403 | -114.9612 | 759.9015
|  | 9 | 683.1186 | -112.2156 | 795.3342
|  | 10 | 663.7109 | -117.7202 | 781.4311
|  | 11 | 728.9754 | -29.3149 | 758.2903
|  | 12 | 698.3595 | -57.8814 | 756.2409
|  | 13 | 702.0668 | -59.8182 | 761.885
|  | 14 | 701.8808 | -82.7362 | 784.617
|  | 15 | 685.0163 | -98.3332 | 783.3495
|  | 16 | 704.2269 | -91.8656 | 796.0925
|  | 17 | 718.4228 | -88.5503 | 806.9731
|  | 18 | 772.4149 | -86.7029 | 859.1178
|  | 19 | 958.9836 | 44.5432 | 914.4404
|  | 20 | 1035.9488 | 94.4301 | 941.5187
|  | 21 | 1034.9351 | 55.2818 | 979.6533
|  | 22 | 998.6539 | 40.9815 | 957.6724
|  | 23 | 805.9807 | -55.3887 | 861.3694
|  | 24 | 577.4778 | -164.3481 | 741.8259
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 1.1798 | 0.029805 | 70.0918 | 76.1919 | 85.6343 | 62.3741
2 | 0 | 14.8512 | 99.5266 | 124.8146 | 98.8969 | 0.5819
3 | 0 | 29.1744 | 80.9765 | 142.2715 | 75.4199 | 1.3793
4 | 0 | 27.5437 | 81.4746 | 131.3045 | 66.8291 | 8.2937
5 | 0 | 26.2968 | 83.1834 | 124.9178 | 66.6328 | 10.3464
6 | 0 | 21.1265 | 90.1435 | 117.0732 | 74.807 | 8.8304
7 | 0.25305 | 9.6411 | 26.2926 | 123.5018 | 0.2473 | 142.0567
8 | 10.1009 | 0 | 0 | 106.5383 | 0 | 299.5641
9 | 31.9027 | 0 | 0 | 125.3726 | 0 | 493.7994
10 | 43.4067 | 0 | 0 | 114.654 | 0 | 583.3046
11 | 41.0091 | 0 | 0 | 94.1456 | 0 | 558.8765
12 | 17.0452 | 0 | 0 | 133.0592 | 0 | 338.1422
13 | 20.0752 | 0 | 0 | 113.3573 | 0 | 327.241
14 | 17.5598 | 0 | 0 | 78.1627 | 0 | 237.288
15 | 23.4166 | 0 | 0.42152 | 49.0194 | 0 | 220.0969
16 | 19.7837 | 0 | 0.026256 | 47.8163 | 0 | 260.9162
17 | 17.4146 | 0 | 2.7832 | 18.8633 | 0 | 225.2836
18 | 5.607 | 0 | 39.1806 | 1.3418 | 21.3562 | 118.6608
19 | 0.5748 | 0 | 44.2303 | 0 | 211.938 | 3.1856
20 | 18.1481 | 0 | 0.1987 | 0 | 92.7683 | 84.1301
21 | 17.4516 | 0 | 17.1628 | 0 | 143.8913 | 30.1258
22 | 15.62 | 0 | 12.811 | 0 | 127.4004 | 49.0356
23 | 5.0702 | 0 | 42.8753 | 0 | 192.7511 | 0.32772
24 | 0.00048384 | 0 | 67.5463 | 36.1654 | 172.7658 | 0.41933
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2025-06-07
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 411.27
|  |  | 01:00 - 02:00 | 292.4
|  |  | 02:00 - 03:00 | 245.89
|  |  | 03:00 - 04:00 | 244.92
|  |  | 04:00 - 05:00 | 239.52
|  |  | 05:00 - 06:00 | 300.64
|  |  | 06:00 - 07:00 | 423.51
|  |  | 07:00 - 08:00 | 578.26
|  |  | 08:00 - 09:00 | 714.19
|  |  | 09:00 - 10:00 | 636.79
|  |  | 10:00 - 11:00 | 650.29
|  |  | 11:00 - 12:00 | 653.13
|  |  | 12:00 - 13:00 | 603.42
|  |  | 13:00 - 14:00 | 638.1
|  |  | 14:00 - 15:00 | 583.13
|  |  | 15:00 - 16:00 | 608.03
|  |  | 16:00 - 17:00 | 618.43
|  |  | 17:00 - 18:00 | 644.07
|  |  | 18:00 - 19:00 | 787.31
|  |  | 19:00 - 20:00 | 897.15
|  |  | 20:00 - 21:00 | 1056.48
|  |  | 21:00 - 22:00 | 1030.19
|  |  | 22:00 - 23:00 | 868.98
|  |  | 23:00 - 00:00 | 547.83
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0.14169 | 0 | 0 | 99.3695 | 0 | 0 | 122.4924 | 0
2 | 0 | 0 | 0 | 50.0085 | 0 | 0 | 113.7359 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 108.9612 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 89.3608 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 113.9105 | 0
6 | 0 | 0 | 0 | 49.9011 | 0 | 0 | 116.11 | 0
7 | 0 | 1.6016 | 0 | 94.343 | 0 | 0 | 124.9336 | 0
8 | 0 | 94.7645 | 0 | 94.3744 | 0 | 0 | 93.9869 | 0
9 | 0 | 95.1803 | 0 | 94.3676 | 0 | 0 | 105.7699 | 0
10 | 0 | 90.8133 | 0 | 90.0734 | 0 | 0 | 102.5046 | 0
11 | 0 | 42.9488 | 0 | 86.8469 | 0 | 0 | 117.9593 | 0
12 | 0 | 0 | 0 | 94.1493 | 0 | 0 | 123.6012 | 0
13 | 0 | 0 | 0 | 38.354 | 0 | 0 | 102.1047 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 89.5297 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 89.4665 | 0
16 | 0 | 0 | 0 | 7.8499 | 0 | 0 | 89.4583 | 0
17 | 0 | 0 | 0 | 88.7 | 0 | 0 | 100.5556 | 0
18 | 0 | 2.435 | 0 | 84.3533 | 0 | 0 | 108.64 | 74.7338
19 | 0 | 87.5707 | 0 | 99.0717 | 0 | 0 | 98.8947 | 120.1198
20 | 35.8617 | 90.142 | 0 | 89.4245 | 0 | 0 | 115.3489 | 102.9932
21 | 94.7692 | 86.8001 | 0 | 86.0554 | 0 | 0 | 95.6236 | 128.3469
22 | 99.5919 | 95.2541 | 0 | 94.391 | 0 | 0 | 117.1248 | 109.9394
23 | 0.34701 | 95.2196 | 0 | 94.4135 | 0 | 0 | 134.0619 | 121.3794
24 | 0 | 0.54784 | 0 | 97.7989 | 0 | 0 | 106.4728 | 127.1522
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 230.5699 | 783.2779 | 0 | 1434.4763 | 0 | 0 | 2458.1153 | 784.6646
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 2390 MWh
Art. 5.12 | Energy reserve | [5 empty] | 848.6 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 40 | 0 | 0 | 40
21 | 0 | 0 | 0 | 80 | 0 | 0 | 80
22 | 0 | 0 | 0 | 40 | 0 | 0 | 40
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 0 | 0 | 0 | 6.6667 | 0 | 0 | 6.6667
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 589.9 | 14.2521
|  | 2 | 530.68 | 13.7052
|  | 3 | 502.45 | 12.8484
|  | 4 | 510.19 | 12.9497
|  | 5 | 517.61 | 12.6489
|  | 6 | 552.05 | 12.8893
|  | 7 | 664.74 | 14.2291
|  | 8 | 767.8 | 21.9489
|  | 9 | 788.69 | 24.4373
|  | 10 | 762.52 | 22.4156
|  | 11 | 710.71 | 16.1624
|  | 12 | 686.22 | 13.8477
|  | 13 | 654.99 | 13.6582
|  | 14 | 670.71 | 18.3304
|  | 15 | 665.73 | 23.519
|  | 16 | 675.6 | 25.6544
|  | 17 | 705.72 | 26.7644
|  | 18 | 777.52 | 28.6127
|  | 19 | 829.54 | 28.5711
|  | 20 | 887.62 | 22.9109
|  | 21 | 970.51 | 21.8242
|  | 22 | 934.73 | 21.2357
|  | 23 | 809.03 | 20.525
|  | 24 | 673.72 | 17.245
|  | 25 | 576.369 | 14.5818
|  | 26 | 517.159 | 14.1307
|  | 27 | 501.515 | 13.8868
|  | 28 | 483.071 | 14.7788
|  | 29 | 490.496 | 15.4471
|  | 30 | 529.161 | 15.1125
|  | 31 | 640.33 | 14.4192
|  | 32 | 747.51 | 18.306
|  | 33 | 774.008 | 25.2348
|  | 34 | 751.329 | 32.6775
|  | 35 | 776.08 | 33.8532
|  | 36 | 759.077 | 30.2987
|  | 37 | 740.871 | 26.8952
|  | 38 | 769.146 | 23.9486
|  | 39 | 742.355 | 22.8229
|  | 40 | 708.02 | 18.558
|  | 41 | 740.275 | 16.2667
|  | 42 | 784.973 | 13.9714
|  | 43 | 827.44 | 18.5606
|  | 44 | 861.623 | 17.3642
|  | 45 | 934.474 | 17.96
|  | 46 | 912.34 | 18.7375
|  | 47 | 816.13 | 20.2974
|  | 48 | 690.8 | 16.4762
|  | 49 | 573.67 | 14.5372
|  | 50 | 524.56 | 13.8764
|  | 51 | 498.98 | 13.4792
|  | 52 | 491.84 | 13.122
|  | 53 | 497.52 | 13.3599
|  | 54 | 553.24 | 13.0538
|  | 55 | 658.07 | 14.7194
|  | 56 | 786.94 | 17.334
|  | 57 | 815.86 | 23.3604
|  | 58 | 789.87 | 25.3624
|  | 59 | 815.95 | 19.7343
|  | 60 | 798.03 | 14.9975
|  | 61 | 763.6 | 14.8979
|  | 62 | 779.98 | 14.7039
|  | 63 | 732.32 | 14.7639
|  | 64 | 853.79 | 14.9388
|  | 65 | 842.09 | 14.7493
|  | 66 | 832.76 | 14.9783
|  | 67 | 885.39 | 22.4907
|  | 68 | 927.44 | 18.2613
|  | 69 | 950.71 | 17.3938
|  | 70 | 921.52 | 19.3066
|  | 71 | 820.94 | 22.5795
|  | 72 | 683.6 | 17.0095
|  | 73 | 543.03 | 14.2912
|  | 74 | 487.15 | 14.873
|  | 75 | 465.9 | 14.5786
|  | 76 | 457.12 | 14.9857
|  | 77 | 459.38 | 14.7058
|  | 78 | 497.15 | 15.1925
|  | 79 | 603.27 | 16.4724
|  | 80 | 716.24 | 18.2756
|  | 81 | 765.46 | 18.6659
|  | 82 | 749.53 | 20.1162
|  | 83 | 665.58 | 20.6499
|  | 84 | 660.26 | 18.5004
|  | 85 | 638.09 | 16.3531
|  | 86 | 643.72 | 17.5261
|  | 87 | 648.65 | 15.8559
|  | 88 | 664.5 | 16.5399
|  | 89 | 693.38 | 16.4797
|  | 90 | 754.32 | 13.847
|  | 91 | 770.22 | 18.2385
|  | 92 | 848 | 18.0567
|  | 93 | 899.8 | 16.8127
|  | 94 | 876.74 | 19.2764
|  | 95 | 754.48 | 21.9056
|  | 96 | 631 | 16.6369
|  | 97 | 555 | 29.2077
|  | 98 | 484.22 | 33.4918
|  | 99 | 458.89 | 32.3127
|  | 100 | 463.07 | 31.8268
|  | 101 | 469.48 | 29.7339
|  | 102 | 519.24 | 25.8322
|  | 103 | 596.25 | 24.3818
|  | 104 | 683.5 | 25.4221
|  | 105 | 735.54 | 23.8977
|  | 106 | 745.42 | 25.6011
|  | 107 | 697.23 | 29.0655
|  | 108 | 718.25 | 31.243
|  | 109 | 732.13 | 32.3263
|  | 110 | 749.46 | 30.9955
|  | 111 | 695.15 | 29.9594
|  | 112 | 684.43 | 28.5463
|  | 113 | 704.95 | 27.0049
|  | 114 | 734.13 | 24.1776
|  | 115 | 806.37 | 19.97
|  | 116 | 866.1 | 16.1385
|  | 117 | 923.6 | 17.4239
|  | 118 | 883.75 | 19.7288
|  | 119 | 781.02 | 20.5489
|  | 120 | 664.37 | 16.6332
|  | 121 | 577.78 | 15.9997
|  | 122 | 524.95 | 15.802
|  | 123 | 497.71 | 16.2308
|  | 124 | 483.86 | 16.3998
|  | 125 | 491.07 | 18.7436
|  | 126 | 522.91 | 19.9072
|  | 127 | 582.22 | 18.7599
|  | 128 | 646.47 | 18.378
|  | 129 | 691.76 | 18.2344
|  | 130 | 706.36 | 19.7383
|  | 131 | 696.63 | 19.6491
|  | 132 | 686.04 | 19.0206
|  | 133 | 704.38 | 18.0599
|  | 134 | 690.62 | 20.7911
|  | 135 | 666.49 | 21.9012
|  | 136 | 663.52 | 20.6574
|  | 137 | 681.07 | 21.1403
|  | 138 | 736.68 | 25.2305
|  | 139 | 786.63 | 32.3929
|  | 140 | 863.68 | 24.1645
|  | 141 | 936.77 | 21.7888
|  | 142 | 890 | 22.1509
|  | 143 | 781.25 | 29.8054
|  | 144 | 682.8 | 29.9092
|  | 145 | 578.02 | 16.4759
|  | 146 | 524.54 | 15.2894
|  | 147 | 498.56 | 15.3028
|  | 148 | 487.19 | 15.9821
|  | 149 | 494.3 | 16.1672
|  | 150 | 534.02 | 21.712
|  | 151 | 634.83 | 20.1588
|  | 152 | 754.88 | 17.683
|  | 153 | 781.44 | 23.6413
|  | 154 | 765.26 | 30.4412
|  | 155 | 724.96 | 30.6765
|  | 156 | 705.43 | 21.7194
|  | 157 | 691.49 | 18.0251
|  | 158 | 700.18 | 15.9459
|  | 159 | 700.7 | 18.3835
|  | 160 | 700.24 | 19.4908
|  | 161 | 724.17 | 16.5789
|  | 162 | 772.16 | 17.7644
|  | 163 | 832.14 | 23.7211
|  | 164 | 889.42 | 19.5293
|  | 165 | 959.1 | 20.087
|  | 166 | 924.17 | 22.0848
|  | 167 | 813.62 | 29.5068
|  | 168 | 689.67 | 21.5648
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 02/06/2025 | 03/06/20252 | 04/06/2025 | 05/06/2025 | 06/06/2025 | 07/06/2025 | 07/06/20252
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible