## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-06-18
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21166.45 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 16/06/2025 | 17/06/20252 | 18/06/2025 | 19/06/2025 | 20/06/2025 | 21/06/2025 | 22/06/20252
Min (MW) | 551 | 520 | 520 | 523 | 532 | 529 | 562
Max (MW) | 1005 | 897 | 912 | 1020 | 1001 | 957 | 989
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-06-16
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 217.3628 | -467.968 | 685.3308
|  | 2 | 144.2246 | -473.399 | 617.6236
|  | 3 | 80.9651 | -500.575 | 581.5401
|  | 4 | 86.4643 | -478.322 | 564.7863
|  | 5 | 73.5752 | -494.945 | 568.5202
|  | 6 | 118.116 | -477.812 | 595.928
|  | 7 | 223.587 | -460.888 | 684.475
|  | 8 | 393.3263 | -394.645 | 787.9713
|  | 9 | 473.8549 | -385.177 | 859.0319
|  | 10 | 486.5906 | -377.722 | 864.3126
|  | 11 | 502.2448 | -372.906 | 875.1508
|  | 12 | 531.6608 | -368.658 | 900.3188
|  | 13 | 530.4823 | -382.626 | 913.1083
|  | 14 | 563.9691 | -371.188 | 935.1571
|  | 15 | 560.4168 | -378.665 | 939.0818
|  | 16 | 564.1963 | -373.171 | 937.3673
|  | 17 | 565.4013 | -383.433 | 948.8343
|  | 18 | 782.0358 | -210.983 | 993.0188
|  | 19 | 957.1255 | -89.156 | 1046.2815
|  | 20 | 1117.5952 | 51.527 | 1066.0682
|  | 21 | 1144.4222 | 56.648 | 1087.7742
|  | 22 | 1142.9208 | 51.563 | 1091.3578
|  | 23 | 866.483 | -100.915 | 967.398
|  | 24 | 354.1695 | -470.635 | 824.8045
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-06-18
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 240.78
|  |  | 01:00 - 02:00 | 181.2
|  |  | 02:00 - 03:00 | 115.71
|  |  | 03:00 - 04:00 | 136.24
|  |  | 04:00 - 05:00 | 131.34
|  |  | 05:00 - 06:00 | 162.17
|  |  | 06:00 - 07:00 | 294.95
|  |  | 07:00 - 08:00 | 453.7
|  |  | 08:00 - 09:00 | 535.61
|  |  | 09:00 - 10:00 | 557.76
|  |  | 10:00 - 11:00 | 566.38
|  |  | 11:00 - 12:00 | 558.44
|  |  | 12:00 - 13:00 | 566.24
|  |  | 13:00 - 14:00 | 579.29
|  |  | 14:00 - 15:00 | 566.31
|  |  | 15:00 - 16:00 | 550.16
|  |  | 16:00 - 17:00 | 591.43
|  |  | 17:00 - 18:00 | 829.45
|  |  | 18:00 - 19:00 | 995.3
|  |  | 19:00 - 20:00 | 1138.79
|  |  | 20:00 - 21:00 | 1177.02
|  |  | 21:00 - 22:00 | 1170.81
|  |  | 22:00 - 23:00 | 720.22
|  |  | 23:00 - 00:00 | 376.26
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 89.3332 | 0 | 0 | 0 | 0.578
2 | 0 | 0 | 0 | 20.5488 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80792
8 | 0 | 0 | 0 | 0 | 0 | 0 | 63.5305 | 127.4485
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 121.3574
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 131.6442
11 | 0 | 0 | 0 | 0.25405 | 0 | 0 | 0 | 142.091
12 | 0 | 0 | 0 | 87.905 | 0 | 0 | 0 | 91.4836
13 | 0 | 0 | 0 | 86.4722 | 0 | 0 | 0.30266 | 112.8336
14 | 0 | 24.9481 | 26.1473 | 84.3797 | 0 | 0 | 89.2788 | 120.2574
15 | 0 | 90.1365 | 89.8049 | 89.3384 | 0 | 0 | 96.4166 | 90.2592
16 | 0 | 48.4719 | 48.219 | 84.6319 | 0 | 0 | 89.4626 | 91.2129
17 | 0 | 5.9335 | 0 | 84.3523 | 0 | 0 | 97.3846 | 99.5404
18 | 0 | 95.2087 | 3.3499 | 94.0587 | 0 | 0 | 126.9858 | 112.2297
19 | 0 | 90.2952 | 89.7798 | 89.4671 | 0 | 0 | 124.3442 | 113.6316
20 | 0 | 90.2515 | 89.7531 | 89.4264 | 0 | 0 | 115.2421 | 96.8353
21 | 0 | 95.1536 | 89.7838 | 94.2898 | 0 | 0 | 129.0093 | 116.1597
22 | 0 | 95.2269 | 89.7415 | 94.4385 | 0 | 0 | 136.728 | 124.2278
23 | 0 | 90.2266 | 89.7703 | 89.4789 | 0 | 0 | 128.9976 | 132.2889
24 | 0 | 90.1912 | 1.1884 | 1.5718 | 0 | 0 | 0.89378 | 114.618
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 816.0438 | 617.5381 | 1179.9469 | 0 | 0 | 1198.5766 | 1939.5052
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 1840 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 830.8 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 693.95 | 15.3991
|  | 2 | 615.46 | 13.0599
|  | 3 | 571.61 | 12.6518
|  | 4 | 560.42 | 12.9698
|  | 5 | 566.83 | 13.2053
|  | 6 | 604.17 | 14.0679
|  | 7 | 691.46 | 18.8042
|  | 8 | 805.85 | 22.671
|  | 9 | 865.11 | 19.0844
|  | 10 | 851.08 | 24.7945
|  | 11 | 958.81 | 19.8714
|  | 12 | 938.16 | 14.8108
|  | 13 | 938.62 | 15.3604
|  | 14 | 945.15 | 16.1599
|  | 15 | 962.02 | 15.8108
|  | 16 | 965.43 | 16.1053
|  | 17 | 992.48 | 15.9881
|  | 18 | 1033.83 | 16.095
|  | 19 | 1046.69 | 16.7891
|  | 20 | 1043.7 | 14.2788
|  | 21 | 1058.75 | 14.716
|  | 22 | 1040.79 | 14.0504
|  | 23 | 943.32 | 16.0888
|  | 24 | 804.52 | 15.54
|  | 25 | 713.44 | 14.8393
|  | 26 | 636.93 | 14.7998
|  | 27 | 601.13 | 12.7903
|  | 28 | 584.31 | 12.2526
|  | 29 | 585.9 | 12.0644
|  | 30 | 624.33 | 12.0762
|  | 31 | 697.84 | 12.3658
|  | 32 | 802.74 | 16.4356
|  | 33 | 883.48 | 18.8158
|  | 34 | 886.03 | 19.2205
|  | 35 | 885.5 | 17.7501
|  | 36 | 900.05 | 15.8444
|  | 37 | 901.96 | 16.6951
|  | 38 | 928.41 | 17.9083
|  | 39 | 934.93 | 16.8544
|  | 40 | 920.68 | 15.9961
|  | 41 | 932.42 | 15.7969
|  | 42 | 985.5 | 17.4494
|  | 43 | 1034.9 | 19.7698
|  | 44 | 1044.16 | 16.4431
|  | 45 | 1062.91 | 14.7112
|  | 46 | 1050.72 | 15.9127
|  | 47 | 934.25 | 18.1164
|  | 48 | 812.7 | 15.637
|  | 49 | 705.96 | 11.4646
|  | 50 | 635.89 | 13.2563
|  | 51 | 597.13 | 20.8759
|  | 52 | 578.84 | 23.2947
|  | 53 | 590.73 | 21.5231
|  | 54 | 620.15 | 18.391
|  | 55 | 712.31 | 15.0431
|  | 56 | 814.77 | 13.5554
|  | 57 | 886.45 | 17.6982
|  | 58 | 894.1 | 17.845
|  | 59 | 903.67 | 20.288
|  | 60 | 950.23 | 21.4048
|  | 61 | 965.11 | 23.8098
|  | 62 | 978.57 | 24.9231
|  | 63 | 981.1 | 28.1322
|  | 64 | 1011.3 | 28.3726
|  | 65 | 1012.8 | 29.0311
|  | 66 | 1050.6 | 28.9279
|  | 67 | 1094.36 | 26.0615
|  | 68 | 1108.49 | 20.5405
|  | 69 | 1127.7 | 22.0875
|  | 70 | 1124.8 | 22.9905
|  | 71 | 998.24 | 19.2732
|  | 72 | 861.14 | 18.1935
|  | 73 | 715.2 | 11.8416
|  | 74 | 645.89 | 14.7703
|  | 75 | 614.11 | 15.3992
|  | 76 | 611.93 | 16.7686
|  | 77 | 600.02 | 15.8965
|  | 78 | 636.91 | 13.9612
|  | 79 | 721.25 | 13.6406
|  | 80 | 833.64 | 13.0958
|  | 81 | 906.21 | 13.4334
|  | 82 | 924.61 | 16.3434
|  | 83 | 921.87 | 16.7613
|  | 84 | 938.08 | 17.7537
|  | 85 | 958.68 | 19.0183
|  | 86 | 995.78 | 19.2535
|  | 87 | 1001.04 | 18.4485
|  | 88 | 1000.11 | 19.5967
|  | 89 | 1004.01 | 16.549
|  | 90 | 1055.37 | 15.3082
|  | 91 | 1094.8 | 20.9232
|  | 92 | 1072.67 | 17.4334
|  | 93 | 1121.48 | 15.3048
|  | 94 | 1118.24 | 15.5861
|  | 95 | 988.55 | 16.885
|  | 96 | 836.14 | 16.3364
|  | 97 | 731.33 | 11.4254
|  | 98 | 660.33 | 9.736
|  | 99 | 627.93 | 9.537
|  | 100 | 618.64 | 9.5755
|  | 101 | 619.6 | 9.7617
|  | 102 | 645.67 | 11.5332
|  | 103 | 691.06 | 11.7942
|  | 104 | 782.61 | 17.4918
|  | 105 | 862.52 | 28.5995
|  | 106 | 920.01 | 24.9344
|  | 107 | 923.05 | 20.3543
|  | 108 | 952.77 | 14.1009
|  | 109 | 959.99 | 15.8001
|  | 110 | 948.14 | 16.3443
|  | 111 | 932.65 | 17.4093
|  | 112 | 942.63 | 18.9677
|  | 113 | 967.26 | 16.1319
|  | 114 | 1012.7 | 13.6917
|  | 115 | 1025.05 | 15.804
|  | 116 | 1048.64 | 13.8668
|  | 117 | 1079.79 | 13.8754
|  | 118 | 1053.68 | 14.4365
|  | 119 | 934.59 | 14.0599
|  | 120 | 833.08 | 12.915
|  | 121 | 725.84 | 11.901
|  | 122 | 663.47 | 12.1185
|  | 123 | 624 | 11.3397
|  | 124 | 603.74 | 10.6779
|  | 125 | 598.57 | 11.0246
|  | 126 | 614.6 | 11.0572
|  | 127 | 654.46 | 12.0033
|  | 128 | 735.68 | 17.1246
|  | 129 | 790.51 | 21.062
|  | 130 | 798.11 | 20.827
|  | 131 | 797.76 | 14.5666
|  | 132 | 817.54 | 14.5152
|  | 133 | 790.03 | 15.4407
|  | 134 | 795.48 | 16.3649
|  | 135 | 777.95 | 13.3507
|  | 136 | 810.89 | 12.4544
|  | 137 | 867.11 | 11.1347
|  | 138 | 910.89 | 12.0042
|  | 139 | 978.78 | 13.6135
|  | 140 | 1012.5 | 12.4155
|  | 141 | 1075.83 | 12.5671
|  | 142 | 1066.07 | 14.178
|  | 143 | 939.36 | 14.1383
|  | 144 | 817.41 | 12.7754
|  | 145 | 709.1 | 12.6557
|  | 146 | 635.76 | 13.7393
|  | 147 | 601.01 | 13.0774
|  | 148 | 601.71 | 12.0862
|  | 149 | 602.13 | 12.4408
|  | 150 | 623.42 | 12.9395
|  | 151 | 671.55 | 12.4041
|  | 152 | 779.4 | 14.6207
|  | 153 | 854.88 | 25.347
|  | 154 | 874.26 | 29.7373
|  | 155 | 888.81 | 30.9194
|  | 156 | 912.57 | 19.3218
|  | 157 | 931.22 | 18.7757
|  | 158 | 958.47 | 15.2395
|  | 159 | 967.55 | 14.981
|  | 160 | 962.84 | 15.686
|  | 161 | 989.76 | 13.9029
|  | 162 | 1036.99 | 14.859
|  | 163 | 1078.4 | 19.0098
|  | 164 | 1079.75 | 15.0748
|  | 165 | 1103.9 | 14.8218
|  | 166 | 1100.98 | 16.8747
|  | 167 | 981.61 | 18.5646
|  | 168 | 842.88 | 15.984
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 16/06/2025 | 17/06/20252 | 18/06/2025 | 19/06/2025 | 20/06/2025 | 21/06/2025 | 22/06/20252
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-06-18
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21166.45 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 16/06/2025 | 17/06/20252 | 18/06/2025 | 19/06/2025 | 20/06/2025 | 21/06/2025 | 22/06/20252
Min (MW) | 551 | 520 | 520 | 523 | 532 | 529 | 562
Max (MW) | 1005 | 897 | 912 | 1020 | 1001 | 957 | 989
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-06-16
|  | Hour | Production | Exchange | Consumption
|  | 1 | 217.3628 | -467.968 | 685.3308
|  | 2 | 144.2246 | -473.399 | 617.6236
|  | 3 | 80.9651 | -500.575 | 581.5401
|  | 4 | 86.4643 | -478.322 | 564.7863
|  | 5 | 73.5752 | -494.945 | 568.5202
|  | 6 | 118.116 | -477.812 | 595.928
|  | 7 | 223.587 | -460.888 | 684.475
|  | 8 | 393.3263 | -394.645 | 787.9713
|  | 9 | 473.8549 | -385.177 | 859.0319
|  | 10 | 486.5906 | -377.722 | 864.3126
|  | 11 | 502.2448 | -372.906 | 875.1508
|  | 12 | 531.6608 | -368.658 | 900.3188
|  | 13 | 530.4823 | -382.626 | 913.1083
|  | 14 | 563.9691 | -371.188 | 935.1571
|  | 15 | 560.4168 | -378.665 | 939.0818
|  | 16 | 564.1963 | -373.171 | 937.3673
|  | 17 | 565.4013 | -383.433 | 948.8343
|  | 18 | 782.0358 | -210.983 | 993.0188
|  | 19 | 957.1255 | -89.156 | 1046.2815
|  | 20 | 1117.5952 | 51.527 | 1066.0682
|  | 21 | 1144.4222 | 56.648 | 1087.7742
|  | 22 | 1142.9208 | 51.563 | 1091.3578
|  | 23 | 866.483 | -100.915 | 967.398
|  | 24 | 354.1695 | -470.635 | 824.8045
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2025-06-18
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 240.78
|  |  | 01:00 - 02:00 | 181.2
|  |  | 02:00 - 03:00 | 115.71
|  |  | 03:00 - 04:00 | 136.24
|  |  | 04:00 - 05:00 | 131.34
|  |  | 05:00 - 06:00 | 162.17
|  |  | 06:00 - 07:00 | 294.95
|  |  | 07:00 - 08:00 | 453.7
|  |  | 08:00 - 09:00 | 535.61
|  |  | 09:00 - 10:00 | 557.76
|  |  | 10:00 - 11:00 | 566.38
|  |  | 11:00 - 12:00 | 558.44
|  |  | 12:00 - 13:00 | 566.24
|  |  | 13:00 - 14:00 | 579.29
|  |  | 14:00 - 15:00 | 566.31
|  |  | 15:00 - 16:00 | 550.16
|  |  | 16:00 - 17:00 | 591.43
|  |  | 17:00 - 18:00 | 829.45
|  |  | 18:00 - 19:00 | 995.3
|  |  | 19:00 - 20:00 | 1138.79
|  |  | 20:00 - 21:00 | 1177.02
|  |  | 21:00 - 22:00 | 1170.81
|  |  | 22:00 - 23:00 | 720.22
|  |  | 23:00 - 00:00 | 376.26
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 89.3332 | 0 | 0 | 0 | 0.578
2 | 0 | 0 | 0 | 20.5488 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80792
8 | 0 | 0 | 0 | 0 | 0 | 0 | 63.5305 | 127.4485
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 121.3574
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 131.6442
11 | 0 | 0 | 0 | 0.25405 | 0 | 0 | 0 | 142.091
12 | 0 | 0 | 0 | 87.905 | 0 | 0 | 0 | 91.4836
13 | 0 | 0 | 0 | 86.4722 | 0 | 0 | 0.30266 | 112.8336
14 | 0 | 24.9481 | 26.1473 | 84.3797 | 0 | 0 | 89.2788 | 120.2574
15 | 0 | 90.1365 | 89.8049 | 89.3384 | 0 | 0 | 96.4166 | 90.2592
16 | 0 | 48.4719 | 48.219 | 84.6319 | 0 | 0 | 89.4626 | 91.2129
17 | 0 | 5.9335 | 0 | 84.3523 | 0 | 0 | 97.3846 | 99.5404
18 | 0 | 95.2087 | 3.3499 | 94.0587 | 0 | 0 | 126.9858 | 112.2297
19 | 0 | 90.2952 | 89.7798 | 89.4671 | 0 | 0 | 124.3442 | 113.6316
20 | 0 | 90.2515 | 89.7531 | 89.4264 | 0 | 0 | 115.2421 | 96.8353
21 | 0 | 95.1536 | 89.7838 | 94.2898 | 0 | 0 | 129.0093 | 116.1597
22 | 0 | 95.2269 | 89.7415 | 94.4385 | 0 | 0 | 136.728 | 124.2278
23 | 0 | 90.2266 | 89.7703 | 89.4789 | 0 | 0 | 128.9976 | 132.2889
24 | 0 | 90.1912 | 1.1884 | 1.5718 | 0 | 0 | 0.89378 | 114.618
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 816.0438 | 617.5381 | 1090.6137 | 0 | 0 | 1198.5766 | 1938.9272
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 1840 MWh
Art. 5.12 | Energy reserve | [5 empty] | 830.8 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 70 | 75 | 0 | 0 | 0 | 0 | 0
2 | 70 | 75 | 0 | 0 | 0 | 0 | 0
3 | 70 | 75 | 0 | 0 | 0 | 0 | 0
4 | 70 | 75 | 0 | 0 | 0 | 0 | 0
5 | 70 | 75 | 0 | 0 | 0 | 0 | 0
6 | 70 | 75 | 0 | 0 | 0 | 0 | 0
7 | 75 | 70 | 0 | 0 | 0 | 0 | 0
8 | 75 | 70 | 0 | 0 | 0 | 0 | 0
9 | 75 | 70 | 0 | 0 | 0 | 0 | 0
10 | 75 | 70 | 0 | 0 | 0 | 0 | 0
11 | 75 | 70 | 0 | 0 | 0 | 0 | 0
12 | 75 | 70 | 0 | 0 | 0 | 0 | 0
13 | 75 | 70 | 0 | 0 | 0 | 0 | 0
14 | 75 | 70 | 0 | 0 | 0 | 0 | 0
15 | 75 | 70 | 0 | 0 | 0 | 0 | 0
16 | 75 | 70 | 0 | 0 | 0 | 0 | 0
17 | 75 | 70 | 0 | 0 | 0 | 0 | 0
18 | 75 | 70 | 0 | 0 | 0 | 0 | 0
19 | 75 | 70 | 0 | 0 | 0 | 0 | 0
20 | 75 | 70 | 0 | 0 | 0 | 0 | 40
21 | 75 | 70 | 0 | 0 | 0 | 0 | 80
22 | 75 | 70 | 0 | 0 | 0 | 0 | 40
23 | 70 | 75 | 0 | 0 | 0 | 0 | 0
24 | 70 | 75 | 0 | 0 | 0 | 0 | 0
Average | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 6.6667
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 693.95 | 15.3991
|  | 2 | 615.46 | 13.0599
|  | 3 | 571.61 | 12.6518
|  | 4 | 560.42 | 12.9698
|  | 5 | 566.83 | 13.2053
|  | 6 | 604.17 | 14.0679
|  | 7 | 691.46 | 18.8042
|  | 8 | 805.85 | 22.671
|  | 9 | 865.11 | 19.0844
|  | 10 | 851.08 | 24.7945
|  | 11 | 958.81 | 19.8714
|  | 12 | 938.16 | 14.8108
|  | 13 | 938.62 | 15.3604
|  | 14 | 945.15 | 16.1599
|  | 15 | 962.02 | 15.8108
|  | 16 | 965.43 | 16.1053
|  | 17 | 992.48 | 15.9881
|  | 18 | 1033.83 | 16.095
|  | 19 | 1046.69 | 16.7891
|  | 20 | 1043.7 | 14.2788
|  | 21 | 1058.75 | 14.716
|  | 22 | 1040.79 | 14.0504
|  | 23 | 943.32 | 16.0888
|  | 24 | 804.52 | 15.54
|  | 25 | 713.44 | 14.8393
|  | 26 | 636.93 | 14.7998
|  | 27 | 601.13 | 12.7903
|  | 28 | 584.31 | 12.2526
|  | 29 | 585.9 | 12.0644
|  | 30 | 624.33 | 12.0762
|  | 31 | 697.84 | 12.3658
|  | 32 | 802.74 | 16.4356
|  | 33 | 883.48 | 18.8158
|  | 34 | 886.03 | 19.2205
|  | 35 | 885.5 | 17.7501
|  | 36 | 900.05 | 15.8444
|  | 37 | 901.96 | 16.6951
|  | 38 | 928.41 | 17.9083
|  | 39 | 934.93 | 16.8544
|  | 40 | 920.68 | 15.9961
|  | 41 | 932.42 | 15.7969
|  | 42 | 985.5 | 17.4494
|  | 43 | 1034.9 | 19.7698
|  | 44 | 1044.16 | 16.4431
|  | 45 | 1062.91 | 14.7112
|  | 46 | 1050.72 | 15.9127
|  | 47 | 934.25 | 18.1164
|  | 48 | 812.7 | 15.637
|  | 49 | 705.96 | 11.4646
|  | 50 | 635.89 | 13.2563
|  | 51 | 597.13 | 20.8759
|  | 52 | 578.84 | 23.2947
|  | 53 | 590.73 | 21.5231
|  | 54 | 620.15 | 18.391
|  | 55 | 712.31 | 15.0431
|  | 56 | 814.77 | 13.5554
|  | 57 | 886.45 | 17.6982
|  | 58 | 894.1 | 17.845
|  | 59 | 903.67 | 20.288
|  | 60 | 950.23 | 21.4048
|  | 61 | 965.11 | 23.8098
|  | 62 | 978.57 | 24.9231
|  | 63 | 981.1 | 28.1322
|  | 64 | 1011.3 | 28.3726
|  | 65 | 1012.8 | 29.0311
|  | 66 | 1050.6 | 28.9279
|  | 67 | 1094.36 | 26.0615
|  | 68 | 1108.49 | 20.5405
|  | 69 | 1127.7 | 22.0875
|  | 70 | 1124.8 | 22.9905
|  | 71 | 998.24 | 19.2732
|  | 72 | 861.14 | 18.1935
|  | 73 | 715.2 | 11.8416
|  | 74 | 645.89 | 14.7703
|  | 75 | 614.11 | 15.3992
|  | 76 | 611.93 | 16.7686
|  | 77 | 600.02 | 15.8965
|  | 78 | 636.91 | 13.9612
|  | 79 | 721.25 | 13.6406
|  | 80 | 833.64 | 13.0958
|  | 81 | 906.21 | 13.4334
|  | 82 | 924.61 | 16.3434
|  | 83 | 921.87 | 16.7613
|  | 84 | 938.08 | 17.7537
|  | 85 | 958.68 | 19.0183
|  | 86 | 995.78 | 19.2535
|  | 87 | 1001.04 | 18.4485
|  | 88 | 1000.11 | 19.5967
|  | 89 | 1004.01 | 16.549
|  | 90 | 1055.37 | 15.3082
|  | 91 | 1094.8 | 20.9232
|  | 92 | 1072.67 | 17.4334
|  | 93 | 1121.48 | 15.3048
|  | 94 | 1118.24 | 15.5861
|  | 95 | 988.55 | 16.885
|  | 96 | 836.14 | 16.3364
|  | 97 | 731.33 | 11.4254
|  | 98 | 660.33 | 9.736
|  | 99 | 627.93 | 9.537
|  | 100 | 618.64 | 9.5755
|  | 101 | 619.6 | 9.7617
|  | 102 | 645.67 | 11.5332
|  | 103 | 691.06 | 11.7942
|  | 104 | 782.61 | 17.4918
|  | 105 | 862.52 | 28.5995
|  | 106 | 920.01 | 24.9344
|  | 107 | 923.05 | 20.3543
|  | 108 | 952.77 | 14.1009
|  | 109 | 959.99 | 15.8001
|  | 110 | 948.14 | 16.3443
|  | 111 | 932.65 | 17.4093
|  | 112 | 942.63 | 18.9677
|  | 113 | 967.26 | 16.1319
|  | 114 | 1012.7 | 13.6917
|  | 115 | 1025.05 | 15.804
|  | 116 | 1048.64 | 13.8668
|  | 117 | 1079.79 | 13.8754
|  | 118 | 1053.68 | 14.4365
|  | 119 | 934.59 | 14.0599
|  | 120 | 833.08 | 12.915
|  | 121 | 725.84 | 11.901
|  | 122 | 663.47 | 12.1185
|  | 123 | 624 | 11.3397
|  | 124 | 603.74 | 10.6779
|  | 125 | 598.57 | 11.0246
|  | 126 | 614.6 | 11.0572
|  | 127 | 654.46 | 12.0033
|  | 128 | 735.68 | 17.1246
|  | 129 | 790.51 | 21.062
|  | 130 | 798.11 | 20.827
|  | 131 | 797.76 | 14.5666
|  | 132 | 817.54 | 14.5152
|  | 133 | 790.03 | 15.4407
|  | 134 | 795.48 | 16.3649
|  | 135 | 777.95 | 13.3507
|  | 136 | 810.89 | 12.4544
|  | 137 | 867.11 | 11.1347
|  | 138 | 910.89 | 12.0042
|  | 139 | 978.78 | 13.6135
|  | 140 | 1012.5 | 12.4155
|  | 141 | 1075.83 | 12.5671
|  | 142 | 1066.07 | 14.178
|  | 143 | 939.36 | 14.1383
|  | 144 | 817.41 | 12.7754
|  | 145 | 709.1 | 12.6557
|  | 146 | 635.76 | 13.7393
|  | 147 | 601.01 | 13.0774
|  | 148 | 601.71 | 12.0862
|  | 149 | 602.13 | 12.4408
|  | 150 | 623.42 | 12.9395
|  | 151 | 671.55 | 12.4041
|  | 152 | 779.4 | 14.6207
|  | 153 | 854.88 | 25.347
|  | 154 | 874.26 | 29.7373
|  | 155 | 888.81 | 30.9194
|  | 156 | 912.57 | 19.3218
|  | 157 | 931.22 | 18.7757
|  | 158 | 958.47 | 15.2395
|  | 159 | 967.55 | 14.981
|  | 160 | 962.84 | 15.686
|  | 161 | 989.76 | 13.9029
|  | 162 | 1036.99 | 14.859
|  | 163 | 1078.4 | 19.0098
|  | 164 | 1079.75 | 15.0748
|  | 165 | 1103.9 | 14.8218
|  | 166 | 1100.98 | 16.8747
|  | 167 | 981.61 | 18.5646
|  | 168 | 842.88 | 15.984
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 16/06/2025 | 17/06/20252 | 18/06/2025 | 19/06/2025 | 20/06/2025 | 21/06/2025 | 22/06/20252
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 40 | 40 | 40 | 40 | 40 | 40 | 40
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible