## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-07-11
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 20440.75 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 07/07/2025 | 08/07/20252 | 09/07/2025 | 10/07/2025 | 11/07/20252 | 12/07/20252 | 13/07/2025
Min (MW) | 608 | 570 | 597 | 524 | 546 | 606 | 580
Max (MW) | 1128 | 1127 | 1077 | 978 | 997 | 1035 | 1200
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-07-09
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 298.2052 | -522.61 | 820.8152
|  | 2 | 207.1934 | -533.869 | 741.0624
|  | 3 | 163.5692 | -540.029 | 703.5982
|  | 4 | 133.0611 | -546.678 | 679.7391
|  | 5 | 132.034 | -537.25 | 669.284
|  | 6 | 138.9683 | -547.576 | 686.5443
|  | 7 | 267.4644 | -497.142 | 764.6064
|  | 8 | 425.8802 | -452.51 | 878.3902
|  | 9 | 476.0856 | -503.952 | 980.0376
|  | 10 | 449.0417 | -536.637 | 985.6787
|  | 11 | 443.929 | -540.142 | 984.071
|  | 12 | 429.3895 | -550.908 | 980.2975
|  | 13 | 395.81 | -546.423 | 942.233
|  | 14 | 398.5025 | -540.24 | 938.7425
|  | 15 | 372.8733 | -562.108 | 934.9813
|  | 16 | 352.6176 | -571.574 | 924.1916
|  | 17 | 319.9144 | -617.959 | 937.8734
|  | 18 | 437.6974 | -533.02 | 970.7174
|  | 19 | 626.6323 | -395.007 | 1021.6393
|  | 20 | 608.663 | -432.377 | 1041.04
|  | 21 | 605.3356 | -461.455 | 1066.7906
|  | 22 | 589.3047 | -468.879 | 1058.1837
|  | 23 | 415.1562 | -535.418 | 950.5742
|  | 24 | 267.497 | -547.5 | 814.997
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-07-11
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 183.72
|  |  | 01:00 - 02:00 | 126.79
|  |  | 02:00 - 03:00 | 95.86
|  |  | 03:00 - 04:00 | 81.73
|  |  | 04:00 - 05:00 | 88.63
|  |  | 05:00 - 06:00 | 95.43
|  |  | 06:00 - 07:00 | 235.43
|  |  | 07:00 - 08:00 | 359.64
|  |  | 08:00 - 09:00 | 341.19
|  |  | 09:00 - 10:00 | 374.3
|  |  | 10:00 - 11:00 | 380.91
|  |  | 11:00 - 12:00 | 379.91
|  |  | 12:00 - 13:00 | 399.9
|  |  | 13:00 - 14:00 | 431.55
|  |  | 14:00 - 15:00 | 416.9
|  |  | 15:00 - 16:00 | 383.48
|  |  | 16:00 - 17:00 | 357.97
|  |  | 17:00 - 18:00 | 509.04
|  |  | 18:00 - 19:00 | 549.86
|  |  | 19:00 - 20:00 | 634.72
|  |  | 20:00 - 21:00 | 663.97
|  |  | 21:00 - 22:00 | 653.96
|  |  | 22:00 - 23:00 | 541.7
|  |  | 23:00 - 00:00 | 279.77
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 84.7313 | 0 | 0.7884 | 0 | 0
2 | 0 | 0 | 0 | 50.025 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 79.3142 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 119.0078 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 74.269 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 12.0219 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 2.4217 | 0 | 0.78166 | 0 | 0
18 | 0 | 1.3036 | 0 | 0 | 0 | 121.203 | 0 | 0
19 | 0 | 84.0796 | 0 | 40.841 | 0 | 134.382 | 0 | 0
20 | 45.2303 | 85.11 | 0 | 82.1383 | 0 | 121.1622 | 0 | 0
21 | 84.7334 | 85.1135 | 0 | 84.7554 | 0 | 126.1832 | 0 | 0
22 | 84.7514 | 85.1485 | 0 | 84.7828 | 0 | 115.9262 | 0 | 0
23 | 0.51614 | 85.0906 | 0 | 84.7629 | 0 | 104.7846 | 0 | 0
24 | 0 | 0.56652 | 0 | 58.0129 | 0 | 111.3562 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 215.2312 | 426.4122 | 0 | 584.4932 | 0 | 1109.1584 | 0 | 0
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 2543 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 725.7 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 787.46 | 14.337
|  | 2 | 706.31 | 15.8652
|  | 3 | 659.99 | 14.8632
|  | 4 | 647.53 | 13.6865
|  | 5 | 643.83 | 13.4946
|  | 6 | 664.87 | 11.9063
|  | 7 | 764.6 | 13.8006
|  | 8 | 888.84 | 16.0874
|  | 9 | 988.03 | 20.1506
|  | 10 | 1025.14 | 21.2622
|  | 11 | 1048.06 | 22.8984
|  | 12 | 1078.61 | 25.1277
|  | 13 | 1116.8 | 25.5565
|  | 14 | 1146.19 | 33.7432
|  | 15 | 1139.82 | 35.8425
|  | 16 | 1135.37 | 24.091
|  | 17 | 1133.58 | 20.8167
|  | 18 | 1179.4 | 21.0104
|  | 19 | 1210.37 | 25.1231
|  | 20 | 1209.34 | 21.4203
|  | 21 | 1214.21 | 22.6189
|  | 22 | 1228.66 | 21.5743
|  | 23 | 1125.74 | 27.5848
|  | 24 | 955.53 | 22.71
|  | 25 | 798.58 | 16.4141
|  | 26 | 716.85 | 17.2964
|  | 27 | 676.13 | 15.1153
|  | 28 | 655.06 | 13.5872
|  | 29 | 651.33 | 12.8042
|  | 30 | 678.36 | 13.7554
|  | 31 | 774.41 | 13.3382
|  | 32 | 887.88 | 13.8703
|  | 33 | 986.82 | 21.4318
|  | 34 | 1020.82 | 23.8982
|  | 35 | 1032.85 | 17.5532
|  | 36 | 1069.16 | 16.2587
|  | 37 | 1079.46 | 17.036
|  | 38 | 1113.2 | 17.4149
|  | 39 | 1111.3 | 16.9594
|  | 40 | 1127.83 | 16.748
|  | 41 | 1139.06 | 18.3113
|  | 42 | 1176.41 | 21.9533
|  | 43 | 1200.47 | 23.2587
|  | 44 | 1213.47 | 20.7199
|  | 45 | 1217.71 | 19.5729
|  | 46 | 1230.34 | 20.3351
|  | 47 | 1133.5 | 25.0637
|  | 48 | 967.58 | 20.3003
|  | 49 | 806.14 | 16.7603
|  | 50 | 723.42 | 13.2333
|  | 51 | 684.91 | 12.3571
|  | 52 | 656.43 | 12.4527
|  | 53 | 657.22 | 12.2074
|  | 54 | 679.39 | 12.8904
|  | 55 | 772.66 | 13.1355
|  | 56 | 893.4 | 13.3583
|  | 57 | 996.54 | 16.7295
|  | 58 | 1020.08 | 15.9473
|  | 59 | 1029.86 | 16.5137
|  | 60 | 1052.51 | 18.1639
|  | 61 | 1086.01 | 18.8486
|  | 62 | 1117.34 | 19.901
|  | 63 | 1119.06 | 19.7323
|  | 64 | 1141.94 | 20.2292
|  | 65 | 1144.27 | 20.1082
|  | 66 | 1189.83 | 22.4068
|  | 67 | 1221.35 | 21.496
|  | 68 | 1212.83 | 20.4749
|  | 69 | 1205.28 | 21.3421
|  | 70 | 1209.79 | 21.0532
|  | 71 | 1096.35 | 22.4004
|  | 72 | 934.5 | 18.517
|  | 73 | 807.05 | 14.7145
|  | 74 | 726.46 | 14.3214
|  | 75 | 681.87 | 13.6995
|  | 76 | 665.81 | 13.3684
|  | 77 | 665.17 | 15.2626
|  | 78 | 705.51 | 16.6519
|  | 79 | 784.06 | 19.9183
|  | 80 | 893.06 | 23.3303
|  | 81 | 978.3 | 24.9026
|  | 82 | 1023.98 | 29.9851
|  | 83 | 1029.21 | 33.2951
|  | 84 | 1039.29 | 34.8855
|  | 85 | 1091.98 | 33.3627
|  | 86 | 1123.83 | 33.9606
|  | 87 | 1126.19 | 32.8172
|  | 88 | 1139.06 | 29.4722
|  | 89 | 1072.98 | 23.5018
|  | 90 | 1170.74 | 21.6698
|  | 91 | 1219.16 | 23.1207
|  | 92 | 1198.24 | 23.8961
|  | 93 | 1200.04 | 21.1653
|  | 94 | 1195.41 | 17.9806
|  | 95 | 1069.66 | 21.2365
|  | 96 | 967.04 | 18.0739
|  | 97 | 810.43 | 17.0053
|  | 98 | 726.62 | 15.4774
|  | 99 | 680.3 | 14.5826
|  | 100 | 648.01 | 13.4179
|  | 101 | 646.99 | 12.1167
|  | 102 | 668.42 | 12.3828
|  | 103 | 736.58 | 18.0504
|  | 104 | 803.5 | 24.6757
|  | 105 | 862.45 | 29.1841
|  | 106 | 900.05 | 35.3103
|  | 107 | 920.29 | 39.3645
|  | 108 | 948.57 | 39.866
|  | 109 | 1010.42 | 38.8502
|  | 110 | 1028.96 | 38.1753
|  | 111 | 1030.17 | 39.3731
|  | 112 | 1040.82 | 34.0395
|  | 113 | 1076.29 | 27.5236
|  | 114 | 1097.94 | 21.7943
|  | 115 | 1160.08 | 21.6484
|  | 116 | 1168.6 | 23.0706
|  | 117 | 1182.38 | 20.8153
|  | 118 | 1210.1 | 22.0656
|  | 119 | 1100.01 | 22.5379
|  | 120 | 947.71 | 19.091
|  | 121 | 797.26 | 15.2546
|  | 122 | 717.18 | 13.3775
|  | 123 | 672.74 | 12.7053
|  | 124 | 646.8 | 11.7219
|  | 125 | 642.82 | 11.6247
|  | 126 | 670.6 | 12.3002
|  | 127 | 762.23 | 20.404
|  | 128 | 884.09 | 25.42
|  | 129 | 980.45 | 28.3484
|  | 130 | 1016.46 | 31.5463
|  | 131 | 1066.8 | 31.9565
|  | 132 | 1101.24 | 34.7818
|  | 133 | 1148.91 | 34.2815
|  | 134 | 1187.51 | 43.2358
|  | 135 | 1193.4 | 43.7748
|  | 136 | 1162.35 | 39.7058
|  | 137 | 1178.72 | 24.2605
|  | 138 | 1215.17 | 21.6104
|  | 139 | 1243.96 | 19.541
|  | 140 | 1235.24 | 18.1181
|  | 141 | 1239.45 | 18.8676
|  | 142 | 1249.26 | 19.566
|  | 143 | 1150.74 | 16.5338
|  | 144 | 979.67 | 17.3811
|  | 145 | 815.71 | 17.1763
|  | 146 | 728.07 | 12.7423
|  | 147 | 680.17 | 12.7055
|  | 148 | 663.57 | 12.1062
|  | 149 | 662.05 | 11.8802
|  | 150 | 677.69 | 11.6541
|  | 151 | 774.23 | 12.6003
|  | 152 | 894.15 | 18.7753
|  | 153 | 999.24 | 25.3539
|  | 154 | 1048.43 | 26.0704
|  | 155 | 1103.1 | 27.9316
|  | 156 | 1098.39 | 27.9124
|  | 157 | 1172.42 | 24.4419
|  | 158 | 1201.62 | 22.0643
|  | 159 | 1212.57 | 21.0181
|  | 160 | 1158.37 | 21.2729
|  | 161 | 1165.9 | 19.6312
|  | 162 | 1193.29 | 22.2784
|  | 163 | 1216.52 | 18.7813
|  | 164 | 1208.08 | 17.3873
|  | 165 | 1207.29 | 17.7336
|  | 166 | 1217.45 | 18.4863
|  | 167 | 1104.15 | 19.0708
|  | 168 | 943.74 | 15.1342
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 07/07/2025 | 08/07/20252 | 09/07/2025 | 10/07/2025 | 11/07/20252 | 12/07/20252 | 13/07/2025
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 28 | 28 | 28 | 28 | 28 | 28 | 28
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-07-11
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 20440.75 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 07/07/2025 | 08/07/20252 | 09/07/2025 | 10/07/2025 | 11/07/20252 | 12/07/20252 | 13/07/2025
Min (MW) | 608 | 570 | 597 | 524 | 546 | 606 | 580
Max (MW) | 1128 | 1127 | 1077 | 978 | 997 | 1035 | 1200
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 500 | 500 | 500 | 500
|  | Max (MW) | 1250 | 1250 | 1250 | 1250
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-07-09
|  | Hour | Production | Exchange | Consumption
|  | 1 | 298.2052 | -522.61 | 820.8152
|  | 2 | 207.1934 | -533.869 | 741.0624
|  | 3 | 163.5692 | -540.029 | 703.5982
|  | 4 | 133.0611 | -546.678 | 679.7391
|  | 5 | 132.034 | -537.25 | 669.284
|  | 6 | 138.9683 | -547.576 | 686.5443
|  | 7 | 267.4644 | -497.142 | 764.6064
|  | 8 | 425.8802 | -452.51 | 878.3902
|  | 9 | 476.0856 | -503.952 | 980.0376
|  | 10 | 449.0417 | -536.637 | 985.6787
|  | 11 | 443.929 | -540.142 | 984.071
|  | 12 | 429.3895 | -550.908 | 980.2975
|  | 13 | 395.81 | -546.423 | 942.233
|  | 14 | 398.5025 | -540.24 | 938.7425
|  | 15 | 372.8733 | -562.108 | 934.9813
|  | 16 | 352.6176 | -571.574 | 924.1916
|  | 17 | 319.9144 | -617.959 | 937.8734
|  | 18 | 437.6974 | -533.02 | 970.7174
|  | 19 | 626.6323 | -395.007 | 1021.6393
|  | 20 | 608.663 | -432.377 | 1041.04
|  | 21 | 605.3356 | -461.455 | 1066.7906
|  | 22 | 589.3047 | -468.879 | 1058.1837
|  | 23 | 415.1562 | -535.418 | 950.5742
|  | 24 | 267.497 | -547.5 | 814.997
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2025-07-11
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 183.72
|  |  | 01:00 - 02:00 | 126.79
|  |  | 02:00 - 03:00 | 95.86
|  |  | 03:00 - 04:00 | 81.73
|  |  | 04:00 - 05:00 | 88.63
|  |  | 05:00 - 06:00 | 95.43
|  |  | 06:00 - 07:00 | 235.43
|  |  | 07:00 - 08:00 | 359.64
|  |  | 08:00 - 09:00 | 341.19
|  |  | 09:00 - 10:00 | 374.3
|  |  | 10:00 - 11:00 | 380.91
|  |  | 11:00 - 12:00 | 379.91
|  |  | 12:00 - 13:00 | 399.9
|  |  | 13:00 - 14:00 | 431.55
|  |  | 14:00 - 15:00 | 416.9
|  |  | 15:00 - 16:00 | 383.48
|  |  | 16:00 - 17:00 | 357.97
|  |  | 17:00 - 18:00 | 509.04
|  |  | 18:00 - 19:00 | 549.86
|  |  | 19:00 - 20:00 | 634.72
|  |  | 20:00 - 21:00 | 663.97
|  |  | 21:00 - 22:00 | 653.96
|  |  | 22:00 - 23:00 | 541.7
|  |  | 23:00 - 00:00 | 279.77
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 84.7313 | 0 | 0.7884 | 0 | 0
2 | 0 | 0 | 0 | 50.025 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 79.3142 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 119.0078 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 74.269 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 12.0219 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 2.4217 | 0 | 0.78166 | 0 | 0
18 | 0 | 1.3036 | 0 | 0 | 0 | 121.203 | 0 | 0
19 | 0 | 84.0796 | 0 | 40.841 | 0 | 134.382 | 0 | 0
20 | 45.2303 | 85.11 | 0 | 82.1383 | 0 | 121.1622 | 0 | 0
21 | 84.7334 | 85.1135 | 0 | 84.7554 | 0 | 126.1832 | 0 | 0
22 | 84.7514 | 85.1485 | 0 | 84.7828 | 0 | 115.9262 | 0 | 0
23 | 0.51614 | 85.0906 | 0 | 84.7629 | 0 | 104.7846 | 0 | 0
24 | 0 | 0.56652 | 0 | 58.0129 | 0 | 111.3562 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 215.2312 | 426.4122 | 0 | 499.7619 | 0 | 1108.37 | 0 | 0
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 2543 MWh
Art. 5.12 | Energy reserve | [5 empty] | 725.7 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 787.46 | 14.337
|  | 2 | 706.31 | 15.8652
|  | 3 | 659.99 | 14.8632
|  | 4 | 647.53 | 13.6865
|  | 5 | 643.83 | 13.4946
|  | 6 | 664.87 | 11.9063
|  | 7 | 764.6 | 13.8006
|  | 8 | 888.84 | 16.0874
|  | 9 | 988.03 | 20.1506
|  | 10 | 1025.14 | 21.2622
|  | 11 | 1048.06 | 22.8984
|  | 12 | 1078.61 | 25.1277
|  | 13 | 1116.8 | 25.5565
|  | 14 | 1146.19 | 33.7432
|  | 15 | 1139.82 | 35.8425
|  | 16 | 1135.37 | 24.091
|  | 17 | 1133.58 | 20.8167
|  | 18 | 1179.4 | 21.0104
|  | 19 | 1210.37 | 25.1231
|  | 20 | 1209.34 | 21.4203
|  | 21 | 1214.21 | 22.6189
|  | 22 | 1228.66 | 21.5743
|  | 23 | 1125.74 | 27.5848
|  | 24 | 955.53 | 22.71
|  | 25 | 798.58 | 16.4141
|  | 26 | 716.85 | 17.2964
|  | 27 | 676.13 | 15.1153
|  | 28 | 655.06 | 13.5872
|  | 29 | 651.33 | 12.8042
|  | 30 | 678.36 | 13.7554
|  | 31 | 774.41 | 13.3382
|  | 32 | 887.88 | 13.8703
|  | 33 | 986.82 | 21.4318
|  | 34 | 1020.82 | 23.8982
|  | 35 | 1032.85 | 17.5532
|  | 36 | 1069.16 | 16.2587
|  | 37 | 1079.46 | 17.036
|  | 38 | 1113.2 | 17.4149
|  | 39 | 1111.3 | 16.9594
|  | 40 | 1127.83 | 16.748
|  | 41 | 1139.06 | 18.3113
|  | 42 | 1176.41 | 21.9533
|  | 43 | 1200.47 | 23.2587
|  | 44 | 1213.47 | 20.7199
|  | 45 | 1217.71 | 19.5729
|  | 46 | 1230.34 | 20.3351
|  | 47 | 1133.5 | 25.0637
|  | 48 | 967.58 | 20.3003
|  | 49 | 806.14 | 16.7603
|  | 50 | 723.42 | 13.2333
|  | 51 | 684.91 | 12.3571
|  | 52 | 656.43 | 12.4527
|  | 53 | 657.22 | 12.2074
|  | 54 | 679.39 | 12.8904
|  | 55 | 772.66 | 13.1355
|  | 56 | 893.4 | 13.3583
|  | 57 | 996.54 | 16.7295
|  | 58 | 1020.08 | 15.9473
|  | 59 | 1029.86 | 16.5137
|  | 60 | 1052.51 | 18.1639
|  | 61 | 1086.01 | 18.8486
|  | 62 | 1117.34 | 19.901
|  | 63 | 1119.06 | 19.7323
|  | 64 | 1141.94 | 20.2292
|  | 65 | 1144.27 | 20.1082
|  | 66 | 1189.83 | 22.4068
|  | 67 | 1221.35 | 21.496
|  | 68 | 1212.83 | 20.4749
|  | 69 | 1205.28 | 21.3421
|  | 70 | 1209.79 | 21.0532
|  | 71 | 1096.35 | 22.4004
|  | 72 | 934.5 | 18.517
|  | 73 | 807.05 | 14.7145
|  | 74 | 726.46 | 14.3214
|  | 75 | 681.87 | 13.6995
|  | 76 | 665.81 | 13.3684
|  | 77 | 665.17 | 15.2626
|  | 78 | 705.51 | 16.6519
|  | 79 | 784.06 | 19.9183
|  | 80 | 893.06 | 23.3303
|  | 81 | 978.3 | 24.9026
|  | 82 | 1023.98 | 29.9851
|  | 83 | 1029.21 | 33.2951
|  | 84 | 1039.29 | 34.8855
|  | 85 | 1091.98 | 33.3627
|  | 86 | 1123.83 | 33.9606
|  | 87 | 1126.19 | 32.8172
|  | 88 | 1139.06 | 29.4722
|  | 89 | 1072.98 | 23.5018
|  | 90 | 1170.74 | 21.6698
|  | 91 | 1219.16 | 23.1207
|  | 92 | 1198.24 | 23.8961
|  | 93 | 1200.04 | 21.1653
|  | 94 | 1195.41 | 17.9806
|  | 95 | 1069.66 | 21.2365
|  | 96 | 967.04 | 18.0739
|  | 97 | 810.43 | 17.0053
|  | 98 | 726.62 | 15.4774
|  | 99 | 680.3 | 14.5826
|  | 100 | 648.01 | 13.4179
|  | 101 | 646.99 | 12.1167
|  | 102 | 668.42 | 12.3828
|  | 103 | 736.58 | 18.0504
|  | 104 | 803.5 | 24.6757
|  | 105 | 862.45 | 29.1841
|  | 106 | 900.05 | 35.3103
|  | 107 | 920.29 | 39.3645
|  | 108 | 948.57 | 39.866
|  | 109 | 1010.42 | 38.8502
|  | 110 | 1028.96 | 38.1753
|  | 111 | 1030.17 | 39.3731
|  | 112 | 1040.82 | 34.0395
|  | 113 | 1076.29 | 27.5236
|  | 114 | 1097.94 | 21.7943
|  | 115 | 1160.08 | 21.6484
|  | 116 | 1168.6 | 23.0706
|  | 117 | 1182.38 | 20.8153
|  | 118 | 1210.1 | 22.0656
|  | 119 | 1100.01 | 22.5379
|  | 120 | 947.71 | 19.091
|  | 121 | 797.26 | 15.2546
|  | 122 | 717.18 | 13.3775
|  | 123 | 672.74 | 12.7053
|  | 124 | 646.8 | 11.7219
|  | 125 | 642.82 | 11.6247
|  | 126 | 670.6 | 12.3002
|  | 127 | 762.23 | 20.404
|  | 128 | 884.09 | 25.42
|  | 129 | 980.45 | 28.3484
|  | 130 | 1016.46 | 31.5463
|  | 131 | 1066.8 | 31.9565
|  | 132 | 1101.24 | 34.7818
|  | 133 | 1148.91 | 34.2815
|  | 134 | 1187.51 | 43.2358
|  | 135 | 1193.4 | 43.7748
|  | 136 | 1162.35 | 39.7058
|  | 137 | 1178.72 | 24.2605
|  | 138 | 1215.17 | 21.6104
|  | 139 | 1243.96 | 19.541
|  | 140 | 1235.24 | 18.1181
|  | 141 | 1239.45 | 18.8676
|  | 142 | 1249.26 | 19.566
|  | 143 | 1150.74 | 16.5338
|  | 144 | 979.67 | 17.3811
|  | 145 | 815.71 | 17.1763
|  | 146 | 728.07 | 12.7423
|  | 147 | 680.17 | 12.7055
|  | 148 | 663.57 | 12.1062
|  | 149 | 662.05 | 11.8802
|  | 150 | 677.69 | 11.6541
|  | 151 | 774.23 | 12.6003
|  | 152 | 894.15 | 18.7753
|  | 153 | 999.24 | 25.3539
|  | 154 | 1048.43 | 26.0704
|  | 155 | 1103.1 | 27.9316
|  | 156 | 1098.39 | 27.9124
|  | 157 | 1172.42 | 24.4419
|  | 158 | 1201.62 | 22.0643
|  | 159 | 1212.57 | 21.0181
|  | 160 | 1158.37 | 21.2729
|  | 161 | 1165.9 | 19.6312
|  | 162 | 1193.29 | 22.2784
|  | 163 | 1216.52 | 18.7813
|  | 164 | 1208.08 | 17.3873
|  | 165 | 1207.29 | 17.7336
|  | 166 | 1217.45 | 18.4863
|  | 167 | 1104.15 | 19.0708
|  | 168 | 943.74 | 15.1342
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 07/07/2025 | 08/07/20252 | 09/07/2025 | 10/07/2025 | 11/07/20252 | 12/07/20252 | 13/07/2025
Min (MW) | 11 | 11 | 11 | 11 | 11 | 11 | 11
Max (MW) | 28 | 28 | 28 | 28 | 28 | 28 | 28
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible