## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-08-28
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 20514.09 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 25/08/2025 | 26/08/2025 | 27/08/2025 | 28/08/2025 | 29/08/2025 | 30/08/2025 | 31/08/2025
Min (MW) | 608 | 570 | 597 | 524 | 546 | 606 | 580
Max (MW) | 1215 | 1127 | 1077 | 978 | 997 | 1035 | 1200
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 608 | 641 | 570 | 567
|  | Max (MW) | 1257 | 1244 | 1250 | 1225
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-08-26
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 69.6303 | -613.343 | 682.9733
|  | 2 | 90.8132 | -529.893 | 620.7062
|  | 3 | 67.0441 | -528.247 | 595.2911
|  | 4 | 66.2621 | -517.822 | 584.0841
|  | 5 | 66.2954 | -517.531 | 583.8264
|  | 6 | 89.6749 | -524.433 | 614.1079
|  | 7 | 198.9691 | -496.98 | 695.9491
|  | 8 | 326.6552 | -496.859 | 823.5142
|  | 9 | 306.3947 | -601.247 | 907.6417
|  | 10 | 355.6522 | -576.817 | 932.4692
|  | 11 | 381.069 | -533.492 | 914.561
|  | 12 | 402.0393 | -504.038 | 906.0773
|  | 13 | 384.7676 | -509.587 | 894.3546
|  | 14 | 406.8065 | -495.359 | 902.1655
|  | 15 | 376.7576 | -498.568 | 875.3256
|  | 16 | 316.6607 | -555.633 | 872.2937
|  | 17 | 339.5069 | -570.514 | 910.0209
|  | 18 | 471.3478 | -498.564 | 969.9118
|  | 19 | 672.0711 | -361.652 | 1033.7231
|  | 20 | 997.1628 | -89.839 | 1087.0018
|  | 21 | 1051.2697 | -54.146 | 1105.4157
|  | 22 | 825.1772 | -187.363 | 1012.5402
|  | 23 | 461.752 | -428.385 | 890.137
|  | 24 | 298.7867 | -474.975 | 773.7617
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-08-28
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 174.93
|  |  | 01:00 - 02:00 | 109.41
|  |  | 02:00 - 03:00 | 83.9
|  |  | 03:00 - 04:00 | 82.95
|  |  | 04:00 - 05:00 | 82.15
|  |  | 05:00 - 06:00 | 105.17
|  |  | 06:00 - 07:00 | 214.96
|  |  | 07:00 - 08:00 | 371.24
|  |  | 08:00 - 09:00 | 358.61
|  |  | 09:00 - 10:00 | 378.59
|  |  | 10:00 - 11:00 | 365.35
|  |  | 11:00 - 12:00 | 379.36
|  |  | 12:00 - 13:00 | 397.28
|  |  | 13:00 - 14:00 | 400.26
|  |  | 14:00 - 15:00 | 385.11
|  |  | 15:00 - 16:00 | 369.25
|  |  | 16:00 - 17:00 | 355.87
|  |  | 17:00 - 18:00 | 548.11
|  |  | 18:00 - 19:00 | 643.63
|  |  | 19:00 - 20:00 | 963.95
|  |  | 20:00 - 21:00 | 996.78
|  |  | 21:00 - 22:00 | 899.7
|  |  | 22:00 - 23:00 | 413.69
|  |  | 23:00 - 00:00 | 238.21
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 70.0707 | 0 | 0 | 0 | 0 | 1.3458 | 0
2 | 0 | 35.4234 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9109 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 112.5122 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 139.294 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2635 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 3.9269 | 0 | 21.134 | 0 | 0 | 3.0883 | 0
18 | 28.4068 | 70.0894 | 0 | 69.7966 | 0 | 0 | 133.3264 | 0
19 | 69.6866 | 70.0944 | 2.4319 | 69.7689 | 0 | 0.97255 | 128.9809 | 49.4209
20 | 69.6977 | 70.1391 | 69.7481 | 69.7237 | 0 | 98.6083 | 120.9756 | 123.7048
21 | 69.7632 | 70.1242 | 69.7091 | 69.6915 | 0 | 132.3861 | 109.6424 | 117.0559
22 | 69.7069 | 70.1173 | 69.753 | 69.6856 | 0 | 124.0018 | 98.1503 | 125.883
23 | 64.2392 | 70.0627 | 0.39621 | 69.6932 | 0 | 1.0417 | 102.9328 | 1.0513
24 | 0 | 70.1067 | 0 | 0.42602 | 0 | 0 | 120.4966 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 371.5004 | 600.1548 | 212.0383 | 439.9196 | 0 | 357.0105 | 1096.9197 | 417.116
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 2631 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 455 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | 0
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.4783 | 71.5217 | 0 | 0 | 0 | 0 | 138.9583
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 158.19 | 17.491
|  | 2 | 85.36 | 14.911
|  | 3 | 38.26 | 15.4967
|  | 4 | 37.21 | 16.0462
|  | 5 | 37.11 | 18.5979
|  | 6 | 37.94 | 20.998
|  | 7 | 155.59 | 23.6688
|  | 8 | 239.2 | 26.4565
|  | 9 | 300.86 | 26.5006
|  | 10 | 371.12 | 32.2212
|  | 11 | 429.65 | 32.5359
|  | 12 | 443.16 | 27.7175
|  | 13 | 457.65 | 26.6152
|  | 14 | 485.17 | 27.4612
|  | 15 | 479.64 | 25.9933
|  | 16 | 435.68 | 24.4441
|  | 17 | 438.47 | 25.1824
|  | 18 | 661.55 | 30.7263
|  | 19 | 770.73 | 31.2269
|  | 20 | 938.39 | 31.7323
|  | 21 | 962.54 | 32.9427
|  | 22 | 827.95 | 31.344
|  | 23 | 586.19 | 26.8285
|  | 24 | 420.11 | 20.9649
|  | 25 | 169.4 | 15.7432
|  | 26 | 97.75 | 14.4063
|  | 27 | 56.32 | 13.7395
|  | 28 | 39.69 | 13.5285
|  | 29 | 39.61 | 14.2271
|  | 30 | 54.52 | 15.1887
|  | 31 | 149.77 | 17.1542
|  | 32 | 234.75 | 22.0119
|  | 33 | 309.98 | 27.9379
|  | 34 | 355.8 | 31.94
|  | 35 | 361.33 | 33.8561
|  | 36 | 398.14 | 27.1579
|  | 37 | 405.86 | 24.7991
|  | 38 | 429.78 | 23.4548
|  | 39 | 427.13 | 20.7282
|  | 40 | 375.19 | 19.6099
|  | 41 | 402.33 | 18.7764
|  | 42 | 649.41 | 21.2956
|  | 43 | 896.92 | 27.108
|  | 44 | 934.14 | 29.0985
|  | 45 | 947.1 | 29.9445
|  | 46 | 778.76 | 26.1204
|  | 47 | 624.05 | 22.746
|  | 48 | 452.46 | 18.9416
|  | 49 | 161.6 | 15.5589
|  | 50 | 84.29 | 14.3424
|  | 51 | 45.44 | 13.8159
|  | 52 | 37.79 | 13.5325
|  | 53 | 38.01 | 12.9177
|  | 54 | 54.9 | 13.1116
|  | 55 | 163.71 | 14.6739
|  | 56 | 253.74 | 19.257
|  | 57 | 293.56 | 28.0744
|  | 58 | 399.1 | 28.4872
|  | 59 | 390.39 | 26.4186
|  | 60 | 421.79 | 21.2451
|  | 61 | 445.64 | 20.372
|  | 62 | 473.13 | 17.2949
|  | 63 | 457.68 | 16.5171
|  | 64 | 522.85 | 16.5562
|  | 65 | 557.09 | 18.1698
|  | 66 | 737.87 | 20.6889
|  | 67 | 802.7 | 25.0715
|  | 68 | 950.8 | 25.8595
|  | 69 | 963.79 | 27.4926
|  | 70 | 838.33 | 23.994
|  | 71 | 598.47 | 22.7501
|  | 72 | 422.19 | 18.1884
|  | 73 | 152.95 | 16.4215
|  | 74 | 78.72 | 14.0095
|  | 75 | 46.65 | 13.8403
|  | 76 | 38.36 | 13.9046
|  | 77 | 38.41 | 12.1383
|  | 78 | 38.69 | 11.9907
|  | 79 | 133.15 | 12.834
|  | 80 | 204.66 | 15.256
|  | 81 | 348.55 | 17.9585
|  | 82 | 366.09 | 21.1779
|  | 83 | 453.82 | 24.0952
|  | 84 | 548.98 | 19.6515
|  | 85 | 450.9 | 17.9649
|  | 86 | 513.2 | 19.3268
|  | 87 | 508.95 | 21.3374
|  | 88 | 491.24 | 21.4981
|  | 89 | 457.07 | 25.1237
|  | 90 | 638.93 | 29.017
|  | 91 | 711.32 | 29.8569
|  | 92 | 987.67 | 22.838
|  | 93 | 1022.52 | 19.7128
|  | 94 | 965.51 | 20.5192
|  | 95 | 567.64 | 22.4607
|  | 96 | 367.72 | 18.9633
|  | 97 | 96.37 | 15.4359
|  | 98 | 103.92 | 13.4683
|  | 99 | 56.04 | 13.0778
|  | 100 | 41.51 | 12.6475
|  | 101 | 54.33 | 12.3896
|  | 102 | 41.73 | 13.3914
|  | 103 | 117.19 | 13.0159
|  | 104 | 144.5 | 14.7417
|  | 105 | 242.05 | 22.8501
|  | 106 | 350.12 | 23.3594
|  | 107 | 404.7 | 24.7367
|  | 108 | 423.47 | 24.4713
|  | 109 | 444.03 | 20.4794
|  | 110 | 355.2 | 18.0254
|  | 111 | 330.87 | 16.6662
|  | 112 | 368.19 | 16.9977
|  | 113 | 375.64 | 18.3656
|  | 114 | 570.97 | 22.6274
|  | 115 | 547.16 | 25.5705
|  | 116 | 662.68 | 27.9876
|  | 117 | 612.87 | 27.973
|  | 118 | 519.21 | 24.8607
|  | 119 | 397.93 | 21.4851
|  | 120 | 231.12 | 17.8526
|  | 121 | 97.28 | 14.0589
|  | 122 | 58.32 | 12.6455
|  | 123 | 40.87 | 12.0759
|  | 124 | 40.21 | 11.742
|  | 125 | 39.96 | 12.0589
|  | 126 | 39.13 | 12.3547
|  | 127 | 95.6 | 13.0084
|  | 128 | 131.09 | 15.6845
|  | 129 | 245.37 | 25.4946
|  | 130 | 310.4 | 27.0411
|  | 131 | 356.41 | 31.0511
|  | 132 | 362.06 | 31.119
|  | 133 | 350.95 | 29.7173
|  | 134 | 346.13 | 29.5681
|  | 135 | 318.51 | 25.0693
|  | 136 | 316.1 | 23.2756
|  | 137 | 279.97 | 18.4136
|  | 138 | 558.25 | 24.9823
|  | 139 | 546.89 | 29.5184
|  | 140 | 647.92 | 27.8566
|  | 141 | 717.18 | 26.8323
|  | 142 | 657.77 | 23.1939
|  | 143 | 510.13 | 21.5186
|  | 144 | 366.04 | 20.2496
|  | 145 | 126.51 | 16.8342
|  | 146 | 125.72 | 14.2653
|  | 147 | 86.79 | 13.2666
|  | 148 | 74.05 | 12.2201
|  | 149 | 73.93 | 11.9196
|  | 150 | 90.81 | 11.9902
|  | 151 | 189.3 | 12.3779
|  | 152 | 327.5 | 14.7963
|  | 153 | 320.02 | 18.9795
|  | 154 | 371.23 | 20.8673
|  | 155 | 388.65 | 22.7294
|  | 156 | 432 | 23.901
|  | 157 | 433.98 | 23.4865
|  | 158 | 444.91 | 24.9084
|  | 159 | 423.05 | 24.7121
|  | 160 | 427.64 | 23.0762
|  | 161 | 431.94 | 19.415
|  | 162 | 576.39 | 25.233
|  | 163 | 664.35 | 32.2707
|  | 164 | 1000.02 | 32.5443
|  | 165 | 1038.87 | 31.7792
|  | 166 | 928.99 | 27.6225
|  | 167 | 505.39 | 25.6523
|  | 168 | 303.7 | 21.3995
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 25/08/2025 | 26/08/2025 | 27/08/2025 | 28/08/2025 | 29/08/2025 | 30/08/2025 | 31/08/2025
Min (MW) | 14.911 | 13.5285 | 12.9177 | 12 | 12 | 12 | 12
Max (MW) | 32.9427 | 33.8561 | 28.4872 | 30 | 28 | 31 | 33
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-08-28
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 20514.09 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 25/08/2025 | 26/08/2025 | 27/08/2025 | 28/08/2025 | 29/08/2025 | 30/08/2025 | 31/08/2025
Min (MW) | 608 | 570 | 597 | 524 | 546 | 606 | 580
Max (MW) | 1215 | 1127 | 1077 | 978 | 997 | 1035 | 1200
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 608 | 641 | 570 | 567
|  | Max (MW) | 1257 | 1244 | 1250 | 1225
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-08-26
|  | Hour | Production | Exchange | Consumption
|  | 1 | 69.6303 | -613.343 | 682.9733
|  | 2 | 90.8132 | -529.893 | 620.7062
|  | 3 | 67.0441 | -528.247 | 595.2911
|  | 4 | 66.2621 | -517.822 | 584.0841
|  | 5 | 66.2954 | -517.531 | 583.8264
|  | 6 | 89.6749 | -524.433 | 614.1079
|  | 7 | 198.9691 | -496.98 | 695.9491
|  | 8 | 326.6552 | -496.859 | 823.5142
|  | 9 | 306.3947 | -601.247 | 907.6417
|  | 10 | 355.6522 | -576.817 | 932.4692
|  | 11 | 381.069 | -533.492 | 914.561
|  | 12 | 402.0393 | -504.038 | 906.0773
|  | 13 | 384.7676 | -509.587 | 894.3546
|  | 14 | 406.8065 | -495.359 | 902.1655
|  | 15 | 376.7576 | -498.568 | 875.3256
|  | 16 | 316.6607 | -555.633 | 872.2937
|  | 17 | 339.5069 | -570.514 | 910.0209
|  | 18 | 471.3478 | -498.564 | 969.9118
|  | 19 | 672.0711 | -361.652 | 1033.7231
|  | 20 | 997.1628 | -89.839 | 1087.0018
|  | 21 | 1051.2697 | -54.146 | 1105.4157
|  | 22 | 825.1772 | -187.363 | 1012.5402
|  | 23 | 461.752 | -428.385 | 890.137
|  | 24 | 298.7867 | -474.975 | 773.7617
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2025-08-28
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 174.93
|  |  | 01:00 - 02:00 | 109.41
|  |  | 02:00 - 03:00 | 83.9
|  |  | 03:00 - 04:00 | 82.95
|  |  | 04:00 - 05:00 | 82.15
|  |  | 05:00 - 06:00 | 105.17
|  |  | 06:00 - 07:00 | 214.96
|  |  | 07:00 - 08:00 | 371.24
|  |  | 08:00 - 09:00 | 358.61
|  |  | 09:00 - 10:00 | 378.59
|  |  | 10:00 - 11:00 | 365.35
|  |  | 11:00 - 12:00 | 379.36
|  |  | 12:00 - 13:00 | 397.28
|  |  | 13:00 - 14:00 | 400.26
|  |  | 14:00 - 15:00 | 385.11
|  |  | 15:00 - 16:00 | 369.25
|  |  | 16:00 - 17:00 | 355.87
|  |  | 17:00 - 18:00 | 548.11
|  |  | 18:00 - 19:00 | 643.63
|  |  | 19:00 - 20:00 | 963.95
|  |  | 20:00 - 21:00 | 996.78
|  |  | 21:00 - 22:00 | 899.7
|  |  | 22:00 - 23:00 | 413.69
|  |  | 23:00 - 00:00 | 238.21
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 70.0707 | 0 | 0 | 0 | 0 | 1.3458 | 0
2 | 0 | 35.4234 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9109 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 112.5122 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 139.294 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2635 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 3.9269 | 0 | 21.134 | 0 | 0 | 3.0883 | 0
18 | 28.4068 | 70.0894 | 0 | 69.7966 | 0 | 0 | 133.3264 | 0
19 | 69.6866 | 70.0944 | 2.4319 | 69.7689 | 0 | 0.97255 | 128.9809 | 49.4209
20 | 69.6977 | 70.1391 | 69.7481 | 69.7237 | 0 | 98.6083 | 120.9756 | 123.7048
21 | 69.7632 | 70.1242 | 69.7091 | 69.6915 | 0 | 132.3861 | 109.6424 | 117.0559
22 | 69.7069 | 70.1173 | 69.753 | 69.6856 | 0 | 124.0018 | 98.1503 | 125.883
23 | 64.2392 | 70.0627 | 0.39621 | 69.6932 | 0 | 1.0417 | 102.9328 | 1.0513
24 | 0 | 70.1067 | 0 | 0.42602 | 0 | 0 | 120.4966 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 371.5004 | 530.084 | 212.0383 | 439.9196 | 0 | 357.0105 | 1095.5739 | 417.116
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 2631 MWh
Art. 5.12 | Energy reserve | [5 empty] | 455 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 158.19 | 17.491
|  | 2 | 85.36 | 14.911
|  | 3 | 38.26 | 15.4967
|  | 4 | 37.21 | 16.0462
|  | 5 | 37.11 | 18.5979
|  | 6 | 37.94 | 20.998
|  | 7 | 155.59 | 23.6688
|  | 8 | 239.2 | 26.4565
|  | 9 | 300.86 | 26.5006
|  | 10 | 371.12 | 32.2212
|  | 11 | 429.65 | 32.5359
|  | 12 | 443.16 | 27.7175
|  | 13 | 457.65 | 26.6152
|  | 14 | 485.17 | 27.4612
|  | 15 | 479.64 | 25.9933
|  | 16 | 435.68 | 24.4441
|  | 17 | 438.47 | 25.1824
|  | 18 | 661.55 | 30.7263
|  | 19 | 770.73 | 31.2269
|  | 20 | 938.39 | 31.7323
|  | 21 | 962.54 | 32.9427
|  | 22 | 827.95 | 31.344
|  | 23 | 586.19 | 26.8285
|  | 24 | 420.11 | 20.9649
|  | 25 | 169.4 | 15.7432
|  | 26 | 97.75 | 14.4063
|  | 27 | 56.32 | 13.7395
|  | 28 | 39.69 | 13.5285
|  | 29 | 39.61 | 14.2271
|  | 30 | 54.52 | 15.1887
|  | 31 | 149.77 | 17.1542
|  | 32 | 234.75 | 22.0119
|  | 33 | 309.98 | 27.9379
|  | 34 | 355.8 | 31.94
|  | 35 | 361.33 | 33.8561
|  | 36 | 398.14 | 27.1579
|  | 37 | 405.86 | 24.7991
|  | 38 | 429.78 | 23.4548
|  | 39 | 427.13 | 20.7282
|  | 40 | 375.19 | 19.6099
|  | 41 | 402.33 | 18.7764
|  | 42 | 649.41 | 21.2956
|  | 43 | 896.92 | 27.108
|  | 44 | 934.14 | 29.0985
|  | 45 | 947.1 | 29.9445
|  | 46 | 778.76 | 26.1204
|  | 47 | 624.05 | 22.746
|  | 48 | 452.46 | 18.9416
|  | 49 | 161.6 | 15.5589
|  | 50 | 84.29 | 14.3424
|  | 51 | 45.44 | 13.8159
|  | 52 | 37.79 | 13.5325
|  | 53 | 38.01 | 12.9177
|  | 54 | 54.9 | 13.1116
|  | 55 | 163.71 | 14.6739
|  | 56 | 253.74 | 19.257
|  | 57 | 293.56 | 28.0744
|  | 58 | 399.1 | 28.4872
|  | 59 | 390.39 | 26.4186
|  | 60 | 421.79 | 21.2451
|  | 61 | 445.64 | 20.372
|  | 62 | 473.13 | 17.2949
|  | 63 | 457.68 | 16.5171
|  | 64 | 522.85 | 16.5562
|  | 65 | 557.09 | 18.1698
|  | 66 | 737.87 | 20.6889
|  | 67 | 802.7 | 25.0715
|  | 68 | 950.8 | 25.8595
|  | 69 | 963.79 | 27.4926
|  | 70 | 838.33 | 23.994
|  | 71 | 598.47 | 22.7501
|  | 72 | 422.19 | 18.1884
|  | 73 | 152.95 | 16.4215
|  | 74 | 78.72 | 14.0095
|  | 75 | 46.65 | 13.8403
|  | 76 | 38.36 | 13.9046
|  | 77 | 38.41 | 12.1383
|  | 78 | 38.69 | 11.9907
|  | 79 | 133.15 | 12.834
|  | 80 | 204.66 | 15.256
|  | 81 | 348.55 | 17.9585
|  | 82 | 366.09 | 21.1779
|  | 83 | 453.82 | 24.0952
|  | 84 | 548.98 | 19.6515
|  | 85 | 450.9 | 17.9649
|  | 86 | 513.2 | 19.3268
|  | 87 | 508.95 | 21.3374
|  | 88 | 491.24 | 21.4981
|  | 89 | 457.07 | 25.1237
|  | 90 | 638.93 | 29.017
|  | 91 | 711.32 | 29.8569
|  | 92 | 987.67 | 22.838
|  | 93 | 1022.52 | 19.7128
|  | 94 | 965.51 | 20.5192
|  | 95 | 567.64 | 22.4607
|  | 96 | 367.72 | 18.9633
|  | 97 | 96.37 | 15.4359
|  | 98 | 103.92 | 13.4683
|  | 99 | 56.04 | 13.0778
|  | 100 | 41.51 | 12.6475
|  | 101 | 54.33 | 12.3896
|  | 102 | 41.73 | 13.3914
|  | 103 | 117.19 | 13.0159
|  | 104 | 144.5 | 14.7417
|  | 105 | 242.05 | 22.8501
|  | 106 | 350.12 | 23.3594
|  | 107 | 404.7 | 24.7367
|  | 108 | 423.47 | 24.4713
|  | 109 | 444.03 | 20.4794
|  | 110 | 355.2 | 18.0254
|  | 111 | 330.87 | 16.6662
|  | 112 | 368.19 | 16.9977
|  | 113 | 375.64 | 18.3656
|  | 114 | 570.97 | 22.6274
|  | 115 | 547.16 | 25.5705
|  | 116 | 662.68 | 27.9876
|  | 117 | 612.87 | 27.973
|  | 118 | 519.21 | 24.8607
|  | 119 | 397.93 | 21.4851
|  | 120 | 231.12 | 17.8526
|  | 121 | 97.28 | 14.0589
|  | 122 | 58.32 | 12.6455
|  | 123 | 40.87 | 12.0759
|  | 124 | 40.21 | 11.742
|  | 125 | 39.96 | 12.0589
|  | 126 | 39.13 | 12.3547
|  | 127 | 95.6 | 13.0084
|  | 128 | 131.09 | 15.6845
|  | 129 | 245.37 | 25.4946
|  | 130 | 310.4 | 27.0411
|  | 131 | 356.41 | 31.0511
|  | 132 | 362.06 | 31.119
|  | 133 | 350.95 | 29.7173
|  | 134 | 346.13 | 29.5681
|  | 135 | 318.51 | 25.0693
|  | 136 | 316.1 | 23.2756
|  | 137 | 279.97 | 18.4136
|  | 138 | 558.25 | 24.9823
|  | 139 | 546.89 | 29.5184
|  | 140 | 647.92 | 27.8566
|  | 141 | 717.18 | 26.8323
|  | 142 | 657.77 | 23.1939
|  | 143 | 510.13 | 21.5186
|  | 144 | 366.04 | 20.2496
|  | 145 | 126.51 | 16.8342
|  | 146 | 125.72 | 14.2653
|  | 147 | 86.79 | 13.2666
|  | 148 | 74.05 | 12.2201
|  | 149 | 73.93 | 11.9196
|  | 150 | 90.81 | 11.9902
|  | 151 | 189.3 | 12.3779
|  | 152 | 327.5 | 14.7963
|  | 153 | 320.02 | 18.9795
|  | 154 | 371.23 | 20.8673
|  | 155 | 388.65 | 22.7294
|  | 156 | 432 | 23.901
|  | 157 | 433.98 | 23.4865
|  | 158 | 444.91 | 24.9084
|  | 159 | 423.05 | 24.7121
|  | 160 | 427.64 | 23.0762
|  | 161 | 431.94 | 19.415
|  | 162 | 576.39 | 25.233
|  | 163 | 664.35 | 32.2707
|  | 164 | 1000.02 | 32.5443
|  | 165 | 1038.87 | 31.7792
|  | 166 | 928.99 | 27.6225
|  | 167 | 505.39 | 25.6523
|  | 168 | 303.7 | 21.3995
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 25/08/2025 | 26/08/2025 | 27/08/2025 | 28/08/2025 | 29/08/2025 | 30/08/2025 | 31/08/2025
Min (MW) | 14.911 | 13.5285 | 12.9177 | 12 | 12 | 12 | 12
Max (MW) | 32.9427 | 33.8561 | 28.4872 | 30 | 28 | 31 | 33
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible