## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-09-01
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21266.55 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 01/09/2025 | 02/09/2025 | 03/09/2025 | 04/09/20252 | 05/09/2025 | 06/09/2025 | 07/09/2025
Min (MW) | 575 | 572 | 589 | 579 | 581 | 586 | 583
Max (MW) | 1122 | 1157 | 1158 | 1151 | 1138 | 1115 | 1126
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-08-30
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 168.8744 | -546.3769 | 715.2512
|  | 2 | 114.2363 | -542.2456 | 656.4819
|  | 3 | 74.0492 | -551.1583 | 625.2076
|  | 4 | 65.9936 | -542.3222 | 608.3158
|  | 5 | 67.1338 | -539.9307 | 607.0645
|  | 6 | 101.8644 | -527.6127 | 629.4771
|  | 7 | 186.8627 | -510.7622 | 697.6249
|  | 8 | 259.0465 | -540.746 | 799.7924
|  | 9 | 277.5904 | -609.2695 | 886.8598
|  | 10 | 334.6629 | -578.1011 | 912.764
|  | 11 | 345.2449 | -592.8689 | 938.1137
|  | 12 | 282.7626 | -734.8537 | 1017.6163
|  | 13 | 375.1247 | -640.0008 | 1015.1255
|  | 14 | 306.5546 | -632.4869 | 939.0415
|  | 15 | 203.6441 | -659.4806 | 863.1247
|  | 16 | 145.5154 | -677.7698 | 823.2852
|  | 17 | 258.051 | -576.9106 | 834.9616
|  | 18 | 285.6411 | -528.6768 | 814.3179
|  | 19 | 351.855 | -533.101 | 884.956
|  | 20 | 565.593 | -401.674 | 967.267
|  | 21 | 596.7732 | -375.611 | 972.3842
|  | 22 | 396.1497 | -497.6182 | 893.7679
|  | 23 | 219.2054 | -539.1476 | 758.353
|  | 24 | 148.7161 | -507.544 | 656.2601
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-09-01
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 244.62
|  |  | 01:00 - 02:00 | 203.53
|  |  | 02:00 - 03:00 | 160.07
|  |  | 03:00 - 04:00 | 146.19
|  |  | 04:00 - 05:00 | 147.95
|  |  | 05:00 - 06:00 | 179.84
|  |  | 06:00 - 07:00 | 258.57
|  |  | 07:00 - 08:00 | 433.55
|  |  | 08:00 - 09:00 | 327.76
|  |  | 09:00 - 10:00 | 406.24
|  |  | 10:00 - 11:00 | 404.42
|  |  | 11:00 - 12:00 | 442.55
|  |  | 12:00 - 13:00 | 442.34
|  |  | 13:00 - 14:00 | 431.05
|  |  | 14:00 - 15:00 | 401.76
|  |  | 15:00 - 16:00 | 378.54
|  |  | 16:00 - 17:00 | 334.66
|  |  | 17:00 - 18:00 | 611.71
|  |  | 18:00 - 19:00 | 881.35
|  |  | 19:00 - 20:00 | 904.49
|  |  | 20:00 - 21:00 | 927.73
|  |  | 21:00 - 22:00 | 614.79
|  |  | 22:00 - 23:00 | 440.13
|  |  | 23:00 - 00:00 | 329.46
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 1.1301 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 25.713 | 0 | 0 | 0 | 0.85936
19 | 0.66563 | 33.0078 | 0 | 69.631 | 0 | 0 | 0 | 122.2905
20 | 69.1104 | 70.0821 | 0 | 69.6397 | 0 | 0 | 0 | 129.7417
21 | 69.7173 | 70.0835 | 0 | 69.6483 | 0 | 0 | 0 | 121.8988
22 | 0.34725 | 70.1102 | 0 | 69.6289 | 0 | 0 | 0 | 114.0272
23 | 0 | 70.0622 | 0 | 58.504 | 0 | 0 | 0 | 116.2391
24 | 0 | 70.0561 | 0 | 0 | 0 | 0 | 0 | 112.3724
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 139.8406 | 383.4019 | 0 | 362.7649 | 0 | 1.1301 | 0 | 717.4291
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 2969 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 447.9 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | 0
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.4783 | 71.5217 | 0 | 0 | 0 | 0 | 138.9583
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 719.24 | 19.9275
|  | 2 | 638.75 | 20.5819
|  | 3 | 619.93 | 22.5421
|  | 4 | 580.62 | 21.8069
|  | 5 | 581.61 | 20.4633
|  | 6 | 614.29 | 21.3948
|  | 7 | 708.71 | 23.8185
|  | 8 | 806.75 | 30.3699
|  | 9 | 901.37 | 31.752
|  | 10 | 930.17 | 33.2401
|  | 11 | 978.15 | 38.9486
|  | 12 | 1045.86 | 36.1704
|  | 13 | 1041.3 | 35.8834
|  | 14 | 1012.1 | 32.8428
|  | 15 | 997.9 | 32.9438
|  | 16 | 946.5 | 30.7092
|  | 17 | 956.27 | 28.4915
|  | 18 | 995.41 | 14.8957
|  | 19 | 1072.43 | 17.6046
|  | 20 | 1116.2 | 25.2846
|  | 21 | 1167.4 | 25.458
|  | 22 | 1075.87 | 22.2736
|  | 23 | 940.08 | 16.1721
|  | 24 | 819.64 | 14.2611
|  | 25 | 715.51 | 12.0858
|  | 26 | 642.1 | 12.0397
|  | 27 | 612.09 | 11.3924
|  | 28 | 610.66 | 12.8619
|  | 29 | 610.55 | 12.7202
|  | 30 | 629.5 | 14.3022
|  | 31 | 706.64 | 18.5479
|  | 32 | 839.55 | 26.068
|  | 33 | 957.56 | 28.5892
|  | 34 | 991.76 | 34.62
|  | 35 | 972.91 | 37.8989
|  | 36 | 985.22 | 37.37
|  | 37 | 977.51 | 35.4428
|  | 38 | 973.82 | 37.6283
|  | 39 | 961.01 | 33.3649
|  | 40 | 957.14 | 30
|  | 41 | 959.75 | 27.0995
|  | 42 | 952.46 | 18.5413
|  | 43 | 1069.19 | 16.0167
|  | 44 | 1107.15 | 20.4918
|  | 45 | 1191.75 | 22.8371
|  | 46 | 1044.23 | 22.9612
|  | 47 | 922.26 | 18.6056
|  | 48 | 806.23 | 17.265
|  | 49 | 721.86 | 12.5928
|  | 50 | 655.31 | 11.7015
|  | 51 | 620.83 | 11.952
|  | 52 | 609.89 | 12.5086
|  | 53 | 609.78 | 12.725
|  | 54 | 629.66 | 12.763
|  | 55 | 708.82 | 14.5067
|  | 56 | 837.48 | 22.6325
|  | 57 | 930.44 | 24.67
|  | 58 | 954.62 | 24.9237
|  | 59 | 924.91 | 26.6492
|  | 60 | 894.84 | 20.4865
|  | 61 | 893.02 | 20.0524
|  | 62 | 890.65 | 18.5759
|  | 63 | 882.74 | 14.6307
|  | 64 | 871.64 | 14.2084
|  | 65 | 899.87 | 14.8132
|  | 66 | 959.16 | 17.6087
|  | 67 | 1075.69 | 18.6236
|  | 68 | 1125.17 | 22.3063
|  | 69 | 1144.49 | 23.4612
|  | 70 | 1052.64 | 21.6138
|  | 71 | 922.04 | 16.1075
|  | 72 | 809.42 | 13.7834
|  | 73 | 711.16 | 13.3118
|  | 74 | 645.59 | 12.2037
|  | 75 | 619.2 | 11.5609
|  | 76 | 618.25 | 11.5571
|  | 77 | 618.09 | 11.507
|  | 78 | 635.11 | 11.8442
|  | 79 | 724.7 | 13.401
|  | 80 | 852.74 | 18.6178
|  | 81 | 915.26 | 25.5896
|  | 82 | 918.79 | 27.1988
|  | 83 | 894.08 | 30.3438
|  | 84 | 892.69 | 18.0327
|  | 85 | 901.26 | 15.3536
|  | 86 | 915.69 | 14.8177
|  | 87 | 908.28 | 14.6439
|  | 88 | 928.82 | 14.9626
|  | 89 | 971.77 | 14.9028
|  | 90 | 1039.94 | 19.8986
|  | 91 | 1045.94 | 22.9379
|  | 92 | 1163.73 | 23.3934
|  | 93 | 1179.98 | 24.1314
|  | 94 | 1074.25 | 21.5819
|  | 95 | 944.84 | 17.5206
|  | 96 | 823.93 | 14.1959
|  | 97 | 738.08 | 14.798
|  | 98 | 662.74 | 13.4902
|  | 99 | 619.56 | 12.0496
|  | 100 | 606 | 11.7366
|  | 101 | 599.13 | 11.6642
|  | 102 | 639.02 | 12.151
|  | 103 | 714.44 | 13.5076
|  | 104 | 833.01 | 16.5664
|  | 105 | 904.02 | 21.7918
|  | 106 | 918.02 | 22.4938
|  | 107 | 920.69 | 17.946
|  | 108 | 943.89 | 15.3477
|  | 109 | 956.98 | 15.0507
|  | 110 | 977.23 | 15.3866
|  | 111 | 977 | 13.8006
|  | 112 | 926.34 | 13.902
|  | 113 | 997.27 | 15.7261
|  | 114 | 1048.76 | 18.4494
|  | 115 | 1120.14 | 23.7221
|  | 116 | 1139.27 | 22.6241
|  | 117 | 1148.26 | 24.0398
|  | 118 | 1070.21 | 20.779
|  | 119 | 929.5 | 19.2312
|  | 120 | 807.6 | 14.6728
|  | 121 | 732.2 | 14.4388
|  | 122 | 661.03 | 13.7863
|  | 123 | 623.85 | 12.9032
|  | 124 | 612.73 | 12.6686
|  | 125 | 612.98 | 12.8204
|  | 126 | 642.64 | 13.1215
|  | 127 | 724.57 | 13.5362
|  | 128 | 815.23 | 18.6475
|  | 129 | 890.22 | 21.9235
|  | 130 | 933.43 | 27.102
|  | 131 | 950.69 | 26.0157
|  | 132 | 1003.7 | 19.6641
|  | 133 | 1018.43 | 16.3132
|  | 134 | 1001.99 | 16.9482
|  | 135 | 1028.82 | 17.3689
|  | 136 | 945.23 | 18.2939
|  | 137 | 929.23 | 18.9596
|  | 138 | 879.36 | 21.5071
|  | 139 | 930.58 | 22.196
|  | 140 | 994.42 | 24.1585
|  | 141 | 988.05 | 24.2326
|  | 142 | 942.97 | 21.288
|  | 143 | 792.25 | 21.348
|  | 144 | 681.09 | 17.9893
|  | 145 | 672.99 | 17.3035
|  | 146 | 607.38 | 16.2926
|  | 147 | 581.36 | 16.6197
|  | 148 | 582.26 | 17.6345
|  | 149 | 581.97 | 17.5477
|  | 150 | 571.2 | 18.9561
|  | 151 | 630.85 | 21.2171
|  | 152 | 668.89 | 22.4424
|  | 153 | 839.51 | 21.7547
|  | 154 | 930.14 | 27.1449
|  | 155 | 911.42 | 27.125
|  | 156 | 933.88 | 21.2197
|  | 157 | 943.26 | 23.5668
|  | 158 | 943.41 | 18.4678
|  | 159 | 922.32 | 15.7793
|  | 160 | 898.39 | 16.602
|  | 161 | 927.61 | 21.0092
|  | 162 | 824.02 | 27.1685
|  | 163 | 878.67 | 25.9003
|  | 164 | 955.1 | 26.9263
|  | 165 | 1015.08 | 27.6572
|  | 166 | 953.13 | 24.8532
|  | 167 | 836.06 | 21.1301
|  | 168 | 723.32 | 18.4388
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 01/09/2025 | 02/09/2025 | 03/09/2025 | 04/09/20252 | 05/09/2025 | 06/09/2025 | 07/09/2025
Min (MW) | 14.2611 | 11.3924 | 11.7015 | 12 | 12 | 12 | 12
Max (MW) | 38.9486 | 37.8989 | 26.6492 | 30 | 28 | 31 | 33
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-09-01
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21266.55 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 01/09/2025 | 02/09/2025 | 03/09/2025 | 04/09/20252 | 05/09/2025 | 06/09/2025 | 07/09/2025
Min (MW) | 575 | 572 | 589 | 579 | 581 | 586 | 583
Max (MW) | 1122 | 1157 | 1158 | 1151 | 1138 | 1115 | 1126
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-08-30
|  | Hour | Production | Exchange | Consumption
|  | 1 | 168.8744 | -546.3769 | 715.2512
|  | 2 | 114.2363 | -542.2456 | 656.4819
|  | 3 | 74.0492 | -551.1583 | 625.2076
|  | 4 | 65.9936 | -542.3222 | 608.3158
|  | 5 | 67.1338 | -539.9307 | 607.0645
|  | 6 | 101.8644 | -527.6127 | 629.4771
|  | 7 | 186.8627 | -510.7622 | 697.6249
|  | 8 | 259.0465 | -540.746 | 799.7924
|  | 9 | 277.5904 | -609.2695 | 886.8598
|  | 10 | 334.6629 | -578.1011 | 912.764
|  | 11 | 345.2449 | -592.8689 | 938.1137
|  | 12 | 282.7626 | -734.8537 | 1017.6163
|  | 13 | 375.1247 | -640.0008 | 1015.1255
|  | 14 | 306.5546 | -632.4869 | 939.0415
|  | 15 | 203.6441 | -659.4806 | 863.1247
|  | 16 | 145.5154 | -677.7698 | 823.2852
|  | 17 | 258.051 | -576.9106 | 834.9616
|  | 18 | 285.6411 | -528.6768 | 814.3179
|  | 19 | 351.855 | -533.101 | 884.956
|  | 20 | 565.593 | -401.674 | 967.267
|  | 21 | 596.7732 | -375.611 | 972.3842
|  | 22 | 396.1497 | -497.6182 | 893.7679
|  | 23 | 219.2054 | -539.1476 | 758.353
|  | 24 | 148.7161 | -507.544 | 656.2601
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2025-09-01
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 244.62
|  |  | 01:00 - 02:00 | 203.53
|  |  | 02:00 - 03:00 | 160.07
|  |  | 03:00 - 04:00 | 146.19
|  |  | 04:00 - 05:00 | 147.95
|  |  | 05:00 - 06:00 | 179.84
|  |  | 06:00 - 07:00 | 258.57
|  |  | 07:00 - 08:00 | 433.55
|  |  | 08:00 - 09:00 | 327.76
|  |  | 09:00 - 10:00 | 406.24
|  |  | 10:00 - 11:00 | 404.42
|  |  | 11:00 - 12:00 | 442.55
|  |  | 12:00 - 13:00 | 442.34
|  |  | 13:00 - 14:00 | 431.05
|  |  | 14:00 - 15:00 | 401.76
|  |  | 15:00 - 16:00 | 378.54
|  |  | 16:00 - 17:00 | 334.66
|  |  | 17:00 - 18:00 | 611.71
|  |  | 18:00 - 19:00 | 881.35
|  |  | 19:00 - 20:00 | 904.49
|  |  | 20:00 - 21:00 | 927.73
|  |  | 21:00 - 22:00 | 614.79
|  |  | 22:00 - 23:00 | 440.13
|  |  | 23:00 - 00:00 | 329.46
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 1.1301 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 25.713 | 0 | 0 | 0 | 0.85936
19 | 0.66563 | 33.0078 | 0 | 69.631 | 0 | 0 | 0 | 122.2905
20 | 69.1104 | 70.0821 | 0 | 69.6397 | 0 | 0 | 0 | 129.7417
21 | 69.7173 | 70.0835 | 0 | 69.6483 | 0 | 0 | 0 | 121.8988
22 | 0.34725 | 70.1102 | 0 | 69.6289 | 0 | 0 | 0 | 114.0272
23 | 0 | 70.0622 | 0 | 58.504 | 0 | 0 | 0 | 116.2391
24 | 0 | 70.0561 | 0 | 0 | 0 | 0 | 0 | 112.3724
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 139.8406 | 383.4019 | 0 | 362.7649 | 0 | 0 | 0 | 717.4291
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 2969 MWh
Art. 5.12 | Energy reserve | [5 empty] | 447.9 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 719.24 | 19.9275
|  | 2 | 638.75 | 20.5819
|  | 3 | 619.93 | 22.5421
|  | 4 | 580.62 | 21.8069
|  | 5 | 581.61 | 20.4633
|  | 6 | 614.29 | 21.3948
|  | 7 | 708.71 | 23.8185
|  | 8 | 806.75 | 30.3699
|  | 9 | 901.37 | 31.752
|  | 10 | 930.17 | 33.2401
|  | 11 | 978.15 | 38.9486
|  | 12 | 1045.86 | 36.1704
|  | 13 | 1041.3 | 35.8834
|  | 14 | 1012.1 | 32.8428
|  | 15 | 997.9 | 32.9438
|  | 16 | 946.5 | 30.7092
|  | 17 | 956.27 | 28.4915
|  | 18 | 995.41 | 14.8957
|  | 19 | 1072.43 | 17.6046
|  | 20 | 1116.2 | 25.2846
|  | 21 | 1167.4 | 25.458
|  | 22 | 1075.87 | 22.2736
|  | 23 | 940.08 | 16.1721
|  | 24 | 819.64 | 14.2611
|  | 25 | 715.51 | 12.0858
|  | 26 | 642.1 | 12.0397
|  | 27 | 612.09 | 11.3924
|  | 28 | 610.66 | 12.8619
|  | 29 | 610.55 | 12.7202
|  | 30 | 629.5 | 14.3022
|  | 31 | 706.64 | 18.5479
|  | 32 | 839.55 | 26.068
|  | 33 | 957.56 | 28.5892
|  | 34 | 991.76 | 34.62
|  | 35 | 972.91 | 37.8989
|  | 36 | 985.22 | 37.37
|  | 37 | 977.51 | 35.4428
|  | 38 | 973.82 | 37.6283
|  | 39 | 961.01 | 33.3649
|  | 40 | 957.14 | 30
|  | 41 | 959.75 | 27.0995
|  | 42 | 952.46 | 18.5413
|  | 43 | 1069.19 | 16.0167
|  | 44 | 1107.15 | 20.4918
|  | 45 | 1191.75 | 22.8371
|  | 46 | 1044.23 | 22.9612
|  | 47 | 922.26 | 18.6056
|  | 48 | 806.23 | 17.265
|  | 49 | 721.86 | 12.5928
|  | 50 | 655.31 | 11.7015
|  | 51 | 620.83 | 11.952
|  | 52 | 609.89 | 12.5086
|  | 53 | 609.78 | 12.725
|  | 54 | 629.66 | 12.763
|  | 55 | 708.82 | 14.5067
|  | 56 | 837.48 | 22.6325
|  | 57 | 930.44 | 24.67
|  | 58 | 954.62 | 24.9237
|  | 59 | 924.91 | 26.6492
|  | 60 | 894.84 | 20.4865
|  | 61 | 893.02 | 20.0524
|  | 62 | 890.65 | 18.5759
|  | 63 | 882.74 | 14.6307
|  | 64 | 871.64 | 14.2084
|  | 65 | 899.87 | 14.8132
|  | 66 | 959.16 | 17.6087
|  | 67 | 1075.69 | 18.6236
|  | 68 | 1125.17 | 22.3063
|  | 69 | 1144.49 | 23.4612
|  | 70 | 1052.64 | 21.6138
|  | 71 | 922.04 | 16.1075
|  | 72 | 809.42 | 13.7834
|  | 73 | 711.16 | 13.3118
|  | 74 | 645.59 | 12.2037
|  | 75 | 619.2 | 11.5609
|  | 76 | 618.25 | 11.5571
|  | 77 | 618.09 | 11.507
|  | 78 | 635.11 | 11.8442
|  | 79 | 724.7 | 13.401
|  | 80 | 852.74 | 18.6178
|  | 81 | 915.26 | 25.5896
|  | 82 | 918.79 | 27.1988
|  | 83 | 894.08 | 30.3438
|  | 84 | 892.69 | 18.0327
|  | 85 | 901.26 | 15.3536
|  | 86 | 915.69 | 14.8177
|  | 87 | 908.28 | 14.6439
|  | 88 | 928.82 | 14.9626
|  | 89 | 971.77 | 14.9028
|  | 90 | 1039.94 | 19.8986
|  | 91 | 1045.94 | 22.9379
|  | 92 | 1163.73 | 23.3934
|  | 93 | 1179.98 | 24.1314
|  | 94 | 1074.25 | 21.5819
|  | 95 | 944.84 | 17.5206
|  | 96 | 823.93 | 14.1959
|  | 97 | 738.08 | 14.798
|  | 98 | 662.74 | 13.4902
|  | 99 | 619.56 | 12.0496
|  | 100 | 606 | 11.7366
|  | 101 | 599.13 | 11.6642
|  | 102 | 639.02 | 12.151
|  | 103 | 714.44 | 13.5076
|  | 104 | 833.01 | 16.5664
|  | 105 | 904.02 | 21.7918
|  | 106 | 918.02 | 22.4938
|  | 107 | 920.69 | 17.946
|  | 108 | 943.89 | 15.3477
|  | 109 | 956.98 | 15.0507
|  | 110 | 977.23 | 15.3866
|  | 111 | 977 | 13.8006
|  | 112 | 926.34 | 13.902
|  | 113 | 997.27 | 15.7261
|  | 114 | 1048.76 | 18.4494
|  | 115 | 1120.14 | 23.7221
|  | 116 | 1139.27 | 22.6241
|  | 117 | 1148.26 | 24.0398
|  | 118 | 1070.21 | 20.779
|  | 119 | 929.5 | 19.2312
|  | 120 | 807.6 | 14.6728
|  | 121 | 732.2 | 14.4388
|  | 122 | 661.03 | 13.7863
|  | 123 | 623.85 | 12.9032
|  | 124 | 612.73 | 12.6686
|  | 125 | 612.98 | 12.8204
|  | 126 | 642.64 | 13.1215
|  | 127 | 724.57 | 13.5362
|  | 128 | 815.23 | 18.6475
|  | 129 | 890.22 | 21.9235
|  | 130 | 933.43 | 27.102
|  | 131 | 950.69 | 26.0157
|  | 132 | 1003.7 | 19.6641
|  | 133 | 1018.43 | 16.3132
|  | 134 | 1001.99 | 16.9482
|  | 135 | 1028.82 | 17.3689
|  | 136 | 945.23 | 18.2939
|  | 137 | 929.23 | 18.9596
|  | 138 | 879.36 | 21.5071
|  | 139 | 930.58 | 22.196
|  | 140 | 994.42 | 24.1585
|  | 141 | 988.05 | 24.2326
|  | 142 | 942.97 | 21.288
|  | 143 | 792.25 | 21.348
|  | 144 | 681.09 | 17.9893
|  | 145 | 672.99 | 17.3035
|  | 146 | 607.38 | 16.2926
|  | 147 | 581.36 | 16.6197
|  | 148 | 582.26 | 17.6345
|  | 149 | 581.97 | 17.5477
|  | 150 | 571.2 | 18.9561
|  | 151 | 630.85 | 21.2171
|  | 152 | 668.89 | 22.4424
|  | 153 | 839.51 | 21.7547
|  | 154 | 930.14 | 27.1449
|  | 155 | 911.42 | 27.125
|  | 156 | 933.88 | 21.2197
|  | 157 | 943.26 | 23.5668
|  | 158 | 943.41 | 18.4678
|  | 159 | 922.32 | 15.7793
|  | 160 | 898.39 | 16.602
|  | 161 | 927.61 | 21.0092
|  | 162 | 824.02 | 27.1685
|  | 163 | 878.67 | 25.9003
|  | 164 | 955.1 | 26.9263
|  | 165 | 1015.08 | 27.6572
|  | 166 | 953.13 | 24.8532
|  | 167 | 836.06 | 21.1301
|  | 168 | 723.32 | 18.4388
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 01/09/2025 | 02/09/2025 | 03/09/2025 | 04/09/20252 | 05/09/2025 | 06/09/2025 | 07/09/2025
Min (MW) | 14.2611 | 11.3924 | 11.7015 | 12 | 12 | 12 | 12
Max (MW) | 38.9486 | 37.8989 | 26.6492 | 30 | 28 | 31 | 33
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible