## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-09-11
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 20159.33 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 09/08/2025 | 09/09/2025 | 09/10/2025 | 11/09/20252 | 09/12/2025 | 13/09/2025 | 14/09/2025
Min (MW) | 575 | 572 | 589 | 579 | 581 | 586 | 583
Max (MW) | 1122 | 1157 | 1158 | 1151 | 1138 | 1115 | 1126
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-09-09
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 249.3506 | -405.8 | 655.1506
|  | 2 | 148.7063 | -453.628 | 602.3343
|  | 3 | 153.0226 | -426.15 | 579.1726
|  | 4 | 151.5585 | -418.321 | 569.8795
|  | 5 | 154.6203 | -417.519 | 572.1393
|  | 6 | 176.1702 | -434.305 | 610.4752
|  | 7 | 367.5491 | -346.659 | 714.2081
|  | 8 | 368.834 | -482.387 | 851.221
|  | 9 | 439.2086 | -442.717 | 881.9256
|  | 10 | 422.5158 | -450.299 | 872.8148
|  | 11 | 433.8345 | -420.866 | 854.7005
|  | 12 | 462.279 | -395.037 | 857.316
|  | 13 | 469.1576 | -387.221 | 856.3786
|  | 14 | 460.6174 | -414.411 | 875.0284
|  | 15 | 458.1159 | -426.572 | 884.6879
|  | 16 | 411.6944 | -479.04 | 890.7344
|  | 17 | 404.2708 | -501.963 | 906.2338
|  | 18 | 798.042 | -167.579 | 965.621
|  | 19 | 1123.8794 | 101.38 | 1022.4994
|  | 20 | 1173.1701 | 83.868 | 1089.3021
|  | 21 | 1164.2882 | 100.036 | 1064.2522
|  | 22 | 947.7231 | -23.768 | 971.4911
|  | 23 | 556.5115 | -300.414 | 856.9255
|  | 24 | 390.4706 | -355.859 | 746.3296
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
|  | Gojan | 15.3 | 110 | Hydro | AL
|  | Grabova | 10.8 | 110 | Hydro | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-09-11
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 175.41
|  |  | 01:00 - 02:00 | 125.92
|  |  | 02:00 - 03:00 | 102.77
|  |  | 03:00 - 04:00 | 102.38
|  |  | 04:00 - 05:00 | 102.65
|  |  | 05:00 - 06:00 | 128.42
|  |  | 06:00 - 07:00 | 300.6
|  |  | 07:00 - 08:00 | 271.55
|  |  | 08:00 - 09:00 | 330.44
|  |  | 09:00 - 10:00 | 389.85
|  |  | 10:00 - 11:00 | 406.27
|  |  | 11:00 - 12:00 | 401.99
|  |  | 12:00 - 13:00 | 402.31
|  |  | 13:00 - 14:00 | 421.95
|  |  | 14:00 - 15:00 | 395.04
|  |  | 15:00 - 16:00 | 371.69
|  |  | 16:00 - 17:00 | 370.68
|  |  | 17:00 - 18:00 | 727.78
|  |  | 18:00 - 19:00 | 1076.88
|  |  | 19:00 - 20:00 | 1140.03
|  |  | 20:00 - 21:00 | 1134.85
|  |  | 21:00 - 22:00 | 938.39
|  |  | 22:00 - 23:00 | 551.96
|  |  | 23:00 - 00:00 | 407.43
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 70.6153 | 0 | 0 | 0.26256 | 89.0773
2 | 0 | 0 | 0 | 70.2607 | 0 | 0 | 0 | 0.29059
3 | 0 | 0 | 0 | 70.6645 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 70.6614 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 70.6607 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 70.5398 | 0 | 0 | 0 | 3.287
7 | 0 | 0 | 0 | 69.6679 | 0 | 0 | 0 | 116.0103
8 | 0 | 0 | 0 | 3.1444 | 0 | 0 | 0 | 92.9451
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65.2766
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 49.4907 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 69.6499 | 0 | 0 | 0 | 0
16 | 0 | 2.8109 | 0 | 69.6348 | 0 | 0 | 0 | 0
17 | 45.2878 | 70.132 | 0 | 69.6946 | 0 | 0.31614 | 23.5034 | 0
18 | 69.5778 | 70.0698 | 49.4573 | 69.6842 | 0 | 138.3037 | 124.9712 | 0.77527
19 | 69.7717 | 70.0712 | 69.626 | 69.67 | 0 | 121.0756 | 101.306 | 127.8633
20 | 69.7547 | 70.0475 | 69.6603 | 69.6705 | 0 | 139.8209 | 113.7192 | 143.3478
21 | 69.7325 | 70.0972 | 69.6324 | 69.6894 | 0 | 126.0892 | 131.916 | 119.0873
22 | 69.7973 | 70.097 | 52.3188 | 69.6861 | 0 | 113.0958 | 122.7603 | 118.9698
23 | 52.3181 | 70.101 | 0 | 69.7038 | 0 | 115.0913 | 116.243 | 1.6382
24 | 0 | 70.0769 | 0 | 23.4179 | 0 | 115.092 | 115.4405 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 446.2398 | 563.5034 | 310.6949 | 1196.2064 | 0 | 868.8848 | 850.1221 | 878.5684
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 2977 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 422.6 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 75 | 70 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 70 | 75 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 665.05 | 14.9107
|  | 2 | 615.12 | 16.2724
|  | 3 | 583.26 | 16.1283
|  | 4 | 567.94 | 14.0099
|  | 5 | 577.11 | 12.9147
|  | 6 | 609.51 | 13.2106
|  | 7 | 702.16 | 13.0314
|  | 8 | 817.04 | 15.1274
|  | 9 | 872.5 | 15.9159
|  | 10 | 860.85 | 21.4058
|  | 11 | 972.84 | 18.4454
|  | 12 | 976.26 | 14.7291
|  | 13 | 987.69 | 15.3123
|  | 14 | 1075.31 | 14.852
|  | 15 | 1065.14 | 15.1278
|  | 16 | 1052.42 | 17.0884
|  | 17 | 980.14 | 14.0134
|  | 18 | 954.24 | 15.9706
|  | 19 | 973.61 | 19.1918
|  | 20 | 1030.96 | 22.4155
|  | 21 | 1019.91 | 21.9878
|  | 22 | 962.13 | 20.419
|  | 23 | 860.7 | 17.1528
|  | 24 | 750.54 | 14.8165
|  | 25 | 662.41 | 11.6427
|  | 26 | 607.1 | 10.9529
|  | 27 | 579.67 | 11.0677
|  | 28 | 563.25 | 12.0304
|  | 29 | 569.93 | 12.5702
|  | 30 | 614.53 | 12.2222
|  | 31 | 706.69 | 13.0194
|  | 32 | 826.58 | 18.6362
|  | 33 | 895.89 | 22.4549
|  | 34 | 897.24 | 28.4738
|  | 35 | 894.72 | 25.6808
|  | 36 | 874.18 | 19.3645
|  | 37 | 843 | 15.2495
|  | 38 | 861.07 | 13.9081
|  | 39 | 859.58 | 13.4065
|  | 40 | 879.96 | 12.7446
|  | 41 | 898.33 | 12.8805
|  | 42 | 958.71 | 15.5528
|  | 43 | 1020.74 | 15.1773
|  | 44 | 1078.03 | 15.711
|  | 45 | 1082.59 | 15.0303
|  | 46 | 982.96 | 13.6053
|  | 47 | 857.29 | 17.8875
|  | 48 | 749.07 | 16.2882
|  | 49 | 673.19 | 14.9
|  | 50 | 615.53 | 11.4764
|  | 51 | 585.03 | 12.5536
|  | 52 | 569.42 | 13.6211
|  | 53 | 569.58 | 13.6867
|  | 54 | 596.81 | 14.2783
|  | 55 | 668.9 | 16.8903
|  | 56 | 763.39 | 23.8276
|  | 57 | 838.47 | 29.2958
|  | 58 | 837.21 | 34.2113
|  | 59 | 849.26 | 38.6679
|  | 60 | 861.55 | 40.9002
|  | 61 | 889.36 | 41.1042
|  | 62 | 919.38 | 40.1517
|  | 63 | 902.25 | 38.7644
|  | 64 | 886.35 | 29.6403
|  | 65 | 920.7 | 23.5575
|  | 66 | 963.24 | 15.6963
|  | 67 | 1009.17 | 17.7773
|  | 68 | 1078.68 | 17.7417
|  | 69 | 1073.49 | 16.112
|  | 70 | 1016.5 | 12.2624
|  | 71 | 905.75 | 14.1644
|  | 72 | 774.65 | 14.2934
|  | 73 | 697.9 | 11.9172
|  | 74 | 639.62 | 11.0448
|  | 75 | 608.15 | 11.6409
|  | 76 | 591.29 | 10.3657
|  | 77 | 587.8 | 10.6728
|  | 78 | 604.34 | 11.9957
|  | 79 | 660.95 | 14.5132
|  | 80 | 758.77 | 24.2683
|  | 81 | 831.42 | 25.0784
|  | 82 | 843.33 | 31.658
|  | 83 | 910.46 | 32.9094
|  | 84 | 922.2 | 26.1595
|  | 85 | 917.66 | 21.1277
|  | 86 | 942.33 | 20.1962
|  | 87 | 928.38 | 19.7655
|  | 88 | 910.1 | 17.4744
|  | 89 | 915.75 | 17.397
|  | 90 | 977.02 | 12.3183
|  | 91 | 1043.64 | 11.9238
|  | 92 | 1102 | 16.0973
|  | 93 | 1085.07 | 15.1759
|  | 94 | 981.96 | 11.9865
|  | 95 | 863.49 | 13.4779
|  | 96 | 761.74 | 13.6341
|  | 97 | 680.55 | 10.8315
|  | 98 | 628.3 | 10.7667
|  | 99 | 599.27 | 9.9505
|  | 100 | 580.77 | 9.9652
|  | 101 | 573.39 | 9.7239
|  | 102 | 577.47 | 10.0555
|  | 103 | 646.94 | 12.141
|  | 104 | 721.2 | 17.3543
|  | 105 | 779.7 | 25.7292
|  | 106 | 858.81 | 29.3498
|  | 107 | 887.22 | 30.2147
|  | 108 | 903.57 | 18.8303
|  | 109 | 901.7 | 17.7034
|  | 110 | 890.92 | 16.1908
|  | 111 | 880.24 | 16.7406
|  | 112 | 867.94 | 17.7141
|  | 113 | 874.86 | 16.6783
|  | 114 | 922.98 | 18.1652
|  | 115 | 1032.33 | 15.6988
|  | 116 | 1091.45 | 16.3014
|  | 117 | 1117.98 | 14.8494
|  | 118 | 1008.6 | 11.3828
|  | 119 | 892.61 | 13.8027
|  | 120 | 785.47 | 13.6066
|  | 121 | 696.42 | 12.6958
|  | 122 | 645.22 | 11.0937
|  | 123 | 614.31 | 10.9609
|  | 124 | 592.29 | 10.9686
|  | 125 | 598.69 | 10.8927
|  | 126 | 654.83 | 11.3817
|  | 127 | 788.92 | 12.1396
|  | 128 | 924.38 | 17.1157
|  | 129 | 907.82 | 24.4131
|  | 130 | 927.46 | 32.6537
|  | 131 | 899.17 | 34.1787
|  | 132 | 888.12 | 36.5466
|  | 133 | 881.31 | 36.2248
|  | 134 | 874.14 | 35.1873
|  | 135 | 879.45 | 31.2153
|  | 136 | 920.43 | 25.6188
|  | 137 | 928.48 | 15.9449
|  | 138 | 994.95 | 16.6691
|  | 139 | 1056.57 | 19.5016
|  | 140 | 1117.54 | 15.239
|  | 141 | 1106.53 | 14.8483
|  | 142 | 1018.24 | 15.6476
|  | 143 | 909.41 | 16.6795
|  | 144 | 839.36 | 15.3736
|  | 145 | 702.68 | 11.2128
|  | 146 | 621.9 | 11.1822
|  | 147 | 612.36 | 11.848
|  | 148 | 610.16 | 11.7124
|  | 149 | 612.55 | 11.4758
|  | 150 | 630.68 | 11.2561
|  | 151 | 754.67 | 12.4357
|  | 152 | 876.99 | 18.2655
|  | 153 | 891.19 | 25.9094
|  | 154 | 892.51 | 30.9759
|  | 155 | 854.21 | 36.1094
|  | 156 | 848.32 | 33.3385
|  | 157 | 872.12 | 27.313
|  | 158 | 878.93 | 25.6711
|  | 159 | 871.43 | 22.6094
|  | 160 | 877.54 | 19.9299
|  | 161 | 889.48 | 14.8683
|  | 162 | 941.68 | 13.5498
|  | 163 | 990.45 | 19.129
|  | 164 | 1051.94 | 20.5235
|  | 165 | 1034.06 | 21.1474
|  | 166 | 940.88 | 17.7757
|  | 167 | 822.72 | 15.2854
|  | 168 | 720.37 | 15.005
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 09/08/2025 | 09/09/2025 | 09/10/2025 | 11/09/20252 | 09/12/2025 | 13/09/2025 | 14/09/2025
Min (MW) | 12.9147 | 10.9529 | 11.4764 | 10.3657 | 9.7239 | 10.8927 | 11.1822
Max (MW) | 22.4155 | 28.4738 | 41.1042 | 32.9094 | 30.2147 | 36.5466 | 36.1094
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-09-11
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 20159.33 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 09/08/2025 | 09/09/2025 | 09/10/2025 | 11/09/20252 | 09/12/2025 | 13/09/2025 | 14/09/2025
Min (MW) | 575 | 572 | 589 | 579 | 581 | 586 | 583
Max (MW) | 1122 | 1157 | 1158 | 1151 | 1138 | 1115 | 1126
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-09-09
|  | Hour | Production | Exchange | Consumption
|  | 1 | 249.3506 | -405.8 | 655.1506
|  | 2 | 148.7063 | -453.628 | 602.3343
|  | 3 | 153.0226 | -426.15 | 579.1726
|  | 4 | 151.5585 | -418.321 | 569.8795
|  | 5 | 154.6203 | -417.519 | 572.1393
|  | 6 | 176.1702 | -434.305 | 610.4752
|  | 7 | 367.5491 | -346.659 | 714.2081
|  | 8 | 368.834 | -482.387 | 851.221
|  | 9 | 439.2086 | -442.717 | 881.9256
|  | 10 | 422.5158 | -450.299 | 872.8148
|  | 11 | 433.8345 | -420.866 | 854.7005
|  | 12 | 462.279 | -395.037 | 857.316
|  | 13 | 469.1576 | -387.221 | 856.3786
|  | 14 | 460.6174 | -414.411 | 875.0284
|  | 15 | 458.1159 | -426.572 | 884.6879
|  | 16 | 411.6944 | -479.04 | 890.7344
|  | 17 | 404.2708 | -501.963 | 906.2338
|  | 18 | 798.042 | -167.579 | 965.621
|  | 19 | 1123.8794 | 101.38 | 1022.4994
|  | 20 | 1173.1701 | 83.868 | 1089.3021
|  | 21 | 1164.2882 | 100.036 | 1064.2522
|  | 22 | 947.7231 | -23.768 | 971.4911
|  | 23 | 556.5115 | -300.414 | 856.9255
|  | 24 | 390.4706 | -355.859 | 746.3296
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
|  | Gojan | 15.3 | 110 | Hydro | AL
|  | Grabova2 | 10.8 | 110 | Hydro | AL
Art. 5.3 | D-1 planned generation
2025-09-11
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 175.41
|  |  | 01:00 - 02:00 | 125.92
|  |  | 02:00 - 03:00 | 102.77
|  |  | 03:00 - 04:00 | 102.38
|  |  | 04:00 - 05:00 | 102.65
|  |  | 05:00 - 06:00 | 128.42
|  |  | 06:00 - 07:00 | 300.6
|  |  | 07:00 - 08:00 | 271.55
|  |  | 08:00 - 09:00 | 330.44
|  |  | 09:00 - 10:00 | 389.85
|  |  | 10:00 - 11:00 | 406.27
|  |  | 11:00 - 12:00 | 401.99
|  |  | 12:00 - 13:00 | 402.31
|  |  | 13:00 - 14:00 | 421.95
|  |  | 14:00 - 15:00 | 395.04
|  |  | 15:00 - 16:00 | 371.69
|  |  | 16:00 - 17:00 | 370.68
|  |  | 17:00 - 18:00 | 727.78
|  |  | 18:00 - 19:00 | 1076.88
|  |  | 19:00 - 20:00 | 1140.03
|  |  | 20:00 - 21:00 | 1134.85
|  |  | 21:00 - 22:00 | 938.39
|  |  | 22:00 - 23:00 | 551.96
|  |  | 23:00 - 00:00 | 407.43
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 70.6153 | 0 | 0 | 0.26256 | 89.0773
2 | 0 | 0 | 0 | 70.2607 | 0 | 0 | 0 | 0.29059
3 | 0 | 0 | 0 | 70.6645 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 70.6614 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 70.6607 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 70.5398 | 0 | 0 | 0 | 3.287
7 | 0 | 0 | 0 | 69.6679 | 0 | 0 | 0 | 116.0103
8 | 0 | 0 | 0 | 3.1444 | 0 | 0 | 0 | 92.9451
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65.2766
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 49.4907 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 69.6499 | 0 | 0 | 0 | 0
16 | 0 | 2.8109 | 0 | 69.6348 | 0 | 0 | 0 | 0
17 | 45.2878 | 70.132 | 0 | 69.6946 | 0 | 0.31614 | 23.5034 | 0
18 | 69.5778 | 70.0698 | 49.4573 | 69.6842 | 0 | 138.3037 | 124.9712 | 0.77527
19 | 69.7717 | 70.0712 | 69.626 | 69.67 | 0 | 121.0756 | 101.306 | 127.8633
20 | 69.7547 | 70.0475 | 69.6603 | 69.6705 | 0 | 139.8209 | 113.7192 | 143.3478
21 | 69.7325 | 70.0972 | 69.6324 | 69.6894 | 0 | 126.0892 | 131.916 | 119.0873
22 | 69.7973 | 70.097 | 52.3188 | 69.6861 | 0 | 113.0958 | 122.7603 | 118.9698
23 | 52.3181 | 70.101 | 0 | 69.7038 | 0 | 115.0913 | 116.243 | 1.6382
24 | 0 | 70.0769 | 0 | 23.4179 | 0 | 115.092 | 115.4405 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 446.2398 | 563.5034 | 310.6949 | 1125.5912 | 0 | 868.8848 | 849.8596 | 789.4912
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 2977 MWh
Art. 5.12 | Energy reserve | [5 empty] | 422.6 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 75 | 70 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 70 | 75 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 665.05 | 14.9107
|  | 2 | 615.12 | 16.2724
|  | 3 | 583.26 | 16.1283
|  | 4 | 567.94 | 14.0099
|  | 5 | 577.11 | 12.9147
|  | 6 | 609.51 | 13.2106
|  | 7 | 702.16 | 13.0314
|  | 8 | 817.04 | 15.1274
|  | 9 | 872.5 | 15.9159
|  | 10 | 860.85 | 21.4058
|  | 11 | 972.84 | 18.4454
|  | 12 | 976.26 | 14.7291
|  | 13 | 987.69 | 15.3123
|  | 14 | 1075.31 | 14.852
|  | 15 | 1065.14 | 15.1278
|  | 16 | 1052.42 | 17.0884
|  | 17 | 980.14 | 14.0134
|  | 18 | 954.24 | 15.9706
|  | 19 | 973.61 | 19.1918
|  | 20 | 1030.96 | 22.4155
|  | 21 | 1019.91 | 21.9878
|  | 22 | 962.13 | 20.419
|  | 23 | 860.7 | 17.1528
|  | 24 | 750.54 | 14.8165
|  | 25 | 662.41 | 11.6427
|  | 26 | 607.1 | 10.9529
|  | 27 | 579.67 | 11.0677
|  | 28 | 563.25 | 12.0304
|  | 29 | 569.93 | 12.5702
|  | 30 | 614.53 | 12.2222
|  | 31 | 706.69 | 13.0194
|  | 32 | 826.58 | 18.6362
|  | 33 | 895.89 | 22.4549
|  | 34 | 897.24 | 28.4738
|  | 35 | 894.72 | 25.6808
|  | 36 | 874.18 | 19.3645
|  | 37 | 843 | 15.2495
|  | 38 | 861.07 | 13.9081
|  | 39 | 859.58 | 13.4065
|  | 40 | 879.96 | 12.7446
|  | 41 | 898.33 | 12.8805
|  | 42 | 958.71 | 15.5528
|  | 43 | 1020.74 | 15.1773
|  | 44 | 1078.03 | 15.711
|  | 45 | 1082.59 | 15.0303
|  | 46 | 982.96 | 13.6053
|  | 47 | 857.29 | 17.8875
|  | 48 | 749.07 | 16.2882
|  | 49 | 673.19 | 14.9
|  | 50 | 615.53 | 11.4764
|  | 51 | 585.03 | 12.5536
|  | 52 | 569.42 | 13.6211
|  | 53 | 569.58 | 13.6867
|  | 54 | 596.81 | 14.2783
|  | 55 | 668.9 | 16.8903
|  | 56 | 763.39 | 23.8276
|  | 57 | 838.47 | 29.2958
|  | 58 | 837.21 | 34.2113
|  | 59 | 849.26 | 38.6679
|  | 60 | 861.55 | 40.9002
|  | 61 | 889.36 | 41.1042
|  | 62 | 919.38 | 40.1517
|  | 63 | 902.25 | 38.7644
|  | 64 | 886.35 | 29.6403
|  | 65 | 920.7 | 23.5575
|  | 66 | 963.24 | 15.6963
|  | 67 | 1009.17 | 17.7773
|  | 68 | 1078.68 | 17.7417
|  | 69 | 1073.49 | 16.112
|  | 70 | 1016.5 | 12.2624
|  | 71 | 905.75 | 14.1644
|  | 72 | 774.65 | 14.2934
|  | 73 | 697.9 | 11.9172
|  | 74 | 639.62 | 11.0448
|  | 75 | 608.15 | 11.6409
|  | 76 | 591.29 | 10.3657
|  | 77 | 587.8 | 10.6728
|  | 78 | 604.34 | 11.9957
|  | 79 | 660.95 | 14.5132
|  | 80 | 758.77 | 24.2683
|  | 81 | 831.42 | 25.0784
|  | 82 | 843.33 | 31.658
|  | 83 | 910.46 | 32.9094
|  | 84 | 922.2 | 26.1595
|  | 85 | 917.66 | 21.1277
|  | 86 | 942.33 | 20.1962
|  | 87 | 928.38 | 19.7655
|  | 88 | 910.1 | 17.4744
|  | 89 | 915.75 | 17.397
|  | 90 | 977.02 | 12.3183
|  | 91 | 1043.64 | 11.9238
|  | 92 | 1102 | 16.0973
|  | 93 | 1085.07 | 15.1759
|  | 94 | 981.96 | 11.9865
|  | 95 | 863.49 | 13.4779
|  | 96 | 761.74 | 13.6341
|  | 97 | 680.55 | 10.8315
|  | 98 | 628.3 | 10.7667
|  | 99 | 599.27 | 9.9505
|  | 100 | 580.77 | 9.9652
|  | 101 | 573.39 | 9.7239
|  | 102 | 577.47 | 10.0555
|  | 103 | 646.94 | 12.141
|  | 104 | 721.2 | 17.3543
|  | 105 | 779.7 | 25.7292
|  | 106 | 858.81 | 29.3498
|  | 107 | 887.22 | 30.2147
|  | 108 | 903.57 | 18.8303
|  | 109 | 901.7 | 17.7034
|  | 110 | 890.92 | 16.1908
|  | 111 | 880.24 | 16.7406
|  | 112 | 867.94 | 17.7141
|  | 113 | 874.86 | 16.6783
|  | 114 | 922.98 | 18.1652
|  | 115 | 1032.33 | 15.6988
|  | 116 | 1091.45 | 16.3014
|  | 117 | 1117.98 | 14.8494
|  | 118 | 1008.6 | 11.3828
|  | 119 | 892.61 | 13.8027
|  | 120 | 785.47 | 13.6066
|  | 121 | 696.42 | 12.6958
|  | 122 | 645.22 | 11.0937
|  | 123 | 614.31 | 10.9609
|  | 124 | 592.29 | 10.9686
|  | 125 | 598.69 | 10.8927
|  | 126 | 654.83 | 11.3817
|  | 127 | 788.92 | 12.1396
|  | 128 | 924.38 | 17.1157
|  | 129 | 907.82 | 24.4131
|  | 130 | 927.46 | 32.6537
|  | 131 | 899.17 | 34.1787
|  | 132 | 888.12 | 36.5466
|  | 133 | 881.31 | 36.2248
|  | 134 | 874.14 | 35.1873
|  | 135 | 879.45 | 31.2153
|  | 136 | 920.43 | 25.6188
|  | 137 | 928.48 | 15.9449
|  | 138 | 994.95 | 16.6691
|  | 139 | 1056.57 | 19.5016
|  | 140 | 1117.54 | 15.239
|  | 141 | 1106.53 | 14.8483
|  | 142 | 1018.24 | 15.6476
|  | 143 | 909.41 | 16.6795
|  | 144 | 839.36 | 15.3736
|  | 145 | 702.68 | 11.2128
|  | 146 | 621.9 | 11.1822
|  | 147 | 612.36 | 11.848
|  | 148 | 610.16 | 11.7124
|  | 149 | 612.55 | 11.4758
|  | 150 | 630.68 | 11.2561
|  | 151 | 754.67 | 12.4357
|  | 152 | 876.99 | 18.2655
|  | 153 | 891.19 | 25.9094
|  | 154 | 892.51 | 30.9759
|  | 155 | 854.21 | 36.1094
|  | 156 | 848.32 | 33.3385
|  | 157 | 872.12 | 27.313
|  | 158 | 878.93 | 25.6711
|  | 159 | 871.43 | 22.6094
|  | 160 | 877.54 | 19.9299
|  | 161 | 889.48 | 14.8683
|  | 162 | 941.68 | 13.5498
|  | 163 | 990.45 | 19.129
|  | 164 | 1051.94 | 20.5235
|  | 165 | 1034.06 | 21.1474
|  | 166 | 940.88 | 17.7757
|  | 167 | 822.72 | 15.2854
|  | 168 | 720.37 | 15.005
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 09/08/2025 | 09/09/2025 | 09/10/2025 | 11/09/20252 | 09/12/2025 | 13/09/2025 | 14/09/2025
Min (MW) | 12.9147 | 10.9529 | 11.4764 | 10.3657 | 9.7239 | 10.8927 | 11.1822
Max (MW) | 22.4155 | 28.4738 | 41.1042 | 32.9094 | 30.2147 | 36.5466 | 36.1094
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible