## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-09-28
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 18170.49 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 22/09/2025 | 23/09/2025 | 24/09/2025 | 25/09/2025 | 26/09/2025 | 27/09/2025 | 28/09/2025
Min (MW) | 463 | 463 | 461 | 478 | 474 | 489 | 489
Max (MW) | 953 | 954 | 958 | 971 | 979 | 968 | 973
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-09-26
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 268.0136 | -339.34 | 607.3536
|  | 2 | 239.8908 | -328.8704 | 568.7612
|  | 3 | 203.555 | -343.1713 | 546.7263
|  | 4 | 196.9093 | -340.2784 | 537.1877
|  | 5 | 196.6741 | -344.0094 | 540.6834
|  | 6 | 242.3601 | -338.9135 | 581.2735
|  | 7 | 337.4415 | -359.555 | 696.9965
|  | 8 | 395.2056 | -431.3883 | 826.5939
|  | 9 | 444.1815 | -417.2331 | 861.4146
|  | 10 | 505.0905 | -344.1206 | 849.2111
|  | 11 | 458.0344 | -382.437 | 840.4713
|  | 12 | 530.873 | -326.1892 | 857.0622
|  | 13 | 585.0102 | -269.9264 | 854.9366
|  | 14 | 504.1324 | -363.1637 | 867.2962
|  | 15 | 577.881 | -296.4953 | 874.3764
|  | 16 | 475.6734 | -379.2739 | 854.9472
|  | 17 | 436.5145 | -413.1283 | 849.6429
|  | 18 | 727.7324 | -169.8315 | 897.5639
|  | 19 | 1038.5627 | 69.032 | 969.5307
|  | 20 | 1068.5556 | 70.2093 | 998.3463
|  | 21 | 964.4439 | 23.0246 | 941.4192
|  | 22 | 883.0732 | 33.5538 | 849.5193
|  | 23 | 530.8644 | -222.0208 | 752.8853
|  | 24 | 437.8679 | -231.9792 | 669.8472
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-09-28
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 328.4
|  |  | 01:00 - 02:00 | 235.81
|  |  | 02:00 - 03:00 | 214.5
|  |  | 03:00 - 04:00 | 186.9
|  |  | 04:00 - 05:00 | 183.81
|  |  | 05:00 - 06:00 | 209.09
|  |  | 06:00 - 07:00 | 281.69
|  |  | 07:00 - 08:00 | 235.67
|  |  | 08:00 - 09:00 | 353.19
|  |  | 09:00 - 10:00 | 432.78
|  |  | 10:00 - 11:00 | 444.05
|  |  | 11:00 - 12:00 | 508.97
|  |  | 12:00 - 13:00 | 519.42
|  |  | 13:00 - 14:00 | 498.21
|  |  | 14:00 - 15:00 | 449.48
|  |  | 15:00 - 16:00 | 421.74
|  |  | 16:00 - 17:00 | 376.59
|  |  | 17:00 - 18:00 | 690.04
|  |  | 18:00 - 19:00 | 832.28
|  |  | 19:00 - 20:00 | 901.84
|  |  | 20:00 - 21:00 | 881.2
|  |  | 21:00 - 22:00 | 725.46
|  |  | 22:00 - 23:00 | 573.05
|  |  | 23:00 - 00:00 | 464.68
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 69.6842 | 0 | 96.7076 | 91.7749 | 0
2 | 0 | 0 | 0 | 69.653 | 0 | 126.0959 | 0 | 0
3 | 0 | 0 | 0 | 69.6563 | 0 | 121.1952 | 0 | 0
4 | 0 | 0 | 0 | 69.67 | 0 | 113.6295 | 0 | 0
5 | 0 | 0 | 0 | 69.6688 | 0 | 110.2172 | 0 | 0
6 | 0 | 0 | 0 | 69.6665 | 0 | 93.5831 | 0 | 0
7 | 0 | 0 | 0 | 69.6454 | 0 | 102.1551 | 0 | 0
8 | 0 | 0 | 0 | 69.6672 | 0 | 96.5195 | 0 | 0
9 | 0 | 0 | 0 | 69.6797 | 0 | 138.3179 | 0 | 0
10 | 0 | 0 | 0 | 69.674 | 0 | 119.3218 | 0 | 0
11 | 0 | 0 | 0 | 69.6859 | 0 | 142.6162 | 0 | 0
12 | 0 | 0 | 0 | 69.6956 | 0 | 96.5515 | 0 | 0
13 | 0 | 0 | 0 | 69.6856 | 0 | 90.0605 | 0 | 0
14 | 0 | 0 | 0 | 69.6714 | 0 | 112.2049 | 0 | 0
15 | 0 | 0 | 0 | 69.683 | 0 | 90.3149 | 0 | 0
16 | 0 | 0 | 0 | 69.6792 | 0 | 91.0263 | 0 | 0
17 | 0 | 0 | 1.943 | 69.6634 | 0 | 107.2403 | 0.24731 | 0
18 | 0 | 45.5484 | 69.526 | 69.6781 | 0 | 137.3092 | 121.3804 | 91.0231
19 | 0 | 70.0572 | 69.6073 | 69.7074 | 0 | 124.2832 | 118.1619 | 124.709
20 | 0 | 70.083 | 69.6116 | 69.7197 | 0 | 109.9685 | 129.2449 | 135.7114
21 | 0 | 70.0773 | 69.5882 | 69.7273 | 0 | 96.9762 | 101.5867 | 110.1839
22 | 0 | 70.0504 | 69.6551 | 69.7076 | 0 | 98.0087 | 101.3103 | 39.936
23 | 0 | 70.0821 | 69.6279 | 69.705 | 0 | 118.0047 | 0.68692 | 0
24 | 0 | 70.0852 | 0.57788 | 69.762 | 0 | 126.7665 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 465.9837 | 420.137 | 1672.4365 | 0 | 2659.0742 | 664.3933 | 501.5633
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 1676 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 331.1 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | 0
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.4783 | 71.5217 | 0 | 0 | 0 | 0 | 138.9583
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 642.8 | 10.4822
|  | 2 | 593.12 | 9.5969
|  | 3 | 566.5 | 9.4998
|  | 4 | 553.86 | 8.8913
|  | 5 | 560.08 | 9.6111
|  | 6 | 597.46 | 10.9301
|  | 7 | 712.36 | 15.2573
|  | 8 | 839.82 | 25.1632
|  | 9 | 877.41 | 30.6243
|  | 10 | 864.4 | 32.1398
|  | 11 | 846.55 | 33.3087
|  | 12 | 861.55 | 31.384
|  | 13 | 851.21 | 29.6182
|  | 14 | 871.75 | 26.8902
|  | 15 | 872.68 | 26.0928
|  | 16 | 915.83 | 27.5426
|  | 17 | 928.21 | 20.8908
|  | 18 | 998.07 | 16.2968
|  | 19 | 1052.34 | 25.0267
|  | 20 | 1123.32 | 28.3466
|  | 21 | 1081.28 | 26.6129
|  | 22 | 991.63 | 24.2734
|  | 23 | 865.27 | 21.3754
|  | 24 | 759.81 | 17.6407
|  | 25 | 646.35 | 15.227
|  | 26 | 601.36 | 17.4434
|  | 27 | 573.34 | 16.697
|  | 28 | 567.05 | 18.3991
|  | 29 | 569.73 | 18.3066
|  | 30 | 606.69 | 18.2221
|  | 31 | 723.01 | 20.2191
|  | 32 | 846.71 | 16.5502
|  | 33 | 879.24 | 14.0297
|  | 34 | 891.99 | 17.1027
|  | 35 | 949.31 | 17.6558
|  | 36 | 885.37 | 17.6298
|  | 37 | 862.04 | 17.7132
|  | 38 | 870.18 | 17.4364
|  | 39 | 881.87 | 16.0099
|  | 40 | 893.13 | 14.6686
|  | 41 | 893.52 | 14.3029
|  | 42 | 955.21 | 25.607
|  | 43 | 1012.44 | 32.5762
|  | 44 | 1084.65 | 29.5439
|  | 45 | 1051.71 | 26.4472
|  | 46 | 944.78 | 24.3393
|  | 47 | 815.01 | 19.2775
|  | 48 | 702.8 | 12.8855
|  | 49 | 611.22 | 11.6262
|  | 50 | 564.22 | 10.8761
|  | 51 | 553.72 | 10.742
|  | 52 | 544.5 | 10.8031
|  | 53 | 564.99 | 11.1111
|  | 54 | 582.08 | 11.4699
|  | 55 | 699.36 | 12.9535
|  | 56 | 822.7 | 18.5686
|  | 57 | 849.49 | 23.0599
|  | 58 | 846.1 | 32.1051
|  | 59 | 823.17 | 38.4479
|  | 60 | 813.78 | 41.6519
|  | 61 | 837.45 | 41.196
|  | 62 | 806.84 | 39.4297
|  | 63 | 824.12 | 35.0632
|  | 64 | 880.08 | 32.2989
|  | 65 | 838.02 | 20.54
|  | 66 | 927.11 | 18.7072
|  | 67 | 972.26 | 26.7404
|  | 68 | 1039.71 | 28.9501
|  | 69 | 1014.05 | 26.3689
|  | 70 | 916.85 | 26.8888
|  | 71 | 797.45 | 22.2925
|  | 72 | 682.49 | 20.4909
|  | 73 | 637.84 | 19.0138
|  | 74 | 589.48 | 16.5751
|  | 75 | 567.51 | 14.8839
|  | 76 | 556.99 | 13.8125
|  | 77 | 563.12 | 14.0187
|  | 78 | 620.66 | 13.7155
|  | 79 | 715.57 | 12.0799
|  | 80 | 850.73 | 14.2084
|  | 81 | 862.48 | 20.8433
|  | 82 | 837.36 | 25.7187
|  | 83 | 794.15 | 28.7046
|  | 84 | 794.29 | 25.9924
|  | 85 | 802.96 | 21.9654
|  | 86 | 841.83 | 21.2372
|  | 87 | 851.87 | 20.4041
|  | 88 | 858.51 | 17.3356
|  | 89 | 850.32 | 14.7055
|  | 90 | 940.9 | 13.7608
|  | 91 | 994.46 | 15.7986
|  | 92 | 1065.22 | 19.0017
|  | 93 | 1018.77 | 17.033
|  | 94 | 930.08 | 14.5278
|  | 95 | 804.25 | 10.4687
|  | 96 | 694.98 | 10.6933
|  | 97 | 644 | 15.8854
|  | 98 | 599.72 | 15.3119
|  | 99 | 575.67 | 16.0722
|  | 100 | 565.41 | 24.2772
|  | 101 | 573.55 | 25.2167
|  | 102 | 611.88 | 26.2196
|  | 103 | 682.93 | 29.2676
|  | 104 | 795.86 | 33.8136
|  | 105 | 844.71 | 38.4306
|  | 106 | 850.47 | 37.0131
|  | 107 | 856 | 38.089
|  | 108 | 870.33 | 34.828
|  | 109 | 875.47 | 27.1972
|  | 110 | 889.14 | 25.3986
|  | 111 | 885.74 | 22.3932
|  | 112 | 860.21 | 17.4906
|  | 113 | 876.92 | 14.0355
|  | 114 | 922.18 | 16.5774
|  | 115 | 985.39 | 20.0803
|  | 116 | 1045.75 | 23.7726
|  | 117 | 1022.94 | 23.1359
|  | 118 | 926.58 | 20.687
|  | 119 | 786.52 | 22.8292
|  | 120 | 687.39 | 19.6423
|  | 121 | 647.59 | 12.2154
|  | 122 | 599.91 | 14.7749
|  | 123 | 574.3 | 13.8785
|  | 124 | 567.19 | 11.4885
|  | 125 | 570.84 | 10.8199
|  | 126 | 600.73 | 11.0274
|  | 127 | 626.18 | 13.7072
|  | 128 | 705.88 | 14.7259
|  | 129 | 774.76 | 23.1195
|  | 130 | 782.36 | 30.7939
|  | 131 | 826.7 | 31.4972
|  | 132 | 834.12 | 28.6617
|  | 133 | 833.57 | 21.708
|  | 134 | 811.22 | 18.3346
|  | 135 | 794.96 | 17.0513
|  | 136 | 790.55 | 18.4658
|  | 137 | 790.62 | 15.2412
|  | 138 | 866.83 | 16.6217
|  | 139 | 947.76 | 19.529
|  | 140 | 1021.03 | 22.6484
|  | 141 | 992.78 | 22.1377
|  | 142 | 925.43 | 20.923
|  | 143 | 794.76 | 19.2374
|  | 144 | 681.27 | 18.7433
|  | 145 | 622.33 | 12.3318
|  | 146 | 580.34 | 12.2934
|  | 147 | 552.19 | 13.1582
|  | 148 | 542.85 | 13.2842
|  | 149 | 546.66 | 11.6406
|  | 150 | 599.06 | 12.8209
|  | 151 | 711.06 | 15.8161
|  | 152 | 867.2 | 14.0682
|  | 153 | 881.04 | 14.8268
|  | 154 | 847.74 | 21.2817
|  | 155 | 804.76 | 19.2947
|  | 156 | 804.25 | 24.5904
|  | 157 | 800.82 | 20.5346
|  | 158 | 832.22 | 19.3671
|  | 159 | 835.11 | 19.8172
|  | 160 | 838.12 | 17.5443
|  | 161 | 851.5 | 13.7208
|  | 162 | 939.32 | 17.8284
|  | 163 | 996.66 | 23.4242
|  | 164 | 1060.12 | 21.2908
|  | 165 | 1019.62 | 16.5588
|  | 166 | 929.55 | 19.397
|  | 167 | 817.67 | 18.9985
|  | 168 | 704.66 | 13.4018
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 22/09/2025 | 23/09/2025 | 24/09/2025 | 25/09/2025 | 26/09/2025 | 27/09/2025 | 28/09/2025
Min (MW) | 8.8913 | 12.8855 | 10.742 | 10.4687 | 14.0355 | 10.8199 | 11.6406
Max (MW) | 33.3087 | 32.5762 | 41.6519 | 28.7046 | 38.4306 | 31.4972 | 24.5904
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-09-28
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 18170.49 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Date | 22/09/2025 | 23/09/2025 | 24/09/2025 | 25/09/2025 | 26/09/2025 | 27/09/2025 | 28/09/2025
Min (MW) | 463 | 463 | 461 | 478 | 474 | 489 | 489
Max (MW) | 953 | 954 | 958 | 971 | 979 | 968 | 973
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-09-26
|  | Hour | Production | Exchange | Consumption
|  | 1 | 268.0136 | -339.34 | 607.3536
|  | 2 | 239.8908 | -328.8704 | 568.7612
|  | 3 | 203.555 | -343.1713 | 546.7263
|  | 4 | 196.9093 | -340.2784 | 537.1877
|  | 5 | 196.6741 | -344.0094 | 540.6834
|  | 6 | 242.3601 | -338.9135 | 581.2735
|  | 7 | 337.4415 | -359.555 | 696.9965
|  | 8 | 395.2056 | -431.3883 | 826.5939
|  | 9 | 444.1815 | -417.2331 | 861.4146
|  | 10 | 505.0905 | -344.1206 | 849.2111
|  | 11 | 458.0344 | -382.437 | 840.4713
|  | 12 | 530.873 | -326.1892 | 857.0622
|  | 13 | 585.0102 | -269.9264 | 854.9366
|  | 14 | 504.1324 | -363.1637 | 867.2962
|  | 15 | 577.881 | -296.4953 | 874.3764
|  | 16 | 475.6734 | -379.2739 | 854.9472
|  | 17 | 436.5145 | -413.1283 | 849.6429
|  | 18 | 727.7324 | -169.8315 | 897.5639
|  | 19 | 1038.5627 | 69.032 | 969.5307
|  | 20 | 1068.5556 | 70.2093 | 998.3463
|  | 21 | 964.4439 | 23.0246 | 941.4192
|  | 22 | 883.0732 | 33.5538 | 849.5193
|  | 23 | 530.8644 | -222.0208 | 752.8853
|  | 24 | 437.8679 | -231.9792 | 669.8472
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2025-09-28
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 328.4
|  |  | 01:00 - 02:00 | 235.81
|  |  | 02:00 - 03:00 | 214.5
|  |  | 03:00 - 04:00 | 186.9
|  |  | 04:00 - 05:00 | 183.81
|  |  | 05:00 - 06:00 | 209.09
|  |  | 06:00 - 07:00 | 281.69
|  |  | 07:00 - 08:00 | 235.67
|  |  | 08:00 - 09:00 | 353.19
|  |  | 09:00 - 10:00 | 432.78
|  |  | 10:00 - 11:00 | 444.05
|  |  | 11:00 - 12:00 | 508.97
|  |  | 12:00 - 13:00 | 519.42
|  |  | 13:00 - 14:00 | 498.21
|  |  | 14:00 - 15:00 | 449.48
|  |  | 15:00 - 16:00 | 421.74
|  |  | 16:00 - 17:00 | 376.59
|  |  | 17:00 - 18:00 | 690.04
|  |  | 18:00 - 19:00 | 832.28
|  |  | 19:00 - 20:00 | 901.84
|  |  | 20:00 - 21:00 | 881.2
|  |  | 21:00 - 22:00 | 725.46
|  |  | 22:00 - 23:00 | 573.05
|  |  | 23:00 - 00:00 | 464.68
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 69.6842 | 0 | 96.7076 | 91.7749 | 0
2 | 0 | 0 | 0 | 69.653 | 0 | 126.0959 | 0 | 0
3 | 0 | 0 | 0 | 69.6563 | 0 | 121.1952 | 0 | 0
4 | 0 | 0 | 0 | 69.67 | 0 | 113.6295 | 0 | 0
5 | 0 | 0 | 0 | 69.6688 | 0 | 110.2172 | 0 | 0
6 | 0 | 0 | 0 | 69.6665 | 0 | 93.5831 | 0 | 0
7 | 0 | 0 | 0 | 69.6454 | 0 | 102.1551 | 0 | 0
8 | 0 | 0 | 0 | 69.6672 | 0 | 96.5195 | 0 | 0
9 | 0 | 0 | 0 | 69.6797 | 0 | 138.3179 | 0 | 0
10 | 0 | 0 | 0 | 69.674 | 0 | 119.3218 | 0 | 0
11 | 0 | 0 | 0 | 69.6859 | 0 | 142.6162 | 0 | 0
12 | 0 | 0 | 0 | 69.6956 | 0 | 96.5515 | 0 | 0
13 | 0 | 0 | 0 | 69.6856 | 0 | 90.0605 | 0 | 0
14 | 0 | 0 | 0 | 69.6714 | 0 | 112.2049 | 0 | 0
15 | 0 | 0 | 0 | 69.683 | 0 | 90.3149 | 0 | 0
16 | 0 | 0 | 0 | 69.6792 | 0 | 91.0263 | 0 | 0
17 | 0 | 0 | 1.943 | 69.6634 | 0 | 107.2403 | 0.24731 | 0
18 | 0 | 45.5484 | 69.526 | 69.6781 | 0 | 137.3092 | 121.3804 | 91.0231
19 | 0 | 70.0572 | 69.6073 | 69.7074 | 0 | 124.2832 | 118.1619 | 124.709
20 | 0 | 70.083 | 69.6116 | 69.7197 | 0 | 109.9685 | 129.2449 | 135.7114
21 | 0 | 70.0773 | 69.5882 | 69.7273 | 0 | 96.9762 | 101.5867 | 110.1839
22 | 0 | 70.0504 | 69.6551 | 69.7076 | 0 | 98.0087 | 101.3103 | 39.936
23 | 0 | 70.0821 | 69.6279 | 69.705 | 0 | 118.0047 | 0.68692 | 0
24 | 0 | 70.0852 | 0.57788 | 69.762 | 0 | 126.7665 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 465.9837 | 420.137 | 1602.7523 | 0 | 2562.3666 | 572.6184 | 501.5633
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 1676 MWh
Art. 5.12 | Energy reserve | [5 empty] | 331.1 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 642.8 | 10.4822
|  | 2 | 593.12 | 9.5969
|  | 3 | 566.5 | 9.4998
|  | 4 | 553.86 | 8.8913
|  | 5 | 560.08 | 9.6111
|  | 6 | 597.46 | 10.9301
|  | 7 | 712.36 | 15.2573
|  | 8 | 839.82 | 25.1632
|  | 9 | 877.41 | 30.6243
|  | 10 | 864.4 | 32.1398
|  | 11 | 846.55 | 33.3087
|  | 12 | 861.55 | 31.384
|  | 13 | 851.21 | 29.6182
|  | 14 | 871.75 | 26.8902
|  | 15 | 872.68 | 26.0928
|  | 16 | 915.83 | 27.5426
|  | 17 | 928.21 | 20.8908
|  | 18 | 998.07 | 16.2968
|  | 19 | 1052.34 | 25.0267
|  | 20 | 1123.32 | 28.3466
|  | 21 | 1081.28 | 26.6129
|  | 22 | 991.63 | 24.2734
|  | 23 | 865.27 | 21.3754
|  | 24 | 759.81 | 17.6407
|  | 25 | 646.35 | 15.227
|  | 26 | 601.36 | 17.4434
|  | 27 | 573.34 | 16.697
|  | 28 | 567.05 | 18.3991
|  | 29 | 569.73 | 18.3066
|  | 30 | 606.69 | 18.2221
|  | 31 | 723.01 | 20.2191
|  | 32 | 846.71 | 16.5502
|  | 33 | 879.24 | 14.0297
|  | 34 | 891.99 | 17.1027
|  | 35 | 949.31 | 17.6558
|  | 36 | 885.37 | 17.6298
|  | 37 | 862.04 | 17.7132
|  | 38 | 870.18 | 17.4364
|  | 39 | 881.87 | 16.0099
|  | 40 | 893.13 | 14.6686
|  | 41 | 893.52 | 14.3029
|  | 42 | 955.21 | 25.607
|  | 43 | 1012.44 | 32.5762
|  | 44 | 1084.65 | 29.5439
|  | 45 | 1051.71 | 26.4472
|  | 46 | 944.78 | 24.3393
|  | 47 | 815.01 | 19.2775
|  | 48 | 702.8 | 12.8855
|  | 49 | 611.22 | 11.6262
|  | 50 | 564.22 | 10.8761
|  | 51 | 553.72 | 10.742
|  | 52 | 544.5 | 10.8031
|  | 53 | 564.99 | 11.1111
|  | 54 | 582.08 | 11.4699
|  | 55 | 699.36 | 12.9535
|  | 56 | 822.7 | 18.5686
|  | 57 | 849.49 | 23.0599
|  | 58 | 846.1 | 32.1051
|  | 59 | 823.17 | 38.4479
|  | 60 | 813.78 | 41.6519
|  | 61 | 837.45 | 41.196
|  | 62 | 806.84 | 39.4297
|  | 63 | 824.12 | 35.0632
|  | 64 | 880.08 | 32.2989
|  | 65 | 838.02 | 20.54
|  | 66 | 927.11 | 18.7072
|  | 67 | 972.26 | 26.7404
|  | 68 | 1039.71 | 28.9501
|  | 69 | 1014.05 | 26.3689
|  | 70 | 916.85 | 26.8888
|  | 71 | 797.45 | 22.2925
|  | 72 | 682.49 | 20.4909
|  | 73 | 637.84 | 19.0138
|  | 74 | 589.48 | 16.5751
|  | 75 | 567.51 | 14.8839
|  | 76 | 556.99 | 13.8125
|  | 77 | 563.12 | 14.0187
|  | 78 | 620.66 | 13.7155
|  | 79 | 715.57 | 12.0799
|  | 80 | 850.73 | 14.2084
|  | 81 | 862.48 | 20.8433
|  | 82 | 837.36 | 25.7187
|  | 83 | 794.15 | 28.7046
|  | 84 | 794.29 | 25.9924
|  | 85 | 802.96 | 21.9654
|  | 86 | 841.83 | 21.2372
|  | 87 | 851.87 | 20.4041
|  | 88 | 858.51 | 17.3356
|  | 89 | 850.32 | 14.7055
|  | 90 | 940.9 | 13.7608
|  | 91 | 994.46 | 15.7986
|  | 92 | 1065.22 | 19.0017
|  | 93 | 1018.77 | 17.033
|  | 94 | 930.08 | 14.5278
|  | 95 | 804.25 | 10.4687
|  | 96 | 694.98 | 10.6933
|  | 97 | 644 | 15.8854
|  | 98 | 599.72 | 15.3119
|  | 99 | 575.67 | 16.0722
|  | 100 | 565.41 | 24.2772
|  | 101 | 573.55 | 25.2167
|  | 102 | 611.88 | 26.2196
|  | 103 | 682.93 | 29.2676
|  | 104 | 795.86 | 33.8136
|  | 105 | 844.71 | 38.4306
|  | 106 | 850.47 | 37.0131
|  | 107 | 856 | 38.089
|  | 108 | 870.33 | 34.828
|  | 109 | 875.47 | 27.1972
|  | 110 | 889.14 | 25.3986
|  | 111 | 885.74 | 22.3932
|  | 112 | 860.21 | 17.4906
|  | 113 | 876.92 | 14.0355
|  | 114 | 922.18 | 16.5774
|  | 115 | 985.39 | 20.0803
|  | 116 | 1045.75 | 23.7726
|  | 117 | 1022.94 | 23.1359
|  | 118 | 926.58 | 20.687
|  | 119 | 786.52 | 22.8292
|  | 120 | 687.39 | 19.6423
|  | 121 | 647.59 | 12.2154
|  | 122 | 599.91 | 14.7749
|  | 123 | 574.3 | 13.8785
|  | 124 | 567.19 | 11.4885
|  | 125 | 570.84 | 10.8199
|  | 126 | 600.73 | 11.0274
|  | 127 | 626.18 | 13.7072
|  | 128 | 705.88 | 14.7259
|  | 129 | 774.76 | 23.1195
|  | 130 | 782.36 | 30.7939
|  | 131 | 826.7 | 31.4972
|  | 132 | 834.12 | 28.6617
|  | 133 | 833.57 | 21.708
|  | 134 | 811.22 | 18.3346
|  | 135 | 794.96 | 17.0513
|  | 136 | 790.55 | 18.4658
|  | 137 | 790.62 | 15.2412
|  | 138 | 866.83 | 16.6217
|  | 139 | 947.76 | 19.529
|  | 140 | 1021.03 | 22.6484
|  | 141 | 992.78 | 22.1377
|  | 142 | 925.43 | 20.923
|  | 143 | 794.76 | 19.2374
|  | 144 | 681.27 | 18.7433
|  | 145 | 622.33 | 12.3318
|  | 146 | 580.34 | 12.2934
|  | 147 | 552.19 | 13.1582
|  | 148 | 542.85 | 13.2842
|  | 149 | 546.66 | 11.6406
|  | 150 | 599.06 | 12.8209
|  | 151 | 711.06 | 15.8161
|  | 152 | 867.2 | 14.0682
|  | 153 | 881.04 | 14.8268
|  | 154 | 847.74 | 21.2817
|  | 155 | 804.76 | 19.2947
|  | 156 | 804.25 | 24.5904
|  | 157 | 800.82 | 20.5346
|  | 158 | 832.22 | 19.3671
|  | 159 | 835.11 | 19.8172
|  | 160 | 838.12 | 17.5443
|  | 161 | 851.5 | 13.7208
|  | 162 | 939.32 | 17.8284
|  | 163 | 996.66 | 23.4242
|  | 164 | 1060.12 | 21.2908
|  | 165 | 1019.62 | 16.5588
|  | 166 | 929.55 | 19.397
|  | 167 | 817.67 | 18.9985
|  | 168 | 704.66 | 13.4018
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 22/09/2025 | 23/09/2025 | 24/09/2025 | 25/09/2025 | 26/09/2025 | 27/09/2025 | 28/09/2025
Min (MW) | 8.8913 | 12.8855 | 10.742 | 10.4687 | 14.0355 | 10.8199 | 11.6406
Max (MW) | 33.3087 | 32.5762 | 41.6519 | 28.7046 | 38.4306 | 31.4972 | 24.5904
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible