## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-09-30
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 18239.64 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 29/09/2025 | 30/09/2025 | 01/10/2025 | 02/10/2025 | 03/10/2025 | 04/10/2025 | 05/10/2025
Min (MW) | 465 | 448 | 475 | 471 | 480 | 479 | 465
Max (MW) | 940 | 970 | 896 | 1003 | 990 | 921 | 908
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-09-28
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 326.2999 | -264.217 | 590.5169
|  | 2 | 242.3971 | -310.252 | 552.6491
|  | 3 | 218.3474 | -313.784 | 532.1314
|  | 4 | 193.4971 | -328.83 | 522.3271
|  | 5 | 191.7692 | -337.101 | 528.8702
|  | 6 | 228.2956 | -325.636 | 553.9316
|  | 7 | 306.6145 | -307.957 | 614.5715
|  | 8 | 267.7877 | -445.54 | 713.3277
|  | 9 | 366.3423 | -420.756 | 787.0983
|  | 10 | 416.9009 | -386.592 | 803.4929
|  | 11 | 451.794 | -344 | 795.794
|  | 12 | 514.992 | -302.136 | 817.128
|  | 13 | 544.9583 | -291.094 | 836.0523
|  | 14 | 535.3944 | -312.171 | 847.5654
|  | 15 | 510.0637 | -307.844 | 817.9077
|  | 16 | 452.7952 | -357.71 | 810.5052
|  | 17 | 417.268 | -428.037 | 845.305
|  | 18 | 760.2972 | -131.035 | 891.3322
|  | 19 | 852.3336 | -107.219 | 959.5526
|  | 20 | 929.5254 | -70.998 | 1000.5234
|  | 21 | 882.0256 | -60.428 | 942.4536
|  | 22 | 729.6978 | -118.285 | 847.9828
|  | 23 | 582.0261 | -158.778 | 740.8041
|  | 24 | 477.232 | -167.072 | 644.304
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-09-30
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 349.1
|  |  | 01:00 - 02:00 | 261.99
|  |  | 02:00 - 03:00 | 231.46
|  |  | 03:00 - 04:00 | 227.41
|  |  | 04:00 - 05:00 | 228.48
|  |  | 05:00 - 06:00 | 290.51
|  |  | 06:00 - 07:00 | 586.13
|  |  | 07:00 - 08:00 | 493.92
|  |  | 08:00 - 09:00 | 578.04
|  |  | 09:00 - 10:00 | 503.22
|  |  | 10:00 - 11:00 | 454.31
|  |  | 11:00 - 12:00 | 456.1
|  |  | 12:00 - 13:00 | 469.12
|  |  | 13:00 - 14:00 | 456.92
|  |  | 14:00 - 15:00 | 433.93
|  |  | 15:00 - 16:00 | 404.86
|  |  | 16:00 - 17:00 | 445.89
|  |  | 17:00 - 18:00 | 876.59
|  |  | 18:00 - 19:00 | 1095.33
|  |  | 19:00 - 20:00 | 1151.1
|  |  | 20:00 - 21:00 | 1123.71
|  |  | 21:00 - 22:00 | 904.51
|  |  | 22:00 - 23:00 | 598.36
|  |  | 23:00 - 00:00 | 470.62
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 70.1691 | 69.6203 | 69.7398 | 0 | 0 | 94.4914 | 0
2 | 0 | 70.1767 | 40.0062 | 69.7417 | 0 | 0 | 89.5612 | 0
3 | 0 | 70.1658 | 0 | 69.7486 | 0 | 0 | 90.7289 | 0
4 | 0 | 70.1828 | 0 | 69.7452 | 0 | 0 | 92.5726 | 0
5 | 0 | 70.1904 | 0 | 69.7478 | 0 | 0 | 107.9343 | 0
6 | 0 | 70.1909 | 0 | 69.7601 | 0 | 0 | 107.6753 | 0
7 | 0 | 70.1826 | 0 | 69.7774 | 0 | 0 | 122.5623 | 0
8 | 0 | 70.1329 | 0 | 0.57977 | 0 | 0 | 127.1231 | 0
9 | 0 | 70.1452 | 0 | 0 | 0 | 0 | 129.7754 | 0
10 | 0 | 70.1618 | 0 | 0 | 0 | 0 | 96.4422 | 0
11 | 0 | 25.063 | 0 | 0 | 0 | 0 | 70.8809 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 20.2572 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 95.679 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 107.3875 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 95.3078 | 0
17 | 0 | 4.2959 | 3.2527 | 3.0803 | 0 | 0 | 97.1419 | 0
18 | 0 | 70.0866 | 69.658 | 69.6674 | 0.89591 | 0 | 110.0441 | 15.4317
19 | 0 | 70.0941 | 69.6648 | 69.6695 | 142.1556 | 105.7678 | 129.1779 | 133.9051
20 | 0 | 70.0693 | 74.8227 | 74.7004 | 143.5344 | 139.4413 | 142.0343 | 143.5415
21 | 0 | 70.0826 | 69.4418 | 69.6726 | 131.6786 | 124.4932 | 136.8632 | 107.2985
22 | 0 | 70.0667 | 69.4583 | 69.6355 | 118.9148 | 134.4309 | 133.9931 | 98.1134
23 | 0 | 70.0693 | 69.5248 | 69.6473 | 0.86291 | 130.1011 | 1.2294 | 0.90655
24 | 0 | 0.2382 | 69.5591 | 69.6253 | 0 | 141.3179 | 0 | 0
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 1151.7641 | 605.0086 | 984.5388 | 538.0423 | 775.5522 | 2198.8629 | 499.1967
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 2267 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 319.2 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 75 | 70 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 70 | 75 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 619.12 | 20.5649
|  | 2 | 571.06 | 22.4106
|  | 3 | 552.07 | 24.9481
|  | 4 | 543.01 | 25.2701
|  | 5 | 555.11 | 20.6598
|  | 6 | 606.56 | 19.3247
|  | 7 | 730.16 | 16.6303
|  | 8 | 851.42 | 13.9166
|  | 9 | 872.47 | 16.7775
|  | 10 | 852.3 | 24.4721
|  | 11 | 820.69 | 24.5696
|  | 12 | 833.31 | 24.5812
|  | 13 | 832.74 | 26.7455
|  | 14 | 846.76 | 25.6215
|  | 15 | 854.16 | 24.4103
|  | 16 | 848.96 | 20.895
|  | 17 | 861.57 | 15.381
|  | 18 | 933.14 | 20.1014
|  | 19 | 980.09 | 24.7983
|  | 20 | 1067.56 | 23.8517
|  | 21 | 1017.88 | 20.2035
|  | 22 | 921.95 | 21.1242
|  | 23 | 805.93 | 17.7
|  | 24 | 699.36 | 15.3891
|  | 25 | 618.73 | 15.6647
|  | 26 | 577.46 | 17.6406
|  | 27 | 555.83 | 17.9842
|  | 28 | 547.15 | 17.1491
|  | 29 | 549.76 | 15.5213
|  | 30 | 601.82 | 22.2169
|  | 31 | 711.09 | 25.0596
|  | 32 | 851.89 | 14.9915
|  | 33 | 876.37 | 16.017
|  | 34 | 846.96 | 23.9665
|  | 35 | 832.29 | 28.5225
|  | 36 | 831.47 | 33.0428
|  | 37 | 829.9 | 31.7848
|  | 38 | 831.64 | 25.1303
|  | 39 | 842.7 | 22.4988
|  | 40 | 837.69 | 17.9667
|  | 41 | 860.19 | 13.2046
|  | 42 | 936.2 | 17.4633
|  | 43 | 1010.14 | 27.9204
|  | 44 | 1087.31 | 33.3542
|  | 45 | 1034.94 | 33.7926
|  | 46 | 932.05 | 32.6319
|  | 47 | 822.86 | 28.5868
|  | 48 | 715.21 | 21.0233
|  | 49 | 629.13 | 13.7919
|  | 50 | 579.76 | 13.5901
|  | 51 | 555.25 | 13.0783
|  | 52 | 550.35 | 12.6938
|  | 53 | 564 | 13.2866
|  | 54 | 610.51 | 17.2184
|  | 55 | 714.29 | 20.5879
|  | 56 | 856.39 | 13.6715
|  | 57 | 894.35 | 20.6905
|  | 58 | 898.49 | 28.3578
|  | 59 | 804.24 | 33.6747
|  | 60 | 818.82 | 33.2055
|  | 61 | 811.43 | 38.2621
|  | 62 | 875.29 | 38.2584
|  | 63 | 860.83 | 31.8196
|  | 64 | 891.5 | 23.3002
|  | 65 | 890.58 | 14.5905
|  | 66 | 951.4 | 22.6274
|  | 67 | 1002.79 | 31.9151
|  | 68 | 1038.27 | 32.0679
|  | 69 | 1015.28 | 29.7167
|  | 70 | 916.65 | 26.7013
|  | 71 | 790.72 | 23.8551
|  | 72 | 685.37 | 19.2736
|  | 73 | 623.6 | 11.4326
|  | 74 | 580.09 | 11.0408
|  | 75 | 558.04 | 10.5938
|  | 76 | 545.87 | 11.1241
|  | 77 | 545.78 | 11.1025
|  | 78 | 582.17 | 10.6797
|  | 79 | 688.21 | 13.0639
|  | 80 | 812.96 | 15.5247
|  | 81 | 851.22 | 24.7706
|  | 82 | 844.24 | 33.1958
|  | 83 | 848.17 | 35.4132
|  | 84 | 876.29 | 38.1078
|  | 85 | 923.09 | 39.5378
|  | 86 | 955.11 | 40.2705
|  | 87 | 940.87 | 37.2265
|  | 88 | 903.17 | 27.1913
|  | 89 | 912.71 | 15.3186
|  | 90 | 955.54 | 19.9493
|  | 91 | 992.71 | 29.2972
|  | 92 | 1010.59 | 25.2389
|  | 93 | 954.06 | 27.8206
|  | 94 | 863.63 | 26.3924
|  | 95 | 738.89 | 21.4878
|  | 96 | 631.81 | 17.8842
|  | 97 | 616.08 | 10.4805
|  | 98 | 572.37 | 10.1283
|  | 99 | 549.36 | 10.2261
|  | 100 | 540.18 | 9.8642
|  | 101 | 544.36 | 9.9458
|  | 102 | 598.72 | 10.1504
|  | 103 | 673.17 | 12.1618
|  | 104 | 814.63 | 20.4251
|  | 105 | 864.94 | 25.5432
|  | 106 | 888.2 | 25.2387
|  | 107 | 894.78 | 21.4377
|  | 108 | 927.05 | 19.2224
|  | 109 | 917.91 | 15.9705
|  | 110 | 891.41 | 15.239
|  | 111 | 877.65 | 14.9541
|  | 112 | 865.61 | 13.4616
|  | 113 | 843 | 13.8661
|  | 114 | 902.22 | 14.7799
|  | 115 | 958.34 | 19.1153
|  | 116 | 998.7 | 22.0995
|  | 117 | 947.67 | 20.2131
|  | 118 | 849.11 | 18.3849
|  | 119 | 728.45 | 15.2139
|  | 120 | 636.06 | 12.2841
|  | 121 | 612.45 | 17.399
|  | 122 | 566.98 | 18.587
|  | 123 | 539.46 | 13.8377
|  | 124 | 523.48 | 14.8329
|  | 125 | 519.87 | 15.2503
|  | 126 | 547.51 | 17.4561
|  | 127 | 607.53 | 19.4776
|  | 128 | 688.48 | 30.6721
|  | 129 | 761.45 | 34.2839
|  | 130 | 790.33 | 38.6909
|  | 131 | 786.12 | 34.7144
|  | 132 | 857.29 | 31.3507
|  | 133 | 889.81 | 24.7608
|  | 134 | 883.87 | 22.8167
|  | 135 | 847.87 | 21.8888
|  | 136 | 818.21 | 19.1899
|  | 137 | 810.78 | 21.0671
|  | 138 | 859.4 | 18.663
|  | 139 | 958.03 | 18.4583
|  | 140 | 1024.84 | 22.0824
|  | 141 | 987.07 | 22.9304
|  | 142 | 883.53 | 18.2354
|  | 143 | 756.49 | 14.6569
|  | 144 | 649.64 | 13.1387
|  | 145 | 605.32 | 12.7782
|  | 146 | 556.32 | 11.755
|  | 147 | 533.16 | 11.8722
|  | 148 | 520.15 | 12.7299
|  | 149 | 519.88 | 13.1925
|  | 150 | 563.47 | 13.3833
|  | 151 | 695.89 | 15.319
|  | 152 | 808.33 | 25.1978
|  | 153 | 863.59 | 36.9693
|  | 154 | 875.21 | 40.0852
|  | 155 | 871.4 | 42.0117
|  | 156 | 847.02 | 42.833
|  | 157 | 837.37 | 37.4637
|  | 158 | 854.97 | 30.3176
|  | 159 | 864.13 | 24.6466
|  | 160 | 857.39 | 29.601
|  | 161 | 865.23 | 18.7705
|  | 162 | 922.55 | 15.7899
|  | 163 | 977.4 | 16.553
|  | 164 | 1049.92 | 15.6891
|  | 165 | 1014.33 | 14.4792
|  | 166 | 921.32 | 16.8635
|  | 167 | 809.49 | 15.4306
|  | 168 | 691.78 | 13.4281
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 29/09/2025 | 30/09/2025 | 01/10/2025 | 02/10/2025 | 03/10/2025 | 04/10/2025 | 05/10/2025
Min (MW) | 13.9166 | 13.2046 | 12.6938 | 10.5938 | 9.8642 | 13.1387 | 11.755
Max (MW) | 26.7455 | 33.7926 | 38.2621 | 40.2705 | 25.5432 | 38.6909 | 42.833
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-09-30
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 18239.64 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Data | 29/09/2025 | 30/09/2025 | 01/10/2025 | 02/10/2025 | 03/10/2025 | 04/10/2025 | 05/10/2025
Min (MW) | 465 | 448 | 475 | 471 | 480 | 479 | 465
Max (MW) | 940 | 970 | 896 | 1003 | 990 | 921 | 908
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-09-28
|  | Hour | Production | Exchange | Consumption
|  | 1 | 326.2999 | -264.217 | 590.5169
|  | 2 | 242.3971 | -310.252 | 552.6491
|  | 3 | 218.3474 | -313.784 | 532.1314
|  | 4 | 193.4971 | -328.83 | 522.3271
|  | 5 | 191.7692 | -337.101 | 528.8702
|  | 6 | 228.2956 | -325.636 | 553.9316
|  | 7 | 306.6145 | -307.957 | 614.5715
|  | 8 | 267.7877 | -445.54 | 713.3277
|  | 9 | 366.3423 | -420.756 | 787.0983
|  | 10 | 416.9009 | -386.592 | 803.4929
|  | 11 | 451.794 | -344 | 795.794
|  | 12 | 514.992 | -302.136 | 817.128
|  | 13 | 544.9583 | -291.094 | 836.0523
|  | 14 | 535.3944 | -312.171 | 847.5654
|  | 15 | 510.0637 | -307.844 | 817.9077
|  | 16 | 452.7952 | -357.71 | 810.5052
|  | 17 | 417.268 | -428.037 | 845.305
|  | 18 | 760.2972 | -131.035 | 891.3322
|  | 19 | 852.3336 | -107.219 | 959.5526
|  | 20 | 929.5254 | -70.998 | 1000.5234
|  | 21 | 882.0256 | -60.428 | 942.4536
|  | 22 | 729.6978 | -118.285 | 847.9828
|  | 23 | 582.0261 | -158.778 | 740.8041
|  | 24 | 477.232 | -167.072 | 644.304
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 18.2533 | 0 | 82.565 | 11.1606 | 14.1201 | 143.8218
2 | 0.2037 | 0 | 115.2194 | 57.9124 | 65.4958 | 16.4144
3 | 0.0045965 | 0 | 100.155 | 78.224 | 23.055 | 25.2952
4 | 0 | 0 | 99.0025 | 82.4173 | 10.6821 | 26.9686
5 | 0.0050803 | 0 | 99.0639 | 80.5368 | 11.1606 | 24.1855
6 | 9.1869 | 0 | 78.2923 | 60.2445 | 0.045696 | 120.8787
7 | 7.8092 | 0 | 98.7982 | 40.7684 | 24.5414 | 65.7674
8 | 42.7954 | 0 | 44.236 | 19.5762 | 0.83866 | 241.2155
9 | 32.8121 | 0 | 78.0812 | 1.6386 | 53.381 | 146.4577
10 | 35.9457 | 0 | 63.2981 | 0 | 15.671 | 177.2532
11 | 45.471 | 0 | 25.9452 | 0 | 11.4616 | 237.2803
12 | 35.8175 | 0 | 44.1288 | 0 | 21.6492 | 184.654
13 | 33.3339 | 0 | 21.6668 | 0 | 18.8751 | 165.5881
14 | 37.0387 | 0 | 16.3506 | 0 | 9.9967 | 204.9082
15 | 28.9871 | 0 | 50.6287 | 0 | 80.2771 | 124.6307
16 | 24.3444 | 0 | 81.8319 | 0 | 161.1107 | 54.0649
17 | 36.9978 | 0 | 45.0638 | 0 | 151.2081 | 142.2051
18 | 24.5048 | 0 | 55.3073 | 0 | 226.9075 | 52.1141
19 | 32.6396 | 0 | 39.8586 | 0 | 188.8347 | 134.5398
20 | 22.4925 | 0 | 44.1338 | 0 | 192.4339 | 103.3289
21 | 25.615 | 0 | 34.8529 | 0 | 149.8264 | 149.273
22 | 21.826 | 0 | 52.8115 | 0 | 49.2468 | 190.5478
23 | 9.2261 | 0 | 67.838 | 20.6858 | 61.8079 | 168.0796
24 | 0.097252 | 0 | 86.023 | 53.7804 | 76.7747 | 81.6619
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2025-09-30
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 349.1
|  |  | 01:00 - 02:00 | 261.99
|  |  | 02:00 - 03:00 | 231.46
|  |  | 03:00 - 04:00 | 227.41
|  |  | 04:00 - 05:00 | 228.48
|  |  | 05:00 - 06:00 | 290.51
|  |  | 06:00 - 07:00 | 586.13
|  |  | 07:00 - 08:00 | 493.92
|  |  | 08:00 - 09:00 | 578.04
|  |  | 09:00 - 10:00 | 503.22
|  |  | 10:00 - 11:00 | 454.31
|  |  | 11:00 - 12:00 | 456.1
|  |  | 12:00 - 13:00 | 469.12
|  |  | 13:00 - 14:00 | 456.92
|  |  | 14:00 - 15:00 | 433.93
|  |  | 15:00 - 16:00 | 404.86
|  |  | 16:00 - 17:00 | 445.89
|  |  | 17:00 - 18:00 | 876.59
|  |  | 18:00 - 19:00 | 1095.33
|  |  | 19:00 - 20:00 | 1151.1
|  |  | 20:00 - 21:00 | 1123.71
|  |  | 21:00 - 22:00 | 904.51
|  |  | 22:00 - 23:00 | 598.36
|  |  | 23:00 - 00:00 | 470.62
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 70.1691 | 69.6203 | 69.7398 | 0 | 0 | 94.4914 | 0
2 | 0 | 70.1767 | 40.0062 | 69.7417 | 0 | 0 | 89.5612 | 0
3 | 0 | 70.1658 | 0 | 69.7486 | 0 | 0 | 90.7289 | 0
4 | 0 | 70.1828 | 0 | 69.7452 | 0 | 0 | 92.5726 | 0
5 | 0 | 70.1904 | 0 | 69.7478 | 0 | 0 | 107.9343 | 0
6 | 0 | 70.1909 | 0 | 69.7601 | 0 | 0 | 107.6753 | 0
7 | 0 | 70.1826 | 0 | 69.7774 | 0 | 0 | 122.5623 | 0
8 | 0 | 70.1329 | 0 | 0.57977 | 0 | 0 | 127.1231 | 0
9 | 0 | 70.1452 | 0 | 0 | 0 | 0 | 129.7754 | 0
10 | 0 | 70.1618 | 0 | 0 | 0 | 0 | 96.4422 | 0
11 | 0 | 25.063 | 0 | 0 | 0 | 0 | 70.8809 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 20.2572 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 95.679 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 107.3875 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 95.3078 | 0
17 | 0 | 4.2959 | 3.2527 | 3.0803 | 0 | 0 | 97.1419 | 0
18 | 0 | 70.0866 | 69.658 | 69.6674 | 0.89591 | 0 | 110.0441 | 15.4317
19 | 0 | 70.0941 | 69.6648 | 69.6695 | 142.1556 | 105.7678 | 129.1779 | 133.9051
20 | 0 | 70.0693 | 74.8227 | 74.7004 | 143.5344 | 139.4413 | 142.0343 | 143.5415
21 | 0 | 70.0826 | 69.4418 | 69.6726 | 131.6786 | 124.4932 | 136.8632 | 107.2985
22 | 0 | 70.0667 | 69.4583 | 69.6355 | 118.9148 | 134.4309 | 133.9931 | 98.1134
23 | 0 | 70.0693 | 69.5248 | 69.6473 | 0.86291 | 130.1011 | 1.2294 | 0.90655
24 | 0 | 0.2382 | 69.5591 | 69.6253 | 0 | 141.3179 | 0 | 0
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 1081.5949 | 535.3883 | 914.799 | 538.0423 | 775.5522 | 2104.3715 | 499.1967
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 2267 MWh
Art. 5.12 | Energy reserve | [5 empty] | 319.2 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 75 | 70 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 70 | 75 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 619.12 | 20.5649
|  | 2 | 571.06 | 22.4106
|  | 3 | 552.07 | 24.9481
|  | 4 | 543.01 | 25.2701
|  | 5 | 555.11 | 20.6598
|  | 6 | 606.56 | 19.3247
|  | 7 | 730.16 | 16.6303
|  | 8 | 851.42 | 13.9166
|  | 9 | 872.47 | 16.7775
|  | 10 | 852.3 | 24.4721
|  | 11 | 820.69 | 24.5696
|  | 12 | 833.31 | 24.5812
|  | 13 | 832.74 | 26.7455
|  | 14 | 846.76 | 25.6215
|  | 15 | 854.16 | 24.4103
|  | 16 | 848.96 | 20.895
|  | 17 | 861.57 | 15.381
|  | 18 | 933.14 | 20.1014
|  | 19 | 980.09 | 24.7983
|  | 20 | 1067.56 | 23.8517
|  | 21 | 1017.88 | 20.2035
|  | 22 | 921.95 | 21.1242
|  | 23 | 805.93 | 17.7
|  | 24 | 699.36 | 15.3891
|  | 25 | 618.73 | 15.6647
|  | 26 | 577.46 | 17.6406
|  | 27 | 555.83 | 17.9842
|  | 28 | 547.15 | 17.1491
|  | 29 | 549.76 | 15.5213
|  | 30 | 601.82 | 22.2169
|  | 31 | 711.09 | 25.0596
|  | 32 | 851.89 | 14.9915
|  | 33 | 876.37 | 16.017
|  | 34 | 846.96 | 23.9665
|  | 35 | 832.29 | 28.5225
|  | 36 | 831.47 | 33.0428
|  | 37 | 829.9 | 31.7848
|  | 38 | 831.64 | 25.1303
|  | 39 | 842.7 | 22.4988
|  | 40 | 837.69 | 17.9667
|  | 41 | 860.19 | 13.2046
|  | 42 | 936.2 | 17.4633
|  | 43 | 1010.14 | 27.9204
|  | 44 | 1087.31 | 33.3542
|  | 45 | 1034.94 | 33.7926
|  | 46 | 932.05 | 32.6319
|  | 47 | 822.86 | 28.5868
|  | 48 | 715.21 | 21.0233
|  | 49 | 629.13 | 13.7919
|  | 50 | 579.76 | 13.5901
|  | 51 | 555.25 | 13.0783
|  | 52 | 550.35 | 12.6938
|  | 53 | 564 | 13.2866
|  | 54 | 610.51 | 17.2184
|  | 55 | 714.29 | 20.5879
|  | 56 | 856.39 | 13.6715
|  | 57 | 894.35 | 20.6905
|  | 58 | 898.49 | 28.3578
|  | 59 | 804.24 | 33.6747
|  | 60 | 818.82 | 33.2055
|  | 61 | 811.43 | 38.2621
|  | 62 | 875.29 | 38.2584
|  | 63 | 860.83 | 31.8196
|  | 64 | 891.5 | 23.3002
|  | 65 | 890.58 | 14.5905
|  | 66 | 951.4 | 22.6274
|  | 67 | 1002.79 | 31.9151
|  | 68 | 1038.27 | 32.0679
|  | 69 | 1015.28 | 29.7167
|  | 70 | 916.65 | 26.7013
|  | 71 | 790.72 | 23.8551
|  | 72 | 685.37 | 19.2736
|  | 73 | 623.6 | 11.4326
|  | 74 | 580.09 | 11.0408
|  | 75 | 558.04 | 10.5938
|  | 76 | 545.87 | 11.1241
|  | 77 | 545.78 | 11.1025
|  | 78 | 582.17 | 10.6797
|  | 79 | 688.21 | 13.0639
|  | 80 | 812.96 | 15.5247
|  | 81 | 851.22 | 24.7706
|  | 82 | 844.24 | 33.1958
|  | 83 | 848.17 | 35.4132
|  | 84 | 876.29 | 38.1078
|  | 85 | 923.09 | 39.5378
|  | 86 | 955.11 | 40.2705
|  | 87 | 940.87 | 37.2265
|  | 88 | 903.17 | 27.1913
|  | 89 | 912.71 | 15.3186
|  | 90 | 955.54 | 19.9493
|  | 91 | 992.71 | 29.2972
|  | 92 | 1010.59 | 25.2389
|  | 93 | 954.06 | 27.8206
|  | 94 | 863.63 | 26.3924
|  | 95 | 738.89 | 21.4878
|  | 96 | 631.81 | 17.8842
|  | 97 | 616.08 | 10.4805
|  | 98 | 572.37 | 10.1283
|  | 99 | 549.36 | 10.2261
|  | 100 | 540.18 | 9.8642
|  | 101 | 544.36 | 9.9458
|  | 102 | 598.72 | 10.1504
|  | 103 | 673.17 | 12.1618
|  | 104 | 814.63 | 20.4251
|  | 105 | 864.94 | 25.5432
|  | 106 | 888.2 | 25.2387
|  | 107 | 894.78 | 21.4377
|  | 108 | 927.05 | 19.2224
|  | 109 | 917.91 | 15.9705
|  | 110 | 891.41 | 15.239
|  | 111 | 877.65 | 14.9541
|  | 112 | 865.61 | 13.4616
|  | 113 | 843 | 13.8661
|  | 114 | 902.22 | 14.7799
|  | 115 | 958.34 | 19.1153
|  | 116 | 998.7 | 22.0995
|  | 117 | 947.67 | 20.2131
|  | 118 | 849.11 | 18.3849
|  | 119 | 728.45 | 15.2139
|  | 120 | 636.06 | 12.2841
|  | 121 | 612.45 | 17.399
|  | 122 | 566.98 | 18.587
|  | 123 | 539.46 | 13.8377
|  | 124 | 523.48 | 14.8329
|  | 125 | 519.87 | 15.2503
|  | 126 | 547.51 | 17.4561
|  | 127 | 607.53 | 19.4776
|  | 128 | 688.48 | 30.6721
|  | 129 | 761.45 | 34.2839
|  | 130 | 790.33 | 38.6909
|  | 131 | 786.12 | 34.7144
|  | 132 | 857.29 | 31.3507
|  | 133 | 889.81 | 24.7608
|  | 134 | 883.87 | 22.8167
|  | 135 | 847.87 | 21.8888
|  | 136 | 818.21 | 19.1899
|  | 137 | 810.78 | 21.0671
|  | 138 | 859.4 | 18.663
|  | 139 | 958.03 | 18.4583
|  | 140 | 1024.84 | 22.0824
|  | 141 | 987.07 | 22.9304
|  | 142 | 883.53 | 18.2354
|  | 143 | 756.49 | 14.6569
|  | 144 | 649.64 | 13.1387
|  | 145 | 605.32 | 12.7782
|  | 146 | 556.32 | 11.755
|  | 147 | 533.16 | 11.8722
|  | 148 | 520.15 | 12.7299
|  | 149 | 519.88 | 13.1925
|  | 150 | 563.47 | 13.3833
|  | 151 | 695.89 | 15.319
|  | 152 | 808.33 | 25.1978
|  | 153 | 863.59 | 36.9693
|  | 154 | 875.21 | 40.0852
|  | 155 | 871.4 | 42.0117
|  | 156 | 847.02 | 42.833
|  | 157 | 837.37 | 37.4637
|  | 158 | 854.97 | 30.3176
|  | 159 | 864.13 | 24.6466
|  | 160 | 857.39 | 29.601
|  | 161 | 865.23 | 18.7705
|  | 162 | 922.55 | 15.7899
|  | 163 | 977.4 | 16.553
|  | 164 | 1049.92 | 15.6891
|  | 165 | 1014.33 | 14.4792
|  | 166 | 921.32 | 16.8635
|  | 167 | 809.49 | 15.4306
|  | 168 | 691.78 | 13.4281
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 29/09/2025 | 30/09/2025 | 01/10/2025 | 02/10/2025 | 03/10/2025 | 04/10/2025 | 05/10/2025
Min (MW) | 13.9166 | 13.2046 | 12.6938 | 10.5938 | 9.8642 | 13.1387 | 11.755
Max (MW) | 26.7455 | 33.7926 | 38.2621 | 40.2705 | 25.5432 | 38.6909 | 42.833
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible