## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-10-17
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 21332.84 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 13/10/2025 | 14/10/2025 | 15/10/2025 | 16/10/2025 | 17/10/2025 | 18/10/2025 | 19/10/2025
Min (MW) | 467 | 460 | 470 | 478 | 475 | 482 | 482
Max (MW) | 961 | 949 | 980 | 978 | 954 | 974 | 976
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-10-15
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 278.3528 | -335.0147 | 613.3675
|  | 2 | 154.5433 | -403.6335 | 558.1768
|  | 3 | 134.2455 | -401.2697 | 535.5152
|  | 4 | 132.2858 | -398.8814 | 531.1672
|  | 5 | 135.6713 | -403.3966 | 539.0679
|  | 6 | 219.8183 | -377.3435 | 597.1618
|  | 7 | 427.359 | -329.4836 | 756.8426
|  | 8 | 582.5075 | -370.7224 | 953.2299
|  | 9 | 657.4541 | -336.8232 | 994.2773
|  | 10 | 737.1109 | -175.1686 | 912.2795
|  | 11 | 665.5793 | -179.0813 | 844.6606
|  | 12 | 594.2238 | -206.39 | 800.6137
|  | 13 | 500.8625 | -282.9035 | 783.766
|  | 14 | 517.5567 | -280.4351 | 797.9918
|  | 15 | 507.3488 | -302.7878 | 810.1367
|  | 16 | 515.7254 | -322.0615 | 837.787
|  | 17 | 512.2271 | -362.2175 | 874.4446
|  | 18 | 1059.4724 | 99.8772 | 959.5952
|  | 19 | 1210.5265 | 105.2788 | 1105.2478
|  | 20 | 1231.5064 | 87.5725 | 1143.9339
|  | 21 | 1201.1759 | 97.9889 | 1103.187
|  | 22 | 1069.3687 | 59.3664 | 1010.0023
|  | 23 | 803.9687 | -63.3347 | 867.3034
|  | 24 | 647.3563 | -73.0343 | 720.3907
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -27.1473 | 59.7957 | -46.5838 | -18.5472 | -114.2991 | -251.4665
2 | -30.0286 | 24.7186 | -36.3285 | -36.9686 | -73.0706 | -278.6776
3 | -28.0262 | 11.1143 | -34.0006 | -52.0709 | -48.212 | -279.4595
4 | -29.0664 | 7.5696 | -24.1608 | -52.8095 | -26.5924 | -298.128
5 | -30.7674 | 9.0755 | -22.2956 | -49.6871 | -21.3078 | -312.6148
6 | -18.4745 | 24.1573 | -62.2585 | -33.7204 | -145.1816 | -186.2307
7 | -9.2892 | 59.7766 | -100.8263 | 8.9027 | -298.5454 | -56.5577
8 | -17.1144 | 84.7244 | -116.0883 | 26.2274 | -284.0033 | -123.0115
9 | -29.6158 | 103.5112 | -58.6773 | 43.2424 | -205.3363 | -238.1293
10 | -40.8816 | 98.3926 | 29.1439 | -5.877 | -6.3007 | -410.3402
11 | -43.7522 | 96.5852 | 61.7972 | -31.498 | 48.9135 | -451.5814
12 | -46.9083 | 84.7904 | 65.129 | -47.5389 | 60.9719 | -468.2862
13 | -41.954 | 85.6469 | 41.5898 | -36.5396 | 29.5062 | -415.3618
14 | -45.9203 | 78.7741 | 53.783 | -52.9095 | 54.6874 | -456.634
15 | -48.2055 | 80.0742 | 47.9456 | -47.0228 | 20.8616 | -441.6337
16 | -45.9558 | 93.2847 | 26.9933 | -14.9797 | -5.7577 | -435.9385
17 | -34.6838 | 111.425 | -48.5356 | 29.6465 | -198.8744 | -245.2062
18 | -16.7196 | 194.987 | -32.5938 | 173.1502 | -203.4278 | -51.6044
19 | -25.1495 | 194.943 | -1.8227 | 155.5062 | -133.1313 | -173.0831
20 | -25.9658 | 185.4134 | 8.49 | 135.9752 | -124.9329 | -201.8903
21 | -22.1787 | 172.4626 | 11.1036 | 121.2051 | -145.6708 | -151.1245
22 | -28.24 | 155.9168 | 25.3814 | 98.9259 | -131.1045 | -158.8892
23 | -36.1375 | 135.9201 | 37.382 | 66.8312 | -87.5777 | -255.8997
24 | -40.1311 | 105.7572 | 50.1401 | 16.7763 | -10.5208 | -308.3145
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-10-17
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 120.62
|  |  | 01:00 - 02:00 | 128.18
|  |  | 02:00 - 03:00 | 110.21
|  |  | 03:00 - 04:00 | 112.97
|  |  | 04:00 - 05:00 | 101.5
|  |  | 05:00 - 06:00 | 79.57
|  |  | 06:00 - 07:00 | 216.81
|  |  | 07:00 - 08:00 | 378.15
|  |  | 08:00 - 09:00 | 440.1
|  |  | 09:00 - 10:00 | 431.04
|  |  | 10:00 - 11:00 | 419.99
|  |  | 11:00 - 12:00 | 436.8
|  |  | 12:00 - 13:00 | 433.5
|  |  | 13:00 - 14:00 | 451.77
|  |  | 14:00 - 15:00 | 436.48
|  |  | 15:00 - 16:00 | 356.42
|  |  | 16:00 - 17:00 | 340.91
|  |  | 17:00 - 18:00 | 946.79
|  |  | 18:00 - 19:00 | 1054.73
|  |  | 19:00 - 20:00 | 1115.9
|  |  | 20:00 - 21:00 | 1022.11
|  |  | 21:00 - 22:00 | 910.79
|  |  | 22:00 - 23:00 | 661.21
|  |  | 23:00 - 00:00 | 502.51
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 65.0761 | 0.43359 | 44.6739 | 1.3025 | 1.4679 | 0.95836 | 0
2 | 0 | 0.5353 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 3.5704 | 0 | 0 | 0 | 0
6 | 0 | 0.42838 | 0 | 63.5712 | 0 | 0 | 0 | 1.0971
7 | 0 | 63.574 | 0 | 63.5904 | 0 | 0 | 0 | 96.2995
8 | 0 | 65.0378 | 0 | 63.5979 | 0 | 0 | 83.4992 | 115.6005
9 | 0 | 65.0418 | 0 | 63.6249 | 0 | 0 | 143.2658 | 125.6432
10 | 0 | 65.029 | 0.9308 | 63.6124 | 0 | 0 | 131.1957 | 137.1981
11 | 0 | 65.0151 | 64.5297 | 63.6043 | 0 | 0 | 45.3104 | 125.4917
12 | 0 | 65.0158 | 64.6312 | 63.6292 | 0 | 0 | 0 | 143.5543
13 | 0 | 65.0125 | 64.6522 | 61.6429 | 0 | 0 | 0 | 143.566
14 | 0 | 65.0312 | 64.6472 | 64.6281 | 0 | 0 | 0 | 33.1717
15 | 0 | 65.0489 | 64.6678 | 64.6146 | 0 | 0 | 87.5995 | 0
16 | 0 | 65.0061 | 64.6428 | 64.6252 | 0 | 0 | 89.6443 | 0
17 | 0 | 65.0477 | 64.6574 | 64.6342 | 1.3799 | 1.5534 | 134.7893 | 1.3291
18 | 0 | 65.0418 | 64.6328 | 64.6595 | 142.0669 | 141.3732 | 142.0176 | 130.8004
19 | 0 | 65.0262 | 64.6832 | 64.6278 | 143.5461 | 142.5097 | 141.5148 | 139.5069
20 | 0 | 70.0218 | 69.5546 | 69.5373 | 141.5854 | 132.7725 | 139.1056 | 115.1346
21 | 0 | 70.0764 | 69.6774 | 69.6629 | 143.5199 | 100.6812 | 141.8789 | 108.4417
22 | 0 | 65.0028 | 64.6456 | 64.6319 | 121.9024 | 116.4943 | 141.5663 | 111.9711
23 | 0 | 65.0084 | 64.6163 | 64.5786 | 140.4216 | 116.6937 | 1.206 | 112.8106
24 | 0 | 70.0762 | 69.6109 | 69.6021 | 0.90655 | 0.53187 | 0 | 121.5954
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 1250.1531 | 921.2134 | 1280.9199 | 836.6313 | 754.0777 | 1423.5516 | 1763.212
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 543 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 268.1 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | mFRR- | RR+ | RR- | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 656.11 | 13.7663
|  | 2 | 589.7 | 11.7251
|  | 3 | 536.55 | 13.1122
|  | 4 | 536.42 | 12.4756
|  | 5 | 543.45 | 12.3161
|  | 6 | 585.5 | 10.5028
|  | 7 | 714.94 | 13.8209
|  | 8 | 858.47 | 17.9335
|  | 9 | 912.45 | 17.4553
|  | 10 | 906.39 | 18.9288
|  | 11 | 943.01 | 21.4506
|  | 12 | 936.32 | 24.787
|  | 13 | 937.27 | 24.8358
|  | 14 | 927.26 | 21.6924
|  | 15 | 915.44 | 19.2389
|  | 16 | 916.98 | 15.389
|  | 17 | 950.94 | 13.8773
|  | 18 | 1028.4 | 15.0985
|  | 19 | 1157.2 | 18.9122
|  | 20 | 1192.44 | 21.0194
|  | 21 | 1172.31 | 20.3035
|  | 22 | 1135.41 | 17.6323
|  | 23 | 990.31 | 15.8774
|  | 24 | 838.05 | 13.7269
|  | 25 | 684.45 | 13.7132
|  | 26 | 623.86 | 14.0405
|  | 27 | 596.14 | 16.5361
|  | 28 | 590.99 | 17.1689
|  | 29 | 612.3 | 18.1501
|  | 30 | 691.19 | 13.1948
|  | 31 | 866.36 | 14.8912
|  | 32 | 1010.65 | 18.2023
|  | 33 | 1019.84 | 18.0111
|  | 34 | 966.43 | 18.6681
|  | 35 | 962.13 | 20.0103
|  | 36 | 886.65 | 20.9607
|  | 37 | 895.25 | 20.0484
|  | 38 | 913.02 | 18.6823
|  | 39 | 906.28 | 18.8609
|  | 40 | 844.97 | 18.3756
|  | 41 | 921.29 | 16.3111
|  | 42 | 1027.96 | 17.7882
|  | 43 | 1167 | 20.5841
|  | 44 | 1231.01 | 21.6558
|  | 45 | 1181.21 | 21.5462
|  | 46 | 1081.3 | 22.5358
|  | 47 | 923.79 | 18.3282
|  | 48 | 778.82 | 14.2349
|  | 49 | 658.03 | 13.111
|  | 50 | 599.57 | 11.731
|  | 51 | 586.65 | 11.1869
|  | 52 | 580.86 | 10.2759
|  | 53 | 587.73 | 10.1844
|  | 54 | 635.69 | 11.1767
|  | 55 | 790.51 | 11.8422
|  | 56 | 985.28 | 14.7995
|  | 57 | 1023.54 | 14.8421
|  | 58 | 981.5 | 17.7561
|  | 59 | 861 | 20.3355
|  | 60 | 870.35 | 20.3273
|  | 61 | 846.99 | 19.7509
|  | 62 | 839.31 | 18.9587
|  | 63 | 842.5 | 17.4093
|  | 64 | 813.82 | 16.8388
|  | 65 | 824.42 | 16.3752
|  | 66 | 934.75 | 15.8955
|  | 67 | 1071.11 | 20.1255
|  | 68 | 1160.45 | 22.4592
|  | 69 | 1124.32 | 21.2199
|  | 70 | 1027.25 | 17.6661
|  | 71 | 893.39 | 15.5912
|  | 72 | 743.99 | 13.6446
|  | 73 | 622.83 | 22.7615
|  | 74 | 565.79 | 17.6557
|  | 75 | 543.66 | 16.8289
|  | 76 | 531.7 | 15.2787
|  | 77 | 540.39 | 14.5827
|  | 78 | 601.4 | 15.4136
|  | 79 | 757.04 | 15.2136
|  | 80 | 945.68 | 16.3522
|  | 81 | 983.9 | 17.7417
|  | 82 | 907.55 | 16.0852
|  | 83 | 866.85 | 15.9803
|  | 84 | 863.36 | 17.0438
|  | 85 | 865.64 | 15.8572
|  | 86 | 862.51 | 16.1777
|  | 87 | 850.8 | 17.0025
|  | 88 | 844 | 16.2933
|  | 89 | 809.65 | 15.6437
|  | 90 | 934.22 | 16.2148
|  | 91 | 1110.49 | 17.3386
|  | 92 | 1144.19 | 18.4289
|  | 93 | 1093.21 | 18.6428
|  | 94 | 982.68 | 17.6996
|  | 95 | 834.85 | 16.6957
|  | 96 | 676.86 | 13.7872
|  | 97 | 639.94 | 11.8026
|  | 98 | 585.4 | 12.4332
|  | 99 | 564.86 | 10.812
|  | 100 | 558.41 | 10.9769
|  | 101 | 564.6 | 11.0201
|  | 102 | 609.04 | 11.6329
|  | 103 | 727.17 | 12.6487
|  | 104 | 869.11 | 14.0079
|  | 105 | 943.66 | 16.9535
|  | 106 | 878.47 | 17.4046
|  | 107 | 896.64 | 17.0708
|  | 108 | 915.78 | 16.0487
|  | 109 | 912.17 | 16.9114
|  | 110 | 914.99 | 15.6538
|  | 111 | 886.47 | 16.4694
|  | 112 | 855.86 | 21.5721
|  | 113 | 847.64 | 24.3483
|  | 114 | 910.41 | 28.6761
|  | 115 | 1031.26 | 33.5836
|  | 116 | 1104.17 | 36.5305
|  | 117 | 1089.58 | 36.148
|  | 118 | 983.61 | 30.5899
|  | 119 | 857.98 | 29.7676
|  | 120 | 727.43 | 27.7671
|  | 121 | 630.86 | 12.4426
|  | 122 | 579.32 | 10.4526
|  | 123 | 554.52 | 10.0931
|  | 124 | 541.97 | 9.055
|  | 125 | 553.84 | 9.2305
|  | 126 | 579.39 | 10.1162
|  | 127 | 653.42 | 12.4465
|  | 128 | 766.67 | 15.0418
|  | 129 | 852.93 | 15.5441
|  | 130 | 840.44 | 17.5746
|  | 131 | 891.42 | 18.0603
|  | 132 | 905.35 | 17.0517
|  | 133 | 900.61 | 15.8436
|  | 134 | 869.2 | 15.9005
|  | 135 | 849.56 | 14.0151
|  | 136 | 830.5 | 13.24
|  | 137 | 763.47 | 13.296
|  | 138 | 838.14 | 14.947
|  | 139 | 956.97 | 19.8686
|  | 140 | 1086.84 | 22.1623
|  | 141 | 1054.53 | 20.8479
|  | 142 | 957.01 | 21.3795
|  | 143 | 837.09 | 19.8058
|  | 144 | 710.3 | 15.3857
|  | 145 | 604.73 | 14.975
|  | 146 | 566.37 | 13.1051
|  | 147 | 526.439 | 13.6834
|  | 148 | 514.48 | 13.6566
|  | 149 | 523.316 | 13.0513
|  | 150 | 581.9 | 12.5515
|  | 151 | 723.73 | 14.674
|  | 152 | 927.28 | 20.3192
|  | 153 | 947.52 | 18.5135
|  | 154 | 890.249 | 18.2623
|  | 155 | 745.392 | 16.2227
|  | 156 | 712.283 | 14.6242
|  | 157 | 711.202 | 13.5401
|  | 158 | 712.446 | 13.1789
|  | 159 | 721.617 | 13.449
|  | 160 | 725.519 | 13.6333
|  | 161 | 750.952 | 15.5073
|  | 162 | 833.067 | 21.1592
|  | 163 | 1027.42 | 24.9167
|  | 164 | 1080.25 | 24.2072
|  | 165 | 1039.77 | 21.7497
|  | 166 | 950.81 | 22.458
|  | 167 | 834.13 | 18.2188
|  | 168 | 705.69 | 14.6686
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 13/10/2025 | 14/10/2025 | 15/10/2025 | 16/10/2025 | 17/10/2025 | 18/10/2025 | 19/10/2025
Min (MW) | 10.5028 | 13.1948 | 10.1844 | 13.7872 | 10.812 | 9.055 | 12.5515
Max (MW) | 24.8358 | 22.5358 | 22.4592 | 22.7615 | 36.5305 | 22.1623 | 24.9167
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-10-17
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 21332.84 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Data | 13/10/2025 | 14/10/2025 | 15/10/2025 | 16/10/2025 | 17/10/2025 | 18/10/2025 | 19/10/2025
Min (MW) | 467 | 460 | 470 | 478 | 475 | 482 | 482
Max (MW) | 961 | 949 | 980 | 978 | 954 | 974 | 976
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-10-15
|  | Hour | Production | Exchange | Consumption
|  | 1 | 278.3528 | -335.0147 | 613.3675
|  | 2 | 154.5433 | -403.6335 | 558.1768
|  | 3 | 134.2455 | -401.2697 | 535.5152
|  | 4 | 132.2858 | -398.8814 | 531.1672
|  | 5 | 135.6713 | -403.3966 | 539.0679
|  | 6 | 219.8183 | -377.3435 | 597.1618
|  | 7 | 427.359 | -329.4836 | 756.8426
|  | 8 | 582.5075 | -370.7224 | 953.2299
|  | 9 | 657.4541 | -336.8232 | 994.2773
|  | 10 | 737.1109 | -175.1686 | 912.2795
|  | 11 | 665.5793 | -179.0813 | 844.6606
|  | 12 | 594.2238 | -206.39 | 800.6137
|  | 13 | 500.8625 | -282.9035 | 783.766
|  | 14 | 517.5567 | -280.4351 | 797.9918
|  | 15 | 507.3488 | -302.7878 | 810.1367
|  | 16 | 515.7254 | -322.0615 | 837.787
|  | 17 | 512.2271 | -362.2175 | 874.4446
|  | 18 | 1059.4724 | 99.8772 | 959.5952
|  | 19 | 1210.5265 | 105.2788 | 1105.2478
|  | 20 | 1231.5064 | 87.5725 | 1143.9339
|  | 21 | 1201.1759 | 97.9889 | 1103.187
|  | 22 | 1069.3687 | 59.3664 | 1010.0023
|  | 23 | 803.9687 | -63.3347 | 867.3034
|  | 24 | 647.3563 | -73.0343 | 720.3907
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -27.1473 | 59.7957 | -46.5838 | -18.5472 | -114.2991 | -251.4665
2 | -30.0286 | 24.7186 | -36.3285 | -36.9686 | -73.0706 | -278.6776
3 | -28.0262 | 11.1143 | -34.0006 | -52.0709 | -48.212 | -279.4595
4 | -29.0664 | 7.5696 | -24.1608 | -52.8095 | -26.5924 | -298.128
5 | -30.7674 | 9.0755 | -22.2956 | -49.6871 | -21.3078 | -312.6148
6 | -18.4745 | 24.1573 | -62.2585 | -33.7204 | -145.1816 | -186.2307
7 | -9.2892 | 59.7766 | -100.8263 | 8.9027 | -298.5454 | -56.5577
8 | -17.1144 | 84.7244 | -116.0883 | 26.2274 | -284.0033 | -123.0115
9 | -29.6158 | 103.5112 | -58.6773 | 43.2424 | -205.3363 | -238.1293
10 | -40.8816 | 98.3926 | 29.1439 | -5.877 | -6.3007 | -410.3402
11 | -43.7522 | 96.5852 | 61.7972 | -31.498 | 48.9135 | -451.5814
12 | -46.9083 | 84.7904 | 65.129 | -47.5389 | 60.9719 | -468.2862
13 | -41.954 | 85.6469 | 41.5898 | -36.5396 | 29.5062 | -415.3618
14 | -45.9203 | 78.7741 | 53.783 | -52.9095 | 54.6874 | -456.634
15 | -48.2055 | 80.0742 | 47.9456 | -47.0228 | 20.8616 | -441.6337
16 | -45.9558 | 93.2847 | 26.9933 | -14.9797 | -5.7577 | -435.9385
17 | -34.6838 | 111.425 | -48.5356 | 29.6465 | -198.8744 | -245.2062
18 | -16.7196 | 194.987 | -32.5938 | 173.1502 | -203.4278 | -51.6044
19 | -25.1495 | 194.943 | -1.8227 | 155.5062 | -133.1313 | -173.0831
20 | -25.9658 | 185.4134 | 8.49 | 135.9752 | -124.9329 | -201.8903
21 | -22.1787 | 172.4626 | 11.1036 | 121.2051 | -145.6708 | -151.1245
22 | -28.24 | 155.9168 | 25.3814 | 98.9259 | -131.1045 | -158.8892
23 | -36.1375 | 135.9201 | 37.382 | 66.8312 | -87.5777 | -255.8997
24 | -40.1311 | 105.7572 | 50.1401 | 16.7763 | -10.5208 | -308.3145
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2025-10-17
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 120.62
|  |  | 01:00 - 02:00 | 128.18
|  |  | 02:00 - 03:00 | 110.21
|  |  | 03:00 - 04:00 | 112.97
|  |  | 04:00 - 05:00 | 101.5
|  |  | 05:00 - 06:00 | 79.57
|  |  | 06:00 - 07:00 | 216.81
|  |  | 07:00 - 08:00 | 378.15
|  |  | 08:00 - 09:00 | 440.1
|  |  | 09:00 - 10:00 | 431.04
|  |  | 10:00 - 11:00 | 419.99
|  |  | 11:00 - 12:00 | 436.8
|  |  | 12:00 - 13:00 | 433.5
|  |  | 13:00 - 14:00 | 451.77
|  |  | 14:00 - 15:00 | 436.48
|  |  | 15:00 - 16:00 | 356.42
|  |  | 16:00 - 17:00 | 340.91
|  |  | 17:00 - 18:00 | 946.79
|  |  | 18:00 - 19:00 | 1054.73
|  |  | 19:00 - 20:00 | 1115.9
|  |  | 20:00 - 21:00 | 1022.11
|  |  | 21:00 - 22:00 | 910.79
|  |  | 22:00 - 23:00 | 661.21
|  |  | 23:00 - 00:00 | 502.51
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 65.0761 | 0.43359 | 44.6739 | 1.3025 | 1.4679 | 0.95836 | 0
2 | 0 | 0.5353 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 3.5704 | 0 | 0 | 0 | 0
6 | 0 | 0.42838 | 0 | 63.5712 | 0 | 0 | 0 | 1.0971
7 | 0 | 63.574 | 0 | 63.5904 | 0 | 0 | 0 | 96.2995
8 | 0 | 65.0378 | 0 | 63.5979 | 0 | 0 | 83.4992 | 115.6005
9 | 0 | 65.0418 | 0 | 63.6249 | 0 | 0 | 143.2658 | 125.6432
10 | 0 | 65.029 | 0.9308 | 63.6124 | 0 | 0 | 131.1957 | 137.1981
11 | 0 | 65.0151 | 64.5297 | 63.6043 | 0 | 0 | 45.3104 | 125.4917
12 | 0 | 65.0158 | 64.6312 | 63.6292 | 0 | 0 | 0 | 143.5543
13 | 0 | 65.0125 | 64.6522 | 61.6429 | 0 | 0 | 0 | 143.566
14 | 0 | 65.0312 | 64.6472 | 64.6281 | 0 | 0 | 0 | 33.1717
15 | 0 | 65.0489 | 64.6678 | 64.6146 | 0 | 0 | 87.5995 | 0
16 | 0 | 65.0061 | 64.6428 | 64.6252 | 0 | 0 | 89.6443 | 0
17 | 0 | 65.0477 | 64.6574 | 64.6342 | 1.3799 | 1.5534 | 134.7893 | 1.3291
18 | 0 | 65.0418 | 64.6328 | 64.6595 | 142.0669 | 141.3732 | 142.0176 | 130.8004
19 | 0 | 65.0262 | 64.6832 | 64.6278 | 143.5461 | 142.5097 | 141.5148 | 139.5069
20 | 0 | 70.0218 | 69.5546 | 69.5373 | 141.5854 | 132.7725 | 139.1056 | 115.1346
21 | 0 | 70.0764 | 69.6774 | 69.6629 | 143.5199 | 100.6812 | 141.8789 | 108.4417
22 | 0 | 65.0028 | 64.6456 | 64.6319 | 121.9024 | 116.4943 | 141.5663 | 111.9711
23 | 0 | 65.0084 | 64.6163 | 64.5786 | 140.4216 | 116.6937 | 1.206 | 112.8106
24 | 0 | 70.0762 | 69.6109 | 69.6021 | 0.90655 | 0.53187 | 0 | 121.5954
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 1185.077 | 920.7798 | 1236.246 | 835.3288 | 752.6098 | 1422.5933 | 1763.212
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 543 MWh
Art. 5.12 | Energy reserve | [5 empty] | 268.1 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 656.11 | 13.7663
|  | 2 | 589.7 | 11.7251
|  | 3 | 536.55 | 13.1122
|  | 4 | 536.42 | 12.4756
|  | 5 | 543.45 | 12.3161
|  | 6 | 585.5 | 10.5028
|  | 7 | 714.94 | 13.8209
|  | 8 | 858.47 | 17.9335
|  | 9 | 912.45 | 17.4553
|  | 10 | 906.39 | 18.9288
|  | 11 | 943.01 | 21.4506
|  | 12 | 936.32 | 24.787
|  | 13 | 937.27 | 24.8358
|  | 14 | 927.26 | 21.6924
|  | 15 | 915.44 | 19.2389
|  | 16 | 916.98 | 15.389
|  | 17 | 950.94 | 13.8773
|  | 18 | 1028.4 | 15.0985
|  | 19 | 1157.2 | 18.9122
|  | 20 | 1192.44 | 21.0194
|  | 21 | 1172.31 | 20.3035
|  | 22 | 1135.41 | 17.6323
|  | 23 | 990.31 | 15.8774
|  | 24 | 838.05 | 13.7269
|  | 25 | 684.45 | 13.7132
|  | 26 | 623.86 | 14.0405
|  | 27 | 596.14 | 16.5361
|  | 28 | 590.99 | 17.1689
|  | 29 | 612.3 | 18.1501
|  | 30 | 691.19 | 13.1948
|  | 31 | 866.36 | 14.8912
|  | 32 | 1010.65 | 18.2023
|  | 33 | 1019.84 | 18.0111
|  | 34 | 966.43 | 18.6681
|  | 35 | 962.13 | 20.0103
|  | 36 | 886.65 | 20.9607
|  | 37 | 895.25 | 20.0484
|  | 38 | 913.02 | 18.6823
|  | 39 | 906.28 | 18.8609
|  | 40 | 844.97 | 18.3756
|  | 41 | 921.29 | 16.3111
|  | 42 | 1027.96 | 17.7882
|  | 43 | 1167 | 20.5841
|  | 44 | 1231.01 | 21.6558
|  | 45 | 1181.21 | 21.5462
|  | 46 | 1081.3 | 22.5358
|  | 47 | 923.79 | 18.3282
|  | 48 | 778.82 | 14.2349
|  | 49 | 658.03 | 13.111
|  | 50 | 599.57 | 11.731
|  | 51 | 586.65 | 11.1869
|  | 52 | 580.86 | 10.2759
|  | 53 | 587.73 | 10.1844
|  | 54 | 635.69 | 11.1767
|  | 55 | 790.51 | 11.8422
|  | 56 | 985.28 | 14.7995
|  | 57 | 1023.54 | 14.8421
|  | 58 | 981.5 | 17.7561
|  | 59 | 861 | 20.3355
|  | 60 | 870.35 | 20.3273
|  | 61 | 846.99 | 19.7509
|  | 62 | 839.31 | 18.9587
|  | 63 | 842.5 | 17.4093
|  | 64 | 813.82 | 16.8388
|  | 65 | 824.42 | 16.3752
|  | 66 | 934.75 | 15.8955
|  | 67 | 1071.11 | 20.1255
|  | 68 | 1160.45 | 22.4592
|  | 69 | 1124.32 | 21.2199
|  | 70 | 1027.25 | 17.6661
|  | 71 | 893.39 | 15.5912
|  | 72 | 743.99 | 13.6446
|  | 73 | 622.83 | 22.7615
|  | 74 | 565.79 | 17.6557
|  | 75 | 543.66 | 16.8289
|  | 76 | 531.7 | 15.2787
|  | 77 | 540.39 | 14.5827
|  | 78 | 601.4 | 15.4136
|  | 79 | 757.04 | 15.2136
|  | 80 | 945.68 | 16.3522
|  | 81 | 983.9 | 17.7417
|  | 82 | 907.55 | 16.0852
|  | 83 | 866.85 | 15.9803
|  | 84 | 863.36 | 17.0438
|  | 85 | 865.64 | 15.8572
|  | 86 | 862.51 | 16.1777
|  | 87 | 850.8 | 17.0025
|  | 88 | 844 | 16.2933
|  | 89 | 809.65 | 15.6437
|  | 90 | 934.22 | 16.2148
|  | 91 | 1110.49 | 17.3386
|  | 92 | 1144.19 | 18.4289
|  | 93 | 1093.21 | 18.6428
|  | 94 | 982.68 | 17.6996
|  | 95 | 834.85 | 16.6957
|  | 96 | 676.86 | 13.7872
|  | 97 | 639.94 | 11.8026
|  | 98 | 585.4 | 12.4332
|  | 99 | 564.86 | 10.812
|  | 100 | 558.41 | 10.9769
|  | 101 | 564.6 | 11.0201
|  | 102 | 609.04 | 11.6329
|  | 103 | 727.17 | 12.6487
|  | 104 | 869.11 | 14.0079
|  | 105 | 943.66 | 16.9535
|  | 106 | 878.47 | 17.4046
|  | 107 | 896.64 | 17.0708
|  | 108 | 915.78 | 16.0487
|  | 109 | 912.17 | 16.9114
|  | 110 | 914.99 | 15.6538
|  | 111 | 886.47 | 16.4694
|  | 112 | 855.86 | 21.5721
|  | 113 | 847.64 | 24.3483
|  | 114 | 910.41 | 28.6761
|  | 115 | 1031.26 | 33.5836
|  | 116 | 1104.17 | 36.5305
|  | 117 | 1089.58 | 36.148
|  | 118 | 983.61 | 30.5899
|  | 119 | 857.98 | 29.7676
|  | 120 | 727.43 | 27.7671
|  | 121 | 630.86 | 12.4426
|  | 122 | 579.32 | 10.4526
|  | 123 | 554.52 | 10.0931
|  | 124 | 541.97 | 9.055
|  | 125 | 553.84 | 9.2305
|  | 126 | 579.39 | 10.1162
|  | 127 | 653.42 | 12.4465
|  | 128 | 766.67 | 15.0418
|  | 129 | 852.93 | 15.5441
|  | 130 | 840.44 | 17.5746
|  | 131 | 891.42 | 18.0603
|  | 132 | 905.35 | 17.0517
|  | 133 | 900.61 | 15.8436
|  | 134 | 869.2 | 15.9005
|  | 135 | 849.56 | 14.0151
|  | 136 | 830.5 | 13.24
|  | 137 | 763.47 | 13.296
|  | 138 | 838.14 | 14.947
|  | 139 | 956.97 | 19.8686
|  | 140 | 1086.84 | 22.1623
|  | 141 | 1054.53 | 20.8479
|  | 142 | 957.01 | 21.3795
|  | 143 | 837.09 | 19.8058
|  | 144 | 710.3 | 15.3857
|  | 145 | 604.73 | 14.975
|  | 146 | 566.37 | 13.1051
|  | 147 | 526.439 | 13.6834
|  | 148 | 514.48 | 13.6566
|  | 149 | 523.316 | 13.0513
|  | 150 | 581.9 | 12.5515
|  | 151 | 723.73 | 14.674
|  | 152 | 927.28 | 20.3192
|  | 153 | 947.52 | 18.5135
|  | 154 | 890.249 | 18.2623
|  | 155 | 745.392 | 16.2227
|  | 156 | 712.283 | 14.6242
|  | 157 | 711.202 | 13.5401
|  | 158 | 712.446 | 13.1789
|  | 159 | 721.617 | 13.449
|  | 160 | 725.519 | 13.6333
|  | 161 | 750.952 | 15.5073
|  | 162 | 833.067 | 21.1592
|  | 163 | 1027.42 | 24.9167
|  | 164 | 1080.25 | 24.2072
|  | 165 | 1039.77 | 21.7497
|  | 166 | 950.81 | 22.458
|  | 167 | 834.13 | 18.2188
|  | 168 | 705.69 | 14.6686
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 13/10/2025 | 14/10/2025 | 16/10/2025 | 16/10/2025 | 17/10/2025 | 18/10/2025 | 19/10/2025
Min (MW) | 10.5028 | 13.1948 | 10.1844 | 13.7872 | 10.812 | 9.055 | 12.5515
Max (MW) | 24.8358 | 22.5358 | 22.4592 | 22.7615 | 36.5305 | 22.1623 | 24.9167
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible