## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-10-28
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 18424.89 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 27/10/2025 | 28/10/2025 | 29/10/2025 | 30/10/2025 | 31/10/20252 | 1/11/2025 | 2/11/20252
Min (MW) | 485 | 468 | 474 | 492 | 479 | 473 | 505
Max (MW) | 1017 | 1020 | 1055 | 1051 | 1040 | 1038 | 1083
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-10-26
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 510.8105 | -81.319 | 592.1295
|  | 2 | 404.2256 | -136.51 | 540.7356
|  | 3 | 389.068 | -124.955 | 514.023
|  | 4 | 381.5466 | -126.578 | 508.1246
|  | 5 | 442.1776 | -82.157 | 524.3346
|  | 6 | 469.0285 | -103.826 | 572.8545
|  | 7 | 566.0269 | -117.062 | 683.0889
|  | 8 | 616.9779 | -190.248 | 807.2259
|  | 9 | 714.9145 | -189.422 | 904.3365
|  | 10 | 935.5211 | -3.948 | 939.4691
|  | 11 | 1016.1262 | 68.47 | 947.6562
|  | 12 | 994.7667 | 58.637 | 936.1297
|  | 13 | 909.6626 | -15.445 | 925.1076
|  | 14 | 677.7161 | -244.626 | 922.3421
|  | 15 | 755.6453 | -150.011 | 905.6563
|  | 16 | 918.4689 | 5.465 | 913.0039
|  | 17 | 987.7603 | 29.533 | 958.2273
|  | 18 | 1301.594 | 255.223 | 1046.371
|  | 19 | 1310.524 | 263.99 | 1046.534
|  | 20 | 1248.3461 | 224.202 | 1024.1441
|  | 21 | 1168.5373 | 195.887 | 972.6503
|  | 22 | 1023.6031 | 157.591 | 866.0121
|  | 23 | 866.5887 | 130.422 | 736.1667
|  | 24 | 751.0132 | 121.721 | 629.2922
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -5.5719 | 105.193 | 73.6105 | 57.1899 | 74.9388 | 11.7025
2 | -10.3464 | 75.4204 | 65.1272 | 20.4213 | 80.4008 | -0.4103
3 | -13.5378 | 64.4239 | 62.3788 | 10.509 | 85.973 | -12.8585
4 | -20.0419 | 65.829 | 76.6356 | 15.4248 | 116.1646 | -49.113
5 | -32.0672 | 71.9645 | 92.4594 | 32.3528 | 156.6781 | -123.6514
6 | -43.3886 | 108.5361 | 139.4569 | 102.6031 | 217.6232 | -221.0091
7 | -31.2834 | 158.6553 | 113.1217 | 204.8643 | 57.9103 | -92.6134
8 | -45.2139 | 166.4378 | 114.9835 | 198.5518 | 76.7773 | -205.5081
9 | -43.3172 | 129.0217 | 114.2249 | 244.0295 | 96.9454 | -146.4074
10 | -38.4271 | 157.9222 | 133.4658 | 213.496 | 206.9921 | -187.5919
11 | -43.0535 | 189.2106 | 134.5998 | 164.8895 | 246.7933 | -243.3625
12 | -46.4557 | 170.4394 | 137.1449 | 141.4361 | 258.7657 | -233.0367
13 | -56.2517 | 160.7203 | 155.0727 | 140.9394 | 306.5395 | -314.776
14 | -50.8581 | 167.1694 | 165.3652 | 143.6456 | 319.1597 | -337.9809
15 | -44.9819 | 165.1335 | 135.1036 | 142.4554 | 245.5246 | -300.3072
16 | -33.2052 | 188.5045 | 74.334 | 194.6005 | 39.7958 | -146.1752
17 | -13.3177 | 217.3347 | 26.3607 | 235.1269 | -148.6195 | 49.82
18 | -14.5113 | 210.2994 | 15.5427 | 195.4681 | -157.8689 | -11.2999
19 | -19.4663 | 197.6864 | 20.8174 | 169.7633 | -151.1892 | -2.0295
20 | -12.6701 | 178.3185 | 26.4153 | 166.9055 | -151.1462 | 11.4728
21 | -8.4205 | 168.1721 | 46.8669 | 156.6255 | -112.052 | -22.4218
22 | -11.0611 | 162.4724 | 53.0375 | 153.8224 | -84.4812 | -34.9591
23 | -21.7743 | 177.0326 | 71.9652 | 183.1818 | -28.7724 | -40.3484
24 | -21.5841 | 154.0093 | 88.1977 | 142.2361 | 45.6557 | -66.1222
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-10-28
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 890.92
|  |  | 01:00 - 02:00 | 849.51
|  |  | 02:00 - 03:00 | 834.15
|  |  | 03:00 - 04:00 | 829.7
|  |  | 04:00 - 05:00 | 832.06
|  |  | 05:00 - 06:00 | 900.29
|  |  | 06:00 - 07:00 | 1077.45
|  |  | 07:00 - 08:00 | 1281.27
|  |  | 08:00 - 09:00 | 1372.18
|  |  | 09:00 - 10:00 | 1416.15
|  |  | 10:00 - 11:00 | 1310.13
|  |  | 11:00 - 12:00 | 1296.91
|  |  | 12:00 - 13:00 | 1291.22
|  |  | 13:00 - 14:00 | 1347.77
|  |  | 14:00 - 15:00 | 1327.02
|  |  | 15:00 - 16:00 | 1263.39
|  |  | 16:00 - 17:00 | 1248.52
|  |  | 17:00 - 18:00 | 1257.97
|  |  | 18:00 - 19:00 | 1248.76
|  |  | 19:00 - 20:00 | 1215.93
|  |  | 20:00 - 21:00 | 1166.96
|  |  | 21:00 - 22:00 | 1068.84
|  |  | 22:00 - 23:00 | 1019.76
|  |  | 23:00 - 00:00 | 902.48
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 134.9497 | 111.5818 | 0 | 108.8725
2 | 0 | 0 | 0 | 0 | 118.8403 | 0.016676 | 0 | 100.1454
3 | 0 | 0 | 0 | 0 | 89.1174 | 0 | 0 | 89.2245
4 | 0 | 0 | 0 | 0 | 89.0095 | 0 | 0 | 89.1571
5 | 0 | 0 | 0 | 0 | 88.9971 | 1.2436 | 0 | 89.1575
6 | 0 | 0 | 0 | 0 | 113.6667 | 113.1026 | 0.51448 | 94.088
7 | 0 | 0 | 0 | 0 | 128.9242 | 138.0767 | 136.331 | 134.1531
8 | 0 | 0.62306 | 0.74298 | 0.65688 | 142.8464 | 142.9955 | 141.5744 | 141.6571
9 | 0 | 64.6931 | 61.9726 | 63.8707 | 129.6327 | 124.0533 | 0.60496 | 115.1452
10 | 0 | 64.9869 | 21.7987 | 64.6042 | 104.1009 | 25.8927 | 0 | 76.7577
11 | 0 | 65.011 | 0 | 64.5663 | 135.0887 | 0 | 0 | 0
12 | 0 | 37.254 | 0 | 64.5297 | 99.9737 | 0 | 0 | 0
13 | 1.7289 | 0 | 0 | 64.5479 | 106.6825 | 0 | 0 | 0
14 | 42.6453 | 0 | 0 | 64.5689 | 111.0879 | 0 | 0 | 0
15 | 64.612 | 0 | 0 | 64.5675 | 90.0654 | 0 | 0 | 0
16 | 64.6137 | 0 | 0 | 64.5517 | 136.0226 | 0 | 0.60248 | 56.8507
17 | 64.608 | 0 | 0 | 64.5682 | 131.0836 | 92.6822 | 98.9376 | 101.0459
18 | 64.6125 | 0 | 0 | 64.5768 | 107.042 | 118.9549 | 119.2267 | 97.1053
19 | 64.6368 | 0 | 0 | 64.5668 | 98.0956 | 119.0301 | 119.26 | 91.1874
20 | 0.50715 | 0 | 0 | 16.6236 | 112.4831 | 133.848 | 134.2013 | 128.4945
21 | 0 | 0 | 0 | 0 | 97.3491 | 115.3372 | 139.1102 | 134.7006
22 | 0 | 0 | 0 | 0 | 122.4332 | 138.5578 | 1.6914 | 138.6766
23 | 0 | 0 | 0 | 0 | 125.4118 | 129.0001 | 0 | 120.6389
24 | 0 | 0 | 0 | 0 | 107.8229 | 16.093 | 0 | 126.8159
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 367.9643 | 232.5682 | 84.5143 | 726.7992 | 2720.727 | 1520.4661 | 892.0546 | 2033.8738
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 1686 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 303.9 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | mFRR- | RR+ | RR- | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 645.12 | 13.5872
|  | 2 | 596.17 | 14.5083
|  | 3 | 569.88 | 19.5564
|  | 4 | 560.11 | 24.0452
|  | 5 | 564.75 | 23.6458
|  | 6 | 629.73 | 22.9985
|  | 7 | 780.74 | 32.0429
|  | 8 | 996.2 | 28.2099
|  | 9 | 1048.25 | 29.4771
|  | 10 | 1002.54 | 28.4375
|  | 11 | 1061.27 | 26.4921
|  | 12 | 1046.18 | 24.5052
|  | 13 | 964.59 | 24.3238
|  | 14 | 907.56 | 24.5699
|  | 15 | 927.61 | 21.8232
|  | 16 | 895.86 | 23.5946
|  | 17 | 907.16 | 25.7456
|  | 18 | 988.23 | 30.6643
|  | 19 | 1130.31 | 31.156
|  | 20 | 1155.65 | 31.1551
|  | 21 | 1111.2 | 27.4713
|  | 22 | 1015.88 | 24.7612
|  | 23 | 847.39 | 22.082
|  | 24 | 696.71 | 22.1346
|  | 25 | 638.03 | 14.0204
|  | 26 | 561.42 | 12.4302
|  | 27 | 541.56 | 12.2664
|  | 28 | 593.87 | 12.3523
|  | 29 | 649.45 | 12.4205
|  | 30 | 758.92 | 12.8441
|  | 31 | 954.29 | 14.5366
|  | 32 | 1009.43 | 15.7026
|  | 33 | 972.49 | 21.5247
|  | 34 | 869.83 | 27.6632
|  | 35 | 796.65 | 30.0723
|  | 36 | 757.14 | 32.8238
|  | 37 | 745.35 | 33.4695
|  | 38 | 811 | 33.1951
|  | 39 | 820.33 | 24.3065
|  | 40 | 846.69 | 19.9135
|  | 41 | 977.01 | 15.0015
|  | 42 | 1097.38 | 25.2321
|  | 43 | 1116.61 | 28.0166
|  | 44 | 1073.63 | 26.5949
|  | 45 | 953.38 | 23.4647
|  | 46 | 810.4 | 21.2678
|  | 47 | 664.58 | 19.2656
|  | 48 | 627.01 | 16.4792
|  | 49 | 603.99 | 10.3913
|  | 50 | 598.62 | 14
|  | 51 | 594.96 | 18.8451
|  | 52 | 592.61 | 26.667
|  | 53 | 590.51 | 21.5119
|  | 54 | 729.56 | 17.682
|  | 55 | 906.78 | 15.7278
|  | 56 | 984.81 | 17.6429
|  | 57 | 953.66 | 20.1633
|  | 58 | 820.24 | 22.8485
|  | 59 | 832.59 | 28.2007
|  | 60 | 812.93 | 28.6497
|  | 61 | 820.03 | 26.8401
|  | 62 | 826.28 | 26.7399
|  | 63 | 771.6 | 24.0088
|  | 64 | 709.18 | 20.7885
|  | 65 | 835.03 | 14.9784
|  | 66 | 976.57 | 17.1357
|  | 67 | 996.76 | 17.5652
|  | 68 | 948.28 | 17.1773
|  | 69 | 848.25 | 15.7578
|  | 70 | 713.74 | 16.7524
|  | 71 | 584.38 | 18.159
|  | 72 | 608.64 | 16.4516
|  | 73 | 576.57 | 13.71
|  | 74 | 551.61 | 14.3101
|  | 75 | 532.33 | 14.1899
|  | 76 | 540.36 | 13.1742
|  | 77 | 571.97 | 12.1907
|  | 78 | 661.82 | 11.9605
|  | 79 | 759.22 | 15.3939
|  | 80 | 854.05 | 16.9304
|  | 81 | 838 | 15.819
|  | 82 | 861.34 | 21.2913
|  | 83 | 884.56 | 23.4987
|  | 84 | 865.94 | 28.1879
|  | 85 | 848.86 | 27.7573
|  | 86 | 812.15 | 26.1994
|  | 87 | 771.17 | 20.3725
|  | 88 | 829.61 | 16.0601
|  | 89 | 914.33 | 13.6801
|  | 90 | 1025.71 | 21.2481
|  | 91 | 1070.11 | 18.9758
|  | 92 | 1026.23 | 18.7922
|  | 93 | 883.5 | 18.1881
|  | 94 | 769.26 | 16.9451
|  | 95 | 651.24 | 14.8189
|  | 96 | 639.46 | 13.1703
|  | 97 | 588.61 | 15.3875
|  | 98 | 513.3 | 12.9501
|  | 99 | 513.29 | 13.5367
|  | 100 | 555.14 | 13.3645
|  | 101 | 562.77 | 12.2178
|  | 102 | 604.51 | 13.5508
|  | 103 | 716.22 | 17.3746
|  | 104 | 822.25 | 17.284
|  | 105 | 859.98 | 16.7637
|  | 106 | 837.86 | 27.2725
|  | 107 | 979.91 | 35.0382
|  | 108 | 902.29 | 32.5512
|  | 109 | 905.7 | 26.9025
|  | 110 | 906.36 | 22.814
|  | 111 | 673.05 | 23.4155
|  | 112 | 904.88 | 19.7483
|  | 113 | 947.36 | 13.4787
|  | 114 | 1035.16 | 14.7978
|  | 115 | 1020.1 | 18.183
|  | 116 | 1025.17 | 19.3718
|  | 117 | 928.31 | 24.4534
|  | 118 | 808.36 | 22.5584
|  | 119 | 675.1 | 18.2887
|  | 120 | 575.4 | 16.0752
|  | 121 | 510.09 | 9.9579
|  | 122 | 469.55 | 9.7072
|  | 123 | 451.49 | 8.7566
|  | 124 | 447 | 8.8492
|  | 125 | 455.46 | 9.071
|  | 126 | 525.96 | 13.1793
|  | 127 | 683.09 | 16.9132
|  | 128 | 847.19 | 14.5867
|  | 129 | 879.93 | 11.2768
|  | 130 | 855.62 | 13.9398
|  | 131 | 711.06 | 18.6568
|  | 132 | 685.18 | 21.0057
|  | 133 | 613.42 | 19.4931
|  | 134 | 646.42 | 18.7597
|  | 135 | 622.05 | 15.1808
|  | 136 | 640.78 | 13.0408
|  | 137 | 719.39 | 14.2899
|  | 138 | 878.78 | 23.7289
|  | 139 | 872.67 | 25.9967
|  | 140 | 939.81 | 26.3358
|  | 141 | 890.87 | 24.986
|  | 142 | 749.93 | 25.9515
|  | 143 | 754.24 | 22.3147
|  | 144 | 516.22 | 17.2458
|  | 145 | 547.75 | 11.2138
|  | 146 | 504.84 | 10.3729
|  | 147 | 487.56 | 9.1984
|  | 148 | 483.21 | 9.3098
|  | 149 | 486.2 | 9.9691
|  | 150 | 562.75 | 10.478
|  | 151 | 744.24 | 10.1431
|  | 152 | 907.8 | 11.2111
|  | 153 | 937.66 | 12.5254
|  | 154 | 920.15 | 21.2872
|  | 155 | 803.13 | 25.3833
|  | 156 | 789.91 | 24.7544
|  | 157 | 789.22 | 22.4817
|  | 158 | 821.77 | 24.0758
|  | 159 | 843.32 | 19.8078
|  | 160 | 862.05 | 14.0795
|  | 161 | 910.75 | 10.5702
|  | 162 | 1017.46 | 17.8375
|  | 163 | 1010.39 | 22.4231
|  | 164 | 975.71 | 23.364
|  | 165 | 925.25 | 22.3156
|  | 166 | 821.22 | 19.5076
|  | 167 | 692.42 | 15.6482
|  | 168 | 580.13 | 12.8544
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 27/10/2025 | 28/10/2025 | 29/10/2025 | 30/10/2025 | 31/10/20252 | 1/11/2025 | 2/11/20252
Min (MW) | 13.5872 | 12.2664 | 10.3913 | 11.9605 | 12.2178 | 8.7566 | 9.1984
Max (MW) | 32.0429 | 33.4695 | 28.6497 | 28.1879 | 35.0382 | 26.3358 | 25.3833
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-10-28
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 18424.89 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Data | 27/10/2025 | 28/10/2025 | 29/10/2025 | 30/10/2025 | 31/10/20252 | 1/11/2025 | 2/11/20252
Min (MW) | 485 | 468 | 474 | 492 | 479 | 473 | 505
Max (MW) | 1017 | 1020 | 1055 | 1051 | 1040 | 1038 | 1083
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-10-26
|  | Hour | Production | Exchange | Consumption
|  | 1 | 510.8105 | -81.319 | 592.1295
|  | 2 | 404.2256 | -136.51 | 540.7356
|  | 3 | 389.068 | -124.955 | 514.023
|  | 4 | 381.5466 | -126.578 | 508.1246
|  | 5 | 442.1776 | -82.157 | 524.3346
|  | 6 | 469.0285 | -103.826 | 572.8545
|  | 7 | 566.0269 | -117.062 | 683.0889
|  | 8 | 616.9779 | -190.248 | 807.2259
|  | 9 | 714.9145 | -189.422 | 904.3365
|  | 10 | 935.5211 | -3.948 | 939.4691
|  | 11 | 1016.1262 | 68.47 | 947.6562
|  | 12 | 994.7667 | 58.637 | 936.1297
|  | 13 | 909.6626 | -15.445 | 925.1076
|  | 14 | 677.7161 | -244.626 | 922.3421
|  | 15 | 755.6453 | -150.011 | 905.6563
|  | 16 | 918.4689 | 5.465 | 913.0039
|  | 17 | 987.7603 | 29.533 | 958.2273
|  | 18 | 1301.594 | 255.223 | 1046.371
|  | 19 | 1310.524 | 263.99 | 1046.534
|  | 20 | 1248.3461 | 224.202 | 1024.1441
|  | 21 | 1168.5373 | 195.887 | 972.6503
|  | 22 | 1023.6031 | 157.591 | 866.0121
|  | 23 | 866.5887 | 130.422 | 736.1667
|  | 24 | 751.0132 | 121.721 | 629.2922
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -5.5719 | 105.193 | 73.6105 | 57.1899 | 74.9388 | 11.7025
2 | -10.3464 | 75.4204 | 65.1272 | 20.4213 | 80.4008 | -0.4103
3 | -13.5378 | 64.4239 | 62.3788 | 10.509 | 85.973 | -12.8585
4 | -20.0419 | 65.829 | 76.6356 | 15.4248 | 116.1646 | -49.113
5 | -32.0672 | 71.9645 | 92.4594 | 32.3528 | 156.6781 | -123.6514
6 | -43.3886 | 108.5361 | 139.4569 | 102.6031 | 217.6232 | -221.0091
7 | -31.2834 | 158.6553 | 113.1217 | 204.8643 | 57.9103 | -92.6134
8 | -45.2139 | 166.4378 | 114.9835 | 198.5518 | 76.7773 | -205.5081
9 | -43.3172 | 129.0217 | 114.2249 | 244.0295 | 96.9454 | -146.4074
10 | -38.4271 | 157.9222 | 133.4658 | 213.496 | 206.9921 | -187.5919
11 | -43.0535 | 189.2106 | 134.5998 | 164.8895 | 246.7933 | -243.3625
12 | -46.4557 | 170.4394 | 137.1449 | 141.4361 | 258.7657 | -233.0367
13 | -56.2517 | 160.7203 | 155.0727 | 140.9394 | 306.5395 | -314.776
14 | -50.8581 | 167.1694 | 165.3652 | 143.6456 | 319.1597 | -337.9809
15 | -44.9819 | 165.1335 | 135.1036 | 142.4554 | 245.5246 | -300.3072
16 | -33.2052 | 188.5045 | 74.334 | 194.6005 | 39.7958 | -146.1752
17 | -13.3177 | 217.3347 | 26.3607 | 235.1269 | -148.6195 | 49.82
18 | -14.5113 | 210.2994 | 15.5427 | 195.4681 | -157.8689 | -11.2999
19 | -19.4663 | 197.6864 | 20.8174 | 169.7633 | -151.1892 | -2.0295
20 | -12.6701 | 178.3185 | 26.4153 | 166.9055 | -151.1462 | 11.4728
21 | -8.4205 | 168.1721 | 46.8669 | 156.6255 | -112.052 | -22.4218
22 | -11.0611 | 162.4724 | 53.0375 | 153.8224 | -84.4812 | -34.9591
23 | -21.7743 | 177.0326 | 71.9652 | 183.1818 | -28.7724 | -40.3484
24 | -21.5841 | 154.0093 | 88.1977 | 142.2361 | 45.6557 | -66.1222
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2025-10-28
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 890.92
|  |  | 01:00 - 02:00 | 849.51
|  |  | 02:00 - 03:00 | 834.15
|  |  | 03:00 - 04:00 | 829.7
|  |  | 04:00 - 05:00 | 832.06
|  |  | 05:00 - 06:00 | 900.29
|  |  | 06:00 - 07:00 | 1077.45
|  |  | 07:00 - 08:00 | 1281.27
|  |  | 08:00 - 09:00 | 1372.18
|  |  | 09:00 - 10:00 | 1416.15
|  |  | 10:00 - 11:00 | 1310.13
|  |  | 11:00 - 12:00 | 1296.91
|  |  | 12:00 - 13:00 | 1291.22
|  |  | 13:00 - 14:00 | 1347.77
|  |  | 14:00 - 15:00 | 1327.02
|  |  | 15:00 - 16:00 | 1263.39
|  |  | 16:00 - 17:00 | 1248.52
|  |  | 17:00 - 18:00 | 1257.97
|  |  | 18:00 - 19:00 | 1248.76
|  |  | 19:00 - 20:00 | 1215.93
|  |  | 20:00 - 21:00 | 1166.96
|  |  | 21:00 - 22:00 | 1068.84
|  |  | 22:00 - 23:00 | 1019.76
|  |  | 23:00 - 00:00 | 902.48
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 134.9497 | 111.5818 | 0 | 108.8725
2 | 0 | 0 | 0 | 0 | 118.8403 | 0.016676 | 0 | 100.1454
3 | 0 | 0 | 0 | 0 | 89.1174 | 0 | 0 | 89.2245
4 | 0 | 0 | 0 | 0 | 89.0095 | 0 | 0 | 89.1571
5 | 0 | 0 | 0 | 0 | 88.9971 | 1.2436 | 0 | 89.1575
6 | 0 | 0 | 0 | 0 | 113.6667 | 113.1026 | 0.51448 | 94.088
7 | 0 | 0 | 0 | 0 | 128.9242 | 138.0767 | 136.331 | 134.1531
8 | 0 | 0.62306 | 0.74298 | 0.65688 | 142.8464 | 142.9955 | 141.5744 | 141.6571
9 | 0 | 64.6931 | 61.9726 | 63.8707 | 129.6327 | 124.0533 | 0.60496 | 115.1452
10 | 0 | 64.9869 | 21.7987 | 64.6042 | 104.1009 | 25.8927 | 0 | 76.7577
11 | 0 | 65.011 | 0 | 64.5663 | 135.0887 | 0 | 0 | 0
12 | 0 | 37.254 | 0 | 64.5297 | 99.9737 | 0 | 0 | 0
13 | 1.7289 | 0 | 0 | 64.5479 | 106.6825 | 0 | 0 | 0
14 | 42.6453 | 0 | 0 | 64.5689 | 111.0879 | 0 | 0 | 0
15 | 64.612 | 0 | 0 | 64.5675 | 90.0654 | 0 | 0 | 0
16 | 64.6137 | 0 | 0 | 64.5517 | 136.0226 | 0 | 0.60248 | 56.8507
17 | 64.608 | 0 | 0 | 64.5682 | 131.0836 | 92.6822 | 98.9376 | 101.0459
18 | 64.6125 | 0 | 0 | 64.5768 | 107.042 | 118.9549 | 119.2267 | 97.1053
19 | 64.6368 | 0 | 0 | 64.5668 | 98.0956 | 119.0301 | 119.26 | 91.1874
20 | 0.50715 | 0 | 0 | 16.6236 | 112.4831 | 133.848 | 134.2013 | 128.4945
21 | 0 | 0 | 0 | 0 | 97.3491 | 115.3372 | 139.1102 | 134.7006
22 | 0 | 0 | 0 | 0 | 122.4332 | 138.5578 | 1.6914 | 138.6766
23 | 0 | 0 | 0 | 0 | 125.4118 | 129.0001 | 0 | 120.6389
24 | 0 | 0 | 0 | 0 | 107.8229 | 16.093 | 0 | 126.8159
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 367.9643 | 232.5682 | 84.5143 | 726.7992 | 2585.7774 | 1408.8843 | 892.0546 | 1925.0014
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 1686 MWh
Art. 5.12 | Energy reserve | [5 empty] | 303.9 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 645.12 | 13.5872
|  | 2 | 596.17 | 14.5083
|  | 3 | 569.88 | 19.5564
|  | 4 | 560.11 | 24.0452
|  | 5 | 564.75 | 23.6458
|  | 6 | 629.73 | 22.9985
|  | 7 | 780.74 | 32.0429
|  | 8 | 996.2 | 28.2099
|  | 9 | 1048.25 | 29.4771
|  | 10 | 1002.54 | 28.4375
|  | 11 | 1061.27 | 26.4921
|  | 12 | 1046.18 | 24.5052
|  | 13 | 964.59 | 24.3238
|  | 14 | 907.56 | 24.5699
|  | 15 | 927.61 | 21.8232
|  | 16 | 895.86 | 23.5946
|  | 17 | 907.16 | 25.7456
|  | 18 | 988.23 | 30.6643
|  | 19 | 1130.31 | 31.156
|  | 20 | 1155.65 | 31.1551
|  | 21 | 1111.2 | 27.4713
|  | 22 | 1015.88 | 24.7612
|  | 23 | 847.39 | 22.082
|  | 24 | 696.71 | 22.1346
|  | 25 | 638.03 | 14.0204
|  | 26 | 561.42 | 12.4302
|  | 27 | 541.56 | 12.2664
|  | 28 | 593.87 | 12.3523
|  | 29 | 649.45 | 12.4205
|  | 30 | 758.92 | 12.8441
|  | 31 | 954.29 | 14.5366
|  | 32 | 1009.43 | 15.7026
|  | 33 | 972.49 | 21.5247
|  | 34 | 869.83 | 27.6632
|  | 35 | 796.65 | 30.0723
|  | 36 | 757.14 | 32.8238
|  | 37 | 745.35 | 33.4695
|  | 38 | 811 | 33.1951
|  | 39 | 820.33 | 24.3065
|  | 40 | 846.69 | 19.9135
|  | 41 | 977.01 | 15.0015
|  | 42 | 1097.38 | 25.2321
|  | 43 | 1116.61 | 28.0166
|  | 44 | 1073.63 | 26.5949
|  | 45 | 953.38 | 23.4647
|  | 46 | 810.4 | 21.2678
|  | 47 | 664.58 | 19.2656
|  | 48 | 627.01 | 16.4792
|  | 49 | 603.99 | 10.3913
|  | 50 | 598.62 | 14
|  | 51 | 594.96 | 18.8451
|  | 52 | 592.61 | 26.667
|  | 53 | 590.51 | 21.5119
|  | 54 | 729.56 | 17.682
|  | 55 | 906.78 | 15.7278
|  | 56 | 984.81 | 17.6429
|  | 57 | 953.66 | 20.1633
|  | 58 | 820.24 | 22.8485
|  | 59 | 832.59 | 28.2007
|  | 60 | 812.93 | 28.6497
|  | 61 | 820.03 | 26.8401
|  | 62 | 826.28 | 26.7399
|  | 63 | 771.6 | 24.0088
|  | 64 | 709.18 | 20.7885
|  | 65 | 835.03 | 14.9784
|  | 66 | 976.57 | 17.1357
|  | 67 | 996.76 | 17.5652
|  | 68 | 948.28 | 17.1773
|  | 69 | 848.25 | 15.7578
|  | 70 | 713.74 | 16.7524
|  | 71 | 584.38 | 18.159
|  | 72 | 608.64 | 16.4516
|  | 73 | 576.57 | 13.71
|  | 74 | 551.61 | 14.3101
|  | 75 | 532.33 | 14.1899
|  | 76 | 540.36 | 13.1742
|  | 77 | 571.97 | 12.1907
|  | 78 | 661.82 | 11.9605
|  | 79 | 759.22 | 15.3939
|  | 80 | 854.05 | 16.9304
|  | 81 | 838 | 15.819
|  | 82 | 861.34 | 21.2913
|  | 83 | 884.56 | 23.4987
|  | 84 | 865.94 | 28.1879
|  | 85 | 848.86 | 27.7573
|  | 86 | 812.15 | 26.1994
|  | 87 | 771.17 | 20.3725
|  | 88 | 829.61 | 16.0601
|  | 89 | 914.33 | 13.6801
|  | 90 | 1025.71 | 21.2481
|  | 91 | 1070.11 | 18.9758
|  | 92 | 1026.23 | 18.7922
|  | 93 | 883.5 | 18.1881
|  | 94 | 769.26 | 16.9451
|  | 95 | 651.24 | 14.8189
|  | 96 | 639.46 | 13.1703
|  | 97 | 588.61 | 15.3875
|  | 98 | 513.3 | 12.9501
|  | 99 | 513.29 | 13.5367
|  | 100 | 555.14 | 13.3645
|  | 101 | 562.77 | 12.2178
|  | 102 | 604.51 | 13.5508
|  | 103 | 716.22 | 17.3746
|  | 104 | 822.25 | 17.284
|  | 105 | 859.98 | 16.7637
|  | 106 | 837.86 | 27.2725
|  | 107 | 979.91 | 35.0382
|  | 108 | 902.29 | 32.5512
|  | 109 | 905.7 | 26.9025
|  | 110 | 906.36 | 22.814
|  | 111 | 673.05 | 23.4155
|  | 112 | 904.88 | 19.7483
|  | 113 | 947.36 | 13.4787
|  | 114 | 1035.16 | 14.7978
|  | 115 | 1020.1 | 18.183
|  | 116 | 1025.17 | 19.3718
|  | 117 | 928.31 | 24.4534
|  | 118 | 808.36 | 22.5584
|  | 119 | 675.1 | 18.2887
|  | 120 | 575.4 | 16.0752
|  | 121 | 510.09 | 9.9579
|  | 122 | 469.55 | 9.7072
|  | 123 | 451.49 | 8.7566
|  | 124 | 447 | 8.8492
|  | 125 | 455.46 | 9.071
|  | 126 | 525.96 | 13.1793
|  | 127 | 683.09 | 16.9132
|  | 128 | 847.19 | 14.5867
|  | 129 | 879.93 | 11.2768
|  | 130 | 855.62 | 13.9398
|  | 131 | 711.06 | 18.6568
|  | 132 | 685.18 | 21.0057
|  | 133 | 613.42 | 19.4931
|  | 134 | 646.42 | 18.7597
|  | 135 | 622.05 | 15.1808
|  | 136 | 640.78 | 13.0408
|  | 137 | 719.39 | 14.2899
|  | 138 | 878.78 | 23.7289
|  | 139 | 872.67 | 25.9967
|  | 140 | 939.81 | 26.3358
|  | 141 | 890.87 | 24.986
|  | 142 | 749.93 | 25.9515
|  | 143 | 754.24 | 22.3147
|  | 144 | 516.22 | 17.2458
|  | 145 | 547.75 | 11.2138
|  | 146 | 504.84 | 10.3729
|  | 147 | 487.56 | 9.1984
|  | 148 | 483.21 | 9.3098
|  | 149 | 486.2 | 9.9691
|  | 150 | 562.75 | 10.478
|  | 151 | 744.24 | 10.1431
|  | 152 | 907.8 | 11.2111
|  | 153 | 937.66 | 12.5254
|  | 154 | 920.15 | 21.2872
|  | 155 | 803.13 | 25.3833
|  | 156 | 789.91 | 24.7544
|  | 157 | 789.22 | 22.4817
|  | 158 | 821.77 | 24.0758
|  | 159 | 843.32 | 19.8078
|  | 160 | 862.05 | 14.0795
|  | 161 | 910.75 | 10.5702
|  | 162 | 1017.46 | 17.8375
|  | 163 | 1010.39 | 22.4231
|  | 164 | 975.71 | 23.364
|  | 165 | 925.25 | 22.3156
|  | 166 | 821.22 | 19.5076
|  | 167 | 692.42 | 15.6482
|  | 168 | 580.13 | 12.8544
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 27/10/2025 | 28/10/2025 | 30/10/2025 | 30/10/2025 | 31/10/20252 | 1/11/2025 | 2/11/20252
Min (MW) | 13.5872 | 12.2664 | 10.3913 | 11.9605 | 12.2178 | 8.7566 | 9.1984
Max (MW) | 32.0429 | 33.4695 | 28.6497 | 28.1879 | 35.0382 | 26.3358 | 25.3833
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible