## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-11-22
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 22366.86 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 17/11/2025 | 18/11/2025 | 19/11/2025 | 20/11/2025 | 21/11/2025 | 22/11/2025 | 23/11/2025
Min (MW) | 576 | 533 | 563 | 535 | 492 | 525 | 513
Max (MW) | 1379 | 1379 | 1375 | 1282 | 1308 | 1195 | 1397
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-11-20
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 1279.033 | 649.049 | 629.984
|  | 2 | 1193.3457 | 632.615 | 560.7307
|  | 3 | 1169.6702 | 643.601 | 526.0692
|  | 4 | 1149.9762 | 635.039 | 514.9372
|  | 5 | 1140.6844 | 621.129 | 519.5554
|  | 6 | 1370.6794 | 788.224 | 582.4554
|  | 7 | 1466.445 | 721.008 | 745.437
|  | 8 | 1634.8016 | 697.841 | 936.9606
|  | 9 | 1679.4999 | 658.708 | 1020.7919
|  | 10 | 1702.2496 | 659.062 | 1043.1876
|  | 11 | 1623.4583 | 631.972 | 991.4863
|  | 12 | 1464.5383 | 532.757 | 931.7813
|  | 13 | 1435.4227 | 538.727 | 896.6957
|  | 14 | 1446.3977 | 501.006 | 945.3917
|  | 15 | 1600.3583 | 630.179 | 970.1793
|  | 16 | 1612.3648 | 615.992 | 996.3728
|  | 17 | 1626.5902 | 550.615 | 1075.9752
|  | 18 | 1745.4804 | 588.224 | 1157.2564
|  | 19 | 1721.6489 | 559.39 | 1162.2589
|  | 20 | 1709.6896 | 565.442 | 1144.2476
|  | 21 | 1676.7283 | 569.464 | 1107.2643
|  | 22 | 1579.8424 | 566.1 | 1013.7424
|  | 23 | 1566.8901 | 700.656 | 866.2341
|  | 24 | 1521.3824 | 797.874 | 723.5084
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -9.8916 | 213.0088 | 115.6814 | 231.0659 | 366.3583 | -89.0149
2 | -7.6403 | 192.0371 | 123.6101 | 208.3576 | 388.0343 | -89.4652
3 | -4.4312 | 182.704 | 124.7686 | 199.0486 | 381.9702 | -68.2072
4 | -3.2141 | 162.2098 | 113.0004 | 180.8046 | 352.6656 | -66.7157
5 | -6.4885 | 164.6034 | 116.5996 | 189.1524 | 356.8051 | -38.653
6 | -7.6304 | 167.3426 | 98.7325 | 202.0032 | 315.3185 | -19.9484
7 | -24.3652 | 179.852 | 102.5333 | 236.7719 | 242.1135 | -81.2838
8 | -30.3484 | 210.3505 | 130.2902 | 265.1701 | 266.4991 | -164.863
9 | -30.9493 | 213.3367 | 153.1872 | 260.9962 | 342.1932 | -264.476
10 | -34.0858 | 212.5341 | 149.3594 | 238.0686 | 330.6428 | -312.0845
11 | -44.5941 | 211.2333 | 189.3866 | 209.9737 | 360.2162 | -364.667
12 | -58.5427 | 218.2197 | 214.1488 | 225.7533 | 396.0311 | -384.1044
13 | -64.745 | 212.4823 | 220.6221 | 225.1179 | 396.894 | -396.714
14 | -60.0784 | 198.3237 | 207.4077 | 225.6307 | 349.0556 | -345.3779
15 | -47.0561 | 207.1948 | 156.3908 | 253.8773 | 236.2913 | -166.1003
16 | -37.2813 | 222.2731 | 135.2757 | 253.4515 | 189.625 | -115.5681
17 | -38.5016 | 225.0165 | 107.4032 | 258.7834 | 147.9018 | -162.3664
18 | -30.4311 | 83.4662 | 136.123 | 300.5808 | 138.4508 | -95.59
19 | -30.3039 | 77.1207 | 143.7108 | 298.139 | 136.7063 | -84.4875
20 | -37.0014 | 213.9115 | 117.7865 | 229.6692 | 139.0422 | -148.1273
21 | -35.546 | 214.9944 | 134.2727 | 248.0325 | 153.4284 | -129.8665
22 | -31.3078 | 202.0379 | 133.8125 | 220.8826 | 205.2449 | -139.9085
23 | -22.3471 | 219.6943 | 143.4212 | 223.5792 | 285.3151 | -80.1678
24 | -23.7261 | 212.351 | 170.8868 | 207.7932 | 380.2848 | -121.0542
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-11-22
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 1410.73
|  |  | 01:00 - 02:00 | 1395.15
|  |  | 02:00 - 03:00 | 1395.57
|  |  | 03:00 - 04:00 | 1400.23
|  |  | 04:00 - 05:00 | 1416.43
|  |  | 05:00 - 06:00 | 1425.04
|  |  | 06:00 - 07:00 | 1455.74
|  |  | 07:00 - 08:00 | 1650.6
|  |  | 08:00 - 09:00 | 1770
|  |  | 09:00 - 10:00 | 1690.14
|  |  | 10:00 - 11:00 | 1680.19
|  |  | 11:00 - 12:00 | 1631.15
|  |  | 12:00 - 13:00 | 1632.53
|  |  | 13:00 - 14:00 | 1699.15
|  |  | 14:00 - 15:00 | 1773.89
|  |  | 15:00 - 16:00 | 1738.31
|  |  | 16:00 - 17:00 | 1694.05
|  |  | 17:00 - 18:00 | 1750.43
|  |  | 18:00 - 19:00 | 1746.38
|  |  | 19:00 - 20:00 | 1743.3
|  |  | 20:00 - 21:00 | 1724.22
|  |  | 21:00 - 22:00 | 1634.19
|  |  | 22:00 - 23:00 | 1667.4
|  |  | 23:00 - 00:00 | 1551.92
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 135.8314 | 134.3042 | 111.453
2 | 0 | 0 | 0 | 0 | 0 | 117.1414 | 99.5901 | 105.8775
3 | 0 | 0 | 0 | 0 | 0 | 117.0854 | 99.4578 | 102.9861
4 | 0 | 0 | 0 | 0 | 0 | 117.0779 | 99.4595 | 141.0145
5 | 0 | 0 | 0 | 0 | 0 | 102.2729 | 99.4776 | 142.6247
6 | 0 | 0 | 0 | 0 | 0 | 102.2427 | 99.5106 | 142.9419
7 | 0 | 0 | 0 | 3.1039 | 0 | 106.2269 | 99.5092 | 137.7644
8 | 0 | 0 | 0 | 39.6885 | 0 | 132.2286 | 133.997 | 133.6833
9 | 0 | 0 | 0 | 0 | 0 | 142.9014 | 141.6695 | 126.8056
10 | 0 | 2.0534 | 0 | 0 | 0 | 137.3046 | 140.6792 | 106.8479
11 | 0 | 80.0001 | 0 | 0 | 0 | 107.3684 | 104.6686 | 124.0813
12 | 0 | 80.0704 | 0 | 0 | 0 | 135.985 | 135.9818 | 131.5512
13 | 0 | 80.0302 | 0 | 0 | 0.2803 | 143.7707 | 143.5231 | 120.4104
14 | 0 | 1.1756 | 0 | 0 | 116.1905 | 133.5467 | 132.1452 | 117.9994
15 | 0 | 0 | 0 | 0 | 123.8343 | 142.9398 | 129.2375 | 141.9353
16 | 0 | 0 | 0 | 0 | 141.5464 | 141.898 | 141.771 | 99.4705
17 | 0 | 0.38793 | 0 | 0 | 118.9616 | 119.0244 | 137.1811 | 119.1994
18 | 0 | 0 | 0 | 67.042 | 128.6879 | 127.9598 | 127.2246 | 102.4049
19 | 0 | 0 | 0 | 73.3637 | 123.7818 | 121.01 | 132.2488 | 95.6662
20 | 0 | 0 | 0 | 0 | 102.0007 | 139.8014 | 141.2065 | 98.8808
21 | 0 | 0 | 0 | 0 | 133.4396 | 138.87 | 141.1955 | 98.0421
22 | 0 | 0 | 0 | 0 | 97.1266 | 102.7593 | 111.4789 | 112.5565
23 | 0 | 0 | 0 | 0 | 99.0465 | 118.9166 | 111.414 | 122.5272
24 | 0 | 0 | 0 | 0 | 120.3763 | 92.3661 | 111.4129 | 113.8324
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 243.7177 | 0 | 183.1981 | 1305.2727 | 2976.5295 | 2948.3443 | 2850.5563
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 546 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 373.1 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | mFRR- | RR+ | RR- | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 591 | 18.1482
|  | 2 | 583.38 | 18.0168
|  | 3 | 664.76 | 18.3846
|  | 4 | 663.25 | 20.3607
|  | 5 | 579.08 | 19.4813
|  | 6 | 588.8 | 20.4203
|  | 7 | 769.44 | 22.0452
|  | 8 | 955.32 | 17.9672
|  | 9 | 1022.66 | 26.254
|  | 10 | 1016.52 | 35.6272
|  | 11 | 1002.08 | 41.8463
|  | 12 | 929.62 | 39.4454
|  | 13 | 965.37 | 35.5615
|  | 14 | 928.53 | 29.4809
|  | 15 | 924.09 | 20.7266
|  | 16 | 909.02 | 19.2283
|  | 17 | 937.56 | 31.0281
|  | 18 | 999.39 | 40.9501
|  | 19 | 1065.02 | 46.1032
|  | 20 | 1110.98 | 46.3668
|  | 21 | 1058.62 | 36.5585
|  | 22 | 962.58 | 31.8955
|  | 23 | 832.64 | 23.8408
|  | 24 | 711.38 | 19.1938
|  | 25 | 600.93 | 25.5821
|  | 26 | 554.6 | 24.0773
|  | 27 | 528.04 | 23.6867
|  | 28 | 520.24 | 23.9218
|  | 29 | 532.95 | 24.7442
|  | 30 | 600.95 | 21.98
|  | 31 | 765.72 | 21.088
|  | 32 | 931.95 | 23.3459
|  | 33 | 966.35 | 33.9654
|  | 34 | 939.45 | 41.7093
|  | 35 | 946.86 | 43.8079
|  | 36 | 924.98 | 43.713
|  | 37 | 925.98 | 35.1707
|  | 38 | 882.77 | 29.2512
|  | 39 | 896.52 | 21.5283
|  | 40 | 942.05 | 20.4739
|  | 41 | 1043.62 | 30.8242
|  | 42 | 1184.34 | 36.4729
|  | 43 | 1192.5 | 38.5077
|  | 44 | 1226.49 | 38.9386
|  | 45 | 1178.3 | 37.0477
|  | 46 | 1092.85 | 29.9641
|  | 47 | 943.59 | 23.1946
|  | 48 | 805.37 | 19.8886
|  | 49 | 614.36 | 29.3084
|  | 50 | 557.03 | 26.3481
|  | 51 | 535.47 | 22.5893
|  | 52 | 528.16 | 21.401
|  | 53 | 539.13 | 20.0846
|  | 54 | 621.09 | 21.6035
|  | 55 | 801.01 | 22.6031
|  | 56 | 971.57 | 23.7681
|  | 57 | 983.09 | 25.4388
|  | 58 | 952.17 | 26.069
|  | 59 | 980.29 | 26.661
|  | 60 | 960.78 | 27.1754
|  | 61 | 990.63 | 28.0055
|  | 62 | 931.46 | 28.1379
|  | 63 | 1022.14 | 23.4675
|  | 64 | 1078.82 | 24.2246
|  | 65 | 1164.49 | 36.1667
|  | 66 | 1311.16 | 40.6755
|  | 67 | 1320.01 | 36.188
|  | 68 | 1294.75 | 38.4431
|  | 69 | 1239.52 | 34.4215
|  | 70 | 1139.91 | 28.4449
|  | 71 | 982.63 | 26.9995
|  | 72 | 831.56 | 25.7955
|  | 73 | 659.54 | 19.4473
|  | 74 | 599.25 | 20.2335
|  | 75 | 575.07 | 20.3893
|  | 76 | 551.79 | 26.1075
|  | 77 | 571.66 | 22.2304
|  | 78 | 655.09 | 18.0218
|  | 79 | 861.97 | 18.1713
|  | 80 | 1055.11 | 20.806
|  | 81 | 1056.01 | 26.4922
|  | 82 | 997.08 | 27.6759
|  | 83 | 842.71 | 28.1442
|  | 84 | 819.35 | 27.4983
|  | 85 | 844.85 | 27.7005
|  | 86 | 899.68 | 32.7564
|  | 87 | 949.87 | 30.6146
|  | 88 | 935.7 | 29.0901
|  | 89 | 1090.4 | 36.5936
|  | 90 | 1255.39 | 37.4376
|  | 91 | 1270.62 | 39.6411
|  | 92 | 1274.93 | 36.659
|  | 93 | 1245.4 | 32.9558
|  | 94 | 1102.41 | 33.1866
|  | 95 | 946.31 | 32.3766
|  | 96 | 795.01 | 32.0893
|  | 97 | 641.93 | 14.2526
|  | 98 | 589.25 | 14.7057
|  | 99 | 561.73 | 16.006
|  | 100 | 552.71 | 19.7062
|  | 101 | 555.86 | 19.9815
|  | 102 | 629.5 | 20.5789
|  | 103 | 774.26 | 20.1692
|  | 104 | 911.36 | 18.1573
|  | 105 | 971.21 | 16.9658
|  | 106 | 956.16 | 18.2719
|  | 107 | 827.76 | 19.3532
|  | 108 | 932.78 | 20.9193
|  | 109 | 902.4 | 23.8578
|  | 110 | 921.28 | 28.7504
|  | 111 | 937.88 | 38.4611
|  | 112 | 952 | 34.3329
|  | 113 | 1034.69 | 33.223
|  | 114 | 1219.37 | 31.8732
|  | 115 | 1161.87 | 32.1274
|  | 116 | 1200.07 | 30.1998
|  | 117 | 1150.15 | 26.6757
|  | 118 | 1057.46 | 23.2374
|  | 119 | 941.5 | 20.1724
|  | 120 | 833.83 | 18.7147
|  | 121 | 684.75 | 27.7187
|  | 122 | 625.52 | 26.2332
|  | 123 | 598.13 | 19.9257
|  | 124 | 584.01 | 23.8804
|  | 125 | 597.31 | 25.0609
|  | 126 | 651.31 | 22.1661
|  | 127 | 772.83 | 17.6467
|  | 128 | 898.44 | 16.4322
|  | 129 | 949.65 | 15.2
|  | 130 | 942.39 | 20.0302
|  | 131 | 892.31 | 21.1996
|  | 132 | 838.54 | 21.8811
|  | 133 | 834.26 | 21.9412
|  | 134 | 843.92 | 21.6315
|  | 135 | 861.61 | 20.6933
|  | 136 | 945.78 | 20.9911
|  | 137 | 1042.22 | 25.3839
|  | 138 | 1198.65 | 28.5768
|  | 139 | 1229.73 | 25.3909
|  | 140 | 1260.14 | 24.0179
|  | 141 | 1217.19 | 21.1264
|  | 142 | 1089.27 | 20.2202
|  | 143 | 913.56 | 17.1969
|  | 144 | 800.91 | 14.4057
|  | 145 | 575.18 | 10.4929
|  | 146 | 577.68 | 9.4842
|  | 147 | 553.44 | 9.7578
|  | 148 | 544.49 | 11.6617
|  | 149 | 553.87 | 12.5697
|  | 150 | 622.69 | 12.9215
|  | 151 | 789.98 | 13.8078
|  | 152 | 978.84 | 15.0685
|  | 153 | 1014.54 | 15.0439
|  | 154 | 1035.55 | 18.3855
|  | 155 | 913.43 | 17.1323
|  | 156 | 865.67 | 17.3551
|  | 157 | 854.63 | 15.336
|  | 158 | 871.09 | 15.0025
|  | 159 | 906.85 | 15.142
|  | 160 | 943.84 | 19.8961
|  | 161 | 1004.39 | 27.8896
|  | 162 | 1125.31 | 31.1743
|  | 163 | 1125.6 | 25.198
|  | 164 | 1096.96 | 25.8987
|  | 165 | 1051.92 | 25.0567
|  | 166 | 944.83 | 20.4992
|  | 167 | 814.23 | 20.0047
|  | 168 | 685.86 | 22.3799
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 17/11/2025 | 18/11/2025 | 19/11/2025 | 20/11/2025 | 21/11/2025 | 22/11/2025 | 23/11/2025
Min (MW) | 17.9672 | 19.8886 | 20.0846 | 18.0218 | 14.2526 | 14.4057 | 9.4842
Max (MW) | 46.3668 | 43.8079 | 40.6755 | 39.6411 | 38.4611 | 28.5768 | 31.1743
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-11-22
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 22366.86 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Data | 17/11/2025 | 18/11/2025 | 19/11/2025 | 20/11/2025 | 21/11/2025 | 22/11/2025 | 23/11/2025
Min (MW) | 576 | 533 | 563 | 535 | 492 | 525 | 513
Max (MW) | 1379 | 1379 | 1375 | 1282 | 1308 | 1195 | 1397
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-11-20
|  | Hour | Production | Exchange | Consumption
|  | 1 | 1279.033 | 649.049 | 629.984
|  | 2 | 1193.3457 | 632.615 | 560.7307
|  | 3 | 1169.6702 | 643.601 | 526.0692
|  | 4 | 1149.9762 | 635.039 | 514.9372
|  | 5 | 1140.6844 | 621.129 | 519.5554
|  | 6 | 1370.6794 | 788.224 | 582.4554
|  | 7 | 1466.445 | 721.008 | 745.437
|  | 8 | 1634.8016 | 697.841 | 936.9606
|  | 9 | 1679.4999 | 658.708 | 1020.7919
|  | 10 | 1702.2496 | 659.062 | 1043.1876
|  | 11 | 1623.4583 | 631.972 | 991.4863
|  | 12 | 1464.5383 | 532.757 | 931.7813
|  | 13 | 1435.4227 | 538.727 | 896.6957
|  | 14 | 1446.3977 | 501.006 | 945.3917
|  | 15 | 1600.3583 | 630.179 | 970.1793
|  | 16 | 1612.3648 | 615.992 | 996.3728
|  | 17 | 1626.5902 | 550.615 | 1075.9752
|  | 18 | 1745.4804 | 588.224 | 1157.2564
|  | 19 | 1721.6489 | 559.39 | 1162.2589
|  | 20 | 1709.6896 | 565.442 | 1144.2476
|  | 21 | 1676.7283 | 569.464 | 1107.2643
|  | 22 | 1579.8424 | 566.1 | 1013.7424
|  | 23 | 1566.8901 | 700.656 | 866.2341
|  | 24 | 1521.3824 | 797.874 | 723.5084
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -9.8916 | 213.0088 | 115.6814 | 231.0659 | 366.3583 | -89.0149
2 | -7.6403 | 192.0371 | 123.6101 | 208.3576 | 388.0343 | -89.4652
3 | -4.4312 | 182.704 | 124.7686 | 199.0486 | 381.9702 | -68.2072
4 | -3.2141 | 162.2098 | 113.0004 | 180.8046 | 352.6656 | -66.7157
5 | -6.4885 | 164.6034 | 116.5996 | 189.1524 | 356.8051 | -38.653
6 | -7.6304 | 167.3426 | 98.7325 | 202.0032 | 315.3185 | -19.9484
7 | -24.3652 | 179.852 | 102.5333 | 236.7719 | 242.1135 | -81.2838
8 | -30.3484 | 210.3505 | 130.2902 | 265.1701 | 266.4991 | -164.863
9 | -30.9493 | 213.3367 | 153.1872 | 260.9962 | 342.1932 | -264.476
10 | -34.0858 | 212.5341 | 149.3594 | 238.0686 | 330.6428 | -312.0845
11 | -44.5941 | 211.2333 | 189.3866 | 209.9737 | 360.2162 | -364.667
12 | -58.5427 | 218.2197 | 214.1488 | 225.7533 | 396.0311 | -384.1044
13 | -64.745 | 212.4823 | 220.6221 | 225.1179 | 396.894 | -396.714
14 | -60.0784 | 198.3237 | 207.4077 | 225.6307 | 349.0556 | -345.3779
15 | -47.0561 | 207.1948 | 156.3908 | 253.8773 | 236.2913 | -166.1003
16 | -37.2813 | 222.2731 | 135.2757 | 253.4515 | 189.625 | -115.5681
17 | -38.5016 | 225.0165 | 107.4032 | 258.7834 | 147.9018 | -162.3664
18 | -30.4311 | 83.4662 | 136.123 | 300.5808 | 138.4508 | -95.59
19 | -30.3039 | 77.1207 | 143.7108 | 298.139 | 136.7063 | -84.4875
20 | -37.0014 | 213.9115 | 117.7865 | 229.6692 | 139.0422 | -148.1273
21 | -35.546 | 214.9944 | 134.2727 | 248.0325 | 153.4284 | -129.8665
22 | -31.3078 | 202.0379 | 133.8125 | 220.8826 | 205.2449 | -139.9085
23 | -22.3471 | 219.6943 | 143.4212 | 223.5792 | 285.3151 | -80.1678
24 | -23.7261 | 212.351 | 170.8868 | 207.7932 | 380.2848 | -121.0542
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2025-11-22
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 1410.73
|  |  | 01:00 - 02:00 | 1395.15
|  |  | 02:00 - 03:00 | 1395.57
|  |  | 03:00 - 04:00 | 1400.23
|  |  | 04:00 - 05:00 | 1416.43
|  |  | 05:00 - 06:00 | 1425.04
|  |  | 06:00 - 07:00 | 1455.74
|  |  | 07:00 - 08:00 | 1650.6
|  |  | 08:00 - 09:00 | 1770
|  |  | 09:00 - 10:00 | 1690.14
|  |  | 10:00 - 11:00 | 1680.19
|  |  | 11:00 - 12:00 | 1631.15
|  |  | 12:00 - 13:00 | 1632.53
|  |  | 13:00 - 14:00 | 1699.15
|  |  | 14:00 - 15:00 | 1773.89
|  |  | 15:00 - 16:00 | 1738.31
|  |  | 16:00 - 17:00 | 1694.05
|  |  | 17:00 - 18:00 | 1750.43
|  |  | 18:00 - 19:00 | 1746.38
|  |  | 19:00 - 20:00 | 1743.3
|  |  | 20:00 - 21:00 | 1724.22
|  |  | 21:00 - 22:00 | 1634.19
|  |  | 22:00 - 23:00 | 1667.4
|  |  | 23:00 - 00:00 | 1551.92
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 135.8314 | 134.3042 | 111.453
2 | 0 | 0 | 0 | 0 | 0 | 117.1414 | 99.5901 | 105.8775
3 | 0 | 0 | 0 | 0 | 0 | 117.0854 | 99.4578 | 102.9861
4 | 0 | 0 | 0 | 0 | 0 | 117.0779 | 99.4595 | 141.0145
5 | 0 | 0 | 0 | 0 | 0 | 102.2729 | 99.4776 | 142.6247
6 | 0 | 0 | 0 | 0 | 0 | 102.2427 | 99.5106 | 142.9419
7 | 0 | 0 | 0 | 3.1039 | 0 | 106.2269 | 99.5092 | 137.7644
8 | 0 | 0 | 0 | 39.6885 | 0 | 132.2286 | 133.997 | 133.6833
9 | 0 | 0 | 0 | 0 | 0 | 142.9014 | 141.6695 | 126.8056
10 | 0 | 2.0534 | 0 | 0 | 0 | 137.3046 | 140.6792 | 106.8479
11 | 0 | 80.0001 | 0 | 0 | 0 | 107.3684 | 104.6686 | 124.0813
12 | 0 | 80.0704 | 0 | 0 | 0 | 135.985 | 135.9818 | 131.5512
13 | 0 | 80.0302 | 0 | 0 | 0.2803 | 143.7707 | 143.5231 | 120.4104
14 | 0 | 1.1756 | 0 | 0 | 116.1905 | 133.5467 | 132.1452 | 117.9994
15 | 0 | 0 | 0 | 0 | 123.8343 | 142.9398 | 129.2375 | 141.9353
16 | 0 | 0 | 0 | 0 | 141.5464 | 141.898 | 141.771 | 99.4705
17 | 0 | 0.38793 | 0 | 0 | 118.9616 | 119.0244 | 137.1811 | 119.1994
18 | 0 | 0 | 0 | 67.042 | 128.6879 | 127.9598 | 127.2246 | 102.4049
19 | 0 | 0 | 0 | 73.3637 | 123.7818 | 121.01 | 132.2488 | 95.6662
20 | 0 | 0 | 0 | 0 | 102.0007 | 139.8014 | 141.2065 | 98.8808
21 | 0 | 0 | 0 | 0 | 133.4396 | 138.87 | 141.1955 | 98.0421
22 | 0 | 0 | 0 | 0 | 97.1266 | 102.7593 | 111.4789 | 112.5565
23 | 0 | 0 | 0 | 0 | 99.0465 | 118.9166 | 111.414 | 122.5272
24 | 0 | 0 | 0 | 0 | 120.3763 | 92.3661 | 111.4129 | 113.8324
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 243.7177 | 0 | 183.1981 | 1305.2727 | 2840.6981 | 2814.0401 | 2739.1033
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 546 MWh
Art. 5.12 | Energy reserve | [5 empty] | 373.1 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 591 | 18.1482
|  | 2 | 583.38 | 18.0168
|  | 3 | 664.76 | 18.3846
|  | 4 | 663.25 | 20.3607
|  | 5 | 579.08 | 19.4813
|  | 6 | 588.8 | 20.4203
|  | 7 | 769.44 | 22.0452
|  | 8 | 955.32 | 17.9672
|  | 9 | 1022.66 | 26.254
|  | 10 | 1016.52 | 35.6272
|  | 11 | 1002.08 | 41.8463
|  | 12 | 929.62 | 39.4454
|  | 13 | 965.37 | 35.5615
|  | 14 | 928.53 | 29.4809
|  | 15 | 924.09 | 20.7266
|  | 16 | 909.02 | 19.2283
|  | 17 | 937.56 | 31.0281
|  | 18 | 999.39 | 40.9501
|  | 19 | 1065.02 | 46.1032
|  | 20 | 1110.98 | 46.3668
|  | 21 | 1058.62 | 36.5585
|  | 22 | 962.58 | 31.8955
|  | 23 | 832.64 | 23.8408
|  | 24 | 711.38 | 19.1938
|  | 25 | 600.93 | 25.5821
|  | 26 | 554.6 | 24.0773
|  | 27 | 528.04 | 23.6867
|  | 28 | 520.24 | 23.9218
|  | 29 | 532.95 | 24.7442
|  | 30 | 600.95 | 21.98
|  | 31 | 765.72 | 21.088
|  | 32 | 931.95 | 23.3459
|  | 33 | 966.35 | 33.9654
|  | 34 | 939.45 | 41.7093
|  | 35 | 946.86 | 43.8079
|  | 36 | 924.98 | 43.713
|  | 37 | 925.98 | 35.1707
|  | 38 | 882.77 | 29.2512
|  | 39 | 896.52 | 21.5283
|  | 40 | 942.05 | 20.4739
|  | 41 | 1043.62 | 30.8242
|  | 42 | 1184.34 | 36.4729
|  | 43 | 1192.5 | 38.5077
|  | 44 | 1226.49 | 38.9386
|  | 45 | 1178.3 | 37.0477
|  | 46 | 1092.85 | 29.9641
|  | 47 | 943.59 | 23.1946
|  | 48 | 805.37 | 19.8886
|  | 49 | 614.36 | 29.3084
|  | 50 | 557.03 | 26.3481
|  | 51 | 535.47 | 22.5893
|  | 52 | 528.16 | 21.401
|  | 53 | 539.13 | 20.0846
|  | 54 | 621.09 | 21.6035
|  | 55 | 801.01 | 22.6031
|  | 56 | 971.57 | 23.7681
|  | 57 | 983.09 | 25.4388
|  | 58 | 952.17 | 26.069
|  | 59 | 980.29 | 26.661
|  | 60 | 960.78 | 27.1754
|  | 61 | 990.63 | 28.0055
|  | 62 | 931.46 | 28.1379
|  | 63 | 1022.14 | 23.4675
|  | 64 | 1078.82 | 24.2246
|  | 65 | 1164.49 | 36.1667
|  | 66 | 1311.16 | 40.6755
|  | 67 | 1320.01 | 36.188
|  | 68 | 1294.75 | 38.4431
|  | 69 | 1239.52 | 34.4215
|  | 70 | 1139.91 | 28.4449
|  | 71 | 982.63 | 26.9995
|  | 72 | 831.56 | 25.7955
|  | 73 | 659.54 | 19.4473
|  | 74 | 599.25 | 20.2335
|  | 75 | 575.07 | 20.3893
|  | 76 | 551.79 | 26.1075
|  | 77 | 571.66 | 22.2304
|  | 78 | 655.09 | 18.0218
|  | 79 | 861.97 | 18.1713
|  | 80 | 1055.11 | 20.806
|  | 81 | 1056.01 | 26.4922
|  | 82 | 997.08 | 27.6759
|  | 83 | 842.71 | 28.1442
|  | 84 | 819.35 | 27.4983
|  | 85 | 844.85 | 27.7005
|  | 86 | 899.68 | 32.7564
|  | 87 | 949.87 | 30.6146
|  | 88 | 935.7 | 29.0901
|  | 89 | 1090.4 | 36.5936
|  | 90 | 1255.39 | 37.4376
|  | 91 | 1270.62 | 39.6411
|  | 92 | 1274.93 | 36.659
|  | 93 | 1245.4 | 32.9558
|  | 94 | 1102.41 | 33.1866
|  | 95 | 946.31 | 32.3766
|  | 96 | 795.01 | 32.0893
|  | 97 | 641.93 | 14.2526
|  | 98 | 589.25 | 14.7057
|  | 99 | 561.73 | 16.006
|  | 100 | 552.71 | 19.7062
|  | 101 | 555.86 | 19.9815
|  | 102 | 629.5 | 20.5789
|  | 103 | 774.26 | 20.1692
|  | 104 | 911.36 | 18.1573
|  | 105 | 971.21 | 16.9658
|  | 106 | 956.16 | 18.2719
|  | 107 | 827.76 | 19.3532
|  | 108 | 932.78 | 20.9193
|  | 109 | 902.4 | 23.8578
|  | 110 | 921.28 | 28.7504
|  | 111 | 937.88 | 38.4611
|  | 112 | 952 | 34.3329
|  | 113 | 1034.69 | 33.223
|  | 114 | 1219.37 | 31.8732
|  | 115 | 1161.87 | 32.1274
|  | 116 | 1200.07 | 30.1998
|  | 117 | 1150.15 | 26.6757
|  | 118 | 1057.46 | 23.2374
|  | 119 | 941.5 | 20.1724
|  | 120 | 833.83 | 18.7147
|  | 121 | 684.75 | 27.7187
|  | 122 | 625.52 | 26.2332
|  | 123 | 598.13 | 19.9257
|  | 124 | 584.01 | 23.8804
|  | 125 | 597.31 | 25.0609
|  | 126 | 651.31 | 22.1661
|  | 127 | 772.83 | 17.6467
|  | 128 | 898.44 | 16.4322
|  | 129 | 949.65 | 15.2
|  | 130 | 942.39 | 20.0302
|  | 131 | 892.31 | 21.1996
|  | 132 | 838.54 | 21.8811
|  | 133 | 834.26 | 21.9412
|  | 134 | 843.92 | 21.6315
|  | 135 | 861.61 | 20.6933
|  | 136 | 945.78 | 20.9911
|  | 137 | 1042.22 | 25.3839
|  | 138 | 1198.65 | 28.5768
|  | 139 | 1229.73 | 25.3909
|  | 140 | 1260.14 | 24.0179
|  | 141 | 1217.19 | 21.1264
|  | 142 | 1089.27 | 20.2202
|  | 143 | 913.56 | 17.1969
|  | 144 | 800.91 | 14.4057
|  | 145 | 575.18 | 10.4929
|  | 146 | 577.68 | 9.4842
|  | 147 | 553.44 | 9.7578
|  | 148 | 544.49 | 11.6617
|  | 149 | 553.87 | 12.5697
|  | 150 | 622.69 | 12.9215
|  | 151 | 789.98 | 13.8078
|  | 152 | 978.84 | 15.0685
|  | 153 | 1014.54 | 15.0439
|  | 154 | 1035.55 | 18.3855
|  | 155 | 913.43 | 17.1323
|  | 156 | 865.67 | 17.3551
|  | 157 | 854.63 | 15.336
|  | 158 | 871.09 | 15.0025
|  | 159 | 906.85 | 15.142
|  | 160 | 943.84 | 19.8961
|  | 161 | 1004.39 | 27.8896
|  | 162 | 1125.31 | 31.1743
|  | 163 | 1125.6 | 25.198
|  | 164 | 1096.96 | 25.8987
|  | 165 | 1051.92 | 25.0567
|  | 166 | 944.83 | 20.4992
|  | 167 | 814.23 | 20.0047
|  | 168 | 685.86 | 22.3799
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 17/11/2025 | 18/11/2025 | 20/11/2025 | 20/11/2025 | 21/11/2025 | 22/11/2025 | 23/11/2025
Min (MW) | 17.9672 | 19.8886 | 20.0846 | 18.0218 | 14.2526 | 14.4057 | 9.4842
Max (MW) | 46.3668 | 43.8079 | 40.6755 | 39.6411 | 38.4611 | 28.5768 | 31.1743
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible