## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-11-24
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 23377.83 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 24/11/2025 | 25/11/2025 | 26/11/2025 | 27/11/2025 | 28/11/2025 | 29/11/2025 | 30/11/2025
Min (MW) | 564 | 555 | 572 | 559 | 555 | 538 | 545
Max (MW) | 1457 | 1502 | 1460 | 1395 | 1324 | 1302 | 1387
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-11-22
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 1242.4927 | 641.56 | 600.9327
|  | 2 | 1179.895 | 643.5322 | 536.3629
|  | 3 | 1092.5964 | 584.9618 | 507.6346
|  | 4 | 1069.2779 | 567.9206 | 501.3573
|  | 5 | 1106.5865 | 596.5703 | 510.0161
|  | 6 | 1198.4096 | 640.6209 | 557.7887
|  | 7 | 1244.8395 | 580.8086 | 664.0308
|  | 8 | 1410.822 | 594.7109 | 816.1112
|  | 9 | 1529.198 | 579.9875 | 949.2105
|  | 10 | 1465.317 | 448.5223 | 1016.7946
|  | 11 | 1503.0421 | 440.31 | 1062.7321
|  | 12 | 1570.8039 | 445.9483 | 1124.8557
|  | 13 | 1650.3918 | 496.8135 | 1153.5783
|  | 14 | 1684.6103 | 495.213 | 1189.3972
|  | 15 | 1648.763 | 508.5086 | 1140.2544
|  | 16 | 1752.575 | 590.8557 | 1161.7193
|  | 17 | 1781.0083 | 578.4979 | 1202.5104
|  | 18 | 1798.4272 | 567.4198 | 1231.0074
|  | 19 | 1772.6246 | 564.4749 | 1208.1497
|  | 20 | 1755.3703 | 579.3601 | 1176.0102
|  | 21 | 1725.7568 | 601.9888 | 1123.7679
|  | 22 | 1635.2042 | 608.8765 | 1026.3277
|  | 23 | 1500.9327 | 611.274 | 889.6586
|  | 24 | 1362.9099 | 615.8282 | 747.0817
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -24.917 | 161.1766 | 70.9224 | 209.6414 | 339.7901 | -76.0171
2 | -20.3447 | 187.4947 | 112.0175 | 199.2421 | 368.4952 | -21.2709
3 | -13.7682 | 151.4142 | 60.5799 | 156.1126 | 319.3989 | 4.5971
4 | -9.1015 | 145.7201 | 53.7032 | 159.435 | 314.3267 | 21.4167
5 | -4.8268 | 142.145 | 42.5449 | 153.6515 | 288.5353 | 60.9277
6 | -3.3811 | 155.9651 | 71.4365 | 169.9375 | 300.1528 | 95.5526
7 | -4.086 | 160.9623 | 64.4495 | 169.0053 | 255.2364 | 137.3151
8 | -24.0227 | 179.864 | 104.796 | 222.6277 | 261.0263 | -10.4574
9 | -24.4247 | 203.4203 | 132.7966 | 214.0089 | 282.5733 | -111.9722
10 | -29.3272 | 208.9859 | 96.0121 | 241.3459 | 260.2495 | -109.224
11 | -35.883 | 235.2082 | 118.6327 | 270.5891 | 279.6998 | -122.7031
12 | -31.3536 | 224.5354 | 100.1663 | 247.0971 | 250.1238 | -87.1415
13 | -39.0672 | 227.3739 | 111.1841 | 256.461 | 267.8592 | -134.0637
14 | -41.1803 | 231.0846 | 125.2383 | 264.4637 | 273.5604 | -145.5378
15 | -37.2779 | 213.9931 | 139.6102 | 251.6678 | 276.1221 | -139.8065
16 | -33.8364 | 82.108 | 152.6638 | 289.6202 | 227.2355 | -10.1116
17 | -40.4957 | 178.3213 | 150.4512 | 266.6829 | 234.0979 | -94.2185
18 | -50.1111 | 209.1647 | 162.978 | 247.9035 | 208.3818 | -161.9716
19 | -47.77 | 155.1653 | 169.7078 | 258.419 | 224.4668 | -145.1481
20 | -43.0289 | 81.6105 | 192.6403 | 280.5337 | 270.2865 | -179.0466
21 | -40.4198 | 126.2762 | 186.5232 | 245.3875 | 294.9865 | -193.247
22 | -36.5314 | 138.1185 | 200.6587 | 194.8875 | 408.7319 | -210.642
23 | -38.8294 | 93.5671 | 249.843 | 271.8374 | 521.0769 | -220.2801
24 | -32.3171 | 79.4348 | 235.0844 | 258.019 | 517.1228 | -182.2232
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-11-24
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 1252.86
|  |  | 01:00 - 02:00 | 1171.34
|  |  | 02:00 - 03:00 | 1049.18
|  |  | 03:00 - 04:00 | 1054.6
|  |  | 04:00 - 05:00 | 1051.21
|  |  | 05:00 - 06:00 | 1189.28
|  |  | 06:00 - 07:00 | 1375.18
|  |  | 07:00 - 08:00 | 1482.75
|  |  | 08:00 - 09:00 | 1577.29
|  |  | 09:00 - 10:00 | 1587.42
|  |  | 10:00 - 11:00 | 1587.73
|  |  | 11:00 - 12:00 | 1566.78
|  |  | 12:00 - 13:00 | 1542.87
|  |  | 13:00 - 14:00 | 1610.66
|  |  | 14:00 - 15:00 | 1557.77
|  |  | 15:00 - 16:00 | 1621.54
|  |  | 16:00 - 17:00 | 1703.87
|  |  | 17:00 - 18:00 | 1792.76
|  |  | 18:00 - 19:00 | 1747.88
|  |  | 19:00 - 20:00 | 1740.46
|  |  | 20:00 - 21:00 | 1735.02
|  |  | 21:00 - 22:00 | 1667.7
|  |  | 22:00 - 23:00 | 1632.34
|  |  | 23:00 - 00:00 | 1400.63
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 135.8963 | 6.8721 | 0 | 114.9955
2 | 0 | 0 | 0 | 0 | 60.5933 | 103.3742 | 0 | 124.8108
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 121.8761
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122.8433
5 | 0 | 0 | 0 | 0 | 1.0794 | 0 | 0 | 118.918
6 | 0 | 0 | 0 | 0 | 101.4855 | 0 | 0 | 112.9482
7 | 0 | 0 | 0 | 0 | 103.9004 | 61.959 | 0 | 129.6675
8 | 0 | 0 | 0 | 0 | 113.578 | 102.182 | 60.1388 | 104.6242
9 | 0 | 0 | 0 | 0 | 107.8286 | 126.9063 | 141.0433 | 108.7926
10 | 0 | 0 | 0 | 0 | 126.4028 | 111.7649 | 96.8289 | 95.256
11 | 0 | 0 | 0 | 0 | 107.2882 | 138.5578 | 137.945 | 121.7966
12 | 0 | 0 | 0 | 0 | 104.0303 | 127.0546 | 109.575 | 100.0666
13 | 0 | 0 | 0 | 0 | 119.4375 | 141.7639 | 107.753 | 126.6264
14 | 0 | 0 | 0 | 0 | 107.2038 | 140.5238 | 141.3587 | 130.733
15 | 0 | 0 | 0 | 3.2764 | 107.6906 | 129.0281 | 134.477 | 139.5647
16 | 0 | 2.672 | 0 | 79.6181 | 141.6614 | 134.7339 | 134.5104 | 132.8548
17 | 19.0884 | 80.0068 | 0 | 79.629 | 143.5128 | 138.8785 | 139.4537 | 141.7926
18 | 64.8528 | 65.0255 | 0 | 79.6328 | 107.3723 | 133.8831 | 134.454 | 110.2261
19 | 64.8242 | 11.0213 | 0 | 79.5798 | 107.8736 | 138.8264 | 139.4132 | 137.4515
20 | 2.0523 | 0 | 0 | 79.6172 | 140.439 | 142.9316 | 141.7848 | 141.4261
21 | 0 | 0 | 0 | 60.48 | 121.7462 | 143.0395 | 141.6603 | 140.5469
22 | 0 | 0 | 0 | 40.1266 | 115.07 | 140.5664 | 140.4855 | 136.536
23 | 0 | 0 | 0 | 77.5597 | 137.6065 | 134.0424 | 126.2315 | 141.2923
24 | 0 | 0 | 0 | 79.6252 | 125.1997 | 99.3123 | 31.1489 | 107.3169
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 150.8176 | 158.7255 | 0 | 659.1448 | 2436.8962 | 2396.201 | 2058.2621 | 2962.9631
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 901 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 615.7 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | mFRR- | RR+ | RR- | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 575.18 | 43.1159
|  | 2 | 577.68 | 35.5978
|  | 3 | 553.44 | 32.761
|  | 4 | 544.49 | 36.6709
|  | 5 | 553.87 | 34.5186
|  | 6 | 622.69 | 32.6322
|  | 7 | 789.98 | 31.7748
|  | 8 | 978.84 | 33.1663
|  | 9 | 1014.54 | 36.3464
|  | 10 | 1035.55 | 36.6123
|  | 11 | 1013.43 | 40.5084
|  | 12 | 940.67 | 33.703
|  | 13 | 854.63 | 32.1491
|  | 14 | 874.49 | 30.2437
|  | 15 | 1031.85 | 30.9363
|  | 16 | 998.84 | 33.7671
|  | 17 | 1129.39 | 36.8176
|  | 18 | 1165.31 | 43.968
|  | 19 | 1205.6 | 44.9252
|  | 20 | 1196.96 | 44.5116
|  | 21 | 1146.62 | 44.0144
|  | 22 | 1037.53 | 46.8882
|  | 23 | 886.23 | 45.1704
|  | 24 | 722.86 | 44.4024
|  | 25 | 631.31 | 31.2211
|  | 26 | 573.92 | 30.2662
|  | 27 | 546.66 | 32.2854
|  | 28 | 523.32 | 32.2234
|  | 29 | 520.53 | 27.1377
|  | 30 | 593.58 | 25.3299
|  | 31 | 760.94 | 27.813
|  | 32 | 943.36 | 31.5282
|  | 33 | 998.62 | 30.531
|  | 34 | 928.26 | 34.6429
|  | 35 | 909.59 | 34.8294
|  | 36 | 1015.39 | 38.498
|  | 37 | 1091.35 | 42.0971
|  | 38 | 1104.39 | 42.3507
|  | 39 | 1085.38 | 45.0256
|  | 40 | 1074.54 | 47.057
|  | 41 | 1065.57 | 41.7221
|  | 42 | 1175.7 | 37.5194
|  | 43 | 1168.05 | 35.1129
|  | 44 | 1048.72 | 32.5767
|  | 45 | 996.72 | 30.8862
|  | 46 | 898.03 | 32.1914
|  | 47 | 764.37 | 36.0905
|  | 48 | 598.71 | 45.4658
|  | 49 | 526.65 | 16.7623
|  | 50 | 471.49 | 18.9875
|  | 51 | 450.4 | 20.5285
|  | 52 | 441.03 | 20.0227
|  | 53 | 473.17 | 20.5368
|  | 54 | 543.18 | 23.4363
|  | 55 | 708.7 | 25.5286
|  | 56 | 876.29 | 27.1886
|  | 57 | 937.73 | 27.86
|  | 58 | 954.98 | 28.1959
|  | 59 | 1116.31 | 28.7905
|  | 60 | 1112.96 | 34.8093
|  | 61 | 1125.17 | 35.5117
|  | 62 | 1102 | 34.4808
|  | 63 | 1097.62 | 37.3553
|  | 64 | 1095.97 | 38.4209
|  | 65 | 1149.49 | 34.6184
|  | 66 | 1177.38 | 36.1129
|  | 67 | 1137.99 | 39.6868
|  | 68 | 1127.93 | 35.2859
|  | 69 | 1095.73 | 30.2865
|  | 70 | 1015.42 | 26.253
|  | 71 | 858.67 | 26.1311
|  | 72 | 701.26 | 27.5883
|  | 73 | 584.47 | 18.1365
|  | 74 | 527.08 | 17.8406
|  | 75 | 527.61 | 18.3325
|  | 76 | 531.7 | 17.8895
|  | 77 | 537.62 | 18.376
|  | 78 | 572.21 | 20.9539
|  | 79 | 725.37 | 19.4279
|  | 80 | 919.59 | 25.2687
|  | 81 | 1054.42 | 27.7874
|  | 82 | 1109.46 | 29.6492
|  | 83 | 1099.5 | 28.3801
|  | 84 | 1080.13 | 25.3396
|  | 85 | 1018.26 | 26.7694
|  | 86 | 940.65 | 27.1557
|  | 87 | 937.61 | 28.4812
|  | 88 | 986.73 | 27.9915
|  | 89 | 1085.99 | 27.802
|  | 90 | 1222.02 | 26.8331
|  | 91 | 1220.62 | 23.4928
|  | 92 | 1163.69 | 23.6638
|  | 93 | 1112.97 | 23.3306
|  | 94 | 1008.7 | 19.3439
|  | 95 | 834.54 | 22.5511
|  | 96 | 688.66 | 26.4388
|  | 97 | 602.76 | 17.4117
|  | 98 | 586.21 | 18.5302
|  | 99 | 585.73 | 18.9584
|  | 100 | 590.12 | 18.1321
|  | 101 | 594.17 | 17.5294
|  | 102 | 591.85 | 17.669
|  | 103 | 746.3 | 20.7532
|  | 104 | 931.91 | 15.5445
|  | 105 | 1029 | 21.2495
|  | 106 | 1039.14 | 26.0944
|  | 107 | 1044.19 | 31.6702
|  | 108 | 992.15 | 32.1565
|  | 109 | 1020.53 | 28.9404
|  | 110 | 1107.15 | 24.2846
|  | 111 | 1118.89 | 18.1289
|  | 112 | 1118.89 | 17.3347
|  | 113 | 1173.09 | 30.345
|  | 114 | 1214.02 | 35.4046
|  | 115 | 1218.76 | 36.068
|  | 116 | 1216.2 | 35.6317
|  | 117 | 1151.96 | 32.7195
|  | 118 | 1050.49 | 25.9896
|  | 119 | 902.34 | 20.9031
|  | 120 | 741.01 | 15.327
|  | 121 | 612.32 | 15.9856
|  | 122 | 552.98 | 16.9119
|  | 123 | 527.02 | 17.6395
|  | 124 | 515.03 | 18.9952
|  | 125 | 528.22 | 17.8877
|  | 126 | 591.03 | 20.9243
|  | 127 | 712.27 | 21.6607
|  | 128 | 876.75 | 19.0113
|  | 129 | 975.93 | 31.7699
|  | 130 | 993.98 | 39.5969
|  | 131 | 895.72 | 41.9888
|  | 132 | 1013.3 | 40.3563
|  | 133 | 1057.81 | 39.0609
|  | 134 | 1118.94 | 31.4879
|  | 135 | 1112.13 | 20.7167
|  | 136 | 1171.48 | 16.4302
|  | 137 | 1280.43 | 27.8554
|  | 138 | 1295.53 | 31.4386
|  | 139 | 1239.35 | 31.514
|  | 140 | 1200.18 | 29.5761
|  | 141 | 1058.56 | 25.1129
|  | 142 | 947.8 | 24.9202
|  | 143 | 821.2 | 21.7038
|  | 144 | 700.94 | 17.6403
|  | 145 | 657.18 | 17.7991
|  | 146 | 608.77 | 17.3656
|  | 147 | 589.59 | 16.6342
|  | 148 | 559.15 | 17.9156
|  | 149 | 574.9 | 17.7124
|  | 150 | 598.66 | 18.4142
|  | 151 | 693.11 | 21.838
|  | 152 | 831.76 | 19.2913
|  | 153 | 976.71 | 21.8803
|  | 154 | 1059.21 | 33.0293
|  | 155 | 1077.46 | 36.6933
|  | 156 | 1104.91 | 36.055
|  | 157 | 1162.21 | 33.3152
|  | 158 | 1185 | 28.0785
|  | 159 | 1157.73 | 20.3645
|  | 160 | 1114.68 | 20.5065
|  | 161 | 1162.61 | 33.9836
|  | 162 | 1232.76 | 37.7696
|  | 163 | 1244.81 | 36.0629
|  | 164 | 1223.39 | 34.7907
|  | 165 | 1215.33 | 27.6972
|  | 166 | 1098.64 | 25.9496
|  | 167 | 946.69 | 23.6772
|  | 168 | 808.09 | 18.8
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 24/11/2025 | 25/11/2025 | 26/11/2025 | 27/11/2025 | 28/11/2025 | 29/11/2025 | 30/11/2025
Min (MW) | 30.2437 | 25.3299 | 16.7623 | 17.8406 | 15.327 | 15.9856 | 16.6342
Max (MW) | 46.8882 | 47.057 | 39.6868 | 29.6492 | 36.068 | 41.9888 | 37.7696
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-11-24
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 23377.83 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Data | 24/11/2025 | 25/11/2025 | 26/11/2025 | 27/11/2025 | 28/11/2025 | 29/11/2025 | 30/11/2025
Min (MW) | 564 | 555 | 572 | 559 | 555 | 538 | 545
Max (MW) | 1457 | 1502 | 1460 | 1395 | 1324 | 1302 | 1387
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-11-22
|  | Hour | Production | Exchange | Consumption
|  | 1 | 1242.4927 | 641.56 | 600.9327
|  | 2 | 1179.895 | 643.5322 | 536.3629
|  | 3 | 1092.5964 | 584.9618 | 507.6346
|  | 4 | 1069.2779 | 567.9206 | 501.3573
|  | 5 | 1106.5865 | 596.5703 | 510.0161
|  | 6 | 1198.4096 | 640.6209 | 557.7887
|  | 7 | 1244.8395 | 580.8086 | 664.0308
|  | 8 | 1410.822 | 594.7109 | 816.1112
|  | 9 | 1529.198 | 579.9875 | 949.2105
|  | 10 | 1465.317 | 448.5223 | 1016.7946
|  | 11 | 1503.0421 | 440.31 | 1062.7321
|  | 12 | 1570.8039 | 445.9483 | 1124.8557
|  | 13 | 1650.3918 | 496.8135 | 1153.5783
|  | 14 | 1684.6103 | 495.213 | 1189.3972
|  | 15 | 1648.763 | 508.5086 | 1140.2544
|  | 16 | 1752.575 | 590.8557 | 1161.7193
|  | 17 | 1781.0083 | 578.4979 | 1202.5104
|  | 18 | 1798.4272 | 567.4198 | 1231.0074
|  | 19 | 1772.6246 | 564.4749 | 1208.1497
|  | 20 | 1755.3703 | 579.3601 | 1176.0102
|  | 21 | 1725.7568 | 601.9888 | 1123.7679
|  | 22 | 1635.2042 | 608.8765 | 1026.3277
|  | 23 | 1500.9327 | 611.274 | 889.6586
|  | 24 | 1362.9099 | 615.8282 | 747.0817
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -24.917 | 161.1766 | 70.9224 | 209.6414 | 339.7901 | -76.0171
2 | -20.3447 | 187.4947 | 112.0175 | 199.2421 | 368.4952 | -21.2709
3 | -13.7682 | 151.4142 | 60.5799 | 156.1126 | 319.3989 | 4.5971
4 | -9.1015 | 145.7201 | 53.7032 | 159.435 | 314.3267 | 21.4167
5 | -4.8268 | 142.145 | 42.5449 | 153.6515 | 288.5353 | 60.9277
6 | -3.3811 | 155.9651 | 71.4365 | 169.9375 | 300.1528 | 95.5526
7 | -4.086 | 160.9623 | 64.4495 | 169.0053 | 255.2364 | 137.3151
8 | -24.0227 | 179.864 | 104.796 | 222.6277 | 261.0263 | -10.4574
9 | -24.4247 | 203.4203 | 132.7966 | 214.0089 | 282.5733 | -111.9722
10 | -29.3272 | 208.9859 | 96.0121 | 241.3459 | 260.2495 | -109.224
11 | -35.883 | 235.2082 | 118.6327 | 270.5891 | 279.6998 | -122.7031
12 | -31.3536 | 224.5354 | 100.1663 | 247.0971 | 250.1238 | -87.1415
13 | -39.0672 | 227.3739 | 111.1841 | 256.461 | 267.8592 | -134.0637
14 | -41.1803 | 231.0846 | 125.2383 | 264.4637 | 273.5604 | -145.5378
15 | -37.2779 | 213.9931 | 139.6102 | 251.6678 | 276.1221 | -139.8065
16 | -33.8364 | 82.108 | 152.6638 | 289.6202 | 227.2355 | -10.1116
17 | -40.4957 | 178.3213 | 150.4512 | 266.6829 | 234.0979 | -94.2185
18 | -50.1111 | 209.1647 | 162.978 | 247.9035 | 208.3818 | -161.9716
19 | -47.77 | 155.1653 | 169.7078 | 258.419 | 224.4668 | -145.1481
20 | -43.0289 | 81.6105 | 192.6403 | 280.5337 | 270.2865 | -179.0466
21 | -40.4198 | 126.2762 | 186.5232 | 245.3875 | 294.9865 | -193.247
22 | -36.5314 | 138.1185 | 200.6587 | 194.8875 | 408.7319 | -210.642
23 | -38.8294 | 93.5671 | 249.843 | 271.8374 | 521.0769 | -220.2801
24 | -32.3171 | 79.4348 | 235.0844 | 258.019 | 517.1228 | -182.2232
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2025-11-24
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 1252.86
|  |  | 01:00 - 02:00 | 1171.34
|  |  | 02:00 - 03:00 | 1049.18
|  |  | 03:00 - 04:00 | 1054.6
|  |  | 04:00 - 05:00 | 1051.21
|  |  | 05:00 - 06:00 | 1189.28
|  |  | 06:00 - 07:00 | 1375.18
|  |  | 07:00 - 08:00 | 1482.75
|  |  | 08:00 - 09:00 | 1577.29
|  |  | 09:00 - 10:00 | 1587.42
|  |  | 10:00 - 11:00 | 1587.73
|  |  | 11:00 - 12:00 | 1566.78
|  |  | 12:00 - 13:00 | 1542.87
|  |  | 13:00 - 14:00 | 1610.66
|  |  | 14:00 - 15:00 | 1557.77
|  |  | 15:00 - 16:00 | 1621.54
|  |  | 16:00 - 17:00 | 1703.87
|  |  | 17:00 - 18:00 | 1792.76
|  |  | 18:00 - 19:00 | 1747.88
|  |  | 19:00 - 20:00 | 1740.46
|  |  | 20:00 - 21:00 | 1735.02
|  |  | 21:00 - 22:00 | 1667.7
|  |  | 22:00 - 23:00 | 1632.34
|  |  | 23:00 - 00:00 | 1400.63
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 135.8963 | 6.8721 | 0 | 114.9955
2 | 0 | 0 | 0 | 0 | 60.5933 | 103.3742 | 0 | 124.8108
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 121.8761
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122.8433
5 | 0 | 0 | 0 | 0 | 1.0794 | 0 | 0 | 118.918
6 | 0 | 0 | 0 | 0 | 101.4855 | 0 | 0 | 112.9482
7 | 0 | 0 | 0 | 0 | 103.9004 | 61.959 | 0 | 129.6675
8 | 0 | 0 | 0 | 0 | 113.578 | 102.182 | 60.1388 | 104.6242
9 | 0 | 0 | 0 | 0 | 107.8286 | 126.9063 | 141.0433 | 108.7926
10 | 0 | 0 | 0 | 0 | 126.4028 | 111.7649 | 96.8289 | 95.256
11 | 0 | 0 | 0 | 0 | 107.2882 | 138.5578 | 137.945 | 121.7966
12 | 0 | 0 | 0 | 0 | 104.0303 | 127.0546 | 109.575 | 100.0666
13 | 0 | 0 | 0 | 0 | 119.4375 | 141.7639 | 107.753 | 126.6264
14 | 0 | 0 | 0 | 0 | 107.2038 | 140.5238 | 141.3587 | 130.733
15 | 0 | 0 | 0 | 3.2764 | 107.6906 | 129.0281 | 134.477 | 139.5647
16 | 0 | 2.672 | 0 | 79.6181 | 141.6614 | 134.7339 | 134.5104 | 132.8548
17 | 19.0884 | 80.0068 | 0 | 79.629 | 143.5128 | 138.8785 | 139.4537 | 141.7926
18 | 64.8528 | 65.0255 | 0 | 79.6328 | 107.3723 | 133.8831 | 134.454 | 110.2261
19 | 64.8242 | 11.0213 | 0 | 79.5798 | 107.8736 | 138.8264 | 139.4132 | 137.4515
20 | 2.0523 | 0 | 0 | 79.6172 | 140.439 | 142.9316 | 141.7848 | 141.4261
21 | 0 | 0 | 0 | 60.48 | 121.7462 | 143.0395 | 141.6603 | 140.5469
22 | 0 | 0 | 0 | 40.1266 | 115.07 | 140.5664 | 140.4855 | 136.536
23 | 0 | 0 | 0 | 77.5597 | 137.6065 | 134.0424 | 126.2315 | 141.2923
24 | 0 | 0 | 0 | 79.6252 | 125.1997 | 99.3123 | 31.1489 | 107.3169
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 150.8176 | 158.7255 | 0 | 659.1448 | 2300.9999 | 2389.3289 | 2058.2621 | 2847.9676
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 901 MWh
Art. 5.12 | Energy reserve | [5 empty] | 615.7 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 575.18 | 43.1159
|  | 2 | 577.68 | 35.5978
|  | 3 | 553.44 | 32.761
|  | 4 | 544.49 | 36.6709
|  | 5 | 553.87 | 34.5186
|  | 6 | 622.69 | 32.6322
|  | 7 | 789.98 | 31.7748
|  | 8 | 978.84 | 33.1663
|  | 9 | 1014.54 | 36.3464
|  | 10 | 1035.55 | 36.6123
|  | 11 | 1013.43 | 40.5084
|  | 12 | 940.67 | 33.703
|  | 13 | 854.63 | 32.1491
|  | 14 | 874.49 | 30.2437
|  | 15 | 1031.85 | 30.9363
|  | 16 | 998.84 | 33.7671
|  | 17 | 1129.39 | 36.8176
|  | 18 | 1165.31 | 43.968
|  | 19 | 1205.6 | 44.9252
|  | 20 | 1196.96 | 44.5116
|  | 21 | 1146.62 | 44.0144
|  | 22 | 1037.53 | 46.8882
|  | 23 | 886.23 | 45.1704
|  | 24 | 722.86 | 44.4024
|  | 25 | 631.31 | 31.2211
|  | 26 | 573.92 | 30.2662
|  | 27 | 546.66 | 32.2854
|  | 28 | 523.32 | 32.2234
|  | 29 | 520.53 | 27.1377
|  | 30 | 593.58 | 25.3299
|  | 31 | 760.94 | 27.813
|  | 32 | 943.36 | 31.5282
|  | 33 | 998.62 | 30.531
|  | 34 | 928.26 | 34.6429
|  | 35 | 909.59 | 34.8294
|  | 36 | 1015.39 | 38.498
|  | 37 | 1091.35 | 42.0971
|  | 38 | 1104.39 | 42.3507
|  | 39 | 1085.38 | 45.0256
|  | 40 | 1074.54 | 47.057
|  | 41 | 1065.57 | 41.7221
|  | 42 | 1175.7 | 37.5194
|  | 43 | 1168.05 | 35.1129
|  | 44 | 1048.72 | 32.5767
|  | 45 | 996.72 | 30.8862
|  | 46 | 898.03 | 32.1914
|  | 47 | 764.37 | 36.0905
|  | 48 | 598.71 | 45.4658
|  | 49 | 526.65 | 16.7623
|  | 50 | 471.49 | 18.9875
|  | 51 | 450.4 | 20.5285
|  | 52 | 441.03 | 20.0227
|  | 53 | 473.17 | 20.5368
|  | 54 | 543.18 | 23.4363
|  | 55 | 708.7 | 25.5286
|  | 56 | 876.29 | 27.1886
|  | 57 | 937.73 | 27.86
|  | 58 | 954.98 | 28.1959
|  | 59 | 1116.31 | 28.7905
|  | 60 | 1112.96 | 34.8093
|  | 61 | 1125.17 | 35.5117
|  | 62 | 1102 | 34.4808
|  | 63 | 1097.62 | 37.3553
|  | 64 | 1095.97 | 38.4209
|  | 65 | 1149.49 | 34.6184
|  | 66 | 1177.38 | 36.1129
|  | 67 | 1137.99 | 39.6868
|  | 68 | 1127.93 | 35.2859
|  | 69 | 1095.73 | 30.2865
|  | 70 | 1015.42 | 26.253
|  | 71 | 858.67 | 26.1311
|  | 72 | 701.26 | 27.5883
|  | 73 | 584.47 | 18.1365
|  | 74 | 527.08 | 17.8406
|  | 75 | 527.61 | 18.3325
|  | 76 | 531.7 | 17.8895
|  | 77 | 537.62 | 18.376
|  | 78 | 572.21 | 20.9539
|  | 79 | 725.37 | 19.4279
|  | 80 | 919.59 | 25.2687
|  | 81 | 1054.42 | 27.7874
|  | 82 | 1109.46 | 29.6492
|  | 83 | 1099.5 | 28.3801
|  | 84 | 1080.13 | 25.3396
|  | 85 | 1018.26 | 26.7694
|  | 86 | 940.65 | 27.1557
|  | 87 | 937.61 | 28.4812
|  | 88 | 986.73 | 27.9915
|  | 89 | 1085.99 | 27.802
|  | 90 | 1222.02 | 26.8331
|  | 91 | 1220.62 | 23.4928
|  | 92 | 1163.69 | 23.6638
|  | 93 | 1112.97 | 23.3306
|  | 94 | 1008.7 | 19.3439
|  | 95 | 834.54 | 22.5511
|  | 96 | 688.66 | 26.4388
|  | 97 | 602.76 | 17.4117
|  | 98 | 586.21 | 18.5302
|  | 99 | 585.73 | 18.9584
|  | 100 | 590.12 | 18.1321
|  | 101 | 594.17 | 17.5294
|  | 102 | 591.85 | 17.669
|  | 103 | 746.3 | 20.7532
|  | 104 | 931.91 | 15.5445
|  | 105 | 1029 | 21.2495
|  | 106 | 1039.14 | 26.0944
|  | 107 | 1044.19 | 31.6702
|  | 108 | 992.15 | 32.1565
|  | 109 | 1020.53 | 28.9404
|  | 110 | 1107.15 | 24.2846
|  | 111 | 1118.89 | 18.1289
|  | 112 | 1118.89 | 17.3347
|  | 113 | 1173.09 | 30.345
|  | 114 | 1214.02 | 35.4046
|  | 115 | 1218.76 | 36.068
|  | 116 | 1216.2 | 35.6317
|  | 117 | 1151.96 | 32.7195
|  | 118 | 1050.49 | 25.9896
|  | 119 | 902.34 | 20.9031
|  | 120 | 741.01 | 15.327
|  | 121 | 612.32 | 15.9856
|  | 122 | 552.98 | 16.9119
|  | 123 | 527.02 | 17.6395
|  | 124 | 515.03 | 18.9952
|  | 125 | 528.22 | 17.8877
|  | 126 | 591.03 | 20.9243
|  | 127 | 712.27 | 21.6607
|  | 128 | 876.75 | 19.0113
|  | 129 | 975.93 | 31.7699
|  | 130 | 993.98 | 39.5969
|  | 131 | 895.72 | 41.9888
|  | 132 | 1013.3 | 40.3563
|  | 133 | 1057.81 | 39.0609
|  | 134 | 1118.94 | 31.4879
|  | 135 | 1112.13 | 20.7167
|  | 136 | 1171.48 | 16.4302
|  | 137 | 1280.43 | 27.8554
|  | 138 | 1295.53 | 31.4386
|  | 139 | 1239.35 | 31.514
|  | 140 | 1200.18 | 29.5761
|  | 141 | 1058.56 | 25.1129
|  | 142 | 947.8 | 24.9202
|  | 143 | 821.2 | 21.7038
|  | 144 | 700.94 | 17.6403
|  | 145 | 657.18 | 17.7991
|  | 146 | 608.77 | 17.3656
|  | 147 | 589.59 | 16.6342
|  | 148 | 559.15 | 17.9156
|  | 149 | 574.9 | 17.7124
|  | 150 | 598.66 | 18.4142
|  | 151 | 693.11 | 21.838
|  | 152 | 831.76 | 19.2913
|  | 153 | 976.71 | 21.8803
|  | 154 | 1059.21 | 33.0293
|  | 155 | 1077.46 | 36.6933
|  | 156 | 1104.91 | 36.055
|  | 157 | 1162.21 | 33.3152
|  | 158 | 1185 | 28.0785
|  | 159 | 1157.73 | 20.3645
|  | 160 | 1114.68 | 20.5065
|  | 161 | 1162.61 | 33.9836
|  | 162 | 1232.76 | 37.7696
|  | 163 | 1244.81 | 36.0629
|  | 164 | 1223.39 | 34.7907
|  | 165 | 1215.33 | 27.6972
|  | 166 | 1098.64 | 25.9496
|  | 167 | 946.69 | 23.6772
|  | 168 | 808.09 | 18.8
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 24/11/2025 | 25/11/2025 | 27/11/2025 | 27/11/2025 | 28/11/2025 | 29/11/2025 | 30/11/2025
Min (MW) | 30.2437 | 25.3299 | 16.7623 | 17.8406 | 15.327 | 15.9856 | 16.6342
Max (MW) | 46.8882 | 47.057 | 39.6868 | 29.6492 | 36.068 | 41.9888 | 37.7696
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible