## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2025-12-02
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 24190.16 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 01.12.2025 | 02.12.2025 | 03.12.2025 | 04.12.2025 | 05.12.2025 | 06.12.2025 | 07.12.2025
Min (MW) | 689 | 712 | 723 | 746 | 716 | 692 | 676
Max (MW) | 1220 | 1234 | 1244 | 1240 | 1183 | 1141 | 1212
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2025-11-30
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 1160.2217 | 467.8585 | 692.3632
|  | 2 | 1070.9388 | 460.4015 | 610.5373
|  | 3 | 1016.8485 | 449.842 | 567.0065
|  | 4 | 1013.1466 | 465.583 | 547.5636
|  | 5 | 1013.223 | 460.2322 | 552.9908
|  | 6 | 1056.8636 | 461.7445 | 595.1191
|  | 7 | 1101.4853 | 415.8332 | 685.652
|  | 8 | 1253.0977 | 418.4446 | 834.6531
|  | 9 | 1430.2826 | 450.646 | 979.6366
|  | 10 | 1466.7772 | 422.5449 | 1044.2323
|  | 11 | 1498.103 | 453.8948 | 1044.2083
|  | 12 | 1521.9583 | 469.9427 | 1052.0155
|  | 13 | 1550.3855 | 466.1723 | 1084.2131
|  | 14 | 1553.2712 | 457.7599 | 1095.5113
|  | 15 | 1566.7143 | 480.6588 | 1086.0556
|  | 16 | 1543.0537 | 440.9537 | 1102.1
|  | 17 | 1637.4942 | 425.914 | 1211.5802
|  | 18 | 1754.0275 | 463.6825 | 1290.345
|  | 19 | 1717.1067 | 428.4138 | 1288.693
|  | 20 | 1688.2157 | 400.8331 | 1287.3826
|  | 21 | 1658.5093 | 410.0187 | 1248.4906
|  | 22 | 1559.2733 | 415.3586 | 1143.9147
|  | 23 | 1420.8845 | 441.0689 | 979.8156
|  | 24 | 1254.4739 | 445.1554 | 809.3184
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 19.1523 | 147.2926 | -2.8925 | 46.7777 | 111.6219 | 139.8259
2 | 22.7531 | 124.7228 | -2.2964 | 35.4655 | 118.3553 | 168.8898
3 | 24.0834 | 114.2181 | 0.99526 | 33.1527 | 131.8222 | 174.9875
4 | 27.4526 | 105.689 | -6.7305 | 25.8306 | 125.7339 | 193.5295
5 | 32.6198 | 100.7344 | -18.8695 | 18.2085 | 97.5341 | 229.344
6 | 14.5307 | 116.7522 | -5.2275 | 50.8742 | 87.3331 | 211.2691
7 | -0.61061 | 145.9827 | -8.1235 | 117.2022 | -55.0717 | 190.7039
8 | -31.9835 | 201.7924 | 65.1843 | 180.7884 | 89.884 | -21.658
9 | -46.8628 | 225.9923 | 120.8599 | 203.3322 | 242.2936 | -211.9013
10 | -41.0686 | 232.1604 | 138.4705 | 198.9808 | 296.7095 | -232.9386
11 | -45.2228 | 231.0065 | 161.1787 | 193.8779 | 341.505 | -254.4573
12 | -45.0784 | 215.8168 | 164.4515 | 173.2825 | 337.559 | -251.1388
13 | -45.7993 | 206.8478 | 163.6085 | 171.5632 | 321.4068 | -281.0169
14 | -39.7871 | 207.5262 | 151.065 | 202.987 | 234.3049 | -203.8463
15 | -28.1665 | 204.8544 | 77.4808 | 225.8178 | 108.0119 | -93.3437
16 | -27.2484 | 87.5523 | 73.1875 | 275.6985 | 10.002 | 19.3291
17 | -11.0802 | 169.3125 | 36.8115 | 233.7044 | -89.0077 | 92.3554
18 | -14.7612 | 169.3175 | 39.2082 | 243.907 | -72.748 | 74.8713
19 | -7.1185 | 169.3288 | 20.9026 | 241.2136 | -110.665 | 139.5911
20 | 5.4338 | 169.3608 | 15.7524 | 215.7668 | -143.4263 | 184.0334
21 | 12.8145 | 169.3189 | -17.1358 | 206.4932 | -177.5505 | 234.7837
22 | 0.15483 | 169.3487 | 63.4486 | 190.1136 | -49.306 | 102.258
23 | 14.6112 | 164.2365 | 41.8874 | 153.8837 | -17.4021 | 117.4583
24 | 20.4662 | 192.702 | 22.8697 | 94.4069 | 65.0415 | 111.8419
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2025-12-02
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 1155.94
|  |  | 01:00 - 02:00 | 1077.05
|  |  | 02:00 - 03:00 | 1045.58
|  |  | 03:00 - 04:00 | 1025.82
|  |  | 04:00 - 05:00 | 1044.35
|  |  | 05:00 - 06:00 | 1120.88
|  |  | 06:00 - 07:00 | 1331.47
|  |  | 07:00 - 08:00 | 1589.04
|  |  | 08:00 - 09:00 | 1661.65
|  |  | 09:00 - 10:00 | 1650.32
|  |  | 10:00 - 11:00 | 1506.72
|  |  | 11:00 - 12:00 | 1484.47
|  |  | 12:00 - 13:00 | 1455.58
|  |  | 13:00 - 14:00 | 1496.77
|  |  | 14:00 - 15:00 | 1525.59
|  |  | 15:00 - 16:00 | 1551.67
|  |  | 16:00 - 17:00 | 1650.31
|  |  | 17:00 - 18:00 | 1784.71
|  |  | 18:00 - 19:00 | 1787.74
|  |  | 19:00 - 20:00 | 1776.77
|  |  | 20:00 - 21:00 | 1741.97
|  |  | 21:00 - 22:00 | 1625.5
|  |  | 22:00 - 23:00 | 1450.99
|  |  | 23:00 - 00:00 | 1261.38
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.6239
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.015967
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8177
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.9955
7 | 0 | 0 | 0 | 9.2765 | 1.5896 | 0 | 1.8653 | 141.2696
8 | 0 | 0 | 0 | 84.6023 | 88.6763 | 0 | 95.4278 | 104.8425
9 | 0 | 0 | 0 | 84.6298 | 120.3664 | 0 | 118.0494 | 103.3338
10 | 0 | 0 | 0 | 84.6082 | 102.5017 | 0 | 119.4211 | 93.9936
11 | 0 | 0 | 0 | 74.6616 | 89.1567 | 0 | 115.114 | 89.5758
12 | 0 | 0 | 0 | 74.562 | 89.1589 | 0 | 114.9842 | 89.2345
13 | 0 | 0 | 0 | 74.5741 | 89.1685 | 0 | 114.8862 | 102.8849
14 | 0 | 0 | 0 | 0.54098 | 134.989 | 0 | 114.8241 | 120.9834
15 | 0 | 0 | 0 | 1.221 | 143.5422 | 0 | 114.7713 | 121.9052
16 | 0 | 3.8621 | 0 | 83.7539 | 95.3756 | 50.7341 | 114.7578 | 121.3818
17 | 0 | 84.9418 | 0 | 84.6664 | 116.0199 | 111.7518 | 114.7539 | 128.272
18 | 60.8566 | 84.9711 | 0 | 84.6482 | 143.5139 | 143.8034 | 114.7163 | 132.1615
19 | 85.053 | 84.9938 | 0 | 84.6362 | 143.4968 | 143.7892 | 114.7326 | 119.2831
20 | 84.9713 | 85.0009 | 0 | 84.6603 | 113.9747 | 131.4427 | 114.7184 | 139.2919
21 | 0.038084 | 84.9654 | 0 | 84.6508 | 141.5876 | 142.5317 | 114.7173 | 134.3372
22 | 0 | 84.9548 | 0 | 84.687 | 132.5926 | 89.6152 | 114.7031 | 104.5373
23 | 0 | 84.824 | 0 | 79.721 | 89.161 | 2.3425 | 99.6284 | 112.5271
24 | 0 | 0.051803 | 0 | 84.5967 | 100.0528 | 0 | 0.96155 | 97.9384
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 230.919 | 598.5657 | 0 | 1244.697 | 1934.9242 | 816.0105 | 1813.0328 | 2243.2068
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 1414 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 834.6 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 661.59 | 39.8175
|  | 2 | 601.82 | 38.8867
|  | 3 | 577.12 | 38.9148
|  | 4 | 582.78 | 39.3782
|  | 5 | 580.38 | 38.0941
|  | 6 | 620.67 | 35.8413
|  | 7 | 809.42 | 32.5205
|  | 8 | 1032.96 | 37.7061
|  | 9 | 1133.44 | 37.2184
|  | 10 | 1123.3 | 39.403
|  | 11 | 1078.63 | 43.3113
|  | 12 | 1143.63 | 48.172
|  | 13 | 1138.32 | 53.8579
|  | 14 | 1168.64 | 55.0797
|  | 15 | 1180.83 | 44.6434
|  | 16 | 1197.24 | 49.3185
|  | 17 | 1257.51 | 44.2218
|  | 18 | 1304.32 | 45.136
|  | 19 | 1319.98 | 41.6013
|  | 20 | 1298.03 | 41.5808
|  | 21 | 1231.88 | 40.566
|  | 22 | 1121.57 | 39.2474
|  | 23 | 970.59 | 36.8646
|  | 24 | 807.64 | 35.7763
|  | 25 | 651.65 | 28.659
|  | 26 | 585.36 | 31.0402
|  | 27 | 569.36 | 30.5583
|  | 28 | 561.19 | 32.0757
|  | 29 | 570.36 | 31.5574
|  | 30 | 599.53 | 32.2834
|  | 31 | 773.68 | 38.3942
|  | 32 | 1010.13 | 39.0874
|  | 33 | 1096.34 | 38.8219
|  | 34 | 1132.22 | 40.5657
|  | 35 | 1171.59 | 40.8775
|  | 36 | 1145.1 | 38.5346
|  | 37 | 1112.42 | 45.4951
|  | 38 | 1178.84 | 43.2911
|  | 39 | 1198.63 | 44.8067
|  | 40 | 1203.26 | 45.8229
|  | 41 | 1269.58 | 49.0952
|  | 42 | 1317.08 | 48.5848
|  | 43 | 1317 | 48.0684
|  | 44 | 1300.31 | 47.2798
|  | 45 | 1255.8 | 48.2901
|  | 46 | 1095.97 | 48.9435
|  | 47 | 939.16 | 53.9112
|  | 48 | 787.31 | 48.6797
|  | 49 | 682.11 | 40.1685
|  | 50 | 610.59 | 36.6991
|  | 51 | 605.97 | 35.3684
|  | 52 | 609.12 | 33.6542
|  | 53 | 612.08 | 29.521
|  | 54 | 620.95 | 29.4936
|  | 55 | 744.06 | 29.939
|  | 56 | 945.48 | 29.0528
|  | 57 | 1099.49 | 32.4458
|  | 58 | 1114.21 | 36.734
|  | 59 | 1102.58 | 36.0772
|  | 60 | 1101.6 | 35.1984
|  | 61 | 1132.68 | 35.1326
|  | 62 | 1175.07 | 34.3743
|  | 63 | 1124.01 | 32.2955
|  | 64 | 1135.96 | 35.2956
|  | 65 | 1227.66 | 42.8883
|  | 66 | 1310.04 | 45.0494
|  | 67 | 1330.54 | 49.2413
|  | 68 | 1258.26 | 48.028
|  | 69 | 1193.25 | 44.604
|  | 70 | 1063.15 | 36.1515
|  | 71 | 908.08 | 36.029
|  | 72 | 775.32 | 33.9349
|  | 73 | 691.41 | 33.9536
|  | 74 | 620.26 | 33.3547
|  | 75 | 585.3 | 34.2001
|  | 76 | 579.93 | 34.1846
|  | 77 | 592.91 | 32.576
|  | 78 | 663.52 | 32.6313
|  | 79 | 809.77 | 30.767
|  | 80 | 1005.09 | 31.9207
|  | 81 | 1095.3 | 33.0695
|  | 82 | 1119.74 | 31.4078
|  | 83 | 1022.32 | 31.2587
|  | 84 | 1092.21 | 29.9414
|  | 85 | 1096.63 | 31.9482
|  | 86 | 1141.85 | 30.9388
|  | 87 | 1123.47 | 32.0652
|  | 88 | 1145.38 | 33.2832
|  | 89 | 1187.99 | 39.3832
|  | 90 | 1256.07 | 40.7796
|  | 91 | 1275.66 | 40.3944
|  | 92 | 1253.4 | 42.3274
|  | 93 | 1196.51 | 43.305
|  | 94 | 1090.62 | 37.7158
|  | 95 | 952.13 | 38.1445
|  | 96 | 807.71 | 36.1059
|  | 97 | 692.8 | 32.6398
|  | 98 | 618.57 | 31.4335
|  | 99 | 579.55 | 31.1145
|  | 100 | 563.7 | 31.6961
|  | 101 | 575.38 | 26.8307
|  | 102 | 635.6 | 26.5511
|  | 103 | 750.51 | 28.9326
|  | 104 | 928.37 | 32.6415
|  | 105 | 1005.76 | 34.0323
|  | 106 | 1026.28 | 37.7016
|  | 107 | 1007.79 | 35.999
|  | 108 | 1055.61 | 37.1281
|  | 109 | 1099.43 | 39.6403
|  | 110 | 1148.07 | 41.4523
|  | 111 | 1172.34 | 44.3721
|  | 112 | 1155.65 | 47.2785
|  | 113 | 1223.2 | 42.4638
|  | 114 | 1390.11 | 38.258
|  | 115 | 1300.26 | 35.1016
|  | 116 | 1268.07 | 32.8613
|  | 117 | 1202.22 | 31.3353
|  | 118 | 1111.22 | 31.8124
|  | 119 | 963.73 | 36.0936
|  | 120 | 813.04 | 45.1723
|  | 121 | 688.84 | 43.1159
|  | 122 | 619.84 | 35.5978
|  | 123 | 585.72 | 32.761
|  | 124 | 572.34 | 36.6709
|  | 125 | 569.82 | 34.5186
|  | 126 | 655.09 | 32.6322
|  | 127 | 807.4 | 31.7748
|  | 128 | 996.27 | 33.1663
|  | 129 | 1086.45 | 36.3464
|  | 130 | 1126.48 | 36.6123
|  | 131 | 1121.28 | 40.5084
|  | 132 | 1114.54 | 33.703
|  | 133 | 1075.81 | 32.1491
|  | 134 | 1007.74 | 30.2437
|  | 135 | 1016.43 | 30.9363
|  | 136 | 1166.46 | 33.7671
|  | 137 | 1264.85 | 36.8176
|  | 138 | 1340.76 | 43.968
|  | 139 | 1399.18 | 44.9252
|  | 140 | 1398.02 | 44.5116
|  | 141 | 1376.41 | 44.0144
|  | 142 | 1266.62 | 46.8882
|  | 143 | 1090.35 | 45.1704
|  | 144 | 944.58 | 44.4024
|  | 145 | 722.55 | 40.4056
|  | 146 | 642.9 | 38.7099
|  | 147 | 612.35 | 35.947
|  | 148 | 592.8 | 28.8917
|  | 149 | 612.64 | 28.8568
|  | 150 | 691.78 | 28.1601
|  | 151 | 898.22 | 31.152
|  | 152 | 1153.5 | 34.8245
|  | 153 | 1202.82 | 36.2122
|  | 154 | 1167.78 | 36.7323
|  | 155 | 1019.87 | 39.4382
|  | 156 | 991.47 | 44.6
|  | 157 | 979.82 | 46.3538
|  | 158 | 1023.99 | 44.922
|  | 159 | 1070.84 | 40.3766
|  | 160 | 1119.77 | 39.7863
|  | 161 | 1229.29 | 38.9123
|  | 162 | 1367.09 | 42.216
|  | 163 | 1368 | 43.1478
|  | 164 | 1355.03 | 38.7337
|  | 165 | 1316.23 | 40.2166
|  | 166 | 1197.07 | 42.8009
|  | 167 | 1020.21 | 42.0269
|  | 168 | 834.14 | 43.0296
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 01.12.2025 | 02.12.2025 | 03.12.2025 | 04.12.2025 | 05.12.2025 | 06.12.2025 | 07.12.2025
Min (MW) | 32.5205 | 28.659 | 29.0528 | 29.9414 | 26.5511 | 30.2437 | 28.1601
Max (MW) | 55.0797 | 53.9112 | 49.2413 | 43.305 | 47.2785 | 46.8882 | 46.3538
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2025-12-02
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 24190.16 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Data | 01.12.2025 | 02.12.2025 | 03.12.2025 | 04.12.2025 | 05.12.2025 | 06.12.2025 | 07.12.2025
Min (MW) | 689 | 712 | 723 | 746 | 716 | 692 | 676
Max (MW) | 1220 | 1234 | 1244 | 1240 | 1183 | 1141 | 1212
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2025
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2025-11-30
|  | Hour | Production | Exchange | Consumption
|  | 1 | 1160.2217 | 467.8585 | 692.3632
|  | 2 | 1070.9388 | 460.4015 | 610.5373
|  | 3 | 1016.8485 | 449.842 | 567.0065
|  | 4 | 1013.1466 | 465.583 | 547.5636
|  | 5 | 1013.223 | 460.2322 | 552.9908
|  | 6 | 1056.8636 | 461.7445 | 595.1191
|  | 7 | 1101.4853 | 415.8332 | 685.652
|  | 8 | 1253.0977 | 418.4446 | 834.6531
|  | 9 | 1430.2826 | 450.646 | 979.6366
|  | 10 | 1466.7772 | 422.5449 | 1044.2323
|  | 11 | 1498.103 | 453.8948 | 1044.2083
|  | 12 | 1521.9583 | 469.9427 | 1052.0155
|  | 13 | 1550.3855 | 466.1723 | 1084.2131
|  | 14 | 1553.2712 | 457.7599 | 1095.5113
|  | 15 | 1566.7143 | 480.6588 | 1086.0556
|  | 16 | 1543.0537 | 440.9537 | 1102.1
|  | 17 | 1637.4942 | 425.914 | 1211.5802
|  | 18 | 1754.0275 | 463.6825 | 1290.345
|  | 19 | 1717.1067 | 428.4138 | 1288.693
|  | 20 | 1688.2157 | 400.8331 | 1287.3826
|  | 21 | 1658.5093 | 410.0187 | 1248.4906
|  | 22 | 1559.2733 | 415.3586 | 1143.9147
|  | 23 | 1420.8845 | 441.0689 | 979.8156
|  | 24 | 1254.4739 | 445.1554 | 809.3184
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 19.1523 | 147.2926 | -2.8925 | 46.7777 | 111.6219 | 139.8259
2 | 22.7531 | 124.7228 | -2.2964 | 35.4655 | 118.3553 | 168.8898
3 | 24.0834 | 114.2181 | 0.99526 | 33.1527 | 131.8222 | 174.9875
4 | 27.4526 | 105.689 | -6.7305 | 25.8306 | 125.7339 | 193.5295
5 | 32.6198 | 100.7344 | -18.8695 | 18.2085 | 97.5341 | 229.344
6 | 14.5307 | 116.7522 | -5.2275 | 50.8742 | 87.3331 | 211.2691
7 | -0.61061 | 145.9827 | -8.1235 | 117.2022 | -55.0717 | 190.7039
8 | -31.9835 | 201.7924 | 65.1843 | 180.7884 | 89.884 | -21.658
9 | -46.8628 | 225.9923 | 120.8599 | 203.3322 | 242.2936 | -211.9013
10 | -41.0686 | 232.1604 | 138.4705 | 198.9808 | 296.7095 | -232.9386
11 | -45.2228 | 231.0065 | 161.1787 | 193.8779 | 341.505 | -254.4573
12 | -45.0784 | 215.8168 | 164.4515 | 173.2825 | 337.559 | -251.1388
13 | -45.7993 | 206.8478 | 163.6085 | 171.5632 | 321.4068 | -281.0169
14 | -39.7871 | 207.5262 | 151.065 | 202.987 | 234.3049 | -203.8463
15 | -28.1665 | 204.8544 | 77.4808 | 225.8178 | 108.0119 | -93.3437
16 | -27.2484 | 87.5523 | 73.1875 | 275.6985 | 10.002 | 19.3291
17 | -11.0802 | 169.3125 | 36.8115 | 233.7044 | -89.0077 | 92.3554
18 | -14.7612 | 169.3175 | 39.2082 | 243.907 | -72.748 | 74.8713
19 | -7.1185 | 169.3288 | 20.9026 | 241.2136 | -110.665 | 139.5911
20 | 5.4338 | 169.3608 | 15.7524 | 215.7668 | -143.4263 | 184.0334
21 | 12.8145 | 169.3189 | -17.1358 | 206.4932 | -177.5505 | 234.7837
22 | 0.15483 | 169.3487 | 63.4486 | 190.1136 | -49.306 | 102.258
23 | 14.6112 | 164.2365 | 41.8874 | 153.8837 | -17.4021 | 117.4583
24 | 20.4662 | 192.702 | 22.8697 | 94.4069 | 65.0415 | 111.8419
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2025-12-02
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 1155.94
|  |  | 01:00 - 02:00 | 1077.05
|  |  | 02:00 - 03:00 | 1045.58
|  |  | 03:00 - 04:00 | 1025.82
|  |  | 04:00 - 05:00 | 1044.35
|  |  | 05:00 - 06:00 | 1120.88
|  |  | 06:00 - 07:00 | 1331.47
|  |  | 07:00 - 08:00 | 1589.04
|  |  | 08:00 - 09:00 | 1661.65
|  |  | 09:00 - 10:00 | 1650.32
|  |  | 10:00 - 11:00 | 1506.72
|  |  | 11:00 - 12:00 | 1484.47
|  |  | 12:00 - 13:00 | 1455.58
|  |  | 13:00 - 14:00 | 1496.77
|  |  | 14:00 - 15:00 | 1525.59
|  |  | 15:00 - 16:00 | 1551.67
|  |  | 16:00 - 17:00 | 1650.31
|  |  | 17:00 - 18:00 | 1784.71
|  |  | 18:00 - 19:00 | 1787.74
|  |  | 19:00 - 20:00 | 1776.77
|  |  | 20:00 - 21:00 | 1741.97
|  |  | 21:00 - 22:00 | 1625.5
|  |  | 22:00 - 23:00 | 1450.99
|  |  | 23:00 - 00:00 | 1261.38
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.6239
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.015967
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8177
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.9955
7 | 0 | 0 | 0 | 9.2765 | 1.5896 | 0 | 1.8653 | 141.2696
8 | 0 | 0 | 0 | 84.6023 | 88.6763 | 0 | 95.4278 | 104.8425
9 | 0 | 0 | 0 | 84.6298 | 120.3664 | 0 | 118.0494 | 103.3338
10 | 0 | 0 | 0 | 84.6082 | 102.5017 | 0 | 119.4211 | 93.9936
11 | 0 | 0 | 0 | 74.6616 | 89.1567 | 0 | 115.114 | 89.5758
12 | 0 | 0 | 0 | 74.562 | 89.1589 | 0 | 114.9842 | 89.2345
13 | 0 | 0 | 0 | 74.5741 | 89.1685 | 0 | 114.8862 | 102.8849
14 | 0 | 0 | 0 | 0.54098 | 134.989 | 0 | 114.8241 | 120.9834
15 | 0 | 0 | 0 | 1.221 | 143.5422 | 0 | 114.7713 | 121.9052
16 | 0 | 3.8621 | 0 | 83.7539 | 95.3756 | 50.7341 | 114.7578 | 121.3818
17 | 0 | 84.9418 | 0 | 84.6664 | 116.0199 | 111.7518 | 114.7539 | 128.272
18 | 60.8566 | 84.9711 | 0 | 84.6482 | 143.5139 | 143.8034 | 114.7163 | 132.1615
19 | 85.053 | 84.9938 | 0 | 84.6362 | 143.4968 | 143.7892 | 114.7326 | 119.2831
20 | 84.9713 | 85.0009 | 0 | 84.6603 | 113.9747 | 131.4427 | 114.7184 | 139.2919
21 | 0.038084 | 84.9654 | 0 | 84.6508 | 141.5876 | 142.5317 | 114.7173 | 134.3372
22 | 0 | 84.9548 | 0 | 84.687 | 132.5926 | 89.6152 | 114.7031 | 104.5373
23 | 0 | 84.824 | 0 | 79.721 | 89.161 | 2.3425 | 99.6284 | 112.5271
24 | 0 | 0.051803 | 0 | 84.5967 | 100.0528 | 0 | 0.96155 | 97.9384
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 230.919 | 598.5657 | 0 | 1244.697 | 1934.9242 | 816.0105 | 1813.0328 | 2152.5829
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 1414 MWh
Art. 5.12 | Energy reserve | [5 empty] | 834.6 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 661.59 | 39.8175
|  | 2 | 601.82 | 38.8867
|  | 3 | 577.12 | 38.9148
|  | 4 | 582.78 | 39.3782
|  | 5 | 580.38 | 38.0941
|  | 6 | 620.67 | 35.8413
|  | 7 | 809.42 | 32.5205
|  | 8 | 1032.96 | 37.7061
|  | 9 | 1133.44 | 37.2184
|  | 10 | 1123.3 | 39.403
|  | 11 | 1078.63 | 43.3113
|  | 12 | 1143.63 | 48.172
|  | 13 | 1138.32 | 53.8579
|  | 14 | 1168.64 | 55.0797
|  | 15 | 1180.83 | 44.6434
|  | 16 | 1197.24 | 49.3185
|  | 17 | 1257.51 | 44.2218
|  | 18 | 1304.32 | 45.136
|  | 19 | 1319.98 | 41.6013
|  | 20 | 1298.03 | 41.5808
|  | 21 | 1231.88 | 40.566
|  | 22 | 1121.57 | 39.2474
|  | 23 | 970.59 | 36.8646
|  | 24 | 807.64 | 35.7763
|  | 25 | 651.65 | 28.659
|  | 26 | 585.36 | 31.0402
|  | 27 | 569.36 | 30.5583
|  | 28 | 561.19 | 32.0757
|  | 29 | 570.36 | 31.5574
|  | 30 | 599.53 | 32.2834
|  | 31 | 773.68 | 38.3942
|  | 32 | 1010.13 | 39.0874
|  | 33 | 1096.34 | 38.8219
|  | 34 | 1132.22 | 40.5657
|  | 35 | 1171.59 | 40.8775
|  | 36 | 1145.1 | 38.5346
|  | 37 | 1112.42 | 45.4951
|  | 38 | 1178.84 | 43.2911
|  | 39 | 1198.63 | 44.8067
|  | 40 | 1203.26 | 45.8229
|  | 41 | 1269.58 | 49.0952
|  | 42 | 1317.08 | 48.5848
|  | 43 | 1317 | 48.0684
|  | 44 | 1300.31 | 47.2798
|  | 45 | 1255.8 | 48.2901
|  | 46 | 1095.97 | 48.9435
|  | 47 | 939.16 | 53.9112
|  | 48 | 787.31 | 48.6797
|  | 49 | 682.11 | 40.1685
|  | 50 | 610.59 | 36.6991
|  | 51 | 605.97 | 35.3684
|  | 52 | 609.12 | 33.6542
|  | 53 | 612.08 | 29.521
|  | 54 | 620.95 | 29.4936
|  | 55 | 744.06 | 29.939
|  | 56 | 945.48 | 29.0528
|  | 57 | 1099.49 | 32.4458
|  | 58 | 1114.21 | 36.734
|  | 59 | 1102.58 | 36.0772
|  | 60 | 1101.6 | 35.1984
|  | 61 | 1132.68 | 35.1326
|  | 62 | 1175.07 | 34.3743
|  | 63 | 1124.01 | 32.2955
|  | 64 | 1135.96 | 35.2956
|  | 65 | 1227.66 | 42.8883
|  | 66 | 1310.04 | 45.0494
|  | 67 | 1330.54 | 49.2413
|  | 68 | 1258.26 | 48.028
|  | 69 | 1193.25 | 44.604
|  | 70 | 1063.15 | 36.1515
|  | 71 | 908.08 | 36.029
|  | 72 | 775.32 | 33.9349
|  | 73 | 691.41 | 33.9536
|  | 74 | 620.26 | 33.3547
|  | 75 | 585.3 | 34.2001
|  | 76 | 579.93 | 34.1846
|  | 77 | 592.91 | 32.576
|  | 78 | 663.52 | 32.6313
|  | 79 | 809.77 | 30.767
|  | 80 | 1005.09 | 31.9207
|  | 81 | 1095.3 | 33.0695
|  | 82 | 1119.74 | 31.4078
|  | 83 | 1022.32 | 31.2587
|  | 84 | 1092.21 | 29.9414
|  | 85 | 1096.63 | 31.9482
|  | 86 | 1141.85 | 30.9388
|  | 87 | 1123.47 | 32.0652
|  | 88 | 1145.38 | 33.2832
|  | 89 | 1187.99 | 39.3832
|  | 90 | 1256.07 | 40.7796
|  | 91 | 1275.66 | 40.3944
|  | 92 | 1253.4 | 42.3274
|  | 93 | 1196.51 | 43.305
|  | 94 | 1090.62 | 37.7158
|  | 95 | 952.13 | 38.1445
|  | 96 | 807.71 | 36.1059
|  | 97 | 692.8 | 32.6398
|  | 98 | 618.57 | 31.4335
|  | 99 | 579.55 | 31.1145
|  | 100 | 563.7 | 31.6961
|  | 101 | 575.38 | 26.8307
|  | 102 | 635.6 | 26.5511
|  | 103 | 750.51 | 28.9326
|  | 104 | 928.37 | 32.6415
|  | 105 | 1005.76 | 34.0323
|  | 106 | 1026.28 | 37.7016
|  | 107 | 1007.79 | 35.999
|  | 108 | 1055.61 | 37.1281
|  | 109 | 1099.43 | 39.6403
|  | 110 | 1148.07 | 41.4523
|  | 111 | 1172.34 | 44.3721
|  | 112 | 1155.65 | 47.2785
|  | 113 | 1223.2 | 42.4638
|  | 114 | 1390.11 | 38.258
|  | 115 | 1300.26 | 35.1016
|  | 116 | 1268.07 | 32.8613
|  | 117 | 1202.22 | 31.3353
|  | 118 | 1111.22 | 31.8124
|  | 119 | 963.73 | 36.0936
|  | 120 | 813.04 | 45.1723
|  | 121 | 688.84 | 43.1159
|  | 122 | 619.84 | 35.5978
|  | 123 | 585.72 | 32.761
|  | 124 | 572.34 | 36.6709
|  | 125 | 569.82 | 34.5186
|  | 126 | 655.09 | 32.6322
|  | 127 | 807.4 | 31.7748
|  | 128 | 996.27 | 33.1663
|  | 129 | 1086.45 | 36.3464
|  | 130 | 1126.48 | 36.6123
|  | 131 | 1121.28 | 40.5084
|  | 132 | 1114.54 | 33.703
|  | 133 | 1075.81 | 32.1491
|  | 134 | 1007.74 | 30.2437
|  | 135 | 1016.43 | 30.9363
|  | 136 | 1166.46 | 33.7671
|  | 137 | 1264.85 | 36.8176
|  | 138 | 1340.76 | 43.968
|  | 139 | 1399.18 | 44.9252
|  | 140 | 1398.02 | 44.5116
|  | 141 | 1376.41 | 44.0144
|  | 142 | 1266.62 | 46.8882
|  | 143 | 1090.35 | 45.1704
|  | 144 | 944.58 | 44.4024
|  | 145 | 722.55 | 40.4056
|  | 146 | 642.9 | 38.7099
|  | 147 | 612.35 | 35.947
|  | 148 | 592.8 | 28.8917
|  | 149 | 612.64 | 28.8568
|  | 150 | 691.78 | 28.1601
|  | 151 | 898.22 | 31.152
|  | 152 | 1153.5 | 34.8245
|  | 153 | 1202.82 | 36.2122
|  | 154 | 1167.78 | 36.7323
|  | 155 | 1019.87 | 39.4382
|  | 156 | 991.47 | 44.6
|  | 157 | 979.82 | 46.3538
|  | 158 | 1023.99 | 44.922
|  | 159 | 1070.84 | 40.3766
|  | 160 | 1119.77 | 39.7863
|  | 161 | 1229.29 | 38.9123
|  | 162 | 1367.09 | 42.216
|  | 163 | 1368 | 43.1478
|  | 164 | 1355.03 | 38.7337
|  | 165 | 1316.23 | 40.2166
|  | 166 | 1197.07 | 42.8009
|  | 167 | 1020.21 | 42.0269
|  | 168 | 834.14 | 43.0296
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 01.12.2025 | 02.12.2025 | 04.12.2025 | 04.12.2025 | 05.12.2025 | 06.12.2025 | 07.12.2025
Min (MW) | 32.5205 | 28.659 | 29.0528 | 29.9414 | 26.5511 | 30.2437 | 28.1601
Max (MW) | 55.0797 | 53.9112 | 49.2413 | 43.305 | 47.2785 | 46.8882 | 46.3538
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible