## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2026-01-05
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 25814.55 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 05.01.2026 | 06.01.2026 | 07.01.2026 | 08.06.2026 | 09.01.2026 | 10.01.2026 | 11.01.2026
Min (MW) | 588.9514 | 559.1248 | 569.551 | 562.6814 | 546.7272 | 531.3055 | 551.1826
Max (MW) | 1320.1574 | 1434.2532 | 1383.9419 | 1335.7522 | 1312.8205 | 1265.6987 | 1334.927
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2026-01-03
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 664.6192 | -192.5411 | 857.1603
|  | 2 | 544.5605 | -195.0787 | 739.6392
|  | 3 | 469.5688 | -192.4877 | 662.0564
|  | 4 | 432.5996 | -200.9373 | 633.5369
|  | 5 | 398.9864 | -229.7017 | 628.6882
|  | 6 | 423.1078 | -232.4681 | 655.5759
|  | 7 | 514.9146 | -230.8759 | 745.7904
|  | 8 | 712.3489 | -196.2036 | 908.5525
|  | 9 | 930.7209 | -208.0861 | 1138.807
|  | 10 | 1135.2016 | -189.2668 | 1324.4684
|  | 11 | 1349.7824 | -66.2394 | 1416.0218
|  | 12 | 1478.5787 | 8.7212 | 1469.8575
|  | 13 | 1513.7212 | 27.5969 | 1486.1243
|  | 14 | 1503.1496 | 28.4454 | 1474.7042
|  | 15 | 1435.2406 | 16.5307 | 1418.7099
|  | 16 | 1289.7544 | -84.0946 | 1373.8491
|  | 17 | 1353.1788 | -77.4658 | 1430.6447
|  | 18 | 1361.908 | -108.7282 | 1470.6361
|  | 19 | 1300.3797 | -141.4408 | 1441.8206
|  | 20 | 1236.4119 | -168.5848 | 1404.9968
|  | 21 | 1229.171 | -140.9982 | 1370.1692
|  | 22 | 1110.3606 | -157.1539 | 1267.5145
|  | 23 | 973.993 | -168.9916 | 1142.9846
|  | 24 | 854.3384 | -126.6438 | 980.9822
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 0 | 104.4813 | -21.7758 | -96.4971 | -67.5252 | -10.5658
2 | 0 | 89.0212 | -26.421 | -95.1649 | -51.5827 | -5.1726
3 | 0 | 62.1375 | -18.2131 | -122.6889 | -11.0262 | -2.085
4 | 0 | 46.5646 | 1.6847 | -141.6587 | 26.7671 | -0.16644
5 | -44.02 | 30.9116 | 0.057125 | -87.2073 | 33.1753 | 1.138
6 | 0 | 14.7639 | -34.1418 | 0 | -38.4814 | -0.68512
7 | 0 | 15.4586 | -11.633 | 0 | -57.4318 | -7.2318
8 | 0 | 13.5845 | -19.3868 | 0 | -64.2808 | -20.0955
9 | 0 | 2.7065 | 21.7264 | 0 | -49.7038 | -34.1178
10 | 0 | 53.6539 | 55.9307 | -184.9333 | 32.9468 | -38.9059
11 | 0 | 69.3672 | 58.0933 | -183.8011 | 23.3076 | -34.6107
12 | 0 | 81.6751 | 31.2738 | -146.3035 | -20.1546 | -31.7631
13 | 0 | 86.0294 | -15.6449 | -126.0048 | -63.2433 | -29.2459
14 | 0 | 79.3546 | -27.4872 | -126.1403 | -72.4658 | -26.486
15 | 0 | 89.865 | -32.9354 | -93.9617 | -98.9856 | -37.2131
16 | 0 | 95.5583 | -70.1904 | -63.2056 | -147.082 | -39.1498
17 | 0 | 123.2056 | -44.3626 | -17.8118 | -81.5485 | -46.5428
18 | 0 | 106.7471 | -42.5602 | -0.53222 | -84.6666 | -46.8202
19 | 0 | 109.2933 | -33.8771 | -56.7706 | -63.4368 | -41.6489
20 | 0 | 108.2622 | -28.6085 | -85.1655 | -50.5774 | -39.7846
21 | 0 | 113.7987 | -49.4897 | -28.9304 | -66.7 | -36.1603
22 | 0 | 114.6943 | -63.0795 | -22.605 | -61.9235 | -28.7195
23 | 0 | 134.3596 | -53.8022 | -21.9857 | -23.5254 | -21.4335
24 | 0 | 124.8292 | -53.0407 | -52.3773 | -17.6628 | -8.9401
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2026-01-05
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 1019.87
|  |  | 01:00 - 02:00 | 899.61
|  |  | 02:00 - 03:00 | 837.95
|  |  | 03:00 - 04:00 | 825.61
|  |  | 04:00 - 05:00 | 807
|  |  | 05:00 - 06:00 | 907
|  |  | 06:00 - 07:00 | 1130.17
|  |  | 07:00 - 08:00 | 1479.81
|  |  | 08:00 - 09:00 | 1630.13
|  |  | 09:00 - 10:00 | 1618.57
|  |  | 10:00 - 11:00 | 1611.15
|  |  | 11:00 - 12:00 | 1380.89
|  |  | 12:00 - 13:00 | 1364.6
|  |  | 13:00 - 14:00 | 1397.83
|  |  | 14:00 - 15:00 | 1586.87
|  |  | 15:00 - 16:00 | 1597.08
|  |  | 16:00 - 17:00 | 1645.24
|  |  | 17:00 - 18:00 | 1765.95
|  |  | 18:00 - 19:00 | 1769.98
|  |  | 19:00 - 20:00 | 1734.99
|  |  | 20:00 - 21:00 | 1717.77
|  |  | 21:00 - 22:00 | 1586.99
|  |  | 22:00 - 23:00 | 1284.72
|  |  | 23:00 - 00:00 | 1088.81
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 60.2871 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 16.2584 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0.082672 | 0 | 0 | 0.69083
8 | 0 | 0 | 0 | 0 | 0 | 0.95162 | 0 | 88.9385
9 | 0 | 0 | 0 | 0 | 0 | 107.0533 | 0.82069 | 109.196
10 | 0 | 0 | 0 | 0 | 0.94558 | 117.7205 | 88.952 | 124.7615
11 | 0 | 0 | 0 | 0 | 98.4991 | 104.3457 | 99.3879 | 95.1052
12 | 0 | 0 | 0 | 0 | 89.1823 | 99.3524 | 89.4679 | 89.2345
13 | 0 | 0 | 0 | 0 | 2.6193 | 95.5303 | 99.3627 | 111.7582
14 | 0 | 0 | 0 | 0 | 0 | 104.2276 | 99.3772 | 113.2175
15 | 0 | 0 | 0 | 0 | 0 | 89.3693 | 93.9226 | 134.1038
16 | 0 | 0 | 0 | 0 | 0 | 94.2849 | 99.3471 | 127.8622
17 | 0 | 0 | 0 | 0 | 1.8532 | 137.2393 | 118.8112 | 133.4864
18 | 0 | 0 | 0 | 0 | 137.3496 | 137.9805 | 99.588 | 96.3081
19 | 0 | 0 | 0 | 0 | 123.8492 | 109.3376 | 138.8562 | 101.0115
20 | 0 | 0 | 0 | 0 | 99.1948 | 108.2529 | 139.0304 | 114.7266
21 | 0 | 0 | 0 | 0 | 99.1182 | 117.1287 | 139.0496 | 93.7229
22 | 0 | 0 | 0 | 0 | 143.0835 | 110.8974 | 101.0331 | 93.4053
23 | 0 | 0 | 0 | 0 | 133.7078 | 105.2423 | 133.9821 | 89.7826
24 | 0 | 0 | 0 | 0 | 89.386 | 89.3526 | 89.6868 | 89.1979
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 0 | 0 | 0 | 1095.4167 | 1728.2669 | 1630.6755 | 1806.5095
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 419 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 779.8 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 539.94 | 13.1866
|  | 2 | 424.68 | 11.4477
|  | 3 | 387.48 | 11.4632
|  | 4 | 358.87 | 9.4648
|  | 5 | 346.71 | 9.2716
|  | 6 | 437.35 | 8.3691
|  | 7 | 635.9 | 11.3481
|  | 8 | 931.04 | 16.1732
|  | 9 | 1162.77 | 26.9632
|  | 10 | 1190.93 | 28.7015
|  | 11 | 1147.71 | 28.5805
|  | 12 | 1086.77 | 28.64
|  | 13 | 1082.97 | 25.7885
|  | 14 | 1144.85 | 19.0499
|  | 15 | 1169.29 | 14.9346
|  | 16 | 1244.15 | 17.9964
|  | 17 | 1443.88 | 24.9528
|  | 18 | 1556.7 | 30.2843
|  | 19 | 1568.51 | 32.9026
|  | 20 | 1540.77 | 32.2713
|  | 21 | 1336.19 | 30.78
|  | 22 | 1240.86 | 26.767
|  | 23 | 1082.68 | 20.5167
|  | 24 | 845.01 | 14.5093
|  | 25 | 644.13 | 12.675
|  | 26 | 425.39 | 11.1251
|  | 27 | 333.56 | 9.9163
|  | 28 | 306.4 | 9.4625
|  | 29 | 297.27 | 9.8503
|  | 30 | 352.16 | 9.9154
|  | 31 | 551.94 | 11.8432
|  | 32 | 914.09 | 21.3377
|  | 33 | 1196.95 | 35.8237
|  | 34 | 1292.91 | 35.8747
|  | 35 | 1257.07 | 35.6143
|  | 36 | 1290.19 | 31.1249
|  | 37 | 1273.35 | 29.2333
|  | 38 | 1274.52 | 24.5148
|  | 39 | 1277.18 | 21.3345
|  | 40 | 1313.47 | 19.8718
|  | 41 | 1513.95 | 24.1063
|  | 42 | 1636.29 | 30.5572
|  | 43 | 1638.76 | 31.8006
|  | 44 | 1624.81 | 30.2016
|  | 45 | 1400.04 | 29.2568
|  | 46 | 1200.83 | 26.4275
|  | 47 | 1095.01 | 23.1659
|  | 48 | 960.88 | 17.2886
|  | 49 | 934.65 | 12.1936
|  | 50 | 765.06 | 11.5243
|  | 51 | 621 | 10.0155
|  | 52 | 472.76 | 9.9263
|  | 53 | 399.2 | 10.0466
|  | 54 | 409.98 | 10.5154
|  | 55 | 501.91 | 12.7969
|  | 56 | 648.86 | 17.2264
|  | 57 | 882.56 | 19.3078
|  | 58 | 1036.16 | 19.1544
|  | 59 | 1047.71 | 20.6952
|  | 60 | 1009.44 | 20.5423
|  | 61 | 1066.22 | 16.8512
|  | 62 | 1098.75 | 18.0039
|  | 63 | 1051.1 | 17.1554
|  | 64 | 1067.92 | 21.4033
|  | 65 | 1222.89 | 27.2731
|  | 66 | 1364.31 | 28.8437
|  | 67 | 1359.18 | 28.4736
|  | 68 | 1325.33 | 27.7075
|  | 69 | 1279.25 | 29.0772
|  | 70 | 1168.82 | 24.8727
|  | 71 | 1076.9 | 20.5375
|  | 72 | 964.17 | 15.0773
|  | 73 | 713.49 | 11.7178
|  | 74 | 529.55 | 11.2065
|  | 75 | 466.92 | 10.8818
|  | 76 | 388.53 | 10.4728
|  | 77 | 375.6 | 9.9814
|  | 78 | 412.37 | 10.0691
|  | 79 | 583.42 | 12.7175
|  | 80 | 792.96 | 16.3149
|  | 81 | 1024.96 | 19.9708
|  | 82 | 1186.44 | 22.676
|  | 83 | 1085.62 | 21.5723
|  | 84 | 1100.7 | 17.7517
|  | 85 | 1197.43 | 17.6056
|  | 86 | 1214.26 | 18.2419
|  | 87 | 1273.76 | 21.0094
|  | 88 | 1276.2 | 23.628
|  | 89 | 1195.61 | 26.2912
|  | 90 | 1392.04 | 30.8696
|  | 91 | 1342.2 | 31.074
|  | 92 | 1256.76 | 32.1798
|  | 93 | 1102.02 | 34.0297
|  | 94 | 1012.51 | 29.1557
|  | 95 | 891.62 | 22.4045
|  | 96 | 675.57 | 14.6792
|  | 97 | 657.39 | 20.478
|  | 98 | 535.03 | 19.7121
|  | 99 | 492.27 | 21.8659
|  | 100 | 423.82 | 21.261
|  | 101 | 430.76 | 19.3754
|  | 102 | 446.99 | 15.2109
|  | 103 | 589.19 | 14.6644
|  | 104 | 810.17 | 17.8154
|  | 105 | 1055.41 | 22.725
|  | 106 | 1215.52 | 21.75
|  | 107 | 1163.24 | 21.9962
|  | 108 | 1220.36 | 22.0218
|  | 109 | 1259 | 20.2477
|  | 110 | 1339.78 | 19.3115
|  | 111 | 1167.63 | 19.8878
|  | 112 | 1117.62 | 22.5244
|  | 113 | 1183.37 | 25.9292
|  | 114 | 1163.14 | 30.9874
|  | 115 | 1188.62 | 32.7784
|  | 116 | 1105.42 | 31.0015
|  | 117 | 1062.85 | 29.5032
|  | 118 | 963.17 | 26.3377
|  | 119 | 828.71 | 19.6989
|  | 120 | 639.48 | 14.675
|  | 121 | 576.5 | 12.0585
|  | 122 | 469.36 | 11.6887
|  | 123 | 426.41 | 11.0246
|  | 124 | 425.43 | 10.5313
|  | 125 | 425.61 | 11.1817
|  | 126 | 428.19 | 13.2464
|  | 127 | 531.95 | 17.0656
|  | 128 | 707.78 | 20.4063
|  | 129 | 954.18 | 24.4769
|  | 130 | 1117.57 | 27.3053
|  | 131 | 1210.21 | 27.3228
|  | 132 | 1159.12 | 27.1824
|  | 133 | 1120.6 | 27.467
|  | 134 | 1116.24 | 26.6402
|  | 135 | 1020.98 | 27.8891
|  | 136 | 963.07 | 29.4207
|  | 137 | 1211.92 | 29.9565
|  | 138 | 1358.41 | 32.2499
|  | 139 | 1385.68 | 33.345
|  | 140 | 1295.91 | 33.3222
|  | 141 | 1307.6 | 32.1687
|  | 142 | 1228.64 | 32.2075
|  | 143 | 1106.27 | 28.2573
|  | 144 | 847.45 | 24.6172
|  | 145 | 1019.87 | 16.1005
|  | 146 | 899.61 | 13.6514
|  | 147 | 837.95 | 12.2219
|  | 148 | 825.61 | 11.3846
|  | 149 | 807 | 11.9117
|  | 150 | 907 | 11.6815
|  | 151 | 1130.17 | 15.5168
|  | 152 | 1479.81 | 21.1885
|  | 153 | 1630.13 | 23.6021
|  | 154 | 1618.57 | 21.9904
|  | 155 | 1611.15 | 20.0012
|  | 156 | 1380.89 | 19.2304
|  | 157 | 1364.6 | 17.8588
|  | 158 | 1397.83 | 18.1073
|  | 159 | 1586.87 | 18.6773
|  | 160 | 1597.08 | 20.7675
|  | 161 | 1645.24 | 26.1767
|  | 162 | 1765.95 | 30.6562
|  | 163 | 1769.98 | 30.5835
|  | 164 | 1734.99 | 29.8312
|  | 165 | 1717.77 | 28.4384
|  | 166 | 1586.99 | 25.4085
|  | 167 | 1284.72 | 20.5555
|  | 168 | 1088.81 | 14.3538
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 05.01.2026 | 06.01.2026 | 07.01.2026 | 08.06.2026 | 09.01.2026 | 10.01.2026 | 11.01.2026
Min (MW) | 8.3691 | 9.4625 | 9.9263 | 9.9814 | 14.6644 | 10.5313 | 11.3846
Max (MW) | 32.9026 | 35.8747 | 29.0772 | 34.0297 | 32.7784 | 33.345 | 30.6562
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2026-01-05
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 25814.55 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Data | 05.01.2026 | 06.01.2026 | 07.01.2026 | 08.06.2026 | 09.01.2026 | 10.01.2026 | 11.01.2026
Min (MW) | 588.9514 | 559.1248 | 569.551 | 562.6814 | 546.7272 | 531.3055 | 551.1826
Max (MW) | 1320.1574 | 1434.2532 | 1383.9419 | 1335.7522 | 1312.8205 | 1265.6987 | 1334.927
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2026
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2026-01-03
|  | Hour | Production | Exchange | Consumption
|  | 1 | 664.6192 | -192.5411 | 857.1603
|  | 2 | 544.5605 | -195.0787 | 739.6392
|  | 3 | 469.5688 | -192.4877 | 662.0564
|  | 4 | 432.5996 | -200.9373 | 633.5369
|  | 5 | 398.9864 | -229.7017 | 628.6882
|  | 6 | 423.1078 | -232.4681 | 655.5759
|  | 7 | 514.9146 | -230.8759 | 745.7904
|  | 8 | 712.3489 | -196.2036 | 908.5525
|  | 9 | 930.7209 | -208.0861 | 1138.807
|  | 10 | 1135.2016 | -189.2668 | 1324.4684
|  | 11 | 1349.7824 | -66.2394 | 1416.0218
|  | 12 | 1478.5787 | 8.7212 | 1469.8575
|  | 13 | 1513.7212 | 27.5969 | 1486.1243
|  | 14 | 1503.1496 | 28.4454 | 1474.7042
|  | 15 | 1435.2406 | 16.5307 | 1418.7099
|  | 16 | 1289.7544 | -84.0946 | 1373.8491
|  | 17 | 1353.1788 | -77.4658 | 1430.6447
|  | 18 | 1361.908 | -108.7282 | 1470.6361
|  | 19 | 1300.3797 | -141.4408 | 1441.8206
|  | 20 | 1236.4119 | -168.5848 | 1404.9968
|  | 21 | 1229.171 | -140.9982 | 1370.1692
|  | 22 | 1110.3606 | -157.1539 | 1267.5145
|  | 23 | 973.993 | -168.9916 | 1142.9846
|  | 24 | 854.3384 | -126.6438 | 980.9822
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | 0 | 104.4813 | -21.7758 | -96.4971 | -67.5252 | -10.5658
2 | 0 | 89.0212 | -26.421 | -95.1649 | -51.5827 | -5.1726
3 | 0 | 62.1375 | -18.2131 | -122.6889 | -11.0262 | -2.085
4 | 0 | 46.5646 | 1.6847 | -141.6587 | 26.7671 | -0.16644
5 | -44.02 | 30.9116 | 0.057125 | -87.2073 | 33.1753 | 1.138
6 | 0 | 14.7639 | -34.1418 | 0 | -38.4814 | -0.68512
7 | 0 | 15.4586 | -11.633 | 0 | -57.4318 | -7.2318
8 | 0 | 13.5845 | -19.3868 | 0 | -64.2808 | -20.0955
9 | 0 | 2.7065 | 21.7264 | 0 | -49.7038 | -34.1178
10 | 0 | 53.6539 | 55.9307 | -184.9333 | 32.9468 | -38.9059
11 | 0 | 69.3672 | 58.0933 | -183.8011 | 23.3076 | -34.6107
12 | 0 | 81.6751 | 31.2738 | -146.3035 | -20.1546 | -31.7631
13 | 0 | 86.0294 | -15.6449 | -126.0048 | -63.2433 | -29.2459
14 | 0 | 79.3546 | -27.4872 | -126.1403 | -72.4658 | -26.486
15 | 0 | 89.865 | -32.9354 | -93.9617 | -98.9856 | -37.2131
16 | 0 | 95.5583 | -70.1904 | -63.2056 | -147.082 | -39.1498
17 | 0 | 123.2056 | -44.3626 | -17.8118 | -81.5485 | -46.5428
18 | 0 | 106.7471 | -42.5602 | -0.53222 | -84.6666 | -46.8202
19 | 0 | 109.2933 | -33.8771 | -56.7706 | -63.4368 | -41.6489
20 | 0 | 108.2622 | -28.6085 | -85.1655 | -50.5774 | -39.7846
21 | 0 | 113.7987 | -49.4897 | -28.9304 | -66.7 | -36.1603
22 | 0 | 114.6943 | -63.0795 | -22.605 | -61.9235 | -28.7195
23 | 0 | 134.3596 | -53.8022 | -21.9857 | -23.5254 | -21.4335
24 | 0 | 124.8292 | -53.0407 | -52.3773 | -17.6628 | -8.9401
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2026-01-05
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 1019.87
|  |  | 01:00 - 02:00 | 899.61
|  |  | 02:00 - 03:00 | 837.95
|  |  | 03:00 - 04:00 | 825.61
|  |  | 04:00 - 05:00 | 807
|  |  | 05:00 - 06:00 | 907
|  |  | 06:00 - 07:00 | 1130.17
|  |  | 07:00 - 08:00 | 1479.81
|  |  | 08:00 - 09:00 | 1630.13
|  |  | 09:00 - 10:00 | 1618.57
|  |  | 10:00 - 11:00 | 1611.15
|  |  | 11:00 - 12:00 | 1380.89
|  |  | 12:00 - 13:00 | 1364.6
|  |  | 13:00 - 14:00 | 1397.83
|  |  | 14:00 - 15:00 | 1586.87
|  |  | 15:00 - 16:00 | 1597.08
|  |  | 16:00 - 17:00 | 1645.24
|  |  | 17:00 - 18:00 | 1765.95
|  |  | 18:00 - 19:00 | 1769.98
|  |  | 19:00 - 20:00 | 1734.99
|  |  | 20:00 - 21:00 | 1717.77
|  |  | 21:00 - 22:00 | 1586.99
|  |  | 22:00 - 23:00 | 1284.72
|  |  | 23:00 - 00:00 | 1088.81
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 0 | 0 | 60.2871 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 16.2584 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0.082672 | 0 | 0 | 0.69083
8 | 0 | 0 | 0 | 0 | 0 | 0.95162 | 0 | 88.9385
9 | 0 | 0 | 0 | 0 | 0 | 107.0533 | 0.82069 | 109.196
10 | 0 | 0 | 0 | 0 | 0.94558 | 117.7205 | 88.952 | 124.7615
11 | 0 | 0 | 0 | 0 | 98.4991 | 104.3457 | 99.3879 | 95.1052
12 | 0 | 0 | 0 | 0 | 89.1823 | 99.3524 | 89.4679 | 89.2345
13 | 0 | 0 | 0 | 0 | 2.6193 | 95.5303 | 99.3627 | 111.7582
14 | 0 | 0 | 0 | 0 | 0 | 104.2276 | 99.3772 | 113.2175
15 | 0 | 0 | 0 | 0 | 0 | 89.3693 | 93.9226 | 134.1038
16 | 0 | 0 | 0 | 0 | 0 | 94.2849 | 99.3471 | 127.8622
17 | 0 | 0 | 0 | 0 | 1.8532 | 137.2393 | 118.8112 | 133.4864
18 | 0 | 0 | 0 | 0 | 137.3496 | 137.9805 | 99.588 | 96.3081
19 | 0 | 0 | 0 | 0 | 123.8492 | 109.3376 | 138.8562 | 101.0115
20 | 0 | 0 | 0 | 0 | 99.1948 | 108.2529 | 139.0304 | 114.7266
21 | 0 | 0 | 0 | 0 | 99.1182 | 117.1287 | 139.0496 | 93.7229
22 | 0 | 0 | 0 | 0 | 143.0835 | 110.8974 | 101.0331 | 93.4053
23 | 0 | 0 | 0 | 0 | 133.7078 | 105.2423 | 133.9821 | 89.7826
24 | 0 | 0 | 0 | 0 | 89.386 | 89.3526 | 89.6868 | 89.1979
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 0 | 0 | 0 | 0 | 1035.1296 | 1728.2669 | 1630.6755 | 1806.5095
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 419 MWh
Art. 5.12 | Energy reserve | [5 empty] | 779.8 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 539.94 | 13.1866
|  | 2 | 424.68 | 11.4477
|  | 3 | 387.48 | 11.4632
|  | 4 | 358.87 | 9.4648
|  | 5 | 346.71 | 9.2716
|  | 6 | 437.35 | 8.3691
|  | 7 | 635.9 | 11.3481
|  | 8 | 931.04 | 16.1732
|  | 9 | 1162.77 | 26.9632
|  | 10 | 1190.93 | 28.7015
|  | 11 | 1147.71 | 28.5805
|  | 12 | 1086.77 | 28.64
|  | 13 | 1082.97 | 25.7885
|  | 14 | 1144.85 | 19.0499
|  | 15 | 1169.29 | 14.9346
|  | 16 | 1244.15 | 17.9964
|  | 17 | 1443.88 | 24.9528
|  | 18 | 1556.7 | 30.2843
|  | 19 | 1568.51 | 32.9026
|  | 20 | 1540.77 | 32.2713
|  | 21 | 1336.19 | 30.78
|  | 22 | 1240.86 | 26.767
|  | 23 | 1082.68 | 20.5167
|  | 24 | 845.01 | 14.5093
|  | 25 | 644.13 | 12.675
|  | 26 | 425.39 | 11.1251
|  | 27 | 333.56 | 9.9163
|  | 28 | 306.4 | 9.4625
|  | 29 | 297.27 | 9.8503
|  | 30 | 352.16 | 9.9154
|  | 31 | 551.94 | 11.8432
|  | 32 | 914.09 | 21.3377
|  | 33 | 1196.95 | 35.8237
|  | 34 | 1292.91 | 35.8747
|  | 35 | 1257.07 | 35.6143
|  | 36 | 1290.19 | 31.1249
|  | 37 | 1273.35 | 29.2333
|  | 38 | 1274.52 | 24.5148
|  | 39 | 1277.18 | 21.3345
|  | 40 | 1313.47 | 19.8718
|  | 41 | 1513.95 | 24.1063
|  | 42 | 1636.29 | 30.5572
|  | 43 | 1638.76 | 31.8006
|  | 44 | 1624.81 | 30.2016
|  | 45 | 1400.04 | 29.2568
|  | 46 | 1200.83 | 26.4275
|  | 47 | 1095.01 | 23.1659
|  | 48 | 960.88 | 17.2886
|  | 49 | 934.65 | 12.1936
|  | 50 | 765.06 | 11.5243
|  | 51 | 621 | 10.0155
|  | 52 | 472.76 | 9.9263
|  | 53 | 399.2 | 10.0466
|  | 54 | 409.98 | 10.5154
|  | 55 | 501.91 | 12.7969
|  | 56 | 648.86 | 17.2264
|  | 57 | 882.56 | 19.3078
|  | 58 | 1036.16 | 19.1544
|  | 59 | 1047.71 | 20.6952
|  | 60 | 1009.44 | 20.5423
|  | 61 | 1066.22 | 16.8512
|  | 62 | 1098.75 | 18.0039
|  | 63 | 1051.1 | 17.1554
|  | 64 | 1067.92 | 21.4033
|  | 65 | 1222.89 | 27.2731
|  | 66 | 1364.31 | 28.8437
|  | 67 | 1359.18 | 28.4736
|  | 68 | 1325.33 | 27.7075
|  | 69 | 1279.25 | 29.0772
|  | 70 | 1168.82 | 24.8727
|  | 71 | 1076.9 | 20.5375
|  | 72 | 964.17 | 15.0773
|  | 73 | 713.49 | 11.7178
|  | 74 | 529.55 | 11.2065
|  | 75 | 466.92 | 10.8818
|  | 76 | 388.53 | 10.4728
|  | 77 | 375.6 | 9.9814
|  | 78 | 412.37 | 10.0691
|  | 79 | 583.42 | 12.7175
|  | 80 | 792.96 | 16.3149
|  | 81 | 1024.96 | 19.9708
|  | 82 | 1186.44 | 22.676
|  | 83 | 1085.62 | 21.5723
|  | 84 | 1100.7 | 17.7517
|  | 85 | 1197.43 | 17.6056
|  | 86 | 1214.26 | 18.2419
|  | 87 | 1273.76 | 21.0094
|  | 88 | 1276.2 | 23.628
|  | 89 | 1195.61 | 26.2912
|  | 90 | 1392.04 | 30.8696
|  | 91 | 1342.2 | 31.074
|  | 92 | 1256.76 | 32.1798
|  | 93 | 1102.02 | 34.0297
|  | 94 | 1012.51 | 29.1557
|  | 95 | 891.62 | 22.4045
|  | 96 | 675.57 | 14.6792
|  | 97 | 657.39 | 20.478
|  | 98 | 535.03 | 19.7121
|  | 99 | 492.27 | 21.8659
|  | 100 | 423.82 | 21.261
|  | 101 | 430.76 | 19.3754
|  | 102 | 446.99 | 15.2109
|  | 103 | 589.19 | 14.6644
|  | 104 | 810.17 | 17.8154
|  | 105 | 1055.41 | 22.725
|  | 106 | 1215.52 | 21.75
|  | 107 | 1163.24 | 21.9962
|  | 108 | 1220.36 | 22.0218
|  | 109 | 1259 | 20.2477
|  | 110 | 1339.78 | 19.3115
|  | 111 | 1167.63 | 19.8878
|  | 112 | 1117.62 | 22.5244
|  | 113 | 1183.37 | 25.9292
|  | 114 | 1163.14 | 30.9874
|  | 115 | 1188.62 | 32.7784
|  | 116 | 1105.42 | 31.0015
|  | 117 | 1062.85 | 29.5032
|  | 118 | 963.17 | 26.3377
|  | 119 | 828.71 | 19.6989
|  | 120 | 639.48 | 14.675
|  | 121 | 576.5 | 12.0585
|  | 122 | 469.36 | 11.6887
|  | 123 | 426.41 | 11.0246
|  | 124 | 425.43 | 10.5313
|  | 125 | 425.61 | 11.1817
|  | 126 | 428.19 | 13.2464
|  | 127 | 531.95 | 17.0656
|  | 128 | 707.78 | 20.4063
|  | 129 | 954.18 | 24.4769
|  | 130 | 1117.57 | 27.3053
|  | 131 | 1210.21 | 27.3228
|  | 132 | 1159.12 | 27.1824
|  | 133 | 1120.6 | 27.467
|  | 134 | 1116.24 | 26.6402
|  | 135 | 1020.98 | 27.8891
|  | 136 | 963.07 | 29.4207
|  | 137 | 1211.92 | 29.9565
|  | 138 | 1358.41 | 32.2499
|  | 139 | 1385.68 | 33.345
|  | 140 | 1295.91 | 33.3222
|  | 141 | 1307.6 | 32.1687
|  | 142 | 1228.64 | 32.2075
|  | 143 | 1106.27 | 28.2573
|  | 144 | 847.45 | 24.6172
|  | 145 | 1019.87 | 16.1005
|  | 146 | 899.61 | 13.6514
|  | 147 | 837.95 | 12.2219
|  | 148 | 825.61 | 11.3846
|  | 149 | 807 | 11.9117
|  | 150 | 907 | 11.6815
|  | 151 | 1130.17 | 15.5168
|  | 152 | 1479.81 | 21.1885
|  | 153 | 1630.13 | 23.6021
|  | 154 | 1618.57 | 21.9904
|  | 155 | 1611.15 | 20.0012
|  | 156 | 1380.89 | 19.2304
|  | 157 | 1364.6 | 17.8588
|  | 158 | 1397.83 | 18.1073
|  | 159 | 1586.87 | 18.6773
|  | 160 | 1597.08 | 20.7675
|  | 161 | 1645.24 | 26.1767
|  | 162 | 1765.95 | 30.6562
|  | 163 | 1769.98 | 30.5835
|  | 164 | 1734.99 | 29.8312
|  | 165 | 1717.77 | 28.4384
|  | 166 | 1586.99 | 25.4085
|  | 167 | 1284.72 | 20.5555
|  | 168 | 1088.81 | 14.3538
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 05.01.2026 | 06.01.2026 | 08.06.2026 | 08.06.2026 | 09.01.2026 | 10.01.2026 | 11.01.2026
Min (MW) | 8.3691 | 9.4625 | 9.9263 | 9.9814 | 14.6644 | 10.5313 | 11.3846
Max (MW) | 32.9026 | 35.8747 | 29.0772 | 34.0297 | 32.7784 | 33.345 | 30.6562
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible