## Publikime AL
OPERATORI I SISTEMIT TE TRANSMETIMIT
2026-01-11
Referuar Vendimit Nr.118, Datë 27.07.2017 Mbi Miratimin e Rregullave për publikimin e të Dhënave Bazë të Tregut të Energjisë Elektrike
Neni 3.1 | Ngarkesa aktuale totale per BZ | [5 empty] | N/a**
Neni 3.2 | Parashikimi D-1 i ngarkeses totale per BZ | [5 empty] | 28939.67 | MWh
Neni 3.3 | Parashikimi W-1 i ngarkeses totale per BZ | [6 empty] | MWh
Data | 05/01/2026 | 06/01/2026 | 07/01/2026 | 08/01/2026 | 09/01/2026 | 10/01/2026 | 11/01/2026
Min (MW) | 1294.272 | 1406.1306 | 1356.8058 | 1309.561 | 1287.0789 | 1240.881 | 1308.7519
Max (MW) | 577.4034 | 548.1616 | 558.3834 | 551.6485 | 536.0071 | 520.8877 | 540.3751
Neni 3.4 | Parashikimi M-1 i ngarkeses totale per BZ | [5 empty] | MWh
|  | Java | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Neni 3.5 | Parashikimi Y-1 i ngarkeses totale per BZ | [5 empty] | MWh
2024
|  | Java | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Neni 3.8 | Zona e parashikimit Y-1 | [5 empty] | 1150000 | MWh
Realizimi per diten D+1 | [7 empty] | MWh
2026-01-09
|  | Ora | Prodhimi | Shkembimi | Ngarkesa
|  | 1 | 1527.8582 | 673.4904 | 854.3678
|  | 2 | 1350.3794 | 608.6466 | 741.7327
|  | 3 | 1280.6358 | 593.0085 | 687.6272
|  | 4 | 1193.9034 | 533.7261 | 660.1773
|  | 5 | 1203.1132 | 545.9769 | 657.1364
|  | 6 | 1316.9667 | 590.7572 | 726.2095
|  | 7 | 1516.1493 | 575.7548 | 940.3945
|  | 8 | 1741.839 | 488.9532 | 1252.8859
|  | 9 | 1952.6454 | 532.3382 | 1420.3072
|  | 10 | 2086.6508 | 585.6971 | 1500.9537
|  | 11 | 2113.9724 | 588.0495 | 1525.9229
|  | 12 | 2142.3975 | 608.8398 | 1533.5577
|  | 13 | 2166.8511 | 628.4445 | 1538.4065
|  | 14 | 2150.6664 | 609.1216 | 1541.5448
|  | 15 | 2118.9214 | 588.3748 | 1530.5466
|  | 16 | 2076.079 | 533.2027 | 1542.8763
|  | 17 | 2085.5153 | 508.0088 | 1577.5065
|  | 18 | 2147.244 | 519.1355 | 1628.1085
|  | 19 | 2099.9462 | 478.8794 | 1621.0668
|  | 20 | 2107.5488 | 525.8078 | 1581.7409
|  | 21 | 1934.1883 | 407.6824 | 1526.506
|  | 22 | 1879.4153 | 479.8325 | 1399.5828
|  | 23 | 1762.8767 | 550.7561 | 1212.1206
|  | 24 | 1674.9873 | 665.4359 | 1009.5514
Neni 4.1, 4.2 | Planifikimi i padisponueshmerise se elementeve ne rrjetin e transmetimit
| Elementi | Fillimi | Perfundimi | Vendndodhja | Impakti ne kapacitetin kufitar | Arsyeja
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Remont
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Remont
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Remont
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Remont
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Remont
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Remont
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Remont
Neni 4.3 | Ndryshimi i disponueshmeris aktuale e linjave
| Elementi | Fillimi | Perfundimi | Vendndoshja | Impakti ne kapacitetin kufitar | Arsyeja
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 3.6 | Planifikimi i padisponueshmerise per njesite konsumatore | [5 empty] | N/a
Neni 3.7 | Padisponueshmeria aktuale e njesive konsumatore | [5 empty] | N/a
Neni 5.5 | Planifikimi i padisponueshmerise per njesite gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
Neni 5.6 | Padisponueshmeria aktuale e njesive gjeneruese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 5.7 | Planifikimi i padisponueshmerise te njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| Agregati Nr.2 | Fierze | 125 | Hidro | Remont Profilaktik | 02-04/12/24
| Agregati Nr.4 | Fierze | 125 | Hidro | Remont Profilaktik | 13-15/12/24
| Agregati Nr.1 | Koman | 150 | Hidro | Remont Profilaktik | 07-09/12/24
| Agregati Nr.3 | Koman | 150 | Hidro | Remont Profilaktik | 20-22/12/24
Neni 5.8 | Padisponueshmeria aktuale e njesive prodhuese
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Neni 4.4 | Parashikimi vjetor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Parashikimi mujor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi javor i kapacitetit nderkufitar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti vjetor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Neni 4.4 | Kapaciteti mujor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti javor nderkufitar i ofruar
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Parashikimi D-1 i kapacitetit nderkufitar (NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (metoda alokimit NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Neni 4.4 | Kapaciteti D-1 nderkufitar i ofruar (Metoda alokimit FB) | [5 empty] | N/a*
Neni 4.4 | Kapacitet te tjera te ofruara (sezonale, fundjavave, , etj.) | [5 empty] | N/a*
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi NTC)
|  | Zona 1 | Zona 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Neni 4.4 | Kapaciteti Intraday nderkufitar i ofruar ( alokimi FB) | [5 empty] | N/a*
Neni 4.12 | Flukset fizike ne linjat e interkonjeksionit D+1
Ora | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -19.0662 | 216.4896 | 193.996 | 306.2256 | 291.4303 | 35.599
2 | -8.3968 | 219.48 | 207.0838 | 300.0421 | 287.8875 | 102.3354
3 | -3.7314 | 219.5076 | 204.7902 | 292.0297 | 265.5314 | 134.8443
4 | -2.4724 | 219.4544 | 188.6163 | 275.0114 | 273.4502 | 128.1673
5 | -4.8294 | 196.5305 | 191.7351 | 266.8926 | 292.7313 | 99.0595
6 | -14.5919 | 219.8859 | 178.9926 | 268.5667 | 307.7491 | 18.1124
7 | -24.2697 | 219.8646 | 157.7427 | 268.0409 | 241.1405 | 18.7717
8 | -39.8839 | 219.871 | 133.259 | 269.515 | 242.8823 | -79.1124
9 | -46.6594 | 217.0331 | 156.575 | 310.3253 | 248.1266 | -116.4055
10 | -52.3699 | 239.8492 | 138.8558 | 333.9948 | 219.6257 | -111.6045
11 | -58.6479 | 239.9273 | 123.4618 | 351.3356 | 188.6949 | -76.888
12 | -65.1653 | 237.5401 | 110.6728 | 360.2221 | 172.2766 | -95.8403
13 | -56.7965 | 237.1356 | 124.385 | 383.5948 | 169.6934 | -38.5304
14 | -59.1671 | 180.6971 | 107.2332 | 392.8523 | 124.7474 | -3.6836
15 | -63.8976 | 167.0005 | 90.796 | 389.1041 | 113.4497 | -28.8162
16 | -60.2676 | 170.6161 | 73.3085 | 377.0243 | 75.8688 | -31.6083
17 | -59.5377 | 219.9064 | 88.1636 | 361.5704 | 117.4898 | -104.0527
18 | -62.65 | 222.0048 | 99.9364 | 344.1199 | 149.3076 | -180.3485
19 | -52.6331 | 229.881 | 91.5787 | 322.2923 | 126.8413 | -131.2251
20 | -48.3567 | 229.8505 | 93.0672 | 302.6064 | 141.335 | -132.6909
21 | -48.1026 | 201.082 | 95.806 | 284.3463 | 148.2916 | -121.8657
22 | -47.0024 | 239.7215 | 159.2801 | 289.2073 | 244.5516 | -143.2734
23 | -37.8167 | 240.0628 | 178.3639 | 331.853 | 265.9507 | -85.7997
24 | -30.105 | 233.9366 | 209.9521 | 334.9624 | 315.9072 | -29.1891
Neni 4.6 | Raport vjetor per elementet kritik te cilet limitojne kapacitetin e ofruar
|  | Elementi | Tipi | Tensioni
|  | Tirana 2 - Podgorica2 | Linje | 400 kV
|  | Zemblak - Kardia | Linje | 400 kV
|  | Koman - Kosova B | Linje | 400 kV
|  | Koplik - Podgorica1 | Linje | 220 kV
|  | Fierze - Prizren | Linje | 220 kV
Neni 4.13 | Menaxhimi kongjestjoneve - redispecerimi | [5 empty] | N/a*
Neni 4.14 | Tregetimi nderkufitar - Countertrading | [5 empty] | N/a*
Neni 4.17 | Raporti menaxhimit te kongjestioneve | [5 empty] | N/a*
Neni 5.1, 5.2 | Kapaciteti i instaluar i gjenerimit
|  | Centrali | Kapaciteti instaluar MW | Tensioni | Lloji gjenerimit | Zona e ofertimit
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | PV Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Neni 5.3 | Planifikimi I gjenerimit per D-1
2026-01-11
|  |  | Ora | Skedulimi MW
|  |  | 00:00 - 01:00 | 1924.56
|  |  | 01:00 - 02:00 | 1826.76
|  |  | 02:00 - 03:00 | 1708.23
|  |  | 03:00 - 04:00 | 1662.98
|  |  | 04:00 - 05:00 | 1660.14
|  |  | 05:00 - 06:00 | 1713.85
|  |  | 06:00 - 07:00 | 1815.12
|  |  | 07:00 - 08:00 | 1730.61
|  |  | 08:00 - 09:00 | 1951.83
|  |  | 09:00 - 10:00 | 2061.8
|  |  | 10:00 - 11:00 | 2097.25
|  |  | 11:00 - 12:00 | 2100.8
|  |  | 12:00 - 13:00 | 1927.6
|  |  | 13:00 - 14:00 | 1928.9
|  |  | 14:00 - 15:00 | 1797.83
|  |  | 15:00 - 16:00 | 1957.07
|  |  | 16:00 - 17:00 | 2044.67
|  |  | 17:00 - 18:00 | 2184.85
|  |  | 18:00 - 19:00 | 2210.02
|  |  | 19:00 - 20:00 | 2250.21
|  |  | 20:00 - 21:00 | 2225.08
|  |  | 21:00 - 22:00 | 2273.46
|  |  | 22:00 - 23:00 | 2251.84
|  |  | 23:00 - 00:00 | 2178.35
Neni 14.1b, 14.2 b | Kapaciteti i instaluar per njesi prodhuese
| Centrali | Njesia | Kapaciteti instaluar MW | Tensioni | Vendndodhja | Lloji gjenerimit
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Neni 5.4 | Parashikimi gjenerimit D-1 per centralet me ere dhe diell | [5 empty] | N/a
Neni 5.9 | Gjenerimi aktual per cdo njesi D+1
Ora | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 109.9627 | 109.8437 | 137.0658 | 0 | 139.916 | 137.7492
2 | 0 | 0 | 110.0154 | 109.8267 | 131.0328 | 0 | 134.1879 | 134.2727
3 | 0 | 0 | 109.9951 | 109.8662 | 133.2554 | 0 | 105.9828 | 105.9207
4 | 0 | 0 | 109.9587 | 109.8534 | 143.4326 | 0 | 89.4122 | 89.1745
5 | 0 | 29.2607 | 57.7659 | 109.8376 | 143.5529 | 0 | 89.4108 | 89.1798
6 | 0 | 110.3989 | 0 | 109.8499 | 143.5131 | 66.325 | 13.4741 | 34.0389
7 | 0 | 110.3963 | 0 | 109.8324 | 143.5525 | 118.6129 | 62.317 | 11.5546
8 | 0 | 110.392 | 0 | 109.8482 | 123.1204 | 119.1181 | 104.0246 | 103.5342
9 | 98.8808 | 108.9855 | 0.5133 | 108.4152 | 124.9843 | 119.1046 | 143.7704 | 143.6001
10 | 112.2867 | 120.4054 | 0 | 119.8611 | 140.7009 | 135.6497 | 143.5688 | 143.4823
11 | 112.2754 | 120.4184 | 0 | 119.929 | 141.3126 | 143.7526 | 143.4656 | 143.3666
12 | 110.8041 | 120.4274 | 0 | 117.5565 | 143.4067 | 143.7647 | 143.4049 | 143.3063
13 | 75.1983 | 118.3113 | 74.733 | 119.212 | 114.971 | 128.3252 | 143.5717 | 143.3858
14 | 74.9852 | 90.1713 | 79.6718 | 90.8577 | 121.0724 | 110.4989 | 143.6625 | 143.4929
15 | 75.0464 | 83.8416 | 79.7132 | 83.4754 | 114.3522 | 91.4595 | 143.6615 | 143.5642
16 | 76.254 | 85.7872 | 81.0194 | 85.1095 | 131.8415 | 122.5119 | 143.4514 | 143.4429
17 | 79.7854 | 110.4121 | 84.7029 | 109.869 | 127.6784 | 143.7324 | 143.2382 | 143.3652
18 | 80.1901 | 111.4595 | 85.0435 | 110.9247 | 143.4372 | 143.7331 | 143.0742 | 143.3251
19 | 58.7876 | 115.4235 | 90.8443 | 114.8416 | 142.6573 | 143.7338 | 143.0114 | 143.3904
20 | 0 | 115.372 | 119.9818 | 114.8627 | 133.8384 | 143.7055 | 143.0278 | 143.3748
21 | 0 | 100.8437 | 100.9761 | 100.5885 | 122.5095 | 143.6927 | 143.126 | 143.3932
22 | 0 | 120.4338 | 117.1768 | 119.6603 | 126.4397 | 143.7058 | 143.0725 | 143.3123
23 | 0 | 120.5154 | 95.3826 | 119.9354 | 136.5488 | 143.7463 | 142.9841 | 143.2247
24 | 0 | 117.5406 | 78.5636 | 116.7692 | 133.7099 | 143.7597 | 142.9589 | 143.1771
Neni 5.10 | Njesite gjeneruese te mbledhura per cdo tip
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 954.4939 | 2120.7967 | 1586.0201 | 2630.6259 | 3197.9865 | 2448.9326 | 3031.7754 | 2999.6284
Neni 5.11 | Gjenerimi aktual i centraleve te eres dhe centaleve solar | [5 empty] | 527 MWh
Neni 5.12 | Rezerva energjitike | [5 empty] | 773.3 GWh
Referuar Kodit të Transmetimit
Neni 186, 250 | Sasia e kërkuar e rezervave të fuqisë active per javen ne avance
Ora | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
1 | 70 | 75 | 0 | 0 | 0 | 0 | 145
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Mesatare | 73.3333 | 71.6667 | 0 | 0 | 0 | 0 | 145
Neni 138/3 | Alokimi i përgjegjësive të përdoruesve të rëndësishëm të rrjetit, lidhur me testimin e pajtueshmërisë dhe monitorimin | [5 empty] | N/a**
Neni 199 | Parametrat e përcaktimit të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Neni 203/2 | Metodologjia e përdorur për të përcaktuar rrezikun e shterimit të rezervës FCR | [5 empty] | N/a**
Neni 208 | Informacioni mbi Strukturën e Kontrollit Fuqi-Frekuencë
Referuar Rregullave te Tregut Shqiptar te Energjise Elektrike
Neni XVI.5. iii. iv. | Parashikim i javës në avancë për ngarkesen dhe humbjet e pritshme orare
|  | Ora | Ngarkesa (MWh) | Humbje (MWh)
|  | 1 | 780.51 | 12.0585
|  | 2 | 690.13 | 11.6887
|  | 3 | 652.6 | 11.0246
|  | 4 | 624.2 | 10.5313
|  | 5 | 651.18 | 11.1817
|  | 6 | 719.17 | 13.2464
|  | 7 | 909.59 | 17.0656
|  | 8 | 1180.82 | 20.4063
|  | 9 | 1340.35 | 24.4769
|  | 10 | 1335.6 | 27.3053
|  | 11 | 1332.45 | 27.3228
|  | 12 | 1420.93 | 27.1824
|  | 13 | 1389.14 | 27.467
|  | 14 | 1419.13 | 26.6402
|  | 15 | 1430.49 | 27.8891
|  | 16 | 1437.86 | 29.4207
|  | 17 | 1505.1 | 29.9565
|  | 18 | 1562.51 | 32.2499
|  | 19 | 1563.67 | 33.345
|  | 20 | 1539.15 | 33.3222
|  | 21 | 1469.29 | 32.1687
|  | 22 | 1352.7 | 32.2075
|  | 23 | 1190.72 | 28.2573
|  | 24 | 986.18 | 24.6172
|  | 25 | 832.28 | 16.1005
|  | 26 | 707.51 | 13.6514
|  | 27 | 654.73 | 12.2219
|  | 28 | 649.77 | 11.3846
|  | 29 | 656.56 | 11.9117
|  | 30 | 723.78 | 11.6815
|  | 31 | 892.04 | 15.5168
|  | 32 | 1143.35 | 21.1885
|  | 33 | 1321.18 | 23.6021
|  | 34 | 1369.97 | 21.9904
|  | 35 | 1307.33 | 20.0012
|  | 36 | 1304.66 | 19.2304
|  | 37 | 1287.51 | 17.8588
|  | 38 | 1316.18 | 18.1073
|  | 39 | 1325.65 | 18.6773
|  | 40 | 1374.11 | 20.7675
|  | 41 | 1469.17 | 26.1767
|  | 42 | 1556.05 | 30.6562
|  | 43 | 1560.29 | 30.5835
|  | 44 | 1511.69 | 29.8312
|  | 45 | 1471.13 | 28.4384
|  | 46 | 1330.59 | 25.4085
|  | 47 | 1155.99 | 20.5555
|  | 48 | 954.37 | 14.3538
|  | 49 | 810.89 | 17.0172
|  | 50 | 696.18 | 13.2864
|  | 51 | 640.41 | 12.9517
|  | 52 | 621.79 | 12.7441
|  | 53 | 614.88 | 14.1327
|  | 54 | 668.67 | 13.9756
|  | 55 | 819.83 | 13.9008
|  | 56 | 1039.27 | 18.1905
|  | 57 | 1215.31 | 22.0167
|  | 58 | 1254.09 | 23.2016
|  | 59 | 1280.43 | 22.8872
|  | 60 | 1274.95 | 23.309
|  | 61 | 1287.74 | 22.4369
|  | 62 | 1295.19 | 21.0486
|  | 63 | 1278.02 | 19.6228
|  | 64 | 1278.24 | 21.7476
|  | 65 | 1446.41 | 26.8137
|  | 66 | 1574.82 | 29.9086
|  | 67 | 1543.52 | 31.4146
|  | 68 | 1481.54 | 30.6529
|  | 69 | 1424.45 | 28.6558
|  | 70 | 1281.61 | 27.6322
|  | 71 | 1102.91 | 22.4282
|  | 72 | 892.49 | 17.642
|  | 73 | 795.41 | 14.4441
|  | 74 | 702.25 | 13.5776
|  | 75 | 655.57 | 13.7417
|  | 76 | 636.03 | 14.069
|  | 77 | 646 | 13.7449
|  | 78 | 708.29 | 15.042
|  | 79 | 845.87 | 18.5434
|  | 80 | 1066.97 | 24.5037
|  | 81 | 1260.16 | 25.4179
|  | 82 | 1313.45 | 24.8526
|  | 83 | 1231.61 | 25.5837
|  | 84 | 1190.28 | 24.2527
|  | 85 | 1184.1 | 23.2959
|  | 86 | 1184 | 23.2968
|  | 87 | 1224.25 | 24.0918
|  | 88 | 1265.46 | 29.8522
|  | 89 | 1380.44 | 36.0897
|  | 90 | 1489.81 | 39.7713
|  | 91 | 1480.42 | 39.28
|  | 92 | 1450.18 | 41.4095
|  | 93 | 1480.35 | 39.1061
|  | 94 | 1364.42 | 30.1353
|  | 95 | 1195.48 | 28.8136
|  | 96 | 996.15 | 21.001
|  | 97 | 788.42 | 14.1762
|  | 98 | 697.44 | 13.6852
|  | 99 | 662.72 | 13.0251
|  | 100 | 645.89 | 12.4672
|  | 101 | 655.63 | 14.2864
|  | 102 | 719.28 | 17.0689
|  | 103 | 877.03 | 20.9566
|  | 104 | 1112.25 | 25.5677
|  | 105 | 1280.04 | 24.2793
|  | 106 | 1279.5 | 22.5541
|  | 107 | 1206.49 | 22.927
|  | 108 | 1167.09 | 23.624
|  | 109 | 1158.3 | 22.2598
|  | 110 | 1158.38 | 18.414
|  | 111 | 1199.87 | 18.1231
|  | 112 | 1261.13 | 26.7748
|  | 113 | 1385.71 | 33.2576
|  | 114 | 1511.1 | 36.6869
|  | 115 | 1538.71 | 41.9131
|  | 116 | 1511.14 | 43.1968
|  | 117 | 1504.44 | 36.8243
|  | 118 | 1407.64 | 32.2361
|  | 119 | 1252.28 | 24.754
|  | 120 | 1069.25 | 18.1538
|  | 121 | 900.51 | 11.6654
|  | 122 | 772.35 | 10.7773
|  | 123 | 688.52 | 10.6742
|  | 124 | 659.79 | 10.237
|  | 125 | 668.58 | 10.4466
|  | 126 | 706.63 | 13.0971
|  | 127 | 834.04 | 17.7292
|  | 128 | 1027.88 | 22.093
|  | 129 | 1188.98 | 26.7724
|  | 130 | 1208.71 | 24.7545
|  | 131 | 1203.36 | 25.6891
|  | 132 | 1208.05 | 24.423
|  | 133 | 1179.89 | 21.7504
|  | 134 | 1117.11 | 18.9616
|  | 135 | 1158.19 | 19.447
|  | 136 | 1239.68 | 26.1877
|  | 137 | 1377.12 | 38.068
|  | 138 | 1519.71 | 43.2199
|  | 139 | 1525.48 | 46.7311
|  | 140 | 1515.15 | 46.819
|  | 141 | 1500.41 | 44.0328
|  | 142 | 1410.24 | 34.7692
|  | 143 | 1265.46 | 27.0697
|  | 144 | 1059.09 | 18.624
|  | 145 | 842.27 | 12.7321
|  | 146 | 735.69 | 11.2747
|  | 147 | 683.73 | 11.5888
|  | 148 | 665.85 | 10.8664
|  | 149 | 674.37 | 11.5063
|  | 150 | 753.28 | 12.3535
|  | 151 | 933.59 | 18.7778
|  | 152 | 1196.51 | 26.6008
|  | 153 | 1359.17 | 30.4929
|  | 154 | 1357.76 | 27.7721
|  | 155 | 1346.03 | 27.4617
|  | 156 | 1236.16 | 24.5467
|  | 157 | 1193.85 | 23.346
|  | 158 | 1226.4 | 22.9164
|  | 159 | 1263.31 | 20.9298
|  | 160 | 1323.31 | 26.6562
|  | 161 | 1445.5 | 28.3615
|  | 162 | 1569.42 | 30.0877
|  | 163 | 1565.38 | 32.6262
|  | 164 | 1545.32 | 31.8789
|  | 165 | 1507.39 | 29.2508
|  | 166 | 1404.35 | 32.0454
|  | 167 | 1211.83 | 31.2025
|  | 168 | 997.18 | 17.9302
Neni XVI.8, iv. | Kërkesa maksimale e pritshme dhe kërkesa mesatare orare në MWh
|  | Muaji | Ngarkesa Mes. | Ngarkesa Max
|  | Janar | 22000 | 30000
|  | Shkurt | 21000 | 25000
|  | Mars | 20000 | 22000
|  | Prill | 19000 | 20000
|  | Maj | 19000 | 20000
|  | Qershor | 19000 | 20000
|  | Korrik | 20000 | 22000
|  | Gusht | 20000 | 22000
|  | Shtator | 19000 | 20000
|  | Tetor | 20000 | 21000
|  | Nentor | 21000 | 22000
|  | Dhjetor | 22000 | 24000
Neni XVI.8, v. | Vlerësimet e humbjeve në sistemin e transmetimit në MWh në bazë javore
Data | 05/01/2026 | 06/01/2026 | 07/01/2026 | 08/01/2026 | 09/01/2026 | 10/01/2026 | 11/01/2026
Min (MW) | 10.5313 | 11.3846 | 12.7441 | 13.5776 | 12.4672 | 10.237 | 10.8664
Max (MW) | 33.345 | 30.6562 | 31.4146 | 41.4095 | 43.1968 | 46.819 | 32.6262
Neni XVI.8, vi. | Vlerësimet e kufizimeve te paparashikuara në sistem në GWh në bazë javore
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
Neni XVI.8, vii. | Detaje mbi çdo situatë të parashikuar kur dhe ku do të kufizohet furnizimi
|  | Nr. | Nenstacioni | Ora | Arsyeja
1
*Nuk aplikohet
**Eshte duke u punuar dhe do te publikohet se shpejti

## Publikime EN
Albania Transmission System Operator
2026-01-11
Refering to decision Nr.118, Date 27.07.2017
Art. 3.1 | Actual total load per BZ | [5 empty] | N/a**
Art. 3.2 | D-1 forecast of total load per BZ | [5 empty] | 28939.67 | MWh
Art. 3.3 | W-1 forecast of total load per BZ | [6 empty] | MWh
Data | 05/01/2026 | 06/01/2026 | 07/01/2026 | 08/01/2026 | 09/01/2026 | 10/01/2026 | 11/01/2026
Min (MW) | 1294.272 | 1406.1306 | 1356.8058 | 1309.561 | 1287.0789 | 1240.881 | 1308.7519
Max (MW) | 577.4034 | 548.1616 | 558.3834 | 551.6485 | 536.0071 | 520.8877 | 540.3751
Art. 3.4 | M-1 forecast of total load per BZ | [5 empty] | MWh
|  | Week | 1 | 2 | 3 | 4
|  | Min (MW) | 572 | 472 | 471 | 461
|  | Max (MW) | 1158 | 1127 | 965 | 979
Art. 3.5 | M-1 forecast of total load per BZ | [5 empty] | MWh
2026
|  | Week | Min (MW) | Max (MW)
|  | 1 | 550 | 1300
|  | 2 | 550 | 1350
|  | 3 | 550 | 1450
|  | 4 | 600 | 1600
|  | 5 | 600 | 1650
|  | 6 | 550 | 1500
|  | 7 | 550 | 1450
|  | 8 | 550 | 1400
|  | 9 | 550 | 1300
|  | 10 | 550 | 1250
|  | 11 | 550 | 1250
|  | 12 | 550 | 1250
|  | 13 | 550 | 1200
|  | 14 | 550 | 1200
|  | 15 | 550 | 1150
|  | 16 | 550 | 1100
|  | 17 | 550 | 1100
|  | 18 | 550 | 1050
|  | 19 | 550 | 1050
|  | 20 | 510 | 1000
|  | 21 | 510 | 1000
|  | 22 | 550 | 1050
|  | 23 | 510 | 990
|  | 24 | 550 | 1100
|  | 25 | 550 | 1100
|  | 26 | 600 | 1150
|  | 27 | 600 | 1150
|  | 28 | 600 | 1200
|  | 29 | 600 | 1200
|  | 30 | 600 | 1200
|  | 31 | 650 | 1200
|  | 32 | 650 | 1200
|  | 33 | 630 | 1200
|  | 34 | 550 | 1100
|  | 35 | 550 | 1050
|  | 36 | 510 | 1000
|  | 37 | 550 | 1050
|  | 38 | 550 | 1100
|  | 39 | 510 | 1050
|  | 40 | 550 | 1100
|  | 41 | 550 | 1100
|  | 42 | 550 | 1100
|  | 43 | 550 | 1150
|  | 44 | 550 | 1200
|  | 45 | 550 | 1200
|  | 46 | 550 | 1250
|  | 47 | 550 | 1300
|  | 48 | 550 | 1300
|  | 49 | 550 | 1350
|  | 50 | 550 | 1400
|  | 51 | 550 | 1450
|  | 52 | 550 | 1550
Art. 3.8 | Forecast Margin Y-1 | [5 empty] | 1150000 | MWh
Accounting D+1 | [7 empty] | MWh
2026-01-09
|  | Hour | Production | Exchange | Consumption
|  | 1 | 1527.8582 | 673.4904 | 854.3678
|  | 2 | 1350.3794 | 608.6466 | 741.7327
|  | 3 | 1280.6358 | 593.0085 | 687.6272
|  | 4 | 1193.9034 | 533.7261 | 660.1773
|  | 5 | 1203.1132 | 545.9769 | 657.1364
|  | 6 | 1316.9667 | 590.7572 | 726.2095
|  | 7 | 1516.1493 | 575.7548 | 940.3945
|  | 8 | 1741.839 | 488.9532 | 1252.8859
|  | 9 | 1952.6454 | 532.3382 | 1420.3072
|  | 10 | 2086.6508 | 585.6971 | 1500.9537
|  | 11 | 2113.9724 | 588.0495 | 1525.9229
|  | 12 | 2142.3975 | 608.8398 | 1533.5577
|  | 13 | 2166.8511 | 628.4445 | 1538.4065
|  | 14 | 2150.6664 | 609.1216 | 1541.5448
|  | 15 | 2118.9214 | 588.3748 | 1530.5466
|  | 16 | 2076.079 | 533.2027 | 1542.8763
|  | 17 | 2085.5153 | 508.0088 | 1577.5065
|  | 18 | 2147.244 | 519.1355 | 1628.1085
|  | 19 | 2099.9462 | 478.8794 | 1621.0668
|  | 20 | 2107.5488 | 525.8078 | 1581.7409
|  | 21 | 1934.1883 | 407.6824 | 1526.506
|  | 22 | 1879.4153 | 479.8325 | 1399.5828
|  | 23 | 1762.8767 | 550.7561 | 1212.1206
|  | 24 | 1674.9873 | 665.4359 | 1009.5514
Art. 4.1, 4.2 | Planned unavailability of elements in tranmsission network
| Element | Start | End | Location | NTC impact | Reason
| Koplik - Podgorica1 | 2025-04-28 | 2025-04-29 |  |  | Maintenace
| Koplik - Podgorica1 | 2025-10-28 | 2025-10-29 |  |  | Maintenace
| Tirana2 - Podgorica2 | 2025-03-10 | 2025-03-12 |  |  | Maintenace
| Prizren - Fierza | 2025-05-06 | 2025-05-08 |  |  | Maintenace
| Prizren - Fierza | 2025-10-30 | 2025-10-31 |  |  | Maintenace
| Bistrica - Myrtos | 2025-10-06 | 2025-10-12 |  |  | Maintenace
| Zemblak - Kardia | 2025-09-29 | 2025-10-18 |  |  | Maintenace
Art. 4.3 | Changes in availability of lines
| Element | Start | End | Location | NTC impact | Reason
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 3.6 | Planned unavailability of consuming units | [5 empty] | N/a*
Art. 3.7 | Actual unavailability of consuming units | [5 empty] | N/a*
Art. 5.5 | Planned unavailability of generating units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| 0 | 0 | 0 | 0 | 0 | 0
Art. 5.6 | Actual unavailability of generating units
| Elementi | Vendndodhja | Kapaciteti I instaluar(MWh) | Lloji gjenerimit | Arsyeja | Periudha
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 5.7 | Planning unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| Aggregate Nr.2 | Fierze | 125 | Hidro | Preventive Maintenance | 02-04/12/24
| Aggregate Nr.4 | Fierze | 125 | Hidro | Preventive Maintenance | 13-15/12/24
| Aggregate Nr.1 | Koman | 150 | Hidro | Preventive Maintenance | 07-09/12/24
| Aggregate Nr.3 | Koman | 150 | Hidro | Preventive Maintenance | 20-22/12/24
Art. 5.8 | Actual unavailability of production units
| Element | Location | Installed capacity (MWh) | Generation Type | Reason | Period
| N/a | N/a | N/a | N/a | N/a | N/a
Art. 4.4 | Yearly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly NTC forecast | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Yearly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 200
|  | KS | AL | 200
|  | AL | GR | 200
|  | GR | AL | 200
|  | AL | ME | 200
|  | ME | AL | 200
Art. 4.4 | Monthly offered NTC
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | Weekly offered capacity | [5 empty] | N/a*
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 NTC forecast
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | 400
|  | KS | AL | 400
|  | AL | GR | 300
|  | GR | AL | 300
|  | AL | ME | 300
|  | ME | AL | 300
Art. 4.4 | D-1 offered capacity (FB alocation method) | [5 empty] | N/a*
Art. 4.4 | Other offered capacity | [5 empty] | N/a*
Art. 4.4 | Offered intraday capacity
|  | Area 1 | Area 2 | NTC(MW)
|  | AL | KS | N/a
|  | KS | AL | N/a
|  | AL | GR | N/a
|  | GR | AL | N/a
|  | AL | ME | N/a
|  | ME | AL | N/a
Art. 4.4 | Offered intraday capacity (FB alocation) | [5 empty] | N/a*
Art. 4.12 | Flows in interconnector | [5 empty] | N/a**
Hour | Bistrice-Myrtos | FIERZE-PRIZREN | KOPLIK-PODGORICA | KOMAN-KOSOVA | TIRANA2-PODGORICE | ZEMBLAK-KARDIA
1 | -19.0662 | 216.4896 | 193.996 | 306.2256 | 291.4303 | 35.599
2 | -8.3968 | 219.48 | 207.0838 | 300.0421 | 287.8875 | 102.3354
3 | -3.7314 | 219.5076 | 204.7902 | 292.0297 | 265.5314 | 134.8443
4 | -2.4724 | 219.4544 | 188.6163 | 275.0114 | 273.4502 | 128.1673
5 | -4.8294 | 196.5305 | 191.7351 | 266.8926 | 292.7313 | 99.0595
6 | -14.5919 | 219.8859 | 178.9926 | 268.5667 | 307.7491 | 18.1124
7 | -24.2697 | 219.8646 | 157.7427 | 268.0409 | 241.1405 | 18.7717
8 | -39.8839 | 219.871 | 133.259 | 269.515 | 242.8823 | -79.1124
9 | -46.6594 | 217.0331 | 156.575 | 310.3253 | 248.1266 | -116.4055
10 | -52.3699 | 239.8492 | 138.8558 | 333.9948 | 219.6257 | -111.6045
11 | -58.6479 | 239.9273 | 123.4618 | 351.3356 | 188.6949 | -76.888
12 | -65.1653 | 237.5401 | 110.6728 | 360.2221 | 172.2766 | -95.8403
13 | -56.7965 | 237.1356 | 124.385 | 383.5948 | 169.6934 | -38.5304
14 | -59.1671 | 180.6971 | 107.2332 | 392.8523 | 124.7474 | -3.6836
15 | -63.8976 | 167.0005 | 90.796 | 389.1041 | 113.4497 | -28.8162
16 | -60.2676 | 170.6161 | 73.3085 | 377.0243 | 75.8688 | -31.6083
17 | -59.5377 | 219.9064 | 88.1636 | 361.5704 | 117.4898 | -104.0527
18 | -62.65 | 222.0048 | 99.9364 | 344.1199 | 149.3076 | -180.3485
19 | -52.6331 | 229.881 | 91.5787 | 322.2923 | 126.8413 | -131.2251
20 | -48.3567 | 229.8505 | 93.0672 | 302.6064 | 141.335 | -132.6909
21 | -48.1026 | 201.082 | 95.806 | 284.3463 | 148.2916 | -121.8657
22 | -47.0024 | 239.7215 | 159.2801 | 289.2073 | 244.5516 | -143.2734
23 | -37.8167 | 240.0628 | 178.3639 | 331.853 | 265.9507 | -85.7997
24 | -30.105 | 233.9366 | 209.9521 | 334.9624 | 315.9072 | -29.1891
Art. 4.6 | Critical elements which may limit NTC
|  | Element | Type | Voltage
|  | Tirana 2 - Podgorica | Line | 400 kV
|  | Zemblak - Kardia | Line | 400 kV
|  | Koman - Kosova B | Line | 400 kV
|  | Koplik - Podgorica | Line | 220 kV
|  | Fierze - Prizren | Line | 220 kV
Art. 4.13 | Congestion management - redispatching | [5 empty] | N/a*
Art. 4.14 | Countertrading | [5 empty] | N/a*
Art. 4.17 | Congestion management report | [5 empty] | N/a*
Art. 5.1, 5.2 | Installed capacity
|  | Power Plant | Installed Capacity | Voltage | Generation type | Area
|  | Fierza | 500 | 220 | Hydro | AL
|  | Komani | 600 | 220 | Hydro | AL
|  | V.Dejës | 250 | 220 | Hydro | AL
|  | Peshqesh | 28 | 220 | Hydro | AL
|  | Fang | 72 | 220 | Hydro | AL
|  | Moglica | 180 | 220 | Hydro | AL
|  | TPP Vlora | 97 | 220 | Thermal | AL
|  | Pv Karavasta | 140 | 220 | Solar | AL
|  | Ashta1,2 | 48.2 | 110 | Hydro | AL
|  | Banja | 71.57 | 110 | Hydro | AL
|  | Ulza | 25 | 110 | Hydro | AL
|  | Shkopeti | 24 | 110 | Hydro | AL
|  | Bistrica1,2 | 27.5 | 110 | Hydro | AL
|  | Slabinja | 11 | 110 | Hydro | AL
|  | Bishnica | 2.5 | 110 | Hydro | AL
|  | Dardha+Truen | 8.8 | 110 | Hydro | AL
|  | Lapaj | 13.26 | 110 | Hydro | AL
|  | Lura | 16.21 | 110 | Hydro | AL
|  | Lengarica | 10.35 | 110 | Hydro | AL
|  | Bele1,2 | 30.78 | 110 | Hydro | AL
|  | Cerruja | 11.3 | 110 | Hydro | AL
|  | Gjorice | 25 | 110 | Hydro | AL
|  | Rrapuni | 8.25 | 110 | Hydro | AL
|  | Rrapuni 3,4 | 11.34 | 110 | Hydro | AL
|  | Ternova | 9.35 | 110 | Hydro | AL
|  | Malla | 6 | 110 | Hydro | AL
|  | Prelle | 15 | 110 | Hydro | AL
|  | Lumezi | 14.2 | 110 | Hydro | AL
|  | Cemerica | 8 | 110 | Hydro | AL
|  | Slabinja 2D | 6.1 | 110 | Hydro | AL
|  | Shpella Poshte | 2.3 | 110 | Hydro | AL
|  | Denas | 15 | 110 | Hydro | AL
|  | Llenga | 2.3 | 110 | Hydro | AL
|  | Germani | 4.6 | 110 | Hydro | AL
|  | Seta | 14.9 | 110 | Hydro | AL
|  | Lashkiza | 5.2 | 110 | Hydro | AL
|  | Darsi | 20.52 | 110 | Hydro | AL
|  | Slabinja 2E | 5.2 | 110 | Hydro | AL
|  | Slabinja 2C | 2.7 | 110 | Hydro | AL
|  | Egnatia | 7.5 | 110 | Hydro | AL
|  | SPV Blue1 | 55 | 110 | Solar | AL
|  | NOVA Solar | 50 | 110 | Solar | AL
|  | Erseka Solar Park | 22 | 110 | Solar | AL
|  | SPV Blue2 | 50 | 220 | Solar | AL
|  | Sunny Side PV | 100 | 220 | Solar | AL
Art. 5.3 | D-1 planned generation
2026-01-11
|  |  | Hour | Schedule MW
|  |  | 00:00 - 01:00 | 1924.56
|  |  | 01:00 - 02:00 | 1826.76
|  |  | 02:00 - 03:00 | 1708.23
|  |  | 03:00 - 04:00 | 1662.98
|  |  | 04:00 - 05:00 | 1660.14
|  |  | 05:00 - 06:00 | 1713.85
|  |  | 06:00 - 07:00 | 1815.12
|  |  | 07:00 - 08:00 | 1730.61
|  |  | 08:00 - 09:00 | 1951.83
|  |  | 09:00 - 10:00 | 2061.8
|  |  | 10:00 - 11:00 | 2097.25
|  |  | 11:00 - 12:00 | 2100.8
|  |  | 12:00 - 13:00 | 1927.6
|  |  | 13:00 - 14:00 | 1928.9
|  |  | 14:00 - 15:00 | 1797.83
|  |  | 15:00 - 16:00 | 1957.07
|  |  | 16:00 - 17:00 | 2044.67
|  |  | 17:00 - 18:00 | 2184.85
|  |  | 18:00 - 19:00 | 2210.02
|  |  | 19:00 - 20:00 | 2250.21
|  |  | 20:00 - 21:00 | 2225.08
|  |  | 21:00 - 22:00 | 2273.46
|  |  | 22:00 - 23:00 | 2251.84
|  |  | 23:00 - 00:00 | 2178.35
Art. 14.1b, 14.2 b | Installed capacity for production unit
| Power Plant | Unit | Installed capacity | Voltage | Location | Generation Type
| Fierza | 1 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 2 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 3 | 125 | 220 | Lugina e lumit Drin | Hydro
| Fierza | 4 | 125 | 220 | Lugina e lumit Drin | Hydro
| Komani | 1 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 2 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 3 | 150 | 220 | Lugina e lumit Drin | Hydro
| Komani | 4 | 150 | 220 | Lugina e lumit Drin | Hydro
Art. 5.4 | D-1 planned generation of eolike and PV centrals | [5 empty] | N/a*
Art. 5.9 | Actual generation for each unit | [5 empty] | N/a**
Hour | Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
1 | 0 | 0 | 109.9627 | 109.8437 | 137.0658 | 0 | 139.916 | 137.7492
2 | 0 | 0 | 110.0154 | 109.8267 | 131.0328 | 0 | 134.1879 | 134.2727
3 | 0 | 0 | 109.9951 | 109.8662 | 133.2554 | 0 | 105.9828 | 105.9207
4 | 0 | 0 | 109.9587 | 109.8534 | 143.4326 | 0 | 89.4122 | 89.1745
5 | 0 | 29.2607 | 57.7659 | 109.8376 | 143.5529 | 0 | 89.4108 | 89.1798
6 | 0 | 110.3989 | 0 | 109.8499 | 143.5131 | 66.325 | 13.4741 | 34.0389
7 | 0 | 110.3963 | 0 | 109.8324 | 143.5525 | 118.6129 | 62.317 | 11.5546
8 | 0 | 110.392 | 0 | 109.8482 | 123.1204 | 119.1181 | 104.0246 | 103.5342
9 | 98.8808 | 108.9855 | 0.5133 | 108.4152 | 124.9843 | 119.1046 | 143.7704 | 143.6001
10 | 112.2867 | 120.4054 | 0 | 119.8611 | 140.7009 | 135.6497 | 143.5688 | 143.4823
11 | 112.2754 | 120.4184 | 0 | 119.929 | 141.3126 | 143.7526 | 143.4656 | 143.3666
12 | 110.8041 | 120.4274 | 0 | 117.5565 | 143.4067 | 143.7647 | 143.4049 | 143.3063
13 | 75.1983 | 118.3113 | 74.733 | 119.212 | 114.971 | 128.3252 | 143.5717 | 143.3858
14 | 74.9852 | 90.1713 | 79.6718 | 90.8577 | 121.0724 | 110.4989 | 143.6625 | 143.4929
15 | 75.0464 | 83.8416 | 79.7132 | 83.4754 | 114.3522 | 91.4595 | 143.6615 | 143.5642
16 | 76.254 | 85.7872 | 81.0194 | 85.1095 | 131.8415 | 122.5119 | 143.4514 | 143.4429
17 | 79.7854 | 110.4121 | 84.7029 | 109.869 | 127.6784 | 143.7324 | 143.2382 | 143.3652
18 | 80.1901 | 111.4595 | 85.0435 | 110.9247 | 143.4372 | 143.7331 | 143.0742 | 143.3251
19 | 58.7876 | 115.4235 | 90.8443 | 114.8416 | 142.6573 | 143.7338 | 143.0114 | 143.3904
20 | 0 | 115.372 | 119.9818 | 114.8627 | 133.8384 | 143.7055 | 143.0278 | 143.3748
21 | 0 | 100.8437 | 100.9761 | 100.5885 | 122.5095 | 143.6927 | 143.126 | 143.3932
22 | 0 | 120.4338 | 117.1768 | 119.6603 | 126.4397 | 143.7058 | 143.0725 | 143.3123
23 | 0 | 120.5154 | 95.3826 | 119.9354 | 136.5488 | 143.7463 | 142.9841 | 143.2247
24 | 0 | 117.5406 | 78.5636 | 116.7692 | 133.7099 | 143.7597 | 142.9589 | 143.1771
Art. 5.10 | Generation sum per type | [5 empty] | N/a**
| Fierze 1 | Fierze 2 | Fierze 3 | Fierze 4 | Koman 1 | Koman 2 | Koman 3 | Koman 4
TOT | 954.4939 | 2120.7967 | 1476.0574 | 2520.7822 | 3060.9207 | 2448.9326 | 2891.8594 | 2861.8792
Art. 5.11 | D-1 actual generation of eolike and PV centrals | [5 empty] | 527 MWh
Art. 5.12 | Energy reserve | [5 empty] | 773.3 GWh
Refering to Transmission Code
Art. 186, 250 | Ancillary services
Hour | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total
1 | aFRR+ | aFRR- | mFRR+ | mFRR- | RR+ | RR- | Total-
2 | 70 | 75 | 0 | 0 | 0 | 0 | 145
3 | 70 | 75 | 0 | 0 | 0 | 0 | 145
4 | 70 | 75 | 0 | 0 | 0 | 0 | 145
5 | 70 | 75 | 0 | 0 | 0 | 0 | 145
6 | 70 | 75 | 0 | 0 | 0 | 0 | 145
7 | 75 | 70 | 0 | 0 | 0 | 0 | 145
8 | 75 | 70 | 0 | 0 | 0 | 0 | 145
9 | 75 | 70 | 0 | 0 | 0 | 0 | 145
10 | 75 | 70 | 0 | 0 | 0 | 0 | 145
11 | 75 | 70 | 0 | 0 | 0 | 0 | 145
12 | 75 | 70 | 0 | 0 | 0 | 0 | 145
13 | 75 | 70 | 0 | 0 | 0 | 0 | 145
14 | 75 | 70 | 0 | 0 | 0 | 0 | 145
15 | 75 | 70 | 0 | 0 | 0 | 0 | 145
16 | 75 | 70 | 0 | 0 | 0 | 0 | 145
17 | 75 | 70 | 0 | 0 | 0 | 0 | 145
18 | 75 | 70 | 0 | 0 | 0 | 0 | 145
19 | 75 | 70 | 0 | 0 | 0 | 0 | 145
20 | 75 | 70 | 0 | 0 | 0 | 0 | 145
21 | 75 | 70 | 0 | 0 | 0 | 0 | 145
22 | 75 | 70 | 0 | 0 | 0 | 0 | 145
23 | 70 | 75 | 0 | 0 | 0 | 0 | 145
24 | 70 | 75 | 0 | 0 | 0 | 0 | 145
Average | 70 | 75 | 0 | 0 | 0 | 0 | 145
Art. 138/3 | Significant grid user compliance with monitoring and compliance tests | [5 empty] | N/a**
Art. 199 | Frequency quality target | [5 empty] | +/- 200 | mHZ
Art. 199 | Parametrat target të kualitetit të frekuencës | [5 empty] | +/- 200 | mHZ
Art. 203/2 | Used methodology for forecasting FCR needs | [5 empty] | N/a**
Art. 208 | Frequency control structure
ERE 139/2016
Art. XVI.5. iii. iv. | Hourly load and losses W-1
|  | hour | Load (MWh) | Losses (MWh)
|  | 1 | 780.51 | 12.0585
|  | 2 | 690.13 | 11.6887
|  | 3 | 652.6 | 11.0246
|  | 4 | 624.2 | 10.5313
|  | 5 | 651.18 | 11.1817
|  | 6 | 719.17 | 13.2464
|  | 7 | 909.59 | 17.0656
|  | 8 | 1180.82 | 20.4063
|  | 9 | 1340.35 | 24.4769
|  | 10 | 1335.6 | 27.3053
|  | 11 | 1332.45 | 27.3228
|  | 12 | 1420.93 | 27.1824
|  | 13 | 1389.14 | 27.467
|  | 14 | 1419.13 | 26.6402
|  | 15 | 1430.49 | 27.8891
|  | 16 | 1437.86 | 29.4207
|  | 17 | 1505.1 | 29.9565
|  | 18 | 1562.51 | 32.2499
|  | 19 | 1563.67 | 33.345
|  | 20 | 1539.15 | 33.3222
|  | 21 | 1469.29 | 32.1687
|  | 22 | 1352.7 | 32.2075
|  | 23 | 1190.72 | 28.2573
|  | 24 | 986.18 | 24.6172
|  | 25 | 832.28 | 16.1005
|  | 26 | 707.51 | 13.6514
|  | 27 | 654.73 | 12.2219
|  | 28 | 649.77 | 11.3846
|  | 29 | 656.56 | 11.9117
|  | 30 | 723.78 | 11.6815
|  | 31 | 892.04 | 15.5168
|  | 32 | 1143.35 | 21.1885
|  | 33 | 1321.18 | 23.6021
|  | 34 | 1369.97 | 21.9904
|  | 35 | 1307.33 | 20.0012
|  | 36 | 1304.66 | 19.2304
|  | 37 | 1287.51 | 17.8588
|  | 38 | 1316.18 | 18.1073
|  | 39 | 1325.65 | 18.6773
|  | 40 | 1374.11 | 20.7675
|  | 41 | 1469.17 | 26.1767
|  | 42 | 1556.05 | 30.6562
|  | 43 | 1560.29 | 30.5835
|  | 44 | 1511.69 | 29.8312
|  | 45 | 1471.13 | 28.4384
|  | 46 | 1330.59 | 25.4085
|  | 47 | 1155.99 | 20.5555
|  | 48 | 954.37 | 14.3538
|  | 49 | 810.89 | 17.0172
|  | 50 | 696.18 | 13.2864
|  | 51 | 640.41 | 12.9517
|  | 52 | 621.79 | 12.7441
|  | 53 | 614.88 | 14.1327
|  | 54 | 668.67 | 13.9756
|  | 55 | 819.83 | 13.9008
|  | 56 | 1039.27 | 18.1905
|  | 57 | 1215.31 | 22.0167
|  | 58 | 1254.09 | 23.2016
|  | 59 | 1280.43 | 22.8872
|  | 60 | 1274.95 | 23.309
|  | 61 | 1287.74 | 22.4369
|  | 62 | 1295.19 | 21.0486
|  | 63 | 1278.02 | 19.6228
|  | 64 | 1278.24 | 21.7476
|  | 65 | 1446.41 | 26.8137
|  | 66 | 1574.82 | 29.9086
|  | 67 | 1543.52 | 31.4146
|  | 68 | 1481.54 | 30.6529
|  | 69 | 1424.45 | 28.6558
|  | 70 | 1281.61 | 27.6322
|  | 71 | 1102.91 | 22.4282
|  | 72 | 892.49 | 17.642
|  | 73 | 795.41 | 14.4441
|  | 74 | 702.25 | 13.5776
|  | 75 | 655.57 | 13.7417
|  | 76 | 636.03 | 14.069
|  | 77 | 646 | 13.7449
|  | 78 | 708.29 | 15.042
|  | 79 | 845.87 | 18.5434
|  | 80 | 1066.97 | 24.5037
|  | 81 | 1260.16 | 25.4179
|  | 82 | 1313.45 | 24.8526
|  | 83 | 1231.61 | 25.5837
|  | 84 | 1190.28 | 24.2527
|  | 85 | 1184.1 | 23.2959
|  | 86 | 1184 | 23.2968
|  | 87 | 1224.25 | 24.0918
|  | 88 | 1265.46 | 29.8522
|  | 89 | 1380.44 | 36.0897
|  | 90 | 1489.81 | 39.7713
|  | 91 | 1480.42 | 39.28
|  | 92 | 1450.18 | 41.4095
|  | 93 | 1480.35 | 39.1061
|  | 94 | 1364.42 | 30.1353
|  | 95 | 1195.48 | 28.8136
|  | 96 | 996.15 | 21.001
|  | 97 | 788.42 | 14.1762
|  | 98 | 697.44 | 13.6852
|  | 99 | 662.72 | 13.0251
|  | 100 | 645.89 | 12.4672
|  | 101 | 655.63 | 14.2864
|  | 102 | 719.28 | 17.0689
|  | 103 | 877.03 | 20.9566
|  | 104 | 1112.25 | 25.5677
|  | 105 | 1280.04 | 24.2793
|  | 106 | 1279.5 | 22.5541
|  | 107 | 1206.49 | 22.927
|  | 108 | 1167.09 | 23.624
|  | 109 | 1158.3 | 22.2598
|  | 110 | 1158.38 | 18.414
|  | 111 | 1199.87 | 18.1231
|  | 112 | 1261.13 | 26.7748
|  | 113 | 1385.71 | 33.2576
|  | 114 | 1511.1 | 36.6869
|  | 115 | 1538.71 | 41.9131
|  | 116 | 1511.14 | 43.1968
|  | 117 | 1504.44 | 36.8243
|  | 118 | 1407.64 | 32.2361
|  | 119 | 1252.28 | 24.754
|  | 120 | 1069.25 | 18.1538
|  | 121 | 900.51 | 11.6654
|  | 122 | 772.35 | 10.7773
|  | 123 | 688.52 | 10.6742
|  | 124 | 659.79 | 10.237
|  | 125 | 668.58 | 10.4466
|  | 126 | 706.63 | 13.0971
|  | 127 | 834.04 | 17.7292
|  | 128 | 1027.88 | 22.093
|  | 129 | 1188.98 | 26.7724
|  | 130 | 1208.71 | 24.7545
|  | 131 | 1203.36 | 25.6891
|  | 132 | 1208.05 | 24.423
|  | 133 | 1179.89 | 21.7504
|  | 134 | 1117.11 | 18.9616
|  | 135 | 1158.19 | 19.447
|  | 136 | 1239.68 | 26.1877
|  | 137 | 1377.12 | 38.068
|  | 138 | 1519.71 | 43.2199
|  | 139 | 1525.48 | 46.7311
|  | 140 | 1515.15 | 46.819
|  | 141 | 1500.41 | 44.0328
|  | 142 | 1410.24 | 34.7692
|  | 143 | 1265.46 | 27.0697
|  | 144 | 1059.09 | 18.624
|  | 145 | 842.27 | 12.7321
|  | 146 | 735.69 | 11.2747
|  | 147 | 683.73 | 11.5888
|  | 148 | 665.85 | 10.8664
|  | 149 | 674.37 | 11.5063
|  | 150 | 753.28 | 12.3535
|  | 151 | 933.59 | 18.7778
|  | 152 | 1196.51 | 26.6008
|  | 153 | 1359.17 | 30.4929
|  | 154 | 1357.76 | 27.7721
|  | 155 | 1346.03 | 27.4617
|  | 156 | 1236.16 | 24.5467
|  | 157 | 1193.85 | 23.346
|  | 158 | 1226.4 | 22.9164
|  | 159 | 1263.31 | 20.9298
|  | 160 | 1323.31 | 26.6562
|  | 161 | 1445.5 | 28.3615
|  | 162 | 1569.42 | 30.0877
|  | 163 | 1565.38 | 32.6262
|  | 164 | 1545.32 | 31.8789
|  | 165 | 1507.39 | 29.2508
|  | 166 | 1404.35 | 32.0454
|  | 167 | 1211.83 | 31.2025
|  | 168 | 997.18 | 17.9302
Art. XVI.8, iv. | Maximal and average load
|  | Month | Average Load | Max Load
|  | 1 | 22000 | 30000
|  | 2 | 21000 | 25000
|  | 3 | 20000 | 22000
|  | 4 | 19000 | 20000
|  | 5 | 19000 | 20000
|  | 6 | 19000 | 20000
|  | 7 | 20000 | 22000
|  | 8 | 20000 | 22000
|  | 9 | 19000 | 20000
|  | 10 | 20000 | 21000
|  | 11 | 21000 | 22000
|  | 12 | 22000 | 24000
Art. XVI.8, v. | Transmission Losses
Date | 05/01/2026 | 06/01/2026 | 08/01/2026 | 08/01/2026 | 09/01/2026 | 10/01/2026 | 11/01/2026
Min (MW) | 10.5313 | 11.3846 | 12.7441 | 13.5776 | 12.4672 | 10.237 | 10.8664
Max (MW) | 33.345 | 30.6562 | 31.4146 | 41.4095 | 43.1968 | 46.819 | 32.6262
Art. XVI.8, vi. | Non Supplied load
|  | Nr. | Substation | Hour | Reason
1
Art. XVI.8, vii. | Forecasted non suplied load
|  | Nr. | Substation | Hour | Reason
1
*Not applicable
**We are working and It will be published as soons as possible